## LOT 1
TECHNICAL SPECIFICATIONS - RFQ 01/26 - LOT 1 Equipment for extinguishing forest fires /Oprema za gašenje šumskih požara
No./Br. | Item/Artikal | Specification required/Tražene specifikacije: | Offered specifications/Ponuđene specifikacije: | Unit price/Jed. Cijena | Quantity/Količina: | Total/Ukupno (EUR): | Comment/Komentar:
1 | Coverall/ Kombinezon | Protective coverall made of NOMEX flame-resistant fabric, navy blue in colour, with guaranteed flame resistance. The coverall shall feature elastic inner sleeve cuffs, two side pockets, a front radio pocket, double-layer reinforced fabric on the knees, and yellow-silver reflective tapes positioned across the chest, sleeves, and lower legs in accordance with EN 471. Front closure shall be secured with both a zipper and hook-and-loop fastening./ Kombinezon izrađen od NOMEX vatrootoprne tkanine, teget plave boje,garantovana otpornost na plamen, manžetne u rukavima, 2 x dzep sa strane, prednji dzep za radio stanicu, dvostruki sloj materijala na koljenima, reflektujuće žuto-srebrne trake u visini grudi, rukava i potkoljenica EN 471, zatvaranje pomoću čičak trake i rajsferšlusa. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 8 | 0
2 | Firefighter Helmet/ Vatrogasni šlem | Firefighter helmet with integrated goggles providing protection against heat, impacts, and chemicals. The helmet shall be manufactured from reinforced polycarbonate composite material with flame-resistant properties. Integrated goggles shall be made of heat-resistant polycarbonate. The helmet shall have an ergonomic profile allowing unrestricted movement of the head and neck and shall comply with EN 443 (Firefighters' Helmets). Universal adjustable size with ratchet-wheel suspension system./ Vatrogasni šlem sa integrisanim naočarima – zaštita od toplote, udaraca i hemikalija, izrađen od ojačanih polikarbonatnih kompozita, otporan na plamen, naočare: termootporni polikarbonat, ergonomski profil za neometano kretanje vrata i glave, zaštita u skladu sa EN 443 (vatrogasci), veličina univerzalna, podesiva (suspenzija sa točkićem). | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 8 | 0
3 | Forests Firefighting Boots/ Čizme za šumske požare | Lightweight mid-height forests firefighting boots with a waterproof and breathable membrane. The upper shall be made of 2.8–3.0 mm hydrophobic leather, breathable (minimum 5.0 mg/cm²/h). The lining shall consist of GORE-TEX Performance or equivalent, highly abrasion-resistant, with a medium fleece intermediate layer. The boots shall ensure comfort for continuous wear throughout all seasons and provide chemical protection. A separate heel cushioning system shall provide optimized shock absorption during prolonged use and on uneven terrain. The puncture-resistant sole shall consist of a lightweight and flexible metal insert. A PU shock-absorbing insert shall provide additional walking comfort. The outer sole shall be flame-resistant, non-marking, and compliant with MEST EN 15090:2016 or equivalent (EN 15090:2012 acceptable), offering resistance to heat, oil, and fuel. For enhanced comfort during prolonged wear, the boots may be supplied with three interchangeable insoles (narrow, standard, and wide fit). The boots shall include a pull-on loop located at the heel or side for easier donning. Colour: Black. Certification: UKCA, CE 0193, EN 15090:2012 F2A HI3 CI SRC./ Čizme za šumske požare - poluduboka cipela male težine, sa vodonepropusnom i dišućom membranom. Gornji materijal je od kože debljine 2,8-3,0 mm, hidrofobna, prozračna ( 5,0 mg/cm2/h). Unutrašnja obloga je GORE TEX perfomanse ili ekvivalent, visoko otporna na habanje, postava sa srednjim slojem flisa. Čizma mora da omoćava udobnost za kontinuirano nošenje u svim godišnjim dobima i treba da ima hemijsku zaštitu. Odvojena podloga za petu obezbjeđuje optimizovano amortizovanje prilikom dugotrajnog nošenja i na neravnim terenima. Zaštitni đon- fleksibilni, lagani metalni đon koji sprečava probijanje. PU umetak za apsorpciju udara pruža dodatnu udobnost hodanja. Spoljašnji đon otporan na plamen ne ostavlja tragove prema MEST EN 15090:2016 ili ekvivalent (možeEN 15090:2012) i posjeduje otpornost na toplotu, ulje i goriva. Radi udobnosti prilikom dugotrajnog nošenja cipela može imati tri tri različita uloška: srednji, široki i uski. Cipele imaju traku za povlačenje, lakše obuvanje u spoljnom dijelu pete, ili sa strane. Sertifikat: UKCA CE 0193 EN 5090:2012 F2A HI3 CI SRC. Boja crna. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 8 | 0
4 | Forest Firefighting Gloves/ Rukavice za šumske požare | Forest Firefighting Gloves – Knitted gloves with a high-quality nitrile rubber coating on the palm and fingers to ensure excellent grip. The glove fibers shall provide enhanced cut resistance while maintaining excellent tactile sensitivity and an optimal fit. The back of the hand and fingers shall be equipped with protective reinforcements, and the palm shall feature an anti-vibration padding. The glove shall have an approximate length of 25 cm and a cuff with an additional hook-and-loop (Velcro) fastener for optimal adjustment. Back of the hand, palm, and cuff: 75% HPPE (High-Performance Polyethylene, fine-knit), 20% polyester, 5% elastane (±5%) Palm reinforcement: Nitrile coating (or equivalent) Palm lining: 100% latex (or equivalent) Protective reinforcements: TPR (Thermoplastic Rubber) protective inserts (or equivalent) The gloves shall comply with, at a minimum, the following European standards: EN ISO 21420:2020 – Performance level 5 and EN 388:2018 – Performance level 3,5,4,3,D/ Rukavice za šumske požare - pletene sa premazom od kvalitetne nitrilne gume na dlanu i prstima za savršeno prijanjanje. Posebna vlakna rukavice treba da garantuju povećanu otpornost na porezotine u kombinaciji sa izvrsnom osjetljivošću i optimalno pristajanje. Na nadlanici i prstima, rukavica mora imati štitnike, kao i antivibracionu postavi na dlanu. Dužina rukavice treba da bude cca. 25cm sa manžetnom sa dodatnim pričvršćivačem na čičak za optimalno podešavanje. Nadlanica, dlan i manžetna: 75% HPPE (fino pleteni polietilen), 20% Poliester, 5% elastin (±5%). Ojačanja na dlanovima: Nitril premaz (ili ekvivalent). Podstava za dlanove: 100% lateks (ili ekvivalent). Štitnici/ojačanja: TPR plastična ojačanja (ili ekvivalent). Rukavica mora da zadovoljava minimum sljedeće evropske norme EN 21420:2020 (5), EN 388:2018 (3,5,4,3,D). |  | 0 | 8 | 0
|  | Requested | Offered | Total without VAT/Ukupno bez PDVa: |  | 0
| Delivery date and time | Bidder shall deliver the goods at place within 60 days after Contract signature date./ Ponuđač je dužan da isporuči robu na mjesto isporuke u roku od 60 dana od dana potpisivanja ugovora. | Please specify the offered delivery period/ Molimo Vas da unesete ponuđeno vrijeme isporuke | VAT/PDV: |  | 0
| Warranty Period | 24 months/24 mjeseca | Please specify the offered warranty period/ Molimo Vas da unesete ponuđeno trajanje garancije | Total with VAT/Ukupno sa PDV-om: |  | 0
I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted./ Ja, dolje potpisani/a, potvrđujem da sam ovlašćen/a da potpišem ovu ponudu i obavežem niže navedenu kompaniju u slučaju da ponuda bude prihvaćena.
|  | Name and address of company/Naziv I adresa kompanije | Authorized Signature/Potpis:
|  | Company Name/Naziv: Click or tap here to enter text. | Date/Datum:
|  | Address/Adresa: Click or tap here to enter text. | Name and surname/Ime I prezime: Click or tap here to enter text.
|  | Phone No./Telefon: Click or tap here to enter text. | Functional Title of Authorised Signatory/Funkcija: Click or tap here to enter text.
|  | Email Address/E-mail adresa: Click or tap here to enter text. | Email Address/E-mail adresa: Click or tap here to enter text.

## LOT 2
TECHNICAL SPECIFICATIONS - RFQ 01/26 - LOT 2 Backpack water sprayers (firefighting backpacks), fire beaters, protective masks, fire hoses, hose couplings, fire hose nozzles, garden hoses and portable fire extinguishers (dry powder type)/ Naprtnjače, metlarice, maske, vatrogasna crijeva, spojnice, mlaznice, baštenska crijeva i PP aparati
No./Br. | Item/Artikal | Specification required/Tražene specifikacije: | Offered specifications/Ponuđene specifikacije: | Unit price/Jed. Cijena | Quantity/Količina: | Total/Ukupno (EUR): | Comment/Komentar:
1 | Protective mask/hood with an integrated filter for respiratory protection/ Maska/kapuljača sa integrisanim filterom za zaštitu disajnih organa | Protective hood/mask designed to protect the face from radiant heat and reduce the inhalation of smoke and ash particles. The hood incorporates a pocket for an FFP1 filtering facepiece. The integrated filter helps remove hazardous airborne particles from inhaled air. Thanks to the Velcro fastening system, the filter mask can be easily replaced without removing the helmet. Technical specifications: Weight: 120 g, material: Nomex, filter type: FFP1, Standards: EN ISO 11612/08 and EN 15614/07/ Maska štiti lice od toplotnog zračenja i smanjuje udisanje čestica dima i pepela. U masku za lice ugrađen je džep za masku FFP1. Uz pomoć maske zrak se filtrira od opasnih čestica. Zahvaljujući velkro zatvaraču, maska se može lako zamjeniti bez skidanja kacige. Težina: 120 g, materijal: Nomex, Standard: EN ISO 11612/08, EN 15614/07, vrsta filtera FFP1. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 10 | 0
2 | Backpack water sprayers (firefighting backpacks)/ Naprtnjače | Backpack water sprayer designed for wildfire suppression. Technical specifications: Dimensions: 470 × 680 × 140 mm (±10%), Empty weight: 2.4 kg, Tank capacity: 25 L, Flow rate: 3.7 L/min, Spray range: 12 m (solid jet) and 5.5 m (spray jet), Hose length: 1 m, rubber, Tank body: PVC-coated PES (polyester) fabric, double-sided coating, Outer material: PVC-coated PES (polyester) fabric, single-sided coating (coated on the inner side), Filling opening: Ø 100 mm, Cap: Equipped with a sealing gasket and permanently attached to the tank, Pump: Metal construction with a metal nozzle and adjustable spray pattern, Suitable for extinguishing fires using water and foam./ Naprtnjače. Tehničke specifikcaije: Dimenzije 470 x 680 x 140 mm (+- 10% ), težina 2,4 kg (prazna), zapremina rezervoara 25 l, protok 3,7l/min, daljina prskanja 12 m (pun mlaz), 5,5 m (raspršen mlaz), crijevo dužine 1 m, od gume, material: Меhanizam: PES prеsvučеn PVC-оm (dvоstrаnо); Spоlјаšnji mаtеriјаl: PES prеsvučеn PVC-оm (јеdnоstrаnо; sа unutrаšnjе strаnе), otvor za punjenje Ø 100 mm, poklopac sa zaptivkom, vezan za vreću. Pumpa: izrađena od metala, sa metalnom mlaznicom, mogućnost regulacije. Za gašenje vodom i pjenom. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 30 | 0
3 | Fire beaters/ Metlarice | Fire beater for wildfire suppression with an overall length of 240 cm and a weight of 1.9 kg (±10%). The beater head shall be fitted with a 0.5 × 50 mm hardened spring steel strip (C67S, hardness 46–48 HRC), grey/blue in colour, mounted on a 2.5 mm black steel plate. It shall be equipped with a minimum 200 cm wooden handle, secured with a clamp and nut, ensuring durability and reliable performance during wildfire suppression operations./ Dužina metlarice: 240 cm, težina: 1,9 kg (+-10% ), opružni lim traka 0,5x50mm boja sivo/plava, traka c67s, kaljena, 46/48 hrc, lim crni: 2,5 mm, drveno držalo: min. 200 cm, obujmica, matica. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 30 | 0
4 | Fire hose/ Vatrogasno crijevo | Fire Hose Ø25 with Couplings Fire hose with a 15 m length and Ø25 mm diameter, fitted with forged couplings compliant with DIN 14302. The hose shall have a working pressure of 16 bar, a test pressure of 24 bar, and a burst pressure of 60 bar. It shall feature an outer jacket made of high-strength polyester yarn and an inner lining of high-quality EPDM rubber, providing excellent resistance to UV radiation and abrasion./ Vatrogasno crijevo fi 25 sa spojnicama Dužina 15 m, prečnik Ǿ 25, kovane spojnice usaglašene sa DIN 14302, radni pritisak 16 bari, ispitni pritisak 24 bara, pritisak pucanja 60 bari, spoljašnost crijeva od poliestarskog prediva, unutrašnjost obložena visokokvalitetnom EPDM gumenom oblogom, otporno na UV zrake i abraziju. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 10 | 0
5 | Hose coupling/ Spojnica | Threaded coupling for Ø25 mm fire hoses/ Spojnica fi 25 sa navojem | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 5 | 0
6 | Fire hose nozzle/ Mlaznica | Ø25 Shut-Off Nozzle/ Mlaznica sa zasunom fi 25 | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 3 | 0
7 | Garden hose/ Crijevo baštensko | 3/4" rubber garden hose with a maximum working pressure of 22 bar, 25 m length, and an anti-kink system to prevent twisting and ensure uninterrupted water flow./ Crijevo baštensko 3/4” gumeno 100 metara Max pritisak: 22 bar, dužina: 25 m, sistem protiv uvrtanja. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 4 | 0
8 | Portable fire extinguisher (dry powder type)/ Protivpožarni apparat S6 | 6 kg Dry Powder Fire Extinguisher (ABC) Dry powder fire extinguisher with a 6 kg ABC 40 powder charge, total weight of 11 kg, and CO₂ as the propellant gas. The extinguisher shall have a fire rating of 27A, 233B, C in accordance with EN 3./ Protivpožarni aparat S6 Punjenje: PRAH ABC 40, zapremina: 6 kg, ukupna masa: 11 kg, pogonski plin: CO2, učinak po EN3: 27A, 233B, C. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 10 | 0
|  | Requested | Offered | Total without VAT/Ukupno bez PDVa: |  | 0
| Delivery date and time | Bidder shall deliver the goods at place within 30 days after Contract signature date./ Ponuđač je dužan da isporuči robu na mjesto isporuke u roku od 30 dana od dana potpisivanja ugovora. | Please specify the offered delivery period/ Molimo Vas da unesete ponuđeno vrijeme isporuke | VAT/PDV: |  | 0
| Warranty Period | 12 months/12 mjeseca | Please specify the offered warranty period/ Molimo Vas da unesete ponuđeno trajanje garancije | Total with VAT/Ukupno sa PDV-om: |  | 0
I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted./ Ja, dolje potpisani/a, potvrđujem da sam ovlašćen/a da potpišem ovu ponudu i obavežem niže navedenu kompaniju u slučaju da ponuda bude prihvaćena.
|  | Name and address of company/Naziv I adresa kompanije | Authorized Signature/Potpis:
|  | Company Name/Naziv: Click or tap here to enter text. | Date/Datum:
|  | Address/Adresa: Click or tap here to enter text. | Name and surname/Ime I prezime: Click or tap here to enter text.
|  | Phone No./Telefon: Click or tap here to enter text. | Functional Title of Authorised Signatory/Funkcija: Click or tap here to enter text.
|  | Email Address/E-mail adresa: Click or tap here to enter text. | Email Address/E-mail adresa: Click or tap here to enter text.

## LOT 3
TECHNICAL SPECIFICATIONS - RFQ 01/26 - LOT 3 Water tanks, water pumps, portable generator and chainsaws / Rezervoari za vodu, pumpe za vodu, agregat i motorne testere
No./Br. | Item/Artikal | Specification required/Tražene specifikacije: | Offered specifications/Ponuđene specifikacije: | Unit price/Jed. Cijena | Quantity/Količina: | Total/Ukupno (EUR): | Comment/Komentar:
1 | 5,000-Litre Water Storage Tank with Submersible Pump/ Rezervoar za vodu zapremine 5000 litara sa potopnom pumpom | Above-ground potable water storage tank, heavy-duty construction, resistant to UV radiation and temperatures ranging from -30°C to +60°C, manufactured from high-quality high-density polyethylene (HDPE). Suitable for storing potable and technical (non-potable) water. The tank is reinforced with ribbed plastic over its entire surface and equipped with: Ø600 mm inspection/cleaning opening, 2" filling connection, two ¾" outlets (one at the bottom and one at the top of the tank) and pump connections with ¾" flexible hoses. Submersible Pump for Clean Water: Power minimum: 1,000 W, Voltage: 230 V, Maximum flow rate: 86.60 L/min, Weight: 11.0 kg (+/- 10%), Maximum head: 55 m, Installation: Vertical/ Nadzemni rezervoar za pijaću vodu, visoke izdržljivosti, otporan na UV zračenje i temperature od -30°C do +60°C, od visokokvalitetnog polietilena (PEHD) visoke gustine, za kladištenje pijaće i tehničke vode, ojačan rebrastom plastikom po cijeloj površini, sa otvorom za čišćenje fi 600 mm, priključkom za punjenje od 2”, dva priključka od ¾ “, jedan u donjem dijelu i jedan u gornjem dijelu rezervoara, sa priključcima za pumpu ( fleksibilna crijeva ¾”). Potopna pumpa za čistu vodu: Snaga minimum: 1000 W Napon: 230 V Max protok: 86,60 l/min Težina: 11,0 kg (+/- 10%), visina vodenog stuba: 55 m Instalacija: Vertikalna. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 3 | 0
2 | Water Pump/ Pumpa za vodu | Centrifugal pump for clean water, with the following specifications: Power minimum: 1,500 W, Voltage: 230 V and Flow rate minimim: 400–600 L/min. The pump shall be installed indoors or, at a minimum, protected from adverse weather conditions./ Centrifugalna pumpa za čistu vodu, snaga minimum: 1500 W, napon: 230 V, protok minimum: 400 - 600 l/min. Mora biti instalirana u zatvorenom prostoru, ili bar zaštićena od loših vremenskih uslova. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 2 | 0
3 | Generator/ Agregat | Specifications: Voltage: 230 V, Maximum output power: 6 kW, Rated (continuous) output power: minimum 5 kW, Engine: 4-stroke (4T), Fuel tank capacity: 25 L, Fuel type: Gasoline (Petrol), Starting system: Electric start/ Specifikacije: Napon: 230 V, maksimalna snaga: 6 kW, radna snaga: minimum 5 kW, motor: 4T, rezervoar: 25 l, pogonsko gorivo: benzin, start: električni. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 1 | 0
4 | Chainsaw/ Motorna testera | Stihl or equivalent/Stihl ili ekvivalent Petrol-powered chainsaw with the following minimum specifications: Engine power: 4.4 HP, Engine displacement: 59 cm³, Engine type: Petrol (gasoline), Guide bar length: 45 cm, Weight: 5.9 kg Motorna benziska testera sa sledećim minimalnim specifikacijama: snaga motora: 4.4 KS, kubikaža motora: 59cm3, motor: benzinski, dužina mača/lista: 45 cm, težina: 5,9 kg. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 1 | 0
5 | Chainsaw/ Motorna testera | Stihl or equivalent/Stihl ili ekvivalent Petrol-powered chainsaw with the following minimum specifications: Engine power: 2 HP (1,500 W), Engine displacement: 32 cm³, Chain pitch: 3/8" P, Guide bar length: 30 cm, Fuel tank capacity: 390 ml, Chain oil tank capacity: 0.28 L, Weight: 4.5 kg/ Motorna benziska testera sa sledećim minimalnim specifikacijama: snaga motora: 2KS, kubikaža motora: 32 cm3, snaga: 1500 W, korak lanca: 3/8" P, dužina mača/lista: 30 cm, rezervoar za gorivo: 390 ml, rezervoar za ulje: 0,28 l, težina: 4.5 kg. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 1 | 0
|  | Requested | Offered | Total without VAT/Ukupno bez PDVa: |  | 0
| Delivery date and time | Bidder shall deliver the goods at place within 90 days after Contract signature date./ Ponuđač je dužan da isporuči robu na mjesto isporuke u roku od 90 dana od dana potpisivanja ugovora. | Please specify the offered delivery period/ Molimo Vas da unesete ponuđeno vrijeme isporuke | VAT/PDV: |  | 0
| Warranty Period | minimum: 24 months/24 mjeseca | Please specify the offered warranty period/ Molimo Vas da unesete ponuđeno trajanje garancije | Total with VAT/Ukupno sa PDV-om: |  | 0
I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted./ Ja, dolje potpisani/a, potvrđujem da sam ovlašćen/a da potpišem ovu ponudu i obavežem niže navedenu kompaniju u slučaju da ponuda bude prihvaćena.
|  | Name and address of company/Naziv I adresa kompanije | Authorized Signature/Potpis:
|  | Company Name/Naziv: Click or tap here to enter text. | Date/Datum:
|  | Address/Adresa: Click or tap here to enter text. | Name and surname/Ime I prezime: Click or tap here to enter text.
|  | Phone No./Telefon: Click or tap here to enter text. | Functional Title of Authorised Signatory/Funkcija: Click or tap here to enter text.
|  | Email Address/E-mail adresa: Click or tap here to enter text. | Email Address/E-mail adresa: Click or tap here to enter text.

## LOT 4
TECHNICAL SPECIFICATIONS - RFQ 01/26 - LOT 4 Binoculars and drones / Dvogledi I dronovi
No./Br. | Item/Artikal | Specification required/Tražene specifikacije: | Offered specifications/Ponuđene specifikacije: | Unit price/Jed. Cijena | Quantity/Količina: | Total/Ukupno (EUR): | Comment/Komentar:
1 | Binocular/ Dvogled | Binoculars with the following minimum specifications: Magnification: 16×, Objective lens diameter: 50 mm, Field of view at 1,000 m: 61 m, Real field of view: 3.5°, Apparent field of view: 52.1°, Exit pupil: 3.1 mm, Eye relief: 17.8 mm, Minimum focusing distance: 7 m, Interpupillary distance adjustment: 56–72 mm, Waterproof construction./ Dvogledci sa sledećim minimalnim specifikacijama: Uvećanje:16 x, prečnik objektiva 50 mm, vidno polje na 1000m:61m, realno vidno polje:3.5º, približno vidno polje:52,1º, izlazna zenica:3.1 mm, udaljenost oka od okulara:17,8 mm, minimalna daljina fokusiranja:7 m, Podesivost međuočnog rastojanja:56-72 mm, vodootporan | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 4 | 0
2 | Dron | DJI MAVIC 4 PRO or equivalent / DJI MAVIC 4 PRO ili ekvivalent Professional drone intended for aerial imaging, inspection, mapping, monitoring, and search and rescue operations, or equivalent, with at least the following technical characteristics: maximum take-off weight of 1.2 kg, minimum flight time of 50 minutes per battery, maximum horizontal speed of at least 25 m/s, wind resistance of at least 12 m/s, maximum operating altitude of at least 6,000 m above sea level, operating temperature range of at least -10 °C to +40 °C, integrated GNSS system supporting GPS, Galileo, and BeiDou, or equivalent, and a precise positioning and stable hovering system based on satellite and vision positioning. The drone shall be equipped with an integrated triple-camera system consisting of a main wide-angle camera, a medium telephoto camera, and a telephoto camera. The main camera shall feature a sensor of at least 4/3 CMOS with an effective resolution of at least 100 MP, or an equivalent imaging system capable of producing photographs with a minimum resolution of 100 MP. The telephoto cameras shall have resolutions of at least 48 MP and 50 MP, respectively. The camera system shall support image capture in JPEG and RAW (DNG) formats, feature an adjustable aperture on the main camera, and support professional video profiles such as D-Log or equivalent. The system shall support video recording at a minimum resolution of 6K at 60 fps, as well as 4K at a minimum of 120 fps, with high-quality image stabilization. The drone shall be equipped with a three-axis mechanical gimbal providing camera stabilization under all flight conditions. The flight safety system shall include omnidirectional obstacle detection sensors (360°) and an integrated LiDAR or equivalent technology to enhance obstacle detection in low-visibility conditions. The drone shall support automatic obstacle avoidance, automatic Return-to-Home (RTH), intelligent subject tracking (ActiveTrack or equivalent), and autonomous flight planning through Waypoints or an equivalent function. The image transmission system shall provide digital live video transmission at a minimum resolution of 1080p at 60 fps, with a transmission range of at least 15 km (or in accordance with applicable regulatory limitations), operating on the 2.4 GHz and 5.8 GHz frequency bands, and supporting Wi-Fi and Bluetooth connectivity. The drone shall use intelligent lithium-ion batteries with a minimum capacity of 95 Wh. Each drone shall be supplied with at least three batteries (one installed in the aircraft and two spare batteries), together with a compatible battery charger. Each drone shall be supplied with a professional remote controller featuring an integrated display of at least 5.5 inches, with a minimum resolution of 1920 × 1080, brightness of at least 700 nits, built-in internal storage with support for expansion via microSD card, and a minimum operating time of 3 hours. Each drone package shall include the remote controller, at least three intelligent batteries, battery charger, spare propellers, all necessary cables and accessories for operation, and a suitable carrying case or protective transport bag. The Supplier shall provide user training covering drone operation, flight planning and execution, use of all system functions, safe operation, and basic maintenance of the equipment./ Profesionalni dron namijenjen za snimanje iz vazduha, inspekcijske poslove, mapiranje terena, monitoring i operacije traganja i spašavanja, ili ekvivalent, sa najmanje sljedećim tehničkim karakteristikama: masa pri polijetanju do 1,2 kg, maksimalno vrijeme leta najmanje 50 minuta po bateriji, maksimalna horizontalna brzina najmanje 25 m/s, maksimalna otpornost na brzinu vjetra najmanje 12 m/s, maksimalna operativna visina najmanje 6.000 m nadmorske visine, radna temperatura najmanje od -10 °C do +40 °C, integrisani GNSS sistem sa podrškom za GPS, Galileo i BeiDou ili ekvivalent, sistem preciznog pozicioniranja i stabilnog lebdenja uz satelitsku i vizuelnu navigaciju. Dron mora biti opremljen integrisanim sistemom od najmanje tri kamere, koji obuhvata glavnu širokougaonu kameru, srednju tele kameru i tele kameru. Glavna kamera mora imati senzor veličine najmanje 4/3 CMOS i efektivnu rezoluciju od najmanje 100 MP ili ekvivalentan sistem koji omogućava fotografije rezolucije najmanje 100 MP. Tele kamere moraju imati rezoluciju od najmanje 48 MP i 50 MP. Kamera mora omogućavati snimanje fotografija u JPEG i RAW (DNG) formatu, imati podesiv otvor blende na glavnoj kameri te podržavati profesionalne video profile (D-Log ili ekvivalent). Sistem mora omogućavati snimanje video zapisa u rezoluciji najmanje 6K pri 60 fps, kao i 4K pri najmanje 120 fps, uz visok kvalitet stabilizacije slike. Dron mora biti opremljen troosnim mehaničkim gimbalom koji omogućava stabilizaciju kamere u svim uslovima leta. Sistem za bezbjednost leta mora uključivati omnidirekcione senzore za detekciju prepreka (360°), uz integrisani LiDAR ili ekvivalentnu tehnologiju za poboljšanu detekciju prepreka u uslovima smanjene vidljivosti. Dron mora podržavati automatsko izbjegavanje prepreka, automatski povratak na početnu tačku (Return-to-Home), inteligentno praćenje objekata (Active Tracking ili ekvivalent) i planiranje autonomnih ruta leta (Waypoints ili ekvivalent). Sistem za prenos slike mora omogućavati digitalni prenos video signala u rezoluciji najmanje 1080p pri 60 fps, sa dometom prenosa od najmanje 15 km (ili u skladu sa važećim regulatornim ograničenjima), uz rad na frekvencijskim opsezima 2,4 GHz i 5,8 GHz, te podršku za Wi-Fi i Bluetooth komunikaciju. Dron mora koristiti inteligentne litijum-jonske baterije kapaciteta najmanje 95 Wh. Uz svaki dron potrebno je isporučiti najmanje tri baterije (jedna instalirana u dronu i dvije rezervne), kao i odgovarajući punjač. Uz svaki dron mora biti isporučen profesionalni daljinski upravljač sa ugrađenim ekranom dijagonale najmanje 5,5 inča, rezolucije najmanje 1920 × 1080, svjetline najmanje 700 nita, sa ugrađenom internom memorijom i mogućnošću proširenja putem microSD kartice, te autonomijom rada od najmanje 3 sata. U kompletu sa svakim dronom potrebno je isporučiti daljinski upravljač, najmanje tri inteligentne baterije, punjač, rezervne propelere, potrebne kablove i sav prateći pribor za rad, kao i odgovarajući transportni kofer ili zaštitnu torbu. Dobavljač je obavezan izvršiti obuku korisnika za rukovanje dronom, planiranje i izvođenje leta, korišćenje svih funkcija sistema, bezbjedan rad i osnovno održavanje opreme. | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 2 | 0
|  | Requested | Offered | Total without VAT/Ukupno bez PDVa: |  | 0
| Delivery date and time | Bidder shall deliver the goods at place within 60 days after Contract signature date./ Ponuđač je dužan da isporuči robu na mjesto isporuke u roku od 60 dana od dana potpisivanja ugovora. | Please specify the offered delivery period/ Molimo Vas da unesete ponuđeno vrijeme isporuke | VAT/PDV: |  | 0
| Warranty Period | minimum: 24 months/24 mjeseca | Please specify the offered warranty period/ Molimo Vas da unesete ponuđeno trajanje garancije | Total with VAT/Ukupno sa PDV-om: |  | 0
I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted./ Ja, dolje potpisani/a, potvrđujem da sam ovlašćen/a da potpišem ovu ponudu i obavežem niže navedenu kompaniju u slučaju da ponuda bude prihvaćena.
|  | Name and address of company/Naziv I adresa kompanije | Authorized Signature/Potpis:
|  | Company Name/Naziv: Click or tap here to enter text. | Date/Datum:
|  | Address/Adresa: Click or tap here to enter text. | Name and surname/Ime I prezime: Click or tap here to enter text.
|  | Phone No./Telefon: Click or tap here to enter text. | Functional Title of Authorised Signatory/Funkcija: Click or tap here to enter text.
|  | Email Address/E-mail adresa: Click or tap here to enter text. | Email Address/E-mail adresa: Click or tap here to enter text.

## LOT 5
TECHNICAL SPECIFICATIONS - RFQ 01/26 - LOT 5 Handheld flashlights, headlamps, GPS devices, mountaineering rope, climbing anchors, backpacks and first aid kits / Ručne lampe, čeone lampe, GPS-ovi, planinarsko uže, ankeri, ranačevi i setovi za prvu pomoć
No./Br. | Item/Artikal | Specification required/Tražene specifikacije: | Offered specifications/Ponuđene specifikacije: | Unit price/Jed. Cijena | Quantity/Količina: | Total/Ukupno (EUR): | Comment/Komentar:
1 | Handheld Flashlights with Chargers/ Ručne lampe sa punjačima | Handheld Flashlights with Chargers with following specfications: - High-intensity beam capable of penetrating smoke: 41,000 candela, with a minimum runtime of 7 hours (using AA alkaline or lithium batteries). - Low mode: 14,000 candela, with a minimum runtime of 18 hours (using AA alkaline or lithium batteries). - Signalling light mode: minimum runtime of 5 hours. - Low-light (battery-saving) mode: minimum runtime of 15 days. - Battery: Rechargeable smart lithium battery, 6.2 V, with the option to use a pack of 4 AA alkaline or lithium batteries. - Battery pack: 6.2 V, 1.5 Ah lithium battery with two cells, rechargeable for more than 1,500 charge cycles. - Protection rating: IP66 (water-resistant). - Tested to withstand a 2 m drop. - The flashlight shall comply with at least the following safety and protection standards:EN 60079-0:2012, EN 60079-11:2012 and Directive 94/9/EC (ATEX) for use in potentially explosive and/or flammable atmospheres./ Ručne lampe sa punjačima sledećih specifkacija: - Super svjetlo koje probija dim 41000 kandela, u trajanju od minimum 7 sata (AA alkalna ili litijumska baterija). - Nisko : 14000 kandela u trajanju od minimum 18 sati (AA alkalna ili litijumska baterija). - Svjetlo za signalizaciju : u trajanju od 5 sati - Niska svjetlost (malo osvjetljenje) za očuvanje baterije u trajanju od minimum 15 dana - Baterija : Dopunjiva pametna Litijumska baterija od 6,2 volta, opciono komplet od 4 “AA” alkalne ili litijumske baterije. - Baterijsko pakovanje : Litijum 6,2 V, 1,5 Ah sa dvije ćelije koje mogu da se pune preko 1500 puta - Stepen zaštite : IP 66 (vodootporan) - Testiran na otpornost pri padu sa visine od 2 metra - Lampa mora da zodovolji mnimimalno sledeće sigurnosne i bezbjednosne uslove : EN 60079-0:2012, EN 60079:11:2012, kao i Direktivu za korišćenje u potencijalno eksplozivnim/zapaljivim zonama 94/9/EC | Please enter brand names and models, and detailed specifications based on the requested/ Molimo da navedete naziv proizvođača (brend), model i detaljne tehničke specifikacije ponuđene opreme u skladu sa zahtijevanim specifikacijama. | 0 | 9 | 0
| Headlamp/ Čeona lampa | Compact headlamp with a mixed beam, suitable for hands-free work and movement, impact-resistant. Designed to keep both hands free during operation; it can be worn on the head with a headband, attached to a helmet, or placed on the ground. Multiple lighting modes: Work mode (mixed beam providing a wide and uniform light pattern, illumination distance of 20 m with a minimum runtime of 12 hours, 30 lumens) and Movement mode (mixed beam with a focused central spot for comfortable navigation, illumination distance of 55 m with a minimum runtime of 3 hours, 70 lumens). At the end of battery life, the lamp shall automatically switch to a reserve mode, providing illumination up to 10 m for a minimum of 10 hours. Waterproof: submersible to 1 m for a minimum of 30 minutes. Compatible with alkaline, Ni-MH, Ni-Cd, and lithium batteries. Operating temperature range: -30 °C to +60 °C. Weight: 150 g ±10%, including batteries./ Kompaktno glavno svijetlo s mješovitim snopom pogodno za praktičan rad i u pokretu, otporno na udare. Održava vaše ruke slobodnima za rad: može se nositi na glavi s trakom za glavu, pričvrstiti na kacigu ili staviti na pod. Vise načina rada osvjetljenja: prikladan za rad (mješoviti snop nudi široku i homogenu bazu, osvjetljenje na 20 m minimalno 12 sati, 30 lumena), prikladan za kretanje (mješoviti snop s komponentom fokusiranom na vrhu snopa koja vam omogućuje udobnu navigaciju, osvjetljenje na 55 m minimalno 3 sata, 70 lumena). Na kraju vijeka trajanja baterija, automatski se prebacuje u "rezervni" način rada (svjetljenje na 10 m minimalno 10 sati). Vodonepropusnost: (uranjanje na 1 m minimum 30 minuta). Kompatibilan s alkalnim baterijama, Ni-Mh, Ni-Cd i litijum baterijama. Radni raspon od -30 do + 60°C. Težina: 150 g +- 10 % sa baterijama |  | 0 | 5 | 0
| GPS device/ GPS uređaj | GPS Device: 2.2-inch (diagonal) monochrome display, sunlight-readable, Waterproof in accordance with IPX7 standard, Battery life of up to 25 hours using 2 AA batteries, Supports paperless geocaching, Capable of storing up to 2,000 geocache entries./ GPS uređaj: 2,2-inčni (dijagonala) crno-bijeli zaslon čitljiv na suncu, vodootporan prema standardu IPX7, do 25 sati rada uz 2 AA baterije, geocaching bez papira, podržava do 2000 geocache stavki. |  | 0 | 2 | 0
| 11–12 mm Static Climbing Rope/ Planinarsko uže 11 - 12 mm | 11–12 mm Static Climbing Rope – 200 m Static rope for enhanced efficiency in work at height and technical rescue operations, including long descents where intermediate anchor points are not available. - Low elongation to minimize the yo-yo effect during rope progression. - Provides optimal precision for rope access and work positioning. - Standard diameter ensuring a secure grip and easy handling. - 100% polyester construction with a braided core. - Technology providing long-lasting flexibility under various conditions (water, dust, mud), maintaining excellent handling characteristics and optimum compatibility with rope devices. Technical Specifications: Material: Polyester, Diameter: 11–12 mm, Length: 200 m, Weight: 100 g/m, Minimum breaking strength with sewn termination: 22–27 kN, Minimum breaking strength with figure-eight knot: 15–17 kN, Construction: 32-carrier braided sheath, Sheath percentage: 37–40%, Static elongation under 1.35 kN load: 2.2%, Static elongation under 2.7 kN load: 3./ Planinarsko uže 11 - 12 mm – 200 metara Statičko uže za veću efikasnost u radu na visini i tehničkom spašavanju koje uključuje duge spustove kada srednja sidra nisu moguća - Nisko produženje smanjuje yo-yo efekt tokom progresije - Optimalna preciznost pri napredovanju na užetu i pozicioniranju - Standardni promjer osigurava dobro prianjanje za lakše rukovanje - Konstrukcija od 100% poliestera s pletenom jezgrom - Tehnologija koja pruža veliku fleksibilnost tokom vremena i u različitim uslovima (voda, prašina, blato), omogućujući joj da održi izvrsno rukovanje i optimalne performanse s uređajima Tehnički podaci: Materijal(i): poliester, Težina po metru: 100 g , Čvrstoća sa ušivenim završetkom od 22 kN do 27kN, Čvrstoća vezana čvorom osmice: od 15kN do 17 kN, Konstrukcija: 32 nosača, Postotak omotača: 37 %- 40 %, Statičko istezanje pod opterećenjem od 1,35 kN: 2,2 %, Statičko istezanje pod opterećenjem od 2,7 kN: 3,2 %, Statičko istezanje pod opterećenjem od 4,4 kN: 4,2 %. |  | 0 | 200 | 0
| Mountaineering Anchor with Hanger/ Anker sa uvom za alpinizam | Mountaineering Anchor with Hanger Steel anchor assembly consisting of a hanger plate, expansion bolt, and nut. Large, ergonomic attachment hole for easy connection of a carabiner. The attachment hole is wide enough to accommodate two carabiners simultaneously. Designed to reduce connector wear through the increased thickness of the hanger material and rounded edges of the attachment hole. Anti-rotation design: raised features on the rear side of the hanger prevent rotation during installation and under high lateral loads during use. Technical Specifications: Diameter: 12 mm, Drill hole depth: 85 mm, Tensile strength in 50 MPa concrete: 23 kN, Pull-out resistance in 50 MPa concrete: 15 kN, Weight: 110 g ±3%/ Anker sa uvom za alpinizam Čelični sklop koji se sastoji od ploče, klina i matice. Velika i ergonomska rupa za spajanje koja olakšava pričvršćivanje karabinera, Širina rupe omogućuje istovremeno postavljanje dva karabina. Sprječavanje trošenja konektora: Velika debljina materijala umetka, kao i zaobljeni rubovi priključne rupe, ograničavaju trošenje konektora. Sastav protiv rotacije jastučića: reljefi na zadnjoj strani sprječavaju rotaciju jastučića prilikom postavljanja privezišta, ali i tokom korišćenja, tokom jakih bočnih naprezanja. Tehničke specifikacije: Promjer 12 mm., Duljina bušenja: 85 mm., Čvrstoća betona 50 MPa: 23 kN., Otpornost na kidanje 50 MPa beton: 15 kN, Težina: 110 g+-3%. |  | 0 | 50 | 0
| Field Backpack/ Ranac/ruksak za teren | Field Backpack Comfortable and heavy-duty backpack with a capacity of 30–45 litres, designed for field operations. Manufactured from PVC-free materials, with a welded construction providing high durability and strength. Suitable for carrying over long distances, featuring a padded back panel, shoulder straps, and waist belt. Designed for use in demanding environments and equipped with an identification/document pocket. Features: - Padded waist belt, shoulder straps, and back panel for enhanced carrying comfort, - Top flap with an internal pocket for identification cards or personal documents, - PVC-free coated fabric with welded construction for increased durability, - Roll-top closure system, easy to operate and designed for use in harsh environments, - Side and top carrying handles for manual transport, - Internal hanging loop for suspending the backpack in an open position. Technical Specifications: Capacity: 30–45 litres, Weight: 1,250 g ±3%, Materials: TPU, polyester, EVA, polypropylene, Colour: Olive / Black/ Ranac/ruksak za teren Posebno udoban i robustan ruksak od 30 - 45 litara. Izrađen je od materijala bez PVC-a, a njegova zavarena konstrukcija pruža veliku čvrstoću. Idealan je za nošenje na velike udaljenosti s podstavljenom zadnjom pločom, pojasom i naramenicama. Namijenjena je za korištenje u teškim uslovima, a ima i džep za lična dokumenta. Opis: - Pojas, naramenice i zadnja ploča podstavljeni su za udobnost. - Gornji poklopac s unutarnjim džepom za identifikacijske kartice. - Obložena tkanina (bez PVC-a) sa zavarenom konstrukcijom za veću čvrstoću. - Zatvaranje s korpom jednostavno za rukovanje, dizajnirano za teška okruženja. - Bočne i gornje ručke za ručno nošenje. - Unutarnja omča za vješanje paketa u otvorenom položaju. Tehnički podaci: Težina: 1250 g+-3%, Zapremina: 30 - 45 litara, Materijal(i): TPU, poliester, EVA, polipropilen, Boja: maslina / crna |  | 0 | 10 | 0
|  | Requested | Offered | Total without VAT/Ukupno bez PDVa: |  | 0
| Delivery date and time | Bidder shall deliver the goods at place within 60 days after Contract signature date./ Ponuđač je dužan da isporuči robu na mjesto isporuke u roku od 60 dana od dana potpisivanja ugovora. | Please specify the offered delivery period/ Molimo Vas da unesete ponuđeno vrijeme isporuke | VAT/PDV: |  | 0
| Warranty Period | minimum: 24 months/24 mjeseca | Please specify the offered warranty period/ Molimo Vas da unesete ponuđeno trajanje garancije | Total with VAT/Ukupno sa PDV-om: |  | 0
I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted./ Ja, dolje potpisani/a, potvrđujem da sam ovlašćen/a da potpišem ovu ponudu i obavežem niže navedenu kompaniju u slučaju da ponuda bude prihvaćena.
|  | Name and address of company/Naziv I adresa kompanije | Authorized Signature/Potpis:
|  | Company Name/Naziv: Click or tap here to enter text. | Date/Datum:
|  | Address/Adresa: Click or tap here to enter text. | Name and surname/Ime I prezime: Click or tap here to enter text.
|  | Phone No./Telefon: Click or tap here to enter text. | Functional Title of Authorised Signatory/Funkcija: Click or tap here to enter text.
|  | Email Address/E-mail adresa: Click or tap here to enter text. | Email Address/E-mail adresa: Click or tap here to enter text.