GOVERNMENT OF MONTENEGRO

MINISTRY OF SUSTAINABLE DEVELOPMENT AND TOURISM OF MONTENEGRO

MUNICIPAL WASTEWATER MANAGEMENT PLAN OF MONTENEGRO

(2020-2035)

Designer:                Beneficiary:                 EU funded Project

Podgorica, 2019

FWC BENEFICIARIES 2013 – LOT6

EuropeAid/132633/C/SER/multi

MINISTRY OF SUSTAINABLE DEVELOPMENT AND TOURISM

MUNICIPAL WASTEWATER MANAGEMENT PLAN OF MONTENEGRO

(2020-2035)

Project: “Revision of the Master Plans for Urban Wastewater Measures and Preparation of Implementation Plan for the Urban Wastewater Treatment Directive 91/271/EEC”

FWC BENEFICIARIES 2013 – LOT6

EuropeAid/132633/C/SER/multi

RfS N° IPA III/2012-2013/FW 19/2-02-421/1

Presented by:

Prepared by

Nenad Čolić,

Dragana Matić,

Đorđe Mitrović, and

Giovanni Gordiani

This Document was prepared with financial assistance from the EU.

Project Information Summary

| Program Name | FWC BENEFICIARIES 2013 – LOT6: Environment EuropeAid/132633/C/SER/multi |  |  |
| --- | --- | --- | --- |
| Project Name | Revision of the Master Plans for Urban Wastewater Measures and Preparation of a first draft Directive Specific Implementation Plan for the Urban Wastewater Treatment Directive 91/271/EEC |  |  |
| Contract Reference Number | RfS N° IPA III/2012-2013/FW 19/2-02-421/1 |  |  |
| Project duration | 8 months (7 months for the implementation of tasks and 1 month for submission and approval of the final report) |  |  |
| Project Commencement Date | April 24, 2017 |  |  |
| Indicative Project End Date | November 30, 2018 |  |  |
| Role: | End Recipient | Contracting Authority | Contractor (Consultant) |
| Name: | Ministry of Sustainable Development and Tourism, | Directorate of Public Works | AGRECO Consortium |
| Address: | IV Proleterske brigade 19, 81000, Podgorica, Montenegro | Novaka Miloševa 18, 81000, Podgorica, Montenegro | Avenue Louise 251-bolte 23 1050 Bruxellles, Belgium |
| Phone: | +382 20 446208 | +382 (020) 230 223 +382 (020) 230 227 | +32 (0)2 262 33 24 |
| Fax: |  | +382 (020) 230 228 | +32 (0) 646 35 02 |
| E-mail: | dragan.asanovic@mrt.gov.me | resad.nuhodzic@djr.gov.me | agreco@agreco.be |
| Contact Person: | Mr Dragan Asanović Director General of Directorate for waste management and communal services development | Mr Rešad Nuhodžić Director | Ms Muriel Vives Project Manager |
| Overall objective | The global objective of the project is to facilitate the implementation of the environmental legislation in the area of water management related to the UWWTD, 91/271/EEC. |  |  |
| Specific objectives | Consolidated Master Plan for Wastewater Management covering the entire territory of Montenegro, based on the revision and update of the two existing Master Plans for the upcoming period of 2018-2035 First draft (Directive Specific Implementation Plans) DSIP for the UWWTD |  |  |
| Expected results | Result 1: Consolidated Master Plan for Waste Water Management covering the entire territory of Montenegro (2018 – 2035) Result 2: Development of Directive Specific Implementation Plan for the UWWTD, 91/271/EEC |  |  |

| Key activities | - Activity 1.1: Data Collection and analysis of the current situation: Information collection, review, analysis, verification and use for elaboration of the Consolidated Master Plan for Wastewater Management covering the entire territory of Montenegro for the period 2018 – 2035. - Activity 1.2: Revision of the Master Plans: Review and analysis of existing Master Plans, with regards to the Legal, Organisational, institutional, Financial and Economic situation related to the environmental and wastewater sector in Montenegro; Preparation of a long list of integrated wastewater collection and treatment investment measures with projections for the 2018-2035 period; Development of indicative Capital Investment Costs (CAPEX) and Operational & Maintenance Costs (OPEX) projections; Elaboration of Priority Investment Plans (PIP) defining, stand-alone packages of new integrated wastewater collection and treatment investment measures; Preparation of a Risk Matrix/ Register with major risks and opportunities to the success of the investment measures identified; compilation of the Consolidated Master Plan for Wastewater Management. - Activity 2.1: DSIP Preparatory activities Assessment and Evaluation of wastewater infrastructure projects formulation, based on treatment requirements according to the UWWTD, according to: - population size of agglomerations discharges - type of receiving waters Analysis of key steps, risks and assumptions, including - environmental impacts; - transboundary effects (benefits or negative impacts) - climate related objectives Preparation of the DSIP scope and contents; Preparation of the DSIP development process: coordination, communication and stakeholders’ involvement. - Activity 2.2: Development of DSIP Select and compile the relevant data from the revised Master Plans to the Directive Specific Implementation Plans, including: - Current status of the legislative and institutional set-up, current status with the transposition of the directive, and current status of the implementation of the measures arising from the directive; - Gap assessment and identification of investment actions in compliance with the directive's requirements; - Long list of investment measures required to fully implement the directive with timetable for implementation; |
| --- | --- |
|  | - Analysis of affordability issues on national, municipal, and household levels; - Screening, and ranking of investment measures and preparation of Priority Investment Plans. Analysis and proposal for institutional arrangements to comply with the directive requirements and for preparation of Institutional development plan; Analysis of potential sources of finance; Preparation of short term, medium term and long term initiatives (including short list of priority projects); Preparation of Timetable for full implementation (with target dates and milestones); Development of measures for supervising and monitoring of the implementation. |
| Reporting Period | Master Plan |
| Version/revision | Final Report, March 2019 |
| Authors of the Report | Nenad Čolić, Dragana Matić, Đorđe Mitrović, Giovanni Gordiani |

# Table of Contents

LIST OF TABLES	v

TABLE OF FIGURES	vii

1	EXECUTIVE SUMMARY	13

1.1	Introduction and Background to the Project	13

1.2	Summary of the Inception Phase Activities	15

1.3	Summary of the Implementation Phase Activities	15

1.4	Summary of the results and recommendations	18

1.4.1	Current Status of Wastewater Management	18

1.4.2	Projections - summary	22

1.4.3	Urban Wastewater Management – Proposed Measures	24

1.4.4	Cost Assessment	29

1.4.5	Implementation Plan	33

1.4.6	Implementation Schedule, Financing Plan, Tariffs Setting and Affordability	33

1.4.7	Identification of Potential Financing Sources	46

1.4.8	Legal and Institutional Issues Related to Wastewater Management - Summary	50

2	INTRODUCTION AND PROJECT BACKGROUND	52

2.1	Project Objectives	53

2.1.1	Global objective	53

2.1.2	Specific objectives	53

2.2	Master Plan Structure	54

2.3	Project Deliverables	54

2.4	Inception Period Activities	56

2.5	Work Plan	57

3	THE PROJECT AREA	58

3.1	Introduction	58

3.2	Population estimates	58

3.2.1.	Current situation	58

3.2.2	Data on population growth	61

3.2.3	Analysis of available data on tourism	64

4	Inventory and assessment of existing infrastructure	68

4.1	Wastewater collection	68

4.1.1	Wastewater collection networks	68

4.1.2	Pumping facilities and pressure mains	77

4.1.3	Sea wastewater/effluent outfalls	79

4.1.4	Measurements, control and management of wastewater balances	80

4.1.5	Main conclusions regarding wastewater collection systems	81

4.2	Wastewater treatment	83

4.3	Sewage sludge management	93

4.4	On-site sanitation	95

4.5	Data on Industrial Effluents	97

4.5.1	European Legislation on Industrial Wastewater	97

4.5.2	National regulations and practices for controlling discharges of wastewater in public sewerage and natural recipients	98

4.5.3	Impact of industrial discharges on wastewater treatment and sludge quality	98

4.5.4	Industrial wastewater discharges management	99

4.5.5	Questionnaire prepared for industrial wastewater	100

4.5.6	Responses to Questionnaires received	101

4.6	Principle requirements related to urban wastewater management	103

4.6.1	Requirements in accordance with the Directive 91/271/EEC	103

4.6.2	Requirements and schedules in accordance with the national legislation	104

4.6.3	Proposal for optimised schedule of implementation of the UWWTD	106

4.7	Conclusions – assessment of compliance gap	110

4.8	Drinking Water Supply in the Project Area - Overview	112

4.8.1	Introductory notes	112

4.8.2	Water Supply Systems – Features and Status	112

4.8.3	Drinking water quality status assessment	122

4.8.4	Principle requirements related to drinking water supply	126

4.8.5	Protected areas – drinking water supply sources	127

4.8.6	Conclusions regarding drinking water supply services	128

5	Projections	129

5.1	Population projection	129

5.2	GDP forecast	132

5.3	Tourism - projections	133

5.4	Wastewater and pollutant loading projections	137

5.4.1	Agglomeration delineation	137

5.4.2	Service coverage	141

5.4.3	Wastewater pollutant loadings	142

5.4.4	Wastewater balances projection	145

6	URBAN WASTEWATER MANAGEMENT –  INFRASTRUCTURE REQUIREMENTS AND MEASURES	147

6.1	Infrastructure Requirements - General	147

6.2	Technical measures – projects under implementation	148

6.3	Technical measures – rehabilitation and upgrade of wastewater collection	150

6.4	Measures related to wastewater collection and disposal	153

6.5	Provision of wastewater treatment	157

6.5.1	Wastewater treatment - General	157

6.5.2	Effluent Requirements	159

6.5.3	Wastewater Treatment Processes	160

6.5.4	Selection of Wastewater Treatment Options	165

6.5.5	Proposed Configuration of WWTPs	171

6.6	Sewage sludge management	175

6.6.1	Preliminary projection of process sludge quantities	177

6.6.2	Proposed Sludge Management Options	179

6.6.3	Correlation with National Waste Management Plan	183

6.6.4	Minimum actions required	184

7	PROJECT COSTS AND IMPLEMENTATION PLAN	186

7.1	Methodology of Cost Assessment	186

7.2	Wastewater Collection and Treatment – Investment Cost Overview	188

7.3	Wastewater Infrastructure Measures – Investment Cost Overview per size of agglomeration	193

7.4	Proposed Project Implementation Plan	194

7.4.1	Prioritisation of investments	194

7.4.2	Implementation Plan	196

8	IMPLEMENTATION SCHEDULE, COSTS, FINANCING PLAN AND TARIFFS SETTING	199

8.1	Introduction	199

8.2	Investment Costs	199

8.3	Financing Sources	205

8.4	Wastewater Projection	205

8.5	Operation, Maintenance and Depreciation Costs	206

8.6	Recommended Tariff Increases by Municipality	209

8.7	Affordability Analysis	213

8.8	Funding Gap Estimation	216

8.9	Financial Performance Indicators	217

8.10	Financial Sustainability of the Project	218

9	IDENTIFICATION OF POTENTIAL FINANCING SOURCES	219

9.1	Introduction	219

9.2	Potential Financing Sources	219

9.3	Projection of Potential Financing Sources	221

10	LEGAL AND INSTITUTIONAL ISSUES RELATED TO WASTEWATER MANAGEMENT IN MONTENEGRO	224

10.1	Introduction	224

10.2	Analysis and Proposals for Amendment of Legal Basis	226

10.2.1	Strategic documents overview	226

10.2.2	Legal documents overview	226

10.2.3	Gap Analysis	229

10.3	Assessment of Institutional Setup	232

10.3.1	Integration of the overall status provided in the Inception Report. Preliminary Assessment of the Institutional Framework	232

10.3.2	General assessment and recommendations	233

10.4	Potential Impact of New Legislation Related to the Implementation of Master Plan	235

11	REGULATORY AND INSTITUTIONAL ASPECTS OF ENVIRONMENTAL LICENSES AND PERMITS RELATED TO IMPLEMENTATION OF THE MEASURES	237

11.1	Introduction	237

11.2	Gap Analysis	239

11.2.1	Gap Analysis Based on Articles Sufficiently Harmonised	240

11.2.2	Gap Analysis Based on Articles Insufficiently Harmonised	240

11.3	Institutional issues on permitting	243

12	PRIORITISATION AND RANKING OF WASTEWATER INFRASTRUCTURE PROJECTS	244

12.1	Introduction	244

12.2	Methodology for Ranking and Prioritisation of Investment Measures	245

13	RISKS MANAGEMENT OF WASTEWATER MANAGEMENT MEASURES	247

13.1	Introduction	247

13.2	Methodology for Wastewater Projects Risks Management	247

13.3	Potential risks and related mitigation actions	247

14	Annexes	252

14.1	Annex 1 - Inventory and overview of communal wastewater management	252

14.2	Annex 2 – Performance of existing WWTP-s	254

14.3	Annex 3 - Questionnaire on industrial discharges in relation to the UWWTD	255

14.4	Annex 4 - List of national industrial activity codes to Annex III of the UWWTD	257

14.5	Annex 5 – Questionnaires received from industries (enclosed as a separate file)	260

14.6	Annex 6 - Provisions of the Decision on delineation of sensitive areas	261

14.7	Annex 7 – Definition of Representative Wastewater Flow Data	267

14.8	Annex 8 – Debriefing Meetings	273

14.9	Annex 9 – Table of Concordance with the UWWTD	274

14.10	Annex 10 – Financial Cost Benefit Analysis for the Compliance Measures – separate file	282

14.11	Annex 11 - Income Statements and Balance Sheets for Utility Companies in the Project Area – separate file	282

14.12	Annex 12 – Current Water and Wastewater Tariffs and Affordability – separate file	282

14.13	Annex 13 – Financial Analysis and Borrowing Capacity of the Municipalities – separate file	282

14.14	Annex 14 - Identification of Potential Financing Sources – separate file	282

14.15	Annex 15 - Prioritisation and Ranking of Investment Measures for Wastewater Management in Montenegro – separate file	282

14.16	Annex 16 - Risk Management of Investment Measures for Wastewater Management in Montenegro – separate file	282

14.17	Annex 17 – General Layout Map – Service Zones, separate file	282

14.18	Annex 18 – General Layout Map – Service Coverage, separate file	282

14.19	Annex 19 – General Layout Map – River Basins, separate file	282

14.20	Annex 20 – General Layout Map – Major WWTP-s, separate file	282

14.21	Annex 21 – Detail Layouts of Existing and Planned Wastewater Infrastructure by Agglomeration, separate files	282

# LIST OF TABLES

Table 1.1 - Main Project outputs	14

Table 1.2 – Wastewater collection service coverage	19

Table 1.3 –  UWWTD - preliminary assessment of compliance/gaps	21

Table 1.4 – Projection of typical wastewater pollutant loadings till 2041 (PE)	24

Table 1.5 – WW projection till 2041, volumes (generated, collected, treated where applicable)	24

Table 1.6 – Wastewater infrastructure measures – overview of investments costs by municipality (€ thousand)	30

Table 1.7 – WW collection and treatment measures – CAPEX per size class of agglomerations	32

Table 1.8 – Proposed Implementation Plan for the UWWTD	33

Table 1.9 – Total Gross Investment in Wastewater Sector per Municipality (000 EUR, constant prices, 2018)	35

Table 1.10 – Summary OM Costs in “With-Project” Scenario (M EUR, Constant Prices, 2018)	36

Table 1.11 – AIFC of various compliance measures components	37

Table 1.12 – Tariff Increase,“with-project” scenario, households (constant prices 2018, €/m3,no VAT)	38

Table 1.13 – Cash-flow “with”&“without-project” scenarios (M EUR, Constant Prices, 2018)	41

Table 1.14 – Water services – affordability projection	42

Table 1.15 – EC Funding Gap Calculation of the Project (€ thousand)	43

Table 1.16 – Financial Performance indicators before and after EU assistance	44

Table 1.17 –Financial Sustainability of the Project (€ Million)	45

Table 1.18 –Projection of financing sources and the proposed investment programme	48

Table 2.1 - Project deliverables	54

Table 2.2 – Project debriefing meetings	55

Table 3.1 -  Population of the Project Area, per municipality, settlement type (2011 Census)	58

Table 3.2 - Size of settlements by municipality (2011 Census)	60

Table 3.3 - Settlements with population in excess of 2000 by municipality (2011 Census)	61

Table 3.4 -  Rate of natural population growth by municipality in Montenegro, 2015 data	61

Table 3.5 - Population in Montenegro by municipalities for the years 2000 through to 2016 (mid year)	63

Table 3.6 - Tourist arrivals and overnight stays by municipalities, May 2017	64

Table 3.7 - Surveys on bedding capacity in Montenegro, 2005 data	65

Table 3.8 - Concentration of overnights in Montenegro in the summer months	66

Table 3.9 - Tourist overnights, August 2015 and 2016	67

Table 4.1 - Population estimate per municipality in settlements pertaining to agglomerations	71

Table 4.2 – Wastewater pumping facilities and pressure mains (main features)	77

Table 4.3 – Major sea outfalls in the Coastal region	80

Table 4.4–Inventory of the existing WWTPs and WWTPs under construction	83

Table 4.5– Main characteristics of the existing WWTPs	84

Table 4.6 – Population with WW services and on-site sanitation	95

Table 4.7 – Current tariffs for cesspool emptying services in Podgorica	96

Table 4.8 – List of industries that provided responses to the questionnaire	101

Table 4.9 – Updated, optimised schedule for implementation of the UWWTD	109

Table 4.10 – UWWTD - preliminary assessment of compliance/gaps	111

Table 4.11 – Drinking water supply service coverage per LSGU	114

Table 4.12 – Drinking water supply services – main physical features	115

Table 4.13 – Drinking water supply services – Basic water balances and related performance indicators	116

Table 4.14 – Ovreview of characteristics oh major water sources	118

Table 4.15 – Status overview of drinking water source protected zones	122

Table 4.16 – Monitoring of drinking water quality - 2014	124

Table 4.17 – Monitoring of drinking water quality - 2015	125

Table 4.18 – Monitoring frequency requirements of the DWD	126

Table 5.1 - Population projection variants (MONSTAT, 2014)	130

Table 5.2 - Emerging and Developing Europe – real GDP projection (% change, 2015-2022)	132

Table 5.3 – Tourist accommodation capacities 2012-16	133

Table 5.4 – Current and projected maximal seasonal tourist occupancy	136

Table 5.5 – Agglomerations defined in the Rulebook (Act) Agglomeration Act, optimised	138

Table 5.6 – Population projection per municipality (in agglomerations only)	140

Table 5.7 – Projection of typical wastewater pollutant loadings (thousand PE)	143

Table 5.8 – Projection of max. seasonal WW pollutant loading per agglomeration (103 PE)	143

Table 5.9 – Gap estimate related to UWWTD Article 3–collection systems (# of population)	144

Table 5.10 – Wastewater projection till 2041, volumes (generated and collected)	146

Table 6.1 – Major wastewater projects under implementation	149

Table 6.2 – Proposed scope of wastewater collection renovation/rehabilitation per LSGU/ region	152

Table 6.3 – Proposed technical measures (wastewater collection, conveyance and disposal)	155

Table 6.4 – Required effluent quality for discharge into sensitive areas (10,000-100,000 PE)	159

Table 6.5 – Required effluent quality for discharge into sensitive areas for WWTPs > 100,000 PE	159

Table 6.6 – Required effluent quality for discharge into non-sensitive areas	160

Table 6.7 – Required effluent quality for discharge into the ground or reuse in irrigation	160

Table 6.8 –Wastewater Treatment Processes relative to Effluent Requirements	160

Table 6.9 – Required Level of Wastewater Treatment	165

Table 6.10 – Variations of Suspended Growth Activated Sludge Process	166

Table 6.11 – Variations of Attached Growth Activated Sludge Process	167

Table 6.12 – Advantages and Disadvantages of Process Treatment Options	168

Table 6.13 – Overview of proposed WWTP-s – per agglomeration/LSGU/region	172

Table 6.14 – Overview of Selected Wastewater and Sludge Treatment Options	174

Table 6.15 – Overview of Sludge Management Options and Sludge Quantities	181

Table 7.1 – Wastewater infrastructure measures – overview of investments costs by agglomeration (€ thousand)	189

Table 7.2 – Wastewater collection and treatment measures – overview of investments costs by municipality (€ thousand)	191

Table 7.3 – WW collection and treatment measures – CAPEX per size class of agglomerations	193

Table 7.4 – Proposed Implementation Plan for the UWWTD	197

Table 7.5 – Preliminary detail Implementation Plan, by agglomeration	198

Table 8.1 – Investment Plan 2019-2035 (000 EUR, Constant Prices, 2018)	200

Table 8.2 – Gross Investment Project Costs (000 EUR, constant prices, 2018)	202

Table 8.3 – Total Gross Investment in Wastewater Sector per Municipality (000 EUR, constant prices, 2018)	204

Table 8.4 –Project Potential Financial Sources	205

Table 8.5 – Wastewater Projection in the “With-Project” Scenario (Mil m3/year)	206

Table 8.6 – Summary OM Costs in “With-Project” Scenario (M EUR, Constant Prices, 2018	206

Table 8.7 – AIFC of various compliance measures components	207

Table 8.8 – Full cost recovery tariffs (EUR/m3)	208

Table 8.9 – Tariff Increase in “with-project” scenario (EUR, Constant prices 2018, EUR/m3-w/o VAT)	209

Table 8.10 – Cash-flow “with”&“without-project” scenarios (M EUR, Constant Prices, 2018)	212

Table 8.11 – Water services – affordability projection	214

Table 8.12 – Required amount of subsidies for low-income households (EUR million/year)	215

Table 8.13 – EC Funding Gap Calculation of the Project	216

Table 8.14 – Financial Performance indicators before and after EU assistance	217

Table 8.15 –Financial Sustainability of the Project (Million EUR)	218

Table 9.1 –Projection of financing sources and the proposed investment programme	222

Table 10.1 – Transposition level achieved for UWWTD in 2015 and 2016	227

Table 10.2 – Summary of relevant legislation	228

Table 11.1 – Translation of the Articles 172, 189, 190 and 191	241

Table 12.1 – Prioritisation Criteria/Sub-criteria & correlation with SPP Prioritisation Criteria	246

Table 13.1 – Preliminary Project-specific Risk Matrix	248

Table 14.1 – Overview of communal WW management – service coverage and main physical features (per municipality)	253

Table 14.2 – WWTP Podgorica – influent volume and quality in 2016	254

Table 14.3 – WWTP Podgorica – effluent volume and quality in 2016	254

Table 14.4 – Questionnaire on industrial discharges in relation to the UWWTD	255

Table 14.5 – List of national industrial activity codes to Annex III of the UWWTD	257

Table 14.6 – Table of Concordance of the national legislation with the UWWTD	274

# TABLE OF FIGURES

Figure 1.1 – WW collection service coverage per region	20

Figure 1.2 – Average compliance rates with the UWWTD, Montenegro 2018 (PE)	21

Figure 1.3 – Average compliance rates with the UWWTD, Montenegro 2018 (%)	22

Figure 1.4 - Population projection variants (MONSTAT)	22

Figure 1.5 – Wastewater collection & treatment service coverage (#)	23

Figure 1.6 – Estimated incremental annual O&M and depreciation costs	32

Figure 1.7 – Cumulative Investment Costs (€ thousand, 2018 constant prices)	34

Figure 1.8 – Proposed and full cost recovery WW tariffs – Northern region (EUR/m3)	39

Figure 1.9 – Proposed and full cost recovery WW tariffs – Central region (EUR/m3)	39

Figure 1.10 – Proposed and full cost recovery WW tariffs – Coastal region (EUR/m3)	39

Figure 1.11 – Proposed and full cost recovery WW tariffs – national level (EUR/m3)	40

Figure 1.12 – Borrowing capacity of local self-governments (million EUR, 2017)	46

Figure 1.13 – Funding Gap per Municipality (M EUR, 2017 constant prices)	47

Figure 1.14 –UWWTD - Available financial resources and investment	49

Figure 3.1 - Population Density (2011 Census)	59

Figure 3.2 - Rates of Migration Balance by municipality in Montenegro, 2015 data	62

Figure 3.3 -Tourist arrivals and overnight stays in the most visited municipalities (%), May 2017	64

Figure 3.4 - Overnight stays in Montenegro by source market	66

Figure 3.5 -Recorded arrivals per month over the period 2002–2007	66

Figure 4.1 – WW collection service coverage per region (# of population)	68

Figure 4.2 – WW collection service coverage per region (% of population)	69

Figure 4.3 – WW collection service coverage per region (% of population in agglomerations)	72

Figure 4.4 – WW collection service coverage per municipality (% of population in agglomerations)	72

Figure 4.5 – WW collection network density indicator (# users per km of network)	73

Figure 4.6 – WW collection network density indicator (m of network per user)	73

Figure 4.7 – Length of sewerage network per municipality	74

Figure 4.8 – Sewerage network density per municipality (# users/km)	74

Figure 4.9 – Sewerage network density per municipality (m of network/user)	75

Figure 4.10 – Reported average network age by municipality (years)	76

Figure 4.11 – Network blockage indicator (# blockages/km/year)	76

Figure 4-12 – WWTP in Podgorica – aerial view	85

Figure 4-13 – WWTP Podgorica – effluent water quality - TSS	86

Figure 4-14 – WWTP Podgorica – effluent water quality – COD	86

Figure 4-15 – WWTP Podgorica – effluent water quality – BOD5	87

Figure 4-16 – WWTP in Nikšic	87

Figure 4-17 – WWTP Budva layout	88

Figure 4-18 – WWTP in Budva, SBR units	88

Figure 4-19 – WWTP Kotor-Tivat layout	89

Figure 4-20 – WWTP Kotor-Tivat (SBR units)	89

Figure 4-21 – WWTP Herceg Novi, layout	90

Figure 4-22 – WWTP Herceg Novi, SBR units	90

Figure 4-23 – WWTP in Mojkovac	90

Figure 4-24 – WWTP in Žabljak	91

Figure 4-25 – Šavnik Constructed Wetland	91

Figure 4-26 – Existing Structures of Rijeka Crnojevića WWTP	92

Figure 4-27 – Construction of WWTP Pljevlja	92

Figure 4-28 – Construction of WWTP Berane	93

Figure 4-29 – WWTP Berane under construction - layout	93

Figure 4.30 – UWWTD sensitive areas in Montenegro – overview map	105

Figure 4.31 – Average compliance rates with the UWWTD, Montenegro 2016 (PE)	111

Figure 4.32 – Average compliance rates with the UWWTD, Montenegro 2016 (%)	111

Figure 4.33 – Service coverage - # of population connected to different types of supply	113

Figure 4.34 – Service coverage - % of population connected to different types of supply	114

Figure 4.35 – Household unit water consumption rate per region (lcd)	116

Figure 4.36 – Recorded NRW in water supply systems per region (% of input)	117

Figure 4.37 – NRW per length of network (m3/km/day)	117

Figure 4.38 – Water resources availability/utilisation – average abstraction v.s. capacity	120

Figure 4.39 – Water resources deficit/surplus at regional level	121

Figure 4.40 – Water resources deficit/surplus at municipal level	121

Figure 4.41 – Number of municipalities with water supply deficits	121

Figure 4.42 – Number of municipalities with insufficient clear water storage capacities	122

Figure 4.43 – Non-compliance of drinking water in terms of physicochemical parameters	123

Figure 4.44 – Non-compliance of drinking water in terms of microbiological parameters	123

Figure 5.1 - Population projection variants	131

Figure 5.2 – Registered tourist accommodation 2012-16	133

Figure 5.3 – Registered annual number of tourist overnight stays 2010-16	134

Figure 5.4 – Registered monthly number of tourist overnight stays 2012-16	134

Figure 5.5 – Max monthly/seasonal tourist overnight stays 2010-16	135

Figure 5.6 – Population projection – in delineated agglomerations	140

Figure 5.7 – Wastewater collection & treatment service coverage (#)	141

Figure 5.8 – Wastewater collection & treatment service coverage (#)	141

Figure 5.9 – Wastewater projection till 2041, volumes	146

Figure 6.1 – Wastewater networks – pipe materials	150

Figure 6-2 – General Wastewater Treatment Scheme for non-sensitive areas	162

Figure 6-3 – Sensitive areas - General BNR arrangement	163

Figure 6-4 – Sensitive areas - Process scheme with BNR and Primary treatment	164

Figure 6.5 – Sludge Treatment Scheme for Larger WWTPs	170

Figure 6.6 – Biogas Treatment and Utilisation Scheme	170

Figure 6-7 –Configuration of WWTPs	171

Figure 6-8 – Processed sewage sludge projection (t/y) per region	178

Figure 6-9 – Processed sewage sludge projection (m3/y) per region, min. DS≥35%	178

Figure 7.1 – Wastewater collection network cost function	187

Figure 7.2 – Wastewater infrastructure measures–unit costs per class size of agglomerations	194

Figure 8.1 – Cumulative Investment Costs (EUR, 2018 constant prices)	203

Figure 8.2 – Proposed and full cost recovery WW tariffs – Northern region (EUR/m3)	210

Figure 8.3 – Proposed and full cost recovery WW tariffs – Central region (EUR/m3)	211

Figure 8.4 – Proposed and full cost recovery WW tariffs – Coastal region (EUR/m3)	211

Figure 8.5 – Proposed and full cost recovery WW tariffs – country level (EUR/m3)	212

Figure 9.1 – Borrowing capacity of local self-governments (million EUR, 2017)	220

Figure 9.2 – Funding Gap per Municipality (M EUR, 2017 constant prices)	221

Figure 9.3 –UWWTD available financial resources, investment needs 2019-35 (MEUR, constant 2018 prices)	223

Figure 14.1 – Cartographic Presentation of Sensitive Areas	264

Figure 14.2 – Major River Basins	265

Figure 14.3 – Other River Sub-basins	266

Figure 14.4 - Factor f WW, QComb - optimum combined WW flow to WWTP, from the mean annual WW flow	271

Figure 14.5 - Factor f WW, QComb for definition of optimum combined wastewater flow to WWTP	272

# List of Abbreviations

| AC | Asbestos Cement pipe |
| --- | --- |
| AS | Activated Sludge |
| ASP | Activated sludge process |
| BAT | Best Available Technology |
| BOD | Biochemical Oxygen Demand |
| BOO | BOO |
| CA | Contracting Authority |
| CCTV | Closed Circuit TV |
| CBA | Cost Benefit Analysis |
| Cl | Chlorine |
| COD | Chemical Oxygen Demand |
| DBP | Disinfection by-products |
| DEIAAS | Development of Environmental Infrastructure Audit and Affordability study Project |
| DoPW | Directorate of Public Works |
| DIS | Decentralised Implementation System |
| DSIP | Direvtive-specific Implementation Plan |
| DO | Dissolved oxygen |
| EAP | Environmental Action Plan |
| EC | European Commission |
| EIA | Environmental Impact Assessment |
| EIAAS | Environmental Infrastructure Audit and Affordability Study |
| EIB | European Investment Bank |
| EIAAS | Environmental Infrastructure Audit and Affordability Study, 2017 |
| EMP | Environmental Management Plan |
| EU | European Union |
| EUD | European Union Delegation to Montenegro |
| FS | Feasibility Study |
| FST | Final sedimentation tank |
| FWC | Framework Contract |
| GIS | Geographical Information System |
| GUP | General Urban Plan |
| IBNET | International Benchmarking Network (Word Bank-supported) |
| IEC activities | Information, Education and Communication activities |
| IED | Industrial Emissions Directive (2010/75/EU) |
| IFI | International Financial Institution |
| IMF | International Monetary Fund |
| IPA | Instrument for Pre-Accession Assistance |
| IPF MW | Infrastructure Project Facility Municipal Window |
| IPH | Institute for Public Health |
| JICA | Japan International Cooperation Agency |
| KE | Key Expert |
| lcd | Litres per capita per day (of unit water consumption) |
| LGU | Local Government Unit |
| MCDA | Multi-criteria decision analysis |
| MoARD | Ministry of Agriculture and Rural Development |
| MoE | Ministry of Economy |
| MoF | Ministry of Finance |
| MoFAEUI | Ministry of Foreign Affairs and EU Integrations |
| MoH | Ministry of Health |
| MoIA | Ministry of Interior Affairs |
| MONSTAT | Statistical Office of Montenegro |
| MoSDT | Ministry of Sustainable Development and Tourism |
| MP | Master Plan |
| MSW | Municipal Solid Waste |
| NEAS | National Strategy with Action Plan for Transposition Implementation and Enforcement of the EU Acquis on Environment & Climate Change 2016-2020 |
| NIC | National Investment Committee |
| NPAA | National programme for adoption of the acquis |
| OGoM | Official Gazette of Montenegro |
| O&M | Operation and Maintenance |
| OPRD | Operational Program Regional Development |
| PCM | Project Cycle Management |
| PE or p.e. | Population equivalent in terms of the UWWTD |
| PIP | Priority Investment Project |
| PIP | Project Implementation Plan |
| PIU | Project Implementation Unit |
| PPF | Project Preparation Facility |
| PVC | Polyvinyl Chloride |
| Procon Ltd | National project implementation unit in the field of communal infrastructure and environment protection |
| PT | Project Team |
| PUCs | Public Utility Companies |
| RBC | Rotating Biological Contactor |
| SCADA | Supervisory Control and Data Acquisition |
| SBR | Sequencing Batch Reactor |
| SPP | Single Project Pipeline |
| SPS | Sewage pumping station |
| SWOT | Strengths, Weaknesses, Opportunities, Threats (analysis) |
| TL | Team Leader |
| TA | Technical assistance |
| TD | Tender Dossier |
| TEA | Trade Effluent Agreement |
| ToR | Terms of Reference |
| TM | Technical Memorandum |
| TN | Total Nitrogen |
| TP | Total Phosphorous |
| Total N | Total Nitrogen |
| Total P | Total Phosphorous |
| UWWTD | Council Directive of 21 May 1991 concerning urban wastewater treatment (91/271/EEC) |
| UV | Ultra Violet |
| ViK | Vodovod i Kanalizacija (water utility company) or relevant department of the Communal Enterprise |
| Vodacom Ltd | Common consulting and services limited company in the area of water supply and wastewater management for the Coastal Area and Cetinje |
| WBIF | Western Balkan Investment Framework |
| WMIS | Water Information Management System |
| WMS | Water Management Strategy, 2016 |
| WTE | Waste-to-energy |
| WWFS-CR MNE | Wastewater Feasibility Study Coastal Region – Montenegro, February 2004 |
| WWTP | Wastewater Treatment Plant |

# EXECUTIVE SUMMARY

## Introduction and Background to the Project

This revised Master Plan is one of the main documents prepared as a part of the consulting services for the project titled “Revision of the Master Plans for Urban Wastewater Measures and Preparation of a draft Directive-specific Implementation Plan for the Urban Wastewater Treatment Directive 91/271/EEC”.

The project is financed under the FWC BENEFICIARIES 2013, LOT6: Environment (EuropeAid/132633/C/SER/multi, Contract ref. No: RfS N° IPA III/2012-2013/FW 19/2-02-421/1).

The requirement for preparation of a Consolidated Master Plan (MP) for Wastewater Management covering the entire territory of Montenegro (2018 - 2035) that shall form the basis for the preparation of the DSIP for the Urban Wastewater Treatment Directive 91/271/EEC (UWWTD) is stipulated in Section 2.3 of the project Terms of Reference (ToR).

The MP covers the project implementation phase and in particular:

Activity 1.1: Data  Collection and  analysis of the current situation:

Review and analysis of the current situation based on the existing relevant data collected upfront by the End Recipient and provided to the Consultant during the Inception period.

Apart from the information received during the Inception period, the Consultant received the following additional data during the project implementation:

- The Act on the determination of sensitive areas, prepared by the Ministry of Agriculture and Rural Development;

- The wastewater sub-sector Infrastructure Audit - inventory of the existing wastewater collection and treatment infrastructure. These data were prepared and presented in the Environmental Infrastructure Audit and Affordability Study (completed in 2017);

- The aforesaid Affordability study at the national and regional level for wastewater management and water supply with references and benchmarks for financial and cost-benefit analysis associated with the infrastructure development.

- National Act on Agglomerations;

- Additional data collected by the Consultant on wastewater assets, technical assessment, socio-economic data, organizational and institutional review, tariff setting policy and affordability, existing feasibility studies and a range of other available technical documentation.

Activity  1.2: Revision of the Master Plans:

- Review of the existing wastewater systems;

- Assessment of the impact of the new legislation to the implementation of the Master Plans, cross-referencing with the national strategies and country papers;

- Development of unit costs for both capital costs (CAPEX) and operational costs (OPEX);

- Review of the defined agglomerations, their requirements, socio-economic projections and water demand, based on the data received from the End Recipient;

- Preparation of the long list of investment measures and their CAPEX and OPEX;

- Preparation of Institutional,  Financial  and Economic analysis of the municipalities and Public Utility Companies (PUCs), based on the information in the Environmental Infrastructure Audit and Affordability Study;

- Preparation and elaboration of Priority Investment Plan, taking into consideration the Single Project Pipeline and Strategy with the AP, with a clear time line for full alignment with UWWTD.

In 2016 Montenegro adopted the National Strategy with Action Plan for transposition, implementation and enforcement of the EU acquis on Environment and Climate Change (the Strategy with AP) 2016-2020. According to this document, the largest and the most expensive gaps are in the infrastructure related to wastewater collection and treatment, waste management, and air quality protection. Existing strategic documents relevant to the UWWTD implementation, defining specific investment and implementation plans are (among others):

- The Strategic Master Plan for Sewerage and Wastewater in Central and Northern Region of Montenegro (2005-2029). Total projected investments were € 280 M, out of which € 34 M have been implemented (estimate) and € 88 M are assessed to be under implementation (in a general sense, not supported by tangible project data), representing € 122 M - 42% of the totally projected investment;

- The Master Plan for Wastewater Management on the Coast of Montenegro and in Cetinje Municipality (2005-2029). Total projected investments were € 278 M, out of which € 109 M have been implemented (estimate) and € 77 M are under or soon to be in implementation (representing around 66% of the total projected investments: implemented + under implementation) The figures related to the projects under implementation are not supported by tangible project-specific data, therefore should be considered as indicative only.

Although the existing Master Plans are still formally/administratively valid, they are now technically and financially outdated and incompliant with the strategic and legislative framework. Therefore, there is a need to revise, consolidate and integrate the Master Plans and consequently prepare a Directive-specific Implementation Plan (DSIP) for the UWWTD.

The specific objectives of this project are to prepare:

- Consolidated Master Plan for Wastewater Management covering the entire territory of Montenegro, based on the revision and update of the two existing Master Plans for the upcoming period of 2018-2035;

- Draft Directive-specific Implementation Plan DSIP for the UWWTD

The core of the assignment is the revision of the Master Plans taking into account the results of the affordability analysis.

Given the overall project objectives as well as other ToR requirements, the following key results and outputs are expected (Table 1.1).

Table 1.1 - Main Project outputs

| Output | Content |
| --- | --- |
| Inception Report | Results of phase 1 works |
| Master Plan for Wastewater Management in Montenegro for the period 2018 - 2035 | Consolidated Master Plan for Wastewater Management covering the entire territory of Montenegro, based on the revision and update of the existing Master Plans for the upcoming period of 2018-2035 |
| Directive Specific Implementation Plan for the UWWTD | Comprehensive planning of UWWTD investments measures implementation |
| Final Report | Presentation of all activities implemented, key findings and delivered outputs, problems encountered, solutions adopted, and recommendations remaining valid at the end of the assignment. |

## Summary of the Inception Phase Activities

During the Inception period the Consultant carried out the following main activities:

- Mobilized the Project experts, and established a project office within the MoSDT premises

- On April 24, 2017 the project kick-off meeting was held in the MoSDT offices

- Following the kick-off meeting, fact-finding consultation meetings were held with the MoSDT key staff and other key stakeholders’ staff (including Vodacom and Procon).

- Analysis of the data received from the MoSDT and identification of the gaps.

- Identification of potential risks and related mitigation actions and preparation of a draft Risk matrix – Risk Quantification – Risk allocation and identification of possible mitigation measures.

- KE1 reviewed and updated the project organization and methodology and developed the updated Work Plan.

- KE1 and KE2 prepared Questionnaires on issues related to the current status of wastewater management. For expediting data collection the MoSDT sent the Questionnaires to municipal water utility companies

On the basis of these initial activities and interaction with the key stakeholders the Inception Report was prepared and submitted on May 19, 2017 and consequently approved on June 9, 2017 by the DoPW.

## Summary of the Implementation Phase Activities

The key activities carried out during the Project Implementation Phase are described in detail in sections 2 to 12 of this Report and in the corresponding Annexes to the Report:

Section 1 – Executive Summary summarizes all key aspects of the report including: scope and current status of wastewater infrastructure and services, projections, assessment of the gap in terms of the UWWTD, presents proposed wastewater management measures for compliance, outlines the cost assessment, shows financial and affordability analysis, conclusions of the legal and institutional analysis.

Section 2 – presents the information on the Project background, activities during the Inception Phase and Implementation Phase.

Section 3 includes the following

- Presentation of the project area followed by

  - analysis of the data on population and tourism growth

  - forecasts developed for all municipalities and for the defined agglomerations

  - estimates of population and tourism development and water demand

- Presentation of the existing wastewater assets including

  - questionnaires prepared for wastewater infrastructure

  - principles for assessment of wastewater collection and treatment infrastructure

  - wastewater collection and infiltration estimates

  - wastewater treatment infrastructure - existing, in progress or planned works

  - wastewater sea outfalls

- Data collected on industrial effluents, including

  - European legislation on industrial wastewater

  - national regulations and practices for controlling discharges of wastewater into public sewers and natural recipients

  - analysis of the impact of industrial discharges to wastewater treatment and sludge quality

  - analysis of the current practices of industrial wastewater discharges management and recommendations on improvement

  - questionnaire prepared for industrial wastewater

  - industrial wastewater discharges – projections

- Current situation on site sanitation, practices of management of septage produced and recommendations for improvements

- Methodology adopted for calculating the gap for compliance with the UWWTD 91/271/EEC

- Estimates of the development of future wastewater pollutant loads till 2035/2041

Section 4 presents the following:

- Inventory and assessment of existing infrastructure

  - Wastewater collection and treatment

  - Sewage sludge management

  - On-site sanitation

  - Data on industrial effluents

    - European legislation on industrial wastewater

    - National regulations and practices for controlling discharges of wastewater in public sewerage and natural recipients

    - Impact of industrial discharges on wastewater treatment and sludge quality

    - Industrial wastewater discharges management

    - Questionnaire prepared for industrial wastewater

    - responses to questionnaires received

- Principle requirements related to urban wastewater management - summary

- Conclusions – assessment of compliance gap

Section 5 focuses on project-related projections, including the following:

- Population projection

- GDP forecast

- Tourism - projections

- Wastewater and pollutant loading projections

  - Agglomeration delineation

  - Service coverage

  - Wastewater pollutant loadings

  - Wastewater balances projection

Section 6 elaborates on the defined wastewater infrastructure requirements and measures, including:

- Infrastructure Requirements - General

- Rehabilitation and Upgrade of Wastewater Collection

- Extension of Wastewater Collection Systems

- Provision of Wastewater Treatment

- Complementary priority measures related to treated sewage sludge management

Section 7 presents the cost assessment related to implementation and operation phases of the planned wastewater management infrastructure:

- Methodology of cost assessment

- Wastewater collection and treatment – investment cost overview

- Wastewater collection and treatment – investment cost overview per size of agglomeration

Section 8 presents the cost-benefit analysis (CBA) carried out for the financial feasibility and viability of the needed wastewater measures, in strict financial terms and cash flow from the perspective of the owner and operator of the planned wastewater infrastructure. The CBA developed for the project was carried out in compliance with the principles and rules set out in the most current EC guidelines for CBA and specifically by the guidance document published by the Directorate General Regional Policy (DG Regio) called “Guide to Cost-benefit Analysis of Investment Projects – Economic appraisal tool for Cohesion Policy 2014-2020” dated December 2014. This section includes the following:

- investment costs overview

- potential financing sources

- operation, maintenance and administration costs

- recommended tariff setting in the municipalities

- maximum affordable tariffs

- funding gap estimate

- financial performance indicators

- the financial sustainability of the project

Section 9 includes the analysis on how the assessed investment needs could be funded by the existing and possibly new funding sources. This Section presents identified potential financing sources based on general assumptions about the development of availability of funding from domestic and international sources.

Potential financing sources include a combination of domestic and foreign sources that have been and will be used in Montenegro to ensure compliance with the UWWTD requirements. Domestic sources used for funding the water/wastewater sector in Montenegro include mainly the state and municipal general revenues and user charges on municipal services. Foreign resources comprise grants and loans from international financing institutions or bilateral donors.

Section 10 includes the analysis carried out regarding the legal, organisational and institutional aspects and recommendations for their improvement.

Section 11 includes the analysis of the regulatory and institutional aspects on environmental licenses and permits and recommendations for their improvement.

Section 12 includes the project prioritisation and ranking practices:

- Wastewater Management Measures Prioritization and Ranking Methodology adopted in the Strategic Master plan for Sewerage and Wastewater in Central and Northern Region of Montenegro (2005-2029);

- Wastewater Management measures Prioritization and Ranking Methodology adopted in the Master plan for Wastewater management in the Coastal region of Montenegro and Cetinje (2005-2029);

- Prioritization of Measures planned for implementation of the UWWTD according to the National Strategy with Action Plan for Transposition Implementation and Enforcement of the EU Acquis on Environment and Climate Change 2016-2020;

- Ranking of De-pollution Measures for the Pollution Hotspots for the Coastal Area;

- Wastewater Management Measures Planning requirements for Compliance with the UWWTD - Law on Urban Wastewater Management Stipulations;

- The	Single Project Pipeline wastewater projects - Methodology currently used for Selection and Prioritization of infrastructure projects.

Also, in this section the principles for the development of a Methodology tool for the prioritization of the wastewater management measures identified in the revised Master plan is provided, that includes the Identification of a Weighted Scoring System for assessing the projects in the national context by developing:

- List of Criteria for Ranking and Prioritizing the implementation planning of Investment Measures for Wastewater Management in Montenegro;

- Improved, simplified and user friendly Methodology Tool for the preparation - as well as the future Updating and Revision – of an Investment Measures Prioritisation Implementation Plan.

Section 13 presents the principles of risks management for wastewater projects, with the aim to formulate a Risks Management Tool for analyzing, assessing and managing risks during the process of preparation and implementation of wastewater management projects, by developing a simple and user friendly Methodology for:

- Assessment, Measurement, Ranking and Prioritizing of the risks likelihood, consequences and acceptability, ensuring adequate risks management for the wastewater management measures identified in the revised Master plan; and

- Preparation of a Risks Matrix/ Register for monitoring - as well as the future updating and revision – of the risks of investment measures for wastewater management in Montenegro.

Also, in this section the baseline Risk matrix - Register, related to the development and implementation of the DSIP for the UWWTD with Risk Quantification, Risk Allocation and Identification of possible mitigation measures is formulated.

Section 14 contains Annexes with graphical presentation of the proposed measures and detail information on particular aspects including technical, financial, legal, organisational, and other.

## Summary of the results and recommendations

### Current Status of Wastewater Management

Management of communal wastewaters is basically regulated by the Law on communal services (OG of MNE, 055/16 and 074/16) and by the Law on communal wastewater management (OG of MNE, 002/17).

Basic structure/organisation of management of communal wastewater is LSGU-based, it is normally carried out by a water utility company founded by the LSGU, while some LSGU-s decided to engage a private operator through a concession agreement for carrying out certain part of WW management (example: wastewater treatment facility in Budva).

Table 14.1 (in annexes) presents the key information related to the existing communal wastewater management in Montenegro, as well as some of the key performance indicators.

The assessment of the current status of urban wastewater infrastructure (collection and treatment) is based on the extensive data and documentation including, inter alia, the following:

- Existing Urban Wastewater Master Plans (2004-2005) where applicable, although due to the infrastructure development in the period 2004-2018 and availability of project-specific feasibility studies for individual projects/municipalities these Master Plans are considered to be fairly outdated;

- Relevant national legislation and strategic documents including (inter alia) the following: National Strategy with Action Plan for transposition, implementation and enforcement of the EU acquis on Environment and Climate Change 2016-2020, national Water Management Strategy, Environmental Infrastructure Audit and Affordability Study, 2017;

- A number of Feasibility Studies and technical designs dealing with urban wastewater management prepared in the period 2007 – 2017 focusing on wastewater management in individual municipalities or particular projects/facilities. Relevant studies and technical designs were available for most of the local self-government units in the Project Area.

- Annual reports on communal services, normally released by the communal development directorate of the MoSDT. These reports provide general, national overview of the status and issues related to provision of communal services (drinking water supply, municipal solid waste management, urban wastewater management, etc.) in the country.

- Site missions to facilities and locations of particular interest for this report (especially related to the existing wastewater facilities).

- Set of questionnaires (technical, operational, financial) prepared and distributed in coordination with the MoSDT specifically for this assignment. The response by the local water utility companies and municipalities to the aforesaid questionnaires was quite satisfactory.

- Relevant information regularly collected, systematized and published by the national statistical office (MONSTAT) providing the insight into the demography, tourism and water/wastewater services throughout the country.

The municipalities with their wastewater collection systems are associated with the corresponding major river basin (Danube River basin or Adriatic Sea basin) and with the corresponding sub-basins. Municipal wastewater systems are also linked to sensitive areas, or those that are not designated as non-sensitive, in accordance with the Decision on sensitive areas in relation to the UWWTD, June 2017.

Current service coverage of population with WW collection services is very variable per municipalities, while the overall national (average) service coverage is around 47% of the total population. However, in relation to population residing in areas that have been designated as agglomerations related to the UUWTD wastewater collection service coverage is much higher and reaches around 58% (refer to Table 1.2 and In brief, current status of wastewater collection services is quite diverse per LSGU, these services are underdeveloped (low service coverage), it is assessed that current system require substantial rehabilitation and upgrade and current level of monitoring and control (operation of the systems, measurements of flows and loadings, CSO-s, etc.) is at a very low level.

Figure 1.1).

In accordance with the information provided by municipal water utility companies and relevant national institutions (MoSDT and MONSTAT), the overall length of existing WW collection networks (main sewers and collection network) is around 915km.

Table 1.2 – Wastewater collection service coverage

| Administrative region | Population 2017 estimate (total) (#) | Population residing in agglomerations (#) | Population served by WW collection (#) | Service coverage in relation to total | Service coverage in relation to agglomerations |
| --- | --- | --- | --- | --- | --- |
| Northern | 167,918 | 100,593 | 61,759 | 36.8% | 61.4% |
| Central | 301,559 | 264,577 | 151,362 | 50.2% | 57.2% |
| Coastal | 152,896 | 135,178 | 79,308 | 51.9% | 58.7% |
| Total | 622,373 | 500,347 | 292,429 | 47.0% | 58.4% |

In brief, current status of wastewater collection services is quite diverse per LSGU, these services are underdeveloped (low service coverage), it is assessed that current system require substantial rehabilitation and upgrade and current level of monitoring and control (operation of the systems, measurements of flows and loadings, CSO-s, etc.) is at a very low level.

Figure 1.1 – WW collection service coverage per region

With regard to urban wastewater treatment, there are seven sizeable operational wastewater treatment plants (Podgorica, Nikšić, Budva, Herceg Novi, Kotor-Tivat, Mojkovac and Žabljak). There are also several smaller treatment facilities that operate intermittently. Several sizeable urban wastewater treatment facilities are under construction; including Pljevlja and Berane or should be implemented in a short-term (Podgorica – new plant).

As presented in the report the overall capacity of the operational wastewater treatment plants is around 400,000 PE, and it is planned to be substantially increased in the coming years. However, the service coverage related to wastewater collection is insufficient; there is a significant mismatch between the service coverage in individual municipalities and available wastewater treatment capacities. Therefore, one of primary tasks related to urban wastewater management should be further development of wastewater collection systems, coordinated with the development of wastewater treatment (and vice versa), which is both logistically and financially very demanding.

Standardised assessment of the compliance with the UWWTD is essential for further planning of urban wastewater management measures. It is conducted by comparing the amount of pollution load that receives the treatment requested by the Directive (i.e. which is collected, which receives biological treatment and which receives more advanced treatment) with the total amount of load generated and with the amount that, theoretically, should receive such treatment (the so-called subjected/eligible load). The comparison with the total generated load is presented in Table 1.3, and the following figures (% of the total generated load are shown). The share of the load for which compliance is required and the share of the load for which compliance was achieved; both in relation to the total generated load are presented. This assessment took into account the Rulebook on geographical boundaries, number and capacity of agglomerations (“Official Gazette of Montenegro”.

Summarising these results, it can be concluded that the obligations as regards collection (Article 3) are met for 55.8% of the total generated load, and 65.4% of the subjected/eligible load.

Regarding biological treatment (Article 4), the obligations are met for around 33% of the total generated load and 38.7% of the subjected/eligible load.

As regards more stringent treatment (Article 5), obligations are met for 22.9% of the total generated load and for 36.1% of the subjected/eligible load.

Table 1.3 –  UWWTD - preliminary assessment of compliance/gaps

| Article 3 | Total generated load (PE) | Loading for which compliance should be provided | Loading currently covered | Compliance VS total load (%) | Compliance VS eligible load (%) |
| --- | --- | --- | --- | --- | --- |
| Typical loading (PE) | 884,366 | 755,428 | 493,710 | 55.8% | 65.4% |
| Article 4 | Total generated load (PE) | Loading for which compliance should be provided | Loading currently covered secondary treatment | Compliance VS total load (%) | Compliance VS eligible load (%) |
| Typical loading (PE) | 884,366 | 755,428 | 292,264 | 33.0% | 38.7% |
| Article 5 | Total generated load (PE) | Loading for which compliance should be provided | Loading currently covered with tertiary treatment | Compliance VS total load (%) | Compliance VS eligible load (%) |
| Typical loading (PE) | 884,366 | 562,123 | 202,880 | 22.9% | 36.1% |

Figure 1.2 – Average compliance rates with the UWWTD, Montenegro 2018 (PE)

Figure 1.3 – Average compliance rates with the UWWTD, Montenegro 2018 (%)

### Projections - summary

The project-related projections have been prepared and elaboratd in Section 5, including:

- Population projection

- GDP projection

- Tourism projections

According to the latest estimate, the number of population is around 622 thousand (mid 2017). In 2014 the Statistical Office of Montenegro issued the “Population Projections till 2060 with structural analysis of population of Montenegro” presenting the projected number of population by five-year age groups and sex for the whole of Montenegro, and major regions including Northern, Central and Coastal. As recommended in the aforesaid Population Projection study by the MONSTAT, the medium-fertility projection variant (please refer to Figure 1.4) has been adopted for further planning in this report.

Figure 1.4 - Population projection variants (MONSTAT)

Projected maximum seasonal tourist occupancy was taken into account for calculation of typical wastewater loads in this report. Apart from the total number of tourist beds, the projection also allows for an increase in maximum occupancy rates which contributes to forecasted maximum number of tourists (and respective water demand/loadings).

Projected service coverage

Based on the proposed measures, the following figure (Figure 1.5) show anticipated growth of service coverage, in numbers and as a percentage of population in the agglomerations. The measures proposed in this plan are to be fully implemented in the period 2020 – 2035, which should result in very significant increase of the wastewater collection and treatment service coverage; to around 90% by 2031, and up to 97% (realistic upper limit) by 2035 (relative to population in agglomerations).

Figure 1.5 – Wastewater collection & treatment service coverage (#)

Wastewater pollutant loadings

It should be noted that the following elements and assumptions are common for both water supply and wastewater projections:

- Unit water consumption rates (with the correction factor: wastewater generated/drinking water supplied => WW/WS  85%);

- Non-domestic loading share (including institutional, industrial, commercial, etc., but excluding tourism-related demand and quantities)

- Tourism projection (accommodation, occupancy rates, seasonal peak factors)

Besides, the wastewater projection also incorporates the following principles:

- By the end of the observed project period all legal entities, related to generation of non-domestic pollutant loading shall be connected to a corresponding wastewater system;

- The same applies for the existing and planned tourist accommodation.

- The average tourism-related pollutant loading were calculated based on the average occupancy rates, while the maximum seasonal loading is derived based on the maximum anticipated occupancy rates.

- Wastewater of “non-domestic” origin have features compatible, similar to typical urban wastewater, specifically in accordance with the national Regulation on wastewater discharges into public collection system or receiving water body. This effectively means that all industries discharging their wastewaters into public sewerage apply proper pre-treatment and ensure full compliance with the Regulation.

- Very moderate annual growth rate is predicted for non-domestic wastewater generation, not directly related to the tourism sector.

Table 1.4 summarizes calculated typical total wastewater pollutant loadings for Montenegro:

- Normal, average wastewater pollutant loadings (based on the anticipated connection rates)

- Maximal seasonal pollutant loadings (projected, based on forecasted connection rates)

- Maximal seasonal pollutant loadings (generated, assuming full service coverage in all agglomerations)

Table 1.4 – Projection of typical wastewater pollutant loadings till 2041 (PE)

| Type of loading | 2018 | 2021 | 2031 | 2041 |
| --- | --- | --- | --- | --- |
| Domestic - permanent population | 292 | 348 | 469 | 515 |
| Non-domestic | 75 | 85 | 120 | 137 |
| Tourism-related - average) | 31 | 32 | 53 | 77 |
| Total projected average WW pollutant loading | 398 | 466 | 642 | 729 |
| Tourism-related maximum seasonal loading | 139 | 165 | 212 | 273 |
| Projected maximum seasonal pollutant loading (based on projected connection rates) | 506 | 598 | 801 | 925 |

Wastewater balances projection

This section presents the projection of basic wastewater balances, based on the recorded current situation, planned increase of connection rates to wastewater collection and treatment, and in compliance with the proposed technical measures. The following table shows the overview of major projected urban wastewater balances in Montenegro (collected and consequently treated, as applicable).

Table 1.5 – WW projection till 2041, volumes (generated, collected, treated where applicable)

| Projection of wastewater balances - generated and collected (103 m3/year) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Year | 2018 | 2021 | 2031 | 2041 |
| Domestic | 14,016 | 16,463 | 21,804 | 21,558 |
| Non-domestic, including tourism | 5,600 | 6,684 | 9,175 | 10,754 |
| Total - net WW | 19,617 | 23,147 | 30,979 | 32,312 |
| Infiltration & inflow (%) | 50% | 50% | 35% | 30% |
| Infiltration & inflow | 19,617 | 23,147 | 16,681 | 13,848 |
| Total - with infiltration | 39,233 | 46,294 | 47,661 | 46,160 |
| Wastewater projection - domestic (103 m3/year) |  |  |  |  |
| Region/Year | 2018 | 2021 | 2031 | 2041 |
| Northern | 2,282 | 2,870 | 4,030 | 3,768 |
| Central | 7,921 | 9,114 | 11,787 | 11,883 |
| Coastal | 3,813 | 4,480 | 5,987 | 5,908 |
| Total | 14,016 | 16,463 | 21,804 | 21,558 |
| Wastewater projection - non-domestic (including tourism) (103 m3/year) |  |  |  |  |
| Region/Year | 2018 | 2021 | 2031 | 2041 |
| Northern | 762 | 964 | 983 | 958 |
| Central | 2,799 | 3,331 | 3,331 | 3,396 |
| Coastal | 3,111 | 3,807 | 4,861 | 6,400 |
| Total | 6,672 | 8,101 | 9,175 | 10,754 |

These overall and regional projections are based on the assessment of wastewater components (domestic, non-domestic) for respective individual agglomerations and municipalities in these regions which were summed up accordingly.

### Urban Wastewater Management – Proposed Measures

#### Infrastructure Requirements - General

The gap analysis leading to the determination of infrastructure and corresponding investment needs is based on:

- Definition of “compliance scenario” based on:

  - Agglomeration delineation

  - Sensitive area designation

- Existing situation inventory

The identification of the required infrastructure has been prepared based on:

- Engineering assessment with corresponding technical proposal for each agglomeration

- Where available, relevant Feasibility Studies and/or other relevant technical analysis, based on selective engineering assessment of the measures proposed earlier (already implemented or not, adequate as proposed, or optimised)

- Automated analysis using an approach similar to that included in the FEASIBLE model (developed by COWI on behalf of OECD), actualized (costing) and adjusted to local conditions and costs

The assessment of wastewater treatment infrastructure needs has been based on:

- Estimated typical long-term wastewater pollutant loadings, taking into account demographic trends, allowance for non-domestic loading, and tourism-driven peak seasonal lodgings particularly applicable for the coastal zone;

- Current status and information on the ongoing projects (completed or about to be completed);

- Optimising the number of treatment plants based on finding the best solution for neighbouring agglomerations, i.e. addressing the question of whether to build one WWTP for two (or more) agglomerations, or whether to build one for each;

Basic categories of the technical measures related to planned development of urban wastewater infrastructure are the following:

- Rehabilitation/renovation/replacement of wastewater collection elements

- Extension of wastewater collection to the areas without adequate service

- Provision of adequate urban wastewater treatment

- Measures related to further management of treated sewage sludge

#### Projects under implementation

Urban wastewater management infrastructure in Montenegro is in the process of fairly dynamic development, and therefore cannot be considered from the steady-state prospective. A number of urban wastewater infrastructure projects are in some of following phases:

Implementation completed, defect notification period still ongoing, e.g. major wastewater project in Herceg Novi (infrastructure considered as completed in this study)

Implementation in the final stage, completion, trial run and commissioning expected in 2019 (e.g. WWTP in Pljevlja, WWTP and network in Berane) – infrastructure considered as de-facto completed in this study

Works already contracted but have not started, financing secured but not realised (WWTP and network in Danilovgrad, network in Ulcinj) – implementation (technical, administrative, financial anticipated in the following 3 years)

Projects earmarked for financing in the near future, financing secured, preparation is ongoing (main sewers in Podgorica – KfW financing, wastewater collection in Kotor – WBIF grant financing) – these projects are considered for implementation in the following 5 years

Consequently, a number of urban wastewater projects been considered in “under implementation” status which would affect expenditures for implementation of these works in a short run and certainly contribute to long-term increase of O&M and depreciation costs.

Detail breakdown of the wastewater infrastructure projects in different phases of implementation is presented in Table 6.1, and here are the main characteristics of their scope:

Around 69km of gravity sewers

Around 9km of wastewater pressure mains

12 sewage pumping stations

One WWTP of 6,000 PE

- The estimate for related costs, including remaining preparation, contingencies, construction supervision and the works is around € 32 million.

#### Rehabilitation/renovation/replacement of wastewater collection systems

The assessment of the current wastewater collection networks in the Project Area could be summarized as follows:

- The concepts of wastewater collection were established and the core parts of these systems were constructed in most cases around 30 years ago, so the average age of the existing sewer lines in municipal sewerage system is 28 years.

- Sewerage blockage indicators (No of sewer blockages/interventions per km of network, per year), based on the International Benchmarking Network Report and municipal annual reports  range from 2 to 19, the national average being 8.8 blockages/km/year

- There is a quite substantial share of pipe materials characterised with limited durability and prone to deteriorating water-tightness over time (asbestos-cement, concrete and ceramic pipes) – around 35-40%.

- In general, considered wastewater collection systems are characterised by low, insufficient level of regular maintenance, which significantly contributed to their reduced performance, blockages and other operational problems.

- Based on the available information, it is assessed that the performance of wastewater collection systems should be improved and current infiltration/inflow rates gradually reduced to levels that would enable normal and cost-effective operation of sewerage and wastewater treatment (existing and future).

- For the aforesaid reasons, it was considered extremely important to make adequate investment provision for partial rehabilitation/renovation of the existing wastewater collection system, complementary to the planned wastewater collection extension.

Table 6.2 details the scope of network rehabilitation/replacement works per municipality. In total, this plan anticipates full rehabilitation/replacement of around 92km of network as a priority. Further rehabilitation/replacement of these networks should become a part of regular multi-annual investment maintenance programme for each water utility company.

#### Extension of wastewater collection systems and wastewater (treated) disposal

Proposed extension of wastewater collection system described here is directly correlated with the planned increase of wastewater collection service coverage shown earlier, that should enable gradual achievement of the harmonisation with the UWWTD (Article 3) and relevant national regulations.

The assessment has been conducted on agglomeration level, and then merged by municipalities and by region. The measures related to long-term development of wastewater collection systems and effluent disposal structures include the following:

- Main sewers

- Collection network

- Pumping facilities

- Pressure mains

- Wastewater disposal (deep sea outfalls)

Detail breakdown of the proposed measures related to wastewater collection and effluent disposal is presented in Table 6.3. Main technical features (scope) of the measures related to wastewater collection and treated effluent disposal are the following:

- Main sewers and collection network – 885 km

- Sewage pumping stations – 72 SPS’s (55 small size, 12 medium-sized and 8 large SPS’s)

- Pressure mains – 46 km of wastewater pressure mains

- Deep sea outfalls – 17.4km in total

This segment of the wastewater infrastructure measures is by far most demanding in terms of required investment cost. The estimate for net investment costs for their implementation (excluding the project under implementation) is around € 212 million.

#### Wastewater treatment measures

The need for new wastewater treatment facilities has been based solely on achieving compliance with the requirements for delineated agglomerations. The needs assessment for wastewater treatment has:

- Taken full account of the need to treat wastewater from all defined agglomerations to at least secondary treatment

- Taken into consideration existing wastewater treatment facilities in accordance with their estimated status, functionality and conformity with the requirements (effluent quality) according to the UWWTD. Except for WWTP in Podgorica (which is some 30 old, outdated and overloaded), all other major wastewater treatment facilities in Montenegro were constructed quite recently and designed and constructed in accordance with the current UWWTD and national requirements.

- Taken full account of the need to implement the provisions relating to nutrient removal arising from the proposed Decision and Rulebook on Sensitive Areas and the application of more stringent treatment. In accordance with the aforesaid documents the whole Project Area including respective discharge points (apart from a few agglomerations) are considered to be sensitive area with respect to the UWWTD. Therefore, all new wastewater treatment facilities of capacity larger than 10,000 PE (apart from the agglomeration of Ulcinj and subject to further detail analysis the agglomerations: Bar-2, Kotor-1 and Tivat-1) are to be provided with corresponding nutrient removal treatment units.

- With regard to basic design criteria for the wastewater treatment, they are in full accordance with the EU UWWTD, and transposed national regulation.

As a consequence of this approach it is proposed to construct 29 wastewater treatment plants (in total including those that are going to be substantially rehabilitated and/or upgraded). Detail features of the planned wastewater treatment facilities are presented in Chapter 6 and specifically in Table 6.14. The overview of planned new/upgraded wastewater treatment facilities is shown below:

WWTP’s > 100,000  PE – 1 plant

WWTP’s from 50,000 to 100,000 PE – 2 plants

WWTP’s from 15,000 to 50,000 PE – 7 plants

WWTP’s from 10,000 to 15,000 PE – 1 plant

WWTP’s < 10,000 PE – 18 plants

- The overall operational capacity of additional treatment facilities should be around 617 thousand PE, out of which the plants with total capacity of 216 thousand PE should comply with the requirements applicable for secondary treatment (UWWTD Article 4) while new plants complying with the more stringent treatment criteria (Article 5 of the UWWTD) should have the total operational capacity of around 402 thousand PE.

- The total estimated investment costs for construction of the planned wastewater treatment facilities is € 131 million.

#### Treated sewage sludge management – priority measures

Proper management of sludge generated as a result of wastewater treatment at the existing and planned wastewater facilities represents very important segment of the overall wastewater management. As the number and operational capacity of wastewater treatment increases, the necessity to ensure adequate sewage management would become pressing and demanding. Relative to sludge quantity (i.e. the capacity of the WWTP), climate conditions, seasonal variations and sludge treatment process applied the following options for priority sewage sludge treatment facilities are foreseen:

- Reed beds are recognized as the most advantageous sludge management option for small WWTPs of less than 10,000 PE located in northern part of the country.

- Small WWTPs within the coastal area will produce dewatered sludge to be delivered to the nearest regional Sludge Solar Drying Plant.

- Dewatered sludge produced at small WWTP in the continental part is to be delivered to the Sludge Incineration Plant in Podgorica

- A regional Sludge Composting Plant is foreseen for sludge produced in the WWTPs in Berane, Bijelo Polje, Plav and Rozaje. Due to extensive lumber industry in that region and availability of sawdust and woodchips disposed as waste, composting is proposed as the preferred option for handling sludge.

- 5 sludge solar drying plants are foreseen for coastal area; in Herceg Novi, Tivat, Budva, Bar and Ulcinj.

- Considering recent studies and plans, sludge produced in the future WWTP in Podgorica will be treated at the Incineration Plant (to be built at the plant location). The capacity of the Incineration Plant shall be sufficient to accept dewatered sludge from the WWTPs in Cetinje, Golubovci, Tuzi and Danilovgrad (that would be conveniently located and not excessively distant from the WWTP in Podgorica).

Correlation with the National Waste Management Plan

Sewage Sludge has been identified by the Law on Waste Management (OG MNE No 064/11 and 039/16) as the waste residue generated within the WWTPs during wastewater treatment. Sewage Sludge Management Plan is an integral part of the current National Waste Management Plan  until 2020 (prepared in 2015).

With reference to legal and institutional framework, the Ministry of Sustainable Development and Tourism is the relevant national authority for regulation, planning and implementation of sewage sludge management plans.

The use of sewage sludge in agriculture has not been recognized by the National legislation relevant to use of fertilizers in plant growth. Therefore, this outcome was not considered in the Sewage Sludge Management Plan.

Sewage sludge, after solar drying, may be used as a cover layer at regional landfills instead of soil, for remediation of dumpsites or land re-cultivation in exploited mining areas and quarries.

Sludge incineration has been considered favourable for larger WWTPs, i.e. with sludge input of minimum 50,000 tonnes per year. Construction of the Sludge Incineration Plant is considered (practically under preparation/implementation) at the location of the WWTP in Podgorica.

- The total estimated investment costs for construction of the planned sewage sludge priority measures is €26 million. It should be noted that these descriptions and respective investment costs relate only to the priority measures to be implemented in the coming years (in a short term) to handle anticipated short-term increase of treated sewage sludge quantities. Corresponding long-term treated sewage sludge management measures are beyond the scope of this assignment and are to be developed in a separate, dedicated study.

Minimum actions required

Good coordination between the major stakeholders in the field of Wastewater and Waste Management shall be established as a priority.

Participation of all relevant stakeholders is of the highest importance, especially in the initial phase of screening and selection of the sites for the regional facilities for additional sludge treatment. In particular, the agreement between municipal assemblies within the proposed regional scheme should be reached prior development of further technical and planning documentation including ESIA.

Apart from municipal agreements, there are other prerequisites for establishing regional sludge management schemes such as available land, geotechnical conditions of the site, environmental and climate conditions, completed relevant national and municipal spatial planning documents, feasible connection with the adjacent production centres (WWTPs) with respect to transportation costs and gate fees, final disposal or utilization of the end product.

### Cost Assessment

Based on the measures and cost assessment approach described in the report here is the overview of the estimated investment costs by municipality and overall.

Table 1.6 – Wastewater infrastructure measures – overview of investments costs by municipality (€ thousand)

| Mun. No | Municipality | Ongoing works |  |  |  |  |  | Other planned wastewater infrastructure-related measures |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sewer. network | Pressure mains | SPS's | WWTP's | Subtotal ongoing | Preparation, contingency supervision ongoing | Network rehab. | Sewer. network | Pressure mains | SPS's | WWTP's | Sea outfalls | Sludge manag. | Subtotal new | Contingencies, preparation, supervision new works | Gross total new | Ongoing+ new gross total |
| 1 | Andrijevica | - | - | - | - | - | - | 124 | 2,037 | - | - | 1,147 | - | 206 | 3,514 | 439 | 3,953 | 3,953 |
| 2 | Berane | - | - | - | - | - | - | 1,786 | 2,809 | - | - | 1,415 | - | 1,010 | 7,020 | 878 | 7,898 | 7,898 |
| 3 | Bijelo Polje | - | - | - | - | - | - | 387 | 15,593 | - | 335 | 7,598 | - | - | 23,913 | 2,989 | 26,902 | 26,902 |
| 4 | Gusinje | - | - | - | - | - | - | 92 | 1,361 | 898 | 154 | - | - | - | 2,505 | 313 | 2,819 | 2,819 |
| 5 | Kolašin | - | - | - | - | - | - | 19 | 5,166 | 63 | 45 | 2,128 | - | 710 | 8,132 | 1,016 | 9,148 | 9,148 |
| 6 | Mojkovac | - | - | - | - | - | - | 652 | 4,006 | 37 | 106 | - | - | 600 | 5,401 | 675 | 6,076 | 6,076 |
| 7 | Petnjica | - | - | - | - | - | - | - | 988 | - | - | 587 | - | 360 | 1,935 | 242 | 2,177 | 2,177 |
| 8 | Plav | - | - | - | - | - | - | 62 | 9,038 | 1,676 | 265 | 4,290 | - | - | 15,330 | 1,916 | 17,246 | 17,246 |
| 9 | Pljevlja | - | - | - | - | - | - | 408 | 2,491 | - | - | - | - | - | 2,899 | 362 | 3,261 | 3,261 |
| 10 | Plužine | - | - | - | - | - | - | 59 | 347 | - | - | 691 | - | 144 | 1,241 | 155 | 1,396 | 1,396 |
| 11 | Rožaje | - | - | - | - | - | - | 568 | 4,882 | - | - | 5,140 | - | - | 10,590 | 1,324 | 11,913 | 11,913 |
| 12 | Šavnik | - | - | - | - | - | - | 26 | 307 | - | - | - | - | - | 333 | 42 | 375 | 375 |
| 13 | Žabljak | - | - | - | - | - | - | 50 | 2,346 | - | 167 | 1,004 | - | - | 3,567 | 446 | 4,012 | 4,012 |
| 14 | Cetinje | - | - | - | - | - | - | 306 | 1,941 | - | - | 7,200 | - | - | 9,447 | 1,181 | 10,628 | 10,628 |
| 15 | Danilovgrad | 826 | - | 160 | 2,390 | 3,376 | 422 | 62 | 4,671 | 145 | 415 | 1,827 | - | - | 7,119 | 890 | 8,009 | 11,807 |
| 16 | Nikšić | - | - | - | - | - | - | 1,240 | 16,620 | 960 | 265 | 5,606 | - | - | 24,690 | 3,086 | 27,777 | 27,777 |
| 17 | Podgorica | 10,717 | - | - | - | 10,717 | 1,340 | 6,963 | 51,713 | - | 701 | 41,532 | - | 9,980 | 110,888 | 13,861 | 124,749 | 136,806 |
| 18 | Bar | - | - | - | - | - | - | 1,960 | 17,034 | 180 | 524 | 22,358 | 2,640 | 2,611 | 47,307 | 5,913 | 53,221 | 53,221 |
| 19 | Budva | - | - | - | - | - | - | 1,002 | 11,798 | 822 | 641 | 8,879 | 3,325 | 3,018 | 29,485 | 3,686 | 33,171 | 33,171 |
| 20 | Herceg Novi | - | - | - | - | - | - | 3,725 | 4,348 | 90 | 194 | 1,706 | 370 | 2,956 | 13,388 | 1,674 | 15,062 | 15,062 |
| 21 | Kotor | 6,908 | 1,497 | 1,778 | - | 10,183 | 1,273 | 858 | 3,807 | 1,031 | 677 | 3,225 | 1,785 | - | 11,383 | 1,423 | 12,806 | 24,262 |
| 22 | Tivat | 1,478 | - | - | - | 1,478 | 185 | 386 | 5,025 | 692 | 659 | - | 1,365 | 2,956 | 11,084 | 1,385 | 12,469 | 14,132 |
| 23 | Ulcinj | 4,256 | - | 190 | - | 4,446 | 556 | 1,792 | 14,308 | 1,994 | 5,436 | 11,810 | 975 | 1,478 | 37,794 | 4,724 | 42,519 | 47,521 |
|  | Sub-total | - | - | - | - | - | - | 4,232 | 51,370 | 2,674 | 1,072 | 24,000 | - | 3,031 | 86,379 | 10,797 | 97,177 | 97,177 |
|  | Sub-total | 11,543 | - | 160 | 2,390 | 14,093 | 1,762 | 8,570 | 74,945 | 1,105 | 1,381 | 56,164 | - | 9,980 | 152,145 | 19,018 | 171,163 | 187,017 |
|  | Sub-total | 12,643 | 1,497 | 1,968 | - | 16,108 | 2,014 | 9,723 | 56,321 | 4,810 | 8,131 | 47,978 | 10,460 | 13,019 | 150,442 | 18,805 | 169,247 | 187,369 |
|  | Gross total | 24,185 | 1,497 | 2,128 | 2,390 | 30,201 | 3,775 | 22,525 | 182,636 | 8,589 | 10,584 | 128,142 | 10,460 | 26,030 | 388,966 | 48,621 | 437,587 | 471,563 |

Unit investment costs

The following table (Table 1.7) shows the overview of the investment costs for the planned wastewater collection and treatment measures per size class of the agglomerations in Montenegro.

The table is very indicative and shows very much expected trend; measures related to agglomerations larger than 15,000 PE (15 out of 37) account for around 90% of the pollutant loading covered by the measures. Also, while the average unit cost (€/PE) is around 483 €/PE, the unit cost generally increases in smaller agglomerations; from around 340 €/PE in agglomeration larger than 100,000 PE to more than 1,000 €/PE in small agglomerations.

Table 1.7 – WW collection and treatment measures – CAPEX per size class of agglomerations

| Size class No. | Class description | Size class (PE) | No | Permanent population in agglomerations | Wastewater pollutant loading of agglomerations (PE) | Gross total CAPEX (€ million) | Share of loading (%) | Gross CAPEX per PE (€) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Very small | <2,000 | 5 | 4,551 | 8,700 | 8.16 | 0.9% | 937 |
| 2 | Small | 2-10,000 | 16 | 40,237 | 74,150 | 86.37 | 7.6% | 1,165 |
| 3 | Small-to-medium | 10-15,000 | 1 | 2,059 | 15,000 | 15.39 | 1.5% | 1,026 |
| 4 | Medium-sized | 15-50,000 | 9 | 141,124 | 237,000 | 128.30 | 24.3% | 541 |
| 5 | Large | 50-100,000 | 4 | 131,851 | 294,000 | 115.37 | 30.1% | 392 |
| 6 | Major | >100,000 | 2 | 181,433 | 348,000 | 117.97 | 35.6% | 339 |
| Total/average |  |  | 37 | 501,255 | 976,850 | 471.56 | 100.0% | 483 |

Implementation of the aforesaid wastewater infrastructure measures would inevitably generate substantial incremental operational, maintenance, depreciation and other related costs. The annual operation and maintenance incremental costs including depreciation are presented in the following figure.

Figure 1.6 – Estimated incremental annual O&M and depreciation costs

### Implementation Plan

Implementation of the UWWTD measures described in this report is very complex due to the limited capacity of water service providers and affordability of future water price (tariffs). It is considered that this problem can be overcome by reforming the water utility sector or by aggregating water service providers.

This approach optimises the financial burden on the population with the desirable maximum possible absorption of EU funds.

The overall investment needs for the UWWTD implementation amount to app. € 471 million. As presented in Chapter 6.6.3, the basic/master implementation plan is included in the following table (Table 1.8).

Table 1.8 – Proposed Implementation Plan for the UWWTD

| Sensitivity | Agglomeration size classes (PE) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Above 100,000 (discharge in sensitive areas) | 50,000-100,000 (discharge in sensitive areas) | 50,000-100,000 | 15,000-50,000 (discharge in sensitive areas) | 15,000-50,000 | 10,000-15,000 (discharge in sensitive areas) | 2000 -10,000 and less than 2,000 |
| Sensitive area in terms of the UWWTD in accordance with: - Rulebook on criteria for definition of sensitive and vulnerable areas - Decision on delineation of sensitive areas | Wastewater collection, more stringent treatment | Wastewater collection, more stringent treatment | Wastewater collection, secondary treatment | Wastewater collection, more stringent treatment | Wastewater collection, secondary treatment | Wastewater collection, more stringent treatment | Wastewater collection, secondary treatment |
|  | 31/12/2031 | 31/12/2031 | 31/12/2031 | 31/12/2033 | 31/12/2033 | 31/12/2035 | 31/12/2035 |
| Number of agglomerations | 2 | 2 | 2 | 7 | 2 | 1 | 21 |
| Estimated wastewater loading (PE) | 348,000 | 159,000 | 135,000 | 175,000 | 62,000 | 15,000 | 83,000 |
| Wastewater load (% of total) | 35.6% | 16.4% | 13.8% | 17.9% | 6.3% | 1.5% | 8.5% |

### Implementation Schedule, Financing Plan, Tariffs Setting and Affordability

The base for the financial analysis was the review and assessment of historical and current financial analysis of water and wastewater utility companies in Montenegro. The main sources of information and data related to financial status of ViKs in water and wastewater sector in Montenegro were Tax office (https://eprijava.tax.gov.me/TaxisPortal), Central Register of Companies (http://www.crps.me/) and Ministry of Sustainable Development and Tourism (http://www.mrt.gov.me). All documents are obtained both in electronic and hard copy formats and present the official available data. The affordability analysis is based on the results of the affordability analysis made through the EIAAS project (Environmental Infrastructure Audit and Affordability Analysis, 2017). The EIAAS study includes assessment of affordability and willingness to pay using available national government statistics and data collection from utility companies to establish norms for affordability for Montenegro as a whole, and, if information is readily available, for each of the 23 municipalities.

#### Investment Costs

The total eligible project investment cost (including contingencies) in constant 2018 prices amounts to 471 million EUR.

Figure 1.7 presents the cumulative investment costs (total gross investment costs including preparation and supervision costs and contingencies) for period 2019-2035.

Figure 1.7 – Cumulative Investment Costs (€ thousand, 2018 constant prices)

Table 1.9 presents the investment programme for the wastewater sector (total gross investment costs for wastewater collection, treatment and priority sludge management measures, plus preparation, supervision costs and contingencies) in Montenegro by municipality.

Table 1.9 – Total Gross Investment in Wastewater Sector per Municipality (000 EUR, constant prices, 2018)

| Region | Municipality | Total | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| North | Andrijevica | 3,953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47 | 47 | 47 | 1,271 | 1,271 | 1,271 |
| North | Berane | 7,898 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 94 | 94 | 2,539 | 2,539 | 2,539 | 0 | 0 |
| North | Bijelo Polje | 26,902 | 957 | 5,189 | 5,189 | 5,189 | 5,189 | 5,189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North | Gusinje | 2,819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 33 | 33 | 906 | 906 | 906 |
| North | Kolašin | 9,148 | 108 | 108 | 108 | 1,765 | 1,765 | 1,765 | 1,765 | 1,765 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North | Mojkovac | 6,076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 72 | 72 | 1,953 | 1,953 | 1,953 |
| North | Petnjica | 2,177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 39 | 700 | 700 | 700 |
| North | Plav | 17,246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 204 | 204 | 204 | 3,327 | 3,327 | 3,327 | 3,327 | 3,327 |
| North | Pljevlja | 3,261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 58 | 1,048 | 1,048 | 1,048 | 0 | 0 |
| North | Plužine | 1,396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25 | 1,347 |
| North | Rožaje | 11,913 | 141 | 141 | 141 | 2,872 | 2,872 | 2,872 | 2,872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North | Šavnik | 375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 361 |
| North | Žabljak | 4,012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 71 | 1,935 | 1,935 |
| Central | Cetinje | 10,628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126 | 126 | 126 | 2,563 | 2,563 | 2,563 | 2,563 | 0 | 0 |
| Central | Danilovgrad | 11,807 | 0 | 1,831 | 1,831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140 | 140 | 140 | 1,457 | 1,457 | 2,406 | 2,406 |
| Central | Nikšić | 27,777 | 0 | 0 | 247 | 247 | 247 | 247 | 3,827 | 3,827 | 3,827 | 3,827 | 3,827 | 3,827 | 3,827 | 0 | 0 | 0 | 0 |
| Central | Podgorica | 136,806 | 1,216 | 5,092 | 5,092 | 5,092 | 12,494 | 12,494 | 12,494 | 12,494 | 12,494 | 12,494 | 12,494 | 5,808 | 5,808 | 5,808 | 9,017 | 3,209 | 3,209 |
| Coastal | Bar | 53,221 | 0 | 0 | 0 | 0 | 473 | 473 | 473 | 473 | 5,565 | 5,565 | 8,447 | 8,447 | 8,447 | 2,882 | 2,882 | 4,546 | 4,546 |
| Coastal | Budva | 33,171 | 0 | 0 | 0 | 0 | 0 | 295 | 295 | 295 | 295 | 3,673 | 3,673 | 3,673 | 3,673 | 0 | 4,949 | 6,176 | 6,176 |
| Coastal | Herceg Novi | 15,200 | 0 | 0 | 0 | 0 | 0 | 0 | 134 | 134 | 134 | 134 | 3,608 | 3,608 | 3,608 | 0 | 0 | 1,921 | 1,921 |
| Coastal | Kotor | 24,146 | 0 | 3,683 | 3,683 | 3,683 | 0 | 0 | 0 | 216 | 216 | 216 | 216 | 1,108 | 1,108 | 1,108 | 1,108 | 3,901 | 3,901 |
| Coastal | Tivat | 14,016 | 0 | 802 | 802 | 0 | 0 | 0 | 0 | 126 | 126 | 126 | 126 | 2,583 | 2,583 | 2,583 | 2,583 | 788 | 788 |
| Coastal | Ulcinj | 47,521 | 0 | 1,608 | 1,608 | 1,608 | 422 | 422 | 422 | 422 | 8,201 | 8,201 | 8,201 | 8,201 | 8,201 | 0 | 0 | 0 | 0 |
| MNE | Gross total | 471,469 | 2,422 | 18,455 | 18,702 | 20,456 | 23,462 | 23,757 | 22,282 | 19,751 | 30,983 | 34,659 | 41,213 | 40,466 | 47,063 | 23,577 | 36,405 | 33,069 | 34,746 |

#### Operation, Maintenance and Depreciation Costs

The OM cost projections include fixed costs (maintenance, staff and depreciation costs) and variable costs (energy, consumables and sludge management) components for the wastewater management operation. The following table shows the forecasted annual OM cost in constant 2018 prices for the planning period 2019-2041 for the “with-project” scenario. The OM costs have been estimated based on the assumptions defined for the “with-project” and “without-project” scenarios.

Table 1.10 – Summary OM Costs in “With-Project” Scenario (M EUR, Constant Prices, 2018)

| TOTAL Montenegro | TOTAL | NPV | 2019 | 2025 | 2030 | 2033 | 2035 | 2041 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Operation costs for wastewater collection (related to existing system) | 198.431 | 112.336 | 6.614 | 6.614 | 6.614 | 6.614 | 6.614 | 6.614 |
| Maintenance costs sewerage (related to existing system) | 7.624 | 4.316 | 0.254 | 0.254 | 0.254 | 0.254 | 0.254 | 0.254 |
| Operation costs for wastewater collection, treatment and sludge management (related to measures) | 128.623 | 68.040 | 1.779 | 2.911 | 4.513 | 4.799 | 5.060 | 5.598 |
| Maintenance costs wastewater collection and treatment (related to measures) | 68.533 | 32.383 | 0.000 | 0.751 | 2.018 | 2.913 | 3.457 | 3.735 |
| Depreciation | 227.359 | 107.522 | 0.000 | 2.540 | 6.651 | 9.626 | 11.454 | 12.383 |
| Total O&M Cost Wastewater System | 630.569 | 324.597 | 8.647 | 13.071 | 20.050 | 24.206 | 26.839 | 28.585 |

In general, the O&M costs are assumed to increase substantially after 2025 in the with-project scenario, insignificantly though in the “without-project” scenario. In the “with-project” scenario the OM&A costs are projected to increase at around 8.647 million EUR in 2019 (expressed in constant 2018 prices). As a consequence of the assumed real increases in salaries, energy and other important consumables and the additional infrastructure built by the project the O&M costs are projected to further increase to 13.071 million EUR in 2025 and 26.839 million EUR in 2035. In the „without-project” scenario the total OM&A costs are projected to stay at the same amount 7.717 million EUR (in constant 2018 prices) during the whole project period (only for wastewater collection services).

In parallel with the anticipated development of urban wastewater infrastructure there should be improvement and in some zones extensions of drinking water schemes, as indicated in the overview of water supply status presented in this study and other relevant strategies concerning water supply services.

Since both water and wastewater services are normally provided by the same operators and to the same users the optimal approach of analysing the costs and resulting tariffs would be to take into account both types of services. Water supply measures were not in the physical scope of this study and it was not considered quite appropriate to simply “absorb” the measures (and related costs) from other studies without having detail review and (possibly) update of them.

Considering the best way forward, which would indeed provide full picture of costs and tariffs for water and wastewater services, the following is suggested:

- The Ministry (MoSDT) could initiate preparation/review/update of a water supply study, with similar level of scope and detail and structure as this report, which would include adequate water supply measures and all related costs. Practically, this could be implemented through preparation of the national DSIP for Drinking Water Directive.

- Results of both urban wastewater MP+DSIP and drinking water DSIP would be integrated in a separate Affordability annex which would provide the overall analysis.

Another observation regarding water supply measures is that in some systems with very high NRW and energy costs (like Cetinje) particular water supply measures may in fact contribute to reduction of O&M costs, and therefore the tariffs.

With regard to wastewater segment, the consultants tried to analyse and take into account all costs that may affect wastewater services and related tariffs, so the approach was rather all-inclusive. At least part of these anticipated costs would be partially used to improve maintenance (currently likely insufficient) of the existing wastewater infrastructure. This would be more balanced approach at this stage (where there was no full information on cost coverage by tariffs) than to assume flat rate increase of costs without proper justification. Probably the most appropriate preparation stage to clarify this aspect would be a project-specific feasibility study for each self-government unit.

The calculation yields as incremental values an AIFC of 0.83 EUR/m3 for the entire system. Table 1.11 summarizes the AIFC elements relevant for the project. The presented net present values are calculated for each municipality as present value of investment and OM costs minus residual value of investment at the end of analysis period.

Table 1.11 – AIFC of various compliance measures components

| Municipality | “With Project” Scenario |  |  | “Without Project” Scenario |  |  | Incremental Values |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | AIFC (EUR/m3) | NPV 2019-2047 (000 EUR) | AIFC (EUR/m3) |  | NPV 2019-2047 (000 EUR) | AIFC (EUR/m3) |  | NPV 2019-2047 (000 EUR) |
| Andrijevica | 1.35 | 2,371 | 0.12 |  | 143 | 1.23 |  | 2,228 |
| Berane | 0.52 | 10,021 | 0.23 |  | 3,146 | 0.29 |  | 6,876 |
| Bijelo polje | 1.80 | 35,625 | 0.28 |  | 2,562 | 1.51 |  | 33,063 |
| Gusinje | 0.53 | 1,652 | 0.00 |  | 0 | 0.53 |  | 1,652 |
| Kolašin | 2.36 | 10,004 | 0.37 |  | 690 | 1.99 |  | 9,315 |
| Mojkovac | 0.96 | 4,058 | 0.16 |  | 500 | 0.80 |  | 3,557 |
| Petnjica | 1.67 | 1,231 | 0.00 |  | 0 | 1.67 |  | 1,231 |
| Plav | 1.50 | 11,613 | 0.18 |  | 1,189 | 1.32 |  | 10,424 |
| Pljevlja | 0.45 | 9,679 | 0.27 |  | 5,408 | 0.18 |  | 4,271 |
| Plužine | 0.94 | 1,251 | 0.39 |  | 544 | 0.55 |  | 707 |
| Rožaje | 1.01 | 16,885 | 0.17 |  | 2,098 | 0.83 |  | 14,786 |
| Šavnik | 0.75 | 237 | 0.15 |  | 40 | 0.60 |  | 198 |
| Žabljak | 1.39 | 2,949 | 0.40 |  | 810 | 0.99 |  | 2,139 |
| Cetinje | 0.84 | 10,999 | 0.38 |  | 3,511 | 0.46 |  | 7,487 |
| Danilovgrad | 1.70 | 11,077 | 0.38 |  | 1,058 | 1.33 |  | 10,019 |
| Nikšić | 0.67 | 40,017 | 0.34 |  | 13,412 | 0.33 |  | 26,605 |
| Podgorica | 0.65 | 162,871 | 0.23 |  | 42,344 | 0.42 |  | 120,527 |
| Bar | 0.87 | 48,268 | 0.29 |  | 9,479 | 0.58 |  | 38,789 |
| Budva | 0.72 | 46,727 | 0.39 |  | 21,304 | 0.32 |  | 25,423 |
| Hercegnovi | 0.47 | 24,488 | 0.19 |  | 7,821 | 0.28 |  | 16,666 |
| Kotor | 1.28 | 30,943 | 0.41 |  | 5,952 | 0.86 |  | 24,992 |
| Tivat | 0.74 | 16,844 | 0.27 |  | 3,710 | 0.47 |  | 13,134 |
| Ulcinj | 1.88 | 49,783 | 0.37 |  | 7,761 | 1.51 |  | 42,022 |
| Region |  |  |  |  |  |  |  |  |
| North | 1.17 | 107,577 | 0.21 |  | 17,130 | 0.96 |  | 90,447 |
| Centre | 0.96 | 224,964 | 0.33 |  | 60,325 | 0.63 |  | 164,638 |
| Coast | 0.99 | 217,052 | 0.32 |  | 56,026 | 0.67 |  | 161,026 |
| Total/ average MNE | 1.09 | 549,593 | 0.26 |  | 133,482 | 0.83 |  | 416,111 |

#### Recommended Tariff Increases by Municipality

To satisfy the targeted Polluter Pays Principle (prevailing in the EU), the wastewater tariff for two categories of users are purposely set to converge. This principle dictates the same pollution treatment cost for the same quantity of pollution released. As the current local regulation requires industrial wastewater in-house pre-treatment in order to lower the pollution discharges into the sewerage network to a level comparable to domestic wastewater, the proposed tariff fully embed the principle of the same treatment cost for the same unit of pollution generated. The current wastewater tariff difference between two groups (population versus legal entities) in Montenegro is relatively large. Having in mind that the existing tariff for commerce and industry is too high comparing to the tariffs for households and to the full cost recovery level, the convergence of these tariffs was set to occur towards the end of the project period. The existing wastewater tariff is below the full cost recovery level.

O&M costs for wastewater collection services (estimated by consultants) are equal to app. 0.23 EUR/m3, while the existing tariff is equal to 0.19 EUR/m3 for households and 0.63 EUR/m3 for legal entities (industries, commercial users, etc.). Current wastewater collection tariffs for domestic and non-domestic users are set as a starting point for the tariff projection. The maximum tariff increase is limited to 100% in a single year. Currently, municipal water utility companies make cross-subsidizing between water and wastewater services (covering the loss in wastewater collection revenues by excess of revenues in water services). Full costs recovery principle is achieved by gradual equalizing existing wastewater tariffs with unit O&M costs.

Next to full cost recovery, the tariff projection is based on smooth changes in order for the water users to be able to budget their expenditures. The proposed tariffs are based on a gradual increase over several years (in most municipalities during five to seven years) which adds up to a full cost recovery tariff. In the first several years, the costs of depreciation are not yet (fully) included in the tariff; the costs of depreciation are not immediately necessary for guaranteeing financial sustainability in the short term. On average, after seven years the costs of depreciation are fully included. In the period of seven years after investment finished, gradually increasing percentage of the depreciation costs is added to the tariff.

Table 1.12 reflects the proposed average wastewater tariff profile in Montenegro following the investment in the compliance measures. It has two components; the tariff to cover the cost of the existing infrastructure plus the “add-on” tariff to cover the cost of new measures.

Table 1.12 – Tariff Increase,“with-project” scenario, households (constant prices 2018, €/m3,no VAT)

| Municipality | 2019 | 2021 | 2024 | 2025 | 2030 | 2035 | 2041 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Andrijevica | 0.15 | 0.20 | 0.20 | 0.20 | 0.20 | 0.33 | 0.62 | 0.90 |
| Berane | 0.33 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 |
| Bijelo Polje | 0.53 | 0.53 | 0.60 | 0.65 | 0.65 | 0.65 | 0.95 | 1.09 |
| Gusinje | 0.12 | 0.15 | 0.20 | 0.22 | 0.35 | 0.57 | 0.63 | 0.63 |
| Kolašin | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.69 | 1.22 | 1.34 |
| Mojkovac | 0.28 | 0.43 | 0.43 | 0.43 | 0.43 | 0.66 | 0.81 | 0.81 |
| Petnjica | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.27 | 0.88 | 1.07 |
| Plav | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.63 | 1.27 | 1.86 |
| Pljevlja | 0.29 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 |
| Plužine | 0.45 | 0.50 | 0.50 | 0.50 | 0.50 | 0.67 | 1.05 | 1.65 |
| Rožaje | 0.17 | 0.28 | 0.38 | 0.42 | 0.50 | 0.73 | 0.90 | 0.90 |
| Šavnik | 0.18 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.67 | 0.74 |
| Žabljak | 0.57 | 0.57 | 0.62 | 0.62 | 0.62 | 0.90 | 1.02 | 1.46 |
| Cetinje | 0.45 | 0.48 | 0.48 | 0.48 | 0.48 | 0.62 | 0.73 | 1.07 |
| Danilovgrad | 0.59 | 0.68 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.83 |
| Nikšić | 0.47 | 0.57 | 0.57 | 0.57 | 0.57 | 0.59 | 0.60 | 0.60 |
| Podgorica | 0.28 | 0.28 | 0.35 | 0.35 | 0.51 | 0.57 | 0.58 | 0.58 |
| Bar | 0.27 | 0.27 | 0.34 | 0.38 | 0.55 | 0.55 | 0.60 | 0.85 |
| Budva | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 |
| Herceg Novi | 0.29 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 |
| Kotor | 0.65 | 0.75 | 0.75 | 0.75 | 0.75 | 0.82 | 0.91 | 0.91 |
| Tivat | 0.53 | 0.61 | 0.61 | 0.61 | 0.61 | 0.62 | 0.62 | 0.62 |
| Ulcinj | 0.41 | 0.51 | 0.51 | 0.51 | 0.66 | 1.07 | 1.24 | 1.24 |
| Region |  |  |  |  |  |  |  |  |
| North | 0.32 | 0.41 | 0.49 | 0.51 | 0.53 | 0.61 | 0.80 | 0.90 |
| Centre | 0.36 | 0.35 | 0.45 | 0.45 | 0.55 | 0.59 | 0.60 | 0.62 |
| Coast | 0.52 | 0.55 | 0.60 | 0.61 | 0.64 | 0.68 | 0.73 | 0.79 |
| Total/average | 0.41 | 0.43 | 0.50 | 0.51 | 0.58 | 0.63 | 0.68 | 0.73 |

The following figures present the comparison between the wastewater full-cost recovery tariffs and wastewater tariffs proposed in this Master plan taking into account the affordability and financial sustainability constraints.

Figure 1.8 – Proposed and full cost recovery WW tariffs – Northern region (EUR/m3)

Figure 1.9 – Proposed and full cost recovery WW tariffs – Central region (EUR/m3)

Figure 1.10 – Proposed and full cost recovery WW tariffs – Coastal region (EUR/m3)

Figure 1.11 – Proposed and full cost recovery WW tariffs – national level (EUR/m3)

It is very important that the Net Present Value of the (positive) cash flow over the reference period is less in “without-project” than that for the “with-project” scenario. The “without-project” scenario should not make more profit than the with-project scenario. The following table presents total revenues, operational costs and cash balance for “with-project” and “without-project” scenarios.

Table 1.13 – Cash-flow “with”&“without-project” scenarios (M EUR, Constant Prices, 2018)

| MONTENEGRO | NPV | 2019 | 2021 | 2024 | 2025 | 2030 | 2035 | 2041 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Revenues with Project | 323.136 | 10.389 | 11.396 | 14.349 | 14.749 | 20.570 | 23.939 | 26.726 | 28.525 |
| Total Revenues without Project | 177.247 | 8.872 | 9.022 | 9.284 | 9.376 | 10.164 | 10.925 | 12.004 | 12.932 |
| Incremental Revenues | 145.889 | 1.517 | 2.374 | 5.065 | 5.373 | 10.406 | 13.014 | 14.722 | 15.593 |
| Operation Costs with Project (w/o depreciation) | 216.249 | 8.643 | 9.459 | 10.089 | 10.527 | 13.396 | 15.381 | 16.196 | 16.196 |
| Operation Costs without Project (w/o depreciation) | 133.442 | 7.717 | 7.717 | 7.717 | 7.717 | 7.717 | 7.717 | 7.717 | 7.717 |
| Incremental Operation Costs | 82.807 | 0.926 | 1.742 | 2.372 | 2.810 | 5.679 | 7.664 | 8.479 | 8.479 |
| Cash Balance with Project | 106.888 | 1.746 | 1.938 | 4.260 | 4.221 | 7.174 | 8.557 | 10.530 | 12.329 |
| Cash Balance without Project | 43.805 | 1.155 | 1.305 | 1.567 | 1.659 | 2.447 | 3.208 | 4.287 | 5.215 |

#### Affordability Analysis

There is a generally accepted principal that the affordability ceiling for water supply and wastewater collection and treatment and associated sludge management is 3% of the average household income. It is also recognised that based upon such averages the poorest deciles may be required to pay more as a percentage of their income. There is no a fixed rule as to what the ceiling levels for the poorest deciles should be, but empirical evidence suggests that water and wastewater services charges for the poor could consume some 6% of household income (sometimes even as high as 10% in extreme cases). For comparison purposes the analysis also examines the impact if the affordability ceiling for the poor was the same as the average, i.e. 3% of household income.

In the affordability analysis the bills to be paid by the customers are composed of net water and wastewater fees plus 7% VAT. Tariff revenues are structured in such a way as to fully cover the water, wastewater and sludge operating, maintenance and depreciation costs and repayments of loan. Water quantities used for the assessment of payment ratios are also presented.

Differentiation in tariffs between households and non-households (industry, etc.) is reduced immediately at the start of the projection to reflect the principle of non-cross-subsidisation. Table 1.14 presents development of payments for water and wastewater during the implementation of the wastewater investment measures. This table documents the affordability levels of the average income households (i.e. percentage of the household income that is to be spent on water/wastewater services).

Table 1.14 – Water services – affordability projection

|  | 2019 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Municipality |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Andrijevica | 1.5% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.7% | 1.8% | 1.9% | 2.0% | 2.1% | 2.2% | 2.3% | 2.4% | 2.5% | 2.6% | 3.0% |
| Berane | 1.7% | 1.9% | 1.9% | 1.9% | 1.9% | 1.9% | 1.9% | 1.9% | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.7% | 1.7% | 1.7% | 1.7% | 1.6% | 1.6% | 1.6% |
| Bijelo polje | 3.2% | 3.4% | 3.4% | 3.4% | 3.4% | 3.4% | 3.3% | 3.3% | 3.3% | 3.3% | 3.2% | 3.2% | 3.1% | 3.1% | 3.2% | 3.3% | 3.5% | 3.6% | 3.8% | 3.7% |
| Gusinje | 1.6% | 1.9% | 1.9% | 2.0% | 2.1% | 2.2% | 2.3% | 2.3% | 2.4% | 2.5% | 2.6% | 2.8% | 2.9% | 2.8% | 2.8% | 2.8% | 2.7% | 2.7% | 2.6% | 2.5% |
| Kolašin | 3.2% | 3.1% | 3.1% | 3.1% | 3.1% | 3.1% | 3.0% | 3.0% | 3.0% | 3.0% | 3.1% | 3.2% | 3.3% | 3.4% | 3.5% | 3.7% | 3.8% | 4.0% | 4.1% | 3.9% |
| Mojkovac | 1.8% | 2.1% | 2.1% | 2.1% | 2.1% | 2.1% | 2.0% | 2.0% | 2.0% | 2.0% | 2.2% | 2.4% | 2.6% | 2.6% | 2.6% | 2.5% | 2.5% | 2.5% | 2.4% | 2.3% |
| Petnjica | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.5% | 1.6% | 1.7% | 1.8% | 2.0% | 2.2% | 2.4% | 2.6% | 2.9% | 3.2% | 3.6% | 3.8% | 3.8% |
| Plav | 2.0% | 2.0% | 2.0% | 2.0% | 2.0% | 1.9% | 1.9% | 2.1% | 2.3% | 2.5% | 2.8% | 3.1% | 3.5% | 3.7% | 3.9% | 4.1% | 4.3% | 4.5% | 4.8% | 5.7% |
| Pljevlja | 1.5% | 2.2% | 2.2% | 2.2% | 2.2% | 2.2% | 2.2% | 2.1% | 2.1% | 2.1% | 2.1% | 2.0% | 2.0% | 2.0% | 2.0% | 1.9% | 1.9% | 1.9% | 1.9% | 1.8% |
| Plužine | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.7% | 1.8% | 1.9% | 2.0% | 2.3% | 2.4% | 2.4% | 2.4% | 2.3% | 2.4% | 2.7% | 3.2% |
| Rožaje | 1.9% | 2.9% | 3.2% | 3.2% | 3.2% | 3.2% | 3.1% | 3.1% | 3.3% | 3.4% | 3.6% | 3.8% | 4.0% | 4.1% | 4.2% | 4.1% | 4.1% | 4.0% | 3.9% | 3.7% |
| Šavnik | 0.9% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.4% | 1.5% | 1.6% | 1.7% | 1.8% | 1.9% | 1.8% |
| Žabljak | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.3% | 2.3% | 2.5% | 2.8% | 2.8% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 3.1% | 3.2% |
| Cetinje | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.2% | 2.3% | 2.4% | 2.4% | 2.4% | 2.4% | 2.3% | 2.3% | 2.3% | 2.3% | 2.4% | 2.5% | 2.7% |
| Danilovgrad | 3.2% | 3.5% | 3.5% | 3.5% | 3.4% | 3.4% | 3.4% | 3.4% | 3.4% | 3.3% | 3.3% | 3.3% | 3.2% | 3.2% | 3.2% | 3.1% | 3.1% | 3.0% | 3.0% | 3.0% |
| Nikšić | 2.3% | 2.5% | 2.5% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.3% | 2.3% | 2.3% | 2.3% | 2.2% | 2.2% | 2.2% | 2.1% |
| Podgorica | 1.2% | 1.3% | 1.3% | 1.3% | 1.4% | 1.5% | 1.5% | 1.5% | 1.5% | 1.6% | 1.6% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.4% | 1.4% | 1.4% |
| Bar | 3.6% | 3.8% | 3.9% | 4.0% | 4.1% | 4.2% | 4.2% | 4.2% | 4.2% | 4.2% | 4.1% | 4.1% | 4.1% | 4.0% | 4.0% | 3.9% | 3.9% | 4.0% | 4.0% | 4.2% |
| Budva | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.2% | 2.2% | 2.2% | 2.2% | 2.2% | 2.1% | 2.1% | 2.1% | 2.1% |
| Hercegnovi | 2.6% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.7% | 2.7% | 2.7% | 2.7% | 2.6% | 2.6% | 2.6% | 2.6% | 2.5% |
| Kotor | 3.5% | 3.6% | 3.6% | 3.6% | 3.6% | 3.6% | 3.6% | 3.6% | 3.5% | 3.5% | 3.5% | 3.6% | 3.6% | 3.6% | 3.6% | 3.5% | 3.5% | 3.5% | 3.4% | 3.3% |
| Tivat | 2.7% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.6% | 2.6% | 2.6% | 2.6% | 2.5% | 2.5% |
| Ulcinj | 4.4% | 4.7% | 4.7% | 4.7% | 4.7% | 4.9% | 5.0% | 5.2% | 5.4% | 5.5% | 5.7% | 5.9% | 6.1% | 6.2% | 6.1% | 6.0% | 5.9% | 5.9% | 5.8% | 5.6% |
| Region |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 2.1% | 3.0% | 3.1% | 3.2% | 3.2% | 3.3% | 3.4% | 3.4% | 3.5% | 3.5% | 3.6% | 3.7% | 3.8% | 3.8% | 3.9% | 4.0% | 4.1% | 4.2% | 4.4% | 4.7% |
| Center | 2.0% | 2.3% | 2.3% | 2.4% | 2.5% | 2.6% | 2.6% | 2.6% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.8% |
| Coast | 3.8% | 4.2% | 4.2% | 4.3% | 4.3% | 4.4% | 4.4% | 4.5% | 4.5% | 4.5% | 4.5% | 4.6% | 4.6% | 4.6% | 4.6% | 4.6% | 4.6% | 4.6% | 4.7% | 4.9% |
| Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Montenegro | 2.5% | 2.7% | 2.8% | 2.8% | 2.9% | 3.0% | 3.1% | 3.1% | 3.1% | 3.2% | 3.2% | 3.2% | 3.2% | 3.2% | 3.2% | 3.3% | 3.3% | 3.3% | 3.3% | 3.5% |

The previous table shows that the affordability ratio in many cases exceeds the limit of 3% (especially for the poorest households). This problem can alleviated through tariff cross-subsidise between household and non-household users, but the Law on the Utility Services requires that the water tariff for all users must be equal. The other solution is subsidies to the poorest households.

It is noted that, in general, for larger and more developed local self-government units (e.g. Podgorica, Nikšić, Budva, etc.) projected household expenditures for water/wastewater services stay well within the prescribed affordability threshold. On the other hand for a number of smaller municipalities with underdeveloped status comparing to the national average, and where quite extensive technical measures are needed to fill in the compliance gap with the UWWTD the percentage of household expenditures to be used for water/wastewater services very much exceeds the standard threshold (e.g. Bijelo Polje, Danilovgrad, Plav, Bar, Ulcinj). It is therefore strongly recommended to consider and optimise the scope and nature of the proposed infrastructural measures in further, detail phases of the project preparation (project-specific feasibility studies and similar) bearing in mind very much evident affordability constraints.

From the affordability analyses it turns out that the average monthly bill for water and wastewater to be paid by the average household varies per municipality from around 1.4% (Podgorica) to 5.7% (Plav) of its net income in 2045. It is very important to emphasize that this analysis is made at the municipality level; there are large municipality income differences in comparison to the average household income. Moreover, variation in affordability to pay for water and wastewater services at household level differs much as well. During preparation of municipality-specific feasibility studies, special attention will need to be paid to municipalities were potential payment is significantly above the affordability ceiling. There will be municipalities where the poorest households would make a big part of all households.

As we stated above, the affordability problem for the poorest households can be addressed through tariff cross-subsidise between household and non-household users, but the Law on the Utility Services in Montenegro requires that the water tariff for all users must be the equalised. Several other solutions could be recommended:

Reduce NRW in existing water supply systems (i.e. significantly improve their efficiency and reduce costs).

Improve efficiency of workers of water supply companies.

Improve efficiency in collection of receivables.

Rigorously evaluate options for least cost solutions (investment and operating cost).

Apply subsidy schemes targeted at low income users.

Equalise tariffs and avoid cross-subsidisation (currently industry pays much higher tariffs than domestic consumers).

Consider mechanism to redistribute burden across the country (also known as solidarity principle), i.e. regionalisation of water utilities.

#### Funding Gap Estimation

Table 1.15 summarizes calculation of the funding gap for the project using the methodology used in application for funding under EU programs.

Table 1.15 – EC Funding Gap Calculation of the Project (€ thousand)

|  | Funding Gap (%) | Decision Amount (EUR Constant, 2018) | Decision Amount (EUR Current) | Possible EU Grant (EUR Constant, 2018) | Possible EU Grant (EUR Current) |
| --- | --- | --- | --- | --- | --- |
| Municipality |  |  |  |  |  |
| Andrijevica | 71% | 2,807,708 | 2,267,714 | 2,386,552 | 1,927,557 |
| Berane | 59% | 4,632,281 | 5,478,100 | 3,937,439 | 4,656,385 |
| Bijelo polje | 75% | 20,058,275 | 22,642,130 | 17,049,534 | 19,245,811 |
| Gusinje | 73% | 2,046,225 | 1,600,680 | 1,739,291 | 1,360,578 |
| Kolašin | 73% | 6,661,644 | 7,548,070 | 5,662,397 | 6,415,859 |
| Mojkovac | 66% | 3,994,884 | 3,143,755 | 3,395,652 | 2,672,192 |
| Petnjica | 72% | 1,577,972 | 1,280,462 | 1,341,276 | 1,088,393 |
| Plav | 70% | 12,151,304 | 11,614,141 | 10,328,608 | 9,872,020 |
| Pljevlja | 56% | 1,836,859 | 2,127,455 | 1,561,330 | 1,808,337 |
| Plužine | 54% | 751,240 | 33,555 | 638,554 | 28,522 |
| Rožaje | 62% | 7,388,953 | 8,416,730 | 6,280,610 | 7,154,221 |
| Šavnik | 73% | 271,605 | 12,132 | 230,865 | 10,312 |
| Žabljak | 69% | 2,784,903 | 1,718,832 | 2,367,167 | 1,461,007 |
| Cetinje | 59% | 6,319,955 | 7,733,220 | 5,371,962 | 6,573,237 |
| Danilovgrad | 69% | 8,141,255 | 7,408,311 | 6,920,066 | 6,297,064 |
| Nikšić | 51% | 14,244,371 | 16,457,669 | 12,107,715 | 13,989,018 |
| Podgorica | 52% | 71,796,230 | 80,867,947 | 61,026,795 | 68,737,755 |
| Bar | 63% | 33,275,831 | 36,379,526 | 28,284,456 | 30,922,597 |
| Budva | 70% | 23,226,918 | 22,501,777 | 19,742,880 | 19,126,511 |
| Hercegnovi | 64% | 9,660,007 | 10,073,227 | 8,211,006 | 8,562,243 |
| Kotor | 73% | 17,639,593 | 16,962,060 | 14,993,654 | 14,417,751 |
| Tivat | 63% | 8,784,974 | 9,728,103 | 7,467,228 | 8,268,888 |
| Ulcinj | 85% | 40,430,420 | 47,462,048 | 34,365,857 | 40,342,741 |
| Region |  |  |  |  |  |
| North | 69% | 66,963,854 | 67,883,757 | 56,919,276 | 57,701,194 |
| Center | 54% | 100,501,810 | 112,467,146 | 85,426,539 | 95,597,074 |
| Coast | 71% | 133,017,743 | 143,106,742 | 113,065,082 | 121,640,731 |
| Total |  |  |  |  |  |
| Montenegro | 64% | 300,483,407 | 323,457,645 | 255,410,896 | 274,938,998 |

#### Financial Performance Indicators

The financial performance indicators (FRR and FNPV) for the project in each municipality are presented in the following table.

Table 1.16 – Financial Performance indicators before and after EU assistance

| Municipality | FNPV/C (EUR) | FIRR/C (%) | FNPV/K (EUR) | FIRR/K (%) |
| --- | --- | --- | --- | --- |
| Andrijevica | -2,361,022 | -6.90% | -389,731 | 0.72% |
| Berane | -3,945,612 | -5.74% | -379,671 | 2.48% |
| Bijelo polje | -17,507,861 | -2.36% | -1,965,502 | 2.62% |
| Gusinje | -1,718,413 | -9.47% | -281,760 | -0.71% |
| Kolašin | -5,391,993 | -2.34% | -420,699 | 3.12% |
| Mojkovac | -3,375,834 | -7.13% | -571,027 | 0.63% |
| Petnjica | -1,359,036 | -6.65% | -207,732 | 1.04% |
| Plav | -9,855,044 | -6.27% | -1,231,195 | 1.80% |
| Pljevlja | -1,630,839 | -7.10% | -290,649 | 0.19% |
| Plužine | -694,782 | -4.23% | -125,882 | 1.76% |
| Rožaje | -6,154,266 | -1.32% | -158,708 | 3.78% |
| Šavnik | -246,046 | -8.52% | -40,365 | 0.12% |
| Žabljak | -2,524,972 | -6.98% | -455,050 | 0.52% |
| Cetinje | -5,279,619 | -3.69% | 2,667,690 | 4.62% |
| Danilovgrad | -5,671,149 | -3.26% | -811,965 | 2.18% |
| Nikšić | -10,969,487 | -1.40% | -879,417 | 3.35% |
| Podgorica | -51,261,984 | -1.69% | 5,606,168 | 5.01% |
| Bar | -24,774,564 | -2.55% | -82,028 | 3.97% |
| Budva | -16,892,590 | -3.29% | -1,802,222 | 2.84% |
| Herceg Novi | -7,569,799 | -5.97% | -919,986 | 1.90% |
| Kotor | -13,210,563 | -7.01% | -2,154,163 | 0.63% |
| Tivat | -5,817,944 | -6.68% | 24,648 | 4.10% |
| Ulcinj | -28,783,548 | -7.09% | -2,120,620 | 2.37% |

As expected, both the financial net present value and the financial internal rate of return of the investment (FRR/C, FNPV/C) are negative before the potential EU assistance, which reflects the need for external financial support to the project.

The FNPV/K, that reflects the net present value of the cash-flow based on own (national) capital employed is positive only for Cetinje, Podgorica and Tivat, and the respective financial rate of return FRR/K is slightly above the discount rate. This means that the proposed wastewater projects in the most of municipalities will not generate an excessive return to the national capital, i.e. surplus (profit) from the investment and the grant received from the EU and by the central government. The low financial profitability as compared to commercial projects can be explained by the fact that a significant part of the new infrastructure planned in the project is mainly aimed at improving services and environmental quality standards, which has only limited impact on revenues. The economic analysis should be made through future feasibility studies in order to prove that the financial profitability of the project can be justified by the economic and environmental benefits produced by the project. The participation of private capital in wastewater projects through some type of private-public partnership is only possible for projects proposed in Cetinje, Podgorica and Tivat.

#### Financial Sustainability of the Project

Table 1.17 documents the cash flow statement and expected results over the analysed period for each main system element.

Table 1.17 –Financial Sustainability of the Project (€ Million)

|  | NPV | 2021 | 2022 | 2023 | 2025 | 2030 | 2035 | 2041 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Municipality |  |  |  |  |  |  |  |  |  |
| Andrijevica | 1.808 | 0.004 | 0.007 | 0.011 | 0.019 | 0.041 | 0.113 | 0.238 | 0.579 |
| Berane | 14.992 | 0.025 | 0.074 | 0.127 | 0.251 | 0.669 | 1.434 | 2.253 | 2.790 |
| Bijelo polje | 24.712 | 0.235 | 0.358 | 0.479 | 0.643 | 1.321 | 2.721 | 1.578 | 4.871 |
| Gusinje | 9.788 | 0.090 | 0.118 | 0.149 | 0.219 | 0.467 | 0.889 | 1.301 | 1.593 |
| Kolašin | 6.144 | 0.044 | 0.064 | 0.103 | 0.170 | 0.271 | 0.572 | 0.064 | 1.525 |
| Mojkovac | 11.724 | 0.023 | 0.054 | 0.088 | 0.161 | 0.384 | 0.789 | 1.902 | 2.716 |
| Petnjica | 1.985 | 0.015 | 0.020 | 0.025 | 0.036 | 0.069 | 0.118 | 0.252 | 0.540 |
| Plav | 11.755 | 0.022 | 0.039 | 0.057 | 0.098 | 0.227 | 0.603 | 1.772 | 4.169 |
| Pljevlja | 36.485 | 0.058 | 0.232 | 0.417 | 0.820 | 2.040 | 3.397 | 4.849 | 5.805 |
| Plužine | 1.225 | 0.002 | 0.005 | 0.008 | 0.015 | 0.039 | 0.084 | 0.145 | 0.357 |
| Rožaje | 16.852 | 0.055 | 0.155 | 0.277 | 0.548 | 0.640 | 1.553 | 1.433 | 3.599 |
| Šavnik | 0.615 | 0.000 | 0.003 | 0.005 | 0.010 | 0.027 | 0.048 | 0.085 | 0.138 |
| Žabljak | 3.685 | 0.018 | 0.020 | 0.026 | 0.041 | 0.087 | 0.194 | 0.499 | 1.124 |
| Cetinje | 15.645 | 0.050 | 0.098 | 0.147 | 0.251 | 0.542 | 1.505 | 2.372 | 2.904 |
| Danilovgrad | 9.815 | 0.064 | 0.065 | 0.081 | 0.162 | 0.680 | 1.398 | 0.997 | 0.821 |
| Nikšić | 83.137 | 0.006 | 0.152 | 0.313 | 0.677 | 3.645 | 8.060 | 12.794 | 14.491 |
| Podgorica | 389.380 | 0.172 | 0.672 | 0.066 | 2.113 | 17.277 | 40.988 | 57.396 | 67.086 |
| Bar | 46.766 | 0.108 | 0.199 | 0.318 | 0.687 | 2.579 | 5.112 | 8.523 | 4.454 |
| Budva | 169.418 | 1.788 | 2.213 | 2.645 | 3.527 | 7.075 | 13.668 | 24.382 | 30.090 |
| Herceg Novi | 36.474 | 0.243 | 0.326 | 0.411 | 0.584 | 1.259 | 3.045 | 5.741 | 6.905 |
| Kotor | 64.675 | 0.006 | 0.155 | 0.319 | 0.762 | 2.527 | 5.109 | 10.039 | 13.684 |
| Tivat | 51.568 | 0.006 | 0.166 | 0.347 | 0.774 | 2.554 | 4.594 | 7.453 | 9.331 |
| Ulcinj | 56.899 | 0.446 | 0.671 | 0.912 | 1.453 | 2.306 | 3.749 | 11.036 | 8.493 |
| Region |  |  |  |  |  |  |  |  |  |
| North | 141.769 | 0.591 | 1.149 | 1.773 | 3.033 | 6.281 | 12.515 | 16.373 | 29.806 |
| Center | 497.978 | 0.293 | 0.987 | 0.607 | 3.202 | 22.144 | 51.951 | 73.559 | 85.301 |
| Coast | 425.800 | 2.597 | 3.729 | 4.952 | 7.788 | 18.299 | 35.276 | 67.173 | 72.957 |
| Total |  |  |  |  |  |  |  |  |  |
| Montenegro | 1.065.547 | 3.481 | 5.865 | 7.332 | 14.023 | 46.723 | 99.742 | 157.105 | 188.064 |

With respect to the long-term financial sustainability of the project, the wastewater project in all municipalities itself generates incremental revenue with a cumulative cash surplus over its life. However, the sustainability of the utility as a whole (i.e. “with project scenario”) will need to be monitored, taking account of the current (i.e. “without project”) level of tariff and operating cost, as well as the incremental costs and servicing on any current or future debt that may be required. This is especially important given that the tariffs are set below the full cost recovery in the short term in order to meet affordability constraints. For the current project, the cash flow can be summarised in the table above which shows that the project is financially sustainable (cumulative cash flows always positive over the reference period).

### Identification of Potential Financing Sources

#### Potential Financing Sources

Four potential main sources of finance were considered:

- Government budget

- Tariff revenues

- Donor contributions (predominantly from European Union sources)

- Loans

The proportion of the Government Budget (including both national and local elements) to be spent in the water services sector is not fixed. This is a matter for the Government to determine in agreement with the Parliament and Local Self Government Units. At present, the Government (all sources) spends close to € 11.2 million per annum in the sector. However, it should be noted that this includes two types of loans, one with EIB and the other with KfW. This represents about 0.2% of the national budget. For the future development, the baseline working assumption was made that the Government would commit app. 0.3% of the Budget to investment in the communal wastewater sector. This is rather conservative assumption, firstly in order to avoid optimism bias, and secondly in recognition of the fact that whether or not further loans will be taken is a policy decision that needs to be made in due course, which may result in the level of Government spending on the sector reaching the level of 0.8–1.0% of the budget.

Also, the figure below presents the maximum additional annual amount available for debt service in 2017 per municipality which is very low. Most of the municipalities cannot obtain additional commercial loans. This is the result of loan taking for different infrastructural projects, while the utilisation of grant funding has been very low.

Figure 1.12 – Borrowing capacity of local self-governments (million EUR, 2017)

Tariff revenue is projected to increase in accordance with the provisions of the Law on the Setting of Prices for Water Services and gradual transition to the Full Cost Recovery. At present the majority of tariff revenue is needed to cover operation and regular maintenance costs. It is assumed that over the coming decade, as tariffs increase, increasing amount of tariff revenue will become available for investment in capital maintenance (assets replacement) as a result both of the increases in tariffs, and also as a result of improvement of operational efficiency.

The main sources of grant funding at present is the EU - app.  € 1.4 million per annum (the historical overview of the financing sources for water infrastructure in Montenegro is presented in Annex 14). Figure 1.13 presents the overview of the total investments and funding gap per municipality. It is obvious that most funding gaps of the total urban wastewater investments in Montenegro  in absolute terms are required by the municipalities in the Central (Podgorica, Nikšić, Cetinje) and in the Coastal Regions (Bar, Kotor, Budva, Herceg Novi, Ulcinj, Tivat). Having in mind that the maximum available EU grant can be up to 85% of the funding gap calculated (app. 221 M EUR in constant 2018 prices) and that the municipalities have very low borrowing capacities it is important to secure supplementary investment funds through the state budget and Eco-fund.

Figure 1.13 – Funding Gap per Municipality (M EUR, 2017 constant prices)

#### Projection of Potential Financing Sources

The projection of funding sources for the period 2019-2035 is based on data showed in Table 1.18 (investment needs). Understandably, in this projection there is no financial gap and the targets could be achieved by 2035, provided the preparedness to invest, absorption capacities and household affordability analysis are appropriate to implement this scenario. The share of each separate financing source in total available financial funds is app. 54% EU funds, 42% national funds (state and local) and 3% loans.

Table 1.18 –Projection of financing sources and the proposed investment programme

|  | Total | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FINANCIAL SOURCES (Million EUR) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| National funds (state, local…) | 201.016 | 1.010 | 7.214 | 7.353 | 8.223 | 10.080 | 10.199 | 10.380 | 9.150 | 13.079 | 14.575 | 17.612 | 17.086 | 20.117 | 10.509 | 15.888 | 13.858 | 14.683 |
| Local governments (budget) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Bilateral and multilateral grants | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| EU | 255.371 | 1.290 | 10.652 | 10.760 | 11.724 | 12.133 | 12.308 | 10.653 | 9.339 | 16.642 | 18.822 | 22.339 | 22.540 | 26.106 | 12.229 | 19.358 | 18.812 | 19.663 |
| Loans | 15.082 | 122 | 589 | 589 | 509 | 1.249 | 1.249 | 1.249 | 1.262 | 1.262 | 1.262 | 1.262 | 839 | 839 | 839 | 1.160 | 400 | 400 |
| TOTAL | 471.469 | 2.422 | 18.455 | 18.702 | 20.456 | 23.462 | 23.757 | 22.282 | 19.751 | 30.983 | 34.659 | 41.213 | 40.466 | 47.063 | 23.577 | 36.405 | 33.069 | 34.746 |
| FINANCIAL SOURCES (%) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| State budget (Eco Fund) | 43% | 42% | 39% | 39% | 40% | 43% | 43% | 47% | 46% | 42% | 42% | 43% | 42% | 43% | 45% | 44% | 42% | 42% |
| Local governments (budget) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |
| Bilateral and multilateral grants | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |
| EU | 54% | 53% | 58% | 58% | 57% | 52% | 52% | 48% | 47% | 54% | 54% | 54% | 56% | 55% | 52% | 53% | 57% | 57% |
| Loans | 3% | 5% | 3% | 3% | 2% | 5% | 5% | 6% | 6% | 4% | 4% | 3% | 2% | 2% | 4% | 3% | 1% | 1% |
| TOTAL | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |

Based on the proposed draft investment schedule, the relation between the distribution of available financial resources and planned investment costs in cumulative terms is presented in the following figure.

Figure 1.14 –UWWTD - Available financial resources and investment

needs for 2019-2035 (MEUR, constant 2018 prices)

Adjustments could be further made according to more accurate data about the total amount of potential financial resources available for covering the investment needs.

### Legal and Institutional Issues Related to Wastewater Management - Summary

General assessment on the institutional issues is positive. The Ministry of Sustainable Development and Tourism has a special role, which, in accordance with the Decree on the organization and operations of public administration ("Official Gazette of Montenegro", 087/18, 038/19), regulates wastewater management and the system of utility services, and has key competences in accordance with the Law on Municipal Waste Water Management ("Official Gazette of Montenegro", 002/17 dated 10 January 2017). A significant role in project implementation is played by the Project Implementation Unit and the Administration for Public Works in the implementation of projects funded from the Capital Budget and IPA funds.

National unit for implementation of projects in the field of utility services and environmental protection was founded by the Government of Montenegro as a Limited Liability Company "Project - Consulting" headquartered in Podgorica, whose main activity is providing expert assistance in the implementation of programs in the field of utility services and environmental protection adopted by the founder, that is, local self-government, in the part related to the founder's contracts with international financial institutions and the corresponding EU funds for the financing of projects in these fields. Also, there is a project implementation unit “Vodacom” LLC on the coast, which was established by the Government of Montenegro and the municipalities of the coastal region for the implementation of projects implemented in cooperation with KfW Bank. The Ministry of Agriculture and the Water Administration play an important role in issuing water permits and defining the sensitivity of recipients.

Compatibility and integration with other institutions guarantee sufficient checking and balanced process. Considering the size of the country and the dedicated human resources, the present structure of the Ministry for Sustainable Development and Tourism with its three directorates (spatial development, construction and solid waste/communal) appears to be adequate, but it should be further reinforced with additional specialized staff in order to avoid work overload and bottlenecks.

The municipality, in accordance with the law and other regulations, regulates and provides the performance and development of utility services, maintenance of utility infrastructure and communal order.

Utility services are regulated by the Law on Communal Activities ("Official Gazette of Montenegro", 055/16, 002/18) covering public water supply and municipal waste water management. The regulatory body for regulated utility services is the Agency (Energy Regulatory Agency). The Agency's activities are to: issue, modify and revoke licenses for providing regulated utility services; supervise the operations and business of regulated utilities in respect of compliance with the conditions from the issued licenses; perform mutual comparison of operations and performance indicators of providers of regulated utility services on the basis of prescribed indicators (benchmarking); approve the proposed prices for providing regulated utility services; prepare and submit to the Parliament of Montenegro an annual report on activities related to regulated utility services; and proscribe in detail the procedure for setting prices, issuing licenses and setting indicators, and the methodology for data processing and submission.

Regulatory aspects, following better definition as suggested, such as tariffs, shall be dealt with by the MoSDT and public utility companies in cooperation with the Ministry of Finance, including the control functions on business plan, which link the tariff system with the investment planning. Implementation shall be tackled by Local Governments in cooperation with public utility companies.

Pricing elements are prescribed by the Law on Communal Activities ("Official Gazette of Montenegro", 055/16, 002/18). According to the current procedure, an application for approval of prices of the utility services is submitted to the Assembly of the local self-government unit by the utility service provider, and the Agency’s approval of the proposed price (which verifies that it complies with the methodology) is enclosed with the application for price approval submitted by the regulated utility service provider.

Other issues to be addressed: some issues concerning tariffs must be clarified in order to optimise the financial planning in particular for investments under the responsibility of the MoSDT. It is advisable that mechanisms of full cost recovery shall be established and implemented tariff considering the recovery of cost of the whole water cycle.

It is stipulated by the Law on Communal Activities ("Official Gazette of Montenegro", 055/16, 002/18) that the price of utility services or utility products per unit of measurement shall not be different for individual users, i.e. legal entities and natural persons, and a deferred application of this provision is determined.

In some cases, e.g. when the values of the components for tariff calculation affect the unit price for water supply and wastewater collection, transmission, treatment and discharge, it is recommended that the service operator may be allowed to cooperate in defining its proposal for tariff change with elaborated justification.

Authorized local government body in charge shall be obliged to consider the proposal for tariff increase, which is enclosed with the Regulatory Agency’s approval, towards the establishment of a gradual introduction of the principle of full cost recovery, if it is prepared in accordance with the methodology for calculation of the tariff for water from public water supply system and for collection, transmission, treatment and discharge of wastewater and if it is communicated to the public and economic sector in a transparent way.

Role of local self government (municipalities): It is recommended to identify categories of households who will pay subsidized price. Municipalities shall reimburse provider (service operator) for difference between subsidized and unit price on mutually agreed time frame.

Recommendation on administrative arrangements, including the identification of the appropriate competent authority provisions:

- improve the attribution of responsibilities on the horizontal and vertical level;

- provide more coordination responsibility to the MoSDT in order to avoid conflict of jurisdictions among Ministries. Clarify the role of the Ministries (MoSDT and Finance), establishing clear legal framework for institutional arrangements without overlapping of responsibilities

Although the human resources dedicated to the transposition of the EU acquis from the MoSDT side are very good and experienced, additional human resources may be needed. All the transposition and implementation steps shall be followed by sufficient staff in order to follow with the step-by-step approach which allows reaching a common and shared platform, necessary basis for the transposition and implementation.

Recommendation to optimise institutional arrangements:

The MoSDT shall take the leading role in coordination with other Ministries. In particular:

- Coordination between Water and Waste management department may be necessary for issuing the Permits for wastewater management and produced sludge and re-used water.  This department may support and be involved, with additional tasks including the licences/permits/authorization for producers, users as well as record keeping.

- Centralisation of the monitoring and control within the MoSTD may be needed in order to ensure coordination with and commitment of the MARD in particular concerning the reuse of treated water and the reuse of treated sludge. Reorganisation of water utility sector is needed: legal framework – under responsibilities of water legislation; water utilities separated from other utility services (separate account – cost recovery); prepare specific studies, including needs assessment and job profiles definitions and analyse institutional models appropriate for Montenegro. Others: Clarify role of  Public/Private Water Management Enterprises in particular regarding ownership issues

- Strengthening of the role of the independent Environment Agency with monitoring and reporting functions. Strengthening the activities of the competent authorities in charge of issuing and keeping the Register of issued water permits in accordance with the Law on Waters (“Official Gazette of the Republic of Montenegro”, 027/07, 084/18).

- Local governments may be effectively involved, with additional tasks on preliminary activities related to permits as well as with the control of the users (in cooperation with the State environmental and water inspectors).

- Furthermore, an important role of the municipalities may be in preliminary assessment and verification activities related to permits, in close cooperation with public utilities (also considering that the number of staff of the public utilities is relevant and technically prepared to provide support to the administrative staff of the local government), as well as with the control of the users (in cooperation with the State environmental and water inspectors). In some cases (municipalities of a limited size)  a frame of cooperation may be encouraged at the ministerial level for the establishment of joint assistance units for the management of special issues such as tendering and project implementation as well as for the functions as liaise with the Ministry on issues related with environmental impact assessment.

- Water Utility Companies are service providers, responsible for provision of water supply and sewerage services to the population and management, operation and maintenance of the water supply and sewerage infrastructure.

- Professional organizations for water and waste testing and other legal entities accredited for analysis of water and waste in laboratory (agreed by the MoSDT) may be involved and provide support in the testing of quality of reused treated water and Sewage Sludge to be used in agriculture;

- Inspection, control activities and monitoring is the obligation which has to be reinforced by the provisions that guarantee the independence of the inspectors in their role of monitoring and control.

# INTRODUCTION AND PROJECT BACKGROUND

The project pertains to the Revision of the Wastewater Master Plans and preparation of a Draft Directive Specific Implementation Plan (DSIP) for the Urban Wastewater Treatment Directive (UWWTD) in Montenegro.

Contracting Authority is the Directorate of Public Works (DoPW) and the Ministry of Sustainable Development and Tourism (MoSDT) is the End Recipient.

Montenegro submitted its application for EU membership on December 15, 2008. In December 2010 the European Council granted to Montenegro the candidate status for EU membership. The accession negotiations with Montenegro were opened on June 29, 2012 with the focus on fully meeting the political and economic Copenhagen criteria for EU membership, as well as the ability to assume the EU acquis. Up to March 2015 eighteen negotiating chapters have been opened, and Chapter 27 – Environment and Climate change has been open recently.

Having achieved the candidate country status in 2010, Montenegro gained access to IPA Component III (Regional Development) that amongst others supports regional sustainable growth initiatives in the Environment sector. To meet the requirements of IPA Regional Development under the IPA implementing regulation for 2007 – 2013, the accreditation road map and action plan were prepared and adopted by the Government. In 2011 a decree defining the functions and composition of the different IPA operating structures was adopted.  The National IPA coordinator (NIPAC), the Competent accrediting Officer (CAO), the National Authorising Officer (NAO), the heads of IPA Operating Structures (OS) and the Strategic Coordinator have been appointed. The OS for IPA Component III consists of:

- MoSDT – responsible for operational programme/priority axes and measures,

- Ministry of Transport and Maritime Affair (MoTMA) – responsible for priority measures, and

- DoPW - Implementing Body.

With the support of EU-funded experts, the Montenegrin authorities prepared the Operational Programme for the Regional Development Component for the period 2012-2013 (OPRD 2012-2013), which was approved by the European Commission.

So far, Montenegro has focused more on the transposition of EU water Acquis than on its implementation, and since 2007, a new package of laws and corresponding secondary legislation has been adopted. The MoSDT identified the need to improve the transposition level for the UWWTD, and therefore drafted the Law on Urban Wastewater Management. The following by-laws, of particular interest for this project, either have been adopted or are to be passed soon:

- Act on agglomerations,  defining the  geometrical  limits  of  the  agglomerations, population and capacity;

- Forms of content and manner of reporting and monitoring;

- The programme for construction of the municipal wastewater collection and treatment infrastructure.

In 2016 Montenegro adopted the National Strategy with Action Plan for transposition, implementation and enforcement of the EU acquis on Environment and Climate Change 2016-2020. According to this document, the largest and most expensive gaps are in the infrastructure for wastewater collection and treatment, waste management, and air quality protection. Existing strategic documents relevant to the UWWTD implementation, defining specific investment and implementation plans are:

- Strategic  Master Plan for Sewerage and Wastewater in Central and Northern Region of Montenegro (2005-2029)

- Master Plan  for Wastewater Management on the Coast of Montenegro and in Cetinje Municipality  (2005-2029)

Service coverage with wastewater collection services is currently around 50% and there are several functional wastewater treatment plants (Budva, Podgorica, Nikšić, Kotor-Tivat, Mojkovac and Žabljak, Herceg Novi).  However some of these treatment facilities do not provide treatment efficiency in accordance with the EU standards. Construction of WWTPs and construction and rehabilitation works on sewerage systems is under way in several municipalities.

National Investment Committee (NIC) has been set up to coordinate capital investment activities regarding project prioritisation; the NIC Secretariat is provided by the Secretariat for Development Projects. The NIC has reflected the investment priorities for environment in the Single Project Pipeline (SPP) that serves as a basis for programming and blending of all available financial sources. The SPP list is being updated on a regular basis.

## Project Objectives

### Global objective

The global objective of the project is to facilitate the implementation of the environmental legislation in the area of wastewater management related to the UWWTD.

### Specific objectives

The specific objectives of this project are to prepare:

- Consolidated Master Plan for Wastewater Management covering the entire territory of Montenegro, based on the revision and update of two existing Master Plans, for the upcoming period of 2018-2035

- Draft Directive Specific Implementation Plans (DSIP) for the UWWTD

The core of the study is the revision of two existing Master Plans, taking into account affordability analysis so as to integrate these aspects into revised Investment Plans for the period 2018 - 2035, to be also included in the DSIP. Considering the fact that the implementation and enforcement of the environmental legislation is a lengthy process, the investments must be sequenced in accordance with the affordability limitations. The DSIP provides the analysis for improvement of the planning related to the implementation of the UWWTD measures.

## Master Plan Structure

The Municipal Wastewater Management Plan of Montenegro (2020-2035) comprises the following sections:

- Section 1: Executive Summary

- Section 2: Introduction and background

- Section 3: The Project Area

- Section 4: Inventory and Assessment of Existing Infrastructure

- Section 5: Project-related Projections

- Section 6: Future Wastewater Measures Requirements

- Section 7: Cost Assessment related to the proposed measures

- Section 8: Implementation Schedule, Costs, Financing Plan and Tariffs Setting

- Section 9: Identification of Potential Financing Sources

- Section 10: Legal, Organisational and Institutional Aspects

- Section 11: Regulatory and Institutional Aspects on Environmental Licenses and Permits

- Section 12: Prioritisation and Ranking of Wastewater Management Measures

- Section 13: Risks Management in Relation to Wastewater Management Measures

- Section 14: Annexes to the Report

Following the Main Master Plan corresponding Annexes provide details and particulars of a range of related data, information, aspects, etc. related to the development of the consolidated Urban Wastewater Master Plan.

## Project Deliverables

Project Deliverables are presented in the following tables:

Table 2.1 - Project deliverables

| Main Output | Content |
| --- | --- |
| Inception Report | Existing situation analysis and project work plan |
| Master Plan for Wastewater Management in Montenegro for the period 2018 - 2035 | Data collection and analysis of existing situation Drafting of Revised Master Plan Presentation of Revised Master Plan |
| Directive Specific Implementation Plan for the UWWTD | Preparatory activities; preparation of DSIP |
| Draft Final Report | Short description of achievements including problems encountered and recommendations |
| Final Report | Short description of achievements including problems encountered and recommendations; |

The Contracting Authority is responsible for approvals of the deliverables.

Additionally, two Debriefing Meetings were organized for the presentation of the Master Plan and DSIP, to representatives of the End Recipient and key stakeholders.

Table 2.2 – Project debriefing meetings

| Debriefing Meeting | Content |
| --- | --- |
| 1st Debriefing Meeting: | Presentation of Master Plan and DSIP to Ministry Representatives |
| 2nd Debriefing Meeting: | Presentation of Master Plan and DSIP to Representatives of local authorities |

Recommendations from the debriefing meetings were incorporated in the Final report.

Outputs during the Inception Phase

- Preparation of the Framework Contract Work Plan.

- Preparation of the Inception Report to present:

- Refined project organization and methodology for the project implementation;

- Detail schedule of the experts' assignments;

- Project Monitoring and Evaluation indicators;

- Project Logical Framework Matrix;

- Overview of the main stakeholders;

- Overview of and progress in required data collection;

- Overview of information gaps identified and additional data needed;

- Overview of the current status of wastewater collection and treatment works;

- Overview of the  information collected during definition of boundaries of the agglomerations, their population and capacity;

- Overview of information collected on Environmentally sensitive areas;

- Overview of information collected on legal, organisational and institutional situation;

- Overview of information collected on tariff setting and subsidy payment policy;

- Overview of information collected on donor/IFI related wastewater management investment measures programmes.

Outputs during the Implementation Phase

- Consolidated Master Plan  for Wastewater Management in Montenegro for the period 2018 - 2035:

- Present the current status of wastewater management in Montenegro;

- Recommend suitable wastewater collection and treatment;

- Elaborate stand-alone packages of Investment Measures;

- Elaborate the Investment Plan of the Investment Measures;

- Make recommendations regarding the conditions to be met regarding projects preparation before starting the Investment Measures implementation;

- Assess Financial and Economic parameters of the Investment Measures Programme;

- Make the initial Analysis of the Risks and possible Mitigation Measures;

- Recommend suitable Investment Measures to comply with the requirements of the UWWTD

- Preparation of a Directive Specific Implementation  Plan for the UWWTD

- Preparation of the Final Report to

  - present all key findings and recommendations remaining valid at the end of the assignment, and

  - cover the whole project, comprising:

  - Executive summary of the activities implemented during the project;

  - Complete overview of all activities implemented, highlighting Specific problems encountered and solutions adopted, points requiring specific attention, as well as, any relevant information based on experience gained over the duration of the assignment.

  - Description of the results achieved;

  - Overview of delivered outputs;

  - Expected deliverables in their final format;

  - Annexes including, among other things, field visits records, photographic documentation, meetings records, and any other documents and information we consider useful for the report.

## Inception Period Activities

The main activities carried out by the Consultant during the inception period commencing on April 24, 2017, and the main findings of the inception phase and any suggested changes to project activities as a result of key project stakeholder’s feedback and expectations for project outcomes.

During the inception period, the following main activities were carried out:

- Mobilization of the project Experts and establishment of the Project Office within the MoSDT premises in Podgorica.

- On April 24, 2017 the project kick-off meeting was held in the MoSDT offices in Podgorica.

- Following the kick-off meeting, fact finding consultation meetings were held with MoSDT key staff and other stakeholders (including Vodacom and Procon) to:

  - Discuss and confirm the availability of technical data and documentation;

  - Discuss and agree the arrangements needed for the site visits to be carried out by KEs.

- An initial analysis of the data received from the Ministry of Sustainable Development and Tourism (as the End Recipient) and identification of the gaps.

- KE1 carried out an identification of potential risks and related mitigation actions and prepared a first draft of Risk matrix – Risk Quantification – Risk allocation and identification of possible mitigation measures.

- KE1 reviewed and updated the project Organization and Methodology, and developed an updated ‘Work Plan’.

- KE1 and KE2 prepared Questionnaires on issues related to the current status of Wastewater management works. For expediting data collection, MoSDT sent the Questionnaires to the Public Utility Companies (PUCs) and the existing WWTPs operators requesting them to fill them up.

On the basis of these initial works and interaction with the key stakeholders, the Inception Report was prepared and was submitted to MoSDT on May 19, 2017. On June 9, 2017 the DoPW approved the Inception Report.

## Work Plan

The duration of the project was foreseen to be 8 months starting from April 24, 2017.

On December 5, 2017 an extension to the contract duration was agreed until February 5, 2018, and finally additional extension of the Contract was granted till November 30, 2018.

The scheduling of the project activities and major milestones in executing the contract and the sequences of reports submissions and review comments provision and approvals timing, is provided in Annex 2: Work Plan.

# THE PROJECT AREA

## Introduction

Montenegro covers a total area of 13,812 km2, with a total of 623 thousand inhabitants (2017 mid-year estimate). For the most part, the Project Area is sparsely populated and is in mountainous terrain.

The scope of this project is, to define the wastewater infrastructure needs of the whole of the country.

## Population estimates

### Current situation

The distribution of population in Montenegro according to Census 2011 in municipalities of the Northern, Central and Coastal Regions is presented in Table 3.1. Of the total population, around one third lives in villages, and the rest in urban or suburban areas.

Table 3.1 -  Population of the Project Area, per municipality, settlement type (2011 Census)

| Municipality | Municipality area (km2) | Population of Municipality (capita) | Population by settlement type |  |
| --- | --- | --- | --- | --- |
|  |  |  | Urban(capita) | Other (capita) |
| Andrijevica | 283 | 5,117 | 1,055 | 4,062 |
| Bar | 598 | 42,368 | 17,727 | 24,641 |
| Berane | 717 | 35,452 | 11,193 | 24,259 |
| Bijelo Polje | 924 | 46,676 | 23,105 | 23,571 |
| Budva | 122 | 19,170 | 15,933 | 3,237 |
| Cetinje | 910 | 16,757 | 14,166 | 2,591 |
| Danilovgrad | 501 | 17,678 | 6,892 | 10,786 |
| Gusinje¹ |  |  |  |  |
| Herceg Novi | 235 | 30,992 | 19,617 | 11,375 |
| Kolašin | 897 | 8,420 | 2,747 | 5,673 |
| Kotor | 335 | 22,799 | 12,715 | 10,084 |
| Mojkovac | 367 | 8,669 | 3,631 | 5,038 |
| Nikšić | 2,065 | 72,824 | 57,278 | 15,546 |
| Petnjica |  |  |  |  |
| Plav | 486 | 13,549 | 5,522 | 8,027 |
| Pljevlja | 1,346 | 31,060 | 19,622 | 11,438 |
| Plužine | 854 | 3,286 | 1,353 | 1,933 |
| Podgorica | 1,441 | 187,085 | 156,169 | 30,916 |
| Rožaje | 432 | 23,312 | 9,567 | 13,745 |
| Šavnik | 553 | 2,077 | 456 | 1,621 |
| Tivat | 46 | 14,111 | 10,149 | 3,962 |
| Ulcinj | 255 | 20,265 | 10,828 | 9,437 |
| Žabljak | 445 | 3,599 | 1,737 | 1,862 |
| Montenegro | 13,812 | 625,266 | 401,462 | 223,804 |

GUSINJE1: data on Gusinje included in Plav, data on Petnjica included in Berane

The average population density in Montenegro is 0.45 capita per hectare. A schematic presentation of population density in Montenegro is presented in Figure 3.1.

Figure 3.1 - Population Density (2011 Census)

Source: MONSTAT (Census 2011)

Most of the settlements tend to be rather small; the distribution of population in settlements (which are mostly villages) according to Census 201 is presented in Table 3.2.

Table 3.2 - Size of settlements by municipality (2011 Census)

| Municipality | Number of settlements by size (capita) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 0-1000 | 1000-2000 | >2000 | Total |
| Andrijevica | 23 | 1 | 0 | 24 |
| Bar | 73 | 7 | 3 | 83 |
| Berane | 60 | 4 | 2 | 66 |
| Bijelo Polje | 125 | 7 | 5 | 137 |
| Budva | 43 | 1 | 1 | 45 |
| Cetinje | 93 | 0 | 1 | 94 |
| Danilovgrad | 78 | 1 | 1 | 80 |
| Gusinje¹ |  | 1 |  | 1 |
| Herceg Novi | 19 | 5 | 3 | 27 |
| Kolašin | 69 | 0 | 1 | 70 |
| Kotor | 52 | 1 | 3 | 56 |
| Mojkovac | 13 | 1 | 1 | 15 |
| Nikšić | 106 | 2 | 2 | 110 |
| Petnjica |  |  |  |  |
| Plav | 21 | 0 | 1 | 22 |
| Pljevlja | 158 | 0 | 1 | 159 |
| Plužine | 42 | 1 | 0 | 43 |
| Podgorica | 133 | 6 | 4 | 143 |
| Rožaje | 24 | 0 | 2 | 26 |
| Šavnik | 27 | 0 | 0 | 27 |
| Tivat | 10 | 0 | 2 | 12 |
| Ulcinj | 36 | 2 | 1 | 39 |
| Žabljak | 27 | 1 | 0 | 28 |
| Montenegro | 1.232 | 41 | 34 | 1.307 |

GUSINJE1: data on Gusinje are included in Plav, data on Petnjica included in Berane

According to 2011 census data, in 2011 there were thirty four settlements in Montenegro with a population in excess of 2000;

These settlements are shown in Table 3.3 and currently are partly served by on-site sanitation facilities. Their population is also spread over a wide area with clusters of population within the administrative area of each.

Table 3.3 - Settlements with population in excess of 2000 by municipality (2011 Census)

| Municipality | Number of villages by size (capita) |  |  |
| --- | --- | --- | --- |
|  | Total | >2000 | Settlement Name |
| Andrijevica | 24 | 0 | - |
| Bar | 83 | 3 | Bar, Burtaiši, Šušanj |
| Berane | 66 | 2 | Berane, Budimlja, |
| Bijelo Polje | 137 | 5 | Bjelo Polje Centre, Nedakusi, Pruška, Rakonje, Resnik |
| Budva | 45 | 1 | Budva |
| Cetinje | 94 | 1 | Cetinje |
| Danilovgrad | 80 | 1 | Danilovgrad |
| Gusinje¹ | 1 |  | - |
| Herceg Novi | 27 | 3 | Bijela, Herceg Novi, Igalo, |
| Kolašin | 70 | 1 | Kolašin |
| Kotor | 56 | 3 | Dobrota, Risan, Škaljari |
| Mojkovac | 15 | 1 | Mojkovac |
| Nikšić | 110 | 2 | Nikšic, Ozrinići |
| Petnjica |  |  |  |
| Plav | 22 | 1 | Plav |
| Pljevlja | 159 | 1 | Pljevlja |
| Plužine | 43 | 0 | - |
| Podgorica | 143 | 4 | Golubovci, Mojanovići, Podgorica, Tuzi |
| Rožaje | 26 | 2 | Ibarac, Rožaje |
| Šavnik | 27 | 0 | - |
| Tivat | 12 | 2 | Mrčevac, Tivat |
| Ulcinj | 39 | 1 | Ulcinj |
| Žabljak | 28 | 0 | - |
| Montenegro | 1,307 | 34 |  |

GUSINJE1: data on Gusinje are included in Plav, data on Petnjica included in Berane

### Data on population growth

Based on data from Release No. 102 “The estimate of number of population and demographic indicators 2015” - published by the Statistical Office of Montenegro – MONSTAT, the population natural growth in Montenegro has been positive at around +1.7‰ annually (Table 3.4).

Table 3.4 -  Rate of natural population growth by municipality in Montenegro, 2015 data

| Municipalities (2015) | Rate of natural Increase (‰) |
| --- | --- |
| Montenegro | 1,7 |
| - Andrijevica | 2,3 |
| - Bar | 1,6 |
| - Berane | 2,9 |
| - Bijelo Polje | -0,4 |
| - Budva | 5,8 |
| - Cetinje | -3,5 |
| - Danilovgrad | -1,5 |
| - Gusinje | -4,4 |
| - Herceg Novi | 1,6 |
| - Kolašin | -6,4 |
| - Kotor | 1,9 |
| - Mojkovac | -5,5 |
| - Nikšić | -0,4 |
| - Petnjica | -5,1 |
| - Plav | 0,8 |
| - Pljevlja | -9,3 |
| - Plužine | -9,0 |
| - Podgorica | 5,4 |
| - Rožaje | 7,6 |
| - Šavnik | -13,7 |
| - Tivat | 2,8 |
| - Ulcinj | 0,5 |
| - Žabljak | -7,0 |

Source: MONSTAT - Release No. 102

The average rate of migration in Montenegro is 7.0‰, meaning that for each of 1000 inhabitants, 7 persons  change their place of residence within the borders of Montenegro (please refer to Figure 3.2), showing a tendency of migration within Montenegro towards the coastal Area (Budva, Bar, and Tivat) and Podgorica.

Figure 3.2 - Rates of Migration Balance by municipality in Montenegro, 2015 data

Source: MONSTAT - Release No. 102 “The estimate of number of population and demographic indicators 2015”

The Estimated (mid-year) population in Montenegro by municipalities for the years 2000 through to 2016  is presented in Table 3.5 that follows. The table presents the demographic development in municipalities during the recent 15 years and provides good indication for the formulation of the key characteristics of future population growth projections.

Table 3.5 - Population in Montenegro by municipalities for the years 2000 through to 2016 (mid year)

Source: MONSTAT

| Notes: | *Data are corrected The amendments to the Law on Territorial Organization of Montenegro, in 2013, foresees the establishment of the municipality Petnjica, and on 2014 establishment of the municipality Gusinje. Accordingly, the data for the municipality Petnjica published since 2014 and for the municipality of Gusinje 2015 |
| --- | --- |

### Analysis of available data on tourism

Tourist arrivals and overnight stays by municipalities in May 2017 are presented in Table 3.6, and Figure 3.3 that follow.

Table 3.6 - Tourist arrivals and overnight stays by municipalities, May 2017

Source: MONSTAT, Release no: 120, Podgorica, 30 June 2017

Figure 3.3 -Tourist arrivals and overnight stays in the most visited municipalities (%), May 2017

Source: Montenegro Statistical Office, Release no: 120, Podgorica, 30 June 2017

According to data presented in the Montenegro Tourism Development Strategy to 2020, published in December 2008 (please refer to Table 3.7), the estimated accommodation capacity in Montenegro in 2005 was:

- 120.000 beds - according to the MONSTAT

- 300.000 beds - according to the study “Tourism Accommodation Facilities Inventory and Assessment of Tourism Turnover”, conducted by the International Institute for Tourism, Ljubljana.

Table 3.7 - Surveys on bedding capacity in Montenegro, 2005 data

|  |  | Bedding Capacity |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | MONSTAT |  |  |  | Survey |  |  |  |
| Commercial accommodation | 65.096 |  | 54,1% |  | 69.393 | 23,4% |  |  |
| Hotels, similar establishments | 31.675 |  | 26,3% |  | 39.273 | 13,3% |  |  |
| Guesthouses | 854 |  | 0,7% |  | 1.155 | 0,4% |  |  |
| Holiday villages | 9.235 |  | 7,7% |  | 7.700 | 2,6% |  |  |
| Rest homes/Sanatoria | 13.214 |  | 11,0% |  | 13.557 | 4,6% |  |  |
| Mountain huts | 0 |  | 0 |  | 300 |  |  |  |
| Village(/Agro)tourism | 0 |  | 0 |  | 40 |  |  |  |
| Camping bed places | 10.118 |  | 8,4% |  | 7.368 | 2,5% |  |  |
| Private accommodation | 55.174 |  | 45,9% |  | 106.792 | 36,1% |  |  |
| Registered private rooms | 55.174 |  | 45,9% |  | 55.135 | 18,6% |  |  |
| Unregistered rooms | 0 |  | 0 |  | 51.657 | 17,5% |  |  |
| Holiday – second homes | Unregistered |  | Unregistered |  | 119.802 | 40,5% |  |  |
| Total bed count | 120.270 |  | 100,0% |  | 295.987 | 100,0% |  |  |

Sources: MONSTAT and International Institute for Tourism “Tourist Accommodation Facilities Inventory”

Montenegro Tourism Development Strategy to 2020, December 2008

The difference between the MONSTAT statistics and the aforesaid study is largely attributable to the fact that a large number of second homes and holiday and private lodgings remained unregistered as establishments used for letting and thus left out of account. This is not particularly surprising. The second and holiday apartment users on holiday, that were not classified as tourists, is a well known fact (as also acknowledged in the Master Plan for wastewater management in the coastal region of Montenegro, 2004).

As indicated in the Montenegro Tourism Development Strategy to 2020:

- The volume of tourists causes an excessive user concentration during the summer months along the coast. Accounting for the grey market, the coast makes up over 95% of all overnight stays - mostly in the peak holiday period July-August.

- According to the statistics, the number of overnight stays from 2000 to 2007 increased by 130% from 3.2 million to 7.3 million, the uptrend curve differing by source region. While the local market was stagnating, international visitors share grew from 14% to 52%  (Figure 3.4);

- The months of July and August account for almost 70% of all overnights and the months of June and September for another 10% each and if the overnight stays of the grey market are included (Table 3.8);

- The recorded arrivals per month over the period 2002–2007 (

- Figure 3.5) point to the fact that, in addition to the considerable increase in the numbers of visitors each year, the season is also extending.

- For several years in a row summer tourism season starts earlier (March-April) and ends later (October–November). Furthermore, the resorts in the northern region are recording increased visits over the summer months, leading eventually to reducing seasonality of tourism industry.

Figure 3.4 - Overnight stays in Montenegro by source market

Source: Montenegro Tourism Development Strategy to 2020, December 2008

Table 3.8 - Concentration of overnights in Montenegro in the summer months

| Montenegro: concentration of overnights in the summer months |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Overnights |  | Statistics |  |  | Estimate Includ. grey Market |  |  |  |
|  | 2005 | 2006 | % 2006 | 2005 |  | 2006 | % 2006 |  |
| Yearly Total | 5.211.847 | 5.936.270 | 100,0 | 15.066.870 |  | 17.096.500 | 100,0 |  |
| July - August | 3.506.598 | 4.056.993 | 68,3 | 10.454.408 |  | 11.924.925 | 69,8 |  |
| June - Sept. | 4.695.359 | 5.291.730 | 89,1 | 14.088.381 |  | 15.771.146 | 91,9 |  |

Sources: Ministry of Tourism and Environment, International Institute for Tourism, Ljubljana (Montenegro Tourism Development Strategy to 2020, December 2008)

Figure 3.5 -Recorded arrivals per month over the period 2002–2007

Source: Montenegro Tourism Development Strategy to 2020, December 2008

Tourist overnights, in August 2015 and August 2016 are presented in Error! Reference source not found..

Table 3.9 - Tourist overnights, August 2015 and 2016

Note: 1) Collective accommodation establishments include: hotels, camping sites, tourist resorst, vacation facilities, boarding houses, motels, inns etc

Source: MONSTAT

# Inventory and assessment of existing infrastructure

## Wastewater collection

### Wastewater collection networks

Management of communal wastewaters is regulated by the following key legislation: the Law on Communal Activities (OG of MNE, 055/16 and 074/16) as well as by the Law on communal wastewater management (OG of MNE, 002/17).

Basic structure/organisation of management of communal wastewater is LSGU-based, it is normally carried out by a water utility company founded by the LSGU, while some LSGU-s decided to engage a private operator through a concession agreement for carrying out certain part of WW management (specifically; urban wastewater management in the Municipality of Budva which is carried out by a private company/operator).

The municipalities with their wastewater collection systems are associated with the corresponding major river basin (Danube River basin or Adriatic Sea basin) and with the corresponding sub-basins, as shown in the report. Municipal wastewater systems are also linked to sensitive or non-sensitive areas in accordance with the Decision on sensitive areas in relation to the UWWTD, June 2017.

Current service coverage of population with WW collection services is very variable per municipalities, while the overall national (average) service coverage is estimated around 47.5% of the total population. WW collection connection rates are also variable by region, while the rates are rather low in the northern region – around 38%; in the coastal region the rates are significantly higher – around 52% of the population.

Figure 4.1 – WW collection service coverage per region (# of population)

Figure 4.2 – WW collection service coverage per region (% of population)

Table 14.1 (in annexes) presents the key information related to the existing communal wastewater management in Montenegro, as well as some of the key performance indicators.

In accordance with the information provided by municipal water utility companies and relevant national institutions (MSDT and MONSTAT), the overall length of existing WW collection networks (main sewers and collection network) is around 915km.

Table 14.1 also includes the assessment of the current WW loading (expressed in PE) that is collected/served by the existing WW collection systems, as well the preliminary estimate of the total generated WW loading within the entire Project Area.

For the purpose of this assignment, the consultants closely cooperated and coordinated with the representatives of the Ministry of Sustainable Development and Tourism (MoSDT), in particular Directorate for Waste Management and Communal Development all matters related to collection and systematisation of reports, data and documentation related to current status and planned development of urban wastewater infrastructure. The key information and documents that were acquired with that regard include:

- Project-specific questionnaires coordinated and provided by the MoSDT in 2018 containing the information on current communal wastewater infrastructure in particular municipalities;

- Existing wastewater infrastructure presented on maps (layout drawings) or in tabular form, provided through the MoSDT;

- Extensive and comprehensive information on the current wastewater infrastructure in the municipalities in the coastal region (H.Novi, Tivat, Kotor, Bar and Ulcinj) provided by the by the relevant Project Implementation Organisation; Vodacom Ltd. Unfortunately, this set of information did not cover the municipality of Budva since Budva does not participate in the KfW-supported water supply and infrastructure development programme in the coastal region.

- Relevant information on the wastewater infrastructure and services from the recent national studies, including Environmental Infrastructure Audit and Affordability Study, 2017

- Of particular importance for proper understanding and assessment of the current infrastructure status and related problems were site visits to the municipalities where additional information, clarifications and direct insight were considered necessary, including: Tivat-Kotor, Ulcinj, Nikšić, Berane, Pljevlja, Cetinje, Rožaje, Mojkovac, Plav-Gusinje and Kolašin.

Main characteristics and elements of the existing and planned communal wastewater infrastructure are presented on the general layout map covering entire Project Area (of scale 1:750,000) and on the detail maps related to individual municipalities or agglomerations (of scale 1:25,000 and 1:1:50,000) included in the annexes to this report.

For the purpose of this assignment, the MoSDT provided latest available background maps and aerial images of the Project Area. These maps and images have been rectified and geo-referenced in accordance with Gauss–Krüger (GK6) projection. Relevant background maps and aerial images included the following:

- Topographical maps of the Project Area, of scale 1:25,000, dated 2009;

- High-resolution aerial images of the entire Project Area dated 2018 providing very detail, accurate and realistic information on current status of urban development;

- CORINE (2012) Land Cover (CLC) inventory for Montenegro. It consists of an inventory of land cover in 44 classes. CLC uses a Minimum Mapping Unit (MMU) of 25 hectares (ha) for areal phenomena and a minimum width of 100 m for linear phenomena. Relevant layers of CORINE land cover (continuous urban fabric, discontinuous urban fabric, etc.) proved to be invaluable for verification of the aforesaid aerial image information and actual limits of the service areas and agglomerations in terms of the UWWTD.

The aforesaid background maps and images have been imported in the corresponding GIS-based software (Q-GIS) creating a very detail and up-to-date platform for preparation of this assignment.

Apart from the aforesaid main background maps and images, the consultants used a wide range (wherever available) of spatial information related to the existing wastewater infrastructure (whenever available in appropriate editable electronic format) of different scale and accuracy.

The following figures present main characteristics of the existing wastewater collection systems per municipality, including:

- Length of collection network (gravity sewers) per municipality

- Network density (# of users per km of network, m of network per user connected)

- Reported average of network (years)

- Network blockage indicator (blockages/km/year)

From the prospective of the Urban Wastewater Treatment Directive, specifically its Article 3, the service coverage with wastewater collection should be observed in relation to the population in delineated agglomerations in terms of the UWWTD.  The Rulebook on geographical boundaries, number and capacity of agglomerations in Montenegro (OG MNE 078/17) defines in detail settlements (by municipality) which are to be considered as parts of the agglomeration in Montenegro with reference to the UWWTD.

It is therefore possible to distinguish between the settlements (agglomerations) which are (eligible) to be provided by the urban wastewater collection i.e. where the condition:”...where the population and/or economic activities are sufficiently concentrated for urban wastewater to be collected and conducted to an urban wastewater treatment plant or to a final discharge point...”, and those that do not fulfil these criteria.

The following table presents the assessment of the current number of population per municipality, but only in those settlements that are considered as being part of the agglomerations.

Table 4.1 - Population estimate per municipality in settlements pertaining to agglomerations

| Region | No | Municipality | 2011 | 2015 | 2018 |
| --- | --- | --- | --- | --- | --- |
| North | 1 | Andrijevica | 2,835 | 2,675 | 2,613 |
| North | 2 | Berane | 21,961 | 21,248 | 20,757 |
| North | 3 | Bijelo Polje | 24,418 | 23,451 | 22,910 |
| North | 4 | Gusinje | 2,846 | 2,747 | 2,684 |
| North | 5 | Kolašin | 4,880 | 4,478 | 4,375 |
| North | 6 | Mojkovac | 5,529 | 5,141 | 5,022 |
| North | 7 | Petnjica | 1,386 | 1,291 | 1,261 |
| North | 8 | Plav | 7,288 | 7,080 | 6,917 |
| North | 9 | Pljevlja | 19,772 | 18,373 | 17,949 |
| North | 10 | Plužine | 1,341 | 1,149 | 1,123 |
| North | 11 | Rožaje | 13,248 | 13,356 | 13,048 |
| North | 12 | Šavnik | 472 | 399 | 389 |
| North | 13 | Žabljak | 1,723 | 1,582 | 1,545 |
| Central | 14 | Cetinje | 14,909 | 14,201 | 14,141 |
| Central | 15 | Danilovgrad | 7,359 | 7,311 | 7,280 |
| Central | 16 | Nikšić | 59,027 | 57,696 | 57,450 |
| Central | 17 | Podgorica | 172,359 | 181,267 | 185,706 |
| Coastal | 18 | Bar | 36,369 | 37,805 | 38,671 |
| Coastal | 19 | Budva | 18,197 | 19,458 | 19,904 |
| Coastal | 20 | Herceg Novi | 29,353 | 29,225 | 29,048 |
| Coastal | 21 | Kotor | 20,124 | 20,114 | 19,993 |
| Coastal | 22 | Tivat | 13,972 | 14,401 | 14,314 |
| Coastal | 23 | Ulcinj | 13,217 | 13,328 | 13,247 |
| North |  | Sub-total | 107,699 | 102,971 | 100,593 |
| Central |  | Sub-total | 253,654 | 260,476 | 264,577 |
| Coastal |  | Sub-total | 131,232 | 134,330 | 135,178 |
|  |  | Gross total | 492,585 | 497,777 | 500,347 |

Based on the current population number in the identified agglomerations, the indicator of service coverage is presented in the following figure, and it reaches around 60% (Figure 4.3) of the population to be covered by wastewater collection. Service coverage calculated as described shows rather uniform figures across different regions, due to quite diverse normal population densities (for example Northern Region is characterised by a large number of small, scattered settlements not being considered as parts of future agglomerations).

Figure 4.4 highlights the wastewater collection service coverage (delineated agglomerations) per different local self-government units, as reported by respective municipal water utility companies. This figure shows the wide range of service level provided, from next to zero to almost full coverage (Pljevlja). However, detail insight and analysis of the current systems, as shown further in the report, showed that the reported very high connection rates are in reality markedly lower.

Furthermore, it is quite notable that some of comparatively large urban and tourism-oriented agglomerations (including Podgorica, Nikšić, Herceg Novi, Kotor, Tivat, Bar) have fairly low service coverage, which may imply the need for quite exstesive scope of future measures related to wastewater collection.

Figure 4.3 – WW collection service coverage per region (% of population in agglomerations)

Figure 4.4 – WW collection service coverage per municipality (% of population in agglomerations)

Wherever possible, and if the information was made available, both tabular reports and (preferably GIS-based) graphical presentation of the existing collection networks were used. However, after the cross-checking, it was often noted that these two sources of information were not fully consistent. It was then necessary make the assessment and use the source believed to be more trustworthy.

Still, in the more detail phases of each individual project preparation, it would be necessary to pay particular attention to detail verification of all aspects of “as-built” status of the existing wastewater infrastructure. Although there might be some local deviations from the expected indicators of a wastewater collection system, at the regional level network density indicators show expected tendencies; highest density being recorded in the Central region with larger and densly populated urban settlements. In the north network density is in the mid-range, while in the Coastal region it is below the national average due to comparatively long networks serving to large extent tourism-oriented settlements and zones with a few permanent residents.

Figure 4.5 – WW collection network density indicator (# users per km of network)

Figure 4.6 – WW collection network density indicator (m of network per user)

The information presenting current sewerage network densities for different municipalities and agglomerations could be used as a baseline for planning of network extensions. However it is considered that more reliable assessment related to network extensions could be made based on the aerial images, current land-cover information (CORINE land-cover or similar) and as-built information on the existing networks. The latter approach has been therefore employed in this assignment.

Consequently, although the highest realistic values of “network density” have been recorded as expected in largest cities (Podgorica, Nikšić) for the respective sewerage network extensions these densities could be much lower, which would result in comparatively longer collection networks. The average calculated network density for Montenegro at present is 321 user/km of network, or 3.1 m/user.

Figure 4.7 – Length of sewerage network per municipality

Figure 4.8 – Sewerage network density per municipality (# users/km)

Figure 4.9 – Sewerage network density per municipality (m of network/user)

Based on the information on the existing wastewater collection system received from the municipal water utility companies and the MoSDT it was possible to generate an overview of the average network age per municipality as shown in the following figure (Figure 4.6). The average network age does not necessarily directly indicate its operational status, but should be certainly taken into account as one of important indicators. The average estimated network age in Montenegro is 28 years, in the Northern region 30 years, in the Central region 29 years and in the Coastal region 24 years which is the result of quite extensive wastewater collection development in the Coastal region after 2010.

Another network performance indicator that may be of assistance for the assessment is “network blockage indicator”, i.e. the number of recorded network blockages/interventions annually. This indicator for the Project Area has been derived from the available IBNET (International Benchmark Network, the World Bank supported programme dedicated to benchmarking of water utility companies). Since this indicator was available for a limited number of municipalities, for the remaining municipalities the national average has been adopted (Figure 4.11). This indicator by itself should not be interpreted as the direct and explicit measure of status of a particular network, however should be included in the assessment whenever available because it could indicate network hydraulic and structural deficiencies. These potential deficiencies should be investigated/verified more closely by means of CCTV or similar methods in more advanced phases of project preparation. The average (country-wide) value of the network blockage indicator is around 9 blockages/km/year, while exceptionally high values have been recorded in Bijelo Polje and Herceg Novi.

These indicators, the age of network and network blockage indicator have been used to make the overall assessment of the wastewater collection networks in municipalities and to make the initial estimate of the need for network rehabilitation (6.3 Technical measures – rehabilitation and upgrade of wastewater collection).

Figure 4.10 – Reported average network age by municipality (years)

Figure 4.11 – Network blockage indicator (# blockages/km/year)

### Pumping facilities and pressure mains

This section provides an overview of the current wastewater pumping facilities and pressure mains, their basic characteristics and reported status. Traditionally, urban wastewater collection systems in the region, as well as in Montenegro, have been developed in those urbanised areas that could be served by gravity, i.e. exclusively by a sewerage network composed of gravity sewers only.

However, due to urban development in areas which due to their topographic characteristics or natural or artificial barriers (rivers, hilly regions, roads, etc.) cannot be served by gravity only there is an increasing need to design and introduce corresponding wastewater pumping facilities and corresponding wastewater pressure main.

The table below (Table 4.2) presents the overview and main characteristics of major sewage pumping stations and pressure mains in communal wastewater collection systems per municipality.

It is of note that most of these sewage pumping stations are located in the municipality along the coastline due to inconvenient topography, elongated configuration of the wastewater collection systems and in several instances (Budva, Herceg Novi, Tivat-Kotor) wastewater treatment facilities which are located at higher grounds, not next to the coastline which makes pumping of wastewater necessary.

Table 4.2 – Wastewater pumping facilities and pressure mains (main features)

| No | Municipality | Pressure mains (km) | SPS's small (#) | SPS's medium (#) | SPS's large (#) | Comments/assessment |
| --- | --- | --- | --- | --- | --- | --- |
| 3 | Bijelo Polje | 1.4 | 0 | 0 | 3 | SPS's in Bijelo Polje constructed in 2018, practically new, still in trial run |
| 16 | Nikšić | 0.0 | 1 | 1 | 1 | Operational condition of current SPS's (Rastoci, Duklo, Kličevo), all built in 2012, assessed as good |
| 18 | Bar | 2.3 | 0 | 4 | 1 | One SPS (Novi Botun) constructed in 2017, and 3 SPS's reconstructed in 2009 (Volujica, Topolica, Čanj), all of them are in good operational condition. SPS Stari Botun in poor operational condition. |
| 19 | Budva | 6.9 | 0 | 8 | 3 | Assessment of most SPS's made by the municipal water utility company is fair to good. SPS Bečići 2 is assessed as being of insufficient capacity, SPS Kamenovo should be completely replaced |
| 20 | Herceg Novi | 1.3 | 3 | 1 | 4 | Four major SPS's that were built in 2017 are practically new and in very good operational condition, SPS Igalo planned for major refurbishment |
| 21 | Kotor | 2.9 | 0 | 8 | 1 | Main SPS's Peluzica, Plagenti, Stari Grad and Solila in fair to good operational condition. Other medium-sized SPS's built around 2008 are in good operational condition. |
| 22 | Tivat | 5.1 | 3 | 8 | 3 | As reported practically all SPS's are fairly new, built or fully refurbished in 2016, and therefore in good operational condition |
| 23 | Ulcinj | 0.0 | 0 | 2 | 2 | Existing SPS's assessed to be in very poor operational condition and planned for complete refurbishment/replacement |
| Northern Region |  | 1.4 | 0 | 0 | 3 |  |
| Central Region |  | 0.0 | 1 | 1 | 1 |  |
| Coastal Region |  | 18.5 | 6 | 31 | 14 |  |
| Total |  | 19.9 | 7 | 32 | 18 |  |

Note:

Small sewage pumping stations are those of capacity < 10l/s

Medium-sized sewage pumping stations are those of capacity between 10 and 100 l/s

Large SPS’s are those of capacity > 100 l/s

The information on current status of the aforesaid sewage pumping stations is based on the detail questionnaires filled in by respective water utility companies and the information on the recently completed infrastructure development projects.

Location of the aforesaid sewage pumping stations and routes of the pressure mains are shown on detail layout drawings of the existing/planned wastewater system per municipality/agglomeration included in annexes.

As presented in the table the majority of the SPS’s were built recently, in the period 2008-2018, and are consequently in very good operational condition. Quite a few SPS’s in the coastal municipalities of Bar, Tivat, Kotor and Herceg Novi were implemented through the KfW-supported and financed Water Supply and Sanitation Adriatic Coast Programme which is coordinated and run by Vodacom Ltd, (effectively the Project Implementation Unit for the aforesaid Programme). However, as reported, a number of SPS’s are in poor or suboptimal operational conditions and therefore substantial upgrade and/or extension are necessary.

Typical, most commonly applied design of a sewage pumping station includes the following elements:

Underground structure of reinforced concrete (cast-in-situ or pre-cast), GRP;

Wet-well with submersible wastewater pumps;

At least one stand-by pump;

Access covers on the top slab, valve chamber next to the wet-well;

Automatic, level-controlled operation of pumps;

Major pumping stations are normally equipped with a standby diesel  generator set and with preliminary wastewater treatment by means of an automatic coarse screen;

Provision of a safety overflow with discharge line;

Most SPS’s are unmanned, and the plot around the SPS is fenced;

### Sea wastewater/effluent outfalls

- As described earlier, six Montenegrin municipalities are geographically located along the south Adriatic coastline. In all these municipalities, apart from permanent population, there is very dynamic development of tourism, and therefore quite intensive influx of tourists. Taking into account permanent population, common non-domestic wastewater loading and wastewater loading generated by tourism-related activities, the coastal municipalities include very substantial agglomerations in terms of the UWWTD, starting from Budva – size class 1, Herceg Novi, Bar and Ulcinj – size class 2 and Kotor and Tivat which are individually categorised as size class 3 and when merged together (as it has been implemented) make size class 2.

- Since the beginning of development of wastewater collection systems the aforesaid municipalities and their settlements relied on wastewater sea outfalls as the most convenient method of wastewater disposal. As wastewater collection systems were becoming bigger and increasingly integrated, there was a need to construct major deep sea outfalls, practically in all of the aforesaid municipalities. These deep sea outfalls were constructed in late 19-seventies and were designed based on a comprehensive investigations of the seabed, sea currents and taking into account possible environmental effects. Wastewater management practice applied at the time did not necessitate the wastewater treatment before disposal into the sea. Therefore, apart from very limited preliminary treatment, there was no contemporary wastewater treatment prior to disposal.

- With the intensive development of communal wastewater management (in accordance with the UWWTD) after 2000, and especially after 2010 it was necessary to start undertaking major upgrade/replacement of the abovementioned wastewater outfalls, but also to start introducing contemporary communal wastewater treatment. Therefore, some of the aforesaid wastewater outfalls have been closed and replaced with new ones in parallel with construction of the wastewater treatment facilities (Herceg Novi, Budva).

- The following table (Table 4.3) presents the overview/inventory of current major wastewater sea outfalls in the Coastal region. Another new major sea outfall was constructed in Sutomore (Bar 1 agglomeration) and it planned to be followed by adequate wastewater treatment facility for the agglomeration.

- Old sea outfalls were subject to professional CCTV investigations which helped to detect damages and poor structural integrity of the outfalls. It is also noted that, due to the significant increase of wastewater/hydraulic loadings, the outfalls cannot meet current and expected future demand.

- Upgrade/replacement of the existing deep sea outfalls is well elaborated and justified as one of major technical measures in the feasibility studies for the Coastal region prepared within the Water Supply and Sanitation Adriatic Coast Programme, 2009 to 2018 (apart from Budva which is not a part of the Programme).

The aforesaid major sea outfalls are presented on corresponding detail drawings of the existing and planned wastewater infrastructure per municipality/agglomeration (please refer to Annexes).

Although being intensively developed and upgraded the wastewater collection systems along the coast are still largely disintegrated and scattered, with a number of local, very short and uncontrolled wastewater outfalls discharging into the sea. The measures elaborated in the Water Supply and Sanitation Adriatic Coast Programme included extensive development of wastewater collection, incorporating closure of all uncontrolled local sea outfalls.

Table 4.3 – Major sea outfalls in the Coastal region

| No | Municipality | Major sea outfalls (#) | Major sea outfalls (km) | Major sea outfalls – DN range (mm) | Comments/ assessment |
| --- | --- | --- | --- | --- | --- |
| 18 | Bar | 3 | 2.9 | 300-800 | One of outfalls (Sutomore, DN800, L=1.04km) is new and in good operational condition. Other outfalls (Volujica, Čanj) are old and in poor operational condition, deficient and earmarked for replacement. |
| 19 | Budva | 3 | 5.5 | 250-500 | Main sea outfall in Budva was built recently and it is in very good operational condition, sea outfalls Sveti Stefan and Petrovac are planned for replacement |
| 20 | Herceg Novi | 1 | 1.3 | 1,000 | New sea outfall in Meljine in very good operational conditions, still there are around 25 uncontrolled local outfalls |
| 21 | Kotor | 8 | n/a | 200-250 | There are 8 local short sea outfalls that are all planned to be closed/abandoned. Wastewater directed to the main sea outfall in Tivat (Trašte) |
| 22 | Tivat | 1 | 3.6 | 600 | Main sea outfall for Tivat-Kotor (Trašte) assessed to be damaged and in poor operational condition. There are 4 local uncontrolled outfalls which should be closed and abandoned. |
| 23 | Ulcinj | 2 | 2.4 | 400-450 | Main sea outfall Pristan to be closed/abandoned, while main sea outfall called Đerane is to be replaced with new one |
|  | Total | 18 | 15.6 |  |  |

### Measurements, control and management of wastewater balances

In accordance with the current relevant legislation it is clearly defined that:

- The Law on Waters (OG MNE, 70/2007 and OG MNE, 073/10, 032/11, 047/11, 048/15, 052/16, 055/16, 002/17, 080/17, 084/18), Article 84: “... Legal entities discharging wastewater into the receiving water body or public sewerage system are obliged to ensure measurements of wastewater discharges and their quality, as well as their effects on the receiving water body...”

- The Law on Communal Wastewater Management (OG MNE 02/2017), Article 16:”... Legal entity registered for provision of wastewater collection and treatment services should keep records of volumes and water quality of wastewater discharges into the receiving water body...”

However, at present, in most cases communal water utility companies (except in case there is a wastewater treatment plant with adequate measuring equipment and records) are unable to produce reports including accurate records of respective wastewater discharges. Current reports on wastewater discharges by water utility companies are almost exclusively based on records of water/wastewater invoiced, rather than on actual discharge measurements.

With regard to other information on measured communal wastewater discharges there were a few short-term or intermittent measuring campaigns which can only partially highlight the overall wastewater balances.

Numerous and rather extensive Feasibility Studies dealing with municipal wastewater projects (Podgorica 2016, Bar, Herceg Novi, Kotor and Tivat 2009, Ulcinj 2013 and many other) are largely based on estimates of infiltration/inflow component. These estimates specify infiltration/inflow rates as much as equal to net generated wastewater flow, i.e. 50% of the total gross wastewater flow. Although these estimates cannot be classified as very reliable, they are indicative enough to conclude that infiltration/inflow (from groundwater and uncontrolled stormwater runoff) could represent significant portion of the overall wastewater flow, and certainly should be further investigated and addressed by adequate technical measures.

Additional problem related to uncontrolled infiltration/inflow along the cost (Kotor in particular) is occasional influx of saline/brackish water (especially during high tide) which not only affects operation of the collection system, but also seriously impairs normal operation of the WWTP Tivat/Kotor.

In order to investigate and accurately establish communal wastewater balances it is necessary to introduce continual and sufficiently precise measurements of wastewater discharges with corresponding data logging. However, it is even at this stage estimated that certain provisions have to be made for network rehabilitation/replacement in order to improve performance of the concerned wastewater collection system related to infiltration/inflow.

### Main conclusions regarding wastewater collection systems

This is a summarized assessment and main conclusions regarding considered communal wastewater collection systems in Montenegro:

Current service coverage has been documented in municipal water utility reports, reports produced by the MoSDT and in a number of relevant (mostly EU and KfW-supported feasibility studies dealing with wastewater management).  The number of users (population connected) served by wastewater collection is estimated to be around 292 thousands, which makes 47% of the total population, or around 60% population within the agglomerations (as defined in the national Rulebook on agglomeration delineation). This service coverage is within the range common in the region, however certainly quite insufficient from the prospective of the requirements stipulated in the UWWTD and related national legislation.

Wastewater collection systems are (expectedly) mostly composed of gravity sewers, based on the “separate” wastewater collection concept, with the overall length of existing sewer lines estimated at around 915km. The average network density indicator in the country is 321 users/km, or 3.1 m/user.

Measurements and control of wastewater balances, discharges in the existing wastewater collection systems are in most cases only random, short-term, intermittent and certainly insufficient for reliable assessment of wastewater balances. Based on operational information by municipal water utility companies most systems are exposed to substantial infiltration and to different extent to external inflows originating from storwater runoff.

While insufficient service coverage is being addressed through a number of network extension projects, it is deemed necessary to undertake substantial site investigations (based on CCTV) in order to accurately establish current operational and structural status of the existing networks and plan adequate system upgrade measures. Based on the recorded operational issue (infiltration, inflow, blockages), the average network age and pipe material composition it is considered appropriate to make a moderate, limited budget provision for renovation/upgrade of current collection networks. These measures would be further detailed subject to detail site CCTV investigations.

Although some municipal wastewater collection systems have been or are currently being upgraded and extended, a number of systems are still disintegrated, segmented in small sub-catchments, with individual uncontrolled sewerage outfalls;

It was observed that in a number of systems there is currently a mismatch between a collection system development and availability and capacity of the corresponding treatment plant. As a result, the compliance with the UWWTD requirements is only partial (e.g. Nikšić: new WWTP, underdeveloped collection coverage; Cetinje – developed collection system, no treatment plant, Tivat-Kotor – new treatment plant while the collection system is insufficiently developed, etc.);

Most of the existing sewage pumping stations are fairly new and in good operational condition. However, a number of sewage pumping stations are reported as being in poor operational condition, or of insufficient capacity to cope with the demand/loading.

In the Coastal region disposal of (treated where treatment is available) wastewater is normally arranged by means of deep sea outfalls. While some of the outfalls have been recently replaced with new ones, several major sea outfalls have been earmarked for replacement.

## Wastewater treatment

Of 36 agglomerations in Montenegro 14 are provided with WWTPs of various operational status and wastewater treatment processes depending on the size of the WWTP and effluent requirements. The total installed capacity of the existing wastewater treatment plants is 454,050 PE It is however noted that there is a considerable mismatch between the actual connection rates (WW loading collected) and constructed WWTP capacities. In some municipalities (for instance Nikšić, Tivat/Kotor) collected WW pollutant loading is by far lower than the WWTP capacity. On the other hand, collected WW load in Podgorica is approximately two times larger than the actual, installed capacity of the existing WWTP. This discrepancy results in rather low wastewater treatment utilisation (291,642 PE for the peak seasonal load) compared with the total installed capacity of around 454,050 PE.

Table 4.4–Inventory of the existing WWTPs and WWTPs under construction

| Mun. No. | Agg. No. | Municipality | WWTP name/ location | Recipient/ basin | Design (existing) capacity (PE) | Volume of WW treated - estimate (m3/a) | Future capacity - Phase I (PE) | Additional capacity Phase II (long-term) (PE) | Total final capacity (PE) | Comment |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | 2 | Berane | WWTP Berane | Lim River/Danube | 20,000 | 1,009,888 | - | 7,000 | 27,000 | WWTP under construction |
| 6 | 6 | Mojkovac | WWTP Mojkovac | Tara River/Danube | 5,250 | 287,408 | - | - | - |  |
| 9 | 9 | Pljevlja | WWTP Pljevlja | Ćehotina River/Danube | 28,000 | 1,894,415 | - | 12,000 | 40,000 | WWTP under construction |
| 12 | 12 | Šavnik | WWTP Šavnik | Pridvorica River/Danube | 500 | 28,631 | - | - | - |  |
| 13 | 13 | Žabljak | WWTP Žabljak | Groundwater/ Danube | 2,000 | 103,914 |  | 2,500 | 4,500 |  |
| 14 | n/a | Cetinje | WWTP R.Crnojevića | Skadar Lake/ Adriatic Sea | 1,000 | 0 | - | - | - | Dysfunctional |
| 16 | 17 | Nikšić | WWTP Nikšić | Zeta River/ Adriatic Sea | 103,000 | 3,113,259 | - | - | - |  |
| 17 | 18 | Podgorica | WWTP Podgorica | Morača River/ Adriatic Sea | 55,000 | 4,516,875 | 188,000 | 47,000 | 235,000 | Insufficient capacity for current loads, excess untreated wastewater overflows upstream of the WWTP |
| 18 | n/a | Bar | WWTP Virpazar | Skadar Lake/ Adriatic Sea | 1,000 | 0 | - | - | - | Dysfunctional |
| 19 | 25 | Budva | WWTP Budva | Adriatic Sea | 100,000 | 6,484,830 | - | - | - |  |
| 19 | n/a | Budva | WWTP Jaz | Adriatic Sea | 1,000 | 0 | - |  | - |  |
| 20 | 28 | Herceg Novi | WWTP H.Novi | Adriatic Sea | 69,100 | 4,079,418 |  | - | 69,100 | Sludge treatment not completed |
| 22 | 31,35 | Tivat&Kotor | WWTP Tivat/Kotor | Adriatic Sea | 72,000 | 3,648,735 | - | 18,000 | 90,000 |  |
|  |  | Total |  |  | 454,050 | 25,167,372 |  |  |  |  |

Table 4.5– Main characteristics of the existing WWTPs

| Mun. No. | Agg. No. | WWTP name/location | Volume of WW treated - estimate (m3/a) | Pollutant loading (PE) - treated (high season) | Treatment Process | Primary treatment | Secondary (biological) treatment | Tertiary treatment - N | Tertiary treatment - P | Effluent Disinfection | Sludge treatment | Quantity of sludge produced (t/a) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | 2 | WWTP Berane | 1,009,888 | 12,297 | SBR | N | Y | Y | Y | N | aerobic stabilization + dewatering | 1,212 |
| 6 | 6 | WWTP Mojkovac | 287,408 | 3,500 | Conventional | N | Y | N | N | N | reed beds | 230 |
| 9 | 9 | WWTP Pljevlja | 1,894,415 | 23,067 | SBR | N | Y | Y | Y | N | anaerobic stabilization + dewatering | 1,443 |
| 12 | 12 | WWTP Šavnik | 28,631 | 349 | Constructed wetland | N | Y | N | N | N | constructed wetland | 23 |
| 13 | 13 | WWTP Žabljak | 103,914 | 1,265 | Trickling Filter | N | Y | N | N | N | reed beds | 83 |
| 14 | n/a | WWTP R.Crnojevića | 0 |  | Conventional | N | Y | N | N | N | - | 0 |
| 16 | 17 | WWTP Nikšić | 3,113,259 | 37,909 | Conventional low-loaded | Y | Y | Y | Y | Y | anaerobic stabilization + dewatering | 0 |
| 17 | 18 | WWTP Podgorica | 4,516,875 | 55,000 | Conventional | Y | Y | N | N | N | dewatering + lime | 4,866 |
| 18 | n/a | WWTP Virpazar | 0 |  | Oxyvor | N | Y | N | N | N | - | 0 |
| 19 | 25 | WWTP Budva | 2,885,026 | 78,963 | Conventional low-loaded | N | Y | Y | Y | N | aerobic stabilization + dewatering + lime | 4,447 |
| 19 | n/a | WWTP Jaz | 0 |  | SBR | N | Y | N | N | N | - |  |
| 20 | 28 | WWTP H.Novi | 1,923,109 | 49,673 | SBR | N | Y | Y | Y | Y | - | 0 |
| 22 | 31,35 | WWTP Tivat/Kotor | 1,055,317 | 29,619 | SBR | N | Y | N | N | N | aerobic stabilization + dewatering + lime | 1,872 |
|  |  |  | 16,817,842 | 291,642 | 0 |  |  |  |  |  |  | 14,176 |

The existing WWTP in Podgorica is of insufficient capacity to accommodate wastewater collected within the agglomeration. The WWTP was constructed in 1978, to treat wastewater for 55,000 PE. The WWTP consists of preliminary, primary and secondary treatment. Primary and excess sludge are discharged in the existing structure of the anaerobic digester which serves as a sludge storage tank. Sludge treatment includes dewatering and lime stabilisation. Rehabilitation works conducted in 2007 extended lifetime of the plant, but neither expanded its treatment capacity nor improved effluent quality with respect to nutrient removal. During preparation of the Feasibility Study for construction of a new WWTP and extension of the sewerage network in Podgorica (FICHTNER, 2017) it was concluded that around half of the incoming wastewater flow was discharged untreated into the receiving water (the Morača River).

Figure 4-12 – WWTP in Podgorica – aerial view

Monitoring of the influent/effluent quality is conducted on a monthly basis including composite 24-hour samples and recorded flow. In order to verify the actual loads of the wastewater collected within the agglomeration the total flow is diverted towards the WWTP during sampling campaign. Based on these monitoring campaigns it was concluded that the average daily dry weather flow towards the WWTP is 27,700 m3/day, whereas the pollution load ranged between 63,700 PE and 125,000 PE with the average of 89.800 PE (calculated as 120g/PE COD).

Main results of influent and effluent WQ analysis, as well as recorded WW volumes are presented in the following figures and in a tabular form in Annex 14.2.

Figure 4-13 – WWTP Podgorica – effluent water quality - TSS

Figure 4-14 – WWTP Podgorica – effluent water quality – COD

Figure 4-15 – WWTP Podgorica – effluent water quality – BOD5

Recently constructed WWTP in Nikšić is a contemporary facility, fully capable of providing adequately tertiary treated effluent as required for sensitive areas by the national legislation and the UWWTD. The wastewater treatment is based on a conventional activated sludge process with biological nutrient removal. The WWTP incorporates preliminary, primary, advanced biological treatment with nutrient removal, effluent disinfection, sludge anaerobic treatment and dewatering. In addition, the WWTP is provided with odour control system for treatment of odorous air generated within the preliminary and sludge treatment buildings. Due to under-developed wastewater collection system in the agglomeration, the WWTP of designed capacity of 103,000 PE is currently very much underloaded (estimated pollutant load of around 38,000 PE).

Figure 4-16 – WWTP in Nikšic

WWTP in Budva has been designed to treat the peak seasonal load of 100,000 PE. Out of the summer season the plant operates with significantly lower loads (less than 30,000 PE on average) and the capacity of a single treatment line is sufficient to ensure adequate treatment. Treatment process comprises preliminary treatment for removal of coarse particles followed by conventional activated sludge process with nutrient removal and aerobic sludge stabilisation. Sludge treatment includes thickening, dewatering and lime stabilisation.

Figure 4-17 – WWTP Budva layout

Figure 4-18 – WWTP in Budva, SBR units

The WWTP in Tivat is designed to cope with the peak seasonal loads within the agglomerations Tivat and Kotor. The existing capacity of the WWTP is 72,500 PE. Similarly to Budva, except in summer season, the WWTP operates with lower pollution loads (around 30,000 PE). Nevertheless, due to high infiltration in winter season incoming flows are equal to or exceed the peak summer dry weather flows. The treatment process comprises the preliminary treatment followed by activated sludge process which takes place in SBR tanks. Treated effluent is conveyed to the outfall tower and discharged via 3,600m long sea outfall to the external boundary of the Trašte bay. Since at the time of construction of the WWTP the receiving water body was not considered as a sensitive area, the WWTP was designed to meet the requirements for non-sensitive areas. Sludge treatment includes aerobic stabilisation, dewatering and lime stabilisation.

Figure 4-19 – WWTP Kotor-Tivat layout

Figure 4-20 – WWTP Kotor-Tivat (SBR units)

The WWTP in Herceg Novi is designed for the loading of 69,100 PE. Similarly to Tivat WWTP, biological treatment is based on SBR technology. However, considering that the micro-location of the respective sea outfall is in the Bay of Kotor which has been declared as a sensitive area, the WWTP is designed for nutrient removal. At present, wastewater line is in a trial run, whereas construction of the facilities for sludge treatment has yet to be completed.

Figure 4-21 – WWTP Herceg Novi, layout

Figure 4-22 – WWTP Herceg Novi, SBR units

Design capacity of the WWTP in Mojkovac is 5,200 PE. Wastewater treatment process is based on conventional activated sludge process comprising preliminary treatment followed by aeration and sedimentation. Clarified effluent is discharged into the Tara River. Excess sludge settled in the final sedimentation tank is extracted by pumps and transferred to the storage/gravity thickening tank, and further transferred and spread in two reed beds. Due to undeveloped wastewater collection system the plant operates with lower loads, estimated at around 3,500 PE.

Figure 4-23 – WWTP in Mojkovac

WWTP Žabljak has been in operation since 2013. The capacity of the plant is 2,000 PE  The treatment process includes attached growth activated sludge process. Effluent is discharged into groundwater. Excess sludge is treated at nearby reed beds.

Figure 4-24 – WWTP in Žabljak

Šavnik WWTP is a constructed wetland. Design capacity of the WWTP is 500 PE The plant was put in operation in 2018.

Figure 4-25 – Šavnik Constructed Wetland

Small WWTP’s built in Jaz, Virpazar and Rijeka Crnojevića are out of operation. The WWTP’s in Jaz and Virpazar are package underground installations of limited flexibility and possibility for extension, unlike the WWTP in Rijeka Crnojevića which was constructed as a conventional activated sludge system with preliminary treatment. The units of this WWTP are in poor operational condition and their rehabilitation would effectively require construction of new structures.

Figure 4-26 – Existing Structures of Rijeka Crnojevića WWTP

At present, there are ongoing works on construction of two WWTPs: WWTP in Pljevlja and WWTP in Berane. Completion of these works is expected by the end of 2019.

The WWTP in Pljevlja shall be constructed for Phase I capacity of 28,000 PE. The treatment process comprises preliminary treatment, biological treatment with nitrification and denitrification in SBR, and phosphorous precipitation. Sludge treatment will include anaerobic stabilization and dewatering. The receiving water body is the Ćehotina River in the plant vicinity.

Figure 4-27 – Construction of WWTP Pljevlja

The WWTP in Berane is designed for the ultimate capacity of 27,000 PE. Preliminary and sludge treatment will be constructed for the plant final capacity, whereas biological treatment will be constructed for Phase I capacity of 20,000 PE. The treatment process is based on suspended growth activated sludge process in SBR tanks, with nitrification, denitrification and aerobic sludge stabilization. Phosphorous will be removed by precipitation. Sludge treatment will comprise thickening and dewatering. The receiving water body is the Lim River in Berane area.

Figure 4-28 – Construction of WWTP Berane

April 208

Figure 4-29 – WWTP Berane under construction - layout

According to information received from the operators during the site visits and visual inspection of the plant facilities which are in operation, the effluent requirements were met in majority of plants. The exception is the WWTP in Podgorica which is undersized for the current load. However, apart from analyses conducted for the WWTP in Podgorica annual reports on efficiency of other existing WWTPs were not provided to the consultants.

Location of all existing WWTP’s are presented on the general layout map of the Project Area as well as detail topographic maps of individual agglomerations/municipalities (please refer to Annexes).

## Sewage sludge management

Sewage sludge management represents one of the key elements in the overall communal wastewater management cycle. In Montenegro processed sewage sludge management is regulated by the following regulations:

- Law on Waste Management (Official Gazette MNE, 64/11 and 39/16), MSDT

- Rulebook on Sewage Sludge - Rulebook on detail conditions to be fulfilled by the municipal sewage sludge; quantity, volume, frequency and methods of sewage sludge analysis and properties of the land envisaged for its application (Official Gazette MNE, 89/09)

- Regulations on detail characteristics of the location, the conditions for construction, sanitary and technical conditions, operation and closure of landfills (Official Gazette MNE, 84/09)

Processed sewage sludge management is being elaborated in all wastewater treatment studies, but the following documents specifically targeted the issue of sewage sludge management in Montenegro:

- Sludge Disposal Study for the Coastal Area of Montenegro, 2010, updated in 2014

- Study of Management and Application of Sewage Sludge In the Central and Northern Region of Montenegro, 2013

- Solar Sludge Drying Facilities for Herceg Novi and Tivat/Kotor WWTPs, 2016

As the number of operational wastewater treatment facilities is going to increase proper management of processed sewage sludge shall become increasingly critical and complex issue. Based on the information obtained from the MSDT, VODACOM and directly from the relevant water utility companies, current status of processed sewage sludge generated at the wastewater treatment facilities can be summarized as follows:

- Podgorica – dewatered sludge after lime stabilization is stored at the site of the WWTP

- Budva and Tivat/Kotor – dewatered sludge after lime stabilization is exported to Albania

- Mojkovac, Žabljak – excess sludge is treated in reed beds

- Šavnik – complete treatment of wastewater and sludge takes place in cthe constructed wetland

- Nikšić – at present dewatered sludge is disposed on landfill. There is no clear and definite concept of sludge management

- Herceg Novi – sludge treatment has yet to be completed

- It appears that at present neither of the regional sanitary landfill operators accepts processed and stabilised sewage sludge, i.e. it is not disposed to sanitary landfill sites in Montenegro.

- Although well and clearly regulated, it seems that practical and environmentally sound solutions for sewage sludge management are far from established in practice, and that this problem requires urgent attention and proper solutions

- Although Preparatory Study for construction of Sludge solar drying facilities in Tivat and Herceg Novi (DAHLEM, 2016) recognized sludge solar drying as sustainable option for reduction of sludge volume, there were no further activities on preparation/implementation of the project

- Potential use of sewage sludge in agriculture which was considered as the option in the Rulebook on Sewage Sludge, it has not been recognized and introduced in the legislation relevant to agriculture.

As an integral part of the wastewater management and municipal solid waste management potential concept for sewage sludge management is further elaborated as a part of the measures presented in Chapter 6.

## On-site sanitation

As reported earlier, it is estimated that up to around 300 thousand inhabitants are connected/served by public wastewater collection system throughout the country. The rest of the population rely on some sort of on-site sanitation, the most common type being use of septic tanks.

On site sanitation facilities, like septic tanks, are considered a widespread mean for discharging and treating wastewater in Montenegro. Septic tanks are widely used in the rural areas and parts of the towns are served by septic tanks as well. The following table indicates the number of population served by public wastewater collection systems and the remaining population with some sort of on-site sanitation, per municipality,

Table 4.6 – Population with WW services and on-site sanitation

| Municipality | Total population 2016 (#) | Population served by WW collection (#) | Population with on-site sanitation (#) |
| --- | --- | --- | --- |
| Andrijevica | 4,790 | 863 | 3,927 |
| Berane | 27,256 | 10,053 | 17,203 |
| Bijelo Polje | 43,468 | 8,500 | 34,968 |
| Gusinje | 3,984 | 2,162 | 1,822 |
| Kolašin | 7,553 | 1,116 | 6,437 |
| Mojkovac | 7,938 | 2,944 | 4,994 |
| Petnjica | 5,215 | 0 | 5,215 |
| Plav | 8,628 | 4,973 | 3,655 |
| Pljevlja | 28,124 | 18,595 | 9,529 |
| Plužine | 2,777 | 1,303 | 1,474 |
| Rožaje | 23,179 | 9,851 | 13,318 |
| Šavnik | 1,794 | 310 | 1,484 |
| Žabljak | 3,212 | 1,090 | 2,122 |
| Cetinje | 15,621 | 6,208 | 9,415 |
| Danilovgrad | 18,307 | 1,784 | 16,523 |
| Nikšić | 70,042 | 30,711 | 39,331 |
| Podgorica | 197,589 | 112,659 | 84,930 |
| Bar | 43,693 | 18,272 | 25,421 |
| Budva | 20,982 | 16,845 | 4,137 |
| Herceg Novi | 30,690 | 19,259 | 11,431 |
| Kotor | 22,651 | 8,399 | 14,252 |
| Tivat | 14,774 | 5,843 | 8,931 |
| Ulcinj | 20,106 | 10,690 | 9,416 |
| Total | 622,373 | 292,430 | 329,935 |

Most of households that are not connected to a wastewater collection system are generally equipped with some sort of septic tank. However these septic tanks are usually neither designed nor built according to the applicable standards; they do not comprise a watertight chamber and there is no specific further treatment of a septic tank overflow.

As most of the Project Area is characterised by highly permeable soils it can be anticipated that sewage from unsewered areas is infiltrated to the ground, creating a high risk for contamination of groundwater and soil. This problem can be tackled by:

- Extension of sewerage networks, especially in sensitive/vulnerable areas in order to alleviate the risks of groundwater contamination;

- Imposing stricter control and improvement of on-site sanitation facilities and their maintenance.

According to the local legislation, it is the responsibility of the municipality to provide the service for maintenance of on-site sanitation facilities.

One of typical examples of on-site sanitation facilities management is recorded in the city of Podgorica. In Podgorica cesspool emptying services are provided by the municipal Housing Agency and the Water Utility Company Podgorica. The following table indicates current tariffs for cesspool emptying services.

Table 4.7 – Current tariffs for cesspool emptying services in Podgorica

| Distance (km) | Tariff, excluding VAT (€) | Comment |
| --- | --- | --- |
| Up to 10 km | 50 | This makes around 80 % of the activity |
| 10 to 20 km | 60 |  |
| > 20 km | 70 | Only very few customers in this category |

Source: Housing Agency Podgorica

Collected septage in Podgorica is discharged at a designated location into the sewerage system, while the local water utility company is not compensated for further dealing with septage.

The municipal Housing Agency provides the service only to domestic customers and institutions. It was indicated that some industries which are not connected to the sewer network have their own vacuum truck for emptying of septic tanks.

On-site sanitation management practices were described in the Strategic Master Plans for Sewerage and Wastewater in Central and Northern Region and Coastal Region:

- The main settlements that contain the highest concentration of on-site facilities, and thus pose the greatest potential risk to groundwater pollution, should be provided with sewerage and treatment works (in line with the UWWTD)

- In urban settlements, where effluent from septic tanks overflows into surface drains, or where underlying groundwater is used for drinking purposes, sewerage should be introduced as a priority.

- In urban areas where effluent from septic tanks does not represent very high risk, introduction of sewerage may have a lower priority. However, adequate septic tank de-sludging services should be available.

- Given very low population density in some villages and rural areas, it is not worth considering replacing this on-site sanitation with sewerage systems.

- Construction of conventional septic tanks, rather than infiltration pits to improve the performance of on-site sanitation facilities, should become a normal practice. Thus, any new houses built should be obliged to construct a conventional septic tank if no sewer is available.

- All on site sanitation facilities within urban areas should be designed as septic tanks with separate infiltration pits, in line with current legislation. This legislation should be also enforced on existing facilities, especially in urban areas where sewerage is not to be introduced in a short term.

- The long-term aim should be to provide all settlements in the coastal municipalities; Bar, Budva, Cetinje, Herceg Novi, Kotor and Tivat and Ulcinj with sewerage, wastewater treatment and effluent and sludge management works in an environmentally acceptable way (in accordance with the UWWTD).

## Data on Industrial Effluents

### European Legislation on Industrial Wastewater

Urban Wastewater Treatment Directive 91/271/EEC

Council Directive 91/271/EEC concerning urban wastewater treatment sets the requirements also for the treatment and discharge of wastewater from certain industrial sectors (mainly agro-food industries, like food-processing and breweries).

Specifically, Member States are required to ensure that Industrial wastewater entering collecting systems is subject to regulations and/or specific authorisation by the competent authorities,  and systems for prior regulation (authorisation or general binding rules) for industrial wastewater discharges (direct and indirect) are established (Article 11).

These regulations and/or specific authorisation would require that industrial wastewater entering collecting systems and urban wastewater treatment plants should be subject to pre-treatment (Article 13) as required in order to:

- protect the health of staff working in collecting systems and treatment plants,

- ensure that collecting systems, wastewater treatment plants and associated equipment are not damaged,

- ensure that the operation of the wastewater treatment plant and the treatment of sludge are not impeded,

- ensure that discharges from the treatment plants do not adversely affect the environment, or prevent receiving water from complying with other Community Directives,

- Ensure that sludge can be disposed of safety in an environmentally acceptable manner.

The requirement of the Directive that relevant (direct) industrial wastewater discharges are subject to treatment (Article 13) is similar to that imposed on wastewater treatment plants. However, this requirement applies to the following:

- It only applies to direct discharges

- It only applies to discharges from plants with pollutant load of over 4,000 PE

- It only applies to discharges from the following industries listed in Annex III of UWWTD:

  - Milk-processing

  - Manufacture of fruit and vegetable products

  - Manufacture and bottling of soft drinks

  - Potato-processing

  - Meat industry

  - Breweries

  - Production of alcohol and alcoholic beverages

  - Manufacture of animal feed from plant products

  - Manufacture of gelatine and of glue from hides, skin and bones

  - Malt-houses

  - Fish-processing industry

- In this context it should be also noted that the provisions of the Industrial Emissions Directive; IED (2010/75/EU) need to be considered (Annex I – section 6: items 6.2 et seq. of the IED) since a number of these industries are also within the scope of that Directive. In particular it is of note that large agro-processing enterprises will fall within the IED regime and therefore will be subject to Best Available Technology criteria.

- The setting of emission limit values is placed under the control of the competent authorities of the Member State (rather than set out in the Directive itself).

### National regulations and practices for controlling discharges of wastewater in public sewerage and natural recipients

The national Water Management Strategy (WMS), 2017 defines legislative, organizational, financial, technical and environmental aspects of water management activities in the present socio-economic circumstances. As regards the water pollution control, the Strategy emphasizes the importance of reduced pollutant discharges from industrial facilities through wastewater pre-treatment to the prescribed levels.

Current national regulation requires adequate pre-treatment of industrial wastewater in order to lower pollution released into a wastewater collection network to the level comparable to regular communal wastewater.

Effluent requirements applicable to discharges of wastewater into public sewers and natural Receiving waters are defined in the Rulebook on the quality and sanitary-technical conditions for discharge of wastewaters into the recipient and public sewer, the method and procedure of analysing the quality of wastewaters, minimum number of analyses and contents of the report on wastewater quality established (OGoM 45/08 and its subsequent amendments up to 59/13).

Associated Laws and Regulations, inter alia, include the following:

- Law on Waters (OG MNE  027/07 and OG MNE 73/10, 32/11, 47/11, 48/15, 52/16, 55/16, 2/2017, 80/17,84/18)

- Rulebook on method and conditions of measurement of  wastewater quantity discharged into receiving waters (OGoM 24/10)

### Impact of industrial discharges on wastewater treatment and sludge quality

Composition of industrial wastewater is related to the industrial activity, size and location of the facility. Industrial effluents may contain not only high concentrations of readily biodegradable and non-biodegradable organic matter which increases BOD5 and COD, but may also introduce additional constituents such as heavy metals, phenols, oil and grease etc. On the other hand, the flow pattern of industrial effluents is different from that of domestic discharges and it depends on the industrial activity and the nature of the operations within a facility, such as shifts, type of the process (batch or continuous), etc. Major problems associated with industrial wastewater are toxicity, high temperatures and variable hydraulic and pollution discharge rates. Moreover, while pH of domestic wastewater is typically in a range from 6.5 to 8.5, presence of industrial wastewater can alter pH significantly.

Due to its toxicity and demanding treatment, industrial wastewater normally requires pre-treatment before being discharged into public sewerage, while larger industries often have their own treatment plant. Pre-treatment also allows preventing damage to sewers (e.g. corrosion) and protects health and safety of the facility and water utility company staff.

The aforesaid Regulation on Wastewater Discharges into the Recipient and Public Sewerage stipulates the limits of pollutant concentrations for industrial wastewater discharge a public sewerage system. For example, these pre-treatment requirements address pH adjustment to 6 – 9, temperature up to 40°C, TSS to 500mg/l, BOD5 to 500mg/l, COD to 700mg/l, TP to 7mg/l, oil and grease to 50mg/l, and are applicable for the entire country.

The presence of industries in a sewerage catchment is often assumed to result in increased heavy metal concentrations in sludge compared to sludge arising from a treatment of domestic wastewater. Potential impact of industrial discharges on sludge quality depends on the type of industry, its size, whether pre-treatment is installed and operated, and the overall proportion of industrial wastewater to domestic wastewater flow. However, it is important to note that while effluent from some industries may cause problems to wastewater treatment (e.g. high biological load from olive oil production, food processing, etc.); they do not have negative effect on sludge quality as the content of heavy metals is usually very low, even less than in domestic wastewater.

There are a number of small enterprises involved in food processing, furniture production, metal fabrication, construction materials, automotive repair, fuel stations, restaurants, etc. These are either ‘dry’ (i.e. produce no or little effluent) or have no relevance for sludge quality (although the effluents may have potential implications on sewage treatment due to high BOD/COD loads). Industries like these cannot be described as ‘heavy’ and industry will be an insignificant contributor to the concentrations of heavy metals in sludge produced by the planned wastewater treatment facilities.

According to the Water Supply and Sanitation Adriatic Coast III, Sludge Disposal Study for the Coastal Area of Montenegro (June 2010):

- The review of industries in the coastal area was made, as industry is usually considered the main source of heavy metals in sludge. The review revealed continued decline of industrial activities and only two industries are of some concern for sludge quality; the ship repair yard at Bijela in Herceg Novi (discontinued industrial activity in 2018), and Daido Metal in Kotor industrial estate. While the potential impact of the former is going to be negligible (since industrial activities ceased),  monitoring data for the latter on the small quantity of effluent discharged revealed very low concentrations of heavy metals, easily complying with the discharge standards. Consequently, these industrial discharges are predicted to have limited impact on sludge quality.

- The primary sources of heavy metals are diffuse domestic sources (from faeces, water supply pipes, household chemicals, health care products, etc.); as such, these sources are impossible to control.

- Since there are no historical data on sludge quality in Montenegro, a sample of sludge was taken from Podgorica WWTP and was analysed to provide the indication of likely (possibly worst case) of sludge quality in the coastal region. Analysis was carried out by a reference laboratory in the UK and at the CETI and the IPH. The results revealed that heavy metal concentrations in sludge were low and typical of domestic-quality sludge. Sludge quality would easily comply with the limit values of the EC Directive 86/278/EEC but the concentration of zinc exceeded the limit value for Class A sludge (agricultural use) as stipulated by the national regulations.

### Industrial wastewater discharges management

Current Situation

It is assessed that the findings of the FS for construction of WWTP and extension of sewer network in Podgorica, 2017, related to industrial wastewater discharges are very much applicable and typical for other self-government units in Montenegro, as well.

- At present, water utility companies exercise only limited control over discharges into their sewerage systems and no specific strategy to control industrial polluters is in place. It is however important that water utility companies exercise control over industrial discharges in their sewerage systems in order to:

- limit the discharge of corrosive, toxic, non-biodegradable and other harmful substances;

- ensure that the overall biodegradable load does not exceed the capacity of their treatment plants;

- ensure that the biodegradable industrial loads discharged are released in a manner compatible with efficient operation of their treatment plants;

- protect their workers and collection networks from exposure to hazardous substances.

- The existing industrial wastewater management policy at the level of local water utility companies is characterized by the following main shortcomings:

- there is no list of trade dischargers to sewers providing details of their discharges;

- no trade waste consents or agreements for discharges to sewerage have been issued;

- industrial dischargers are not monitored on a regular basis;

- when required, efficient pre-treatment facilities are not in place;

- The “Polluter-pays Principle” is not reflected in the wastewater charges.

Recommendations for Industrial Wastewater Management

As mentioned earlier, the existing legislation provides the set of regulations specifying the conditions for discharge of industrial effluents to wastewater collection networks, requiring installation of pre-treatment facilities in specific cases and empowering local authorities (water utility companies and Municipal Police) to control discharge of industrial effluents to a sewerage (or to the environment) and to collect fees for the provision of wastewater services.

Based on the current situation and issues, the main general guidelines related to improved long-term management of industrial-indirect dischargers are defined as presented as follows:

- Identification and Inventory of relevant industrial polluters (comprehensive Registry of Industrial Polluters)

- Characterisation of industrial discharges including continual monitoring and flow measurement, sampling and wastewater quality analysis

- Preparing and signing legally binding Wastewater Discharge Consent between a water utility company and a particular Industry

- Implementation of a specific Tariff Structure for industrial dischargers, based on the polluter pays principle

### Questionnaire prepared for industrial wastewater

The questionnaire concerning industrial facilities and respective discharges was prepared for the project (please refer to annexes, Table 14.4).

The objective was to conduct a survey of major industries, collect and process relevant data in order to establish quantitative data of industrial effluents pollutant loads for further development of the Master Plan.

Initially, the questionnaire was sent to the national Register of Companies, in order to determine the companies registered for the industrial activities of concern to the Directive. Contact data about all legal entities sorted by the related activity codes were received in August 2017. Then, the questionnaire was forwarded to major industrial facilities that were identified during the consultations with the MoSDT. Selection of industries was made mainly on the basis of the potential significance of pollution that might be generated by the industry.

Acquisition of data on industrial discharges proved to be a complex and time-consuming task. The list of the questionnaire recipients is included in Annex 14.5.

### Responses to Questionnaires received

The list of industrial activity codes for the industries in accordance to Annex III of the UWWTD is presented in annexes, Table 14.5.

All questionnaires that were received by the beginning of November 2017 were taken into account and included in the Report annexes.

This segment of data collection was very much supported and coordinated by the MoSDT representatives, as well as by the consultants. However, apparently there was a lack of willingness by many of the companies which were sent the questionnaires to provide timely (or any) response.

The industries that provided completed questionnaires, as requested, are listed in the following table.

Table 4.8 – List of industries that provided responses to the questionnaire

| Municipality | Industry name | Dominant type of activity | Source of Water | Industrial wastewater Quantity |
| --- | --- | --- | --- | --- |
| Bijelo Polje | Meso-Promet Ltd | Meat Industry | Other sources | 57m3/day (winter) 60m3/day (summer) |
| Berane | Industry Name - Not stated | Milk Processing | Public water supply and own sources | 10m3/day |
| Danilovgrad | Grbe | Manufacture of animal feed | Public water supply | - |
|  | FML Ltd | Milk Processing | Own sources | 30m3/day |
|  | SRNA | Milk Processing | Public water supply and own sources | 100m3/day |
| Nikšić | Industry Name - Not stated | Meat Industry | Public water supply | Not stated |
|  | Brewery ”Trebjesa “ Ltd | Brewery | Own sources - well water | 143,600 m3/year |
| Podgorica | Industry Name - Not stated | Production of alcohol and alcoholic beverages | Public water supply and own sources | 910 m3/d depending on the amount of grapes, and processing capacity |
|  | Coca Cola Hellenic Bottling Co – Montenegro Ltd | - | - | - |

Comparing the number of companies that were sent the questionnaires to the number of those which provided requested information, it can be generally concluded that the response by the companies was quite unsatisfactory.

## Principle requirements related to urban wastewater management

This section presents an overview of the most relevant EU directives, their requirements, and national legislation, strategies and master plans related to urban wastewater collection and treatment.

EU directives:

- Directive 2000/60/EC (Water Framework Directive - WFD)

- Council Directive 91/271/EEC concerning urban wastewater treatment - UWWTD

- Commission Decision 2014/431/EU (Formats of reporting - UWWTD)

Relevant major national regulations and strategies:

- Law on waters (OG MNE  027/07 and OG MNE 73/10, 32/11, 47/11, 48/15, 52/16, 55/16, 2/2017, 80/17, 84/18)

- Law on communal wastewater management (2/2017)

- Law on local self-government

- Law on communal services (55/2016)

- Rulebook on criteria for definition of sensitive and vulnerable areas for protection of waters from pollution, OG MNE, 32/16

- Decision on delineation of sensitive areas, proposal, 2017

- Wastewater Master Plans for Coastal and Central/North Regions 2004/2007

- Water Management Strategy, 2017

- UWWTD DSIP, under preparation

### Requirements in accordance with the Directive 91/271/EEC

The main objective of the directive is to protect the Environment from the adverse effects of the wastewater discharges.

Scope of the directive includes:

- All settlement areas/areas of economic activity of > 2,000 inhabitants or population equivalent, plus smaller settlements if they already have a collection system;

- Industrial wastewater discharged into urban wastewater systems;

- Industrial wastewater from agro-food industry listed in Annex III discharging after separate treatment into waters.

Agglomeration is defined as:

“… an area where the population and/or economic activities are sufficiently concentrated for urban wastewater to be collected and conducted to an urban wastewater treatment plant or to a final discharge point...”, article 2(4) of the UWWTD.

The existence of an agglomeration is neither dependent of the existence of the collecting system, nor is related to the existence of a treatment plant.

The existence of an agglomeration relates to a de facto situation of sufficiently concentrated area of population and/or economic activities.

Knowledge about agglomerations and their size in population equivalent is crucial, as obligations and deadlines under the Directive are linked to the size of agglomerations: articles 3, 4, 5 and 12.

It is important to note that the national Agglomeration Act was adopted in November 2017, (OG MNE 078/17). The Agglomeration Act shall be used for assessment of different WW pollutant loadings, as required to ensure future compliance with the directive.

Collection System:

Article 2 of the Directive defines “collection system” as “a system of conduits which collects and conducts urban wastewater” All agglomerations (i.e. 2,000 PE or more) to be provided with collecting systems for urban wastewater,

Article 3: Mandatory criteria for collection systems, Annex IA: The design, construction and maintenance of collecting systems shall be undertaken in accordance with the best technical knowledge;

It can operate under all normal local weather conditions and including all normal seasonal variations of wastewater volume;

Where the establishment of a collecting system is not justified individual systems or other appropriate systems which achieve the same level of environmental protection shall be used

Level off treatment in accordance with the UWWTD – summary:

Discharges into freshwaters and estuaries

- < 2,000 PE: appropriate treatment (articles 7 and 2(9)

- 2,000 PE: secondary treatment (article 4 and annex I, table 1),

- 10,000 PE secondary treatment (article 4 and annex I, table 1), or tertiary treatment (article 5 and annex I, table 2) for discharges into sensitive areas and into the catchment of sensitive area.

Sensitive Areas

The legal framework: article 5 and annex II: “A water body must be identified as a sensitive area if it falls into one of the following groups:

- natural freshwater lakes, other freshwater bodies, estuaries and coastal water which are found to be: eutrophic or which in the near future may become eutrophic if protective action is not taken;

- surface freshwaters intended for the abstraction of drinking water which could contain more than 50 mg/l nitrate (= limit value for drinking water) if action is not taken.

One of the key considerations in planning and implementing the measures to ensure compliance with the Urban Wastewater Treatment Directive (UWWTD) is definition/delineation of the country territory with regard to “sensitive areas” and “less sensitive areas”, as stipulated in the directive and in the national Law on communal wastewater management (2/2017) in which the UWWTD is fully transposed.

### Requirements and schedules in accordance with the national legislation

The most relevant national legislation dealing with urban wastewater management includes the following:

- Law on Urban Wastewater Management, OG MNE 2/2017

- Rulebook on criteria for definition of sensitive and vulnerable areas for protection of waters from pollution, OG MNE, 32/16

- Decision on delineation of sensitive areas, 2017

- Rulebook/Act on delineation, number and capacities of agglomerations, OG MNE 78/2017

Based on the Agglomeration Rulebook/Act, the competent department of the Ministry considered and formulated the proposal of the decision which defined sensitive area in terms of the UWWTD within the country territory as follows:

- Whole Danube River basin

- Adriatic Sea basin – all areas that are categorised as eutrophic or which in the near future may become eutrophic if protective action is not taken, drinking water sources area and other protected areas, such as:

- Zeta River sub-basin: Zeta River with tributaries and impoundments: Liverovići, Krupac, Vrtac and Slano;

- Morače River sub-basin: Kapetan lake and the Morača River with tributaries;

- Area of Skadar lake with tributaries (excluding the Morača River);

- Bojana River sub-basin;

- Sub-basin of water courses directly flowing into the Adriatic Sea:

- Area of Grahovo impoundment, area intended for drinking water abstraction, Lovćen  national park and nature reserve Solila

- Bay of Kotor

- Coastal waters up to the boundary line of “territorial waters”

The aforesaid sensitive areas are shown in the following figure, which is an integral part of the decision The decision is subject to regular revisions, in four-year intervals Based on the delineation of sensitive areas, as presented, effectively the whole of Montenegro has been categorised as a sensitive area, except for the municipality of Ulcinj in the far south-east, which shall be discharging (treated) wastewaters in the area that doesn’t belong to the aforementioned list of specifically determined sensitive areas.

Figure 4.30 – UWWTD sensitive areas in Montenegro – overview map

Detail requirements set out in the Decision on delineation of sensitive areas are presented in Annex 7 (14.6) to this report.

According to the Law on Urban Wastewater Management, all towns and villages (agglomerations) of more than 2,000 are required to have wastewater collection (sewerage) systems (in compliance with Article 3 of the UWWTD) according to the following deadlines:

- For agglomerations > 15,000 PE – by December 31, 2025

- For agglomerations 2,000 to 15,000 – by December 31, 2027

With regard to provision of adequate urban wastewater treatment in terms of the UWWTD (Articles 4 and 5), the Law on Urban Wastewater Management stipulates the following deadlines:

- For provision of more stringent treatment in relation to Article 5 of the UWWTD – by 2025

- For provision of adequate wastewater treatment (Article 4 of the UWWDT) - agglomerations > 15,000 PE, by December 31, 2027

- For provision of adequate wastewater treatment (Article 4 of the UWWDT) - agglomerations 10,000 to 15,000 PE and agglomerations 2,000 – 10,000 PE (effluent discharge in fresh waters and estuaries) by December 31, 2029

- For provision of adequate wastewater treatment (Article 4 of the UWWDT) - agglomerations < 10,000 PE (for effluent discharge in coastal waters) and agglomerations < 2,000 PE (effluent discharge in fresh waters and estuaries) by December 31, 2029

To conclude based on the aforesaid provisions complete communal wastewater collection and treatment related to areas categorised as sensitive should be in place by 2025, whereas for the entire territory wastewater collection and treatment should be completed by the end of 2029.

Based on the latest available information (Draft Negotiation Platform, 2018) related to negotiations of Montenegro with the EC regarding implementation of Chapter 27, Environment, it is very likely that the aforesaid implementation schedule will be substantially altered, with most of the aforesaid periods for implementation extended.

### Proposal for optimised schedule of implementation of the UWWTD

This section presents the proposal for optimised implementation schedule of the UWWTD in Montenegro, i.e. the wastewater infrastructure measures specified in this report.

It was considered necessary to make the proposal which would ultimately lead to full implementation of the UWWTD and related national legislation requirements but that would also take the account of current status of urban wastewater management, identified gaps with that regard, institutional and organisational prerequisites, potential financing sources and sustainability/affordability constraints.

As highlighted in the report, current urban wastewater management in Montenegro is characterised by:

Very substantial gaps that are being addressed through a number of ongoing projects, however full implementation of the specified project measures shall be very demanding both technically and financially;

It is necessary to acknowledge current institutional-organisational setup for the project implementation as the baseline. It is expected that substantial improvement of the institutional-organisational capacities would take place in the coming years, however this process is likely to be gradual and time-consuming, which puts consequent constraints on planning of the project implementation.

Project measures specified in Chapter 6 implicate very high investment costs for implementation of the urban wastewater infrastructure. The scope of measures and related costs are assessed to be comparatively higher than in other countries in the region because of the current gaps in the infrastructure development, but also due to specific additional wastewater pollution loads generated by tourism which must be taken into account.

The analysis of affordability presented in Chapter 8 clearly shows that implementation of the planned measures and inevitable introduction of cost-recovery water tariffs would substantially affect household expenses related to water/wastewater services and would put additional pressure on affordability of these services. In order to accommodate the implementation of measures to the constraints imposed by affordability it is recommended to design the implementation plan which would be phased; i.e. long enough to address these constraints reasonably well.

It is considered very important to allow sufficient time for the remaining project preparation and project administration (permitting) in order to possibly optimise individual projects technically and financially and maximise their effect.

Many, if not all, of these aspects have been recognised by the line ministry, MoSDT, during preparation of the Negotiation Position of Montenegro for Intergovernmental Conference on Accession of Montenegro to the European Union Chapter 27– Environment and Climate Change, February 2018. With regard to implementation of the UWWTD, the Negotiation Position specifies the following”... Montenegro requests to be granted a transitional period for full implementation of Articles 3, 4, 5, 6 and 7 of Directive 91/271/EEC concerning urban waste-water treatment (UWWT Directive) relating to deadlines for construction of collecting systems and wastewater treatment plants (WWTP) until 31 December 2035...”.

- Although full implementation of the UWWTD as planned would in any case very demanding and complex task, the aforesaid proposed general schedule appears to be balanced and realistic, and if necessary institutional/organisational and financial prerequisites are met, the plan would be implementable.

- Based on these considerations the following table (Table 4.9) presents updated, optimised implementation schedule for the wastewater infrastructure measures defined in this study. The implementation schedule is clearly linked with fulfilling applicable criteria based on the UWWTD.

- It was also considered important to integrate and coordinate development of a specific wastewater collection system with a corresponding urban wastewater treatment; i.e. to plan finalisation of both components at the same time at the agglomeration level. Concurrent implementation of both wastewater collection and treatment is essential for ensuring technical, environmental and financial sustainability of a project. One of the “lessons learnt” in a number of urban wastewater management project implemented in the wider region, as well as in Montenegro, is that in case that both wastewater collection and treatment are not implemented simultaneously, there is a great risk that project remains incomplete for a long while with all negative technical, environmental and financial implications.

- This approach also simplifies planning, implementation and monitoring of compliance in an agglomeration of interest.

Table 4.9 – Updated, optimised schedule for implementation of the UWWTD

| Sensitivity | Agglomeration size classes (PE) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Above 100,000 (discharge in sensitive areas) | 50,000-100,000 (discharge in sensitive areas) | 50,000-100,000 | 15,000-50,000 (discharge in sensitive areas) | 15,000-50,000 | 10,000-15,000 (discharge in sensitive areas) | 2000 -10,000 and less than 2,000 |
| Sensitive area in terms of the UWWTD in accordance with: - Rulebook on criteria for definition of sensitive and vulnerable areas - Decision on delineation of sensitive areas | Wastewater collection, more stringent treatment | Wastewater collection, more stringent treatment | Wastewater collection, secondary treatment | Wastewater collection, more stringent treatment | Wastewater collection, secondary treatment | Wastewater collection, more stringent treatment | Wastewater collection, secondary treatment |
|  | 31/12/2031 | 31/12/2031 | 31/12/2031 | 31/12/2033 | 31/12/2033 | 31/12/2035 | 31/12/2035 |
| Number of agglomerations | 2 | 2 | 2 | 7 | 2 | 1 | 21 |
| Estimated wastewater loading (PE) | 348,000 | 159,000 | 135,000 | 175,000 | 62,000 | 15,000 | 83,000 |
| Wastewater load (% of total) | 35.6% | 16.4% | 13.8% | 17.9% | 6.3% | 1.5% | 8.5% |

## Conclusions – assessment of compliance gap

This section summarises the assessment of the current wastewater infrastructure (collection and treatment) specifically based on the achieved current level of compliance with the EU Urban Wastewater Treatment Directive, effectively with the national Law on Communal Wastewater Management (the UWWTD has been almost entirely transposed into the Law).

For this assessment the standard methodology has been employed; based on the reference report: Technical assessment of the implementation of Council Directive concerning Urban Waste Water Treatment (91/271/EEC), prepared by Umweltbundesamt GmbH for the European Commission, DG Environment, 2015. Compliance with the Directive is assessed comparing the amount of pollution load that receives the treatment requested by the Directive (i.e. which is collected, which receives biological treatment and which receives more advanced treatment) with the total amount of load generated and with the amount that, theoretically, should receive such treatment (the so-called subjected/eligible load).

The comparison with the total generated load is presented in Table 4.10 as well as in Figure 4.31 and

Figure 4.32  (% of the total generated load are shown). The share of the load for which compliance is required and the share of the load for which compliance was actually achieved; both in relation to the total generated load are presented. This assessment took into account the national Agglomeration Act as well as the relevant act on definition of sensitive areas and corresponding treatment requirements.

Summarising the results, it can be concluded that the obligations as regards collection (Article 3) are met for 55.8% of the total generated load, and 65.4% of the subjected/eligible load.

Regarding biological treatment (Article 4), the obligations are met for 33% of the total generated load and 38.7% of the subjected/eligible load.

As regards more stringent treatment (Article 5), obligations are met for 22.9% of the total generated load and for 36.1% of the subjected/eligible load.

The aforesaid compliance rates in relation to “the eligible pollutant loading” are certainly more relevant for the assessment.

For comparison with the actually achieved compliance in the EU countries (as of 31/12/11), the results for compliance in EU-27 countries are shown below:

The obligations as regards collection (Article 3) are met for 94.9% of the total generated load (479 M PE, i.e. 96.4% of the total generated load that should be collected).

Regarding biological treatment (Article 4), the obligations are met for 86% of the total generated load (464 M PE, i.e. 93.5% of the total generated load that should receive biological treatment).

As regards more stringent treatment (Article 5), obligations are met for 50.5% of the total generated load (285 M PE, i.e. 57.5% of the total generated load that should receive more stringent treatment).

Table 4.10 – UWWTD - preliminary assessment of compliance/gaps

| Article 3 | Total generated load (PE) | Loading for which compliance should be provided | Loading currently covered | Compliance VS total load (%) | Compliance VS eligible load (%) |
| --- | --- | --- | --- | --- | --- |
| Typical loading (PE) | 884,366 | 755,428 | 493,710 | 55.8% | 65.4% |
| Article 4 | Total generated load (PE) | Loading for which compliance should be provided | Loading currently covered secondary treatment | Compliance VS total load (%) | Compliance VS eligible load (%) |
| Typical loading (PE) | 884,366 | 755,428 | 292,264 | 33.0% | 38.7% |
| Article 5 | Total generated load (PE) | Loading for which compliance should be provided | Loading currently covered with tertiary treatment | Compliance VS total load (%) | Compliance VS eligible load (%) |
| Typical loading (PE) | 884,366 | 562,123 | 202,880 | 22.9% | 36.1% |

Figure 4.31 – Average compliance rates with the UWWTD, Montenegro 2016 (PE)

Figure 4.32 – Average compliance rates with the UWWTD, Montenegro 2016 (%)

## Drinking Water Supply in the Project Area - Overview

### Introductory notes

Provision of communal services, including those of relevance for this project, is basically regulated by the national Law on communal services (OG of MNE, 055/16 and 074/16 and 002/18) in accordance with which public water supply and wastewater management are regulated communal activities. With respect to the aforesaid law, communal services are “those services that are necessary for normal living and work activities of population and legal entities within territory of a local self-government unit (LSGU), as well as maintenance of communal infrastructure and equipment”. Provision of communal services falls under the competence/responsibility of an individual LSGU, which, inter alia, includes the following communal services:

- Public drinking water supply

- Management of communal wastewaters

- Municipal solid waste management

Moreover, the aforesaid communal services are declared as services of “individual communal consumption” and of “general economic interest”.

Public drinking water supply and urban wastewater management are closely interrelated and represent two parts of integral water services that are normally provided by a single municipal water utility company. Ideally, the user should be provided by public water supply as well as wastewater collection and treatment. In reality service coverage by public water supply is normally higher than the service coverage by wastewater collection and/or treatment.

The aforesaid water services should be considered integrally from the prospective of an end users (both water supply and wastewater services should ensure adequate service level) but also from the operator’s standpoint since both services strongly affect management, organisational structure, costs and revenues of the operator.

It was therefore considered important to provide basic information on the current status of drinking water supply services in the Project Area, as outlined in this section. Description of the status and characteristics of drinking water supply in Montenegro presented in this section is largely based on the report “Environmental Infrastructure Audit and Affordability Study” (prepared in 2017 by “Agreco-Alternative Consulting” cosnortiumum, the same contractor and consultants in charge of this assignment) with necessary adjustments.

Basic structure/organisation of the concerned communal services in Montenegro generally follows the provision defined in the law; all municipalities have their own municipal water utility and waste management companies (sometimes within a single company) that are in charge of provision of the services and infrastructure maintenance.

In addition, there are a few public utility companies conducting the aforesaid communal services at regional level, involving two or more municipalities.

### Water Supply Systems – Features and Status

With reference to drinking water supply service coverage, in the Project Area there are three basic approaches:

- Centralised, public water supply systems managed and operated by a municipal water utility company

- Rural community water supply schemes, grouped or scattered, normally run by a nominated representatives of the local community, but not monitored/controlled by a municipal water utility company

- Settlements/population with so called “individual supply” from local springs, intakes, wells, neither connected to public not to rural water supply systems

Of the listed types of drinking water supply of population and other users, beyond any doubt most favourable, adequate and controllable type of supply is so-called centralised water supply operated by a municipal water utility company. These systems are, in most cases, regularly (although insufficiently) maintained and monitored, especially in terms of drinking water quality, being the key point of concern of the EU Drinking water directive and respective national legislation.

Also, these systems (provided that a municipal water utility company has got sufficient management, financial, technical and operational capacities) could provide adequate level of service, especially with regard to continuity of supply, stable supply conditions, and most of all adequate water quality.

On the other hand, rural water supply schemes are characterised by inadequate, insufficient or non-existent capacities for management and operation, absence of monitoring and control, potentially inefficient use of water sources.

At the national level, service coverage with centralised, public drinking water supply is app. 85.9%, while regional differences (coastal, central and northern) are very noticeable, with service coverage ranging from app. 64% (northern region) to app. 96% (central region) - Figure 4.33 and Figure 4.34.

Figure 4.33 – Service coverage - # of population connected to different types of supply

The following table shows drinking water supply service coverage per local-self government unit.

Figure 4.34 – Service coverage - % of population connected to different types of supply

Table 4.11 – Drinking water supply service coverage per LSGU

| No | Municipalities per regions | N pop 2015 | N population connected | N legal entities - users | N population connected - RURAL WS | N population - INDIVIDUAL SUPPLY | Service coverage - central (%) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica | 4,917 | 1,302 | 85 | 2,645 | 970 | 26.5% |
| 2 | Berane | 27,753 | 24,295 | 772 | 1,388 | 2,070 | 87.5% |
| 3 | Bijelo Polje | 44,510 | 23,973 | 889 | 9,306 | 11,231 | 53.9% |
| 4 | Gusinje | 3,949 | 2,678 | 70 | 197 | 1,074 | 67.8% |
| 5 | Kolašin | 7,830 | 5,044 | 175 | 392 | 2,394 | 64.4% |
| 6 | Mojkovac | 8,156 | 5,737 | 194 | 514 | 1,905 | 70.3% |
| 7 | Petnjica | 5,114 |  |  | 4,839 | 275 | 0.0% |
| 8 | Plav | 8,799 | 6,337 | 155 | 440 | 2,023 | 72.0% |
| 9 | Pljevlja | 29,047 | 21,458 | 728 | 4,969 | 2,619 | 73.9% |
| 10 | Plužine | 2,885 | 1,716 | 40 | 450 | 719 | 59.5% |
| 11 | Rožaje | 23,128 | 13,521 | 350 | 6,800 | 2,807 | 58.5% |
| 12 | Šavnik | 1,817 | 993 | 30 | 784 | 39 | 54.7% |
| 13 | Žabljak | 3,337 | 3,104 | 110 | 167 | 66 | 93.0% |
| 14 | Cetinje | 15,998 | 15,455 | 400 | 543 | 0 | 96.6% |
| 15 | Danilovgrad | 18,398 | 18,016 | 445 | 382 | 0 | 97.9% |
| 16 | Nikšić | 71,166 | 68,914 | 1,168 | 1,290 | 962 | 96.8% |
| 17 | Podgorica | 194,022 | 187,367 | 6,400 | 1,700 | 4,955 | 96.6% |
| 18 | Bar | 43,359 | 30,623 | 2,118 | 1,300 | 11,436 | 70.6% |
| 19 | Budva | 20,154 | 19,842 | 2,300 | 382 | 0 | 98.5% |
| 20 | Herceg Novi | 30,755 | 29,998 | 1,490 | 382 | 375 | 97.5% |
| 21 | Kotor | 22,640 | 20,647 | 936 | 453 | 1,540 | 91.2% |
| 22 | Tivat | 14,386 | 13,960 | 560 | 426 | 0 | 97.0% |
| 23 | Ulcinj | 20,039 | 17,478 | 921 | 601 | 1,960 | 87.2% |
| 24 | RWS* | - | - | - | - | - | - |
| Sub-total Northern Region |  | 171,242 | 110,158 | 3,598 | 32,891 | 28,192 | 64.3% |
| Sub-total Central Region |  | 299,584 | 289,753 | 8,413 | 3,914 | 5,917 | 96.7% |
| Sub-total Coastal Region |  | 151,333 | 132,548 | 8,352 | 3,544 | 15,241 | 87.6% |
| Total |  | 622,159 | 532,460 | 20,336 | 40,350 | 49,350 | 85.6% |

With regard to main physical features of the existing water supply systems, one of key characteristics is current operational capacity of water sources used (captured and connected) for drinking water supply services (Table 4.12). The figures shown not only take into account water sources capacities, per se, but also consider constraints and characteristics of corresponding parts of transmission systems transferring abstracted water to particular water supply zones.

Table 4.12 – Drinking water supply services – main physical features

| No | Municipality | Rural systems by PUC | Rural systems by community | No of sources | Current Q of sources (l/s) - min. | Current Q of sources (l/s) - avg. | Current Q of sources (l/s) - max. | L of mains (km) | L of network (km) | Total L of pipelines (km) | V storage tanks (m3) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica | 9 | 9 | 1 | 32 | 45 | 100 | 15 | 16 | 31 | 70 |
| 2 | Berane | 1 | 9+5 | 3 | 200 | 300 | 900 | 23 | 140 | 163 | 1,600 |
| 3 | Bijelo Polje | 1 | 41 | 1 | 300 | 350 | 500 | 25 | 140 | 165 | 440 |
| 4 | Gusinje |  |  | 1 | 20 | 30 | 50 |  |  | 18 | 240 |
| 5 | Kolašin | 8 | - | 1 | 170 | 210 | 300 | 8 | 24 | 32 | 3,800 |
| 6 | Mojkovac | - | 7 | 1 | 16 | 25 | 35 | 9 | 52 | 61 | 650 |
| 7 | Petnjica |  | 9 |  | - | - | - |  |  | 46 |  |
| 8 | Plav | - | 4+3 | 4 | 100 | 135 | 200 |  |  | 41 | 800 |
| 9 | Pljevlja | - | 16 | 5 | 170 | 270 | 350 | 36 | 92 | 128 | 4,000 |
| 10 | Plužine | - | 10 | 1 | 650 | 800 | 1,100 | 14 | 20 | 34 | 300 |
| 11 | Rožaje | - | 8 | 2 | 105 | 170 | 350 | 11 | 32 | 43 | 2,800 |
| 12 | Šavnik | - | 6 | 1 | 100 | 150 | 250 |  | 5 | 5 |  |
| 13 | Žabljak | 2 | 1 | 3 | 44 | 50 | 70 |  |  | 76 | 1,900 |
| 14 | Cetinje | 2 | 4 | 3 | 206 | 250 | 350 | 22 | 65 | 87 | 14,600 |
| 15 | Danilovgrad | - | 5 | 6 | 300 | 730 | 1,325 |  | 560 | 560 | 1,500 |
| 16 | Nikšić | 3 | 2+1 | 3 | 645 | 840 | 1,340 | 20 | 448 | 468 | 7,500 |
| 17 | Podgorica | 3 | 7 | 6 | 1,910 | 2,975 | 5,985 | 700 | 670 | 1,370 | 8,400 |
| 18 | Bar | 9 | 13 | 11 | 538 | 658 | 1,050 |  |  | 467 | 5223 |
| 19 | Budva | 2 | 3 | 2 | 490 | 541 | 750 |  |  | 316 | 6150 |
| 20 | Herceg Novi | 0 | 11 | 2 | 713 | 820 | 1,360 | 15 | 399 | 414 | 12500 |
| 21 | Kotor | 1 | 3 | 6 | 334 | 565 | 1,125 | 145 | 200 | 345 | 11500 |
| 22 | Tivat | - | 6 | 2 | 223 | 265 | 620 |  |  | 120 | 5500 |
| 23 | Ulcinj | 2 | 3 | 8 | 474 | 614 | 885 | 51 | 235 | 286 | 3500 |
| 24 | RWS* | - | - | 1 |  |  |  | 135 |  | 135 | 22500 |
| Sub-total Northern Region |  |  |  |  | 1,907 | 2,535 | 4,205 |  |  | 843 | 16,600 |
| Sub-total Central Region |  |  |  |  | 3,061 | 4,795 | 9,000 |  |  | 2,485 | 32,000 |
| Sub-total Coastal Region |  |  |  |  | 2,772 | 3,463 | 5,790 |  |  | 2,083 | 44,373 |
| Total |  |  |  |  | 7,740 | 10,793 | 18,995 |  |  | 5,410 | 92,973 |

The table also includes water available/balances from the Regional Water Supply System Montenegrin Coast (RWSSMC), however these balances are allocated to the participating coastal region municipalities (Herceg Novi, Tivat, Kotor, Budva, Bar and Ulcinj). The total average capacity of active water supply sources in Montenegro is around 10.8 m3/s. The minimum total capacity of active water sources is around 7.7 m3/s. It is important to highlight that more than 80% of water abstracted for drinking water supply in Montenegro originates from groundwater, and most of it from springs of karstic origin, with very variable capacity/availability. By definition, minimal source capacity occurs during dry season, which also coincides with the seasonal peak of demand that is exceptionally high in the coastal region, with large seasonal influx of tourists. The following shows basic water balances in municipal water supply systems, per regions and overall. Around 33% of the total water input into the systems has been invoiced, while around 67% of the total input can be categorised as non-revenue water (NRW). These results are generally consistent for all major municipalities, which implies that all major water supply systems have rather poor performance in terms of efficiency of water use, inevitably leading to unnecessarily high O&M costs and inadequate level of service. While the overall, average unit household water consumption rate of 154 lcd could be assessed as reasonable, nearly standard rate, there are very visible regional differences, which may indicate lower or inadequate level of water supply service in the northern region, where the average unit household consumption rate is 120 lcd, well below the national average. It is assessed that these regional differences actually result from quite different level of service provided, the water supply systems in the northern region being more frequently exposed to deficient working conditions, variable and insufficient working pressures and intermittent supply.

Table 4.13 – Drinking water supply services – Basic water balances and related performance indicators

| No | Municipality | Input volume (m3/y) | Invoiced water – hous. (m3/y) | Invoiced water–leg. ent.(m3/y) | NRW (m3/y) | NRW (%) | Unit hous. rate (lcd) | Max daily peaking factor | Q max day demand (l/s) -indicative | Network density (cap/km) | Required volume of WT (m3) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica | 136,842 | 73,852 | 30,992 | 31,998 | 23.4% | 155 | 2.14 | 8 | 42 | 211 |
| 2 | Berane | 6,400,000 | 1,167,640 | 190,374 | 5,041,986 | 78.8% | 132 | 1.81 | 238 | 149 | 6,166 |
| 3 | Bijelo Polje | 5,361,120 | 887,635 | 263,776 | 4,209,709 | 78.5% | 101 | 1.81 | 200 | 145 | 5,175 |
| 4 | Gusinje | 275,946 | 127,962 | 28,471 | 119,514 | 43.3% | 131 | 2.06 | 14 | 145 | 363 |
| 5 | Kolašin | 765,800 | 263,692 | 80,918 | 421,190 | 55.0% | 140 | 1.99 | 35 | 158 | 909 |
| 6 | Mojkovac | 788,400 | 238,837 | 41,178 | 508,385 | 64.5% | 114 | 1.97 | 34 | 94 | 872 |
| 7 | Petnjica |  |  |  |  |  |  | - | - | 0 | - |
| 8 | Plav | 606,054 | 281,038 | 62,529 | 262,486 | 43.3% | 122 | 1.96 | 30 | 156 | 770 |
| 9 | Pljevlja | 3,850,000 | 886,377 | 230,787 | 2,732,836 | 71.0% | 113 | 1.82 | 151 | 168 | 3,922 |
| 10 | Plužine | 328,500 | 77,000 | 12,000 | 239,500 | 72.9% | 123 | 2.11 | 14 | 50 | 351 |
| 11 | Rožaje | 4,730,400 | 591,887 | 102,135 | 4,036,378 | 85.3% | 120 | 1.88 | 169 | 314 | 4,388 |
| 12 | Šavnik | 45,000 | 36,000 | 0 | 9,000 | 20.0% | 99 | 2.17 | 3 | 199 | 72 |
| 13 | Žabljak | 1,450,000 | 214,588 | 63,005 | 1,172,407 | 80.9% | 183 | 2.04 | 55 | 41 | 1,429 |
| 14 | Cetinje | 5,191,426 | 714,041 | 123,213 | 4,354,172 | 83.9% | 127 | 1.86 | 187 | 178 | 4,860 |
| 15 | Danilovgrad | 3,118,443 | 1,061,081 | 435,455 | 1,621,907 | 52.0% | 161 | 1.84 | 139 | 32 | 3,602 |
| 16 | Nikšić | 10,800,000 | 3,219,020 | 391,208 | 7,189,772 | 66.6% | 128 | 1.69 | 422 | 147 | 10,937 |
| 17 | Podgorica | 33,894,792 | 12,680,000 | 3,090,413 | 18,124,379 | 53.5% | 181 | 1.58 | 1,366 | 137 | 35,406 |
| 18 | Bar | 11,911,794 | 1,880,000 | 503,000 | 9,528,794 | 80.0% | 147 | 2.02 | 455 | 66 | 11,788 |
| 19 | Budva | 7,261,783 | 2,019,795 | 1,157,896 | 4,084,092 | 56.2% | 172 | 2.80 | 412 | 63 | 10,670 |
| 20 | Herceg Novi | 12,787,044 | 2,072,544 | 611,949 | 10,102,551 | 79.0% | 158 | 2.47 | 531 | 72 | 13,753 |
| 21 | Kotor | 6,605,724 | 1,130,956 | 342,834 | 5,131,934 | 77.7% | 143 | 2.26 | 268 | 60 | 6,956 |
| 22 | Tivat | 2,906,795 | 972,646 | 344,325 | 1,589,824 | 54.7% | 168 | 2.16 | 141 | 116 | 3,645 |
| 23 | Ulcinj | 5,235,000 | 1,188,336 | 218,900 | 3,827,764 | 73.1% | 160 | 2.30 | 224 | 61 | 5,806 |
| Sub-total Northern Region |  | 24,738,062 | 4,846,508 | 1,106,165 | 18,785,389 | 75.9% | 120 |  | 950 | 131 | 24,627 |
| Sub-total Central Region |  | 53,004,661 | 17,674,142 | 4,040,289 | 31,290,230 | 59.0% | 165 |  | 992 | 117 | 54,804 |
| Sub-total Coastal Region |  | 46,708,140 | 9,264,277 | 3,178,904 | 34,264,959 | 73.4% | 158 |  | 2,030 | 68 (exc.RWS) | 52,618 |
| Total |  | 124,450,863 | 31,784,927 | 8,325,358 | 84,340,578 | 67.8% | 154 |  | 3,972 | 98 | 132,049 |

Figure 4.35 – Household unit water consumption rate per region (lcd)

Another set of very important performance indicators for water supply services is related to water balances, more specifically to NRW and water losses in centralised water supply system. The information on general water balances (system input, invoiced consumption, NRW) are contained in Table 4.13 and in the Figure 4.36. The average NRW for the Project Area is around 68% of the system inputs, and it is almost equally unfavourable across the country (from around 60% to around 75% per region), which means that very high NRW rates represent very common operational problem in municipal water supply systems in Montenegro.

Another NRW-related performance indicator – NRW per unit of network length (m3/km/day) - Figure 4.37, shows that with regard to NRW the least favourable situation is in the northern region, while the central and coastal regions show somewhat better performance.

Negative effects of very high NRW rates on water supply services and operation of municipal water utility companies is well documented and universally recognised; very much inefficient use of (finite) water sources (particularly relevant for municipalities with water supply deficits), excessive O&M costs undermining normal, sustainable operation of operators, poor/intermittent supply due to deficits in water balance, high contamination risks associated with water infiltration/exfiltration in the network.

Figure 4.36 – Recorded NRW in water supply systems per region (% of input)

Figure 4.37 – NRW per length of network (m3/km/day)

With regard to utilisation/availability of water sources (average abstraction/average capacity), it appears that the overall water source utilisation is 37% on average (see Figure 4.38). Also, at the regional level even for minimal seasonal capacity of water sources in each observed region there is a surplus of available water source capacity. However, since water supply services are almost exclusively organised at the LSGU level (the exception being the RWSSMC), the analysis of the available source capacities versus estimated maximum seasonal demand indicates deficits in a number of municipalities (four in the northern region and two in the coastal region). The actual situation is even less favourable, taking into account seasonal (salinity) and continual incompliance of water quality for particular municipalities, especially in the coastal region.

Table 4.14 – Ovreview of characteristics oh major water sources

| No. | Municipality | Water source | Q min (l/s) | Q av (l/s) | Q max (l/s) | Comments | Protected zone defined (Y/N/P) | Protected zone established (Y/N) | Comments - protected zones, as of June 2016 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica | Krkori | 32 | 45 | 100 |  | Y | Y |  |
|  | Andrijevica Total |  | 32 | 45 | 100 |  |  |  |  |
| 2.1 | Berane | Merića vrelo | 100 | 150 | 400 |  | P | N | Report on protected zones under preparation, 2016 |
| 2.2 | Berane | Manastirsko vrelo | 80 | 100 | 400 |  | P | N | -II- |
| 2.3 | Berane | Dapsića vrelo | 20 | 50 | 100 |  | P | N | -II- |
|  | Berane Total |  | 200 | 300 | 900 |  |  |  |  |
| 3 | Bijelo Polje | Vrelo Bistrice | 300 | 350 | 500 |  | Y | Y |  |
|  | Bijelo Polje Total |  | 300 | 350 | 500 |  |  |  |  |
| 4 | Kolašin | Mušovića vrelo | 170 | 210 | 300 |  | P | N | Report on protected zones under preparation, 2016 |
|  | Kolašin Total |  | 170 | 210 | 300 |  |  |  |  |
| 5.1 | Mojkovac | Gojakovića izvori | 16 | 25 | 35 |  |  |  |  |
| 5.2 | Mojkovac | Vrelo Štitarice |  |  |  | Not captured |  |  |  |
|  | Mojkovac Total |  | 16 | 25 | 35 |  |  |  |  |
| 6.1 | Gusinje | Bajrovića izvori | 20 | 30 | 50 |  | N | N |  |
|  | Gusinje Total |  | 20 | 30 | 50 |  |  |  |  |
| 7.1 | Plav | Jasenica and Đurička rijeka | 50 | 70 | 100 |  | N | N |  |
| 7.2 | Plav | Murinska rijeka | 50 | 65 | 100 |  | N | N |  |
|  | Plav Total |  | 100 | 135 | 200 |  |  |  |  |
| 9 | Plužine | Sutulija | 650 | 800 | 1,100 |  | N | N |  |
|  | Plužine Total |  | 650 | 800 | 1,100 |  |  |  |  |
| 10.1 | Pljevlja | Breznica | 30 | 50 | 60 |  | P | N |  |
| 10.2 | Pljevlja | Jugoštica-Petrova česma | 5 | 10 | 20 |  | P | N |  |
| 10.3 | Pljevlja | Zmajevac, Mandovac, Vrelo | 35 | 60 | 120 |  | P | N |  |
| 10.4 | Pljevlja | Otilovići (impoundment) | 100 | 150 | 150 |  | P | N |  |
|  | Pljevlja Total |  | 170 | 270 | 350 |  |  |  |  |
| 11.1 | Rožaje | Ibar spring | 100 | 150 | 300 |  | N | N | Fencing of the source and Water storage tank implemented |
| 11.2 | Rožaje | Grlja spring | 5 | 20 | 50 |  |  |  |  |
| 11.3 | Rožaje | Plunački stanovi |  |  |  | Not captured |  |  |  |
|  | Rožaje Total |  | 105 | 170 | 350 |  |  |  |  |
| 12 | Šavnik | Šavnička glava | 100 | 150 | 250 |  | Y | Y |  |
|  | Šavnik Total |  | 100 | 150 | 250 |  |  |  |  |
| 13.1 | Žabljak | Oko (Zminje jezero) | 12 | 15 | 30 |  | Y | Y |  |
| 13.2 | Žabljak | Mlinski potok (Crno jezero) | 27 | 28 | 30 |  | Y | Y |  |
| 13.3 | Žabljak | Sopot | 5 | 7 | 10 |  |  |  |  |
|  | Žabljak Total |  | 44 | 50 | 70 |  |  |  |  |
| 14.1 | Cetinje | Podgorska vrela | 200 | 200 | 200 | Average source capacity is 2,000l/s, maximum 3,000l/s, the capacity of the transmission system is 200 l/s | N | N |  |
| 14.2 | Cetinje | Obzovica | 1 | 20 | 50 |  | N | N |  |
| 14.3 | Cetinje | Uganjska vrela | 5 | 30 | 100 |  | N | N |  |
| 14.4 | Cetinje | Struge (Rijeka Crnojevića) |  |  |  |  | 7 |  |  |
|  | Cetinje Total |  | 206 | 250 | 350 |  |  |  |  |
| 15.1 | Danilovgrad | Oraška jama | 120 | 200 | 500 |  | P | Y | Upgrade of protected zones in accordance with latest regulation ongoing |
| 15.2 | Danilovgrad | Slatinski izvori | 10 | 15 | 30 | Report on sanitary protection 1994 | P | Y | -II- |
| 15.3 | Danilovgrad | Brajovića jama | 40 | 50 | 70 |  | P | Y | -II- |
| 15.4 | Danilovgrad | Žarića jama | 50 | 70 | 100 | Report on sanitary protection 1999 | P | Y | -II- |
| 15.5 | Danilovgrad | Milojevića vrelo | 20 | 300 | 500 | Captured 20l/s for Danilovgrad, Qmin=200l/s |  |  |  |
| 15.6 | Danilovgrad | Viško vrelo | 10 | 20 | 50 |  | P | Y | -II- |
| 15.7 | Danilovgrad | Mareza | 50 | 75 | 75 | Portion for Danilovgrad |  |  |  |
|  | Danilovgrad Total |  | 300 | 730 | 1,325 |  |  |  |  |
| 16.1 | Nikšić | Vidrovanska vrela | 410 | 600 | 1,100 |  | Y | Y |  |
| 16.2 | Nikšić | Trebjesa |  |  |  |  |  |  |  |
| 16.3 | Nikšić | Poklonica | 200 | 200 | 200 |  | Y | Y |  |
| 16.4 | Nikšić | Blaca | 35 | 40 | 40 | Potential source |  |  |  |
|  | Nikšić Total |  | 645 | 840 | 1,340 |  |  |  |  |
| 17.1 | Podgorica | Mareza | 1,050 | 2,000 | 5,000 |  | Y | Y |  |
| 17.2 | Podgorica | Zagorič | 360 | 400 | 400 |  | P | N |  |
| 17.3 | Podgorica | Konik | 250 | 300 | 300 | Well-field | P | N |  |
| 17.4 | Podgorica | Milješ-Tuzi | 60 | 80 | 85 | Potential for Tuško polje; 1,500 l/s | P | N |  |
| 17.5 | Podgorica | Dinoša | 60 | 65 | 70 |  | P | N |  |
| 17.6 | Podgorica | Vuksan Lekići | 130 | 130 | 130 |  | P | N |  |
|  | Podgorica Total |  | 1,910 | 2,975 | 5,985 |  |  |  |  |
| 18.1 | Bar | Zaljevo | 22 | 50 | 100 |  | Y | Y |  |
| 18.2 | Bar | Kajnak | 70 | 80 | 190 |  | Y | Y |  |
| 18.3 | Bar | Brca | 40 | 60 | 100 |  | Y | Y |  |
| 18.4 | Bar | Sustaš | 5 | 10 | 25 |  | Y | Y |  |
| 18.5 | Bar | Turčini I, Turčini II | 5 | 15 | 35 |  | Y | Y |  |
| 18.6 | Bar | Vrelo-Čanj | 6 | 8 | 10 |  | N | N |  |
| 18.7 | Bar | Velje oko | 40 | 60 | 100 |  | Y | Y |  |
| 18.8 | Bar | Orahovsko polje | 150 | 175 | 190 |  | Y | Y |  |
| 18.9 | Bar | Bolje sestre (RWS) - part | 200 | 200 | 300 |  | Y | Y |  |
|  | Bar Total |  | 538 | 658 | 1,050 |  |  |  |  |
| 19.1 | Budva | Reževića rijeka | 55 | 75 | 150 |  | Y | Y |  |
| 19.2 | Budva | Podgorska vrela |  |  |  | Taken into account in Cetinje | N | N | Taken into account in Cetinje |
| 19.3 | Budva | Dobra voda - Buljarica | 15 | 25 | 45 |  | N | N |  |
| 19.4 | Budva | Zagradac | 5 | 10 | 15 |  | N | N |  |
| 19.5 | Budva | Piratac | 5 | 10 | 25 |  | N | N |  |
| 19.6 | Budva | Loznica | 5 | 7 | 25 |  | N | N |  |
| 19.7 | Budva | Sjenokos | 95 | 100 | 120 |  | N | N |  |
| 19.8 | Budva | Smokov vijenac | 5 | 7 | 10 |  | N | N |  |
| 19.9 | Budva | Sopot | 5 | 7 | 10 |  | N | N |  |
| 19.10 | Budva | Bolje sestre (RWS) - part | 300 | 300 | 350 |  | Y | Y | To be verified |
|  | Budva Total |  | 490 | 541 | 750 |  |  |  |  |
| 20.1 | Herceg Novi | Impoundment on Trebišnjica | 350 | 400 | 600 |  |  |  | To be verified |
| 20.2 | Herceg Novi | Opačica | 170 | 210 | 210 |  | Y | N |  |
| 20.3 | Herceg Novi | Crnica (Podi) | 3 | 5 | 10 |  |  |  |  |
| 20.4 | Herceg Novi | Pijavica | 2 | 5 | 10 |  |  |  |  |
| 20.5 | Herceg Novi | Sasovići | 3 | 5 | 10 |  |  |  |  |
| 20.6 | Herceg Novi | Sutorina | 20 | 20 | 20 |  |  |  |  |
| 20.7 | Herceg Novi | Potkučje |  |  |  |  |  |  |  |
| 20.8 | Herceg Novi | Lovac | 15 | 25 | 300 |  |  |  |  |
| 20.9 | Herceg Novi | Bolje sestre (RWS) - part | 150 | 150 | 200 |  | Y | Y | To be verified |
|  | Herceg Novi Total |  | 713 | 820 | 1,360 |  |  |  |  |
| 21.1 | Kotor | Vrmac | 20 | 50 | 100 |  | P | N |  |
| 21.2 | Kotor | Orahovački izvori | 110 | 150 | 200 | Seasonal salinity | P | N |  |
| 21.3 | Kotor | Škurda | 40 | 100 | 300 | Seasonal salinity | P | N |  |
| 21.4 | Kotor | Risanska spilja | 4 | 15 | 25 | Seasonal salinity | P | N |  |
| 21.5 | Kotor | Morinjski izvori | 10 | 100 | 300 | Seasonal salinity | P | N |  |
| 21.6 | Kotor | Bolje sestre (RWS) - part | 150 | 150 | 200 |  | Y | Y | To be verified |
|  | Kotor Total |  | 334 | 565 | 1,125 |  |  |  |  |
| 22.1 | Tivat | Topliš | 20 | 50 | 180 | Seasonal salinity | Y | Y |  |
| 22.2 | Tivat | Plavda | 20 | 30 | 200 | Seasonal salinity | Y | Y |  |
| 22.3 | Tivat | Brštin |  |  |  |  | Y | Y |  |
| 22.4 | Tivat | Češljar | 3 | 5 | 10 |  | Y | Y |  |
| 22.5 | Tivat | Grbaljsko polje | 30 | 30 | 30 |  | P | N |  |
| 22.6 | Tivat | Bolje sestre (RWS) - part | 150 | 150 | 200 |  | Y | Y | To be verified |
|  | Tivat Total |  | 223 | 265 | 620 |  |  |  |  |
| 23.1 | Ulcinj | Lisna Bori | 250 | 300 | 300 | WQ issues | N | N |  |
| 23.2 | Ulcinj | Salč | 2 | 14 | 20 |  | N | N |  |
| 23.3 | Ulcinj | Gač | 30 | 35 | 40 |  | N | N |  |
| 23.4 | Ulcinj | Klezna I i II | 25 | 80 | 100 |  | N | N |  |
| 23.5 | Ulcinj | Mide | 10 | 15 | 50 |  | N | N |  |
| 23.6 | Ulcinj | Kaliman I i II | 2 | 10 | 100 |  | N | N |  |
| 23.7 | Ulcinj | Brajša | 5 | 10 | 25 |  | N | N |  |
| 23.8 | Ulcinj | Bolje sestre (RWS) - part | 150 | 150 | 250 |  | Y | Y | To be checked |
|  | Ulcinj Total |  | 474 | 614 | 885 |  |  |  |  |
|  | Grand Total (including RWS) |  | 7,740 | 10,793 | 18,995 |  |  |  |  |

Clear water storage tanks are very important elements of standard communal water supply systems; they provide sufficient retention time for adequate disinfection by means of chlorination, hydraulic conditions for continual supply and necessary fire-fighting reserve in accordance with respective national fire-fighting regulations. Based on the inventory of existing clear water storage tanks (Table 4.12) and the preliminary assessment of needs (Table 4.13) it is concluded that in a number of municipalities there is a deficit of clear water storage tank volume, as required for normal operation of water supply distribution systems.

Figure 4.38 – Water resources availability/utilisation – average abstraction v.s. capacity

Figure 4.39 – Water resources deficit/surplus at regional level

Figure 4.40 – Water resources deficit/surplus at municipal level

Figure 4.41 – Number of municipalities with water supply deficits

Figure 4.42 – Number of municipalities with insufficient clear water storage capacities

Table 4.15 – Status overview of drinking water source protected zones

| No | Description | Q avg water sources (l/s) | Q protected (%) | No. of sources | No. protected (%) | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Protected zone established | 5,453 | 55.3% | 26 | 37.1% |  |
| 2 | Protected zone not established | 4,413 | 44.7% | 44 | 62.9% |  |
| 3 | Total (with available information) - 91% of total Q, 81% of number of sources | 9,866 | 100% | 70 | 100% | Total number of sources is 87, while the number of sources with incomplete data is 17 |

### Drinking water quality status assessment

Drinking water quality in centralised communal water supply systems in Montenegro is regularly monitored by the accredited and authorised institutions/laboratories including:

- The Institute for Public Health (national)

- PUC Vodovod, Podgorica

- Centre for Eco-toxicological Investigations, CETI

- Public health centre, Bar

The records of water quality monitoring/analysis are kept by municipality/system/supply zone, as presented in the following tables (Table 4.16 and Table 4.17).

These tables show a general overview of water quality recorded in centralised public water supply systems, where the non-compliance in terms of physicochemical parameters at the national level ranged from 9 to 14%, while microbiological non-compliance ranged from 7 to 10%. Some municipalities, including Ulcinj, Šavnik, Pljevlja, Tivat had ≥10% of non-compliant results for physicochemical parameters is 2015, while at the same time Andrijevica, Ulcinj, Bar, Tivat and Žabljak had ≥ 10% non-compliant results for microbiological parameters. The results for 2014 showed substantially higher WQ incompliance rates, most likely because of extremely rainy season which lasted throughout spring and early summer and regularly caused problems with increased raw water turbidity at sources. Turbidity appears to be the main cause of physicochemical incompliance and it is related to dominant character of drinking water sources in Montenegro – springs of karstic type quickly responding to intensive rainfall by sometimes abrupt increase of turbidity also followed by bacteriological contamination.

Municipality of Ulcinj has got long-standing and persistent problem with drinking water quality (nitrites, manganese and turbidity) at the main municipal water source. The following figures (Figure 4.43 and Figure 4.44) show an overview of drinking water incompliance by municipality.

Figure 4.43 – Non-compliance of drinking water in terms of physicochemical parameters

Figure 4.44 – Non-compliance of drinking water in terms of microbiological parameters

Table 4.16 – Monitoring of drinking water quality - 2014

| Municipality | Chlorinated water |  |  |  |  |  |  |  | Raw water (non-chlorinated) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Physicochemical |  |  |  | Microbiological |  |  |  | Physicochemical |  |  |  | Microbiological |  |  |  |
|  | No of samples | No. of compliant samples | No. of non-compliant samples | % of non-compliance | No of samples | No. of compliant samples | No. of non-compliant samples | % of non-compliance | No of samples | No. of compliant samples | No. of non-compliant samples | % of non-compliance | No of samples | No. of compliant samples | No. of non-compliant samples | % of non-compliance` |
| Podgorica | 979 | 885 | 94 | 9.6% | 1,035 | 976 | 59 | 5.7% | 21 | 18 | 3 | 14.3% | 53 | 31 | 22 | 41.5% |
| Danilovgrad | 331 | 277 | 54 | 16.3% | 312 | 280 | 32 | 10.3% | 14 | 13 | 1 | 7.1% | 17 | 1 | 16 | 94.1% |
| Nikšić | 291 | 261 | 30 | 10.3% | 292 | 283 | 9 | 3.1% | 31 | 25 | 6 | 19.4% | 30 | 19 | 11 | 36.7% |
| Cetinje | 261 | 233 | 28 | 10.7% | 237 | 221 | 16 | 6.8% | 28 | 28 |  | 0.0% | 54 | 22 | 32 | 59.3% |
| Plužine | 35 | 31 | 4 | 11.4% | 35 | 35 |  | 0.0% | 16 | 16 |  | 0.0% | 19 | 9 | 10 | 52.6% |
| Bijelo Polje | 139 | 119 | 20 | 14.4% | 142 | 139 | 3 | 2.1% | 22 | 10 | 12 | 54.5% | 22 | 5 | 17 | 77.3% |
| Andrijevica | 35 | 30 | 5 | 14.3% | 35 | 33 | 2 | 5.7% | 4 | 4 |  | 0.0% | 4 | 3 | 1 | 25.0% |
| Rožaje | 60 | 49 | 11 | 18.3% | 60 | 59 | 1 | 1.7% | 8 | 4 | 4 | 50.0% | 10 | 4 | 6 | 60.0% |
| Berane | 157 | 114 | 43 | 27.4% | 160 | 147 | 13 | 8.1% | 11 | 1 | 10 | 90.9% | 12 | 1 | 11 | 91.7% |
| Ulcinj | 360 | 268 | 92 | 25.6% | 360 | 318 | 42 | 11.7% | 66 | 37 | 29 | 43.9% | 66 | 36 | 30 | 45.5% |
| Bar | 609 | 558 | 51 | 8.4% | 630 | 554 | 76 | 12.1% | 38 | 31 | 7 | 18.4% | 64 | 10 | 54 | 84.4% |
| Šavnik | 8 | 7 | 1 | 12.5% | 8 | 7 | 1 | 12.5% | 6 | 6 |  | 0.0% | 6 | 5 | 1 | 16.7% |
| Plav, Gusinje | 53 | 21 | 32 | 60.4% | 53 | 47 | 6 | 11.3% | 14 | 7 | 7 | 50.0% | 15 | 9 | 6 | 40.0% |
| Pljevlja | 422 | 303 | 119 | 28.2% | 422 | 342 | 80 | 19.0% | 34 | 34 |  | 0.0% | 34 | 14 | 20 | 58.8% |
| Mojkovac | 53 | 31 | 22 | 41.5% | 53 | 52 | 1 | 1.9% | 5 | 5 |  | 0.0% | 5 | 1 | 4 | 80.0% |
| Tivat | 420 | 358 | 62 | 14.8% | 400 | 346 | 54 | 13.5% | 2 | 2 |  | 0.0% | 2 |  | 2 | 100.0% |
| Budva | 736 | 683 | 53 | 7.2% | 782 | 672 | 110 | 14.1% | 111 | 93 | 18 | 16.2% | 106 | 13 | 93 | 87.7% |
| Herceg Novi | 411 | 363 | 48 | 11.7% | 416 | 375 | 41 | 9.9% | 54 | 24 | 30 | 55.6% | 54 | 1 | 53 | 98.1% |
| Kotor | 339 | 306 | 33 | 9.7% | 342 | 307 | 35 | 10.2% | 29 | 20 | 9 | 31.0% | 30 | 2 | 28 | 93.3% |
| Kolašin | 36 | 33 | 4 | 11.1% | 35 | 35 |  | 0.0% | 7 | 6 | 1 | 14.3% | 40 | 38 | 2 | 5.0% |
| Žabljak | 46 | 40 | 6 | 13.0% | 47 | 39 | 8 | 17.0% | 1 | 1 |  | 0.0% | 1 |  | 1 | 100.0% |
| TOTAL | 5,781 | 4,970 | 812 | 14.0% | 5,856 | 5,267 | 589 | 10.1% | 522 | 385 | 137 | 26.2% | 644 | 224 | 420 | 65.2% |

Table 4.17 – Monitoring of drinking water quality - 2015

| Municipality | Chlorinated water |  |  |  |  |  |  |  | Raw water (non-chlorinated) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Physicochemical |  |  |  | Microbiological |  |  |  | Physicochemical |  |  |  | Microbiological |  |  |  |
|  | No of samples | No. of compliant samples | No. of non-compliant samples | % of non-compliance | No of samples | No. of compliant samples | No. of non-compliant samples | % of non-compliance | No of samples | No. of compliant samples | Non-compliant samples | % of non-compliance | No of samples | No. of compliant samples | No. of non-compliant samples | % of non-compliance` |
| Podgorica | 936 | 913 | 23 | 2.5% | 940 | 927 | 13 | 1.4% | 20 | 18 | 2 | 10.0% | 37 | 24 | 13 | 35.1% |
| Danilovgrad | 264 | 257 | 7 | 2.7% | 268 | 266 | 2 | 0.7% | 16 | 12 | 4 | 25.0% | 16 |  | 16 | 100.0% |
| Nikšić | 249 | 238 | 11 | 4.4% | 252 | 247 | 5 | 2.0% | 16 | 14 | 2 | 12.5% | 17 | 8 | 9 | 52.9% |
| Cetinje | 188 | 172 | 16 | 8.5% | 158 | 155 | 3 | 1.9% | 31 | 31 | 0 | 0.0% | 31 | 10 | 21 | 67.7% |
| Plužine | 25 | 25 |  | 0.0% | 25 | 24 | 1 | 4.0% | 15 | 15 | 0 | 0.0% | 15 | 7 | 8 | 53.3% |
| Bijelo Polje | 118 | 115 | 3 | 2.5% | 119 | 117 | 2 | 1.7% | 11 | 10 | 1 | 9.1% | 17 | 4 | 13 | 76.5% |
| Andrijevica | 33 | 32 | 1 | 3.0% | 33 | 26 | 7 | 21.2% | 2 | 2 | 0 | 0.0% | 2 | 1 | 1 | 50.0% |
| Rožaje | 50 | 47 | 3 | 6.0% | 50 | 49 | 1 | 2.0% | 4 | 4 | 0 | 0.0% | 4 | 3 | 1 | 25.0% |
| Berane | 150 | 139 | 11 | 7.3% | 150 | 149 | 1 | 0.7% | 14 | 7 | 7 | 50.0% | 14 | 3 | 11 | 78.6% |
| Ulcinj | 356 | 203 | 153 | 43.0% | 355 | 304 | 51 | 14.4% | 57 | 37 | 20 | 35.1% | 61 | 27 | 34 | 55.7% |
| Bar | 518 | 469 | 49 | 9.5% | 516 | 421 | 95 | 18.4% | 28 | 22 | 6 | 21.4% | 44 | 18 | 26 | 59.1% |
| Šavnik | 10 | 9 | 1 | 10.0% | 10 | 10 | 0 | 0.0% | 12 | 12 | 0 | 0.0% | 12 | 8 | 4 | 33.3% |
| Plav, Gusinje | 76 | 74 | 2 | 2.6% | 76 | 70 | 6 | 7.9% | 6 | 5 | 1 | 16.7% | 6 | 3 | 3 | 50.0% |
| Pljevlja | 50 | 42 | 8 | 16.0% | 50 | 50 | 0 | 0.0% | 5 | 4 | 1 | 20.0% | 6 |  | 6 | 100.0% |
| Mojkovac | 62 | 60 | 2 | 3.2% | 62 | 62 | 0 | 0.0% | 4 | 4 | 0 | 0.0% | 4 | 2 | 2 | 50.0% |
| Tivat | 476 | 417 | 59 | 12.4% | 477 | 420 | 57 | 11.9% | 8 | 4 | 4 | 50.0% | 7 | 4 | 3 | 42.9% |
| Budva | 802 | 731 | 71 | 8.9% | 802 | 728 | 74 | 9.2% | 124 | 103 | 21 | 16.9% | 124 | 25 | 99 | 79.8% |
| Herceg Novi | 378 | 358 | 20 | 5.3% | 381 | 352 | 29 | 7.6% | 53 | 48 | 5 | 9.4% | 53 | 6 | 47 | 88.7% |
| Kotor | 345 | 312 | 33 | 9.6% | 351 | 321 | 30 | 8.5% | 29 | 21 | 8 | 27.6% | 30 | 5 | 25 | 83.3% |
| Kolašin | 38 | 38 |  | 0.0% | 38 | 38 | 0 | 0.0% | 8 | 7 | 1 | 12.5% | 45 | 42 | 3 | 6.7% |
| Žabljak | 16 | 15 | 1 | 6.3% | 16 | 14 | 2 | 12.5% | 2 | 2 |  | 0.0% | 2 | 1 | 1 | 50.0% |
| RWSSMC | 134 | 132 | 2 | 1.5% | 134 | 134 | 0 | 0.0% | 21 | 21 | 0 | 0.0% | 21 | 17 | 4 | 19.0% |
| TOTAL | 5,274 | 4,798 | 476 | 9.0% | 5,263 | 4,884 | 379 | 7.2% | 486 | 403 | 83 | 17.1% | 568 | 218 | 350 | 61.6% |

### Principle requirements related to drinking water supply

The most relevant EU directives related to drinking water supply of population and other users are the following:

- Directive 2000/60/EC (Water Framework Directive - WFD)

- Council Directives 98/83/EC, 2015/1787 (Drinking water)

- Directive 2006/118/EC (Ground waters)

Relevant major national legislation and strategies related for provision of drinking water supply services are the following:

- Law on waters (OG RMNE 027/07, and OG MNE 073/10, 032/11, 047/11, 048/15, 052/16, 055/16, 002/17, 080/17, 084/18);

- Law on financing of water management (OG 65/08, 74/10 and 40/11 )

- Law on local self-government

- Law on communal services (55/2016)

- Water Management Strategy, 2016

- Long-term Strategy for Drinking Water Supply of Montenegro till 2041, 2016

- Rulebook on specific safety requirements that must be met by drinking water (OG 24/2012)

The main objective of the DWD is to protect human health from the adverse effects of any contamination of water intended for human consumption by ensuring that it is wholesome and clean.

Wholesome and clean means:

- Free from any micro-organisms and harmful substances

- Meets the minimum requirements set out in Annex I, Parts A and B

Point of compliance:

- Tap - for water supplied from a distribution network

- Point at which it emerges from the tanker

- Point at which the water is put into the bottles or containers for sale

- Point where the water is used in food-production.

Monitoring requirements:

- Regular monitoring of water quality

- Appropriate monitoring programs (representative samples, effective chlorination, free from DBP)

- Sampling points shall be determined in accordance with Annex II of the DWD

- Specifications for the analyses of parameters in accordance with Annex III of the DWD.

The following table (Table 4.18) presents main requirements in terms of requested frequency for monitoring/analysing certain groups of parameters.

Table 4.18 – Monitoring frequency requirements of the DWD

| Volume of water distributed or produced each day within the supply zone (assumed unit domestic consumption of 200 lcd) |  | Group A parameters number of samples per year | Group B parameters number of samples per year |
| --- | --- | --- | --- |
|  | ≤ 100 | > 0 | > 0 |
| > 100 | ≤ 1 000 | 4 | 1 |
| > 1 000 | ≤ 10 000 | 4 +3 for each 1 000 m3/d and part thereof of the total volume | 1 +1 for each 4 500 m3/d and part thereof of the total volume |
| > 10 000 | ≤ 100 000 |  | 3 +1 for each 10 000 m3/d and part thereof of the total volume |
| >100 000 |  |  | 12 +1 for each 25 000 m3/d and part thereof of the total volume |

### Protected areas – drinking water supply sources

Article 4 of the Water Framework Directive requires Member States to achieve compliance with any standards and objectives set for each protected area (by 22 December 2015), unless otherwise specified in the Community legislation under which the protected area was established. Where a protected area also has a surface water or groundwater objective the most stringent objective applies. Article 6 of the WFD requires Member States to establish a register of Protected Areas. The types of Protected Areas that must be included in the register are:

- areas designated for the abstraction of water for human consumption – which is highly relevant for this assessment and fully transposed in the Law on Waters;

- areas designated for the protection of economically significant aquatic species;

- bodies of water designated as recreational waters, including areas designated as Bathing Waters;

- nutrient-sensitive areas, including areas identified as Polluted Waters under the Nitrates Directive or areas designated as sensitive under Urban Waste Water Treatment Directive (UWWTD);

- areas designated for the protection of habitats or species where the maintenance or improvement of the status of water is an important factor in their protection including relevant Natura 2000 sites.

With regard to water intended for abstraction of drinking water, Article 7 of the WFD stipulates the following:

- Member States shall identify, within each river basin district:

- all bodies of water used for the abstraction of water intended for human consumption providing more than 10 m3 a day as an average or serving more than 50 persons, and those bodies of water intended for such future use.

- Member States shall monitor, in accordance with Annex V (of the WFD), those bodies of water which according to Annex V, provide more than 100 m3 a day as an average.

- For each body of water identified under paragraph 1, in addition to meeting the objectives of Article 4 in accordance with the requirements of this Directive, for surface water bodies including the quality standards established at Community level under Article 16, Member States shall ensure that under the water treatment regime applied, and in accordance with Community legislation, the resulting water will meet the requirements of Directive 80/778/EEC as amended by Directive 98/83/EC.

- Member States shall ensure the necessary protection for the bodies of water identified with the aim of avoiding deterioration in their quality in order to reduce the level of purification treatment required in the production of drinking water. Member States may establish safeguard zones for those bodies of water.

Major water sources intended for drinking water supply purposes are listed in the Decision on drinking water sources for regional and municipal supply, OG MNE, No. 36/08. The Rulebook on delineation and maintenance of drinking water supply protected zones, OG MNE, No. 66/09, prescribes definition/delineation of drinking water supply protected areas and restriction related to these zones.

### Conclusions regarding drinking water supply services

This section summarizes the main conclusion regarding the current status of drinking water supply services/systems in Montenegro also with reference to the requirements set out in the relevant EU directive and corresponding national legislation.

- Service coverage – with public, centralised  drinking water supply is currently around 85.6% which could be further improved;

- There are significant regional differences in service coverage and level of services;

- Common for all communal water supply systems – very inefficient use of water resources and inefficient systems (high NRW rates) effecting in higher O&M costs and inadequate level of services

- WQ: of monitored systems 10% samples do not comply in terms of physicochemical and 7% for microbiological parameters. The overall WQ incompliance is around 15% - WQ compliance should normally be close to 100%

- Critical WQ parameters: turbidity, nitrites, residual chlorine, micro-biology, etc.

- Set of measures to improve WQ status shall be proposed (sources, treatment) but in order to ensure sustainability of the overall operation it is strongly recommended to also introduce complementary measures to improve water use efficiency, optimisation of costs and rehabilitation of critical parts of WS systems

- Protected zones: Table 4.15 summarizes drinking water sources, as defined in the aforesaid Decision on drinking water sources for regional and municipal supply and their status regarding the information available and status of their respective protected zones (sanitary protected zone) in relation to the Rulebook on delineation and maintenance of drinking water supply protected zones

- Based on the overview of protected zones, around 55% of abstracted water for public water supply comes from sources with established source protected zones. In terms of numbers, this statistics is less favourable, for only around 37% of water sources (in numbers) adequate protected zone has been established. Out of 87 water sources registered for regional and communal water supply for 70 locations relevant key information was available.

- Since drinking water supply services are de facto integrated with provision of wastewater (collection and treatment) services and almost exclusively managed and operated by a single operator/water utility company, while services are provided to the same group of users. This reports details current status and infrastructure requirements for the urban wastewater management sector, while this section presents major characteristics and status of drinking water supply services. It is therefore recommended to build on the results of this study and to arrange preparation of a complementary comprehensive study focusing on drinking water supply. The results of the aforesaid comprehensive water supply covering entire Project Area should then be combined and harmonised with the report, especially with regard to the overall costs and sustainability of water services (water and wastewater) and affordability of services to end users.

- In order to ensure timely and optimal implementation of the related EU Drinking Water Directive and relevant national legislation on drinking water supply it is also recommended to arrange for preparation of a corresponding  Directive-specific Implementation Plan.

# Projections

## Population projection

This section presents the projections of general importance for this report. These projections include:

- Population projection

- GDP projection

- Tourism projections

The bases for the population projection were the following:

- Latest available census data, as per the census conducted in 2011

- Latest estimate of number of population per administrative units and regions, as published by the Statistical Office of Montenegro (MONSTAT) till 2017

- Competent population projections prepared at the national and regional levels; Population Projections till 2061 with structural analysis of population of Montenegro, MONSTAT, 2014

Based on the results of two recent censuses, the total population of the considered Project Area (territory of Montenegro) was:

- In 2003 – 620,145

- In 2011 – 620,029

Furthermore, according to the latest estimate, the number of population is 622,373 (mid 2017).

In 2014 the Statistical Office of Montenegro issued the “Population Projections till 2060 with structural analysis of population of Montenegro” presenting the projected number of population by five-year age groups and sex for the whole of Montenegro, and major regions including Northern, Central and Coastal.

It is noted that in accordance with 2011 census methodology the population of Montenegro includes persons normally and permanently residing in Montenegro.

The base population, i.e. the number and age-sex structure of population has been estimated in the initial year of the projection interval on the basis of data from the 2011 Census of Population, Households and Dwellings. Demographic projections for the country and regions till 2060 have been produced in seven variants: low, medium, high and constant fertility, constant mortality, constant fertility-mortality variant and zero net migration variant.

Population projections for Montenegro for the period 2011-2060 have been produced using the analytical method (cohort-component method), along with the so-called decomposed method. The analytical method of population projections suggests that the hypotheses refer to future modifications in determining components of population changes, i.e. fertility, mortality and migration, by age and sex.

Since the decomposed method has been used, the hypotheses have been laid down for the regions (Northern Region, Central Region, Coastal Region), so that the projected population of the country represents the sum of the projections of the population of its constituting parts. The average estimated population by age and sex has been taken as the base population.

The projections have been produced in seven variants: low, medium, high, and constant fertility, constant mortality variant, constant fertility-mortality and zero net migration variant. The first four variants have the same combination of hypotheses on mortality and migration, but differ in relation to the adopted fertility rate. The fifth variant assumes constant mortality by age and sex, while the assumptions regarding fertility and migrations are the same as for the medium fertility variant. The sixth, constant variant, assumes that fertility, mortality and migration balances by age and sex shall remain unchanged over the observed period. The seventh variant assumes the same fertility and mortality as the medium fertility variant, while migration balance is unchanged. All variants are set for 5-year intervals till 2060.

The assumptions on future trends that have been introduced are considered realistic with regard to possible future demographic indicators. The only exception is so-called “constant” variant (constant fertility/mortality/migrations) which has been introduced for comparison purposes, rather than realistic demographic scenario.

Detail explanation of the methodology applied and assumption taken is presented in the aforesaid publication. One of important conclusions of the Population Projections for Montenegro 2011-2060 is that as the most probable scenario for the long-term population projection in Montenegro is the medium fertility variant. The medium fertility variant assumes moderate increase of the total number of population within the observed period, till 2060, and it represents the second highest of the scenarios considered.

However, different major regions are expected to follow different growth trends; while Northern Region is expected to have negative growth rate/trend, Central Region and Coastal Region are expected to have moderately population growth. Different trends are also expected for individual LSGU-s.

This study also adopted the aforesaid medium-fertility population projection scenario because it shows the best match with the latest population estimates (2011-2017), it follows realistic differential growth rates per region, provides some, but not excessive reserve for potential increase of demand, and it is also assessed by the competent national institution as the most probable scenario. The following table and figure (Table 5.1 and Figure 5.1) show all considered demographic scenarios, included the adopted variant.

Table 5.1 - Population projection variants (MONSTAT, 2014)

| Scenario |  | 1991 | 2003 | 2011 | 2021 | 2031 | 2041 | 2051 | 2061 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Northern region | Low fertility | 218,592 | 194,879 | 177,837 | 161,052 | 149,588 | 140,713 | 133,395 | 128,076 |
|  | Medium fertility | 218,592 | 194,879 | 177,837 | 161,784 | 152,415 | 146,766 | 143,550 | 143,128 |
|  | High fertility | 218,592 | 194,879 | 177,837 | 162,391 | 154,614 | 151,495 | 151,751 | 155,756 |
|  | Constant fertility | 218,592 | 194,879 | 177,837 | 161,676 | 151,852 | 145,435 | 141,326 | 139,742 |
|  | Constant mortality | 218,592 | 194,879 | 177,837 | 160,518 | 148,121 | 138,235 | 131,077 | 126,975 |
|  | Constant | 218,592 | 194,879 | 177,837 | 149,186 | 120,375 | 92,923 | 70,424 | 51,210 |
|  | Nil migration balance | 218,592 | 194,879 | 177,837 | 178,975 | 181,208 | 181,655 | 180,707 | 180,328 |
| Central region | Low fertility | 261,756 | 279,419 | 293,509 | 307,605 | 316,439 | 321,215 | 324,668 | 329,046 |
|  | Medium fertility | 261,756 | 279,419 | 293,509 | 309,165 | 322,688 | 335,283 | 349,228 | 366,228 |
|  | High fertility | 261,756 | 279,419 | 293,509 | 310,454 | 327,534 | 346,248 | 368,966 | 397,186 |
|  | Constant fertility | 261,756 | 279,419 | 293,509 | 308,506 | 319,997 | 329,237 | 338,610 | 349,954 |
|  | Constant mortality | 261,756 | 279,419 | 293,509 | 307,624 | 316,741 | 322,635 | 328,314 | 334,836 |
|  | Constant | 261,756 | 279,419 | 293,509 | 306,542 | 312,453 | 311,635 | 306,968 | 299,331 |
|  | Nil migration balance | 261,756 | 279,419 | 293,509 | 301,598 | 305,164 | 304,774 | 302,417 | 299,194 |
| Coastal region | Low fertility | 134,687 | 145,847 | 148,683 | 153,216 | 155,424 | 156,207 | 157,778 | 161,781 |
|  | Medium fertility | 134,687 | 145,847 | 148,683 | 153,939 | 158,322 | 162,757 | 169,292 | 179,379 |
|  | High fertility | 134,687 | 145,847 | 148,683 | 154,538 | 160,570 | 167,864 | 178,545 | 194,021 |
|  | Constant fertility | 134,687 | 145,847 | 148,683 | 153,530 | 156,669 | 159,042 | 162,742 | 169,292 |
|  | Constant mortality | 134,687 | 145,847 | 148,683 | 153,278 | 155,820 | 157,548 | 160,749 | 166,410 |
|  | Constant | 134,687 | 145,847 | 148,683 | 149,342 | 145,479 | 137,710 | 128,363 | 118,429 |
|  | Nil migration balance | 134,687 | 145,847 | 148,683 | 150,281 | 149,320 | 145,980 | 142,121 | 138,790 |
| Total | Low fertility | 615,035 | 620,145 | 620,029 | 621,873 | 621,451 | 618,135 | 615,841 | 618,903 |
|  | Medium fertility | 615,035 | 620,145 | 620,029 | 624,888 | 633,425 | 644,806 | 662,070 | 688,735 |
|  | High fertility | 615,035 | 620,145 | 620,029 | 627,383 | 642,718 | 665,607 | 699,262 | 746,963 |
|  | Constant fertility | 615,035 | 620,145 | 620,029 | 623,712 | 628,518 | 633,714 | 642,678 | 658,988 |
|  | Constant mortality | 615,035 | 620,145 | 620,029 | 621,420 | 620,682 | 618,418 | 620,140 | 628,221 |
|  | Constant | 615,035 | 620,145 | 620,029 | 605,070 | 578,307 | 542,268 | 505,755 | 468,970 |
|  | Nil migration balance | 615,035 | 620,145 | 620,029 | 630,854 | 635,692 | 632,409 | 625,245 | 618,312 |
| Annual rate (medium fertility) |  |  | 0.069% | -0.002% | 0.078% | 0.136% | 0.178% | 0.265% | 0.396% |

Figure 5.1 - Population projection variants

## GDP forecast

The outline GDP projection is included here (more details presented in the financial/affordability part) because it has a direct impact on some of the projections in the following sections.

Macroeconomic projections for the period 2017‐2022 predict real GDP growth as follows: 3,3% in 2017; 3,4% in 2018; 2,7% in 2019; 2,4% in 2020; 3.0% in 2021 and 3,1% in 2022 (Table 5.2). In the period 2017–2022 national economy is expected to grow due to a rise in investment activities and engagement of domestic potentials, primarily in the construction and transport sectors, but also due to knock-on effects in the related sectors. Strong contribution to the construction sector will be boosted by the engagement of the domestic workforce in the construction of infrastructure, tourist facilities and power plants. In the operational stage of these projects, significant growth of the economic potential is expected, as well as knock-on effects for the entire economy. Some contribution is expected from the agricultural sector, due to significant investment. The effects will be visible through a lowering of food imports and an increase in food exports. The average projected GDP growth rate for the period 2017‐2022 is 3,2%, which is above the potential GDP growth rate (2,9%).

Economic prospects in the emerging and developing Europe are relatively favourable, except for Turkey. For the group as a whole, the growth was projected to remain at 3.0% in 2017 and strengthen to 3.3% in 2018. In Turkey, after a sharp slowdown in growth in the third quarter of 2016, a modest acceleration in activity is projected, with growth reaching 2.5% in 2017 based on stronger net exports and a moderate fiscal stimulus. The outlook is clouded by heightened political uncertainty, security concerns, and the rising burden of foreign-exchange-denominated debt caused by the lira depreciation. Growth in the rest of the region is expected to pick up after a temporary slowdown, as rising wages in some countries support strong domestic consumption growth.

Table 5.2 - Emerging and Developing Europe – real GDP projection (% change, 2015-2022)

| Country | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Albania | 2,6 | 3,4 | 3,7 | 4,1 | 4,1 | 4,1 | 4,1 | 4,1 |
| Bosnia and Herzegovina | 3,1 | 2,5 | 3,0 | 3,5 | 3,8 | 3,9 | 4,0 | 4,0 |
| Bulgaria | 3,6 | 3,4 | 2,9 | 2,7 | 2,5 | 2,5 | 2,5 | 2,5 |
| Croatia | 1,6 | 2,9 | 2,9 | 2,6 | 2,5 | 2,3 | 2,2 | 2,1 |
| Hungary | 3,1 | 2,0 | 2,9 | 3,0 | 2,6 | 2,4 | 2,2 | 2,2 |
| FYR Macedonia | 3,8 | 2,4 | 3,2 | 3,4 | 3,6 | 3,8 | 3,8 | 3,8 |
| Montenegro | 3,4 | 2,4 | 3,3 | 3,4 | 2,7 | 2,4 | 3,0 | 3,1 |
| Romania | 3,9 | 4,8 | 4,2 | 3,4 | 3,3 | 3,3 | 3,3 | 3,3 |
| Serbia | 0,8 | 2,8 | 3,0 | 3,5 | 3,5 | 4,0 | 4,0 | 4,0 |
| Turkey | 6,1 | 2,9 | 2,5 | 3,3 | 3,4 | 3,8 | 3,8 | 3,4 |

Source: International Monetary Fund, World Economic Outlook Database, April 2017

## Tourism - projections

Apart from the permanent population, tourists represent another group of users of key importance for normal planning and operation of communal utility systems, in particular water, wastewater and solid waste. It is of particular importance for the designated tourist areas, along the cost, but also in the inland part of the country. With regard to the actual tourist numbers, loadings and demand, the first, basic reference was made to the annual reports published by MONSTAT presenting both annual and monthly tourist visits and overnights, as well as other tourism-related statistics.

The following table and figure (Table 5.3 and Figure 5.2) show registered accommodation capacities in Montenegro, including collective (hotels, resorts, hostels, etc.) and individual (privately owned apartments and rooms for rent) for the period 2012-2016. Within the observed period the average annual growth rate of the total accommodation capacities was around 0.5%. This statistics obviously relates to the registered capacities only. It is well known that apart from these registered capacities, significant number of visitors along the coast reside in other private apartments, weekend houses and similar. This segment shall be taken into account through the registered number of permanently occupied and other dwellings which are used only seasonally, the data also available from the MONSTAT statistical yearbook.

Table 5.3 – Tourist accommodation capacities 2012-16

| Type of accommodation | 2012 | 2013 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- |
| Collective | 43,188 | 41,927 | 40,700 | 40,960 | 43,445 |
| Individual | 120,781 | 121,222 | 118,647 | 123,044 | 123,397 |
| Total | 163,969 | 163,149 | 159,347 | 164,004 | 166,842 |
| Annual growth (%) | - | -0.50% | -2.33% | 2.92% | 1.73% |

Figure 5.2 – Registered tourist accommodation 2012-16

With regard to registered tourist visits and overnight stays, both annual and monthly statistics are available, as shown in the following figures. The total, annual number of overnight stays increased by 5.9% annually (on average) between 2010 and 2016.

Figure 5.3 – Registered annual number of tourist overnight stays 2010-16

While the total annual number of tourist overnight stays showed continual growth over the observed period, maximum monthly/seasonal number of overnights (regularly recorded in August) increased, but at much lower rate, likely because of limited available accommodation and infrastructural capacities. The ratio between the monthly peak and total annual overnights dropped from around 40% (in 2010) to around 36% in 2016. This trend is more favourable for normal operation of all needed communal infrastructural systems struggle to meet very pronounced seasonal demands.

Figure 5.4 – Registered monthly number of tourist overnight stays 2012-16

Figure 5.5 – Max monthly/seasonal tourist overnight stays 2010-16

The following table (Table 5.4 – Current and projected maximal seasonal tourist occupancy) shows the total registered tourist accommodation capacity per municipality, and maximum registered number of tourist visits, per municipality till 2016. Projection of future tourism development, with regard to the available accommodation capacity is presented in the national Tourism Development Strategy 2008 – 2020 (MSDT, 2008). In accordance with this projection the number of beds in collective accommodation should increase from around 40,000 in 2008 to around 125,000 in 2020. However, the actual registered number of tourist beds only reached around 43,000 in 2016 (Figure 5.3) which indicates that the projection included in the Strategy is very much overestimated.

It is therefore considered much more realistic to adopt the latest MONSTAT data as a baseline, and then to follow a progressive, but realistic growth trends. The following table presents proposed realistic projection of tourist accommodation (variable per municipality, 1.8% annually for the entire country) which enables extensive tourism development in a long run. Apart from the total number of tourist beds, the projection also allows for an increase in maximum occupancy rates which contributes to forecasted maximum number of tourists (and respective water demand/loadings).

Table 5.4 – Current and projected maximal seasonal tourist occupancy

| Municipality | Max. daily occupancy till end of 2016 | Accommodation capacity - total (beds) - 2016 | Maximum occupancy (%) | Average growth rate forecast (%) | Total number of tourist beds |  |  | Maximum occupancy rate (%) |  |  | Maximum occupancy (#) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 2021 | 2031 | 2041 | 2021 | 2031 | 2041 | 2021 | 2031 | 2041 |
| Andrijevica | 4 | 141 | 2.9% | 2.0% | 159 | 194 | 236 | 20% | 40% | 60% | 32 | 77 | 142 |
| Bar | 17,414 | 20,292 | 85.8% | 3.5% | 24,944 | 35,186 | 49,633 | 90% | 93% | 95% | 22,450 | 32,547 | 47,152 |
| Berane | 14 | 90 | 15.1% | 1.0% | 96 | 106 | 117 | 20% | 40% | 60% | 19 | 42 | 70 |
| Bijelo Polje | 67 | 289 | 23.2% | 1.0% | 307 | 339 | 374 | 30% | 50% | 70% | 92 | 169 | 262 |
| Budva | 61,319 | 58,214 | 100.0% | 2.0% | 65,558 | 79,915 | 97,416 | 100% | 100% | 100% | 65,558 | 79,915 | 97,416 |
| Cetinje | 229 | 497 | 46.0% | 1.5% | 543 | 631 | 732 | 60% | 70% | 80% | 326 | 441 | 586 |
| Danilovgrad | 14 | 50 | 27.9% | 1.0% | 53 | 59 | 65 | 40% | 60% | 80% | 21 | 35 | 52 |
| Herceg Novi | 27,357 | 33,245 | 82.3% | 1.5% | 36,352 | 42,187 | 48,960 | 90% | 93% | 95% | 32,716 | 39,023 | 46,512 |
| Kolašin | 294 | 1,055 | 27.9% | 3.0% | 1,260 | 1,693 | 2,275 | 40% | 65% | 90% | 504 | 1,100 | 2,048 |
| Kotor | 5,722 | 13,146 | 43.5% | 1.0% | 13,955 | 15,415 | 17,027 | 60% | 70% | 80% | 8,373 | 10,790 | 13,622 |
| Mojkovac | 21 | 91 | 22.9% | 1.0% | 97 | 107 | 118 | 30% | 50% | 70% | 29 | 53 | 83 |
| Nikšić | 139 | 383 | 36.2% | 1.0% | 407 | 449 | 496 | 40% | 60% | 80% | 163 | 269 | 397 |
| Plav | 36 | 154 | 23.2% | 3.0% | 184 | 247 | 332 | 40% | 60% | 80% | 74 | 148 | 266 |
| Pljevlja | 93 | 403 | 23.1% | 1.0% | 428 | 473 | 522 | 40% | 60% | 80% | 171 | 284 | 418 |
| Plužine | 109 | 646 | 16.9% | 1.0% | 686 | 757 | 837 | 30% | 50% | 70% | 206 | 379 | 586 |
| Podgorica | 761 | 2,759 | 27.6% | 1.0% | 2,929 | 3,235 | 3,574 | 40% | 60% | 80% | 1,171 | 1,941 | 2,859 |
| Rožaje | 19 | 180 | 10.8% | 1.0% | 191 | 211 | 233 | 20% | 40% | 60% | 38 | 84 | 140 |
| Šavnik | 6 | 66 | 8.8% | 1.0% | 70 | 77 | 85 | 20% | 40% | 60% | 14 | 31 | 51 |
| Tivat | 7,367 | 8,282 | 89.0% | 2.5% | 9,605 | 12,295 | 15,738 | 90% | 93% | 95% | 8,644 | 11,434 | 14,951 |
| Ulcinj | 17,446 | 25,013 | 69.7% | 2.5% | 29,007 | 37,132 | 47,532 | 80% | 85% | 90% | 23,206 | 31,562 | 42,779 |
| Žabljak | 751 | 1,618 | 46.4% | 2.5% | 1,876 | 2,402 | 3,075 | 60% | 75% | 90% | 1,126 | 1,801 | 2,767 |
| Total | 139,181 | 166,614 | 83.5% | 2.1% | 188,705 | 233,109 | 289,378 | 87% | 91% | 94% | 164,933 | 212,130 | 273,156 |

## Wastewater and pollutant loading projections

### Agglomeration delineation

Very important step in planning development of wastewater infrastructure is determination of the scope/coverage of the national territory that is going to be considered for provision of urban wastewater collection and treatment services. Specifically for that purpose, based on the proposal by the MoSDT the Rulebook on number, geographical boundaries and capacity of agglomerations was passed in 2017 (OG MNE, 078/17). This rulebook includes the list of agglomerations, settlements within each agglomeration, their current population and estimated wastewater pollutant loadings expressed in PE.

While the Rulebook on agglomerations is used as a baseline document in this study it was considered necessary as a part of this assignment to verify basic principles related to agglomerations with respect to the UWWTD. One of the key definitions in the UWWTD specifies an agglomeration as”...agglomeration is an area where the population and/or economic activities are sufficiently concentrated for urban wastewater to be collected and conducted to an urban waste water treatment plant or to a final discharge point...”. Given strategic importance and very substantial long-term implications of this study the agglomerations/settlements defined in the Rulebook on agglomerations have been tested with regard to this principle.

As outlined earlier, through the assistance of the MoSDT the latest aerial images were made available to the consultant which proved to be very useful for the aforesaid verification. At the same time Europe-wide CORINE 2012 land cover information is also available.

The settlements and agglomerations defined in the Rulebook were each individually checked by using the GIS-based software in order to verify if they satisfy the aforesaid principle. Main conclusion of this analysis is that in vast majority of cases the principle appears to be adhered to. Some smaller, or still insufficiently developed settlements (for instance with prospective tourism development) could be considered as (at present) not fulfilling the basic assumption related to agglomeration definition (for instance the Municipality of Petnjica, small settlements on Luštica peninsula: Rose, Žanjice, Bigovo, and alike). It is therefore suggested to reconsider all smaller agglomerations (of around 2,000PE) through more detail municipality-specific studies and periodically update the assessment of their pollutant loading in order to define if they have been become eligible as agglomerations with respect to the UWWTD. In accordance with the proposed implementation schedule these small agglomerations are to be provided with wastewater services only after 2033 and therefore the final decision regarding implementation of the UWWTYD can be made after 2030.

Based on this analysis it is suggested to introduce some additional modifications in the national agglomeration list:

- It is suggested that the municipalities of Tivat and Kotor should be considered as two separate agglomerations rather than a single one; because their concentrated populated urban areas are geographically clearly detached, and there is no benefit in considering them a single agglomeration. Wastewater collected in each municipality would be still treated at the same WWTP (Tivat-Kotor). This concept would fully incorporate the UWTD requirement, make future monitoring and reporting far more convenient and would also enable more efficient and straightforward management and operation of this inter-municipal wastewater scheme.

- The same applies for the municipalities of Gusinje and Plav. It is suggested that these municipalities should be treated as separate agglomerations, while they could use the same WWTP (subject to adequate, comprehensive option analysis) for the same reasons.

Modified, adjusted list of agglomerations in the Project area incorporating Kotor, Tivat, Gusinje and Plav as separate agglomerations is presented in the following table (Table 5.5). Table 5.5 also shows the estimate of current population numbers in each agglomeration (around 500 thousand in total), as well as the forecast of future, long-term wastewater pollutant loading (around 975 thousand PE). Based on these loadings tourism-oriented agglomerations (mostly in the Coastal region) can be easily distinguished by the very significant contribution of non-domestic (tourism-related) pollutant loadings.

Table 5.5 – Agglomerations defined in the Rulebook (Act) Agglomeration Act, optimised

| Region | Mun. No | Municipality | Agg. No. | Agglomeration | Settlements in agglomeration | Agg. type by size | Agg. type by sens. | Current population estimate | Estimated long-term WW pollutant loading (PE) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| North | 1 | Andrijevica | 1 | Andrijevica 1 | Andrijevica, Božići, Prisoja, Seoca, Slatina, Trešnjevo, Zabrđe | 5 | N | 2,613 | 3,000 |
| North | 2 | Berane | 2 | Berane 1 | Berane, Beran Selo, Buče, Dolac, Donje Luge, Lužac, Pešca, Budimlja | 3 | Y | 20,757 | 27,000 |
| North | 3 | Bijelo Polje | 3 | Bijelo Polje 1 | Babića Brijeg, Centar Grada, Ćukovac, Gornji dio grada, Kruševo, Lipnica, Lješnica, Medanovići, Nedakusi, Nikoljac, Obrov, Potkrajci, Pripčići, Pruška, Rakonje, Rasovo, Resnik, Strojtanica, Loznica | 3 | Y | 22,910 | 30,000 |
| North | 4 | Gusinje | 4 | Gusinje 1 | Dosuđe, Gusinje, Martinovići, Kruševo | 5 | N | 2,684 | 4,000 |
| North | 5 | Kolašin | 5 | Kolašin 1 | Babljak, Bakovići, Breza, Drijenak, Dulovine, Kolašin, Radigojno, Smailagića polje | 5 | N | 4,375 | 7,000 |
| North | 6 | Mojkovac | 6 | Mojkovac 1 | Mojkovac, Podbišće, Polja, Tutići | 5 | N | 5,022 | 5,250 |
| North | 7 | Petnjica | 7 | Petnjica 1 | Petnjica, Lagatori, Radmanci | 6 | N | 1,261 | 1,200 |
| North | 8 | Plav | 8 | Plav - 1 | Bogajići, Brezojevica, Vojno selo, Meteh, Plav, Prnjavor, Skić | 5 | N | 6,917 | 10,000 |
| North | 9 | Pljevlja | 9 | Pljevlja 1 | Pljevlja, Komine, Židovići | 3 | Y | 17,372 | 28,000 |
| North | 10 | Plužine | 10 | Plužine 1 | Plužine | 6 | N | 1,123 | 1,500 |
| North | 11 | Rožaje | 11 | Rožaje 1 | Ibarac, Koljeno, Rožaje | 3 | Y | 13,720 | 20,000 |
| North | 12 | Šavnik | 12 | Šavnik 1 | Šavnik | 6 | N | 389 | 500 |
| North | 13 | Žabljak | 13 | Žabljak 1 | Žabljak | 5 | N | 1,545 | 4,500 |
| Central | 14 | Cetinje | 14 | Cetinje 1 | Cetinje, Bajice | 3 | Y | 13,942 | 20,000 |
| Central | 15 | Danilovgrad | 15 | Danilovgrad 1 | Danilovgrad, Orja Luka (Pažići, Grlić) | 5 | N | 5,602 | 7,000 |
| Central | 15 | Danilovgrad | 16 | Danilovgrad 2 | Spuž | 6 | N | 1,678 | 3,500 |
| Central | 16 | Nikšić | 17 | Nikšić 1 | Nikšić, Ozrinići | 2 | Y | 57,450 | 90,000 |
| Central | 17 | Podgorica | 18 | Podgorica 1 | Podgorica, Botun, Srpska | 1 | Y | 164,367 | 240,000 |
| Central | 17 | Podgorica | 19 | Golubovci 1 | Ljajkovići, Mitrovići, Golubovci, Mojanovići, Mahala, Goričani, Šušunja, Balabani, Gostilj, Berislavci, Mataguži | 3 | Y | 14,584 | 20,000 |
| Central | 17 | Podgorica | 20 | Tuzi 1 | Tuzi, Gornji Milješ, Donji Milješ, Vuksanlekići | 5 | N | 6,754 | 9,000 |
| Coastal | 18 | Bar | 21 | Bar 1 | Đurmani, Mišići, Zgrade, Papani, Brca, Čanj, Zagrađe (Bjelila), Sutomore(Haj Nehaj, Mirošica 1, Mirošica 2, Ratac, Staro Sutomore, Zelen), Đenđinovići (Rutke), Zankovići (Gorelac) i Miljevci (Pobrđe) | 3 | N | 5,085 | 30,000 |
| Coastal | 18 | Bar | 22 | Bar 2 | Šušanj (Glavanovići, Gromanići, Paladini, Perajkovići, Vitići,Zeleni pojas), Zupci, Sustaš (Mandarinići, Podsustaš), Bar (Ilino, Makedonsko, Sokolana, Topolica, Žukotrlica), Bjeliši, Polja (Murvice Kopljeva), Burtaiši (Ahmetov brijeg, Donji Marovići, Gornji Bjeliši, Popovići, Rena, Ronkula), Velembusi, (Biskupada, Gornji Marovići), Čeluga (Donja Čeluga, Gornja Čeluga),Stari Bar (Baukovo, Belveder, Brbot, Gornja Rena, Gretva,Podgrad), Tomba(Donja Tomba, Gornja Tomba), Bartula, Zaljevo (Donje Zaljevo, Gornje Zaljevo) | 2 | N | 32,413 | 70,000 |
| Coastal | 18 | Bar | 23 | Bar 3 | Dobra Voda (Nišice), Pečurice, Bištine i Dubrava | 5 | N | 1,721 | 3,000 |
| Coastal | 18 | Bar | 24 | Bar 4 | Kunje (Bušat, Komina) | 5 | N | 441 | 3,000 |
| Coastal | 19 | Budva | 25 | Budva 1 | Budva, Boreti, Bečići, Čučuke, Viti Do, Pržno, Sveti Stefan, Rađenovići, Drobnići, Rijeka Reževići, Krstac, Katun Reževići | 1 | Y | 17,066 | 108,000 |
| Coastal | 19 | Budva | 26 | Budva 2 | Petrovac na Moru, Novoselje, Kaluđerac, Buljarica | 4 | N | 2,059 | 15,000 |
| Coastal | 19 | Budva | 27 | Budva 3 | Prijevor-Jaz | 5 | N | 780 | 4,500 |
| Coastal | 20 | Herceg Novi | 28 | H.Novi 1 | Baošići, Bijela, Đenovići, Herceg Novi, Igalo, Jošice, Kumbor, Kuti, Meljine, Podi, Provodina, Sasovići, Sušćepan, Sutorina, Zelenika | 2 | Y | 28,740 | 69,000 |
| Coastal | 20 | Herceg Novi | 29 | H.Novi 2 | Luštica-Rose | 5 | N | 308 | 2,000 |
| Coastal | 20 | Herceg Novi | 30 | H.Novi 3 | Luštica-Žanjice | 5 | N | 23 | 2,000 |
| Coastal | 21 | Kotor | 31 | Kotor 1 | Dobrota, Donji Orahovac, Donji stoliv, Dražin Vrt, Kavač, Kotor, Muo, Perast, Prčanj, Radanovići, Risan, Škaljari | 3 | N | 19,017 | 31,000 |
| Coastal | 21 | Kotor | 32 | Kotor 2 | Bigova | 6 | N | 100 | 2,000 |
| Coastal | 21 | Kotor | 33 | Kotor 3 | Donji Morinj, Kostanjica | 5 | N | 349 | 2,700 |
| Coastal | 21 | Kotor | 34 | Kotor 4 | Lastva Grbaljska | 5 | N | 527 | 3,600 |
| Coastal | 22 | Tivat | 35 | Tivat 1 | Bogišići, Donja Lastva, Đuraševići, Gošići, Krašići, Lepetani, Mrčevac, Tivat | 3 | N | 13,738 | 31,000 |
| Coastal | 22 | Tivat | 36 | Tivat 2 | Milovići, Radovići | 5 | N | 577 | 3,600 |
| Coastal | 23 | Ulcinj | 37 | Ulcinj 1 | Bijela Gora, Bratica, Kodre, Ulcinj, Donji Štoj, Gornji Štoj | 2 | N | 13,247 | 65,000 |
| North |  | Sub-total |  |  |  |  |  | 100,688 | 141,950 |
| Central |  | Sub-total |  |  |  |  |  | 264,377 | 389,500 |
| Coastal |  | Sub-total |  |  |  |  |  | 136,190 | 445,400 |
|  |  | Gross total |  |  |  |  |  | 501,255 | 976,850 |

Taking into account the aforesaid anticipated geographical scope of wastewater services, the following table (Table 5.6) and figure (Figure 5.6) present the population projection figures, related only to the aforesaid settlements in the agglomerations (Table 5.5) included in the agglomerations.

Table 5.6 – Population projection per municipality (in agglomerations only)

| Region | No | Municipality | 2011 | 2015 | 2021 | 2031 | 2041 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| North | 1 | Andrijevica | 2,835 | 2,675 | 2,552 | 2,404 | 2,315 |
| North | 2 | Berane | 21,961 | 21,248 | 20,266 | 19,093 | 18,385 |
| North | 3 | Bijelo Polje | 24,418 | 23,451 | 22,368 | 21,073 | 20,292 |
| North | 4 | Gusinje | 2,846 | 2,747 | 2,620 | 2,468 | 2,377 |
| North | 5 | Kolašin | 4,880 | 4,478 | 4,271 | 4,024 | 3,875 |
| North | 6 | Mojkovac | 5,529 | 5,141 | 4,904 | 4,620 | 4,448 |
| North | 7 | Petnjica | 1,386 | 1,291 | 1,232 | 1,160 | 1,117 |
| North | 8 | Plav | 7,288 | 7,080 | 6,753 | 6,362 | 6,126 |
| North | 9 | Pljevlja | 19,772 | 18,373 | 17,525 | 16,510 | 15,898 |
| North | 10 | Plužine | 1,341 | 1,149 | 1,096 | 1,033 | 994 |
| North | 11 | Rožaje | 13,248 | 13,356 | 12,739 | 12,002 | 11,557 |
| North | 12 | Šavnik | 472 | 399 | 380 | 358 | 345 |
| North | 13 | Žabljak | 1,723 | 1,582 | 1,509 | 1,421 | 1,369 |
| Central | 14 | Cetinje | 14,909 | 14,201 | 14,080 | 13,757 | 14,243 |
| Central | 15 | Danilovgrad | 7,359 | 7,311 | 7,248 | 7,082 | 7,332 |
| Central | 16 | Nikšić | 59,027 | 57,696 | 57,204 | 55,891 | 57,866 |
| Central | 17 | Podgorica | 172,359 | 181,267 | 190,144 | 204,896 | 213,241 |
| Coastal | 18 | Bar | 36,369 | 37,805 | 39,538 | 41,560 | 42,611 |
| Coastal | 19 | Budva | 18,197 | 19,458 | 20,350 | 21,391 | 21,932 |
| Coastal | 20 | Herceg Novi | 29,353 | 29,225 | 28,872 | 29,187 | 30,069 |
| Coastal | 21 | Kotor | 20,124 | 20,114 | 19,871 | 20,089 | 20,696 |
| Coastal | 22 | Tivat | 13,972 | 14,401 | 14,227 | 14,383 | 14,817 |
| Coastal | 23 | Ulcinj | 13,217 | 13,328 | 13,167 | 13,311 | 13,684 |
| North |  | Sub-total | 107,699 | 102,971 | 98,214 | 92,527 | 89,097 |
| Central |  | Sub-total | 253,654 | 260,476 | 268,677 | 281,626 | 292,683 |
| Coastal |  | Sub-total | 131,232 | 134,330 | 136,026 | 139,921 | 143,808 |
|  |  | Gross total | 492,585 | 497,777 | 502,918 | 514,074 | 525,589 |

Figure 5.6 – Population projection – in delineated agglomerations

### Service coverage

Based on the proposed measures, the following figure (Figure 5.7) shows anticipated growth of service coverage, in population numbers and as a percentage of the population to be served (within the scope of the agglomerations). In a short term limited growth of connection rates is expected as a result of the ongoing wastewater projects/activities (Berane, Ulcinj, Pljevlja, Podgorica, Tivat, Kotor, Herceg Novi, Danilovgrad, etc.). The remaining project measures proposed in this report are to be implemented by 2035 (in the national Chapter 27 Negotiation Position 31/12/2035 is set as the deadline for full implementation of the UWWTD), which should result in very significant increase of the wastewater collection and treatment service coverage; to around 90% by 2031, and up to around 95% by 2035 and further to around 97% (realistic upper limit) after 2035. Therefore, the service coverage in numbers should increase from around 292 thousand to around 514 thousand, i.e. from 60% to around 97% of population in “eligible” settlements (within the delineated agglomerations).

Figure 5.7 – Wastewater collection & treatment service coverage (#)

Figure 5.8 – Wastewater collection & treatment service coverage (#)

### Wastewater pollutant loadings

This section presents the projection of expected wastewater pollutant loadings to be covered by wastewater collection and treatment, in close correlation with the demographic projection and the proposed technical measures related to urban wastewater management.

The following important constituents of the wastewater projections should be noted:

- Unit water consumption rates related to the technical measures (with the correction factor: wastewater generated/drinking water supplied => WW/WS  85%). However, wastewater discharged is invoiced based on water supply metered. Since it is very likely that this common practice shall be continued, the wastewater volumes presented in this report for the purpose of financial and tariff analysis are related to water supply metered.

- Non-domestic loading share (including institutional, industrial, commercial, etc., but excluding tourism-related demand and quantities) are based on the current loadings, as the baseline, while future projections are based on a correlation function (non-domestic loading as a function of agglomeration size) developed specifically for this study.

- Tourism projection (accommodation, occupancy rates, seasonal peak factors) based on the projection shown earlier

Besides, the wastewater projection also incorporates the following principles:

- By the end of the observed project period all legal entities, related to generation of non-domestic pollutant loading shall be connected to a corresponding wastewater system;

- The same applies for the existing and planned tourist accommodation.

- The average tourism-related pollutant loading were calculated based on the average occupancy rates, while the maximum seasonal loading is derived based on the maximum anticipated occupancy rates.

- Wastewater of “non-domestic” origin have features compatible, similar to typical urban wastewater, specifically in accordance with the national Regulation on wastewater discharges into public collection system or receiving water body. This effectively means that all industries discharging their wastewaters into public sewerage apply proper pre-treatment and ensure full compliance with the Regulation.

- Very moderate annual growth rate is predicted for non-domestic wastewater generation, not directly related to the tourism sector.

The following table (Table 5.7) summarizes calculated typical total wastewater pollutant loadings for Montenegro:

- Normal, average wastewater pollutant loadings (based on the anticipated connection rates)

- Maximal seasonal pollutant loadings (projected, based on forecasted connection rates)

- Maximal seasonal pollutant loadings (generated, assuming full service coverage in all agglomerations)

Table 5.7 – Projection of typical wastewater pollutant loadings (thousand PE)

| Type of loading | 2018 | 2021 | 2031 | 2041 |
| --- | --- | --- | --- | --- |
| Domestic - permanent population | 292 | 348 | 469 | 515 |
| Non-domestic | 75 | 85 | 120 | 137 |
| Tourism-related | 31 | 32 | 53 | 77 |
| Total projected average WW pollutant loading | 398 | 466 | 642 | 729 |
| Tourism-related maximum seasonal loading | 139 | 165 | 212 | 273 |
| Projected maximum seasonal pollutant loading (based on projected connection rates) | 506 | 598 | 801 | 925 |

The following table (Table 5.8) shows projected total eligible pollutant loadings (generated, assuming full service coverage) as well as the multi-annual maximums per agglomeration.

Table 5.8 – Projection of max. seasonal WW pollutant loading per agglomeration (103 PE)

| Region | Mun. No | Municipality | Agg. No. | Agglomeration | Total poll. load. (PE) in agglomeration |  |  |  | MAX eligible poll. load (PE) in aggl. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 2016 | 2021 | 2031 | 2041 | MAX |
| North | 1 | Andrijevica | 1 | Andrijevica 1 | 1.0 | 1.2 | 2.6 | 2.7 | 3.0 |
| North | 2 | Berane | 2 | Berane 1 | 12.3 | 18.8 | 21.3 | 22.1 | 23.0 |
| North | 3 | Bijelo Polje | 3 | Bijelo Polje 1 | 10.4 | 12.3 | 23.5 | 24.4 | 25.0 |
| North | 4 | Gusinje | 4 | Gusinje 1 | 3.3 | 3.2 | 3.4 | 3.5 | 4.0 |
| North | 5 | Kolašin | 5 | Kolašin 1 | 1.6 | 2.3 | 5.4 | 6.5 | 7.0 |
| North | 6 | Mojkovac | 6 | Mojkovac 1 | 3.5 | 3.5 | 5.0 | 5.2 | 5.2 |
| North | 7 | Petnjica | 7 | Petnjica 1 | 0.0 | 0.3 | 1.2 | 1.3 | 2.0 |
| North | 8 | Plav | 8 | Plav - 1 | 7.7 | 8.4 | 8.9 | 9.3 | 10.0 |
| North | 9 | Pljevlja | 9 | Pljevlja 1 | 23.1 | 20.8 | 19.6 | 18.8 | 21.0 |
| North | 10 | Plužine | 10 | Plužine 1 | 1.5 | 1.2 | 1.2 | 1.1 | 1.1 |
| North | 11 | Rožaje | 11 | Rožaje 1 | 12.0 | 14.7 | 16.6 | 19.0 | 20.0 |
| North | 12 | Šavnik | 12 | Šavnik 1 | 0.3 | 0.3 | 0.3 | 0.4 | 1.0 |
| North | 13 | Žabljak | 13 | Žabljak 1 | 2.0 | 3.1 | 3.3 | 4.3 | 4.5 |
| Central | 14 | Cetinje | 14 | Cetinje 1 | 7.5 | 10.1 | 15.0 | 16.8 | 17.0 |
| Central | 15 | Danilovgrad | 15 | Danilovgrad 1 | 2.1 | 2.6 | 5.9 | 6.6 | 7.0 |
| Central | 15 | Danilovgrad | 16 | Danilovgrad 2 | 0.0 | 0.4 | 1.7 | 1.9 | 2.0 |
| Central | 16 | Nikšić | 17 | Nikšić 1 | 38.5 | 43.2 | 63.8 | 71.4 | 72.0 |
| Central | 17 | Podgorica | 18 | Podgorica 1 | 145.5 | 174.5 | 212.4 | 238.9 | 239.0 |
| Central | 17 | Podgorica | 19 | Golubovci 1 | 0.0 | 3.6 | 17.9 | 20.1 | 21.0 |
| Central | 17 | Podgorica | 20 | Tuzi 1 | 0.0 | 1.6 | 8.1 | 9.1 | 10.0 |
| Coastal | 18 | Bar | 21 | Bar 1 | 7.3 | 9.0 | 15.1 | 22.6 | 23.0 |
| Coastal | 18 | Bar | 22 | Bar 2 | 33.4 | 41.1 | 60.0 | 70.1 | 71.0 |
| Coastal | 18 | Bar | 23 | Bar 3 | 0.0 | 3.0 | 3.4 | 3.4 | 3.0 |
| Coastal | 18 | Bar | 24 | Bar 4 | 0.0 | 1.3 | 1.8 | 1.8 | 2.0 |
| Coastal | 19 | Budva | 25 | Budva 1 | 68.6 | 77.7 | 91.1 | 106.3 | 107.0 |
| Coastal | 19 | Budva | 26 | Budva 2 | 10.3 | 8.8 | 10.6 | 12.4 | 13.0 |
| Coastal | 19 | Budva | 27 | Budva 3 | 0.0 | 2.7 | 2.7 | 2.7 | 3.0 |
| Coastal | 20 | Herceg Novi | 28 | H.Novi 1 | 49.7 | 55.0 | 64.1 | 69.0 | 69.0 |
| Coastal | 20 | Herceg Novi | 29 | H.Novi 2 | 0.0 | 1.3 | 1.7 | 2.0 | 2.0 |
| Coastal | 20 | Herceg Novi | 30 | H.Novi 3 | 0.0 | 1.0 | 1.5 | 2.0 | 2.0 |
| Coastal | 21 | Kotor | 31 | Kotor 1 | 14.5 | 18.8 | 27.1 | 30.6 | 31.0 |
| Coastal | 21 | Kotor | 32 | Kotor 2 | 0.0 | 0.5 | 1.2 | 1.7 | 2.0 |
| Coastal | 21 | Kotor | 33 | Kotor 3 | 0.0 | 1.2 | 2.1 | 2.1 | 3.0 |
| Coastal | 21 | Kotor | 34 | Kotor 4 | 0.0 | 1.8 | 2.9 | 3.5 | 4.0 |
| Coastal | 22 | Tivat | 35 | Tivat 1 | 13.9 | 16.5 | 26.2 | 30.6 | 31.0 |
| Coastal | 22 | Tivat | 36 | Tivat 2 | 0.0 | 1.8 | 3.0 | 3.6 | 4.0 |
| Coastal | 23 | Ulcinj | 37 | Ulcinj 1 | 25.7 | 36.9 | 46.3 | 59.1 | 60.0 |
| North |  | Sub-total |  |  | 79 | 90 | 112 | 119 | 127 |
| Central |  | Sub-total |  |  | 194 | 236 | 325 | 365 | 368 |
| Coastal |  | Sub-total |  |  | 223 | 279 | 361 | 424 | 430 |
|  |  | Gross total |  |  | 496 | 605 | 798 | 907 | 925 |

The aforesaid projection of the maximum seasonal pollutant loading is used for assessment and planning of the ultimate operational capacity of urban wastewater treatment facilities. The existing and already fixed wastewater treatment plant capacities are to be taken into account.

The following table presents the gaps in terms of compliance with Article 3 of the UWWTD related to provision of urban wastewater collection, the difference of the number of population in a specific agglomeration to be connected and the number of population currently provided by communal wastewater collection service.

Table 5.9 – Gap estimate related to UWWTD Article 3–collection systems (# of population)

| Region | Mun. No | Municipality | Agg. No. | Agglomeration | GAP - WW collection (Article 3) - (#) |
| --- | --- | --- | --- | --- | --- |
| North | 1 | Andrijevica | 1 | Andrijevica 1 | 1,383 |
| North | 2 | Berane | 2 | Berane 1 | 7,781 |
| North | 3 | Bijelo Polje | 3 | Bijelo Polje 1 | 11,183 |
| North | 4 | Gusinje | 4 | Gusinje 1 | 143 |
| North | 5 | Kolašin | 5 | Kolašin 1 | 2,643 |
| North | 6 | Mojkovac | 6 | Mojkovac 1 | 1,371 |
| North | 7 | Petnjica | 7 | Petnjica 1 | 1,084 |
| North | 8 | Plav | 8 | Plav - 1 | 969 |
| North | 9 | Pljevlja | 9 | Pljevlja 1 | 0 |
| North | 10 | Plužine | 10 | Plužine 1 | 0 |
| North | 11 | Rožaje | 11 | Rožaje 1 | 5,074 |
| North | 12 | Šavnik | 12 | Šavnik 1 | 25 |
| North | 13 | Žabljak | 13 | Žabljak 1 | 238 |
| Central | 14 | Cetinje | 14 | Cetinje 1 | 7,413 |
| Central | 15 | Danilovgrad | 15 | Danilovgrad 1 | 3,689 |
| Central | 15 | Danilovgrad | 16 | Danilovgrad 2 | 1,639 |
| Central | 16 | Nikšić | 17 | Nikšić 1 | 25,420 |
| Central | 17 | Podgorica | 18 | Podgorica 1 | 70,417 |
| Central | 17 | Podgorica | 19 | Golubovci 1 | 16,244 |
| Central | 17 | Podgorica | 20 | Tuzi 1 | 7,523 |
| Coastal | 18 | Bar | 21 | Bar 1 | 3,881 |
| Coastal | 18 | Bar | 22 | Bar 2 | 17,924 |
| Coastal | 18 | Bar | 23 | Bar 3 | 1,840 |
| Coastal | 18 | Bar | 24 | Bar 4 | 472 |
| Coastal | 19 | Budva | 25 | Budva 1 | 3,185 |
| Coastal | 19 | Budva | 26 | Budva 2 | 872 |
| Coastal | 19 | Budva | 27 | Budva 3 | 834 |
| Coastal | 20 | Herceg Novi | 28 | H.Novi 1 | 9,600 |
| Coastal | 20 | Herceg Novi | 29 | H.Novi 2 | 309 |
| Coastal | 20 | Herceg Novi | 30 | H.Novi 3 | 39 |
| Coastal | 21 | Kotor | 31 | Kotor 1 | 10,696 |
| Coastal | 21 | Kotor | 32 | Kotor 2 | 101 |
| Coastal | 21 | Kotor | 33 | Kotor 3 | 350 |
| Coastal | 21 | Kotor | 34 | Kotor 4 | 529 |
| Coastal | 22 | Tivat | 35 | Tivat | 7,950 |
| Coastal | 22 | Tivat | 36 | Tivat | 579 |
| Coastal | 23 | Ulcinj | 37 | Ulcinj 1 | 2,583 |
| North |  | Sub-total | 13 |  | 31,893 |
| Central |  | Sub-total | 7 |  | 132,346 |
| Coastal |  | Sub-total | 17 |  | 61,743 |
|  |  | Gross total | 37 |  | 225,982 |

The aforesaid table shall be used for the assessment of additional collection networks that should be implemented in order to meet the requirements of Article 3 of the UWWTD and the national Law on Communal Wastewater Management. Based on the presented gap analysis, it appears that additional wastewater collection system should be provided for around 225 thousand residents in order to the anticipated service coverage in the designated agglomerations of around 97% (the rest will be individual corresponding systems-IASs). The gap is recorded all-over the country, however the most notable deficiencies regarding wastewater collection coverage are present in the following LSGU-s; Central Region (Podgorica, Nikšić, Cetinje), Coastal Region (Bar and Tivat-Kotor), and in the Northern Region (Bijelo Polje).

### Wastewater balances projection

This section presents the projection of basic wastewater balances, based on the recorded current situation, planned increase of connection rates to wastewater collection and treatment, and in compliance with the proposed technical measures. The projection of wastewater balances (refers to collected wastewater only) is based on the following premises:

- Usual approach in billing wastewater collected/treated in Montenegro (and elsewhere in the region) is to quantify it the same way as water supply metered (if both services are provided). However, it is commonly accepted that wastewater discharge reaches only a certain proportion of water supplied. For the purpose of this study conventionally applied wastewater/water factor of 85% is adopted. This approach is used for presenting actually generated (and thereafter collected and treated as applicable) communal wastewater. However, since it is quite certain that future wastewater services shall be invoiced in accordance with the current practice (based on water supply metered) the volumes of wastewater shown in the financial/affordability analysis refer to wastewater invoiced.

- Therefore, presented wastewater balances/volumes are considered as net generated wastewater rather than drinking water supplied.

- Apart from generated urban wastewater infiltration/inflow represents normal constituent of total wastewater flows. The consultants checked the available operational data from the municipal PUC-s, as well as a number of feasibility studies and technical designs dealing with wastewater collection and treatment. Unfortunately, very limited data on actually measured infiltration/inflow into wastewater collection systems in Montenegro are available. The measurements carried out 2011-2012 and in 2016 for the purpose of Podgorica wastewater studies showed that dry-weather infiltration/inflow amounted to around 35% of the total WW flow, while during wet periods infiltration/inflow exceeded 50% of the total WW flow. These are comparatively high figures, especially taking into account that groundwater table in Podgorica is considered as low, and should not result in high infiltration rates. Vast majority of available studies made the assessment of dry-weather infiltration at 30% of the total flow, while for wet periods the contribution of infiltration/inflow was considered to be 50%. This quite uniform approach may be explained by referring to the same guideline, as stipulated in corresponding ATV standards.

- During the operation of the wastewater collection system and trial-run period of the WWTP Kotor-Tivat very substantial infiltration/inflow was recorded (based on inflow measurements and composition of wastewater which was very much “diluted” and with high conductivity (associated with salinity). This is one of the examples of the systems where renovation/replacement of the wastewater lines is considered necessary.

- Given rather old and insufficiently maintained wastewater collection infrastructure it is considered to assume the infiltration/inflow rate of 50% as the baseline. As a result of the measures proposed in this study (sewer rehabilitation, new collection systems) it is expected that lower infiltration targets (35% and 30%) could be reached till 2031 and 2041 respectively.

The following table (Table 5.10) shows the overview of major projected urban wastewater balances in Montenegro (collected and consequently treated).

Table 5.10 – Wastewater projection till 2041, volumes (generated and collected)

| Projection of wastewater balances - generated and collected (103 m3/year) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Year | 2016 | 2021 | 2031 | 2041 |
| Domestic | 14,016 | 16,463 | 21,804 | 21,558 |
| Non-domestic, including tourism | 5,600 | 6,684 | 9,175 | 10,754 |
| Total - net WW | 19,617 | 23,147 | 30,979 | 32,312 |
| Infiltration & inflow (%) | 50% | 50% | 35% | 30% |
| Infiltration & inflow | 19,617 | 23,147 | 16,681 | 13,848 |
| Total - with infiltration | 39,233 | 46,294 | 47,661 | 46,160 |
| Wastewater projection - domestic (103 m3/year) |  |  |  |  |
| Region/Year | 2016 | 2021 | 2031 | 2041 |
| Northern | 2,282 | 2,870 | 4,030 | 3,768 |
| Central | 7,921 | 9,114 | 11,787 | 11,883 |
| Coastal | 3,813 | 4,480 | 5,987 | 5,908 |
| Total | 14,016 | 16,463 | 21,804 | 21,558 |
| Wastewater projection - non-domestic (including tourism) (103 m3/year) |  |  |  |  |
| Region/Year | 2016 | 2021 | 2031 | 2041 |
| Northern | 762 | 964 | 983 | 958 |
| Central | 2,799 | 3,331 | 3,331 | 3,396 |
| Coastal | 3,111 | 3,807 | 4,861 | 6,400 |
| Total | 6,672 | 8,101 | 9,175 | 10,754 |

These overall and regional projections are based on individual assessments of wastewater components (domestic, non-domestic) for respective agglomerations and municipalities in these regions which were summed up accordingly and shown in the following figure (Figure 5.9).

Figure 5.9 – Wastewater projection till 2041, volumes

# URBAN WASTEWATER MANAGEMENT –  INFRASTRUCTURE REQUIREMENTS AND MEASURES

## Infrastructure Requirements - General

The gap analysis leading to the determination of the infrastructure and corresponding investment needs is based on:

- Definition of “compliance scenario” based on:

  - Agglomeration delineation

  - Sensitive area designation

- Status and coverage of the existing wastewater infrastructure

Identification of the required infrastructure at the agglomeration level has been prepared based on:

- Engineering assessment/analysis with corresponding technical proposal for each agglomeration including routes, locations and main technical characteristics of the proposed infrastructure

- Where available, relevant Feasibility and other Studies and other relevant technical analysis, based on selective engineering assessment of the measures proposed earlier (already implemented or not, adequate as proposed, or optimised)

- Automated analysis using an approach similar to that included in the FEASIBLE model (developed by COWI on behalf of OECD), actualized (costing) and calibrated to local conditions and costs

This final “modelling” approach has been used as a supplement and as a cross-check of the detailed engineering assessments. The engineering assessments take precedence.

The assessment of wastewater collection infrastructure needs has been derived on the agglomeration basis, with the needs aggregated to the municipality, and then summarized at region/national level.

The assessment of wastewater treatment infrastructure needs has been based on:

- Estimated typical long-term wastewater pollutant loadings, taking into account demographic trends, allowance for non-domestic loading, and tourism-driven peak seasonal lodgings particularly applicable for the coastal zone;

- Current status and information on the ongoing projects (completed or about to be completed);

- Optimising the number of treatment plants based on finding the best solution for neighbouring agglomerations, i.e. addressing the question of whether to build one WWTP for two (or more) agglomerations, or whether to build one for each;

## Technical measures – projects under implementation

Urban wastewater management infrastructure in Montenegro is in the process of fairly dynamic development, and therefore cannot be considered from the steady-state prospective. A number of urban wastewater infrastructure projects are in one of following phases:

Implementation completed, defect notification period still ongoing, e.g. major wastewater project in Herceg Novi (infrastructure considered as completed in this study)

Implementation in the final stage, completion, trial run and commissioning expected in 2019 (e.g. WWTP in Pljevlja, WWTP and network in Berane) – infrastructure considered as completed in this study

Works already contracted but have not started, financing secured but not realised (WWTP and network in Danilovgrad, network in Ulcinj) – implementation (technical, administrative, financial anticipated in the following 3 years)

Projects earmarked for financing in the near future, financing secured, preparation is ongoing (main sewers in Podgorica – KfW financing, wastewater collection in Kotor – WBIF grant financing) – these projects are considered for implementation in the following 5 years

- The following table (Table 6.1) presents the overview of the major projects considered to be “under implementation” (and not to be completed in 2019) with their respective components, technical characteristics and budgets based either on contract values or as defined in the most recent study/technical designs related to each project.

- It is very important to take into account these projects because they are going to substantially affect financing needs in the coming years and after being implemented they are going to generate corresponding maintenance, operational, depreciation costs that have to be taken into account in the financial and affordability analysis. Also, it is expected that implementation of the aforesaid project would have considerable positive effects on the overall service coverage with wastewater services.

Table 6.1 – Major wastewater projects under implementation

| Municipality | Agg. No. | Agglomeration | Sewerage network extension |  |  |  | Wastewater pressure mains |  |  |  | Sewage pumping stations - under implementation |  |  |  | WWTP - under implementation |  |  |  |  |  |  | Notes/reference documents |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Gravity sewers | DN av | Unit cost | Total cost | L | DN av | Unit cost | Total cost | Small SPS <10l/s | Medium SPS 10-100l/s | Large SPS >100l/s | Total cost | Load | Q ww | WW Treat. * | Sludge Treat. ** | Sludge DS | Unit cost | Total cost |  |
|  |  |  | (km) | (mm) | (€/m) | (103 €) | (km) | (mm) | (€/m) | (103 €) | No. | No. | No. | (103€) | PE | m3/d | S/T | AS/AD/ DW/L/H | % | (€/PE) | (103 €) |  |
| Danilovgrad | 15 | Danilovgrad 1 | 4.7 | 300 | 210 | 826 |  |  |  |  | 3 |  |  | 160 | 6,000 | 899 | T | AS/DW | 22% | 398 | 2,390 | Contracted, Conceptual Design of wastewater collection and WWTP, 2014 |
| Podgorica | 18 | Podgorica 1 | 19.6 | 850 | 533 | 10,717 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | KfW and grant financing secured, Under preparation, Feasibility Study Podgorica Wastewater Project, 2016 |
| Kotor | 31 | Kotor 1 | 25.3 | 300 | 273 | 6,908 | 8.7 | 200 | 173 | 1,497 |  | 8 |  | 1,778 |  |  |  |  |  |  |  | WBIF grant financing secured, under preparation, Preparatory Study with Conceptual Design, 2016 |
| Tivat | 35 | Tivat 1 | 7.8 | 250 | 190 | 1,478 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | KfW financing, under preparation, Preparatory Study with Conceptual Design, 2016 |
| Ulcinj | 37 | Ulcinj 1 | 11.8 | 600 | 361 | 4,256 |  |  |  |  |  | 1 |  | 190 |  |  |  |  |  |  |  | Government grant financing secured, contracted, Detailed Design, 2015 |
| Northern Region, sub-total |  |  | 0.0 |  |  | 0 | 0.0 |  |  | 0 |  |  |  | 0 | 0 | 0 |  |  |  |  | 0 |  |
| Central Region, sub-total |  |  | 24.3 |  |  | 11,543 | 0.0 |  |  | 0 | 3 |  |  | 160 | 6,000 | 899 |  |  |  |  | 2,390 |  |
| Coastal Region, sub-total |  |  | 44.9 |  |  | 12,643 | 8.7 |  |  | 1,497 |  | 9 |  | 1,968 | 0 | 0 |  |  |  |  | 0 |  |
| Gross total |  |  | 69.2 |  |  | 24,185 | 8.7 |  |  | 1,497 | 3 | 9 |  | 2,128 | 6,000 | 899 |  |  |  |  | 2,390 |  |

Notes: * secondary (S) or tertiary (T) treatment, ** aerobic sludge stabilisation (AS), anaerobic digestion (AD), dewatering (DW), lime stabilisation (L), H (humification)

## Technical measures – rehabilitation and upgrade of wastewater collection

The assessment of the current wastewater collection networks in the Project Area could be summarized as follows:

- The concepts of wastewater collection were established and the core parts of these systems were constructed in most cases around 30 years ago, so the average age of the existing sewer lines in municipal sewerage system is 28 years (for the municipality where no data on network age is provided, the national average assumed).

- Sewerage blockage indicators (No of sewer blockages/interventions per km of network, per year), based on the International Benchmarking Network Report and municipal annual reports  range from 2 to 19, the national average being 8.8 blockages/km/year

- With regard to pipe materials composition/share in current wastewater collection systems (Figure 6.1) contemporary pipe materials (HDPE and PVC) prevail (share of around 60%). However, still there is a quite substantial share of pipe materials characterised with limited durability and prone to deteriorating water-tightness over time (asbestos-cement, concrete and ceramic pipes) – around 35-40%.

- In general, considered wastewater collection systems are characterised by low, insufficient level of regular maintenance, which significantly contributed to their reduced performance, blockages and other operational problems.

- As discussed earlier, there is rather limited information on actual wastewater discharge measurements in Montenegro, which could be used for reliable assessment of total balances and in particular external infiltration/inflows. However, based on the available information, it is assessed that the performance of wastewater collection systems should be improved, and current infiltration/inflow rates gradually reduced to levels that would enable normal and cost-effective operation of sewerage and wastewater treatment (existing and future). Also, most of the existing sewerage systems are characterised by operation in so called quasi-separate mode, with significantly higher infiltration/inflow during wet periods.

- For the aforesaid reasons, it was considered extremely important to make adequate investment provision for partial rehabilitation/renovation of the existing wastewater collection system, complementary to the planned wastewater collection extension.

Figure 6.1 – Wastewater networks – pipe materials

Source: MSDT Report – Communal sector report, 2013

As indicated above, the assessment has been made of the needs for renovation/replacement of current wastewater collection networks. The costs associated with these needs have been estimated on the similar basis as those for new wastewater collection networks, i.e. they have utilised specific values adjusted to the local circumstances.

These measures require comparatively high investments, and should target critical part of networks. Therefore, before the actual implementation it would be necessary to conduct the set of corresponding investigations and adequate preparatory steps, including:

- Wastewater discharge measurements for different operational regimes (dry, wet periods)

- CCTV investigations

- Preparation of corresponding studies and technical designs related to network renovation/rehabilitation

- Based on these investigations and designs, it would be possible to precisely define scope and costs of particular set of measures, as well as their prioritisation and potential effects

The overall proposed scope of network renovation/replacement is around 10% of the total, while the network age and network repair indicator are used to differentiate network replacement needs per municipality, as presented. The following table shows proposed scope of wastewater collection networks renovation/rehabilitation per municipality and region. This should be considered as the preliminary assessment of the scope and allocation of the sewerage network rehabilitation/replacement measures per municipality, since these measures should be further detailed by means of CCTV investigations and preparation of detailed technical designs.

The wastewater collection network renovation measures are supposed to cover only urgent priority interventions, and then it is anticipated that each municipal water utility company should introduce these measures as a part of regular annual operational maintenance, that should cover certain percentage of sewerage networks.

Table 6.2 – Proposed scope of wastewater collection renovation/rehabilitation per LSGU/ region

| No | Municipality | Total L of sewerage network (km) | Sewer blockages (#/km/ year) | Average age of sewerage network (y) | Network rehabilitation index * | Proposed network rehabilitation (%) | Proposed network rehabilitation L(m) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica | 4.4 | 8.8 | 40.0 | 1.44 | 14.7% | 0.6 |
| 2 | Berane | 43.7 | 8.8 | 43.8 | 1.58 | 16.1% | 7.0 |
| 3 | Bijelo Polje | 11.7 | 12.5 | 30.0 | 1.54 | 15.7% | 1.8 |
| 4 | Gusinje | 6.9 | 8.8 | 19.1 | 0.69 | 7.0% | 0.5 |
| 5 | Kolašin | 4.0 | 2.9 | 18.5 | 0.22 | 2.2% | 0.1 |
| 6 | Mojkovac | 23.5 | 8.8 | 35.9 | 1.29 | 13.2% | 3.1 |
| 7 | Petnjica | 0.0 | n/a | n/a |  |  |  |
| 8 | Plav | 15.1 | 2.4 | 19.1 | 0.19 | 1.9% | 0.3 |
| 9 | Pljevlja | 59.6 | 2.3 | 28.5 | 0.26 | 2.7% | 1.6 |
| 10 | Plužine | 3.0 | 8.8 | 27.9 | 1.00 | 10.3% | 0.3 |
| 11 | Rožaje | 32.0 | 9.3 | 21.8 | 0.83 | 8.5% | 2.7 |
| 12 | Šavnik | 2.0 | 8.8 | 18.6 | 0.67 | 6.8% | 0.1 |
| 13 | Žabljak | 4.0 | 8.8 | 16.2 | 0.58 | 6.0% | 0.2 |
| 14 | Cetinje | 41.4 | 5.7 | 14.7 | 0.34 | 3.5% | 1.5 |
| 15 | Danilovgrad | 4.0 | 8.8 | 20.0 | 0.72 | 7.4% | 0.3 |
| 16 | Nikšić | 55.0 | 8.0 | 25.3 | 0.83 | 8.5% | 4.7 |
| 17 | Podgorica | 200.0 | 8.3 | 32.9 | 1.12 | 11.5% | 22.9 |
| 18 | Bar | 91.0 | 8.8 | 24.4 | 0.88 | 9.0% | 8.2 |
| 19 | Budva | 66.3 | 5.2 | 28.4 | 0.60 | 6.2% | 4.1 |
| 20 | Herceg Novi | 95.9 | 18.8 | 23.5 | 1.81 | 18.5% | 17.8 |
| 21 | Kotor | 45.0 | 9.0 | 19.9 | 0.73 | 7.5% | 3.4 |
| 22 | Tivat | 50.0 | 8.8 | 10.0 | 0.36 | 3.7% | 1.8 |
| 23 | Ulcinj | 58.0 | 8.8 | 40.0 | 1.44 | 14.7% | 8.5 |
| Sub-total Northern Region |  | 209.9 |  |  |  |  | 18.5 |
| Sub-total Central Region |  | 300.4 |  |  |  |  | 29.3 |
| Sub-total Coastal Region |  | 406.2 |  |  |  |  | 43.8 |
| Total |  | 916.6 | 8.8 | 27.8 | 1.00 | 10.0% | 91.7 |

* - derived from blockage indicator and average pipe age

## Measures related to wastewater collection and disposal

This section elaborates the proposed measures related to upgrade of elements of wastewater collection systems (main sewers, collection networks and other elements) as well as the elements designed specifically for wastewater (effluent) disposal, i.e. deep sea outfalls.

Proposed extension of wastewater collection systems described here is in direct correlation with the planned increase of wastewater collection service coverage shown earlier, that should enable gradual achievement of the harmonisation with the UWWTD (Article 3) and relevant national regulations; primarily the Law on Communal/Urban Wastewater Management.

Bearing in mind massive scope of works (and investments) required to provide the targeted level of wastewater service coverage, as well as related organisational, financial and affordability constraints, anticipated service coverage could be achieved gradually. It is therefore suggested to plan nearly full service coverage (of 97%) in relation to the proposed deadline in the national Chapter 27 Negotiation Position; end of 2035.

The measures have been defined at the agglomeration level, and then merged by municipality and by region. The proposed measures include the following elements of wastewater infrastructure:

Wastewater collection and conveyance (collection network and main sewers)

Pumping facilities and pressure mains (forcemains)

Treated wastewater sea outfalls

The analysis/elaboration of the technical measures involved the following:

Engineering assessment/design especially for areas/agglomerations where no relevant study/technical design of appropriate standard was available;

Relevant, up-to-date Feasibility Studies and/or technical designs dealing with assessment and development of urban wastewater infrastructure in the Project Area;

Relevant information on planned wastewater infrastructure in urban and spatial plans of particular LSGU’s and special purpose spatial plans;

Analysis of CORINE 2012 land cover information, specifically continuous and discontinuous urban fabric in order to accurately define preferred geographical scope of service coverage;

As required, technical proposal specified in corresponding feasibility study/design have been supplemented with other elements, based on the engineering assessment;

To summarise, here are the basic technical features of the proposed wastewater conveyance/collection and wastewater disposal components (taking into account the measures under implementation):

Total length of the proposed new wastewater conveyance/collection systems is around 950km

Total length of the proposed planned pressure mains/forcemains is around 55km;

There should be 14 new sea outfalls with total length of 17km

It is estimated that there should be 84 new sewage pumping stations of different sizes

With regard to the proposed wastewater collection systems it is noted that (as initially anticipated) the areas where these systems are to be extended are less favourable than the areas with the existing systems; network density would be much lower; 237 users/km of network (versus 321 at present) or 4.2 m of network/user (versus 3.1 at present). This implies higher unit cost (per inhabitant served) than for the existing systems. It is important to note that all new wastewater collection networks are assumed to be constructed as fully separate (foul wastewater only) systems. Typical characteristics (size) of the networks have been assessed in relation to the size of the concerned service area.

Layouts of the proposed measures related to wastewater collection and disposal are shown on drawings of scale 1:25,000 with background topographic maps of the Project Area. These drawings are included in the report annexes.

The measures are presented in the following table (Figure 6-3) with estimated investment costs also indicated.

Table 6.3 – Proposed technical measures (wastewater collection, conveyance and disposal)

| Municipality | Agg. No. | Agglomeration | Sewerage network extension |  |  | Pressure mains |  |  | Sea outfalls |  |  | Sewage pumping stations |  |  |  | Total cost of measures | Notes, main references |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Gravity sewers | DN av | Total cost | Pressure mains | DN av | Total cost | Sea outfalls | DN av | Total cost | Small SPS <10l/s | Medium SPS 10-100l/s | Large SPS >100l/s | Total cost |  |  |
|  |  |  | (km) | (mm) | (103 €) | (km) | (mm) | (103 €) | (km) | (mm) | (103 €) | No. | No. | No. | (103 €) | (103 €) |  |
| Andrijevica | 1 | Andrijevica 1 | 10.7 | 250 | 2,037 |  |  |  |  |  |  |  |  |  |  | 2,037 | Engineering assessment |
| Berane | 2 | Berane 1 | 14.7 | 250 | 2,809 |  |  |  |  |  |  |  |  |  |  | 2,809 | Engineering assessment; WW Feasibility Study, 2011; Detailed Design 2014 |
| Bijelo Polje | 3 | Bijelo Polje 1 | 75.9 | 300 | 15,593 |  |  |  |  |  |  | 7 |  |  | 335 | 15,928 | Updated CBA for wastewater project, 2015; As-built design 2018 |
| Gusinje | 4 | Gusinje 1 | 7.1 | 250 | 1,361 | 5.9 | 250 | 898 |  |  |  |  | 1 |  | 154 | 2,413 | Engineering assessment, Wastewater System Detailed Design, 2016 |
| Kolašin | 5 | Kolašin 1 | 27.4 | 250 | 5,166 | 0.5 | 150 | 63 |  |  |  | 1 |  |  | 45 | 5,274 | Engineering assessment, Water/Wastewater Feasibility Study, 2012; Wastewater System Preliminary Design, 2018 |
| Mojkovac | 6 | Mojkovac 1 | 21.6 | 250 | 4,006 | 0.3 | 150 | 37 |  |  |  | 2 |  |  | 106 | 4,149 | Engineering assessment, Sewerage Network Detailed Design 2015 |
| Petnjica | 7 | Petnjica 1 | 5.2 | 250 | 988 |  |  |  |  |  |  |  |  |  |  | 988 | Engineering assessment |
| Plav | 8 | Plav - 1 | 48.8 | 250 | 9,038 | 8.6 | 300 | 1,676 |  |  |  | 1 | 1 |  | 265 | 10,978 | Engineering assessment, Wastewater System Detailed Design, 2016 |
| Pljevlja | 9 | Pljevlja 1 | 11.9 | 300 | 2,491 |  |  |  |  |  |  |  |  |  |  | 2,491 | Engineering assessment |
| Plužine | 10 | Plužine 1 | 1.8 | 250 | 347 |  |  |  |  |  |  |  |  |  |  | 347 | Engineering assessment |
| Rožaje | 11 | Rožaje 1 | 23.3 | 300 | 4,882 |  |  |  |  |  |  |  |  |  |  | 4,882 | Water/Wastewater Feasibility Study 2012, Wastewater System Preliminary Design 2018 |
| Šavnik | 12 | Šavnik 1 | 1.6 | 250 | 307 |  |  |  |  |  |  |  |  |  |  | 307 | Engineering assessment |
| Žabljak | 13 | Žabljak 1 | 11.2 | 300 | 2,346 |  |  |  |  |  |  | 2 |  |  | 167 | 2,513 | Engineering assessment |
| Cetinje | 14 | Cetinje 1 | 7.7 | 400 | 1,941 |  |  |  |  |  |  |  |  |  |  | 1,941 | Updated CBA for wastewater project, 2015; |
| Danilovgrad | 15 | Danilovgrad 1 | 22.0 | 300 | 4,204 | 0.9 | 150 | 145 |  |  |  | 7 |  |  | 415 | 4,765 | Wastewater System Conceptual Design, 2016 |
| Danilovgrad | 16 | Danilovgrad 2 | 2.4 | 250 | 466 |  |  |  |  |  |  |  |  |  |  | 466 | Engineering assessment |
| Nikšić | 17 | Nikšić 1 | 79.2 | 300 | 16,620 | 7.1 | 200 | 960 |  |  |  | 1 | 2 |  | 265 | 17,844 | Engineering assessment, Wastewater system Conceptual Design, 2010 |
| Podgorica | 18 | Podgorica 1 | 158.0 | 257 | 30,525 |  |  |  |  |  |  |  |  |  |  | 30,525 | Podgorica Wastewater Feasibility Study, 2016 |
| Podgorica | 19 | Golubovci 1 | 75.4 | 300 | 15,283 |  |  |  |  |  |  | 7 |  |  | 523 | 15,806 | Engineering assessment |
| Podgorica | 20 | Tuzi 1 | 29.0 | 300 | 5,905 |  |  |  |  |  |  | 3 |  |  | 178 | 6,083 | Engineering assessment |
| Bar | 21 | Bar 1 | 19.0 | 300 | 3,977 |  |  |  | 1.2 | 700 | 1,100 | 1 |  |  | 79 | 5,156 | Bar Water Supply and Wastewater Preparatory Study, 2009 |
| Bar | 22 | Bar 2 | 33.4 | 400 | 8,448 |  |  |  | 0.8 | 800 | 620 | 1 |  |  | 68 | 9,136 | Engineering assessment , Bar Water Supply and Wastewater Preparatory Study, 2009 |
| Bar | 23 | Bar 3 | 12.0 | 250 | 2,290 | 0.9 | 150 | 135 | 1.0 | 500 | 460 | 4 |  |  | 243 | 3,127 | Engineering assessment |
| Bar | 24 | Bar 4 | 12.2 | 250 | 2,319 | 0.3 | 150 | 46 | 1.0 | 500 | 460 | 2 |  |  | 134 | 2,959 | Engineering assessment |
| Budva | 25 | Budva 1 | 19.0 | 400 | 4,804 | 1.5 | 200 | 255 | 3.4 | 500 | 1,625 |  | 1 |  | 120 | 6,804 | Engineering assessment, Special Purpose Spatial Plan of the Coastal Region, 2018 |
| Budva | 26 | Budva 2 | 33.4 | 300 | 6,995 | 3.3 | 200 | 567 | 2.0 | 500 | 980 |  | 4 |  | 521 | 9,063 | Engineering assessment, Special Purpose Spatial Plan of the Coastal Region, 2018 |
| Budva | 27 | Budva 3 | 0.0 |  | 0 | 0.0 |  | 0 | 1.5 | 500 | 720 |  |  |  |  | 720 | Engineering assessment |
| Herceg Novi | 28 | H.Novi 1 | 13.9 | 250 | 3,205 | 0.2 | 200 | 34 |  |  |  | 1 |  |  | 55 | 3,294 | H.Novi Wastewater System Preliminary Design, 2016 |
| Herceg Novi | 29 | H.Novi 2 | 3.0 | 250 | 571 | 0.3 | 100 | 24 | 0.5 | 300 | 185 | 2 |  |  | 67 | 847 | Engineering assessment |
| Herceg Novi | 30 | H.Novi 3 | 3.0 | 250 | 571 | 0.4 | 100 | 32 | 0.5 | 300 | 185 | 2 |  |  | 72 | 860 | Engineering assessment |
| Kotor | 31 | Kotor 1 | 3.4 | 600 | 1,209 | 2.0 | 350 | 459 |  |  | 1,365 |  | 1 | 1 | 301 | 3,334 | Kotor Wastewater System Preliminary Design, 2016 |
| Kotor | 32 | Kotor 2 | 3.6 | 250 | 676 | 0.7 | 150 | 89 | 0.6 | 400 | 252 | 1 |  |  | 120 | 1,138 | Engineering assessment |
| Kotor | 33 | Kotor 3 | 5.8 | 250 | 1,103 | 0.4 | 150 | 50 | 0.4 | 400 | 168 | 2 |  |  | 146 | 1,467 | Engineering assessment |
| Kotor | 34 | Kotor 4 | 4.3 | 250 | 819 | 3.5 | 150 | 433 |  |  |  | 1 |  |  | 110 | 1,363 | Engineering assessment |
| Tivat | 35 | Tivat 1 | 18.6 | 300 | 3,902 | 2.6 | 200 | 450 | 3.5 | 600 | 1,365 | 3 | 1 |  | 572 | 6,288 | Tivat Wastewater System Preliminary Design, 2016 |
| Tivat | 36 | Tivat 2 | 5.9 | 250 | 1,124 | 2.0 | 150 | 242 |  |  |  | 1 |  |  | 87 | 1,453 | Engineering assessment |
| Ulcinj | 37 | Ulcinj 1 | 59.8 | 250/ 1200 | 14,308 | 4.8 | 500/ 700 | 1,994 | 1.1 | 800 | 975 |  | 1 | 7 | 5,436 | 22,713 | Engineering assessment , Ulcinj Water Supply and Wastewater Feasibility Study, 2013 |
| Sub-total |  |  | 261.3 |  | 51,370 | 15.3 |  | 2,674 | 0.0 |  | 0 | 13 | 2 | 0 | 1,072 | 55,116 |  |
| Sub-total |  |  | 373.8 |  | 74,945 | 8.0 |  | 1,105 | 0.0 |  | 0 | 18 | 2 | 0 | 1,381 | 77,431 |  |
| Sub-total |  |  | 250.1 |  | 56,321 | 22.8 |  | 4,810 | 17.4 |  | 10,460 | 21 | 8 | 8 | 8,131 | 79,722 |  |
| Gross total |  |  | 885.1 |  | 182,636 | 46.1 |  | 8,589 | 17.4 |  | 10,460 | 52 | 12 | 8 | 10,584 | 212,269 |  |

## Provision of wastewater treatment

### Wastewater treatment - General

The need for new wastewater treatment facilities has been based solely on achieving compliance with the requirements for delineated agglomerations.

The needs assessment for wastewater treatment has:

- Taken full account of the need to treat wastewater from all defined agglomerations to at least secondary treatment

- Taken into consideration the existing wastewater treatment facilities in accordance with their estimated status, functionality and conformity with the requirements (effluent quality) according to the UWWTD. Except for WWTP in Podgorica (which is some 30 old, outdated and overloaded), all other major wastewater treatment facilities in Montenegro were constructed quite recently, after 2014 (Budva, Herceg Novi, Kotor-Tivat, Nikšić). Also the plants under construction (Pljevlja and Berane) are expected to be completed much before planned start of implementation of the measures outlined in this study. Therefore, these facilities are considered to be fully functional, and except some process upgrade (where required to accommodate the requirements for sensitive areas) no other investments are planned at this stage. Wherever the existing treatment facility is to be substantially rehabilitated and/or upgraded in order to meet the directive and national regulations requirements it is considered as “new” treatment facility in this report (e.g. Podgorica).

- Taken full account of the need to implement the provisions relating to nutrient removal arising from the proposed Decision and Rulebook on Sensitive Areas and the application of more stringent treatment. In accordance with the aforesaid draft documents the whole Project Area including respective discharge points, apart from the municipality of Ulcinj and its planned discharge point are considered to be sensitive area with respect to the UWWTD. Therefore, all new wastewater treatment facilities of capacity larger than 10,000 PE are to be provided with corresponding nutrient removal treatment units.

- Attempted to optimise the efficiency of treatment by minimising the number of treatment plants by transferring (via transit collectors) wastewater from more than one agglomeration to the treatment plants – this has been done by utilising natural gradients (gravity) and proximity of service areas, wherever possible

- With regard to basic design criteria for the wastewater treatment, they are in full accordance with the EU UWWTD, and transposed national regulation.

- Sludge generated during wastewater treatment i.e. its proper management is considered a very important component of the overall wastewater management.  The requirements related to treated WW sludge characteristics are defined in the Rulebook on sewage sludge requirements (OG MNE, No. 89/09). The requirements laid down in the rulebook relate to a range of potential applications of processed sludge (agriculture, landfill covering material, land reclamation, in parks and other green areas, etc.). It was therefore considered essential to make adequate provisions (technical, financial) for supplementary sludge treatment at the proposed wastewater treatment plants in order to ensure finally processed sludge with quality allowing for further handling according to the rulebook.  The costs of the supplementary sludge treatment are included in the overall wastewater treatment investment cost assessment.

It is of note that this “many to one” approach for agglomerations to treatment plants is:

- In full accordance with the Directive and associated guidance

- Increases the capital cost of the sewer transfer infrastructure (transit collectors and pumping stations)

- Slightly decreases the capital cost of WWTP construction through economies of scale

- Significantly reduces the operational costs of WW Treatment

### Effluent Requirements

In line with the Directive 91/271/EEC concerning urban wastewater treatment, as well as National legislation, urban wastewater collected in agglomerations of more than 2,000 PE shall be subject to secondary treatment as a minimum. In case of discharge into sensitive areas wastewater collected in agglomerations of more than 10,000 PE shall be subject to more stringent treatment, including nutrient removal.

According to the Decision on delineation of sensitive areas in Montenegro (OG MNE 46/2017), recipients within the River Danube and Adriatic catchments are to be considered as sensitive areas in terms of the UWWTD. The Adriatic Sea (marine water body) at the points of discharge of treated effluent from the existing WWTP Tivat-Kotor, and planned WWTPs in Bar and Ulcinj could be considered non-sensitive, due to good water exchange and consequently low probability of eutrophication (subject to further detail investigations). The existing sea outfall in Ulcinj is outside the boundary of delineated sensitive area, whereas treated effluent of the WWTP Kotor-Tivat is discharged at the outer boundary of the bay Trašte, via 3.6km long deep sea outfall. Apart from analyses of tidal currents and geology of the seabed considered for design of the deep sea outfall, additional investigation and assessment of the impact on marine environment should be conducted for each of the aforesaid deep sea outfalls. Additional investigation shall include physical-chemical, microbiological and biological analyses of the sea water and biota at the point of discharge. Subject to the size of the WWTP the requirements concerning effluent quality are set as follows:

- For the WWTPs of more than 10,000 PE (except for the WWTPs Tivat-Kotor, Bar and Ulcinj) in accordance with the UWWTD for sensitive areas (Table 6.4, Table 6.5)

- For the WWTPs Tivat-Kotor, Bar and Ulcinj in accordance with the UWWTD for non-sensitive areas (Table 6.6)

- For the WWTPs of less than 10,000 PE in accordance with the UWWTD for non-sensitive areas (Table 6.6)

- For the WWTPs of the capacity larger than 10,000 PE and discharge of treated effluent into the ground or reuse in irrigation in accordance with the UWWTD for non-sensitive areas, BWD and WHO recommendations (Table 6.7)

Table 6.4 – Required effluent quality for discharge into sensitive areas (10,000-100,000 PE)

| Parameter | Unit | Value |
| --- | --- | --- |
| BOD5 | mg/l | 25 |
| COD | mg/l | 125 |
| Total Suspended Solids | mg/l | 35 |
| Total Nitrogen* | mg/l | 15 |
| Total Phosphorous | mg/l | 2 |

*Total nitrogen: organic N + NH4-N + NO3-N + NO2-N

Table 6.5 – Required effluent quality for discharge into sensitive areas for WWTPs > 100,000 PE

| Parameter | Unit | Value |
| --- | --- | --- |
| BOD5 | mg/l | 25 |
| COD | mg/l | 125 |
| Total Suspended Solids | mg/l | 35 |
| Total Nitrogen* | mg/l | 10 |
| Total Phosphorous | mg/l | 1 |

*Total nitrogen: organic N + NH4-N + NO3-N + NO2-N

Table 6.6 – Required effluent quality for discharge into non-sensitive areas

| Parameter | Unit | Value |
| --- | --- | --- |
| BOD5 | mg/l | 25 |
| COD | mg/l | 125 |
| Total Suspended Solids | mg/l | 35 |
| Total Nitrogen | mg/l | - |
| Total Phosphorous | mg/l | - |

In exceptional circumstances discharge of treated effluent into the ground would be allowed. These exceptional circumstances include carst areas with lack of surface water recipient. For effluent discharged into the ground or reused in irrigation more advanced treatment would be required. In accordance with the WHO recommendation, advanced treatment includes tertiary filtration and disinfection.

Table 6.7 – Required effluent quality for discharge into the ground or reuse in irrigation

| Parameter | Unit | Value |
| --- | --- | --- |
| pH |  | 6-9 |
| Turbidity | NTU | ≤ 5 |
| BOD5 | mg/l | ≤ 10 |
| COD | mg/l | ≤ 30 |
| Total Suspended Solids | mg/l | ≤ 10 |
| Total Nitrogen | mg/l | 10 |
| Total Phosphorous | mg/l | 1 |
| Faecal coliforms | n/100 ml | 0 |

### Wastewater Treatment Processes

Wastewater treatment is a combination of physical and biological processes for removal of settleable and dissolved organic matter from the wastewater. Most commonly, wastewater treatment includes preliminary, primary and secondary treatment. For sensitive receiving waters (potentially eutrophic) secondary treatment consists of biological nutrient removal processes/advanced treatment. In some cases, there is a need for disinfection (where effluent may affect required bathing water quality or should be reused for irrigation).

Based on effluent quality requirements presented in the previous section, the load of the WWTP and chosen sludge stabilization process, wastewater treatment processes may be classified as follows.

Table 6.8 –Wastewater Treatment Processes relative to Effluent Requirements

| Non-sensitive areas | <10,000 PE | aerobic sludge stabilization | Preliminary Treatment Secondary Treatment |
| --- | --- | --- | --- |
|  | ≥10,000 PE |  |  |
| Sensitive areas | ≥10,000 PE | aerobic sludge stabilization | Preliminary Treatment Secondary/Advanced Treatment with BNR |
|  | ≥10,000 PE | anaerobic sludge stabilization | Preliminary Treatment Primary Treatment Secondary/Advanced Treatment with BNR |
| Effluent reuse/discharge into the ground | ≥10,000 PE | aerobic sludge stabilization | Preliminary Treatment Secondary/Advanced Treatment with BNR Effluent Filtration Effluent Disinfection |

#### Preliminary wastewater treatment

In order to protect pumps from coarse material and prevent blockages, coarse screens with automatic cleaning are normally foreseen upstream of a lifting pumping station. Coarse screens are designed to cope with the maximum wastewater flows, provided with a stand-by unit of appropriate capacity. The lifting pumping station is normally provided with three pumps (two duty + one stand-by) of corresponding capacity to lift water to the subsequent fine screens. Excess incoming flows occurring during stormwater events often overflow to a stormwater retention tank.

Preliminary treatment is compulsory for all WWTPs regardless of their size. The main objective of this treatment is to reduce silting in the downstream tanks and reduce abrasion effect on process equipment. Preliminary treatment comprises the following process units:

- Fine Screens

- Flow measurement

- Influent sampling

- Grit and grease removal unit (Aerated Grit Chamber)

Fine screens with 6mm clear openings and automatic cleaning shall be installed downstream of the Inlet Pumping Station. Operational capacity of the screens normally corresponds to the peak design flow to the WWTP. In addition, a stand-by unit of same characteristics shall be foreseen.

In order to avoid odour nuisance all channels and manholes have to be covered and both coarse and fine screens must be enclosed in order to avoid odour problems, provided with corresponding conveying system and finally washing and compaction unit prior to discharge of waste screenings into containers for temporary storage prior to final disposal. Washed and compacted waste from the screens is considered non-hazardous waste and may be disposed onto a landfill.

Downstream of the fine screens, fine mineral settleable matter (grit and sand) is allowed to settle in aerated grit chambers, while floatable grease and oil is separated on the surface of the grease separating compartments. Air is introduced via diffusers, assisting grit and sand particles larger than 0.2mm to settle without organic impurities and the oil and grease to float to the surface. Aerated grit chambers shall be designed for peak wastewater flow. Grit is extracted by means of a submerged pump and subsequently washed and classified before disposal.

Grease collected at the grease chamber shall be transferred into sludge buffer tank and digested together with sludge. Configuration of subsequent facilities along the wastewater treatment line depends on the effluent requirements and proposed sludge treatment process.

#### Primary wastewater treatment

Following the Preliminary treatment, wastewater enters primary sedimentation tanks. The main objective of primary sedimentation is removal of settleable suspended solids and removal of floatable matters.

Circular Primary sedimentation tanks with central feed well and rotating scrapers are foreseen. Wastewater enters sedimentation tanks where settling of larger settleable solids takes place. Scraper bridge is equipped with a skimming blade for scum removal.  Settled primary sludge is removed from the tank by pumps, and transported to Primary Sludge Thickener.

Wastewater moves towards the weir and overflows into collecting trough. Floating material shall be prevented from reaching the overflow weir by a baffle.

The distribution chamber prior to the primary sedimentation tanks is arranged so that it is possible to bypass each tank or all tanks.

Depending on requirements of the secondary treatment, primary sedimentation tanks are designed with hydraulic retention time between 0.75 and 2h. Surface load of a primary sedimentation tank is normally from 2.5m/h to 4 m/h for the peak dry-weather flow. Maximum velocity should not exceed 3 cm/s.

Primary sedimentation tanks are not used in WWTPs with aerobic stabilization of sludge due to problems caused by septic conditions with prolonged retention times and high energy demand.

#### Secondary (biological) wastewater treatment

After removal of coarse and floating matters at the preliminary treatment, wastewater enters biological treatment stage where it comes into contact with microorganisms responsible for degradation of organic pollution. Activated sludge process is comprised of the following:

- aeration,

- solid-liquid separation,

- discharge of clarified effluent,

- return of activated sludge to the aeration tank and

- wasting of excess biomass

In the biological activated sludge process colloidal and dissolved organic matter is converted into flocculent settable biological solids. These solids are removed in the Final Sedimentation Tanks (FST).

Active biomass contains various types of bacteria required for different environmental conditions for their growth and development. Carbonaceous organic matter is degraded by an active biomass sustained in an aerobic environment. Heterotrophic microorganisms convert the organic carbon to new cells and various end products using the oxidation/synthesis and endogenous respiration.

The selection of the activated sludge system is based on various operational factors including reaction kinetics, BOD/N-ratio, temperature, oxygen transfer requirements, environmental conditions, construction, operation flexibility, operation stability and operation and maintenance costs.

Clarified effluent is discharged into a receiving water, whereas excess sludge is removed by means of excess sludge pumps.

In order to maintain mixed liquor suspended solids in aeration tank, continuous recirculation of sludge from the FST to inlet of aeration tank is foreseen.

Figure 6-2 – General Wastewater Treatment Scheme for non-sensitive areas

For sensitive areas, where more stringent requirements are to be met the advanced treatment process with biological/chemical nutrient removal shall be applied.

In municipal wastewater nitrogen is present as ammonia and as organic nitrogen. In biological wastewater treatment systems nitrogen is removed by assimilation (15-20% of total nitrogen) and by the biological nitrogen removal process, accomplished in two stages: nitrification and denitrification. In nitrification process ammonia is oxidised to nitrate by two groups of bacteria that operate in sequence: nitrobacter and nitrosomonas. Providing oxygen through aeration for ammonia oxidation to nitrate is most energy consuming process.  The biological process of denitrification transforms nitrate-nitrogen into nitrogen gas. Denitrification is achieved when heterotrophic bacteria that use oxygen from nitrate and nitrite for organic carbonaceous oxidation. The end product is gaseous nitrogen which is released into the atmosphere. The process must be performed in anoxic environment.

Phosphorous is present in wastewater as phosphate, both in soluble and suspended form. Only 10 to 15% of the total phosphorous contained in settable particles may be removed by primary sedimentation. The principle of removing phosphorous from wastewater is based on transfer of soluble phosphorus to polyphosphates which are accumulated by bacteria and removed with the waste activated sludge process. Phosphorus accumulating (PAO) bacteria are exposed to alternate anaerobic and aerobic conditions. If an enhanced biological phosphorus removal is to be achieved, there must also be a sufficiently high amount of readily biodegradable low-molecular organics supplied to the anaerobic compartment from the influent.

Biological nutrient removal process generally includes the following:

- anaerobic stage for P release,

- anoxic stage for de-nitrification,

- oxic stage for carbon removal and nitrification,

- final sedimentation tanks

Anaerobic and anoxic tanks will be provided with sufficient mixing devices. Aeration is provided by blowers and diffusers installed at the bottom of the tank. In addition to aeration equipment, aeration tanks are provided with flow boosting units.

Following secondary (biological) treatment, nitrified flow passes to final sedimentation tanks where most of the biological solids settle as secondary sludge, while clarified effluent is discharged to a receiving water.

Figure 6-3 – Sensitive areas - General BNR arrangement

Figure 6-4 – Sensitive areas - Process scheme with BNR and Primary treatment

#### Effluent filtration

Where required for treated effluent reuse, further removal of suspended solids and BOD from secondary effluent can be achieved by granular media filters.

#### Effluent disinfection

Secondary treated effluent contains a range of pathogenic micro-organisms that pose a potential risk to the health of humans and livestock. The main objective of disinfection is to reduce the number of waterborne pathogens, and thereby lowering the risk of infectious diseases.

The most common methods of effluent disinfection include application of chlorine products or UV disinfection.

Chlorine is a very effective against enteric bacteria. Effective chlorine disinfection depends on the correct combination of pH, chlorine concentration and contact time as well as the levels of ammonia and suspended solids. The main disadvantage of chlorine disinfection is toxicity of free and combined chlorine to aquatic organisms.

The disinfection of treated wastewater via ultraviolet (UV) radiation is a physical process that principally involves passing a film of wastewater within close proximity of a UV source (lamp). The efficiency of UV disinfection depends on the physical and chemical quality of effluent exposed to the disinfection.

The main advantage of the UV disinfection process is that there are no residual or by-products that adversely impact on a receiving water.

Table 6.9 – Required Level of Wastewater Treatment

| Wastewater Treatment Process | Parameters removed | Non-sensitive area | Sensitive area/Effluent reuse |
| --- | --- | --- | --- |
| Preliminary | Coarse suspended solids (larger material and sand) |  |  |
| Primary | Settleable suspended solids Particulate (suspended) BOD (associated to the organic component of the settleable suspended solids) |  |  |
| Secondary | Particulate (suspended) BOD (associated to the particulate organic matter present in the raw sewage, or to the non-settleable particulate organic matter not removed in the primary treatment) Soluble BOD (associated to the organic matter in the form of dissolved solids) |  |  |
| Tertiary | Nutrients Pathogenic organisms Non-biodegradable compounds Metals Inorganic dissolved solids Remaining suspended solids |  |  |

### Selection of Wastewater Treatment Options

Basic principles of selection of the wastewater treatment process include the following:

- Required initial and ultimate plant capacity relevant to planning periods

- Modular design and possibility/flexibility for extension

- Land availability including considerations of space for future expansions;

- Seasonal variations of design loads (hydraulic and pollution);

- Loads and impact of industrial wastewater;

- Allowance for septic tanks discharge and co-treatment with municipal wastewater;

- Effluent standards to be achieved;

- Sludge treatment requirements relative to applicable sludge management options;

- Climate conditions;

- Proximity of residential areas and nuisance caused by odour, noise or visual impacts;

- Complexity and availability of skilled operators;

- Operation and maintenance requirements

The principal biological processes used for wastewater treatment can be divided in two main categories:

- Suspended growth activated sludge systems where micro-organisms are maintained in suspension within liquid

- Attached growth (fixed film) activated sludge systems where microorganisms are attached to either fixed or moving media.

Main characteristics of various suspended and attached growth systems are presented in the following table.

Table 6.10 – Variations of Suspended Growth Activated Sludge Process

| Conventional Activated Sludge Process | The biological stage comprises two units: aeration tank and secondary sedimentation tank. High concentration of biomass within the tank is maintained by recirculation of settled solids from the bottom of the sedimentation tank. Aeration is provided by mechanical aerators or diffused system. Excess sludge removed from the system is subject to further sludge treatment in the plant. |
| --- | --- |
| Extended aeration | Similar to Conventional ASP, but with prolonged aeration and biomass retention in the system. Consequently, biological tanks are bigger than in case of a Conventional system. Usually, biological tank follows preliminary treatment, whereas primary treatment is not required. |
| Sequencing Batch Reactors (SBR) | The operation of the system is intermittent - the reaction and settling stages take place in the same tank. When the aerators are turned off solids are settling, which allows removal of clarified effluent. When the aerators are turned on again, settled solids return to the liquid mass, with no need for sludge recirculation pumps. The system can operate either in conventional or extended aeration mode. |
| Activated Sludge Process with Biological Nitrogen Removal | The biological reactor incorporates an anoxic zone (absence of oxygen, but presence of nitrates). The anoxic zone can be upstream (pre-denitrification) and/or downstream of the aerated zone (simultaneous nitrification/denitrification or post-denitrification). Nitrates formed in the nitrification process that takes place in the aerobic zone are used in the respiration of facultative microorganisms in the anoxic zones, being reduced to gaseous molecular nitrogen, which escapes to the atmosphere. |
| Activated Sludge Process with Biological Nitrogen and Phosphorous Removal | Besides the aerobic and anoxic zones, the biological reactor also incorporates an anaerobic zone, situated at the upper end of the tank. Internal recirculation makes biomass to be successively exposed to anaerobic and aerobic conditions. With this alternation certain group of microorganisms absorbs phosphorus from liquid medium in quantities that are much higher than those which would be normally required for their metabolism. Withdrawal of these organisms in excess sludge results in the removal of phosphorus from the biological reactor. |
| Membrane Bioreactor (MBR) | The system consists of a biological reactor with suspended biomass and solid separation by microfiltration membranes, replacing the solids separation function of the secondary clarification and effluent filtration. System is often used for effluent re-use application. |

Table 6.11 – Variations of Attached Growth Activated Sludge Process

| Trickling Filter | Wastewater is treated by bacteria that grow attached to a support medium (commonly stones or plastic material) under aerobic conditions. Wastewater is applied at the surface of the tank through rotating distributors. Liquid percolates through the tank and leaves it at the bottom, while organic matter is retained and then further removed by bacteria. Free spaces permit the circulation of air. Sludge that is detached from the support medium is removed in the secondary sedimentation tank. The system requires primary sedimentation. |
| --- | --- |
| Submerged Aerated Bio-filter | The submerged aerated bio-filter consists of a tank with a porous material (usually submerged), through which wastewater and air flow permanently. The air flow is always upwards, while the liquid flow can be downward or upward. Apart from being a support medium for biomass growth, the carrier media also acts as a filter medium. Periodic back-washing is necessary to eliminate excess biomass accumulated, reducing the head loss through the medium. |
| Rotating Biological Contactor | Biomass grows adhered to a support medium, which usually consists of a series of discs. The discs, partially immersed in liquid, rotate, exposing their surface alternately to liquid and air. |

Table 6.12 – Advantages and Disadvantages of Process Treatment Options

| Process | Advantages | Disadvantages |
| --- | --- | --- |
| Conventional Activated Sludge Process | High BOD removal efficiency Nitrification usually obtained Biological removal of N and P possible Low land requirements Reliable Process Operational flexibility | Low coliform removal efficiency High construction and operational costs High energy consumption Relatively sensitive to toxic discharges |
| Extended aeration | High BOD removal efficiency Consistent nitrification Conceptually simpler than Conventional ASP Lower sludge production than in Conventional ASP High resistance to load variations and toxic loads | Low coliform removal efficiency High construction and operational costs System with the highest energy consumption |
| Sequencing Batch Reactors (SBR) | High BOD removal efficiency Satisfactory biological N removal and P removal possible Low land requirement Operational flexibility through cycle variation | Low coliform removal efficiency High construction and operational costs Greater installed power than the other Activated Sludge Systems More competitive to small or medium size plants |
| Activated Sludge Process with Biological Nutrient Removal | Same as Conventional ASP High nutrient removal efficiency | The same as Conventional ASP More complex operation |
| Membrane Bioreactor (MBR) | Higher volumetric loading and thus lower hydraulic retention time Lower sludge production Less space required than other ASPs High quality effluent in terms of Turbidity, bacteria, TSS, BOD | High capital costs High energy costs Potentially high membrane replacement costs Complex operation Skilled personnel required |
| Trickling Filter | Good BOD removal efficiency Conceptually simpler than Conventional ASP Low land requirement | Low coliform removal efficiency Lower operational flexibility than Conventional ASP High construction costs Relative dependence from the air temperature High headless |
| Submerged Aerated Biofilter | High BOD removal efficiency Optional nitrification Low land requirement | Low coliform removal efficiency Relatively high construction and operational costs High energy consumption |
| Rotating Biological Contactor | Conceptually simpler than Conventional ASP Low land requirement Simple operation | Mainly indicated for small size WWTPs Dependent from the air temperature Comparatively lower operational costs |

Excess sludge is extracted from biological tanks by means of pumps and transferred to a gravity thickener. Subject to size of a particular WWTP and chosen sludge management option excess sludge could be:

transferred to excess sludge thickening/storage tank and then further distributed over reed beds by means of sludge pumps

aerobically stabilised (simultaneously in a biological tanks or in a separate tank), thickened and mechanically dewatered

thickened, mixed with thickened primary sludge, anaerobically stabilized and mechanically dewatered

Sludge humification (sludge treatment in reed beds) is proposed as cost effective, natural sludge dewatering and post-stabilization at small WWTP’s with the design capacities up to 10,000 PE. Final product of reed beds is fully stabilized, humus, with around 30 % of dry solids which is withdrawn from the reed beds after 8-10 years of operation. Reed beds are not recommended in coastal area, in steep slopes and in sensitive area.

Therefore, small WWTPs in coastal or sensitive areas would have mechanical dewatering facilities in order to reduce volume of sludge for transport and consequently reduce transportation costs to the nearest regional sludge management centre.

Larger WWTPs between 10,000 and 40,000 PE as well as WWTPs with significant seasonal load variation (coastal area) would include aerobic stabilization before thickening and dewatering process.

WWTP of more than 40,000 PE, except in the coastal area, would include anaerobic stabilization of sludge.  After thickening, primary and excess sludge are mixed and fed to anaerobic digesters for stabilization. Digested sludge will be finally dewatered prior to further treatment in the regional sludge management centre or disposal.

Figure 6.5 – Sludge Treatment Scheme for Larger WWTPs

Anaerobic sludge digestion is a widely applied method for stabilisation of waste activated sludge. Waste sludge is introduced into an anaerobic digester in which anaerobic bacterial populations develop in the air-free environment. These bacteria use waste sludge as their substrate, transforming it into stable gaseous products and anaerobic bacterial mass. Anaerobic stabilization process converts sludge to biologically stable product for final disposal, safe storage or further reuse. Stabilization also reduces the odours, bacteria levels and amount of solids present in sludge. During the methane fermentation approximately 50% of the total organic matter present in sludge decomposes producing biogas. Produced gas is utilized in a gas generator for production of electrical power and heat. Sludge from the digesters is fed to a digested sludge thickener before the dewatering units.

Figure 6.6 – Biogas Treatment and Utilisation Scheme

Biogas generated in a digester can be heavily contaminated with foam particles, various particulate matter and water vapour. Pre-filtration of gas can be achieved by using a gravel filter. The role of biogas holder is to balance peaks of the biogas production and consumption. In order to remove remaining fine particles and protect units downstream of the CHP unit biogas flows through ceramic filter. With the increasing use of silicone in biomedical and cosmetic applications it is now also usual to install siloxane removal equipment if gas is to be used for electricity generation at CHP units.  Excess gas is burned on a flare located between the biogas holder and CHP unit.

### Proposed Configuration of WWTPs

In accordance with the above presented criteria the following configuration of WWTPs is proposed:

- Preliminary treatment is obligatory for all WWTPs (coarse/fine screens, grit and grease removal)

- Subsequent levels of wastewater treatment are proposed in accordance with the capacity of the WWTP and chosen sludge treatment process:

- WWTPs of the capacity of less than 10,000 PE shall provide secondary treatment of the wastewater.

- Except for the exceptional cases, according to the national legislation WWTPs with capacity of more than 10,000 PE have to include nutrient removal.

- Primary treatment will not be included in WWTPs with sludge aerobic stabilization.

- With reference to sludge treatment, the following processes are foreseen:

- For WWTPs with capacity of less than 10,000 PE sludge humification in reed beds

- For WWTPs in the coastal area and WWTPs of the capacity between 10,000 and 40,000 PE aerobic sludge stabilisation, sludge thickening, dewatering and lime stabilization

- For WWTP capacity of 40,000 and larger (except the WWTPs in coastal areas), anaerobic sludge stabilisation, sludge thickening and dewatering

- Adequate septic sludge receiving facility should be provided at larger WWTPs in order to cope with septic sludge collected within a service area.

- All WWTPs shall be designed to ensure minimum nuisance caused by noise and emission of odorous air. Inlet works and sludge treatment facilities should be covered, provided with sufficient ventilation and extraction of odorous air and odour treatment facilities.

Figure 6-7 –Configuration of WWTPs

Table 6.13 – Overview of proposed WWTP-s – per agglomeration/LSGU/region

| Mun. No | Municipality | Agg. No. | Agglomeration | Ultimate WWTP capacity (PE) | More stringent treatment required (Y/N) | Available functional treatment capacity (PE) | Additional treatment capacity (Article 4) (PE) | Additional treatment capacity (Article 5) (PE) | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica | 1 | Andrijevica 1 | 3,000 | N | - | 3,000 | - |  |
| 2 | Berane | 2 | Berane 1 | 27,000 | Y | 20,000 | - | 7,000 | Phase I of WWTP - 20,000 PE under construction, extension to Phase II, if required |
| 3 | Bijelo Polje | 3 | Bijelo Polje 1 | 30,000 | Y | - | - | 30,000 |  |
| 4 | Gusinje | 4 | Gusinje 1 | 4,000 | N | - | 4,000 | - |  |
| 5 | Kolašin | 5 | Kolašin 1 | 7,000 | N | - | 7,000 | - |  |
| 6 | Mojkovac | 6 | Mojkovac 1 | 5,200 | N | 5,200 | - | - | Existing WWTP |
| 7 | Petnjica | 7 | Petnjica 1 | 1,200 | N | - | 1,200 | - |  |
| 8 | Plav | 8 | Plav - 1 | 10,000 | N | - | 10,000 | - |  |
| 9 | Pljevlja | 9 | Pljevlja 1 | 28,000 | Y | 28,000 | - | - | Plant under construction - Phase I of 28,000 PE |
| 10 | Plužine | 10 | Plužine 1 | 1,500 | N |  | 1,500 | - |  |
| 11 | Rožaje | 11 | Rožaje 1 | 20,000 | Y | - | - | 20,000 |  |
| 12 | Šavnik | 12 | Šavnik 1 | 500 | N | 500 | - | - | Existing WWTP |
| 13 | Žabljak | 13 | Žabljak 1 | 4,500 | N | 2000 | 2,500 | - | Extension of WWTP |
| 14 | Cetinje | 14 | Cetinje 1 | 20,000 | Y | - | - | 20,000 |  |
| 15 | Danilovgrad | 15 | Danilovgrad 1 | 7,000 | N | - | 7,000 | - | In Tendering Procedure Phase I of WWTP – 6,000 PE |
| 15 | Danilovgrad | 16 | Danilovgrad 2 | 3,500 | N | - | 3,500 | - |  |
| 16 | Nikšić | 17 | Nikšić 1 | 103,000 | Y | 103,000 | - | 20,000 | Construction of additional WWTP for southern part of agglomeration. Wastewater from the southern part of agglomeration would be either treated at the existing WWTP (Option 1) or at new separate WWTP (Option 2) where wastewater transport shall be mainly by gravity |
| 17 | Podgorica | 18 | Podgorica 1 | 240,000 | Y | 55,000 | - | 240,000 | Current WWTP in very poor operational condition, to be closed |
| 17 | Podgorica | 19 | Golubovci 1 | 20,000 | Y | - | - | 20,000 |  |
| 17 | Podgorica | 20 | Tuzi 1 | 9,000 | N | - | 9,000 | - |  |
| 18 | Bar | 21 | Bar 1 | 30,000 | Y | - | - | 30,000 |  |
| 18 | Bar | 22 | Bar 2 | 70,000 | N | - | 70,000 | - | Should be confirmed by marine discharge investigation and EIA |
| 18 | Bar | 23 | Bar 3 | 3,000 | N | - | 3,000 | - |  |
| 18 | Bar | 24 | Bar 4 | 3,000 | N | - | 3,000 | - |  |
| 19 | Budva | 25 | Budva 1 | 108,000 | Y | 100,000 | 8,000 | - | Additional WWTP Sveti Stefan of 8,000PE, requirements for non-sensitive areas apply |
| 19 | Budva | 26 | Budva 2 | 15,000 | Y | - | - | 15,000 |  |
| 19 | Budva | 27 | Budva 3 | 4,500 | N | - | 4,500 | - |  |
| 20 | Herceg Novi | 28 | H.Novi 1 | 69,000 | Y | 69,000 | - | - |  |
| 20 | Herceg Novi | 29 | H.Novi 2 | 2,000 | N |  | 2,000 | - |  |
| 20 | Herceg Novi | 30 | H.Novi 3 | 2,000 | N |  | 2,000 | - |  |
| 21 | Kotor | 31 | Kotor 1 | - |  |  | - | - | Connected to regional WWTP Kotor-Tivat |
| 21 | Kotor | 32 | Kotor 2 | 2,000 | N |  | 2,000 | - |  |
| 21 | Kotor | 33 | Kotor 3 | 2,700 | N |  | 2,700 | - |  |
| 21 | Kotor | 34 | Kotor 4 | 3600 | N |  | 3,600 | - |  |
| 22 | Tivat | 35 | Tivat 1 | 72,500 | N | 72,500 | - | - | Should be confirmed by marine discharge investigation and EIA |
| 22 | Tivat | 36 | Tivat 2 | - | N |  | - | - | To be connected to WWTP Kotor-Tivat |
| 23 | Ulcinj | 37 | Ulcinj 1 | 65,000 | N | - | 65,000 | - |  |
|  | Sub-total |  |  | 141,900 |  | 55,700 | 29,200 | 57,000 |  |
|  | Sub-total |  |  | 422,500 |  | 103,000 | 19,500 | 300,000 |  |
|  | Sub-total |  |  | 452,300 |  | 241,500 | 165,800 | 45,000 |  |
|  | Gross total |  |  | 1,016,700 |  | 400,200 | 214,500 | 402,000 |  |

Table 6.14 – Overview of Selected Wastewater and Sludge Treatment Options

| Mun. No | Municipality | Agg. No. | Agglomeration | WWTP load – final capacity (PE) | Q ww (m3/day) | WW Treatment (S/T) S-secondary T-tertiary | Sludge Treatment (AS/AD/ DW/L/H) | Sludge DS (dry substance) (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica | 1 | Andrijevica 1 | 3,000 | 750 | S | H | 30% |
| 2 | Berane | 2 | Berane 1 | 27,000 | 6,750 | T | AS/DW | 22% |
| 3 | Bijelo Polje | 3 | Bijelo Polje 1 | 30,000 | 7,500 | T | AS/DW | 22% |
| 4 | Gusinje | 4 | Gusinje 1 | 4,000 | 1,000 | S | H | 30% |
| 5 | Kolašin | 5 | Kolašin 1 | 7,000 | 1,750 | S | H | 30% |
| 6 | Mojkovac | 6 | Mojkovac 1 | 5,200 | 1,300 | S | H | 30% |
| 7 | Petnjica | 7 | Petnjica 1 | 1,200 | 300 | S | H | 30% |
| 8 | Plav | 8 | Plav - 1 | 10,000 | 2,500 | T | AS/DW/L | 30% |
| 9 | Pljevlja | 9 | Pljevlja 1 | 28,000 | 7,000 | T | AS/DW | 22% |
| 10 | Plužine | 10 | Plužine 1 | 1,500 | 375 | S | H | 30% |
| 11 | Rožaje | 11 | Rožaje 1 | 20,000 | 5,000 | T | AS/DW | 22% |
| 12 | Šavnik | 12 | Šavnik 1 | 500 | 125 | - | - | 0% |
| 13 | Žabljak | 13 | Žabljak 1 | 4,500 | 1,125 | S | H | 30% |
| 14 | Cetinje | 14 | Cetinje 1 | 20,000 | 5,000 | T | AS/DW | 22% |
| 15 | Danilovgrad | 15 | Danilovgrad 1 | 7,000 | 1,750 | T | AS/DW | 22% |
| 15 | Danilovgrad | 16 | Danilovgrad 2 | 3,500 | 875 | S | AS/DW | 22% |
| 16 | Nikšić | 17 | Nikšić 1 | 123,000 | 30,750 | T | AD/DW/L | 35% |
| 17 | Podgorica | 18 | Podgorica 1 | 240,000 | 60,000 | T | AD/DW | 28% |
| 17 | Podgorica | 19 | Golubovci 1 | 20,000 | 5,000 | T | AS/DW | 22% |
| 17 | Podgorica | 20 | Tuzi 1 | 9,000 | 2,250 | S | AS/DW | 22% |
| 18 | Bar | 21 | Bar 1 | 30,000 | 7,500 | T | AS/DW | 22% |
| 18 | Bar | 22 | Bar 2 | 70,000 | 17,500 | S | AS/DW | 22% |
| 18 | Bar | 23 | Bar 3 | 3,000 | 750 | S | AS/DW | 22% |
| 18 | Bar | 24 | Bar 4 | 3,000 | 750 | S | AS/DW | 22% |
| 19 | Budva | 25 | Budva 1 | 108,000 | 27,000 | T | AS/DW/L | 35% |
| 19 | Budva | 26 | Budva 2 | 15,000 | 3,750 | T | AS/DW/L | 35% |
| 19 | Budva | 27 | Budva 3 | 4,500 | 1,125 | S | AS/DW/L | 35% |
| 20 | Herceg Novi | 28 | H.Novi 1 | 69,000 | 17,250 | - | - | 0% |
| 20 | Herceg Novi | 29 | H.Novi 2 | 2,000 | 500 | S | AS/DW | 22% |
| 20 | Herceg Novi | 30 | H.Novi 3 | 2,000 | 500 | S | AS/DW | 22% |
| 21 | Kotor | 31 | Kotor 1 | - | - | - | - | - |
| 21 | Kotor | 32 | Kotor 2 | 2,000 | 500 | S | AS/DW | 22% |
| 21 | Kotor | 33 | Kotor 3 | 2,700 | 675 | S | AS/DW | 22% |
| 21 | Kotor | 34 | Kotor 4 | 3600 | 900 | S | AS/DW | 22% |
| 22 | Tivat | 35 | Tivat 1 | 72,500 | 18,125 | S | AS/DW/L | 35% |
| 22 | Tivat | 36 | Tivat 2 | - | - | - | - | - |
| 23 | Ulcinj | 37 | Ulcinj 1 | 65,000 | 16,250 | S | AS/DW | 22% |
|  | Sub-total |  |  | 141,900 | 35,475 |  |  |  |
|  | Sub-total |  |  | 422,500 | 105,625 |  |  |  |
|  | Sub-total |  |  | 452,300 | 113,075 |  |  |  |
|  | Gross total |  |  | 1,016,700 | 254,175 |  |  |  |

AS – aerobic (sludge) stabilisation

DW – dewatering

H – humicifation

L – lime dosing

## Sewage sludge management

Wastewater sludge management is considered one of greatest environmental challenges in the last decade and for the coming period. Of about 10 million tons of sludge dry solids(DS) per year produced in Europe 45% is used in agriculture, 23% is subject to thermal treatment (incineration), 18% disposed into the sea and around 7% is disposed on landfills.

Proper management of sludge generated as a result of wastewater treatment at the existing and planned wastewater facilities represents very important segment of the overall wastewater management, and it is also very much related to other environmental sub-sectors.

As the number and operational capacity of wastewater treatment increases (as planned), the necessity to ensure adequate sewage management would become pressing and demanding. Based on the available regulations, by-laws, studies and strategies it could be concluded that the sewage sludge management has been fairly well regulated and elaborated. Some of relevant regulations and studies are listed below:

- Law on Waste Management (OG MNE, 64/11 and 39/16), MSDT

- Rulebook on Sewage Sludge - Rulebook on detailed conditions to be fulfilled by the municipal sewage sludge, quantity, volume, frequency and methods of sewage sludge analysis and properties of the land envisaged for its application (Official Gazette MNE, 89/09)

- Rulebook of detailed characteristics of the location, the conditions for construction, sanitary and technical conditions, operation and closure of landfills (Official Gazette MNE, 031/13 and 025/16)

- Sludge Disposal Study for the Coastal Area of Montenegro, 2010, updated in 2014

- Preparatory Study for Solar Sludge Drying Facilities for Herceg Novi and Tivat/Kotor WWTPs, 2016

- Pre-Feasibility Study for Sludge Incineration Plant in Podgorica

The national Rulebook on Sewage Sludge (translation in English included in Annexes) specifies the following:

- The conditions that must be fulfilled in order to used processed sewage sludge in solid waste management

- Methods of analysis of treated municipal sewage sludge

- Method of use of treated municipal sewage sludge

- Analysis of treated municipal sewage sludge

- The use of treated municipal sewage sludge

- Appendices - criteria

With regard to potential use of processed sewage sludge, the Rulebook allows for the following (provided that it meets the specific requirements stipulated in the Rulebook):

- in agriculture for the purposes set forth by the Law on Waste Management – the most stringent requirements;

- on green areas and parks – less stringent requirements;

- land recultivation on landfills, barren soil, mining areas – least stringent requirements;

With regard to dry-solids content, that is important for all potential applications, the requirements of the Rulebook are summarised as follows:

- up to 25% DS content expected after processing at a WWTP

- 50% DS for use in agriculture and on green areas and parks

- 35% DS for disposal to landfills use as landfill cover or re-cultivation of landfill, barren land and mining areas.

The requirements set in the Rulebook can be characterised as reasonable and achievable, especially for potential use No. 3, where the requirements are least demanding.

Nevertheless, application of sewage sludge in agriculture has not been recognized by the Law on fertilisers (OG MNE 48/07 and 76/08) and in the Regulation on the principles of good agricultural practice (OG MNE 29/14).

Directive 86/278/ EEC was adopted with a view to encourage the application of sewage sludge in agriculture and to regulate its use. Due to concerns about the potential risks of the agricultural use of sludge for health and the environment some European countries set stricter requirements while others (such as the Netherland and Flanders) have restricted the use of sewage sludge in agriculture. Concerns have been raised over the occurrence of organic contaminants in sludge and as a consequence, some Member States have adopted limit values for various groups of compounds. The European Commission is currently assessing whether the current Directive should be reviewed by means of establishment of stricter limit values for heavy metals as well as setting requirements for other contaminants.

Disposal of sewage sludge on sanitary landfills is not practiced since none of the existing operational sanitary landfills (Livade in Podgorica and Možura in Bar) accepts sewage sludge from the existing WWTPs due to lack of available capacity.

The Sludge Disposal Study for the Coastal Area of Montenegro analysed the following potential disposal options for estimated ultimate sewage sludge quantity upon compliance with the UWWTD, i.e. completion of WWTPs:

- Land-based

  - agriculture

  - green areas

  - forestry

  - land reclamation

- Product based

  - compost production

  - construction materials

- Energy recovery – co-combustion (power generation, cement production)

- Disposal – landfill disposal of sludge or ash

The Sludge Study offers very valuable considerations and proposals regarding sewage sludge management. Brief extract from the Study, outlining potential sludge outlets is presented herein below.

From the assessment undertaken of the potential outlets for sludge, it is evident that no single option can provide a complete, reliable or continuous outlet for sludge in the coastal area, and more than one outlet will need to be developed to provide security and flexibility of sludge management operations.

Agriculture has sufficient theoretical capacity to utilise all of the sludge that will be produced but in practice this outlet will at best provide only a partial solution due to a number of constraints.

Despite the abundance of forestry in Montenegro, the potential for sludge use is limited. The area of trees planted annually is low and the Law on Waste Management prohibits the use of sludge in national parks. While there is interest in using sludge, the low level of funding available to the forestry sector and the practical problems of supplying sludge to the point of use (most forestry is on steep slopes), make this outlet of marginal importance.

The use of sludge in municipal parks is discounted due to the very small potential demand and the likely lack of acceptance to use sludge in areas of public access.

Land reclamation, particularly the rehabilitation of abandoned solid waste dumps and progressive restoration of the planned regional landfills, provides opportunities to use significant quantities of sludge. Due to the limited quantities of poor quality soil available on such sites, large amounts of sludge may be applied as one-off applications but these opportunities are rare and only available for short periods of time. Consequently, sludge needs to be stockpiled in order to meet such periodic high demands. Most of the solid waste dump sites may well have been restored by the time sludge is produced in the coastal area so the main focus would be on the progressive restoration of the regional landfills, where it is presumed the sludge could be stored ahead of periodic restoration activities.

The planned development of golf courses and other recreational facilities potentially offers certain opportunities for sludge use where high quality landscaping and fertile soil is required.

Combustion of sludge in high energy consuming industries is potentially practicable at the steel factory in Nikšić and at the power station and planned cement factory in Pljevlja. However, this option is unlikely to be attractive to the sludge producers due to distance and high transport cost; or to the industries as the small contribution from sludge to their overall energy balances would not be sufficient compensation for the costs involved in technical adaptation and additional permitting of their facilities.

A potential Waste-To-Energy (WTE) plant is currently considered an option for sewage sludge management as part of Podgorica wastewater management project. Potentially, subject to further technical and feasibility analysis, this may be an attractive technical solution for sewage sludge management at a regional level. If this project is developed, it would need to be as a regional facility to have sufficient economic scale to be viable and would potentially offer a long-term and continuous outlet for all of the sludge generated in the region.

The final solution for sludge is usually considered to be landfill disposal if there are no or insufficient outlets for using sludge. However, the disposal of dewatered sludge to these landfills presents a number of potential problems (large quantities of sludge, reduced operational capacity of landfills, sludge quality requirements, acceptance of sludge by solid waste operators, etc.). On the positive side, sludge may be welcomed on the landfills if it is dry enough for use as end-of-day cover to partially replace soil that is conventionally used but which is expensive and locally in short supply. In this case, the net landfill space consumed by sludge would be significantly reduced.

Following comprehensive analyses of potential sludge management options in the coastal region of Montenegro it was concluded that due to limited capacity for the potential use of the stabilized and dewatered sewage sludge (lack of agricultural land, green areas, limited demand for reclamation, turndown of by the steel factory and TPP), additional treatment of sewage sludge is required.

### Preliminary projection of process sludge quantities

Based on the wastewater projection (collected and treated) and anticipated time-schedule of implementation of wastewater treatment facilities the preliminary projection of processed sludge quantities has been prepared and presented in the following figures (t/y and m3/y). This projection assumes that the average dry solids content of processed sludge would be ≥35%, which is considered to be the upper limit for quantities, because efficient solar drying can generate higher DS content.

The figures for the initial period (2019 - 2030) may prove to be somewhat overestimated, subject to the actual time-schedule of implementation of wastewater treatment facilities, however, this would result in lower quantities generated, and reduced demand for sludge applications.

Figure 6-8 – Processed sewage sludge projection (t/y) per region

Figure 6-9 – Processed sewage sludge projection (m3/y) per region, min. DS≥35%

### Proposed Sludge Management Options

Based on the current status of sewage sludge management in Montenegro, ongoing and planned implementation of new wastewater treatment facilities (which is quite dynamic) and very valuable recommendations presented in the Sludge Study, the following general approach to further sewage sludge management is proposed.

Sludge treatment in reed beds is a cost effective and environmentally sound option for small WWTPs (less than 10,000 PE).  Operation is reliable and flexible with very low operating costs, low energy consumption and no chemicals. The operation of a reed bed system may be divided into a number of periods relating to the lifetime of the system. The system can operate up to 30 years and this period is divided into two or three 8-12 year phases. Each phase consists of commissioning, normal loading, emptying and re-establishment of the system. The end product is humus, which can be used as a fertilizer and soil conditioner.

Possible options for additional treatment of dewatered sludge in larger WWTPs to address both sludge moisture content and, to various extents, pathogen removal, are:

- Lime treatment

- Composting

- Solar drying

- Thermal Drying

- Incineration

Simple conventional approach to improving sludge quality for landfill disposal is lime treatment. The system comprises lime storage and sludge and lime mixing facility. The most effective form of lime is quicklime, as the thermal hydrolysis reaction results in reduction in moisture content. Lime addition up to 50% on a dry solid basis may be required to achieve hygienization (pathogen removal).  Lime addition increases quantity of dry solids for disposal and thus therefore maintains of the high ratio of sludge to solid waste, further reducing the life of landfills. Lime addition is currently applied as the final step in sludge treatment at the existing WWTPs in Budva and Kotor-Tivat. Since none of the existing landfills accepts processed sludge for disposal after lime stabilization sludge is exported to Albania.

Composting of wastewater residual is a bio-thermal aerobic process that decomposes the organic portion of residuals. The composting process reduces the organic component in the residual by approximately 25 percent.  During composting, heat generated by the decomposition of the organic portion of the residual reduces the moisture content of residual, stabilizes it and makes the residual harmless by transforming it into a usable bio-solid. Selection of a composting system or technology depends on several factors such as quantity of sludge, economic considerations, legal aspects, location, environmental aspects and product quality. Due to high moisture and low carbon contents, sludge must be mixed with dry materials for composting. The materials used as bulking agents include the organic fractions of municipal solid waste, sawdust, wood chips, and many other agricultural wastes. Composting of wastewater sludge might be beneficial option for northern region of Montenegro with intensive Lumber industry and large quantity of sawdust and woodchips.

Solar drying was identified as the most favourable option in the coastal region of Montenegro. For the design of the solar drying facilities in the coastal region it is important to note the difference in quantities of sludge that will be produced in the winter and summer. During the winter performance of solar drying would be relatively poor but quantity of sludge at this time will also be at its lowest. On the other hand in summer conditions drying efficiency is very high and sludge production will be at its highest. The minimum DS content in treated sludge will be 60%, whereby the volume of sludge produced at the WWTPs will be further reduced by approximately 50 %.Dried sludge may be used as daily cover of landfills or for re-cultivation of dumpsites.

The principal issue for implementation of solar drying will be provision of sufficient area for construction of these facilities. The principal environmental issue may be visual intrusion as the greenhouses will be large.

The main goals of thermal drying of sludge are:

- to eliminate water from sludge and reduce volume of sludge (approx. 4-5 times) in order to make transportation cost lower and sludge storage easier;

- to increase sludge calorific value, so that sludge could be easily incinerated without any additional fuel;

- to make sludge hygienic (without pathogenic organisms);

- to stabilize sludge (what is achieved by drying sludge to the sludge dry mass above 90% of DS);

- to improve sludge structure before spreading by agricultural equipment;

- to generate fertilizer or a soil conditioner of high market value.

Thermal drying procedures may be classified according to the type of heat transfer:

- Convection drying, where evaporation of moisture is achieved by heat of drying gas (flue gas, hot air, exhaust vapour partial flow etc.) which flows around material to be dried. Belt dryer, fluidized bed dryer and rotary drum dryer are examples of convection drying facilities

- Contact drying, where the material is heated statically by heat exchanger or heated by a heat carrier (thermo-oil, steam etc.) without coming into direct contact with the heat carrier (indirect drying). Thin-film and Disk type dryers are examples of contact drying facilities.

Selection of a sludge drying facility type depends on sludge type and the method of sludge utilisation. Due to high investment and high operational costs thermal drying is proposed only as a pre-treatment of sludge for at an incineration plant.

Sludge dried in modern drying facilities contains 5-10% of water is in the form of granules (1-4 mm), and dust content is less than.

Table 6.15 – Overview of Sludge Management Options and Sludge Quantities

| Mun. No | Municipality | Agg. No. | Agglomeration | Solar Drying (tds/a) | Humification (tds/a) | Composting (tds/a) | Incineration (tds/a) | Landfill cover (tds/a) | Land reclamation/ Re-cultivation (t/a) | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica | 1 | Andrijevica 1 | - | 60 | - | - | - | 144 |  |
| 2 | Berane | 2 | Berane 1 | - | - | 448 | - | - | 2,965 | WWTP Upgrade from 20,000 PE to 27,000 PE, CAPEX for composting included in the planned Regional Composting Plant |
| 3 | Bijelo Polje | 3 | Bijelo Polje 1 | - | - | 308 | - | - | - | Capex for composting included in the planned Regional Composting Plant |
| 4 | Gusinje | 4 | Gusinje 1 | - | - | - | - | - | - |  |
| 5 | Kolašin | 5 | Kolašin 1 | - | 148 | - | - | - | 336 |  |
| 6 | Mojkovac | 6 | Mojkovac 1 | - | 0 | - | - | - | 250 | Extension of sludge humification ponds |
| 7 | Petnjica | 7 | Petnjica 1 | - | 75 | - | - | - | 58 |  |
| 8 | Plav | 8 | Plav - 1 | - | 0 | - | - | 248 | - | Capex for composting included in the planned Regional Composting Plant |
| 9 | Pljevlja | 9 | Pljevlja 1 | - | 0 | - | - | 416 | 0 | WWTP under construction, sludge use for landfill cover |
| 10 | Plužine | 10 | Plužine 1 | - | 30 | - | - | - | 72 |  |
| 11 | Rožaje | 11 | Rožaje 1 | - | - | 298 | 0 | 0 | - | Construction of Regional Composting Plant |
| 12 | Šavnik | 12 | Šavnik 1 | - | 10 | - | - | - | 24 | Existing Treatment - Constructed Wetlands |
| 13 | Žabljak | 13 | Žabljak 1 | - | 90 | - | - | - | 216 | Extension of the Existing WWTP in Phase II, 2500 PE No extension of sludge humification ponds |
| 14 | Cetinje | 14 | Cetinje 1 | 0 | - | - | 317 | - | - | Dewatered sludge to be incinerated at the Podgorica Incineration Plant |
| 15 | Danilovgrad | 15 | Danilovgrad 1 | 0 | - | - | 137 | - | - | Ongoing Tendering Procedure for the Works Contract, Phase I; 6,000PE. Dewatered sludge to be incinerated at the Podgorica Incineration Plant |
| 15 | Danilovgrad | 16 | Danilovgrad 2 | 0 | - | - | 70 | - | - | Dewatered sludge to be incinerated at the Podgorica Incineration Plant |
| 16 | Nikšić | 17 | Nikšić 1 | 0 | - | - | - | 2,900 | - | Sludge use for landfill cover |
| 17 | Podgorica | 18 | Podgorica 1 | 0 | - | - | 4,760 | - | - | Phases I, II, III under implementation in accordance with FS 2016. Construction of ash (hazardous waste) landfill |
| 17 | Podgorica | 19 | Golubovci 1 | 0 | - | - | 298 | - | - | Dewatered sludge to be incinerated at the Podgorica Incineration Plant |
| 17 | Podgorica | 20 | Tuzi 1 | 0 | - | - | 159 | - | - | Dewatered sludge to be incinerated at the Podgorica Incineration Plant |
| 18 | Bar | 21 | Bar 1 | 291 | - | - | - | - | - | Drying of dewatered sludge at SSDP Bar |
| 18 | Bar | 22 | Bar 2 | 769 | - | - | - | 0 | 2,967 | Construction of Central Sludge Solar Drying Plant (SSDP) |
| 18 | Bar | 23 | Bar 3 | 14 | - | - | - | - | - | Drying of dewatered sludge at SSDP Bar |
| 18 | Bar | 24 | Bar 4 | 14 | - | - | - | - | - | Drying of dewatered sludge at SSDP Bar |
| 19 | Budva | 25 | Budva 1 | 1,225 | - | - | - | - | 3,824 | Existing WWTP 100,000 PE. Construction of new Sveti Stefan WWTP 7,000 PE and Rezevici 1,000 PE, Construction of Sludge Drying Facility Priced only new Investments |
| 19 | Budva | 26 | Budva 2 | 117 | - | - | - | - | - | Drying of dewatered sludge at SSDP Budva |
| 19 | Budva | 27 | Budva 3 | 60 | - | - | - | - | - | Drying of dewatered sludge at SSDP Budva |
| 20 | Herceg Novi | 28 | H.Novi 1 | 1,200 | - | - | - | - | 3,540 | WWTP in commissioning phase Construction of SSDP H.Novi |
| 20 | Herceg Novi | 29 | H.Novi 2 | 49 | - | - | - | - | - | Drying of dewatered sludge at SSDP Tivat |
| 20 | Herceg Novi | 30 | H.Novi 3 | 49 | - | - | - | - | - | Drying of dewatered sludge at CSSDP Tivat |
| 21 | Kotor | 31 | Kotor 1 | 0 | - | - | - | - | - | Connected to existing WWTP Kotor - Tivat |
| 21 | Kotor | 32 | Kotor 2 | 33 | - | - | - | - | - |  |
| 21 | Kotor | 33 | Kotor 3 | 36 | - | - | - | - | - |  |
| 21 | Kotor | 34 | Kotor 4 | 48 | - | - | - | - | - |  |
| 22 | Tivat | 35 | Tivat 1 | 1,200 | - | - | - | 0 | 3,723 | Existing WWTP Kotor-Tivat, Construction of SSDP |
| 22 | Tivat | 36 | Tivat 2 | 48 | - | - | - | - | - | To be connected to Kotor-Tivat WWTP |
| 23 | Ulcinj | 37 | Ulcinj 1 | 600 | 0 | 0 | 0 | 0 | 1,636 | Drying of dewatered sludge at SSDP Ulcinj |
|  | Sub-total | 13 |  | 0 | 413 | 1,054 | 0 | 664 | 4,065 |  |
|  | Sub-total | 7 |  | 0 | 0 | 0 | 5,741 | 2,900 | 0 |  |
|  | Sub-total | 17 |  | 5,753 | 0 | 0 | 0 | 0 | 15,690 |  |
|  | Gross total | 37 |  | 5,753 | 413 | 1,054 | 5,741 | 3,564 | 19,755 |  |

### Correlation with National Waste Management Plan

Sewage Sludge has been identified by the Law on Waste as the waste residue generated within the WWTPs during wastewater treatment. Sewage Sludge Management Plan is an integral part of the National Waste Management Plan until 2020 (prepared and adopted in 2015).

Sewage sludge management options analysed in the National Waste Management Plan was based on previous studies:

- Study on the disposal of sludge in the coastal region of Montenegro and

- Study on the management and the application of sewage sludge for the Central and Northern region of Montenegro.

According to the Law on Waste Management (OG MNE No 064/11 and 039/16), sewage sludge should be subjected to biological, chemical or thermal treatment, long-term storage or other appropriate process designed to reduce its fermentability and health hazards resulting from its use before being applied in agriculture. In general treated sewage sludge may be used in agriculture, green areas and parks, land recultivation including reforestation, landfill cover, closing and recultivation of dumpsites or energy recovery.

The Sewage Sludge Directive 86/278/EEC regulates the use of sewage sludge in agriculture in order to prevent harmful effects on soil, vegetation, animals and humans. The Directive addresses both pathogen reduction and the potential for accumulation of persistent pollutants in soils but sets no limits for organic contaminants. However, the majority of EU Member States have introduced more stringent standards for sludge quality including stricter limits for most potentially toxic elements in soil, whereas in certain countries application of sewage sludge in agriculture was banned.

With reference to legal and institutional framework, sewage sludge management plans are prepared by the Ministry of Sustainable Development and Tourism in accordance with Article 22 of the Waste Management Law (OG MNE, 064/11, 039/1).

The natural conditions for agricultural development in Montenegro are complex. The relief is dominantly mountainous whereas the lack of plain land is the main limiting factor for the development of agriculture. Production is based mainly on small family farms wherefore it may not be sustainable with respect to the costs appurtenant to the tests/analysis of sludge and soil prior to sludge application or sludge storage during vegetation period when there is no need for its application. Moreover, the use of sewage sludge in agriculture has not been recognized by the National legislation relevant to use of fertilizers in plant growth.

The National Waste Management Plan considered capacity for application of sewage sludge in forest areas. It is concluded that even though available area allows possibility of application of around 15% sludge, it will be difficult to deliver and spread sludge within the specific sites due to topography (steep slopes) and uneven distribution of trees. Application of sewage sludge in forest areas is related to reforestation, planned as a measure to meet the national objectives in reduction of GHG, whereas application of sewage sludge in national parks, karst and steep areas with slopes greater than 10% is not allowed.

Although at the European Union level the reuse of sludge accounts for about 40% of the overall sludge production, landfilling as well as incineration are the most widely used disposal outlets despite their environmental drawbacks. One of considered sewage sludge management options in the Waste Management Plan is the use of sewage sludge as a cover layer at the regional landfills instead of soil. As a prerequisite, sewage sludge shall be treated in solar drying facilities. It is not likely to happen until construction of regional landfills since the existing sanitary landfills in Podgorica and Bar are overloaded and do not accept the sewage sludge, neither for disposal or daily cover. Alternatively, sewage sludge (after solar drying) can be used for remediation of dumpsites or land recultivation in exploited mining areas and quarries.

Sludge incineration has been considered favourable for larger WWTPs, i.e. sludge input of a minimum 50,000 tonnes per year. Recent activities in preparation of wastewater project in Podgorica for upgrade of wastewater collection system and construction of the new WWTP included sludge Incineration as final step in sludge treatment. The proposed Sludge Incineration Plant is designed for ultimate WWTP capacity (17,000 t DS/a), with allowance for sludge produced in WWTPs Golubovci and Tuzi. Thermal drying facility will be located at the location of the Incinerator in order to use energy generated in combustion process as well as the energy wasted by the flue gas. The final product of incineration will be ash, which can be treated for phosphorous recovery prior disposal. However, management of waste generated in treatment of flue gas, location and size of the landfill for ash disposal and appurtenant costs were not considered.

Potential co-incineration in Ironworks in Nikšić and Thermal Power Plant in Pljevlja was not considered as viable option, due to high costs for reconstruction of the facilities to make them ready for use of sewage sludge in combustion process.

For central and northern regions solar drying of sludge in centralized regional facilities was proposed as the most cost effective solution, whereas sludge composting was not considered.

### Minimum actions required

In order to cope with the increasing quantities of sewage sludge generated within the WWTPs good coordination between the major stakeholders in the field of Wastewater and Waste Management is a prerequisite.

Sludge Management Plan, which is an integral part of the Waste Management Plan, shall be updated in accordance with the Master Plan for Urban Wastewater Measures.

Additional treatment of dewatered sludge providing further reduction of sludge volume should be developed through the regional schemes, based on available land, geotechnical conditions of the site, environmental and climate conditions, national and municipal spatial planning documents, feasible connection with the adjacent production centres (WWTPs) with respect to transportation costs and gate fees, final disposal or utilization of the end product.

Remaining residue from the regional sludge treatment centres could be disposed on mono-fill landfills which could be foreseen within the regional centres or within the nearest regional waste management centre.

Proposed options for additional treatment of sludge as presented in Error! Reference source not found. are based on estimated  sludge quantity for ultimate capacity of the WWTP, climate and environment conditions, treatment costs and alternatives considered by the national Waste Management Plan. The investment of € 26 million included in affordability analyses within this Master Plan represents the estimated initial investment for the proposed additional treatment facilities required for further reduction of sludge volume. The total investment shall be considerably higher, after adopted scheme of determined locations for regional centres for sludge treatment and final disposal and accordingly estimated implementation costs, including land expropriation.

Participation of all relevant stakeholders is of the highest importance, especially in the initial phase of screening and selection of the sites for the regional facilities for additional sludge treatment. In particular, the agreement between municipal assemblies within the proposed regional scheme should be reached prior development of further technical and planning documentation including ESIA.

# PROJECT COSTS AND IMPLEMENTATION PLAN

## Methodology of Cost Assessment

Full implementation of urban wastewater management measures in compliance with the UWWTD and the relevant national legislation is normally very costly in terms of needed investments and generated O&M and other costs. This particularly applies for situations where identified gaps to be tackled in order to ensure full service coverage with wastewater services are very substantial, as it was demonstrated earlier in the report.

The cost assessment applied in this study has been developed on the following bases:

- The cost assessment has been derived on the basis of methodology applied in the FEASIBLE tool and its principles, with necessary adjustments related to:

  - Cost escalation in relation to the date of the original FEASIBLE guideline;

  - Cost calibration for major measures/elements based on available cost information of similar works for Project Area and generally for the West-Balkans region;

  - Cost comparisons presented in directive-specific implementation plans of the same nature in the neighbouring countries;

- The cost assessment took into account the range of relevant wastewater projects being currently implemented or being nearly completed. These costs are consequently deducted, as the projects are considered completed (for instance Pljevlja WW project, Berane WW project, wide range of preparatory studies and implemented wastewater projects in the Coastal region).

- Whenever relevant feasibility study of proper standard or technical design was made available to the consultants, these were taken into account, and if considered appropriate the proposals and costs specified in the document were accepted.

Presented net investment costs for measures/works do not include provisions for very essential parts of the overall project preparation and implementation cycle; including project preparation activities, contingency provisions and construction supervision costs. Therefore, the budget for these items has been added to the estimated net investments costs as presented in the following sections, at this stage in relation to a fixed percentage of the estimated CAPEX.

Very extensive KfW-supported programme (Water Supply and Sanitation – Adriatic Coast) is being implemented in the Coastal region with a basic objective to improve water supply and wastewater services in the participating municipalities (Ulcinj, Bar, Kotor, Tivat and H.Novi, unfortunately Budva is not a part of the programme). This programme coordinated by Vodacom Ltd., included a comprehensive project preparation, from feasibility study to detailed designs and tenders. As a part of the detailed technical analysis, the project included analysis and assessment of construction costs for essential elements of water supply and wastewater infrastructure. Cost assessment (unit costs) for construction of wastewater collection systems presented by the aforesaid TA project is considered as very comprehensive, up-to-date and reliable source of information. Also these costs showed high level of accordance with the actualised Feasible-based costs. Therefore, these wastewater collection unit costs were used for the purpose of this study.

Of the aforesaid relevant technical measures and key elements included in this study, and affecting the overall CAPEX, major investment costs are related to implementation of wastewater collection systems and wastewater treatment facilities. For elements of wastewater collection systems specific cost-function curves have been developed and used unless there is a relevant study/technical design of good quality. The example of these cost-function curves for sewerage collection network is shown in the following figure (Figure 7.1).

Figure 7.1 – Wastewater collection network cost function

Investment costs for implementation of wastewater treatment facilities have been analysed for each particular treatment facility, taking into account planned process units, specific plant location and conditions which may result in additional costs. These costs have been also cross-checked with other implemented and ongoing projects of similar nature and in comparable conditions in Montenegro and in the wider region.

Financing plan and investment schedule are presented in Financial/Affordability sections. Apart from the investment costs, corresponding O&M costs have been calculated for each sub-project, i.e. municipality, and then summarised per region and for the entire Project Area (presented in Financial/Affordability Section). The O&M costs included a range of conventionally applied costs, including:

- Labour

- Materials-chemicals

- Energy (consumption and recovery, as applicable)

- Maintenance

- Processed sewage sludge management costs

- Provisions for depreciation

## Wastewater Collection and Treatment – Investment Cost Overview

Based on the measures and cost assessment approach described earlier, this section presents the estimated investment costs necessary for implementation of the concerned wastewater infrastructure-related measures. The breakdown of the costs in this section is presented per agglomeration, by municipality and then per region.

Apart from the investment costs related to construction phase, it is necessary to make adequate provisions for other essential project-related activities in order to properly prepare project for implementation, to make necessary provisions for unaccounted for and unforeseen conditions and to ensure continual construction of supervisions. These provisions are made in relation to the estimated net investment costs, as follows:

- For the remaining project preparation – 4%

- For contingencies – 5%

- For construction supervision 3.5% of the estimated net investment costs

In reality, depending on a particular project maturity and complexity these provisions are certain to vary very much. The provisions proposed could be considered as being on the low side. This approach has been pursued in order to avoid potential over-budgeting for implementation of the wastewater infrastructure measures with already very high investment costs.

It is expected that through further, more detail project preparation steps some of the projects could be technically and financially optimised. Corresponding provisions for contingencies, remaining project preparation and construction supervision would have to be tailor-made for each particular project, based on a detail assessment. Application of these provisions as fixed but higher flat-rates would likely result in the overall budget overestimate.

The following tables show the breakdown of the investment cost estimate per different type of measures and per agglomeration, municipality and finally by region.

The overall estimate of net investments costs (works only) is around € 419 million, while taking into account the aforesaid additional provisions the total gross investment cost estimate is € 472 million.

Table 7.1 – Wastewater infrastructure measures – overview of investments costs by agglomeration (€ thousand)

| Municipality | Agg. No. | Agglomeration | Ongoing works |  |  |  |  |  | Other planned wastewater infrastructure-related measures |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Sewer. network | Pressure mains | SPS's | WWTP's | Subtotal ongoing | Preparation, contingency supervision ongoing | Network rehab. | Sewer. network | Pressure mains | SPS's | WWTP's | Sea outfalls | Priority sludge manag. meas. | Subtotal new | Preparation, contingency supervision new works | Gross total new | Ongoing+ new measures gross total |
| Andrijevica | 1 | Andrijevica 1 | - | - | - | - | - | - | 124 | 2,037 | - | - | 1,147 | - | 206 | 3,514 | 439 | 3,953 | 3,953 |
| Berane | 2 | Berane 1 | - | - | - | - | - | - | 1,786 | 2,809 | - | - | 1,415 | - | 1,010 | 7,020 | 878 | 7,898 | 7,898 |
| Bijelo Polje | 3 | Bijelo Polje 1 | - | - | - | - | - | - | 387 | 15,593 | - | 335 | 7,598 | - | - | 23,913 | 2,989 | 26,902 | 26,902 |
| Gusinje | 4 | Gusinje 1 | - | - | - | - | - | - | 92 | 1,361 | 898 | 154 | - | - | - | 2,505 | 313 | 2,819 | 2,819 |
| Kolašin | 5 | Kolašin 1 | - | - | - | - | - | - | 19 | 5,166 | 63 | 45 | 2,128 | - | 710 | 8,132 | 1,016 | 9,148 | 9,148 |
| Mojkovac | 6 | Mojkovac 1 | - | - | - | - | - | - | 652 | 4,006 | 37 | 106 | - | - | 600 | 5,401 | 675 | 6,076 | 6,076 |
| Petnjica | 7 | Petnjica 1 | - | - | - | - | - | - | - | 988 | - | - | 587 | - | 360 | 1,935 | 242 | 2,177 | 2,177 |
| Plav | 8 | Plav - 1 | - | - | - | - | - | - | 62 | 9,038 | 1,676 | 265 | 4,290 | - | - | 15,330 | 1,916 | 17,246 | 17,246 |
| Pljevlja | 9 | Pljevlja 1 | - | - | - | - | - | - | 408 | 2,491 | - | - | - | - | - | 2,899 | 362 | 3,261 | 3,261 |
| Plužine | 10 | Plužine 1 | - | - | - | - | - | - | 59 | 347 | - | - | 691 | - | 144 | 1,241 | 155 | 1,396 | 1,396 |
| Rožaje | 11 | Rožaje 1 | - | - | - | - | - | - | 568 | 4,882 | - | - | 5,140 | - | - | 10,590 | 1,324 | 11,913 | 11,913 |
| Šavnik | 12 | Šavnik 1 | - | - | - | - | - | - | 26 | 307 | - | - | - | - | - | 333 | 42 | 375 | 375 |
| Žabljak | 13 | Žabljak 1 | - | - | - | - | - | - | 50 | 2,346 | - | 167 | 1,004 | - | - | 3,567 | 446 | 4,012 | 4,012 |
| Cetinje | 14 | Cetinje 1 | - | - | - | - | - | - | 306 | 1,941 | - | - | 7,200 | - | - | 9,447 | 1,181 | 10,628 | 10,628 |
| Danilovgrad | 15 | Danilovgrad 1 | 826 | - | 160 | 2,390 | 3,376 | 422 | 62 | 4,204 | 145 | 415 | 543 | - | - | 5,370 | 671 | 6,041 | 9,839 |
| Danilovgrad | 16 | Danilovgrad 2 | - | - | - | - | - | - | - | 466 | - | - | 1,283 | - | - | 1,749 | 219 | 1,968 | 1,968 |
| Nikšić | 17 | Nikšić 1 | - | - | - | - | - | - | 1,240 | 16,620 | 960 | 265 | 5,606 | - | - | 24,690 | 3,086 | 27,777 | 27,777 |
| Podgorica | 18 | Podgorica 1 | 10,717 | - | - | - | 10,717 | 1,340 | 6,963 | 30,525 | - | - | 33,137 | - | 9,980 | 80,605 | 10,076 | 90,680 | 102,737 |
| Podgorica | 19 | Golubovci 1 | - | - | - | - | - | - | - | 15,283 | - | 523 | 5,606 | - | - | 21,412 | 2,676 | 24,088 | 24,088 |
| Podgorica | 20 | Tuzi 1 | - | - | - | - | - | - | - | 5,905 | - | 178 | 2,789 | - | - | 8,872 | 1,109 | 9,981 | 9,981 |
| Bar | 21 | Bar 1 | - | - | - | - | - | - | 529 | 3,977 | - | 79 | 7,598 | 1,100 | - | 13,283 | 1,660 | 14,944 | 14,944 |
| Bar | 22 | Bar 2 | - | - | - | - | - | - | 1,431 | 8,448 | - | 68 | 12,467 | 620 | 2,611 | 25,645 | 3,206 | 28,850 | 28,850 |
| Bar | 23 | Bar 3 | - | - | - | - | - | - | - | 2,290 | 135 | 243 | 1,147 | 460 | - | 4,274 | 534 | 4,808 | 4,808 |
| Bar | 24 | Bar 4 | - | - | - | - | - | - | - | 2,319 | 46 | 134 | 1,147 | 460 | - | 4,106 | 513 | 4,619 | 4,619 |
| Budva | 25 | Budva 1 | - | - | - | - | - | - | 899 | 4,804 | 255 | 120 | 2,820 | 1,625 | 3,018 | 13,540 | 1,693 | 15,233 | 15,233 |
| Budva | 26 | Budva 2 | - | - | - | - | - | - | 103 | 6,995 | 567 | 521 | 4,518 | 980 | - | 13,683 | 1,710 | 15,394 | 15,394 |
| Budva | 27 | Budva 3 | - | - | - | - | - | - | - | - | - | - | 1,542 | 720 | - | 2,262 | 283 | 2,544 | 2,544 |
| Herceg Novi | 28 | H.Novi 1 | - | - | - | - | - | - | 3,725 | 3,205 | 34 | 55 | - | - | 2,956 | 9,975 | 1,247 | 11,222 | 11,222 |
| Herceg Novi | 29 | H.Novi 2 | - | - | - | - | - | - | - | 571 | 24 | 67 | 853 | 185 | - | 1,700 | 213 | 1,913 | 1,913 |
| Herceg Novi | 30 | H.Novi 3 | - | - | - | - | - | - | - | 571 | 32 | 72 | 853 | 185 | - | 1,713 | 214 | 1,927 | 1,927 |
| Kotor | 31 | Kotor 1 | 6,908 | 1,497 | 1,778 | - | 10,183 | 1,273 | 858 | 1,209 | 459 | 301 | - | 1,365 | - | 4,192 | 524 | 4,716 | 16,172 |
| Kotor | 32 | Kotor 2 | - | - | - | - | - | - | - | 676 | 89 | 120 | 853 | 252 | - | 1,991 | 249 | 2,239 | 2,239 |
| Kotor | 33 | Kotor 3 | - | - | - | - | - | - | - | 1,103 | 50 | 146 | 1,062 | 168 | - | 2,528 | 316 | 2,844 | 2,844 |
| Kotor | 34 | Kotor 4 | - | - | - | - | - | - | - | 819 | 433 | 110 | 1,310 | - | - | 2,672 | 334 | 3,006 | 3,006 |
| Tivat | 35 | Tivat 1 | 1,478 | - | - | - | 1,478 | 185 | 386 | 3,902 | 450 | 572 | - | 1,365 | 2,956 | 9,631 | 1,204 | 10,834 | 12,498 |
| Tivat | 36 | Tivat 2 | - | - | - | - | - | - | - | 1,124 | 242 | 87 | - | - | - | 1,453 | 182 | 1,635 | 1,635 |
| Ulcinj | 37 | Ulcinj 1 | 4,256 | - | 190 | - | 4,446 | 556 | 1,792 | 14,308 | 1,994 | 5,436 | 11,810 | 975 | 1,478 | 37,794 | 4,724 | 42,519 | 47,521 |
| Sub-total |  |  | - | - | - | - | - | - | 4,232 | 51,370 | 2,674 | 1,072 | 24,000 | - | 3,031 | 86,379 | 10,797 | 97,177 | 97,177 |
| Sub-total |  |  | 11,543 | - | 160 | 2,390 | 14,093 | 1,762 | 8,570 | 74,945 | 1,105 | 1,381 | 56,164 | - | 9,980 | 152,145 | 19,018 | 171,163 | 187,017 |
| Sub-total |  |  | 12,643 | 1,497 | 1,968 | - | 16,108 | 2,014 | 9,723 | 56,321 | 4,810 | 8,131 | 47,978 | 10,460 | 13,019 | 150,442 | 18,805 | 169,247 | 187,369 |
| Gross total |  |  | 24,185 | 1,497 | 2,128 | 2,390 | 30,201 | 3,775 | 22,525 | 182,636 | 8,589 | 10,584 | 128,142 | 10,460 | 26,030 | 388,966 | 48,621 | 437,587 | 471,563 |

Table 7.2 – Wastewater collection and treatment measures – overview of investments costs by municipality (€ thousand)

| Mun. No | Municipality | Ongoing works |  |  |  |  |  | Other planned wastewater infrastructure-related measures |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sewer. network | Pressure mains | SPS's | WWTP's | Subtotal ongoing | Preparation, contingency supervision ongoing | Network rehab. | Sewer. network | Pressure mains | SPS's | WWTP's | Sea outfalls | Priority sludge manag. meas. | Subtotal new | Contingencies, preparation, supervision new works | Gross total new | Ongoing+ new gross total |
| 1 | Andrijevica | - | - | - | - | - | - | 124 | 2,037 | - | - | 1,147 | - | 206 | 3,514 | 439 | 3,953 | 3,953 |
| 2 | Berane | - | - | - | - | - | - | 1,786 | 2,809 | - | - | 1,415 | - | 1,010 | 7,020 | 878 | 7,898 | 7,898 |
| 3 | Bijelo Polje | - | - | - | - | - | - | 387 | 15,593 | - | 335 | 7,598 | - | - | 23,913 | 2,989 | 26,902 | 26,902 |
| 4 | Gusinje | - | - | - | - | - | - | 92 | 1,361 | 898 | 154 | - | - | - | 2,505 | 313 | 2,819 | 2,819 |
| 5 | Kolašin | - | - | - | - | - | - | 19 | 5,166 | 63 | 45 | 2,128 | - | 710 | 8,132 | 1,016 | 9,148 | 9,148 |
| 6 | Mojkovac | - | - | - | - | - | - | 652 | 4,006 | 37 | 106 | - | - | 600 | 5,401 | 675 | 6,076 | 6,076 |
| 7 | Petnjica | - | - | - | - | - | - | - | 988 | - | - | 587 | - | 360 | 1,935 | 242 | 2,177 | 2,177 |
| 8 | Plav | - | - | - | - | - | - | 62 | 9,038 | 1,676 | 265 | 4,290 | - | - | 15,330 | 1,916 | 17,246 | 17,246 |
| 9 | Pljevlja | - | - | - | - | - | - | 408 | 2,491 | - | - | - | - | - | 2,899 | 362 | 3,261 | 3,261 |
| 10 | Plužine | - | - | - | - | - | - | 59 | 347 | - | - | 691 | - | 144 | 1,241 | 155 | 1,396 | 1,396 |
| 11 | Rožaje | - | - | - | - | - | - | 568 | 4,882 | - | - | 5,140 | - | - | 10,590 | 1,324 | 11,913 | 11,913 |
| 12 | Šavnik | - | - | - | - | - | - | 26 | 307 | - | - | - | - | - | 333 | 42 | 375 | 375 |
| 13 | Žabljak | - | - | - | - | - | - | 50 | 2,346 | - | 167 | 1,004 | - | - | 3,567 | 446 | 4,012 | 4,012 |
| 14 | Cetinje | - | - | - | - | - | - | 306 | 1,941 | - | - | 7,200 | - | - | 9,447 | 1,181 | 10,628 | 10,628 |
| 15 | Danilovgrad | 826 | - | 160 | 2,390 | 3,376 | 422 | 62 | 4,671 | 145 | 415 | 1,827 | - | - | 7,119 | 890 | 8,009 | 11,807 |
| 16 | Nikšić | - | - | - | - | - | - | 1,240 | 16,620 | 960 | 265 | 5,606 | - | - | 24,690 | 3,086 | 27,777 | 27,777 |
| 17 | Podgorica | 10,717 | - | - | - | 10,717 | 1,340 | 6,963 | 51,713 | - | 701 | 41,532 | - | 9,980 | 110,888 | 13,861 | 124,749 | 136,806 |
| 18 | Bar | - | - | - | - | - | - | 1,960 | 17,034 | 180 | 524 | 22,358 | 2,640 | 2,611 | 47,307 | 5,913 | 53,221 | 53,221 |
| 19 | Budva | - | - | - | - | - | - | 1,002 | 11,798 | 822 | 641 | 8,879 | 3,325 | 3,018 | 29,485 | 3,686 | 33,171 | 33,171 |
| 20 | Herceg Novi | - | - | - | - | - | - | 3,725 | 4,348 | 90 | 194 | 1,706 | 370 | 2,956 | 13,388 | 1,674 | 15,062 | 15,062 |
| 21 | Kotor | 6,908 | 1,497 | 1,778 | - | 10,183 | 1,273 | 858 | 3,807 | 1,031 | 677 | 3,225 | 1,785 | - | 11,383 | 1,423 | 12,806 | 24,262 |
| 22 | Tivat | 1,478 | - | - | - | 1,478 | 185 | 386 | 5,025 | 692 | 659 | - | 1,365 | 2,956 | 11,084 | 1,385 | 12,469 | 14,132 |
| 23 | Ulcinj | 4,256 | - | 190 | - | 4,446 | 556 | 1,792 | 14,308 | 1,994 | 5,436 | 11,810 | 975 | 1,478 | 37,794 | 4,724 | 42,519 | 47,521 |
|  | Sub-total | - | - | - | - | - | - | 4,232 | 51,370 | 2,674 | 1,072 | 24,000 | - | 3,031 | 86,379 | 10,797 | 97,177 | 97,177 |
|  | Sub-total | 11,543 | - | 160 | 2,390 | 14,093 | 1,762 | 8,570 | 74,945 | 1,105 | 1,381 | 56,164 | - | 9,980 | 152,145 | 19,018 | 171,163 | 187,017 |
|  | Sub-total | 12,643 | 1,497 | 1,968 | - | 16,108 | 2,014 | 9,723 | 56,321 | 4,810 | 8,131 | 47,978 | 10,460 | 13,019 | 150,442 | 18,805 | 169,247 | 187,369 |
|  | Gross total | 24,185 | 1,497 | 2,128 | 2,390 | 30,201 | 3,775 | 22,525 | 182,636 | 8,589 | 10,584 | 128,142 | 10,460 | 26,030 | 388,966 | 48,621 | 437,587 | 471,563 |

## Wastewater Infrastructure Measures – Investment Cost Overview per size of agglomeration

As shown earlier in the report, it was estimated that the total current population in the agglomerations to be covered by the considered wastewater infrastructure is around 501 thousand, while the total estimated long-term wastewater pollutant loading would be around 976 thousand PE.

Very significant portion of the wastewater pollutant loading (around 273,000 PE, or around 28% of the total) is anticipated to be generated by tourists. Therefore, it is considered appropriate to estimate unit investment costs of the proposed measures against the overall wastewater loading covered (including the expected contribution by tourism), rather than to make the assessment of the unit costs based on the permanent population to be served, which would be rather biased.

The following table (Table 7.3) shows the overview of the investment costs for the planned wastewater collection and treatment measures per size class of the agglomerations in Montenegro.

The table is very indicative and shows very much expected trend; measures related to agglomerations larger than 15,000 PE (15 out of 37) account for around 90% of the pollutant loading covered by the measures. Also, while the average unit cost (€/PE) is around 483 €/PE, the unit cost generally increases in smaller agglomerations; from around 340 €/PE in agglomeration larger than 100,000 PE to more than 1,000 €/PE in small agglomerations.

Table 7.3 – WW collection and treatment measures – CAPEX per size class of agglomerations

| Size class No. | Class description | Size class (PE) | No | Permanent population in agglomerations | Wastewater pollutant loading of agglomerations (PE) | Gross total CAPEX (€ million) | Share of loading (%) | Gross CAPEX per PE (€) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Very small | <2,000 | 5 | 4,551 | 8,700 | 8.16 | 0.9% | 937 |
| 2 | Small | 2-10,000 | 16 | 40,237 | 74,150 | 86.37 | 7.6% | 1,165 |
| 3 | Small-to-medium | 10-15,000 | 1 | 2,059 | 15,000 | 15.39 | 1.5% | 1,026 |
| 4 | Medium-sized | 15-50,000 | 9 | 141,124 | 237,000 | 128.30 | 24.3% | 541 |
| 5 | Large | 50-100,000 | 4 | 131,851 | 294,000 | 115.37 | 30.1% | 392 |
| 6 | Major | >100,000 | 2 | 181,433 | 348,000 | 117.97 | 35.6% | 339 |
| Total/average |  |  | 37 | 501,255 | 976,850 | 471.56 | 100.0% | 483 |

The priorities for provision of wastewater collection and treatment clearly favour the measures to be implemented in larger agglomerations (Articles 3, 4 and 5). The very same approach has been introduced in the national Law on Urban Wastewater Management (2017) – where the UWWTD has been transposed, setting the prioritisation of the wastewater collection and treatment measures in accordance with the size of agglomeration and sensitivity of areas where treated effluent is to be discharged.

To conclude, from the environmental and financial point of view, priority in implementation should be given to larger and densely populated agglomerations.

Figure 7.2 – Wastewater infrastructure measures–unit costs per class size of agglomerations

## Proposed Project Implementation Plan

With the assumed completion of the accession negotiations in 2025, the transition period for compliance with the UWWTD requirements and therefore implementation of the wastewater infrastructure specified in this report is requested by the end of 2035, which would represent a 10-year transition period.

Urban wastewater collection and treatment in the first and second groups of agglomerations of more than 50,000 PE would be completed by the end of 2031 (those of above 100,000 PE being the first priority). The group of agglomerations between 15,000 and 50,000 PE is planned to be completed by the end of 2033 (those of above 15,000 PE being the priority). The obligations concerning all the remaining agglomerations of less than 10,000 PE would be fully met by the end of 2035.

### Prioritisation of investments

High investment costs for the implementation of the UWWTD and related infrastructure can in the foreseeable future be covered only with external financial assistance. Therefore, the organisation of preparation and implementation of projects at the national and local levels needs to be adapted to the requirements for the absorption of such assistance (EU funds, IFI loans). Requirements for sustainability and protection of the aquatic environment will play a particular role in the evaluation of investment projects, including the project selection phase; the main criteria will be the highest economic/social/environmental impact.

With regard to prioritisation of infrastructural projects in Montenegro there is accepted Methodology for Selection and Prioritization of Infrastructure Projects, published by the Secretariat for Development Projects defining the methodology and principles with that regard. Following the aforesaid methodology, corresponding Single Project Pipeline of infrastructural projects, per sector, was developed and is regularly updated on annual basis.

Basic principles of prioritisation of wastewater infrastructure projects proposed in this report would follow the general principles of the aforesaid Methodology, with certain specifics applicable to wastewater management sector.

The guiding project selection principles are the following: (i) clear and measurable contribution to the objectives of the Directive; (ii) project maturity; (iii) cost-effectiveness and sustainability, in particular financial; (iv) implementing capacities of the public providers of water services; (v) cooperation between the public providers of water services with the aim of improving the service quality and reducing the water price; (vi) if applicable, contribution to addressing the issue of specific territorial priorities, contribution to the implementation of macro-regional strategies (if needed, in order to support balanced regional development, projects from less developed regions can be given additional scores during the scoring procedure, as well as higher co-financing rates and bigger technical assistance; if needed, special programmes of assistance can be designed for less developed, demographically or geographically challenged areas).

Furthermore, support could be given to the implementation of the projects integrating the requirements of the Drinking Water Directive and the Urban Wastewater Treatment Directive. Such an approach contains a coherent set of complementary priorities which support not only the basic objectives of the two Directives but also opens up a potential for the mutually supporting effects that may result from their simultaneous implementation.

The list of investment/project prioritisation criteria (non-exhaustive) covers:

- contribution to the objectives of the strategic and programming documents in the field of public wastewater collection and treatment (and public water supply, if possible), i.e. to what level the project activities enable:

  - an increase in the population connected to public water supply and wastewater collection and treatment systems

  - a reduction of pollution (pollution load treated in accordance with the requirements)

  - an increase in the number of water bodies of good and high status according to the organic load indicators

  - a reduction in the population having no access to public water supply systems (not covered by consistent quality monitoring) or connected to the systems which fail to comply with microbiological and/or chemical parameters

- Project readiness

  - Technical project feasibility

  - Level of completion of studies and design documents

  - Level to which property issues have been resolved

  - Level of the required building permits (development consent) issued

  - Level of completion of the required tender documents

  - The time required for the project to start

- Financial project justification

  - Realistic budget

  - Results of the cost-benefit analysis

  - Total project costs against the population that will be provided with a new/adequate water service

  - Financial sustainability and affordability

  - Public provider’s own contribution or co-financing by other donors

- Capacity of the public provider of water services

  - Beneficiary’s capacity to implement the projects co-financed by EU funds and/or IFI loans (co-financing, human resources, prior experience, etc.)

  - Service provider’s capacity to manage the project once the financing is over (financial capacity, human resources, prior experience, etc.)

- Priorities for financing

  - The project partnership includes more than one public provider of water services within the project

  - The initiatives foreseen by the applied projects in communities with fewer prospects, e.g. areas of special state concern, rural and smaller communities (based e.g. on the value of the development index and indicators for the calculation of the development index at the local level which is lower than 75% of the development index at the national level)

  - A wider project impact on the reorganisation of public providers of water services (merging, specialization, technical and financial consolidation)

  - Plans for future replication of project results

### Implementation Plan

Implementation of the UWWTD and related measures is very complex due to the limited capacity of water service providers and affordability of future water price (tariffs). It is considered that this problem can be overcome by reforming the water utility sector or by aggregating water service providers.

This approach optimises the financial burden on the population with the desirable maximum possible absorption of EU funds.

Key issues to be addressed:

The project preparation approach: establishment of the structure and processes for project preparation, the methodology for the evaluation of project eligibility, i.e. feasibility studies and supporting financial and economic analyses.

Establishment of the project preparation support system: technical assistance available at national and regional levels

Ensuring preconditions for using EU structural funds: (i) cost recovery system elements, (ii) tariff-setting procedure and methodology, (iii) institutional system ensuring social affordability of tariffs, (iv) `polluter/user pays` principle in the water sector

Reform of the water utility sector (Law on Waters/Utility Law and bylaws), the transition period to be set, as well as the establishment of the national water regulator (ensuring legality in the field of water service tariffs)

Streamline procedures and responsibilities at national and local levels

Streamline administrative processes such as development consent (construction permits), environmental impact assessment, land acquisition, procurement, etc.

Implementation of the UWWTD is an institutional obligation and encouragement, not only for institutional adaptation but also for technological and technical, organisational, personnel and financial reorganisation of water utility management, which provides a solid basis for the implementation of obligations, as well as gaining business self-sustainability and efficiency.

The overall investment needs for the UWWTD implementation amount to app. € 472 million. As presented earlier in Chapter 4, the basic/master implementation plan is included in the following table.

Table 7.4 – Proposed Implementation Plan for the UWWTD

| Sensitivity | Agglomeration size classes (PE) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Above 100,000 (discharge in sensitive areas) | 50,000-100,000 (discharge in sensitive areas) | 50,000-100,000 | 15,000-50,000 (discharge in sensitive areas) | 15,000-50,000 | 10,000-15,000 (discharge in sensitive areas) | 2000 -10,000 and less than 2,000 |
| Sensitive area in terms of the UWWTD in accordance with: Rulebook on criteria for definition of sensitive and vulnerable areas Decision on delineation of sensitive areas | Wastewater collection, more stringent treatment | Wastewater collection, more stringent treatment | Wastewater collection, secondary treatment | Wastewater collection, more stringent treatment | Wastewater collection, secondary treatment | Wastewater collection, more stringent treatment | Wastewater collection, secondary treatment |
|  | 31/12/2031 | 31/12/2031 | 31/12/2031 | 31/12/2033 | 31/12/2033 | 31/12/2035 | 31/12/2035 |
| Number of agglomerations | 2 | 2 | 2 | 7 | 2 | 1 | 21 |
| Estimated wastewater loading (PE) | 348,000 | 159,000 | 135,000 | 175,000 | 62,000 | 15,000 | 83,000 |
| Wastewater load (% of total) | 35.6% | 16.4% | 13.8% | 17.9% | 6.3% | 1.5% | 8.5% |

Based on the aforesaid basic Implementation Plan and taking into account current status of planning and implementation of wastewater infrastructure in each agglomeration is shown in the following table (Table 7.5). This implementation plan should be considered as indicative only, with project end dates related to requested compliance with the UWWTD (following the principle not later than). The list should be certainly adjusted on a project basis, and then regularly updated based on the aforesaid prioritisation criteria.

Table 7.5 – Preliminary detail Implementation Plan, by agglomeration

| No | Agglomeration | Agg. Type | Completion date | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica 1 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Berane 1 | 3 | 2033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Bijelo Polje 1 | 3 | 2033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Gusinje 1 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Kolašin 1 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Mojkovac 1 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Petnjica 1 | 6 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Plav - 1 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Pljevlja 1 | 3 | 2033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Plužine 1 | 6 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | Rožaje 1 | 3 | 2033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Šavnik 1 | 6 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | Žabljak 1 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | Cetinje 1 | 3 | 2033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | Danilovgrad 1 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | Danilovgrad 2 | 6 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | Nikšić 1 | 2 | 2031 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | Podgorica 1 | 1 | 2031 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | Golubovci 1 | 3 | 2033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | Tuzi 1 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | Bar 1 | 3 | 2033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | Bar 2 | 2 | 2031 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | Bar 3 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | Bar 4 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | Budva 1 | 1 | 2031 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | Budva 2 | 4 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 | Budva 3 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | H.Novi 1 | 2 | 2031 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 | H.Novi 2 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 | H.Novi 3 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 | Kotor 1 | 3 | 2033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 32 | Kotor 2 | 6 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 33 | Kotor 3 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 34 | Kotor 4 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 35 | Tivat 1 | 3 | 2033 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 36 | Tivat 2 | 5 | 2035 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 37 | Ulcinj 1 | 2 | 2031 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

# IMPLEMENTATION SCHEDULE, COSTS, FINANCING PLAN AND TARIFFS SETTING

## Introduction

Implementation of the proposed wastewater infrastructure and mobilizing the necessary overall financial resources for the capital investment of the projected technical compliance measures required the cost-benefit analysis is the central part of a revising of the existing wastewater master plans and the preparation of the first urban wastewater DSIP in Montenegro. The Financial Analysis looks at the financial feasibility and viability of the investment in compliance measures in strict financial terms and cash flow from the prospective of the owner and operator of the planned wastewater infrastructure. The CBA developed for this project (revision of the existing master plans and the preparation of the DSIP) was carried out in full compliance with the principles and rules set out in the most current EC guidelines for CBA and specifically by the guidance document published by the Directorate General Regional Policy (DG Regio) called “Guide to Cost-benefit Analysis of Investment Projects – Economic appraisal tool for Cohesion Policy 2014-2020” dated December 2014. This chapter presents the main results of the CBA analysis for the wastewater sector in Montenegro. The overview of the CBA methodology applied for the preparation of this Master plan is presented in Annex 10.

The base for the financial analysis was the review and assessment of historical and current financial analysis of water and wastewater utility companies in Montenegro. The main sources of information and data related to financial status of ViKs in water and wastewater sector in Montenegro were Tax office (https://eprijava.tax.gov.me/TaxisPortal), Central Register of Companies (http://www.crps.me/) and Ministry of Sustainable Development and Tourism (http://www.mrt.gov.me). All documents are obtained both in electronic and hard copy formats and present the official available data. The financial analysis of water utility companies is presented in Annex 11.

The affordability analysis is based on the results of the affordability analysis made through the EIAAS project (Environmental Infrastructure Audit and Affordability Analysis, 2017). The EIAAS study includes assessment of affordability and willingness to pay using available national government statistics and data collection from utility companies to establish norms for affordability for Montenegro as a whole, and, if information is readily available, for each of 23 municipalities. The overview of the Current Water and Wastewater Tariffs and Affordability is presented in Annex 12 and the EIAAS report - Volume 3.

## Investment Costs

The investment plan for the proposed compliance measures in wastewater sector in Montenegro in the period 2018-2035 is presented in constant 2017 prices (Table 8.1).

Table 8.1 – Investment Plan 2019-2035 (000 EUR, Constant Prices, 2018)

| Region | Total | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sewerage rehabilitation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 4,232 | 0 | 77 | 77 | 223 | 223 | 223 | 146 | 4 | 0 | 0 | 0 | 0 | 744 | 744 | 1,033 | 327 | 411 |
| Central | 8,570 | 0 | 0 | 0 | 0 | 995 | 995 | 1,172 | 1,172 | 1,172 | 1,172 | 1,172 | 254 | 254 | 92 | 92 | 15 | 15 |
| Coastal | 9,723 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 645 | 870 | 2,217 | 2,528 | 2,528 | 416 | 451 | 34 | 34 |
| MNE | 22,525 | 0 | 77 | 77 | 223 | 1,218 | 1,218 | 1,318 | 1,176 | 1,817 | 2,042 | 3,389 | 2,781 | 3,525 | 1,252 | 1,576 | 376 | 461 |
| WW Collection |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 55,116 | 0 | 3,186 | 3,186 | 5,461 | 5,461 | 5,461 | 2,275 | 1,055 | 0 | 0 | 0 | 0 | 3,962 | 3,962 | 7,158 | 6,648 | 7,302 |
| Central | 89,133 | 0 | 4,065 | 4,065 | 3,572 | 4,361 | 4,361 | 6,910 | 6,910 | 6,910 | 6,910 | 6,910 | 6,986 | 6,986 | 5,628 | 7,656 | 3,452 | 3,452 |
| Coastal | 95,830 | 0 | 5,616 | 5,616 | 4,877 | 0 | 0 | 0 | 0 | 6,370 | 8,071 | 10,200 | 12,606 | 12,606 | 3,437 | 6,458 | 9,988 | 9,988 |
| MNE | 240,080 | 0 | 12,866 | 12,866 | 13,910 | 9,822 | 9,822 | 9,185 | 7,965 | 13,280 | 14,981 | 17,110 | 19,592 | 23,554 | 13,027 | 21,271 | 20,087 | 20,741 |
| WW Treatment Plants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 24,000 | 0 | 1,520 | 1,520 | 3,230 | 3,230 | 3,230 | 1,711 | 426 | 0 | 0 | 0 | 0 | 1,330 | 1,330 | 1,908 | 1,938 | 2,629 |
| Central | 58,554 | 0 | 1,195 | 1,195 | 0 | 4,734 | 4,734 | 5,535 | 5,535 | 5,535 | 5,535 | 5,535 | 4,002 | 4,002 | 3,337 | 4,267 | 1,707 | 1,707 |
| Coastal | 47,978 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4,855 | 5,560 | 7,080 | 7,080 | 7,080 | 1,520 | 3,026 | 5,889 | 5,889 |
| MNE | 130,532 | 0 | 2,715 | 2,715 | 3,230 | 7,964 | 7,964 | 7,245 | 5,960 | 10,390 | 11,095 | 12,615 | 11,082 | 12,412 | 6,187 | 9,200 | 9,534 | 10,225 |
| Sludge Management |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 3,031 | 0 | 0 | 0 | 142 | 142 | 142 | 142 | 142 | 0 | 0 | 0 | 0 | 337 | 337 | 726 | 389 | 533 |
| Central | 9,980 | 0 | 0 | 0 | 0 | 1,426 | 1,426 | 1,426 | 1,426 | 1,426 | 1,426 | 1,426 | 0 | 0 | 0 | 0 | 0 | 0 |
| Coastal | 13,019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 818 | 1,572 | 2,558 | 3,297 | 3,297 | 739 | 739 | 0 | 0 |
| MNE | 26,030 | 0 | 0 | 0 | 142 | 1,568 | 1,568 | 1,568 | 1,568 | 2,244 | 2,998 | 3,983 | 3,297 | 3,633 | 1,076 | 1,465 | 389 | 533 |
| Total Investment Costs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 86,379 | 0 | 4,783 | 4,783 | 9,056 | 9,056 | 9,056 | 4,274 | 1,626 | 0 | 0 | 0 | 0 | 6,372 | 6,372 | 10,824 | 9,301 | 10,875 |
| Central | 166,238 | 0 | 5,260 | 5,260 | 3,572 | 11,515 | 11,515 | 15,042 | 15,042 | 15,042 | 15,042 | 15,042 | 11,242 | 11,242 | 9,057 | 12,014 | 5,174 | 5,174 |
| Coastal | 166,550 | 0 | 5,616 | 5,616 | 4,877 | 0 | 0 | 0 | 0 | 12,688 | 16,073 | 22,054 | 25,510 | 25,510 | 6,112 | 10,673 | 15,911 | 15,911 |
| MNE | 419,167 | 0 | 15,658 | 15,658 | 17,505 | 20,571 | 20,571 | 19,316 | 16,668 | 27,730 | 31,115 | 37,097 | 36,752 | 43,124 | 21,542 | 33,512 | 30,386 | 31,960 |

The amounts shown in the investment plan are net of technical assistance services (i.e. preparation and supervision cost) and contingencies (“net investment”).The specific per capita long-term investment cost in constant 2018 prices amounts to around 657 EUR/capita based on the total beneficiary population in Montenegro expected to be served in 2035 (date of completion of the compliance measures). Table 8.2 provides the spread of the investment of the compliance measures in constant prices and in million EUR.

Table 8.2 – Gross Investment Project Costs (000 EUR, constant prices, 2018)

| Region | Total | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Net Investment Costs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 86,379 | 0 | 4,783 | 4,783 | 9,056 | 9,056 | 9,056 | 4,274 | 1,626 | 0 | 0 | 0 | 0 | 6,372 | 6,372 | 10,824 | 9,301 | 10,875 |
| Central | 166,238 | 0 | 5,260 | 5,260 | 3,572 | 11,515 | 11,515 | 15,042 | 15,042 | 15,042 | 15,042 | 15,042 | 11,242 | 11,242 | 9,057 | 12,014 | 5,174 | 5,174 |
| Coastal | 166,550 | 0 | 5,616 | 5,616 | 4,877 | 0 | 0 | 0 | 0 | 12,688 | 16,073 | 22,054 | 25,510 | 25,510 | 6,112 | 10,673 | 15,911 | 15,911 |
| MNE | 419,167 | 0 | 15,658 | 15,658 | 17,505 | 20,571 | 20,571 | 19,316 | 16,668 | 27,730 | 31,115 | 37,097 | 36,752 | 43,124 | 21,542 | 33,512 | 30,386 | 31,960 |
| Preparation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 3,455 | 1,206 | 250 | 250 | 0 | 0 | 0 | 0 | 0 | 0 | 298 | 356 | 508 | 191 | 262 | 103 | 31 | 0 |
| Central | 6,650 | 1,216 | 1,216 | 1,463 | 1,463 | 247 | 247 | 0 | 0 | 126 | 126 | 266 | 140 | 140 | 0 | 0 | 0 | 0 |
| Coastal | 6,662 | 0 | 0 | 0 | 0 | 895 | 1,190 | 1,324 | 1,665 | 770 | 475 | 341 | 0 | 0 | 0 | 0 | 0 | 0 |
| MNE | 16,767 | 2,422 | 1,466 | 1,713 | 1,463 | 1,142 | 1,437 | 1,324 | 1,665 | 896 | 899 | 963 | 648 | 331 | 262 | 103 | 31 | 0 |
| Contingencies |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 4,319 | 0 | 239 | 239 | 453 | 453 | 453 | 214 | 81 | 0 | 0 | 0 | 0 | 319 | 319 | 541 | 465 | 544 |
| Central | 8,312 | 0 | 263 | 263 | 179 | 576 | 576 | 752 | 752 | 752 | 752 | 752 | 562 | 562 | 453 | 601 | 259 | 259 |
| Coastal | 8,327 | 0 | 281 | 281 | 244 | 0 | 0 | 0 | 0 | 634 | 804 | 1,103 | 1,241 | 1,241 | 271 | 500 | 836 | 836 |
| MNE | 20,958 | 0 | 783 | 783 | 875 | 1,029 | 1,029 | 966 | 833 | 1,387 | 1,556 | 1,855 | 1,803 | 2,122 | 1,043 | 1,641 | 1,560 | 1,639 |
| Supervision |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 3,023 | 0 | 167 | 167 | 317 | 317 | 317 | 150 | 57 | 0 | 0 | 0 | 0 | 223 | 223 | 379 | 326 | 381 |
| Central | 5,818 | 0 | 184 | 184 | 125 | 403 | 403 | 526 | 526 | 526 | 526 | 526 | 393 | 393 | 317 | 421 | 181 | 181 |
| Coastal | 5,791 | 0 | 197 | 197 | 171 | 0 | 0 | 0 | 0 | 444 | 563 | 772 | 869 | 869 | 190 | 350 | 585 | 585 |
| MNE | 14,632 | 0 | 548 | 548 | 613 | 720 | 720 | 676 | 583 | 971 | 1,089 | 1,298 | 1,262 | 1,485 | 730 | 1,149 | 1,092 | 1,147 |
| Total Gross Investment Costs |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 97,177 | 1,206 | 5,439 | 5,439 | 9,826 | 9,826 | 9,826 | 4,637 | 1,765 | 0 | 298 | 356 | 508 | 7,105 | 7,176 | 11,847 | 10,123 | 11,800 |
| Central | 187,017 | 1,216 | 6,923 | 7,170 | 5,339 | 12,741 | 12,741 | 16,321 | 16,321 | 16,447 | 16,447 | 16,587 | 12,337 | 12,337 | 9,827 | 13,036 | 5,614 | 5,614 |
| Coastal | 187,275 | 0 | 6,093 | 6,093 | 5,291 | 895 | 1,190 | 1,324 | 1,665 | 14,536 | 17,914 | 24,270 | 27,620 | 27,620 | 6,574 | 11,523 | 17,332 | 17,332 |
| MNE | 471,469 | 2,422 | 18,455 | 18,702 | 20,456 | 23,462 | 23,757 | 22,282 | 19,751 | 30,983 | 34,659 | 41,213 | 40,466 | 47,063 | 23,577 | 36,405 | 33,069 | 34,746 |

The total eligible project investment cost (including contingencies) in constant 2018 prices amounts to 471 million EUR.

Figure 8.1 presents the cumulative investment costs (total gross investment costs including preparation and supervision costs and contingencies) for period 2019-2035.

Figure 8.1 – Cumulative Investment Costs (EUR, 2018 constant prices)

Table 8.3 presents the investment programme for wastewater sector (total gross investment costs for sewerage, wastewater treatment plants and sludge management including preparation and supervision costs and contingencies) in Montenegro per municipalities.

Table 8.3 – Total Gross Investment in Wastewater Sector per Municipality (000 EUR, constant prices, 2018)

| Region | Municipality | Total | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| North | Andrijevica | 3,953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47 | 47 | 47 | 1,271 | 1,271 | 1,271 |
| North | Berane | 7,898 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 94 | 94 | 2,539 | 2,539 | 2,539 | 0 | 0 |
| North | Bijelo Polje | 26,902 | 957 | 5,189 | 5,189 | 5,189 | 5,189 | 5,189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North | Gusinje | 2,819 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 33 | 33 | 906 | 906 | 906 |
| North | Kolašin | 9,148 | 108 | 108 | 108 | 1,765 | 1,765 | 1,765 | 1,765 | 1,765 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North | Mojkovac | 6,076 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 72 | 72 | 1,953 | 1,953 | 1,953 |
| North | Petnjica | 2,177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 39 | 700 | 700 | 700 |
| North | Plav | 17,246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 204 | 204 | 204 | 3,327 | 3,327 | 3,327 | 3,327 | 3,327 |
| North | Pljevlja | 3,261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 58 | 1,048 | 1,048 | 1,048 | 0 | 0 |
| North | Plužine | 1,396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 25 | 1,347 |
| North | Rožaje | 11,913 | 141 | 141 | 141 | 2,872 | 2,872 | 2,872 | 2,872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| North | Šavnik | 375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 7 | 361 |
| North | Žabljak | 4,012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 71 | 1,935 | 1,935 |
| Central | Cetinje | 10,628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126 | 126 | 126 | 2,563 | 2,563 | 2,563 | 2,563 | 0 | 0 |
| Central | Danilovgrad | 11,807 | 0 | 1,831 | 1,831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140 | 140 | 140 | 1,457 | 1,457 | 2,406 | 2,406 |
| Central | Nikšić | 27,777 | 0 | 0 | 247 | 247 | 247 | 247 | 3,827 | 3,827 | 3,827 | 3,827 | 3,827 | 3,827 | 3,827 | 0 | 0 | 0 | 0 |
| Central | Podgorica | 136,806 | 1,216 | 5,092 | 5,092 | 5,092 | 12,494 | 12,494 | 12,494 | 12,494 | 12,494 | 12,494 | 12,494 | 5,808 | 5,808 | 5,808 | 9,017 | 3,209 | 3,209 |
| Coastal | Bar | 53,221 | 0 | 0 | 0 | 0 | 473 | 473 | 473 | 473 | 5,565 | 5,565 | 8,447 | 8,447 | 8,447 | 2,882 | 2,882 | 4,546 | 4,546 |
| Coastal | Budva | 33,171 | 0 | 0 | 0 | 0 | 0 | 295 | 295 | 295 | 295 | 3,673 | 3,673 | 3,673 | 3,673 | 0 | 4,949 | 6,176 | 6,176 |
| Coastal | Herceg Novi | 15,200 | 0 | 0 | 0 | 0 | 0 | 0 | 134 | 134 | 134 | 134 | 3,608 | 3,608 | 3,608 | 0 | 0 | 1,921 | 1,921 |
| Coastal | Kotor | 24,146 | 0 | 3,683 | 3,683 | 3,683 | 0 | 0 | 0 | 216 | 216 | 216 | 216 | 1,108 | 1,108 | 1,108 | 1,108 | 3,901 | 3,901 |
| Coastal | Tivat | 14,016 | 0 | 802 | 802 | 0 | 0 | 0 | 0 | 126 | 126 | 126 | 126 | 2,583 | 2,583 | 2,583 | 2,583 | 788 | 788 |
| Coastal | Ulcinj | 47,521 | 0 | 1,608 | 1,608 | 1,608 | 422 | 422 | 422 | 422 | 8,201 | 8,201 | 8,201 | 8,201 | 8,201 | 0 | 0 | 0 | 0 |
| MNE | Gross total | 471,469 | 2,422 | 18,455 | 18,702 | 20,456 | 23,462 | 23,757 | 22,282 | 19,751 | 30,983 | 34,659 | 41,213 | 40,466 | 47,063 | 23,577 | 36,405 | 33,069 | 34,746 |

## Financing Sources

Table 8.4 summarizes the potential financial sources assumed in first approximation for the capital investment of the project as a basis for discussion with the ministries and the donor community capable and willing of supporting the capital investment of the project.

Table 8.4 –Project Potential Financial Sources

|  | Financing Source |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | EU Grant |  | National funds |  | Loan |  | Total |  |  |
|  | (%) | (EUR) | (%) | (EUR) | (%) | (EUR) | (%) | (EUR) |
| Municipality |  |  |  |  |  |  |  |  |
| Andrijevica | 60.4% | 2,386,552 | 39.6% | 1,566,381 | 0.0% | 0 | 100.0% | 3,952,932 |
| Berane | 49.9% | 3,937,439 | 50.1% | 3,960,336 | 0.0% | 0 | 100.0% | 7,897,775 |
| BijeloPolje | 63.4% | 17,049,534 | 36.6% | 9,852,259 | 0.0% | 0 | 100.0% | 26,901,794 |
| Gusinje | 61.7% | 1,739,291 | 38.3% | 1,079,392 | 0.0% | 0 | 100.0% | 2,818,683 |
| Kolašin | 61.9% | 5,662,397 | 38.1% | 3,485,840 | 0.0% | 0 | 100.0% | 9,148,237 |
| Mojkovac | 55.9% | 3,395,652 | 44.1% | 2,680,319 | 0.0% | 0 | 100.0% | 6,075,971 |
| Petnjica | 61.6% | 1,341,276 | 38.4% | 835,738 | 0.0% | 0 | 100.0% | 2,177,015 |
| Plav | 59.9% | 10,328,608 | 40.1% | 6,917,615 | 0.0% | 0 | 100.0% | 17,246,223 |
| Pljevlja | 47.9% | 1,561,330 | 52.1% | 1,699,976 | 0.0% | 0 | 100.0% | 3,261,306 |
| Plužine | 45.7% | 638,554 | 54.3% | 757,782 | 0.0% | 0 | 100.0% | 1,396,337 |
| Rožaje | 52.7% | 6,280,610 | 47.3% | 5,632,628 | 0.0% | 0 | 100.0% | 11,913,238 |
| Šavnik | 61.6% | 230,865 | 38.4% | 143,705 | 0.0% | 0 | 100.0% | 374,570 |
| Žabljak | 59.0% | 2,367,167 | 41.0% | 1,645,293 | 0.0% | 0 | 100.0% | 4,012,460 |
| Cetinje | 50.5% | 5,371,962 | 49.5% | 5,256,229 | 0.0% | 0 | 100.0% | 10,628,191 |
| Danilovgrad | 58.6% | 6,920,066 | 41.4% | 4,886,787 | 0.0% | 0 | 100.0% | 11,806,853 |
| Nikšić | 43.6% | 12,107,715 | 56.4% | 15,669,037 | 0.0% | 0 | 100.0% | 27,776,753 |
| Podgorica | 44.6% | 61,026,795 | 45.4% | 62,098,282 | 10.0% | 13,680,564 | 100.0% | 136,805,641 |
| Bar | 53.1% | 28,284,456 | 46.9% | 24,936,606 | 0.0% | 0 | 100.0% | 53,221,063 |
| Budva | 59.5% | 19,742,880 | 40.5% | 13,428,175 | 0.0% | 0 | 100.0% | 33,171,055 |
| Herceg Novi | 54.0% | 8,211,006 | 46.0% | 6,988,828 | 0.0% | 0 | 100.0% | 15,199,834 |
| Kotor | 62.1% | 14,993,654 | 37.9% | 9,152,598 | 0.0% | 0 | 100.0% | 24,146,252 |
| Tivat | 53.3% | 7,467,228 | 36.7% | 5,147,413 | 10.0% | 1,401,627 | 100.0% | 14,016,267 |
| Ulcinj | 72.3% | 34,365,857 | 27.7% | 13,154,732 | 0.0% | 0 | 100.0% | 47,520,589 |
| Region |  |  |  |  |  |  |  |  |
| North | 58.6% | 56,919,276 | 41.4% | 40,257,265 | 0.0% | 0 | 100.0% | 97,176,541 |
| Centre | 45.7% | 85,426,539 | 47.0% | 87,910,335 | 7.3% | 13,680,564 | 100.0% | 187,017,438 |
| Coast | 60.4% | 113,065,082 | 38.9% | 72,808,352 | 0.7% | 1,401,627 | 100.0% | 187,275,060 |
| Total |  |  |  |  |  |  |  |  |
| Montenegro | 54.2% | 255,410,896 | 42.6% | 200,975,951 | 3.2% | 15,082,191 | 100.0% | 471,469,038 |

In case of the loan component the general assumptions are highlighted in Annex 10. This tentative financing plan takes into account loan component only for municipalities that already have a loan agreement with financial institutions. For other municipalities, the assumption is that the loan component would be zero, because of the very low borrowing capacity at the local level. Ineligible cost due to VAT payments will be covered by the operator using a special facility set up in the national Ministry of Finance for the implementation of EU funded projects, which allows VAT costs to be progressively repaid through normal billing operations over several years, thereby not adversely affecting cash flow or financial sustainability.

## Wastewater Projection

As a basis for the projections of the operating and maintenance costs, projections were made regarding the water and wastewater demand for the “with-project” and “without-project” scenarios. Table 8.5 shows these projections. For the period 2018-2023 water and wastewater demand are the same in with and without project scenario, because new or upgraded wastewater management system and rehabilitated wastewater infrastructure are only expected to be available then (end of investments). Per capita consumption in “with-project” scenario will decrease closer to EU average after tariffs increasing according to price demand elasticity.

Table 8.5 – Wastewater Projection in the “With-Project” Scenario (Mil m3/year)

| Water Demand - With-project Scenario | 2019 | 2023 | 2025 | 2027 | 2029 | 2035 | 2041 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| NORTH |  |  |  |  |  |  |  |
| Population per Agglomeration Act (#) | 164,396 | 159,910 | 158,036 | 156,163 | 154,289 | 150,155 | 146,766 |
| Population connected to WW system (#) | 66,989 | 70,206 | 72,650 | 75,096 | 77,542 | 87,937 | 89,953 |
| Connection rate WW (%) – of total population | 41% | 44% | 46% | 48% | 50% | 59% | 61% |
| Total wastewater collected and treated (Mil m3/year) | 3.863 | 4.345 | 4.614 | 4.893 | 5.180 | 5.865 | 5.665 |
| CENTER |  |  |  |  |  |  |  |
| Population per Agglomeration Act (#) | 306,272 | 311,870 | 314,574 | 317,279 | 319,983 | 327,726 | 335,283 |
| Population connected to WW system (#) | 173,269 | 192,645 | 202,735 | 222,814 | 235,898 | 265,457 | 283,708 |
| Connection rate WW (%) – of total population | 57% | 62% | 64% | 70% | 74% | 81% | 85% |
| Total wastewater collected and treated (Mil m3/year) | 12.832 | 14.182 | 14.751 | 16.016 | 16.754 | 17.914 | 17.975 |
| COAST |  |  |  |  |  |  |  |
| Population per Agglomeration Act (#) | 153,311 | 154,816 | 155,692 | 156,569 | 157,445 | 160,096 | 162,757 |
| Population connected to WW system (#) | 89,525 | 94,644 | 97,469 | 100,296 | 117,854 | 133,608 | 141,051 |
| Connection rate WW (%) – of total population | 58% | 61% | 63% | 64% | 75% | 83% | 87% |
| Total wastewater collected and treated (Mil m3/year) | 8.783 | 9.365 | 9.619 | 9.872 | 12.066 | 14.312 | 15.514 |
| TOTAL Montenegro |  |  |  |  |  |  |  |
| Population per Agglomeration Act (#) | 623,978 | 626,595 | 628,303 | 630,010 | 631,718 | 637,977 | 644,806 |
| Population connected to WW system (#) | 329,783 | 357,495 | 372,854 | 398,206 | 431,295 | 487,002 | 514,712 |
| Connection rate WW (%) – of total population | 53% | 57% | 59% | 63% | 68% | 76% | 80% |
| Total wastewater collected and treated (Mil m3/year) | 25.477 | 27.892 | 28.984 | 30.781 | 34.000 | 38.091 | 39.154 |

## Operation, Maintenance and Depreciation Costs

The OM cost projections include fixed costs (maintenance, staff and depreciation costs) and variable costs (energy, consumables and sludge management) components for the wastewater management operation. The following table shows the forecasted annual OM cost in constant 2018 prices for the planning period 2019-2041 for the “with-project” scenario. The OM costs have been estimated based on the assumptions defined for the “with-project” and “without-project” scenarios.

Table 8.6 – Summary OM Costs in “With-Project” Scenario (M EUR, Constant Prices, 2018

| TOTAL Montenegro | TOTAL | NPV | 2019 | 2025 | 2030 | 2033 | 2035 | 2041 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Operation costs for wastewater collection (related to existing system) | 198.431 | 112.336 | 6.614 | 6.614 | 6.614 | 6.614 | 6.614 | 6.614 |
| Maintenance costs sewerage (related to existing system) | 7.624 | 4.316 | 0.254 | 0.254 | 0.254 | 0.254 | 0.254 | 0.254 |
| Operation costs for wastewater collection, treatment and sludge management (related to measures) | 128.623 | 68.040 | 1.779 | 2.911 | 4.513 | 4.799 | 5.060 | 5.598 |
| Maintenance costs wastewater collection and treatment (related to measures) | 68.533 | 32.383 | 0.000 | 0.751 | 2.018 | 2.913 | 3.457 | 3.735 |
| Depreciation | 227.359 | 107.522 | 0.000 | 2.540 | 6.651 | 9.626 | 11.454 | 12.383 |
| Total O&M Cost Wastewater System | 630.569 | 324.597 | 8.647 | 13.071 | 20.050 | 24.206 | 26.839 | 28.585 |

In general, the O&M costs are assumed to increase sharply after 2025 in the with-project scenario, insignificantly though in the “without-project” scenario. In the “with-project” scenario the OM&D costs are projected to be at around 8.647 million EUR in 2019 (expressed in constant 2018 prices). As a consequence of the assumed real increases in salaries, energy and other important consumables and the additional infrastructure built by the project the O&M costs are projected to further increase to 13.071 million EUR in 2025 and 26.839 million EUR in 2035. In the „without-project” scenario the total OM&A costs are projected to stay at the same amount 7.717 million EUR (in constant 2018 prices) during the whole project period (only for wastewater collection services).

The unit OM costs used in the calculation are presented in Chapter 6.6.3. The calculation yields as incremental values an AIFC of 0,83 EUR/m3 for the entire system. The Table 8.7summarizes the AIFC elements relevant for the project. The presented net present values are calculated for each municipality as present value of investment and OM costs minus residual value of investment at the end of analysis period.

Table 8.7 – AIFC of various compliance measures components

|  | “With Project” Scenario |  |  | “Without Project” Scenario |  |  | Incremental Values |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | AIFC (EUR/m3) | NPV 2019-2047 (000 EUR) | AIFC (EUR/m3) |  | NPV 2019-2047 (000 EUR) | AIFC (EUR/m3) |  | NPV 2019-2047 (000 EUR) |
| Municipality |  |  |  |  |  |  |  |  |
| Andrijevica | 1.35 | 2,371 | 0.12 |  | 143 | 1.23 |  | 2,228 |
| Berane | 0.52 | 10,021 | 0.23 |  | 3,146 | 0.29 |  | 6,876 |
| Bijelo Polje | 1.80 | 35,625 | 0.28 |  | 2,562 | 1.51 |  | 33,063 |
| Gusinje | 0.53 | 1,652 | 0.00 |  | 0 | 0.53 |  | 1,652 |
| Kolašin | 2.36 | 10,004 | 0.37 |  | 690 | 1.99 |  | 9,315 |
| Mojkovac | 0.96 | 4,058 | 0.16 |  | 500 | 0.80 |  | 3,557 |
| Petnjica | 1.67 | 1,231 | 0.00 |  | 0 | 1.67 |  | 1,231 |
| Plav | 1.50 | 11,613 | 0.18 |  | 1,189 | 1.32 |  | 10,424 |
| Pljevlja | 0.45 | 9,679 | 0.27 |  | 5,408 | 0.18 |  | 4,271 |
| Plužine | 0.94 | 1,251 | 0.39 |  | 544 | 0.55 |  | 707 |
| Rožaje | 1.01 | 16,885 | 0.17 |  | 2,098 | 0.83 |  | 14,786 |
| Šavnik | 0.75 | 237 | 0.15 |  | 40 | 0.60 |  | 198 |
| Žabljak | 1.39 | 2,949 | 0.40 |  | 810 | 0.99 |  | 2,139 |
| Cetinje | 0.84 | 10,999 | 0.38 |  | 3,511 | 0.46 |  | 7,487 |
| Danilovgrad | 1.70 | 11,077 | 0.38 |  | 1,058 | 1.33 |  | 10,019 |
| Nikšić | 0.67 | 40,017 | 0.34 |  | 13,412 | 0.33 |  | 26,605 |
| Podgorica | 0.65 | 162,871 | 0.23 |  | 42,344 | 0.42 |  | 120,527 |
| Bar | 0.87 | 48,268 | 0.29 |  | 9,479 | 0.58 |  | 38,789 |
| Budva | 0.72 | 46,727 | 0.39 |  | 21,304 | 0.32 |  | 25,423 |
| Herceg Novi | 0.47 | 24,488 | 0.19 |  | 7,821 | 0.28 |  | 16,666 |
| Kotor | 1.28 | 30,943 | 0.41 |  | 5,952 | 0.86 |  | 24,992 |
| Tivat | 0.74 | 16,844 | 0.27 |  | 3,710 | 0.47 |  | 13,134 |
| Ulcinj | 1.88 | 49,783 | 0.37 |  | 7,761 | 1.51 |  | 42,022 |
| Region |  |  |  |  |  |  |  |  |
| North | 1.17 | 107,577 | 0.21 |  | 17,130 | 0.96 |  | 90,447 |
| Center | 0.96 | 224,964 | 0.33 |  | 60,325 | 0.63 |  | 164,638 |
| Coast | 0.99 | 217,052 | 0.32 |  | 56,026 | 0.67 |  | 161,026 |
| Total |  |  |  |  |  |  |  |  |
| Montenegro | 1.09 | 549,593 | 0.26 |  | 133,482 | 0.83 |  | 416,111 |

Table 8.8 presents the unit OM costs in “with-project” scenario or full-cost recovery tariffs.

Table 8.8 – Full cost recovery tariffs (EUR/m3)

|  | 2019 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Municipality |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Andrijevica | 0.14 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.39 | 0.73 | 1.16 | 1.17 | 1.17 | 1.18 | 1.19 | 1.20 | 1.20 | 1.20 |
| Berane | 0.24 | 0.36 | 0.35 | 0.35 | 0.34 | 0.34 | 0.34 | 0.33 | 0.36 | 0.44 | 0.52 | 0.52 | 0.52 | 0.53 | 0.53 | 0.54 | 0.54 | 0.54 | 0.54 | 0.54 |
| Bijelo Polje | 0.30 | 1.48 | 1.38 | 1.28 | 1.20 | 1.13 | 1.07 | 1.01 | 1.02 | 1.02 | 1.03 | 1.04 | 1.05 | 1.05 | 1.06 | 1.07 | 1.08 | 1.09 | 1.09 | 1.09 |
| Gusinje | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.14 | 0.28 | 0.66 | 0.67 | 0.67 | 0.68 | 0.68 | 0.69 | 0.69 | 0.69 |
| Kolašin | 0.41 | 1.26 | 1.47 | 1.73 | 1.61 | 1.51 | 1.42 | 1.34 | 1.34 | 1.33 | 1.33 | 1.33 | 1.32 | 1.32 | 1.32 | 1.32 | 1.31 | 1.31 | 1.31 | 1.31 |
| Mojkovac | 0.28 | 0.25 | 0.25 | 0.24 | 0.24 | 0.23 | 0.23 | 0.23 | 0.23 | 0.23 | 0.39 | 0.58 | 0.78 | 0.79 | 0.79 | 0.80 | 0.80 | 0.81 | 0.81 | 0.81 |
| Petnjica | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.39 | 0.78 | 1.26 | 1.27 | 1.28 | 1.29 | 1.30 | 1.31 | 1.31 | 1.31 |
| Plav | 0.21 | 0.19 | 0.19 | 0.19 | 0.18 | 0.18 | 0.18 | 0.18 | 0.43 | 0.71 | 0.98 | 1.26 | 1.74 | 1.75 | 1.76 | 1.77 | 1.79 | 1.80 | 1.80 | 1.80 |
| Pljevlja | 0.31 | 0.44 | 0.43 | 0.43 | 0.42 | 0.42 | 0.41 | 0.41 | 0.44 | 0.46 | 0.49 | 0.50 | 0.50 | 0.51 | 0.52 | 0.52 | 0.53 | 0.54 | 0.54 | 0.54 |
| Plužine | 0.48 | 0.48 | 0.48 | 0.48 | 0.48 | 0.47 | 0.47 | 0.47 | 0.47 | 0.48 | 0.49 | 0.49 | 1.53 | 1.55 | 1.57 | 1.59 | 1.61 | 1.63 | 1.63 | 1.63 |
| Rožaje | 0.19 | 0.59 | 0.93 | 0.92 | 0.90 | 0.88 | 0.87 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 |
| Šavnik | 0.28 | 0.26 | 0.25 | 0.25 | 0.24 | 0.24 | 0.24 | 0.23 | 0.23 | 0.23 | 0.23 | 0.22 | 0.74 | 0.72 | 0.71 | 0.70 | 0.69 | 0.69 | 0.69 | 0.69 |
| Žabljak | 0.58 | 0.59 | 0.58 | 0.58 | 0.57 | 0.57 | 0.56 | 0.56 | 0.56 | 0.57 | 0.57 | 1.01 | 1.53 | 1.52 | 1.50 | 1.49 | 1.47 | 1.46 | 1.46 | 1.46 |
| Cetinje | 0.42 | 0.41 | 0.41 | 0.41 | 0.40 | 0.40 | 0.40 | 0.40 | 0.55 | 0.70 | 1.00 | 1.00 | 1.00 | 1.01 | 1.01 | 1.01 | 1.01 | 1.01 | 1.01 | 1.01 |
| Danilovgrad | 0.42 | 1.08 | 1.00 | 0.94 | 0.88 | 0.84 | 0.80 | 0.76 | 0.76 | 0.86 | 0.95 | 1.16 | 1.36 | 1.37 | 1.37 | 1.37 | 1.37 | 1.38 | 1.38 | 1.38 |
| Nikšić | 0.52 | 0.48 | 0.45 | 0.47 | 0.50 | 0.52 | 0.54 | 0.55 | 0.59 | 0.59 | 0.59 | 0.59 | 0.59 | 0.59 | 0.59 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 |
| Podgorica | 0.24 | 0.33 | 0.37 | 0.41 | 0.44 | 0.48 | 0.51 | 0.52 | 0.53 | 0.55 | 0.57 | 0.58 | 0.59 | 0.59 | 0.59 | 0.59 | 0.59 | 0.59 | 0.59 | 0.59 |
| Bar | 0.32 | 0.31 | 0.31 | 0.48 | 0.44 | 0.50 | 0.59 | 0.68 | 0.78 | 0.81 | 0.83 | 0.87 | 0.90 | 0.90 | 0.89 | 0.88 | 0.87 | 0.87 | 0.87 | 0.87 |
| Budva | 0.61 | 0.62 | 0.62 | 0.62 | 0.62 | 0.56 | 0.59 | 0.62 | 0.65 | 0.64 | 0.68 | 0.74 | 0.79 | 0.78 | 0.77 | 0.76 | 0.75 | 0.74 | 0.74 | 0.74 |
| Herceg Novi | 0.23 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.36 | 0.40 | 0.43 | 0.43 | 0.42 | 0.44 | 0.47 | 0.46 | 0.46 | 0.45 | 0.45 | 0.45 | 0.45 | 0.45 |
| Kotor | 0.64 | 0.75 | 0.73 | 0.70 | 0.68 | 0.66 | 0.64 | 0.64 | 0.66 | 0.68 | 0.69 | 0.80 | 0.91 | 0.90 | 0.90 | 0.90 | 0.90 | 0.90 | 0.90 | 0.90 |
| Tivat | 0.46 | 0.41 | 0.41 | 0.40 | 0.39 | 0.38 | 0.37 | 0.43 | 0.49 | 0.55 | 0.60 | 0.61 | 0.62 | 0.61 | 0.61 | 0.60 | 0.59 | 0.59 | 0.59 | 0.59 |
| Ulcinj | 0.44 | 0.48 | 0.47 | 0.47 | 0.85 | 1.07 | 1.28 | 1.48 | 1.67 | 1.64 | 1.61 | 1.58 | 1.55 | 1.53 | 1.50 | 1.48 | 1.46 | 1.43 | 1.43 | 1.43 |
| Region |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 0.26 | 0.62 | 0.68 | 0.68 | 0.66 | 0.65 | 0.63 | 0.62 | 0.64 | 0.68 | 0.72 | 0.78 | 0.88 | 0.88 | 0.89 | 0.89 | 0.90 | 0.91 | 0.91 | 0.91 |
| Centre | 0.29 | 0.37 | 0.40 | 0.43 | 0.46 | 0.49 | 0.52 | 0.53 | 0.55 | 0.57 | 0.60 | 0.62 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 | 0.63 |
| Coast | 0.44 | 0.49 | 0.49 | 0.51 | 0.54 | 0.56 | 0.60 | 0.66 | 0.72 | 0.73 | 0.75 | 0.79 | 0.82 | 0.81 | 0.80 | 0.80 | 0.79 | 0.78 | 0.78 | 0.78 |
| Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Montenegro | 0.34 | 0.45 | 0.47 | 0.50 | 0.52 | 0.54 | 0.56 | 0.59 | 0.63 | 0.65 | 0.68 | 0.70 | 0.74 | 0.74 | 0.73 | 0.73 | 0.73 | 0.73 | 0.73 | 0.73 |

## Recommended Tariff Increases by Municipality

To satisfy the targeted Polluter Pays Principle (prevailing in the EU), the wastewater tariff for two categories of users are purposely set to converge. This principle dictates the same pollution collection and treatment cost for the same quantity of pollution released. As the current local regulation requires industrial wastewater in-house pre-treatment in order to lower the pollution discharges into the sewerage network to the level comparable to domestic wastewater, the proposed tariff fully embed the principle of the same treatment cost for the same unit of pollution generated. The current wastewater tariff difference between two groups (population versus legal entities) in Montenegro is relatively large. Having in mind that the existing tariff for commerce and industry is too high comparing to the tariffs for households and to the full cost recovery level, the convergence of these tariffs was set to occur towards the end of the project period. The existing wastewater tariff is below the full cost recovery level.

O&M costs for wastewater collection services (estimated by consultants) are equal to app. 0.23 EUR/m3, while the existing tariff is equal to 0.19 EUR/m3  for households and 0.63 EUR/m3 for legal entities (industries, commercial users, etc.). Current wastewater collection tariffs for domestic and non-domestic users are set as a starting point for the tariff projection. The maximum tariff increase is limited to maximum 100% annually. Currently, municipal water utility companies make cross-subsidizing between water and wastewater services (covering the loss in wastewater collection revenues by excess of revenues in water services). Full cost recovery principle is achieved by gradual equalizing existing wastewater tariffs with unit O&M costs.

Apart from the full cost recovery the tariff projection is based on smooth, gradual changes in order to enable water users to budget their expenditures. The proposed tariffs are based on a gradual increase over several years (in most municipalities during five to seven years) which adds up to the full cost recovery tariff. In the first several years, the costs of depreciation are not fully included in the tariff; the costs of depreciation are not immediately necessary for guaranteeing financial sustainability in the short term. In average, after seven years the costs of depreciation are fully included. In the period of seven years after the investment finished gradually increasing percentage of the depreciation costs is added to the tariff.

Table 8.9 shows the proposed average wastewater tariff profile in Montenegro following the investment in the compliance measures. It has two components; the tariff to cover the cost of the existing infrastructure plus the “add-on” tariff to cover the cost of new measures.

Table 8.9 – Tariff Increase in “with-project” scenario (EUR, Constant prices 2018, EUR/m3-w/o VAT)

| Households (EUR/m3) | 2019 | 2021 | 2024 | 2025 | 2030 | 2035 | 2041 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Municipality |  |  |  |  |  |  |  |  |
| Andrijevica | 0.15 | 0.20 | 0.20 | 0.20 | 0.20 | 0.33 | 0.62 | 0.90 |
| Berane | 0.33 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 |
| Bijelo Polje | 0.53 | 0.53 | 0.60 | 0.65 | 0.65 | 0.65 | 0.95 | 1.09 |
| Gusinje | 0.12 | 0.15 | 0.20 | 0.22 | 0.35 | 0.57 | 0.63 | 0.63 |
| Kolašin | 0.57 | 0.57 | 0.57 | 0.57 | 0.57 | 0.69 | 1.22 | 1.34 |
| Mojkovac | 0.28 | 0.43 | 0.43 | 0.43 | 0.43 | 0.66 | 0.81 | 0.81 |
| Petnjica | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.27 | 0.88 | 1.07 |
| Plav | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.63 | 1.27 | 1.86 |
| Pljevlja | 0.29 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 | 0.64 |
| Plužine | 0.45 | 0.50 | 0.50 | 0.50 | 0.50 | 0.67 | 1.05 | 1.65 |
| Rožaje | 0.17 | 0.28 | 0.38 | 0.42 | 0.50 | 0.73 | 0.90 | 0.90 |
| Šavnik | 0.18 | 0.46 | 0.46 | 0.46 | 0.46 | 0.46 | 0.67 | 0.74 |
| Žabljak | 0.57 | 0.57 | 0.62 | 0.62 | 0.62 | 0.90 | 1.02 | 1.46 |
| Cetinje | 0.45 | 0.48 | 0.48 | 0.48 | 0.48 | 0.62 | 0.73 | 1.07 |
| Danilovgrad | 0.59 | 0.68 | 0.75 | 0.75 | 0.75 | 0.75 | 0.75 | 0.83 |
| Nikšić | 0.47 | 0.57 | 0.57 | 0.57 | 0.57 | 0.59 | 0.60 | 0.60 |
| Podgorica | 0.28 | 0.28 | 0.35 | 0.35 | 0.51 | 0.57 | 0.58 | 0.58 |
| Bar | 0.27 | 0.27 | 0.34 | 0.38 | 0.55 | 0.55 | 0.60 | 0.85 |
| Budva | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 |
| Herceg Novi | 0.29 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 |
| Kotor | 0.65 | 0.75 | 0.75 | 0.75 | 0.75 | 0.82 | 0.91 | 0.91 |
| Tivat | 0.53 | 0.61 | 0.61 | 0.61 | 0.61 | 0.62 | 0.62 | 0.62 |
| Ulcinj | 0.41 | 0.51 | 0.51 | 0.51 | 0.66 | 1.07 | 1.24 | 1.24 |
| Region |  |  |  |  |  |  |  |  |
| North | 0.32 | 0.41 | 0.49 | 0.51 | 0.53 | 0.61 | 0.80 | 0.90 |
| Centre | 0.36 | 0.35 | 0.45 | 0.45 | 0.55 | 0.59 | 0.60 | 0.62 |
| Coast | 0.52 | 0.55 | 0.60 | 0.61 | 0.64 | 0.68 | 0.73 | 0.79 |
| Total |  |  |  |  |  |  |  |  |
| Montenegro | 0.41 | 0.43 | 0.50 | 0.51 | 0.58 | 0.63 | 0.68 | 0.73 |

Having in mind that the full cost recovery principle should be achieved in “without-project” scenario as well and that the project anyway should be financially sustainable, certain tariffs adjustment are proposed. Regarding the pattern of tariff projection in most municipalities the model is based on the following assumptions:

Water supply tariff increases are set at half the rate of GDP growth until the end of the project  in “with-project” and “without-project” scenarios;

Wastewater collection tariff (sewerage) increases in the “without project” scenario are set at half the rate of GDP Growth for year 2019 and thereafter.

Figure 8.2, Figure 8.3, Figure 8.4 and Figure 8.5 present the comparison of the wastewater full-cost recovery tariffs and wastewater tariffs proposed and adopted by this Master Plan, taking into account the affordability and financial sustainability constraints (explained in the next sections).

Figure 8.2 – Proposed and full cost recovery WW tariffs – Northern region (EUR/m3)

Figure 8.3 – Proposed and full cost recovery WW tariffs – Central region (EUR/m3)

Figure 8.4 – Proposed and full cost recovery WW tariffs – Coastal region (EUR/m3)

Figure 8.5 – Proposed and full cost recovery WW tariffs – country level (EUR/m3)

It is very important that the Net Present Value of the (positive) cash flow over the reference period is less in “without-project” than that for the “with-project” scenario. The “without-project” scenario should not make more profit than the with-project scenario. Table 8.10 presents total revenues, operational costs and cash balance for “with-project” and “without-project” scenarios.

Table 8.10 – Cash-flow “with”&“without-project” scenarios (M EUR, Constant Prices, 2018)

| MONTENEGRO | NPV | 2019 | 2021 | 2024 | 2025 | 2030 | 2035 | 2041 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Revenues with Project | 323.136 | 10.389 | 11.396 | 14.349 | 14.749 | 20.570 | 23.939 | 26.726 | 28.525 |
| Total Revenues without Project | 177.247 | 8.872 | 9.022 | 9.284 | 9.376 | 10.164 | 10.925 | 12.004 | 12.932 |
| Incremental Revenues | 145.889 | 1.517 | 2.374 | 5.065 | 5.373 | 10.406 | 13.014 | 14.722 | 15.593 |
| Operation Costs with Project (w/o depreciation) | 216.249 | 8.643 | 9.459 | 10.089 | 10.527 | 13.396 | 15.381 | 16.196 | 16.196 |
| Operation Costs without Project (w/o depreciation) | 133.442 | 7.717 | 7.717 | 7.717 | 7.717 | 7.717 | 7.717 | 7.717 | 7.717 |
| Incremental Operation Costs | 82.807 | 0.926 | 1.742 | 2.372 | 2.810 | 5.679 | 7.664 | 8.479 | 8.479 |
| Cash Balance with Project | 106.888 | 1.746 | 1.938 | 4.260 | 4.221 | 7.174 | 8.557 | 10.530 | 12.329 |
| Cash Balance without Project | 43.805 | 1.155 | 1.305 | 1.567 | 1.659 | 2.447 | 3.208 | 4.287 | 5.215 |

## Affordability Analysis

There is a generally accepted principal that the affordability ceiling for water supply and wastewater services (collection, treatment appurtenant sludge management) is 3% of the average household income. It is also recognised that based upon such averages the poorest deciles may be required to pay more as a percentage of their income. There is no a fixed rule as to what the ceiling levels for the poorest deciles should be, but empirical evidence suggests that water and wastewater services charges for the poor can consume some 6% of household income (sometimes even as high as 10% in extreme cases). For comparison purposes the analysis also examines the impact if the affordability ceiling for the poor was the same as the average, i.e. 3% of household income.

In the affordability analysis the bills to be paid by the customers are composed of net water and wastewater fees plus 7% VAT. Tariff revenues are structured in such a way as to fully cover the water and wastewater operating, maintenance and depreciation costs and repayments of loan, as applicable. Water quantities used for the assessment of payment ratios are presented in previous sections. For more information on the drinking water and wastewater collection and treatment full recovery tariff calculation, investment and operation costs see the Drinking Water and Urban Wastewater DSIP documents.

Differentiation in tariffs between households and non-households (industry…) is reduced immediately at the start of the projection to incorporate the principle of non-cross-subsidisation. Table 8.11 presents development of payments for water and wastewater during the implementation of the wastewater investment measures including sludge management activities. This table documents the affordability of the average income households.

Table 8.11 – Water services – affordability projection

|  | 2019 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Municipality |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Andrijevica | 1.5% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.7% | 1.8% | 1.9% | 2.0% | 2.1% | 2.2% | 2.3% | 2.4% | 2.5% | 2.6% | 3.0% |
| Berane | 1.7% | 1.9% | 1.9% | 1.9% | 1.9% | 1.9% | 1.9% | 1.9% | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.7% | 1.7% | 1.7% | 1.7% | 1.6% | 1.6% | 1.6% |
| Bijelo Polje | 3.2% | 3.4% | 3.4% | 3.4% | 3.4% | 3.4% | 3.3% | 3.3% | 3.3% | 3.3% | 3.2% | 3.2% | 3.1% | 3.1% | 3.2% | 3.3% | 3.5% | 3.6% | 3.8% | 3.7% |
| Gusinje | 1.6% | 1.9% | 1.9% | 2.0% | 2.1% | 2.2% | 2.3% | 2.3% | 2.4% | 2.5% | 2.6% | 2.8% | 2.9% | 2.8% | 2.8% | 2.8% | 2.7% | 2.7% | 2.6% | 2.5% |
| Kolašin | 3.2% | 3.1% | 3.1% | 3.1% | 3.1% | 3.1% | 3.0% | 3.0% | 3.0% | 3.0% | 3.1% | 3.2% | 3.3% | 3.4% | 3.5% | 3.7% | 3.8% | 4.0% | 4.1% | 3.9% |
| Mojkovac | 1.8% | 2.1% | 2.1% | 2.1% | 2.1% | 2.1% | 2.0% | 2.0% | 2.0% | 2.0% | 2.2% | 2.4% | 2.6% | 2.6% | 2.6% | 2.5% | 2.5% | 2.5% | 2.4% | 2.3% |
| Petnjica | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.5% | 1.6% | 1.7% | 1.8% | 2.0% | 2.2% | 2.4% | 2.6% | 2.9% | 3.2% | 3.6% | 3.8% | 3.8% |
| Plav | 2.0% | 2.0% | 2.0% | 2.0% | 2.0% | 1.9% | 1.9% | 2.1% | 2.3% | 2.5% | 2.8% | 3.1% | 3.5% | 3.7% | 3.9% | 4.1% | 4.3% | 4.5% | 4.8% | 5.7% |
| Pljevlja | 1.5% | 2.2% | 2.2% | 2.2% | 2.2% | 2.2% | 2.2% | 2.1% | 2.1% | 2.1% | 2.1% | 2.0% | 2.0% | 2.0% | 2.0% | 1.9% | 1.9% | 1.9% | 1.9% | 1.8% |
| Plužine | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.8% | 1.7% | 1.8% | 1.9% | 2.0% | 2.3% | 2.4% | 2.4% | 2.4% | 2.3% | 2.4% | 2.7% | 3.2% |
| Rožaje | 1.9% | 2.9% | 3.2% | 3.2% | 3.2% | 3.2% | 3.1% | 3.1% | 3.3% | 3.4% | 3.6% | 3.8% | 4.0% | 4.1% | 4.2% | 4.1% | 4.1% | 4.0% | 3.9% | 3.7% |
| Šavnik | 0.9% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.6% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.4% | 1.5% | 1.6% | 1.7% | 1.8% | 1.9% | 1.8% |
| Žabljak | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.3% | 2.3% | 2.5% | 2.8% | 2.8% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 3.1% | 3.2% |
| Cetinje | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.2% | 2.3% | 2.4% | 2.4% | 2.4% | 2.4% | 2.3% | 2.3% | 2.3% | 2.3% | 2.4% | 2.5% | 2.7% |
| Danilovgrad | 3.2% | 3.5% | 3.5% | 3.5% | 3.4% | 3.4% | 3.4% | 3.4% | 3.4% | 3.3% | 3.3% | 3.3% | 3.2% | 3.2% | 3.2% | 3.1% | 3.1% | 3.0% | 3.0% | 3.0% |
| Nikšić | 2.3% | 2.5% | 2.5% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.4% | 2.3% | 2.3% | 2.3% | 2.3% | 2.2% | 2.2% | 2.2% | 2.1% |
| Podgorica | 1.2% | 1.3% | 1.3% | 1.3% | 1.4% | 1.5% | 1.5% | 1.5% | 1.5% | 1.6% | 1.6% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.4% | 1.4% | 1.4% |
| Bar | 3.6% | 3.8% | 3.9% | 4.0% | 4.1% | 4.2% | 4.2% | 4.2% | 4.2% | 4.2% | 4.1% | 4.1% | 4.1% | 4.0% | 4.0% | 3.9% | 3.9% | 4.0% | 4.0% | 4.2% |
| Budva | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.3% | 2.2% | 2.2% | 2.2% | 2.2% | 2.2% | 2.1% | 2.1% | 2.1% | 2.1% |
| Hercegnovi | 2.6% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.7% | 2.7% | 2.7% | 2.7% | 2.6% | 2.6% | 2.6% | 2.6% | 2.5% |
| Kotor | 3.5% | 3.6% | 3.6% | 3.6% | 3.6% | 3.6% | 3.6% | 3.6% | 3.5% | 3.5% | 3.5% | 3.6% | 3.6% | 3.6% | 3.6% | 3.5% | 3.5% | 3.5% | 3.4% | 3.3% |
| Tivat | 2.7% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.8% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.6% | 2.6% | 2.6% | 2.6% | 2.5% | 2.5% |
| Ulcinj | 4.4% | 4.7% | 4.7% | 4.7% | 4.7% | 4.9% | 5.0% | 5.2% | 5.4% | 5.5% | 5.7% | 5.9% | 6.1% | 6.2% | 6.1% | 6.0% | 5.9% | 5.9% | 5.8% | 5.6% |
| Region |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| North | 2.1% | 3.0% | 3.1% | 3.2% | 3.2% | 3.3% | 3.4% | 3.4% | 3.5% | 3.5% | 3.6% | 3.7% | 3.8% | 3.8% | 3.9% | 4.0% | 4.1% | 4.2% | 4.4% | 4.7% |
| Center | 2.0% | 2.3% | 2.3% | 2.4% | 2.5% | 2.6% | 2.6% | 2.6% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.7% | 2.8% |
| Coast | 3.8% | 4.2% | 4.2% | 4.3% | 4.3% | 4.4% | 4.4% | 4.5% | 4.5% | 4.5% | 4.5% | 4.6% | 4.6% | 4.6% | 4.6% | 4.6% | 4.6% | 4.6% | 4.7% | 4.9% |
| Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Montenegro | 2.5% | 2.7% | 2.8% | 2.8% | 2.9% | 3.0% | 3.1% | 3.1% | 3.1% | 3.2% | 3.2% | 3.2% | 3.2% | 3.2% | 3.2% | 3.3% | 3.3% | 3.3% | 3.3% | 3.5% |

The previous table shows that the affordability ratio in most cases exceeds the limit of 3% (especially for the poorest households). This problem can solved through tariff cross-subsidise between household and non-household users, but the Law on the Utility Services requires that the water tariff for all users must be equal. The results of the affordability analysis shown in Table 8.11 are quite diverse for individual municipalities ranging from around 1.5% up to 5.7% expenses for water and wastewater services at the end of the project period. These results also highlight and distinguish those municipalities where implementation of the proposed measures would generate household expenditures significantly and persistently above the set affordability threshold, specifically: Bijelo Polje, Kolašin, Plav, Rožaje, Bar, Kotor and Ulcinj. It is certain and decisive indication that the projects in those municipalities should be further considered in more detail and municipality-specific studies in order to re-consider exact scope, sizing, phasing and other measures that may contribute to bringing the expenditures more in line with the forecasted household income.

The other, supplementary solution is to subsidise poorest households. Table 8.12 presents the total amount of subsidies requiring by the proposed tariff plan. It is almost certain that a fair number of those highlighted municipalities, where the measures pushed the tariffs well above the threshold, would not be able to subsidise these costs. It is therefore far preferable to adjust, tailor-make and optimise the projects rather than to allow for substantial subsidies.

Table 8.12 – Required amount of subsidies for low-income households (EUR million/year)

|  | Total (2019-2047) | 2019 | 2023 | 2024 | 2025 | 2030 | 2035 | 2041 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Municipality |  |  |  |  |  |  |  |  |  |
| Andrijevica | 0.154 | 0.005 | 0.008 | 0.008 | 0.008 | 0.009 | 0.016 | 0.035 | 0.057 |
| Berane | 1.694 | 0.061 | 0.095 | 0.096 | 0.097 | 0.104 | 0.108 | 0.109 | 0.110 |
| Bijelo Polje | 6.192 | 0.273 | 0.290 | 0.325 | 0.355 | 0.387 | 0.422 | 0.642 | 0.781 |
| Gusinje | 0.233 | 0.005 | 0.008 | 0.008 | 0.009 | 0.016 | 0.028 | 0.033 | 0.035 |
| Kolašin | 1.157 | 0.056 | 0.060 | 0.061 | 0.062 | 0.068 | 0.086 | 0.149 | 0.175 |
| Mojkovac | 0.670 | 0.021 | 0.035 | 0.036 | 0.036 | 0.040 | 0.064 | 0.085 | 0.090 |
| Petnjica | 0.142 | 0.006 | 0.006 | 0.006 | 0.007 | 0.007 | 0.018 | 0.060 | 0.078 |
| Plav | 0.525 | 0.020 | 0.022 | 0.022 | 0.023 | 0.025 | 0.071 | 0.152 | 0.239 |
| Pljevlja | 2.791 | 0.060 | 0.161 | 0.164 | 0.166 | 0.178 | 0.189 | 0.197 | 0.204 |
| Plužine | 0.192 | 0.008 | 0.010 | 0.010 | 0.010 | 0.011 | 0.017 | 0.031 | 0.057 |
| Rožaje | 2.038 | 0.040 | 0.082 | 0.092 | 0.103 | 0.133 | 0.209 | 0.277 | 0.298 |
| Šavnik | 0.067 | 0.000 | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | 0.009 | 0.010 |
| Žabljak | 0.400 | 0.018 | 0.021 | 0.021 | 0.022 | 0.023 | 0.036 | 0.044 | 0.068 |
| Cetinje | 2.150 | 0.093 | 0.106 | 0.108 | 0.111 | 0.125 | 0.170 | 0.222 | 0.329 |
| Danilovgrad | 3.767 | 0.152 | 0.196 | 0.201 | 0.205 | 0.230 | 0.261 | 0.304 | 0.354 |
| Nikšić | 10.009 | 0.407 | 0.514 | 0.526 | 0.537 | 0.602 | 0.704 | 0.808 | 0.866 |
| Podgorica | 10.495 | 0.226 | 0.242 | 0.407 | 0.416 | 0.899 | 1.124 | 1.195 | 1.160 |
| Bar | 11.227 | 0.399 | 0.482 | 0.515 | 0.551 | 0.762 | 0.888 | 1.100 | 1.419 |
| Budva | 4.275 | 0.182 | 0.209 | 0.216 | 0.223 | 0.265 | 0.305 | 0.353 | 0.385 |
| Herceg Novi | 5.868 | 0.222 | 0.295 | 0.304 | 0.313 | 0.365 | 0.423 | 0.499 | 0.550 |
| Kotor | 6.707 | 0.281 | 0.335 | 0.345 | 0.355 | 0.411 | 0.498 | 0.620 | 0.684 |
| Tivat | 3.381 | 0.141 | 0.169 | 0.174 | 0.179 | 0.208 | 0.241 | 0.284 | 0.311 |
| Ulcinj | 5.158 | 0.186 | 0.229 | 0.236 | 0.243 | 0.320 | 0.482 | 0.621 | 0.684 |
| Region |  |  |  |  |  |  |  |  |  |
| North | 16.254 | 0.574 | 0.802 | 0.853 | 0.902 | 1.006 | 1.267 | 1.823 | 2.202 |
| Centre | 26.420 | 0.877 | 1.059 | 1.242 | 1.269 | 1.856 | 2.259 | 2.528 | 2.708 |
| Coast | 36.616 | 1.411 | 1.718 | 1.789 | 1.864 | 2.330 | 2.837 | 3.476 | 4.033 |
| Total |  |  |  |  |  |  |  |  |  |
| Montenegro | 79.290 | 2.863 | 3.579 | 3.884 | 4.036 | 5.191 | 6.363 | 7.828 | 8.943 |

From the affordability analyses it turns out that the average monthly bill for water and wastewater to be paid by the average household varies per municipality from around 1.4% (Podgorica) to 5.7% (Plav) of its net income in 2045. It is very important to emphasize that this analysis is made at municipality level; there are large municipality income differences in comparison to the average household income. Moreover, variation in affordability to pay for water and wastewater services at household level differs much as well. During preparation of municipality-specific feasibility studies, special attention will need to be paid to municipalities were potential payment is significantly above the affordability ceiling. There will be municipalities where the poorest households would make a big part of all households.

As we stated above, the affordability problem for the poorest households can be addressed through tariff cross-subsidise between household and non-household users, but the Law on the Utility Services in Montenegro requires that the water tariff for all users must be the equalised. The several other solutions can be recommended:

Reduce water losses in existing systems.

Improve efficiency of workers of water supply companies.

Improve efficiency in collection of receivables.

Rigorously evaluate options for least cost solutions (investment and operating cost).

Apply subsidy schemes targeted at low income users.

Equalise tariffs and avoid cross-subsidisation (currently industry pays much higher tariffs than domestic consumers).

Consider mechanism to redistribute burden across the country (also known as solidarity principle), i.e. regionalisation of water utilities.

## Funding Gap Estimation

Table 8.13 summarizes the calculation of the funding gap for the project using the methodology for application for funding under EU programs.

Table 8.13 – EC Funding Gap Calculation of the Project

|  | Funding Gap (%) | Decision Amount (EUR Constant, 2018) | Decision Amount (EUR Current) | Possible EU Grant (EUR Constant, 2018) | Possible EU Grant (EUR Current) |
| --- | --- | --- | --- | --- | --- |
| Municipality |  |  |  |  |  |
| Andrijevica | 71% | 2,807,708 | 2,267,714 | 2,386,552 | 1,927,557 |
| Berane | 59% | 4,632,281 | 5,478,100 | 3,937,439 | 4,656,385 |
| Bijelo polje | 75% | 20,058,275 | 22,642,130 | 17,049,534 | 19,245,811 |
| Gusinje | 73% | 2,046,225 | 1,600,680 | 1,739,291 | 1,360,578 |
| Kolašin | 73% | 6,661,644 | 7,548,070 | 5,662,397 | 6,415,859 |
| Mojkovac | 66% | 3,994,884 | 3,143,755 | 3,395,652 | 2,672,192 |
| Petnjica | 72% | 1,577,972 | 1,280,462 | 1,341,276 | 1,088,393 |
| Plav | 70% | 12,151,304 | 11,614,141 | 10,328,608 | 9,872,020 |
| Pljevlja | 56% | 1,836,859 | 2,127,455 | 1,561,330 | 1,808,337 |
| Plužine | 54% | 751,240 | 33,555 | 638,554 | 28,522 |
| Rožaje | 62% | 7,388,953 | 8,416,730 | 6,280,610 | 7,154,221 |
| Šavnik | 73% | 271,605 | 12,132 | 230,865 | 10,312 |
| Žabljak | 69% | 2,784,903 | 1,718,832 | 2,367,167 | 1,461,007 |
| Cetinje | 59% | 6,319,955 | 7,733,220 | 5,371,962 | 6,573,237 |
| Danilovgrad | 69% | 8,141,255 | 7,408,311 | 6,920,066 | 6,297,064 |
| Nikšić | 51% | 14,244,371 | 16,457,669 | 12,107,715 | 13,989,018 |
| Podgorica | 52% | 71,796,230 | 80,867,947 | 61,026,795 | 68,737,755 |
| Bar | 63% | 33,275,831 | 36,379,526 | 28,284,456 | 30,922,597 |
| Budva | 70% | 23,226,918 | 22,501,777 | 19,742,880 | 19,126,511 |
| Hercegnovi | 64% | 9,660,007 | 10,073,227 | 8,211,006 | 8,562,243 |
| Kotor | 73% | 17,639,593 | 16,962,060 | 14,993,654 | 14,417,751 |
| Tivat | 63% | 8,784,974 | 9,728,103 | 7,467,228 | 8,268,888 |
| Ulcinj | 85% | 40,430,420 | 47,462,048 | 34,365,857 | 40,342,741 |
| Region |  |  |  |  |  |
| North | 69% | 66,963,854 | 67,883,757 | 56,919,276 | 57,701,194 |
| Center | 54% | 100,501,810 | 112,467,146 | 85,426,539 | 95,597,074 |
| Coast | 71% | 133,017,743 | 143,106,742 | 113,065,082 | 121,640,731 |
| Total |  |  |  |  |  |
| Montenegro | 64% | 300,483,407 | 323,457,645 | 255,410,896 | 274,938,998 |

## Financial Performance Indicators

The financial performance indicators (FRR and FNPV) for the project in each municipality are presented in the following table.

Table 8.14 – Financial Performance indicators before and after EU assistance

| Municipality | FNPV/C (EUR) | FIRR/C (%) | FNPV/K (EUR) | FIRR/K (%) |
| --- | --- | --- | --- | --- |
| Andrijevica | -2,361,022 | -6.90% | -389,731 | 0.72% |
| Berane | -3,945,612 | -5.74% | -379,671 | 2.48% |
| Bijelo polje | -17,507,861 | -2.36% | -1,965,502 | 2.62% |
| Gusinje | -1,718,413 | -9.47% | -281,760 | -0.71% |
| Kolašin | -5,391,993 | -2.34% | -420,699 | 3.12% |
| Mojkovac | -3,375,834 | -7.13% | -571,027 | 0.63% |
| Petnjica | -1,359,036 | -6.65% | -207,732 | 1.04% |
| Plav | -9,855,044 | -6.27% | -1,231,195 | 1.80% |
| Pljevlja | -1,630,839 | -7.10% | -290,649 | 0.19% |
| Plužine | -694,782 | -4.23% | -125,882 | 1.76% |
| Rožaje | -6,154,266 | -1.32% | -158,708 | 3.78% |
| Šavnik | -246,046 | -8.52% | -40,365 | 0.12% |
| Žabljak | -2,524,972 | -6.98% | -455,050 | 0.52% |
| Cetinje | -5,279,619 | -3.69% | 2,667,690 | 4.62% |
| Danilovgrad | -5,671,149 | -3.26% | -811,965 | 2.18% |
| Nikšić | -10,969,487 | -1.40% | -879,417 | 3.35% |
| Podgorica | -51,261,984 | -1.69% | 5,606,168 | 5.01% |
| Bar | -24,774,564 | -2.55% | -82,028 | 3.97% |
| Budva | -16,892,590 | -3.29% | -1,802,222 | 2.84% |
| Herceg Novi | -7,569,799 | -5.97% | -919,986 | 1.90% |
| Kotor | -13,210,563 | -7.01% | -2,154,163 | 0.63% |
| Tivat | -5,817,944 | -6.68% | 24,648 | 4.10% |
| Ulcinj | -28,783,548 | -7.09% | -2,120,620 | 2.37% |

As expected, both the financial net present value and the financial internal rate of return of the investment (FRR/C, FNPV/C) are negative before the EU assistance, which reflects the need for the external financial support to the project.

The FNPV/K, that reflects the net present value of the cash-flow based on own (national) capital employed is positive only for Cetinje, Podgorica and Tivat, and the respective financial rate of return FRR/K is slightly above the discount rate. This means that the proposed wastewater projects in the most of municipalities will not generate an excessive return to national capital, i.e. surplus (profit) from the investment and the grant received from the EU and by the central government. The low financial profitability as compared to commercial projects can be explained by the fact that a significant part of the new infrastructure planned in the project is mainly aimed at improving services and environmental quality standards, which has only limited impact on revenues. The economic analysis should be made through future feasibility studies in order to prove that the financial profitability of the project can be justified by the economic and environmental benefits produced by the project. The participation of private capital in wastewater projects through some type of private-public partnership is only possible for the projects proposed in Cetinje, Podgorica and Tivat.

In this area, the role of the Regulatory Authority - ERA (in terms of pricing policy, etc.) is expected to be of great importance.

## Financial Sustainability of the Project

Table 8.15 documents the cash flow statement and expected results over the analysed period for each main system element.

Table 8.15 –Financial Sustainability of the Project (Million EUR)

|  | NPV | 2021 | 2022 | 2023 | 2025 | 2030 | 2035 | 2041 | 2045 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Municipality |  |  |  |  |  |  |  |  |  |
| Andrijevica | 1.808 | 0.004 | 0.007 | 0.011 | 0.019 | 0.041 | 0.113 | 0.238 | 0.579 |
| Berane | 14.992 | 0.025 | 0.074 | 0.127 | 0.251 | 0.669 | 1.434 | 2.253 | 2.790 |
| Bijelo polje | 24.712 | 0.235 | 0.358 | 0.479 | 0.643 | 1.321 | 2.721 | 1.578 | 4.871 |
| Gusinje | 9.788 | 0.090 | 0.118 | 0.149 | 0.219 | 0.467 | 0.889 | 1.301 | 1.593 |
| Kolašin | 6.144 | 0.044 | 0.064 | 0.103 | 0.170 | 0.271 | 0.572 | 0.064 | 1.525 |
| Mojkovac | 11.724 | 0.023 | 0.054 | 0.088 | 0.161 | 0.384 | 0.789 | 1.902 | 2.716 |
| Petnjica | 1.985 | 0.015 | 0.020 | 0.025 | 0.036 | 0.069 | 0.118 | 0.252 | 0.540 |
| Plav | 11.755 | 0.022 | 0.039 | 0.057 | 0.098 | 0.227 | 0.603 | 1.772 | 4.169 |
| Pljevlja | 36.485 | 0.058 | 0.232 | 0.417 | 0.820 | 2.040 | 3.397 | 4.849 | 5.805 |
| Plužine | 1.225 | 0.002 | 0.005 | 0.008 | 0.015 | 0.039 | 0.084 | 0.145 | 0.357 |
| Rožaje | 16.852 | 0.055 | 0.155 | 0.277 | 0.548 | 0.640 | 1.553 | 1.433 | 3.599 |
| Šavnik | 0.615 | 0.000 | 0.003 | 0.005 | 0.010 | 0.027 | 0.048 | 0.085 | 0.138 |
| Žabljak | 3.685 | 0.018 | 0.020 | 0.026 | 0.041 | 0.087 | 0.194 | 0.499 | 1.124 |
| Cetinje | 15.645 | 0.050 | 0.098 | 0.147 | 0.251 | 0.542 | 1.505 | 2.372 | 2.904 |
| Danilovgrad | 9.815 | 0.064 | 0.065 | 0.081 | 0.162 | 0.680 | 1.398 | 0.997 | 0.821 |
| Nikšić | 83.137 | 0.006 | 0.152 | 0.313 | 0.677 | 3.645 | 8.060 | 12.794 | 14.491 |
| Podgorica | 389.380 | 0.172 | 0.672 | 0.066 | 2.113 | 17.277 | 40.988 | 57.396 | 67.086 |
| Bar | 46.766 | 0.108 | 0.199 | 0.318 | 0.687 | 2.579 | 5.112 | 8.523 | 4.454 |
| Budva | 169.418 | 1.788 | 2.213 | 2.645 | 3.527 | 7.075 | 13.668 | 24.382 | 30.090 |
| Herceg Novi | 36.474 | 0.243 | 0.326 | 0.411 | 0.584 | 1.259 | 3.045 | 5.741 | 6.905 |
| Kotor | 64.675 | 0.006 | 0.155 | 0.319 | 0.762 | 2.527 | 5.109 | 10.039 | 13.684 |
| Tivat | 51.568 | 0.006 | 0.166 | 0.347 | 0.774 | 2.554 | 4.594 | 7.453 | 9.331 |
| Ulcinj | 56.899 | 0.446 | 0.671 | 0.912 | 1.453 | 2.306 | 3.749 | 11.036 | 8.493 |
| Region |  |  |  |  |  |  |  |  |  |
| North | 141.769 | 0.591 | 1.149 | 1.773 | 3.033 | 6.281 | 12.515 | 16.373 | 29.806 |
| Center | 497.978 | 0.293 | 0.987 | 0.607 | 3.202 | 22.144 | 51.951 | 73.559 | 85.301 |
| Coast | 425.800 | 2.597 | 3.729 | 4.952 | 7.788 | 18.299 | 35.276 | 67.173 | 72.957 |
| Total |  |  |  |  |  |  |  |  |  |
| Montenegro | 1.065.547 | 3.481 | 5.865 | 7.332 | 14.023 | 46.723 | 99.742 | 157.105 | 188.064 |

With respect to the long-term financial sustainability of the project, the wastewater projects in all municipalities itself generates incremental revenue with a cumulative cash surplus over its life. However, the sustainability of the utility as a whole (i.e. “with project scenario”) will need to be monitored, taking account of the current (i.e. “without project”) level of tariff and operating cost, as well as the incremental costs and servicing on any current or future debt that may be required. This is especially important given that the tariffs are set below the full cost recovery in the short term in order to meet affordability constraints. In terms of competence, the role of the Energy Regulatory Agency in regulated communal activities is particularly important for this segment. For the current project, the cash flow can be summarised in the table above, showing that the project is financially sustainable (cumulative cash flows always positive over the reference period).

# IDENTIFICATION OF POTENTIAL FINANCING SOURCES

## Introduction

In order to develop the appropriate investment plan, it is very important to analyse how assessed expenditure needs could be funded by the existing and possibly new funding sources. This Chapter presents the funding envelope based on general assumptions about the development of availability of funding from domestic and international sources.

A combination of domestic and foreign sources has been and will be used in Montenegro in meeting the Urban Wastewater Directive requirements. Domestic sources used for funding the water/wastewater sector in Montenegro include mainly state and municipal general revenues and user charges for municipal services. Foreign resources comprise grants and loans from international financing organisations or bilateral donors.

In order to estimate the historical spending on drinking and wastewater infrastructure projects in Montenegro, the responses to Questionnaires (about wastewater service contracts) received from PROCON and VODACOM were used as a starting point. The estimation of disbursement of investment financing in the water supply and wastewater sector in Montenegro per different funding sources in the period 2006-2016 is presented in Annex 14.

The financial analysis of the municipalities was performed through analysis of the most recent municipal budgets – both executed and planned – which should provide detail insight into major sources of inflows and outflows to the Municipality budget, and therefore provide an understanding of the municipal credit worthiness. The source for the analysis were the data presented in the official reports prepared by the municipalities and submitted to the Ministry of Finance on regular basis, as required by the Law. All the data analysed here are related to the executed budgets from the 2014 – 2016 period, as well as the planned budget for 2017. The financial analysis of the municipalities is presented in Annex 13.

Current status of all financing sources is summarised below. Moreover, this Chapter presents the main assumptions on how supply of finance from various sources will change till 2035.

## Potential Financing Sources

Four main sources of finance were considered:

- Government budget

- Tariff revenues

- Donor contributions (predominantly from European Union sources)

- Loans

The proportion of the Government Budget (including both national and local elements) to be spent in the water services sector is not fixed. This is a matter for the Government to determine in agreement with the Parliament and Local Self Government Units. At present, the Government (all sources) spends close to € 11.2 million per annum in the sector. However, it should be noted that this includes two types of loans, one with EIB and the other with KfW. This represents about 0.2% of the national budget. For the future development, the baseline working assumption was made that the Government would commit app. 0.3% of the Budget to investment in the communal wastewater sector. This is rather conservative assumption, firstly in order to avoid optimism bias, and secondly in recognition of the fact that whether or not further loans will be taken is a policy decision that needs to be made in due course, which may result in the level of Government spending on the sector reaching the level of 0.8–1.0% of the budget.

Also, as the figure below presents the maximum additional annual amount available for debt service in 2017 per municipality which is very low. Most of the municipalities cannot obtain additional commercial loans. This is a result of loan taking for different infrastructural projects, while the utilisation of grant funding has been very low.

Figure 9.1 – Borrowing capacity of local self-governments (million EUR, 2017)

Tariff revenues are projected to increase in accordance with the provisions of the Law on Communal Activities (OG MNE, 055/16, 074/16, 002/18) on the setting of prices for water services and gradual transition to Full Cost Recovery. At present the majority of tariff revenue is needed to cover operation and regular maintenance costs. It is assumed that over the coming decade, as tariffs increase, increasing amount of tariff revenue will become available for investment in capital maintenance (assets replacement) as a result both of the increases in tariffs, and also as a result of improvement of operational efficiency.

The main sources of grant funding at present is the EU - app.  € 1.4 million per annum (the historical overview of the financing sources for water infrastructure in Montenegro is presented in Annex 14). Figure 9.2 presents the overview of the total investments and funding gap per municipality. It is obvious that most funding gaps of the total sewerage and wastewater investments in Montenegro  in absolute terms are required by the municipalities in the Central (Podgorica, Nikšić, Cetinje) and in the Coastal Regions (Bar, Kotor, Budva, Herceg Novi, Ulcinj, Tivat). Having in mind that the maximum available EU grant can be up to 85% of the funding gap calculated (app. 221 M EUR in constant 2018 prices) and that the municipalities have very low borrowing capacities it is important to secure investment funds through the state budget and Eco-fund.

Figure 9.2 – Funding Gap per Municipality (M EUR, 2017 constant prices)

## Projection of Potential Financing Sources

The projection of funding sources for period 2019-2035 is based on data shown in Table 8.3 (investment needs). Understandably, in this projection there is no financial gap and the targets could be achieved by 2035, provided the readiness to invest, absorption capacities and household affordability analysis are appropriate to implement this scenario. The share of each separate financing source in the total available financial funds is app. 54% EU funds, 42% national funds (state and local) and 3% loans.

Table 9.1 –Projection of financing sources and the proposed investment programme

|  | Total | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FINANCIAL SOURCES (Million EUR) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| National funds (state, local…) | 201.016 | 1.010 | 7.214 | 7.353 | 8.223 | 10.080 | 10.199 | 10.380 | 9.150 | 13.079 | 14.575 | 17.612 | 17.086 | 20.117 | 10.509 | 15.888 | 13.858 | 14.683 |
| Local governments (budget) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Bilateral and multilateral grants | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| EU | 255.371 | 1.290 | 10.652 | 10.760 | 11.724 | 12.133 | 12.308 | 10.653 | 9.339 | 16.642 | 18.822 | 22.339 | 22.540 | 26.106 | 12.229 | 19.358 | 18.812 | 19.663 |
| Loans | 15.082 | 122 | 589 | 589 | 509 | 1.249 | 1.249 | 1.249 | 1.262 | 1.262 | 1.262 | 1.262 | 839 | 839 | 839 | 1.160 | 400 | 400 |
| TOTAL | 471.469 | 2.422 | 18.455 | 18.702 | 20.456 | 23.462 | 23.757 | 22.282 | 19.751 | 30.983 | 34.659 | 41.213 | 40.466 | 47.063 | 23.577 | 36.405 | 33.069 | 34.746 |
| FINANCIAL SOURCES (%) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| State budget (Eco Fund) | 43% | 42% | 39% | 39% | 40% | 43% | 43% | 47% | 46% | 42% | 42% | 43% | 42% | 43% | 45% | 44% | 42% | 42% |
| Local governments (budget) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |
| Bilateral and multilateral grants | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |
| EU | 54% | 53% | 58% | 58% | 57% | 52% | 52% | 48% | 47% | 54% | 54% | 54% | 56% | 55% | 52% | 53% | 57% | 57% |
| Loans | 3% | 5% | 3% | 3% | 2% | 5% | 5% | 6% | 6% | 4% | 4% | 3% | 2% | 2% | 4% | 3% | 1% | 1% |
| TOTAL | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% |

Based on the proposed draft investment schedule, the relation between the distribution of available financial resources and planned investment costs in cumulative terms is presented in Figure 9.3.

Figure 9.3 –UWWTD available financial resources, investment needs 2019-35 (MEUR, constant 2018 prices)

Further adjustments will be made according to more accurate data about the total amount of potential financial resources available for covering the investment needs.

.

# LEGAL AND INSTITUTIONAL ISSUES RELATED TO WASTEWATER MANAGEMENT IN MONTENEGRO

## Introduction

Within the Project specific objectives specific tasks have been identified i.e.: the aim of this task is to analyse the legal, institutional, organizational issues and propose adequate revision of the legal and regulatory framework including the regulation on Licensing /Permitting, to assist the MoSDT in the transposition and implementation of the UWWTD, not just focusing on the literal compliance but also on the practical measures having direct effect on the environment and climate change issues.

The specific objectives to accomplish the aforementioned task are:

- To provide an assessment of the legal situation in Montenegro, reviewing  the legislation;

- To propose the adoption of legal and regulatory provisions in order to reach the full compliance with the UWWTD, in particular concerning the best option to be adopted for licensing/permitting regulations.

- To analyse the institutional and organizational structure in Montenegro,

In 2016 Montenegro adopted the National Strategy with Action Plan for transposition, implementation and enforcement of the EU acquis related to Environment and Climate Change (the Strategy with AP) 2016-2020. According to this document, further to the legal compliance, which is close to be reached through transposing legal acts, the largest and most expensive gaps are in the infrastructure for wastewater collection and treatment, waste management, and air quality protection. These gaps affect effective, practical implementation of the transposed legislation. Existing legislation (listed below) is complemented with the existing strategic documents relevant to wastewater management and the UWWTD implementation, defining specific investment and implementation plans:

- Strategic  Master Plan for Sewerage and Wastewater in Central and Northern Region of Montenegro (2005-2029)

- Master Plan  for Wastewater Management on the Coast of Montenegro and Cetinje  (2005-2029)

The existing Master Plans are administratively still valid but technically, environmentally and financially outdated.  These need to be updated and a Directive-specific Implementation Plan for the UWWTD must be prepared, focusing also on the legal and institutional issues.

The National  Investment  Committee (NIC)  has  been  set  up  to coordinate  the capital investment activities regarding project  prioritization; the NIC Secretariat also has the Secretariat for Development  Projects.  The  NIC  has  reflected  the  investment  priorities  for  environment  in the recently  adopted  Single  Project  Pipeline  (SPP) that  will  serve  as a basis  for programming  and blending of all available financial sources. The list adopted in 2015 has been revised in 2017 and was delivered to the Secretariat in April/May 2017.

The work of the NIC and the consolidated Master Plan and DSIP are crucial to ensure full implementation of the UWWTD.

The review and assessment of current legislation and implementing measures in Montenegro covered the following documents related to the transposition and implementation of the EU acquis such as:

- Approach adopted in the National Strategy with Action Plan for Transposition Implementation and Enforcement of the EU Acquis on Environment and Climate Change 2016-2020, for the Prioritization of measures planned for implementation of the UWWTD;

- Table of Concordance for Directives 91/271/EEC and 86/278/EEC;

- Wastewater Management Measures planning requirements for compliance with UWWTD 91/271/EEC - Law on Urban Wastewater Management stipulations;

- Document on Institutional structure/Framework ;

- Document on Institutional organisation/Organisation Chart ;

- Law on Waters and its amendments;

- Law on Urban Wastewater Management and its amendments;

- Law on Waste;

- Law and Decree on Environment;

- Decree on Water Management plan;

- Sewage Sludge rulebook;

- Law on water management financing;

- Rulebook on effluent quality;

- Sensitive areas determination decision;

- Rulebook on criteria for delineation sensitive areas;

- Sensitive Areas Legal Basis and Explanatory note;

- Proposal of draft decision on determination of sensitive areas.

Furthermore the document:

- the Methodology currently used for selection and prioritization of infrastructure projects - Single Project Pipeline for wastewater projects;

was assessed in order to analyse the compatibility and feasibility of deadlines to be defined in the legal measures. Other legislative measures not directly in the scope of this assignment shall be considered while assessing the environmental impact of the proposed infrastructures:

- National legislation on Environmental Impact Assessment;

- National legislation on Strategic Environment Assessment.

Summary and methodology assessment

The assessment of the aforementioned documents showed that the transposition process of the relevant EU Directives (in particular the UWWTD and the Directive on Sewage Sludge 86/278/EEC) is well on track concerning the legal exercise, where the large majority of the articles are incorporated in the national legislation. However, analysing in depth the requirements of the UWWTD in relation to transposition into relevant national legislation, particular care should be taken on each term and the real meaning of it. Although most of the provisions have been transposed, apparently there are still some provisions that have been transposed partially, when the relevant implementing measures are taken into consideration, including also the investment plans related to the practical implementation.

In order to improve the national legislation, apart from the administrative transposition of the UWWTD, there should be an improvement of organisational, financial and other mechanisms tackling permitting process, inspection, enforcement, financial resources through introduction of water charges, cost recovery and the polluter pays principle.

Implementation of this directive is closely linked to the provisions of the Water Framework Directive, especially related to basic measures, water status, principles of cost recovery, polluter pays and establishing of the water pricing policy. When this is solved on legislative part, the establishment of organisational framework at the national, regional and local level takes time. Usually some reforms are needed, for which political consensus has to be reached, and finally one of the most important is development of human capacity.

This section focuses on the legal analysis taking duly into consideration the organisational, financial and other mechanisms, considering also the investment plan to ensure implementation including permitting process, inspection, enforcement, financial resources. In particular the prioritization of Investment Measures according to the Multiple Criteria Decision Analysis is crucial to ensure full coherence between the transposition of the legislation and the practical implementation as well as the strategic relevance of the investments in relation to the UWWTD.

The assessment cycle that lead to this legal analysis has been as follows:

- General: constant interaction within the Project Team

- Step 1: Preparatory desk work on the national Legal documents and report by Technical Experts;

- Step 2: Briefing, exchange of views and feed-back from the MoSDT on activities and planning, shared also with the Project Team

- Step 3: De-briefing and preparation of a draft output.

## Analysis and Proposals for Amendment of Legal Basis

Since 2007 Montenegro has significantly changed its legal, strategic and policy framework for the environment and sustainable development, and it is now at an advanced stage of alignment with the EU Acquis.  The alignment to the EU acquis is formed by a strategic policy framework component as well as the legislative framework.

### Strategic documents overview

The existing strategic documents relevant for the implementation of the UWWTD containing specific investment and implementation plans are:

- Strategic  Master Plan for Sewerage and Wastewater in Central and Northern Region of Montenegro (2005-2029)

- Master Plan for Wastewater Management on the Coast of Montenegro and in Cetinje  (2005-2029)

These documents define the Wastewater Management investment plans for all municipalities in Montenegro, to the end of the considered period (2029) to ensure full implementation of the UWWTD.  As stated in the ToR the Wastewater Sector is expected to be the one requiring the highest investments and the longest period for achieving the full compliance. The existing Master Plans which define these investments are still administratively valid but otherwise outdated and incompliant with the latest strategic and legislation framework.

The revision of the Master plans undertaken by the present assignment complemented with the integration of the existing legislation, will lead to the full compliance of the legal, regulatory and implementing measures.

### Legal documents overview

New package of laws and corresponding secondary legislation has been adopted, and the strategic framework for environment and sustainable development has been further developed. There has been significant progress in transposition of the relevant EU directives into the national legislation related to wastewater management.  Water quality is governed by an extensive legal framework.  Relevant key national laws include:

- The Law on Waters (OG RMNE, 027/07 and OG MNE 073/10, 032/11, 047/11, 048/15, 052/16, 002/17, 084/18)

- The Law on Wastewater Management (OG MNE 02/17)

- Law on Communal Activities (OG MNE, 055/16, 074/16, 002/18)

The key legislation governing the water quality is the Law on Waters (OG RMNE, 027/07 and OG MNE 073/10, 032/11, 047/11, 048/15, 052/16, 002/17, 084/18) for transposition of the Directive 2000/60/EC (WFD) and other directives related to the EU water legislation. The MoSDT identified the need to improve the transposition level for the UWWTD and drafted a separate Law on Urban Wastewater Management (OG MNE 02/17) in accordance with which the corresponding by-laws, which are of particular interest to this section were also adopted:

- Rulebook on geographic boundaries, number and capacity of agglomerations (OG MNE, 078/17 dated 23 November 2017)

- By-laws defining the forms content and manner of reporting and monitoring.

Also, the Decision on the designation of sensitive areas in the water area of the Danube river basin and the Adriatic Sea drainage basin (OG MNE, 046/17 and 048/17), prepared in accordance with the Law on Waters (OG RMNE, 027/07 and OG MNE, 073/10, 032/11, 047/11, 048/15, 052/16, 055/16, 002/17, 080/17, 084/18) plays an important role;

In order to achieve gradual and complete transposition and implementation of the entire EU acquis for Chapter 27 - Environment and Climate Change, Montenegro in 2016 adopted the National Strategy with Action  Plan for transposition,  implementation and enforcement of the EU acquis on Environment  and Climate Change (the Strategy with AP) 2016-2020; according to this document, the largest and most expensive gaps are not just in the literal transposition with legal measures but mainly in  the  infrastructure  for wastewater treatment,  waste management, and air quality protection. The transposition achieved in 2015 and 2016 is presented in Table 10.1 (source: Information on the Situation in the field of Water and Wastewater Management in 2015, MoSDT, November 2016).

Table 10.1 – Transposition level achieved for UWWTD in 2015 and 2016

Following the analysis of the current legislation, it appeared that most of the provisions of the UWWTD Directive have been transposed into the legislation. It was also stated that full transposition of the EU water acquis had not been achieved but it was planned by the end of 2017.

Additional to the aforementioned analysis, Table 10.1 has been complemented with additional analysis and ToC considering the most recently adopted legislation and regulatory framework as well as the draft proposals of legal acts. This additional analysis of the legislation listed hereafter in Table 10.2, as well as the discussions with MoSDT, lead to the preparation of the updated version of the assessment of the articles considered not fully compliant and provided at the meeting held on 7 July 2017. During the meeting it was agreed that, although some provisions still need to be integrated with more clear and descriptive articles, Montenegro is well on track to achieve the full compliance with the EU acquis.

This joint assessment by the Project Team and the MoSDT showed additional articles to be improved, compared to the original ToC submitted to the expert. The updated ToC (please refer to Annex 9 – Table of Concordance with the UWWTD, Table 14.6) has been prepared based on the original ToC provided by the MoSDT.

This ToC is intended for prima facie analysis and not as final the evaluation. Therefore the assessment and the scoring after the adoption of most recent legal acts i.e. 229 out of 270 (number of points required by the Directive), indicating a 85% compliance with the UWWTD shall be considered indicative, with the purpose of completing the analysis providing indications on the next legal steps to be undertaken. This exercise confirming the joint assessment by the Project Team and the MoSDT has helped in better understanding provisions of the UWWTD, through interpreting each article and discussing their respective meaning.

Table 10.2 – Summary of relevant legislation

| Document reviewed | Comments |
| --- | --- |
| Main legislation |  |
| Law on Waters and its amendments (OG MNE 027/07, 73/10, 32/11, 47/11, 48/15, 52/16) | Partially compliant, not fully subject of the present analysis. Deeper assessment needed especially for monitoring and reporting |
| Law on UWWTD and its amendments; The Law on Wastewater Management (OG MNE 02/17) | The provisions included in this Law are generally compliant with the UWWT Directive. |
| Wastewater Management Measures planning requirements for compliance with the UWWTD - Law on Urban Wastewater Management stipulations; | The provisions included in this Law are generally compliant with the UWWT Directive. |
| Law on Public Utilities (OG MNE 55/16) | The provisions included in this Law are generally compliant with the EU acquis and practices |
| Law on Spatial development and construction | The provisions included in this Law are generally compliant with the EU acquis and practices and in line with an adequate permitting process |
| Table of Concordance for Directives 91/271/EEC and 86/278/EEC | The original ToC has been provided by the MoSDT: it has been been re-assessed, adjusted and enclosed in Annex 9 – Table of Concordance with the UWWTD, Table 14.6 |
| Other documents |  |
| Document on Institutional organisation/Organisation Chart |  |
| Law on Waste |  |
| Law and Decree on Environment |  |
| Decree on Water Management plan |  |
| Sewage Sludge rulebook |  |
| Law on water management financing | The tariff definition must be better formulated |
| Law on Local Self-Government (OG MNE 42/03, 28/04, 75/05, 13/06 and 88/09, 3/10 38/12 and 10/14) | The Law provides Local Self-government for the obligation to provide and manage conditions for local water resources management, protection, water acts issuance, water supply and wastewater collection (relevant Article 32)  |
| Law on Communal Services (OG MNE 12/95) | Local level / municipal administrations i.e. public utility companies that are established and owned by municipalities are responsible for provision of collection and treatment of wastewater. This Law repeals the 1995 Law on Communal Activities, which does not ensure the establishment of clear and rational relations in the communal activities and represents an obstacle for the local self-government and providers of communal services, as well as the end users. Its full application will begin first in January 2018. |
| Rulebook consolidated text on quality wastewater |  |
| Sensitive areas determination decision |  |
| Rulebook on criteria for determination sensitive areas |  |
| Sensitive Areas Legal Basis and Explanatory note |  |
| Proposal draft decision determination sensitive areas |  |

### Gap Analysis

The gap analysis revealed that most of the articles are sufficiently harmonized. This is demonstrated by the score obtained, considering all adopted legal acts i.e. 229 out of 270 (number of points required by the Directive), indicating 85% compliance with the UWWTD. However some of them still need additional improvement or fine-tuning.

Gap Analysis: Articles Sufficiently Harmonised

The following main provisions, considered essential for the good transposition of the UWWTD are found to be fully in line with the respective requirements:

- The definitions for urban wastewater, domestic waste water; industrial wastewater, agglomeration, 1 PE (population equivalent), and eutrophication (Article 2).

- The obligation to establish collecting systems on the basis of the number of agglomerations (>15,000 PE, between 2,000 and 15,000 PE and >10,000 PE) discharging urban wastewater into receiving waters defined as “sensitive areas” (Article 3.1);

- The requirement for more stringent treatment than described in Article 4, of urban wastewater entering collecting systems from agglomerations >10,000 PE in case of discharges to sensitive areas (Article 5.2);

- The obligation for biodegradable industrial wastewater representing  4,000 PE from plants in industrial sectors listed in Annex III discharged directly to receiving waters to meet requirements laid down in prior regulation and/or specific permits (Article 13.1).

Other articles not included in the above list nor in the list below are considered to be sufficiently harmonized, which may need only language fine-tuning.

Gap Analysis Based on Articles not Sufficiently Harmonised

Art 6

Article 6 is definitely applicable on Montenegro due to fact that Montenegro has coastal waters or estuaries.

Recommendation:

Consider to include provisions on less sensitive area.

Art 11

Even if this article is considered to be transposed there is still space for improved transposition. Establishment of framework for implementation and improvement of legislation to ensure all required mechanisms including permitting process, inspection, enforcement is more demanding task and considerable efforts in improvement have to be made.

Recommendation:

Consider the revision of water permits system and in order to reach environmental objectives through proscribed water status and controlling discharges into the waters which require revision of issued permits. Concerning Art.11.1 on industrial wastewater, there is a need of establishing secondary regulatory framework for permitting i.e. one bylaw covering all permits.

Art 12

At present the article is insufficient.

Treated WW must be reused whenever appropriate.  Disposal routes shall minimize adverse effects on environment.

Recommendation:

Although in the ToC it is stated that full harmonization will be achieved through the adoption of a by-law on treated municipal wastewater that can be re-used for specific purposes, at present the legal basis is insufficient and it shall be reinforced.

Art 14

Sludge from WW treatment must be reused whenever appropriate. Competent authority shall ensure that disposal of sludge from WWTP-s is subject to general rules or authorization or registration.

Recommendations:

There should be provisions to stimulate the reuse of sludge; there are limit values for discharge, through the reinforcement of legal basis.

- introduce obligation to reuse sludge whenever is appropriate

- regulate sludge treatment and disposal in Waste Law and related by-laws

- regulate permitting procedure through water permit or environmental permit

- prepare/update national strategy for sludge management

- restrict or prohibit disposal of sludge into surface waters

Art 15 – Art. 16

At this stage Montenegro does not have an obligation to report to the EU according art. 15, 16, and 17 but mechanisms for collection, storing and analysis of data and information have to be established.

Recommendations to be prepared for:

- Cross-cutting issues that are regulated by various laws - permitting system, reporting system required by each directive, monitoring required by each directive, issues of international basins, are suggested to be included in a single law covering all horizontal crosscutting aspects.

- Ensure adequate cooperation and exchange of information with other Member States in cases where discharges of wastewater have trans-boundary  effect on the water quality of shared waters (WFD international river basin districts),

- Set up adequate reporting procedures and databases so that future requests from the Commission for information on the efficiency of treatment plants and/or the water quality of receiving waters as well as national reports can be addressed, and the public have access to relevant information.

- Introduce legal obligation for water utilities to submit required data.

Art. 17

- The reporting process under Article 17 of the UWWTD formulates backgrounds through Committee procedures and is a legal obligation for all member states and in this stage is not obligation for Montenegro.

Recommendation:  Montenegro as a Candidate Country should undertake preparatory activities equivalent to the legal obligations foreseen for Member States.  The present Art.17 of the Law on Communal Wastewater Management provides sufficient legal basis for monitoring and reporting. This will be better integrated fulfilling the gaps, by the planned by-law on Form, content and manner of reporting and monitoring.

General recommendation:

Considering the proposed environmental investment projects the following appears to be advisable:

Propose to integrate the Law on Urban Wastewater Management with the aforesaid corrections, in order to have a single legal measure fully transposing the directive before the end of 2018 (or as soon as possible).

Moreover the focus must be addressed on the mechanism and instruments for implementation:

- Licensing and Permitting

- Monitoring and control

- Reporting

- Coordination among competent authorities

The need for approving the planned bylaws is underlined (according to the legal basis in the new legislation) on cross-cutting issues referring to the annexes of the Directives (e.g. monitoring, reporting) and completed according to the following scheme:

- Legal basis: formulated according to the relevant directive articles and providing the grounds for the formulation of bylaws;

- Bylaws: referring to the directive’s annexes headlines/paragraphs with extensive descriptions of prescriptive guidelines e.g. on

- Monitoring (operational, surveillance, investigative)

- Reporting on WWT (reporting coordinated on all Water related legislation)

- Permitting:

In relation with the permitting analysis, it is important to consider the division in two groups of permits; national for complex structures and at local the level for small structures.

It is necessary to include a better tariff definition as e.g.:

Recommendation on cost recovery provisions: 1) consider the possibility to include a requirement: “tariff shall be established considering the recovery of cost of water supply for the whole water cycle including the cost of wastewater collection and treatment”. Improvement of this segment is expected through the implementation of by-laws prepared by the Energy Regulatory Authority (ERA) in accordance with the applicable Law on Communal Activities, as well as the future Law on Water Services which is under preparation.

Furthermore, the cost recovery provisions may be further described in an explanatory note and bylaw, following the approval of the amended laws.

It is also recognized that the water use fee and the water pollution protection fee prescribed by the Decision on the amount and method of calculating water fees and the criteria and method for determining the level of water pollution (OG MNE, 029/09, 039/19) can be a significant source of revenue for wastewater projects.

## Assessment of Institutional Setup

### Integration of the overall status provided in the Inception Report. Preliminary Assessment of the Institutional Framework

General overview

The institutional framework of the wastewater sector in Montenegro is organised at the national and local level.  At the national level, the national water and wastewater sector is under the competence of two Ministries: Ministry of Sustainable Development and Tourism (MoSDT) and Ministry of Agriculture and Rural Development (MoARD), while water and wastewater services at the local level are under the responsibility of the local governments (regulated by the Law on Self-Government).

The responsibilities for transposition of UWWTD, are shared between the MoSTD and MoARD, which needs increased human resources capacities, especially in the MoSDT, in relation to preparation and monitoring of necessary strategic programming documents.

Specific institutional description

The Ministry of Sustainable Development and Tourism is responsible for issues related to the sustainable use and integrated management of natural resources, for the development, management and coordination of environment and climate change policies. It is also in charge of spatial development and construction and solid waste management and utility development as well as municipal wastewater activities management and coordination of regional water supply systems, for which it monitors implementation of the various projects defined in the strategic planning documents.

The Ministry consists of nine Directorates as main organizational units and several departments in charge of administrative, technical and other supporting services. Relevant Directorates for the implementation of the UWWTD is the Directorate in charge of spatial development, the Directorate for construction and the Directorate for solid waste management and utility development.

The Ministry of Agriculture and Rural Development is the line ministry responsible and competent for proposing and implementing water policy and for the adoption of planning documents and normative acts in the area related to systemic solutions for the provision and use of water, water soil and water sources for water supply, protection of waters against pollution, regulation of waters and watercourses and protection against harmful effects of water. The Administration for Waters is responsible for law enforcement in the area of issuing water acts, calculation of water fees, etc., for the preparation of technical basis for plans and programs proposed to the Government, MARD, for the establishment of a water information system.

The Agency for Environmental Protection is an independent state authority responsible for setting sewerage effluent treatment and discharge quality standards, permitting of sewerage treatment facilities, sewerage sludge processing, and monitoring of compliance with the established standards.

The Institute for Public Health is responsible for drinking water quality control.

The Ministry of Finance is responsible for reviewing and regulating annual financial statements of water utility companies. Water tariffs are set at the central and local level and water utility companies’ financial statements are reviewed annually by the Ministry of Finance, which holds the final responsibility.

In the recent past, the water sector was regulated through a public self-regulated model, since there was no national regulatory agency and up-to-now also there has been no official national benchmarking system.  Tariffs were revised upon request of utility companies. Utility managers submit a new tariff proposal to the utility Management Board. If accepted, a proposal of decree on tariff changes must be approved by a local municipality. Water and wastewater utilities must submit their annual financial statement to the Tax Administration Head Office (under the Ministry of Finance) for financial inspection. Since the establishment of the regulatory authority for regulated communal activities, this has been the responsibility of the Agency (Energy Regulatory Agency). The Agency's activities are to: issue, modify and revoke licenses for providing regulated utility services; supervise the operations and business of regulated utilities in respect of compliance with the conditions from the issued licenses; perform mutual comparison of operations and performance indicators of providers of regulated utility services on the basis of prescribed indicators (benchmarking); approve the proposed prices for providing regulated utility services; prepare and submit to the Parliament of Montenegro an annual report on activities related to regulated utility services; and proscribe in detail the procedure for setting prices, issuing licenses and setting indicators, and the methodology for data processing and submission.

Local Self-governments are responsible for regulation and investments in water supply and wastewater infrastructure, as well as other public infrastructure services (e.g. solid waste collection, stormwater drainage, road maintenance, etc.).

Entities performing the regulated communal activities (mostly Water and Sewerage Utility Companies) are responsible for provision of water supply and sewerage services to the population, in addition to the management, operation and maintenance of water supply and sewerage infrastructure.

Another relevant institution at the national level for regulation of water and wastewater sector in Montenegro is the Directorate for Inspection Affairs, with the jurisdiction in inspections services in different sectors and sub-sectors. Inspection over the implementation of laws, by-laws and other regulatory framework in the field of water management are implemented under the Sector of environmental protection and spatial development.

At the local level, within jurisdiction of the Municipality, the Communal Police exercise inspection supervision and provide communal order in accordance with the law, in sectors of water supply, wastewater and stormwater drainage, as well as with regard to disposal of waste and public hygiene.

The Project Implementation Units (DOO "Project - Consulting" headquartered in Podgorica and "Vodacom" DOO headquartered in Tivat) and the Administration for Public Works play an important role in the implementation of urban wastewater projects from the Capital Budget and IPA funds. The main activity of the PIU (project implementation unit) is to provide professional assistance in the implementation of programs in the field of communal activities and environmental protection enacted by the founder (Government of Montenegro), i.e. local self-government, related to the founder's contracts with international financial institutions and relevant funds.

### General assessment and recommendations

General assessment on the institutional issues is positive: One Ministry (Ministry of Sustainable Development and Tourism) and two water utility companies as the main parties are sufficient to deal with wastewater management. Compatibility and integration with other institutions guarantee sufficient checking and balanced process. Considering the size of the country and the dedicated human resources, the present structure of the Ministry for Sustainable Development and Tourism with its three directorates (spatial development, construction and solid waste/communal) appears to be adequate, but it should be further reinforced with additional specialized staff in order to avoid work overload and bottlenecks.

Regulatory aspects, following better definition as suggested, such as tariffs, shall be dealt with by the MoSDT and public utility companies in cooperation with the Ministry of Finance, including the control functions on business plan, which link the tariff system with the investment planning. Implementation shall be tackled by Local Governments in cooperation with public utility companies.

Other issues to be addressed: some issues concerning tariffs must be clarified in order to optimise the financial planning in particular for investments under the responsibility of the MoSDT. It is advisable that provisions of full cost recovery shall be established and implemented tariff considering the recovery of cost of the whole water cycle.

The main principle shall be that all users shall pay the same unit price for water from public water supply system and for collection, transmission, treatment and discharge treated of wastewater.

In some cases, e.g. when the values of the components for tariff calculation affect the unit price for water supply and wastewater collection, transmission, treatment and discharge, the service operator may be allowed to cooperate in defining its proposal for tariff change with elaborated justification to the local self-government.

Authorized local government body in charge shall be obliged to consider the proposal for tariff increase, towards the establishment of a gradual introduction of the principle of full cost recovery, if it is prepared in accordance with the methodology for calculation of the tariff for water from public water supply system and for collection, transmission, treatment and discharge of wastewater and if it is communicated to the public and economic sector in a transparent way.

Role of local self government (municipalities): municipalities must identify categories of households who will pay subsidized price. Municipalities shall reimburse provider (service operator) for difference between subsidized and unit price on mutually agreed time frame.

Recommendation on administrative arrangements, including the identification of the appropriate competent authority provisions:

- provide more coordination, decision and quality control responsibility to the MoSDT in order to avoid conflict of jurisdictions among Ministries. Clarify the role of the Ministries (MoSDT and Finance), establishing clear legal framework for institutional arrangements without overlapping of responsibilities

- improve the attribution of responsibilities on the horizontal and vertical level;

Although the human resources dedicated to the transposition of the EU acquis from the MoSDT side are very good and experienced, additional human resources may be needed. All the transposition and implementation steps shall be followed by sufficient staff in order to follow with the step-by-step approach which allows reaching a common and shared platform, necessary basis for the transposition and implementation.

Recommendation to optimise institutional arrangements:

The MoSDT shall take the leading role in coordination with other Ministries; in particular:

- Coordination between Water and Waste management department may be necessary for issuing the Permits for wastewater management and produced sludge and re-used water.  This department may support and be involved, with additional tasks including the licences/permits/authorization for producers, users as well as record keeping.

- Centralisation of the monitoring and control within the MoSTD may be needed in order to ensure coordination with and commitment of the MoARD in particular concerning the reuse of treated water and the reuse of treated sludge. Reorganisation of water utility sector is needed: legal framework – under responsibilities of water legislation; water utilities separated from other utility services (separate account – cost recovery); prepare specific studies, including needs assessment and job profiles definitions and analyse institutional models appropriate for Montenegro. Others: Clarify role of  Public/Private Water Management Enterprises in particular regarding ownership issues

- Strengthening of the role of the independent Environment Agency with monitoring and reporting functions. The Agency for Environmental Protection shall be responsible (in cooperation within the MoSDT) for keeping the Register of issued permits.

- Local governments may be effectively involved, with additional tasks on preliminary activities related to permits as well as with the control of the users (in cooperation with the State environmental and water inspectors).

- Furthermore, an important role of the municipalities may be in preliminary assessment and verification activities related to permits, in close cooperation with public utilities (also considering that the number of staff of the public utilities is relevant and technically prepared to provide support to the administrative staff of the local government), as well as with the control of the users (in cooperation with the State environmental and water inspectors). In some cases (municipalities of a limited size)  a frame of cooperation may be encouraged at the ministerial level for the establishement of joint assistance units for the management of special issues such as tendering and project implementation as well as for the functions as liaise with the Ministry on issues related with environmental impact assessment.

- Public Utilities are service providers, responsible for provision of water supply and sewerage services to the population and management, operation and maintenance of the water supply and sewerage infrastructure.

- Professional organizations for water and waste testing and other legal entities accredited for analysis of water and waste in laboratory (agreed by the MoSDT) may be involved and provide support in the testing of quality of reused treated water and Sewage Sludge to be used in agriculture;

- Inspection for environmental protection, control activities and monitoring is the obligation of, and shall be kept among the responsibilities of the MoSDT. Provisions to guarantee the independence of the inspectors in their role of monitoring and control may be reinforced.

## Potential Impact of New Legislation Related to the Implementation of Master Plan

Legislative assessment in light of investment planning

Although the extensive analysis on the legal and institutional issues is carried out in the corresponding DSIP (which is prepared in parallel to this report) with detail references included in the previous sub-sections (10.1 to 10.3), this section evaluates if the new legislation (related to transposition and implementation of the UWWTD) affects the implementation of the proposed measures. Considering the accession process of Montenegro, the date of transposition into the national legislation has to be defined according to the possibility of effective implementation, taking into consideration that the country must transpose the Directive, subject to transitional provisions before the accession.

The Table of Concordance for the UWWTD elaborated and annexed (Annex 9 – Table of Concordance with the UWWTD) indicates that transposition is largely completed. There are some areas where terminology may require adjustments and a few areas are assessed as being partially compliant.

The gap analysis revealed that most of the articles of the UWWTD are sufficiently harmonized. This is demonstrated by the score obtained, considering all the adopted legal acts i.e. 229 out of 270 (number of points required by the Directive), indicating the compliance rate with the UWWTD of around 85%.

The most recent development of the legislation shows that Montenegro aims towards full compliance within a relatively short time frame (up to two years). Considering the aforesaid level of transposition (85 %) which is in line respecting the country strategy paper and NPAA, the impact of new legislation will be significant, in particular regarding the investment needs. However, this full harmonisation on paper is still not adequately followed with the increasing of human resources in the institutions supposed to monitor the implementation and updating of the legislative and regulatory framework. The impact of the new legislation is therefore very important and would require the investment programme for full compliance, which can take place in considerable time.

It can be therefore concluded that:

  - The actual level of compliance is satisfactory and sufficient to proceed with the investment plan and development of environmental infrastructure;

  - The continuous updating and development of Montenegrin legislation will ensure even stronger legislative if the gaps highlighted in annexes (Annex 15 - ) are going to be annulled within a reasonable time frame,

  - Appropriate technical capacity is still not present to guarantee sufficient institutional support to the planners and investors, the  number of staff is limited and shall be increased and reinforced to ensure the timely delivery of permits and guarantee monitoring, inspections and reporting.

Recommendations: while being well on track towards full legislative compliance, it is recommended that the on-paper legislative provisions (which are sufficient at the moment) be followed with the reinforcement and further development of the administrative infrastructure and improvement of the permitting procedures (see Annex 16), in parallel  with constant monitoring of the legislative development at the EU level. Recently approved Law on Spatial planning is generally compliant with the EU acquis, and includes the definition of complex engineering projects, can be considered sufficient at this stage.

When the definition is clarified and the system is in place, the Agency for Environmental Protection shall be responsible in cooperation with the MoSDT for keeping the Register of issued permits. Other issues related to permitting are more extensively explained in the following section and in Annex 16.

# REGULATORY AND INSTITUTIONAL ASPECTS OF ENVIRONMENTAL LICENSES AND PERMITS RELATED TO IMPLEMENTATION OF THE MEASURES

## Introduction

Within the legislative framework the main law concerning decision making on the planning and permitting process is the Law on Spatial Planning and Construction, passed in September 2017. This Law guarantees a satisfactory legislative framework for the appropriate implementation of the investments to environmental infrastructure. All details of the level of compliance of the legislation are provided in Annex 16.

The MoSDT is, inter alia, responsible for spatial development and construction, solid waste management and communal utility development. The Ministry consists of nine Directorates as main organizational units and several departments in charge of administrative, technical and other supporting services. One of the Directorates is specifically in charge of spatial development, one for construction and one for solid waste management and communal utility development.

General assessment: Positive and sufficient for investment planning. Considering the size of the country and the dedicated human resources, the present structure of the MoSDT with its three directorates (spatial development, construction and solid waste/communal utility) appears to be adequate, however, only if reinforced with additional staff in order to avoid overload of work to the present staff.

  - Reduced number of spatial planning documents and centralized decision making

The MoSDT, as a proponent, prepared the new Law on spatial development and construction, which was adopted by the Parliament in September 2017. The new law introduced significant changes in the areas of spatial planning and construction.

Under the previous Law, the competence for enacting planning documents was divided between the Parliament and local self-governments. This resulted in over 600 non-harmonized spatial development plans. This created legal insecurity among investors, and urbanistic disorder. The new legislation provides for only two spatial planning documents, both to be enacted by the Parliament of Montenegro: (i) a 20-year Spatial plan of Montenegro, and (ii) a 10-year Plan of general regulation (Articles 15 and 18).

The Spatial plan of Montenegro is the highest-level planning document, laying out strategic principles and long-term spatial development guidelines (Article 16). These strategic principles are to be further developed through the Plan of general regulation, which is to set out the detailed requirements for development of the technical documentation and for construction in particular areas covered by the plan (Article 17). Local self-governments do not have responsibilities to develop plans any more, but are mandated to provide opinion on requirements (conditions for development of the technical documentation) for development/construction on its territory. Finally, the Government may further elaborate the Plan of general regulation by adopting specific urban projects for complex or otherwise challenging developments, such as in the areas involving cultural heritage.

The new Plan of general regulation is to be adopted within the following 36 months. All currently valid spatial plans will remain in force until then.

Urbanistic project may be adopted for most complex and important development projects within the boundaries of the Plan of general regulation. Urbanistic project may also be adopted for areas devastated by illegal construction or for areas which represent cultural heritage of international and national importance. Urbanistic project contain all urban-technical requirements for building of the structures, communal and social infrastructure.

General assessment: Positive and sufficient for investment planning. If the Plan of general regulations is adopted within the set deadline, spatial planning construction and development methods will be of sufficiently high standards with adequate responsibility sharing between the central and the local government level.

  - Responsibilities of the Ministry  for Sustainable Development and Tourism

Under the new law the MoSDT is mainly responsible to monitor spatial development of the whole territory of Montenegro. The tools for monitoring include records, documents and other information on land development. The ministry is mandated to prepare annual report on spatial use and to submit it to the Government for adoption (Article 14). The ministry establishes and maintains the comprehensive IT system and database with data, documents and information on spatial development.

State bodies, local self-governments and other public bodies and institutions with their competences on spatial planning and construction are responsible to submit to the MoSDT, within five days from the date of issuance, each document on spatial development, construction and land use as the MoSDT is responsible for establishment of the overall database on spatial development and construction (Article 13). The MoSDT prepares methodology for development of the planning documents and coordinates all activities on preparation of the planning documents (Article 21).

The MoSDT proposes an expert – manager of the assessment process of the preparation of the planning document (Article 22). The MoSDT is also responsible for organisation of preliminary public hearing and main public hearing and for informing general public on goals and purpose of preparation of the future planning document (Article 27). For construction related issues, the MoSDT is in charge of issuing preparatory planning, urbanistic and technical requirements for preparation of the technical documentation, within 20 days of the day when request was submitted by responsible person (Article 74). The MoSDT is in charge to set up one-stop-shop. It is responsible to acquire ex officio all technical requirements from the other institutions which are mandated to provide its own technical elements necessary for construction (i.e. diameter of the pipes, dimensions of the manholes, other requirements by  telecommunication, railways, roads, institutions for protection of the cultural heritage, utility companies etc.)

The MoSDT performs inspection surveillance in the area of the spatial planning and construction (Article 197) through urban and construction inspectors. Authorities of the inspectors are very wide – inspectors are authorized to prohibit/stop construction, to prohibit performance of the business activities to a business entity, to initiate procedure for withdrawal of a license to licensed planer and urban-planning engineer etc.

  - Establishment of the Council for Expert Assessment (review)

The Government of Montenegro establishes a Council for Expert Assessment in order to conduct detail expert document review. Municipal officials and staff cannot be appointed members of the council. Inspectors in charge of construction cannot be appointed members either. The Council is mandated to prepare a report on assessment of the draft planning document within 60 days (Article 31).

  - Types of the technical documentation

The Law recognizes four types of the technical documentation:

- Outline/conceptual design (idejno rješenje)

- Preliminary design (idejni projekat)

- Detailed/final project design (glavni projekat) and

- As-built design (projekat izvedenog objekta).

  - Engineering structure and Complex engineering structure

In Article 5 definition of the “engineering structure” is provided as all constructions which are not housing buildings are “engineering structures”. Wastewater treatment plants are explicitly listed as an “engineering structure”. Chapter XI stipulates special regime for design, construction and maintenance of “complex engineering structures” (Article 172 to Article 195). The Law stipulates special, more stringent conditions for construction of complex engineering structures. The Law lists complex engineering structures, inter alia: dams, highways, electric power stations and also water treatment plants. For complex engineering projects operational permits are necessary and a trial-run period prior to issuance of the operational permit is also envisaged.

  - Construction and operational permits

Construction permit is no longer a condition for commencement of construction works for all structures, and operational permit is no longer a condition for usa of the property, except with respect to complex engineering structures (Article 189, 190). Article 172 (translated to English) provides a non-exhaustive list of complex engineering objects (exampli causa). That is, Article 172 does not provide clear and logical criteria for classification of the facilities as complex engineering constructions. The lack of these criteria may create problems and misunderstanding in practical implementation of this provision. However, it is obvious that the list of requirements that are imposed in the process of the technical design and construction of the complex engineering objects is very demanding and it is applicable also for construction of the WWTP:

- Content of the technical documentation for the complex engineering construction is more demanding and the state body in charge of specific sector defines it in detail (Article 174);

- Manner of the performance of construction supervision is also defined by competent state ministry (Article 187)

- Complex engineering projects cannot commence before issuing of the construction permit and cannot be put in operation before issuance of the operational permit.

All this requirements are applicable for a WWTP. Therefore these provisions can be considered compliant with the EU acquis.

Residential and commercial buildings, villas and hotels, are under the permit-free regime. This means the investor may start construction once the detailed/main design is audited and the commencement of works is reported to the competent authority. This will significantly shorten the pre-construction phase. A development may be put in use after it is registered in the cadastre. This permit-free regime can be considered for revision, in order to avoid an unregulated market: a simplified permit system can be envisaged.

## Gap Analysis

The gap analysis established that most of the articles are sufficiently harmonized. This is demonstrated by the score obtained, considering all the adopted legal acts i.e. 229 out of 270 (number of points required by the Directive), indicating a ca. 85 % full compliance with the UWWT Directive. Following the adoption of the Law in September 2017 the score is improved, up to 249 out of 270 number of points required by the Directive), paving the way towards the full compliance. However some of them still need additional improvement or fine-tuning: in particular the art. 12.1 already considered partially complaint shall be improved in order to address properly the issue of treated effluent.

### Gap Analysis Based on Articles Sufficiently Harmonised

The following main provisions, considered essential for the good transposition of the UWWT Directive are found to be fully in line with the Directive’s requirements:

Requirements for use of the complex engineering structure/facility

Article 189

The use of a complex engineering structure/facility is not allowed prior to obtaining a operational permit, except in cases of trial operation or functional testing of the installed equipment.

### Gap Analysis Based on Articles Insufficiently Harmonised

The version of the Law approved in September 2017 is leading towards full compliance although further improvements may be needed to clarify the wording and the definition of treatment facility, to specify the applicability of the article to waste water treatment plants.

Article 172

Complex engineering structures/facilities, with reference to this law, are highways, motorways/state roads, main and regional roads, tunnels over 200m, bridges over 30m, railway lines, airports, power lines and substations of voltage level of 10kw and more, cable ground installation of voltage level 10kV and above, power plants of 1MwA and more (hydroelectric power plants, thermal power plants, wind farms, solar power plants, etc.), ports, oil pipelines, gas pipelines, dams and reservoirs filled with tailings or ash for which technical supervision is mandatory, storage facility for liquid petroleum gas, oil and oil derivatives storage and transfer facilities, stations for the supply of motor vehicles with petroleum products and gas, facilities for the production, transport and distribution of heat for district heating and / or cooling, facilities for the production, transport and distribution of heat for industrial use and stable pressure vessels, objects in which manufactures and stores hazardous materials and similar facilities and facilities that could endanger the environment, buildings and plants for the chemical and heavy industry, landfills, waste energy generation plants, anaerobic digestion plants, water treatment plants.

Operational permit for complex engineering structures/facilities

Article 190

The operational permit for a complex engineering structure is issued by the MoSDT.

The operational permit referred to in paragraph 1 of this Article shall be issued for the facility or part of the facility for which the construction permit determined construction in phases, or which represents technical-process entity and can be used as such independently.

The investor is obliged, before the beginning of the use of the facility, to apply for the issuance of an operational permit, no later than seven days after the date of completion of the construction.

With the application for the issuance of a operational permit, the investor shall enclose:

1) the statement of the contractor that the building was built in accordance with the construction permit and the revised final project design;

2) statement of the supervisor that the building was built in accordance with the building permit and the revised final project;

3) the statement of the technical inspection that the works were carried out in accordance with the revised final project, as well as in accordance with the regulations, standards, technical norms and quality standards applicable to certain types of works, ie materials, equipment and installations;

4) evidence of fulfilled obligations in accordance with special regulations;

5) the revised main project, in the case when the building permit has been issued on the basis of preliminary design and

6) finished project design in the case of subsequent changes during construction works.

The application for the issuance of the operational permit is published on the MoSDT's website within seven days from the date of submission of the request.

The operational permit is issued within seven days from the day of receiving the complete documentation in accordance with paragraph 4 of this Article.

The MoSDT is obliged to publish the operational permit on the website within seven days from the day of issuance.

Takeover of a complex engineering structure

Article 191

The investor and the contractor who has built a complex engineering facility or performed certain works are obliged, within 60 days from the date of obtaining the use permit, to takeover the facility and final calculation of the value of the works carried out, unless otherwise specified in the contract.

Table 11.1 – Translation of the Articles 172, 189, 190 and 191

| Član 172 Složeni inženjerski objekti, u smislu ovog zakona su auto putevi, brze saobraćajnice, magistralni i regionalni putevi, tuneli dužine preko 200m, mostovi raspona preko 30m, željezničke pruge, aerodromi, dalekovodi i trafo-stanice naponskog nivoa 10kV i više, kablovske prizemne instalacije naponskog nivoa 10kV i više, elektrane snage 1MVA i više (hidroelektrane, termoelektrane, vjetroelektrane, solarne elektrane i dr), luke, naftovodi, gasovodi, brane i akumulacije ispunjene jalovinom ili pepelom za koje je propisano tehničko osmatranje, postrojenje za skladištenje i pretakanje tečnog naftnog gasa, postrojenja za skladištenje i pretakanje nafte i derivata nafte, stanice za snabdevanje motornig vozila naftnim derivatima i gasom, objekti za proizvodnju, transport i distribuciju toplotne energije za daljinsko grejanje i / ili hladjenje, objekti za proizvodnju, transport i distribuciju toplotne energije za industrijsku upotrebu i stabilne posude pod pritiskom, objekti u kojima se proizvode i skladište opasne materije i slični objekti i postrojenja koja bi svojim radom mogla ugroziti životnu sredinu, građevine i postrojenja za hemijsku i tešku industriju, deponije, postrojenja za dobijanje energije iz otpada, postrojenja za anaerobnu digestiju otpada, postrojenja za prečišćavanje voda. | Article 172 Complex engineering facilities, within the meaning of this law, are highways, motorways/state roads, main and regional roads, tunnels over 200m, bridges over 30m, railway lines, airports, power lines and substations of voltage level of 10kV and more, cable ground installation of voltage level 10kV and above, power plants of 1MVA and more (hydroelectric power plants, thermal power plants, wind farms, solar power plants, etc.), ports, oil pipelines, gas pipelines, dams and reservoirs filled with tailings or ash for which technical supervision is mandatory, storage facility for liquid petroleum gas, oil and oil derivatives storage and transfer facilities, stations for the supply of motor vehicles with petroleum products and gas, facilities for the production, transport and distribution of heat for district heating and / or cooling, facilities for the production, transport and distribution of heat for industrial use and stable pressure vessels, objects in which manufactures and stores hazardous materials and similar facilities and facilities that could endanger the environment, buildings and plants for the chemical and heavy industry, landfills, waste energy generation plants, anaerobic digestion plants, water treatment plants. |
| --- | --- |
| Uslov korišćenja složenog inženjerskog objekta Član 189 Korišćenje složenog inženjerskog objekta nije dozvoljeno pre dobijanja upotrebne dozvole, osim u slučajevima probnog rada ili funkcionalnog ispitivanja ugrađene opreme. | Requirements for use of the complex engineering facility Article 189 The use of a complex engineering facility is not allowed prior to obtaining a operational permit, except in cases of trial operation or functional testing of the installed equipment. |
| Upotrebna dozvola za složenje inženjerske projekte Član 190 Upotrebnu dozvolu za složeni inženjnerski projekat izdaje rešenjem Ministarstvo. Upotrebna dozbola iz stava 1 ovog člana izdaje se za objekat ili deo objekta za koji je građevinskom dozvolom određena faznost građenja, odnosno koji predstavlja tehničko-tehnološku celinu i može se kao takav samostalno koristiti. Investitor je dužan da, prije početka korišćenja objekta, podnese zahtjev za izdavanje upotrebne dozvole, najkasnije u roku od sedam dana od dana dobijanja izjave iz stava 4 tačka 3 ovog člana. Uz zahtev za izdavanje upotrebne dozvole investitor prilaže: izjavu izvođača radova da je objekat izgrađen u skladu sa građevinskom dozvolom i revidovanim glavnim projektom; 2) izjavu vršioca nadzora da je objekat izgrađen u skladu sa građevinskom dozvolom i revidovanim glavnim projektom; 3) izjavu vršioca tehničkog pregleda da su radovi izvedeni u skladu sa revidovanim glavnim projektom, kao i propisima, standardima, tehničkim normativima i normama kvaliteta koje važe za pojedine vrste radova, odnosno materijala, opreme i instalacija; 4) dokaz o izvršenim obavezama u skladu sa posebnim propisima; 5) revidovani glavni projekat, u sklučaju da je građevinska dozvola izdata na idejni projekat i 6) projekat izvedenog objekta u slučaju da je došlo do izmena u slučaju gradnje. Zahtev za izdavanje upotrebne dozvole objavljuje se na internet stranici Ministarstva u roku od sedam dana od dana podnošenja zahteva. Upotrebna dozvola izdaje se u roku od sedam dana od dana prijema kompletne dokumentacije uz stava 4 ovog člana. Ministarstvo je dužno da upotrebnu dozvolu objavi na internet stranici u roku od sedam dana od dana izdavanja. | Operational permit for complex engineering structure Article 190 The operational permit for a complex engineering project is issued by the Ministry. The operational permit referred to in paragraph 1 of this Article shall be issued for the facility or part of the facility for which the construction permit determined construction in phases, or which represents technicaly technological unity and can be used as such independently. The investor is obliged to submit a request for the issuance of the use permit before the beginning of the use of the facility, at the latest within seven days from the date of receipt of the statement referred to in paragraph 4, item 3 of this Article. With the request for the issuance of an operational permit, the investor shall enclose:1) the statement of the contractor that the building was built in accordance with the construction permit and the revised final project design; 2) statement of the supervisor that the object was built in accordance with the construction permit and the revised main design; 3) the statement of the performer of the technical inspection that the works were carried out in accordance with the revised main design, as well as the regulations, standards, technical norms and quality standards applicable to certain types of works, ie materials, equipment and installations; 4) proof of implemented obligations, in accordance with special regulations; 5) the revised main design, in case the construction permit is issued to the preliminary design, and 6) As built design, in the event that has been a change in the course (during) of construction. The request for the issuance of a use permit is published on the Ministry's website within seven days from the date of submission of the request. The operational permit is issued within seven days from the day of receiving the complete documentation in accordance with paragraph 4 of this Article. The Ministry is obliged to publish the operational permit on the website within seven days from the day of issuance. |
| Predaja izgrađenog složenog inženjerskog objekta Član 191 Investitor i izvođač radova koji je složeni inženjerski objekat izgradio, odnosno izvodio pojedine radove, dužni su da, u roku od 60 dana od dana dobijanja upotrebne dozvole, izvrše primopredaju objekta i konačan obračun vrednosti izvedenih radova, osim ako ugovorom nije drugačije određeno. | Takeover of a complex complex engineering structure Article 191 The investor and the contractor who has built a complex engineering facility or performed certain works are obliged, within 60 days from the date of obtaining the operational permit, to takeover the facility and final calculation of the value of the works carried out, unless otherwise specified in the contract. |

## Institutional issues on permitting

a. Communal equipping

The new legislation imposes obligations on the owners of construction land to pay monthly land development fee until the land is developed. Once the land is developed, the owner is obliged to pay monthly "city land rent". Each local municipality will determine the amount of the fees and payment dynamics (Article 238).

b. Chief state/city architect

The notions of the Chief state architect and the Chief city architect are new in Montenegro. The Chief state architect will have the authority to issue guidelines on legalization and certain authorities with respect to projects of national significance, while the Chief city architect will be in charge of approving conceptual designs of buildings, squares and other public areas in settlements, verifying compliance of concept designs with urban projects, and approving facades of temporary constructions (Article 87).

# PRIORITISATION AND RANKING OF WASTEWATER INFRASTRUCTURE PROJECTS

## Introduction

Preparation of financing plans is the critical step for the long-term strategic approach to prioritize required wastewater investments. After extensive discussions, meetings and consultations involving several dedicated working groups representing line ministries and local government organisations the first national list of environmental investment projects in Montenegro was established in 2011.

The list was based on the existing strategies/plans in Montenegro and EU requirements (mostly investment-heavy directives). Since then, revisions and updating of the ranking methodology have been carried out, mainly focusing on the updating of the scoring methodology (criteria, sub-criteria and corresponding weights).

Annex 15; Prioritisation and Ranking of Investment Measures for Wastewater Management elaborates on the following

- Key current and past wastewater projects Prioritisation and Ranking practices are presented, including:

  - WW Management Measures Prioritization and Ranking Methodology adopted in the Strategic Master plan for Sewerage and WW in Central and Northern Region of Montenegro (2005-2029)

  - WW Management measures Prioritization and Ranking Methodology adopted in the Master plan for WW management in the Coastal region of Montenegro and Cetinje (2005-2029)

  - Prioritization of Measures planned for implementation of the UWWTD according to the National Strategy with Action Plan for Transposition Implementation and Enforcement of the EU Acquis on Environment and Climate Change 2016-2020

  - Ranking of De-pollution Measures for the Pollution Hotspots for the Coastal Area

  - Wastewater Management Measures Planning requirements for Compliance with UWWTD 91/271/EEC – Law on Urban Wastewater Management Stipulations

  - Most importantly: Single Project Pipeline, wastewater projects - Methodology currently used for Selection and Prioritization of infrastructure projects

- Principles for development of a methodology tool for prioritization of the wastewater management measures identified in this report, including the identification of a Weighted Scoring System for assessing the projects in the national context by developing:

  - List of criteria for ranking and prioritizing the implementation planning of Investment Measures for Wastewater Management,

  - Improved, simplified and user-friendly Methodology Tool for the preparation - as well as the future updating and revision – of an Investment Measures Prioritisation Implementation Plan.

## Methodology for Ranking and Prioritisation of Investment Measures

The scoring methodology is of high importance for prioritization of the investment measures. Using of the open and transparent methodology helps the MoSDT and other projects stakeholders to optimally allocate available funds more efficiently and effectively.

Detail presentation of the multi-criteria decision analysis (MCDA) methodology developed and proposed is made in Annex 15. The MCDA aims to:

- Significantly contribute to the objectives of the UWWTD for implementation of wastewater management investment measures;

- Provide well defined prioritisation criteria to reflect clearly on environmental benefits, taking into consideration:

  - Strategic Relevance of the investments measures with EU acquis/policies and especially the UWWTD,

  - Environmental Impact on water quality especially in sensitive or vulnerable areas and environmental “black spots”,

  - Project Maturity (i.e. the overall project readiness: duration, complexity, defined and realistic targets, sequencing, budget allocation, public support/ opposition, stakeholder engagement, sustainability, ownership and operational capacity of the End Recipient, readiness for tendering, contracting and operation),

  - the Beneficiaries’ Capacity for implementation,

  - the investments scale - Budget Size;

- Formulate the basis for the preparation of a Priority Investment Project (PIP) for wastewater management investment measures taking into account:

  - relevant experience of previous funding, “lessons learnt”, programming recommendations and compatibility with national strategies and policies, such as:

  - National Strategy with Action Plan for Transposition Implementation and Enforcement of the EU Acquis on Environment & Climate Change 2016-2020,

  - Approach for Project Prioritisation for the SPP in the Environment Sector

  - Institutional setup and capacities for implementation of the MoSDT (as well as PROCON, VODACOM, local water utility companies),

  - Priority of implementation of particular project (e.g. international commitments in line with the EU priorities),

  - Added value, leveraging effect and potential, multiplier effect;

- Ensure that:

  - Affordability issues at national, regional, municipal, and household levels are taken into consideration,

  - Local context is favourable to the investment measures selected (e.g. there are no physical, social or institutional binding constraints),

  - Demand for measures in the future will be adequate,

  - Appropriate technology is available, and the measures are not oversized,

  - Necessary human resources and management capacities, and will provide justification of the project design (scale, location, etc.) against alternative scenarios (‘business as usual’, ‘do-minimum’, ‘do-something’ and ‘do-something else’).

  - Top priority investment measures

  - are expected to bring highest benefit-cost ratio in an area,

  - are also socially favourable,

  - have a suitable proponent.

The proposed prioritisation criteria and related sub-criteria and their correlation with the Single Project Pipeline prioritisation criteria are presented in Table 12.1. More detail presentation of the criteria and scoring system proposed is provided in Annex 15.

Table 12.1 – Prioritisation Criteria/Sub-criteria & correlation with SPP Prioritisation Criteria

| Main Criteria and Sub-criteria | Weight % | Code | Related SPP Prioritisation Criteria for Strategic Relevance | Max Weight |
| --- | --- | --- | --- | --- |
| Environmental Benefits | 10 | S1 | The project has direct benefits for the environment | 5 |
| Environmental Impacts | 12 | S2 | The project contributes to reduction of harmful emissions (noise, reduced energy consumption) | 10 |
| Climate Change | 4 |  |  |  |
| Benefits of the Population | 6 | S3 | The number of people who will benefit from the implementation of the project | 4 |
| Regional Effects | 4 | S4 | The project contributes to the reduction of pollution in a wider region around its location | 6 |
| Relevant Conventions | 4 |  |  |  |
| Environmental & Climate Change Criteria – subtotal | 40 |  |  |  |
| Capital Cost | 6 | S5 | The project requires considerable investment | 10 |
| Operation & Maintenance Cost | 6 |  |  |  |
| Financial Criteria - subtotal | 12 |  |  |  |
| Affordability | 8 | S6 | The project affordable during operational phase | 5 |
| Economic Criteria - subtotal | 8 |  |  |  |
| Project Implementation Level | 4 | S7 | The risks associated with project are manageable | 6 |
| Demonstration Potential | 2 |  |  |  |
| Readiness of the Project | 4 |  |  |  |
| Technical Criteria | 10 |  |  |  |
| Public Support/Opposition | 5 |  |  |  |
| End-Recipient Willingness | 5 |  |  |  |
| Social/Political/Civil | 10 |  |  |  |
| Division of Responsibilities | 4 | S8 | The project is prepared by a partnership of organisations and institutions | 3 |
| Necessary Capacity and Similar Experiences | 6 | S9 | The beneficiary has capacity to successfully manage the project preparation and implementation | 3 |
| Institutional Criteria–sub-tototal | 10 |  |  |  |
| Impact on local development | 4 | S10 | Impact on local development | 3 |
| Impact on reduction of pollution risks | 6 | S11 | The project deals with disasters management | 6 |
| Other specific criteria - subtotal | 10 |  |  |  |
| Total | 100 |  |  |  |

# RISKS MANAGEMENT OF WASTEWATER MANAGEMENT MEASURES

## Introduction

Risks and uncertainties related to potential negative effects are inevitable in all infrastructure construction projects.  Systematic approach to risk management is by all means the preferred one, including

- Identify, assess and rank risks;

- Focus on major project risks;

- Agree on actions to minimise potential adverse impacts

- Clarify and formalise the roles of project stakeholders in the risks management process

Although it is impossible to annul all uncertainties, systematic approach to risk management improves the chances of a project to be completed in time, within the budget and up to the required standard.

## Methodology for Wastewater Projects Risks Management

Annex 16 presents the principles of risk management for wastewater projects, and formulates the Risk Management Tool for analyzing, assessing and managing risks during the process of preparation and implementation of wastewater management projects, by developing a simple and user friendly Methodology for:

- the Assessment, Measurement, Ranking and Prioritizing of the risks likelihood, consequences and acceptability, ensuring adequate risks management for the wastewater management measures identified in the revised Master Plan;

- the preparation of a Risks Matrix/ Register for monitoring - as well as the future Updating and Revision – of the risks of Investment Measures for Wastewater Management in Montenegro.

## Potential risks and related mitigation actions

There are a number of risks that could impact a project. In mitigating these risks early identification, analysis and involvement of all key project Stakeholders in finding the most appropriate solutions, are essential.

The preliminary Risk matrix - Register, related to the development and implementation of the Directive Specific Implementation Plan for the UWWTD, with Risk Quantification, Risk Allocation and Identification of possible mitigation measures is presented in the following table. The Risk matrix – Register should be reviewed, updated and amended regularly.

Table 13.1 – Preliminary Project-specific Risk Matrix

| Key risks and Consequence | Likelihood | Impact Level | Risk Owner | Mitigation Strategy |
| --- | --- | --- | --- | --- |
| MAJOR RISKS |  |  |  |  |
| Need for emergency works (e.g. marine outfalls) | L | H | MoSDT | MoSDT to decide whether contracts for emergency works are included in the works program scope |
| Treated effluent and sludge reuse/ disposal works are not built before WWTPs works completion | M | H | MoSDT | MoSDT to decide whether contracts for effluent and sludge reuse/disposal works are included in the works implementation program scope |
| Land Expropriations/Ownership | H | H | MoSDT LSGUs | This is one of most critical issue/risks in a number of wastewater infrastructure projects. The MoSDT and certainly local authorities should: - to assess the needs and expedite land expropriation activities - check availability and contents of related urban planning documents for the project location - check in detail ownership status of all land parcels affected by the project - in accordance with the relevant urban planning documents carry out expropriation/land acquisition activities, which would require adequate budget for these purposes (to be provided by either local or national authorities) - all these activities should be accomplished well before launching a tender, in fact resolving of land acquisition issues is a pre-requisite for issuing an approval of a detailed design |
| WWTPs Construction Contracts extend to network operations period | M | H | DoPW | MoSDT to address the issue during Tender Documents preparation (identify priorities in works construction and formulate realistic programmes) |
| Local construction industry price pressure | L | H | DoPW | Start tendering (Contractors prequalification should be considered) process early |
| Need for additional EIA work for WWTPs (including treated effluent and sludge reuse/ disposal) | L | H | MoSDT | Assess the need for additional EIAs for WWTPs (including treated effluent and sludge reuse/ disposal) at the earliest and – if needed – include them in the works implementation program scope |
| Fundamental problems with technical, financial, economic or environmental/ social soundness of project proposals | M | H | MoSDT LSGUs | These aspects are indeed crucial. The best way to deal with and prevent these risks would be to arrange preparation of a comprehensive Feasibility Study, in accordance with the EU guidelines, dealing with all of the aforesaid aspects. The Feasibility Study preparation should include active participation of the MoSDT and local authorities in the fundamentals of the proposals by keeping the local aspects in mind both in terms of constructability and operability. The Feasibility Study report should be looked at, reviewed, commented by the beneficiaries as well as by the expert-consultants (JASPERS) and consequently adjusted to meet all of the key criteria. |
| Resistance by Donors/IFIs or the Final Beneficiaries to technical suggestions | M | H | MoSDT | Make sound proposals for the schemes that are both technically applicable and financially viable for Donors/IFIs and the Final Beneficiaries. This will be done through active and open communication/collaboration with the Procon and Vodacom, PIUs and the Final Beneficiaries. |
| Insufficient implementation capacity of Final Beneficiaries | H | H | MoSDT LSGUs | Given the scope and complexity of the proposed infrastructural measures and current organisation and capacities of the relevant national and local authorities, this risk is estimated to be very high. In a short term there should be a very rapid, urgent set of measures to improve capacity of relevant national and local institutions dealing with preparation and implementation of these measures, including: - Ministry of Sustainable Development and Tourism - Directorate for Public Works - Directorate for Water Management - Project implementation units including PROCON and VODACOM - Municipal departments and water utility companies Of valuable assistance and support during the programme further preparation and implementation could be EU-supported and other Technical Assistance Programme providing expert consultation and advice. It is essential that the following areas/capacities are reinforced by engaged properly qualified (corresponding university degree + experience): - Engineers (civil, water, environmental, structural, electrical, mechanical, ...) – this is the first priority - Economists - Specialists in procurement procedures and law These specialists should be organised in dedicated Project Implementation Units, at both national and local level with primary tasks to participate in preparation and implementation of the concerned (wastewater) infrastructural projects. As it is expected that the number of projects would increase, these PMU-s should become long-term organisational units that would coordinate preparation and implementation all (including long-term) measures outlined in this plan. |
| Projects of regional character face difficulties in preparation, construction and operation phases | H | H | MoSDT LSGUs | Some of the measures/projects considered in this plan are meant to be of regional character, i.e. the system and its elements should be common for two or more municipalities. All phases related to so-called regional or inter/municipal projects are considered as rather sensitive and complex to coordinate and realise. Implementation of projects with regional character has a number of benefits. However, a number of prerequisites should be in place to ensure that the project is prepared, implemented and operated sustainably: - Clear and implementable legal framework - Mutual interests of involved municipalities, professionally and clearly defined in a legally-binding inter-municipal agreement - Clear division and definition of assets’ ownership, responsibilities for operation and maintenance, cost share, revenue collection, development and reinvestment and other important aspects of proper functioning of a regional scheme. |
| MoSDT not having enough capacity or resources to complete the works preparation Documents | M-H | HH | MoSDT | Support MoSDT in identifying resources for finalizing the works preparation documents and provision of corresponding external technical assistance (for instance EU-supported) |
| MoSDT not able to finish the required documents in time for appraisal request to Donors/IFI | M-H | H | MoSDT | Support MoSDT in identifying resources for finalizing the documents in the best way possible and provision of corresponding external technical assistance (for instance EU-supported). |
| Regulatory limits relating to municipal borrowing or affordability risk leading to limited uptake of Donors/IFI loans | H | H | MoSDT | Make use of financial project analysis to simulate different scenarios to enable optimum uptake of Donors/IFIs loans with relevant calculation of NPV, FRR, positive cash flow…etc. Concentrate on local product procurement as part of the ToR. |
| Delays in the disbursement of funds | L | H | MoSDT | Forming a communication bridge between MoSDT and Funding Organisations with active participation in the discussions |
| MODERATE RISKS |  |  |  |  |
| Legal constraints, full transposition of relevant EU directives not accomplished | M | H | MoSDT | As stated in the report the wastewater sector already reached high percentage of transposition of the relevant EU directives (primarily UWWTD). However, still there are a number of gaps to be closed and regulations modifications to be made (in the Law on Communal Wastewater Management). Also, once this national Master Plan is considered and accepted, it should be followed by corresponding amendments of the aforementioned Law, in terms of time-schedule and other aspects. |
| Delays in the tendering process for contracts for preparation studies and operational support | L | M | DoPW | Active engagement of project Stakeholder and Final beneficiaries to avoid delays in the tendering process |
| Power Supply not available in time for the works | L | M | Municipalities | Timely ensure electricity supply construction programme is in line with works implementation programme |
| Population to be served increases more than expected | L | M | MoSDT | MoSDT to inform ASAP the project preparation Team of revised capacity requirements |
| Soil conditions different/worse than assumed | M | M | MoSDT | Get appropriate level of geotechnical information for works sites before the construction works |
| Tendering process takes longer than planned | M | M | MoSDT | Complete realistic scope of projects and procurement strategy. Start tendering process at the earliest |
| Staging of works is needed | M | M | MoSDT | Expert support MoSDT to decide whether staging of works is needed, and if so how to be designed optimally |
| Availability of WWTPs commissioning wastewater for process establishment | L | M | MoSDT | Provision of sources of wastewater at sufficient rate for commissioning in line with construction programme (include related requirements in TD) |
| Inflation | L | M | MoSDT | MoSDT to make suitable allowance in their budget |
| Equipment and materials take longer to procure than anticipated | L | M | Contractors | MoSDT to provide requirements for an early procurement of - long lead in items – i.e. components or pieces of equipment for which the times to design and fabricate are the longest and for which an early commitment of funds may be desirable or necessary in order to meet the earliest possible date of wastewater systems completion |
| IFI’s Eligibility Requirements not Aligning with Montenegro’s facts | L | M | MoSDT | Expert support and assistance to both MoSDT and IFIs in the facts and figures of Montenegro to fine tune eligibility requirements if possible |
| Willingness to pay | M | H | LSGUs MoSDT | Involvement of national and local authorities competent for financial matters (Ministry of Finance, Municipalities and PUCs) |
| Stakeholders project participation | L | M | MoSDT | Key stakeholders will be identified and will have to be informed timely of the date of meetings to be available |
| MINOR RISKS |  |  |  |  |
| Approval of Works Tendering Dossiers takes longer than anticipated | L | L | MoSDT | Agree realistic time frame for tender docs approval in line with the project implementation plan |
| Approval of EIA takes longer than programmed | L | M | MoSDT | Close liaison with competent Authorities to ensure smooth process of EIA approval |
| Extra noise and odour abatement measures need to be adopted | L | M | MoSDT | Ensure any special requirements are included in tender documents, and monitoring and control to be conducted during the operation |
| Works Progress may be delayed because of working on restricted site | L | M | MoSDT | Taken into consideration in the works implementation programme to allow for this constraint |

# Annexes

## Annex 1 - Inventory and overview of communal wastewater management

Table 14.1 – Overview of communal WW management – service coverage and main physical features (per municipality)

| No | Municipality | Major river basin | River sub-basin | Sensitive area Y/N | Region | N pop 2017 | N pop 2017 agglomerations | N population connected | N legal entities - users | Service coverage - WW collection (%) | Service coverage – agglomerations (%) | Total L of pipelines (km) | Average age of sewerage network (y) | Network density (#/km) | WW invoiced - households (m3/y) | WW invoiced - legal entities (m3/y) | WW invoiced - total (m3/y) | Total pollutant loading - high season - (PE WW collected) | Total generated pollutant loading (domestic, non domestic, high season tourism) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Andrijevica | Danube | Lim | Y | Northern | 4,790 | 2,613 | 863 | 65 | 18.0% | 33.0% | 4.4 | 40.0 | 196 |  |  | 0 | 996 | 5,159 |
| 2 | Berane | Danube | Lim | Y | Northern | 27,256 | 20,757 | 10,053 | 704 | 36.9% | 48.4% | 43.7 | 43.8 | 230 | 316,348 | 79,432 | 395,780 | 12,297 | 32,004 |
| 3 | Bijelo Polje | Danube | Lim | Y | Northern | 43,468 | 22,910 | 8,500 | 789 | 19.6% | 37.1% | 11.7 | 30.0 | 725 | 278,000 | 190,000 | 468,000 | 10,358 | 48,848 |
| 4 | Gusinje | Danube | Lim | Y | Northern | 3,984 | 2,684 | 2,162 | 70 | 54.3% | 80.6% | 6.9 | 19.1 | 314 |  |  | 0 | 2,552 | 4,297 |
| 5 | Kolašin | Danube | Tara | Y | Northern | 7,553 | 4,375 | 1,116 | 64 | 14.8% | 25.5% | 4.0 | 18.5 | 279 | 80,300 | 55,100 | 135,400 | 1,296 | 8,375 |
| 6 | Mojkovac | Danube | Tara | Y | Northern | 7,938 | 5,022 | 2,944 | 172 | 37.1% | 58.6% | 23.5 | 35.9 | 125 | 114,864 | 42,576 | 157,440 | 3,500 | 8,855 |
| 7 | Petnjica | Danube | Lim | Y | Northern | 5,215 | 1,261 | 0 |  | 0.0% | 0.0% | 0.0 | n/a | n/a |  |  | 0 | 0 | 5,173 |
| 8 | Plav | Danube | Lim | Y | Northern | 8,628 | 6,917 | 4,973 | 155 | 57.6% | 71.9% | 15.1 | 19.1 | 329 | 236,549 | 62,241 | 298,790 | 5,985 | 10,090 |
| 9 | Pljevlja | Danube | Ćehotina | Y | Northern | 28,124 | 17,949 | 18,595 | 692 | 66.1% | 98.0% | 59.6 | 28.5 | 312 | 852,025 | 248,821 | 1,100,846 | 23,067 | 32,234 |
| 10 | Plužine | Danube | Piva | Y | Northern | 2,777 | 1,123 | 1,303 | 30 | 46.9% | 98.0% | 3.0 | 27.9 | 434 | 88,200 | 9,120 | 97,320 | 1,519 | 2,889 |
| 11 | Rožaje | Danube | Ibar | Y | Northern | 23,179 | 13,048 | 9,851 | 333 | 42.5% | 75.5% | 32.0 | 21.8 | 308 | 453,083 | 102,135 | 555,218 | 12,045 | 25,626 |
| 12 | Šavnik | Danube | Piva | Y | Northern | 1,794 | 389 | 310 | 25 | 17.3% | 79.6% | 2.0 | 18.6 | 155 | 14,000 | 10,000 | 24,000 | 349 | 1,759 |
| 13 | Žabljak | Danube | Tara | Y | Northern | 3,212 | 1,545 | 1,090 | 99 | 33.9% | 70.5% | 4.0 | 16.2 | 273 |  |  |  | 1,265 | 3,461 |
| 14 | Cetinje | Adriatic Sea | Skadar Lake | Y | Central | 15,621 | 14,141 | 6,208 | 400 | 39.7% | 43.9% | 41.4 | 14.7 | 150 | 287,856 | 97,747 | 385,603 | 7,510 | 19,042 |
| 15 | Danilovgrad | Adriatic Sea | Skadar Lake | Y | Central | 18,307 | 7,280 | 1,784 | 34 | 9.7% | 24.5% | 4.0 | 20.0 | 446 | 82,717 | 8,308 | 91,026 | 2,096 | 19,827 |
| 16 | Nikšić | Adriatic Sea | Skadar Lake | Y | Central | 70,042 | 57,450 | 30,711 | 599 | 43.8% | 53.5% | 55.0 | 25.3 | 558 | 1,089,314 | 398,441 | 1,487,755 | 38,531 | 86,136 |
| 17 | Podgorica | Adriatic Sea | Skadar Lake | Y | Central | 197,589 | 185,706 | 112,659 | 5,100 | 57.0% | 60.7% | 200.0 | 32.9 | 563 | 5,528,912 | 1,612,000 | 7,140,912 | 145,461 | 256,990 |
| 18 | Bar | Adriatic Sea | Adriatic Sea | N* | Coastal | 43,693 | 38,671 | 18,272 | 1,853 | 41.8% | 47.3% | 91.0 | 24.4 | 201 | 831,708 | 406,375 | 1,238,083 | 40,884 | 73,013 |
| 19 | Budva | Adriatic Sea | Adriatic Sea | Y | Coastal | 20,982 | 19,904 | 16,845 | 2,185 | 80.3% | 84.6% | 66.3 | 28.4 | 254 | 1,829,008 | 1,056,018 | 2,885,026 | 78,963 | 83,932 |
| 20 | Herceg Novi | Adriatic Sea | Adriatic Sea | Y | Coastal | 30,690 | 29,048 | 19,259 | 1,257 | 62.8% | 66.3% | 95.9 | 23.5 | 201 | 1,496,011 | 427,098 | 1,923,109 | 49,673 | 63,658 |
| 21 | Kotor | Adriatic Sea | Adriatic Sea | N* | Coastal | 22,651 | 19,993 | 8,399 | 363 | 37.1% | 42.0% | 45.0 | 19.9 | 187 | 417,792 | 189,623 | 607,415 | 14,500 | 31,556 |
| 22 | Tivat | Adriatic Sea | Adriatic Sea | N* | Coastal | 14,774 | 14,314 | 5,843 | 301 | 39.6% | 40.8% | 50.0 | 10.0 | 117 | 290,666 | 157,236 | 447,902 | 15,120 | 25,771 |
| 23 | Ulcinj | Adriatic Sea | Adriatic Sea | N | Coastal | 20,106 | 13,247 | 10,690 | 875 | 53.2% | 80.7% | 58.0 | 40.0 | 184 | 670,251 | 110,190 | 780,442 | 25,745 | 35,670 |
| Northern Region |  |  |  |  |  | 167,918 | 100,593 | 61,759 | 3,197 | 36.8% | 61.4% | 209.9 | 30.3 | 294 | 2,433,369 | 799,425 | 3,232,794 | 75,228 | 188,770 |
| Central Region |  |  |  |  |  | 301,559 | 264,577 | 151,362 | 6,133 | 50.2% | 57.2% | 300.4 | 28.8 | 504 | 6,988,799 | 2,116,496 | 9,105,296 | 193,597 | 381,996 |
| Coastal Region |  |  |  |  |  | 152,896 | 135,178 | 79,308 | 6,834 | 51.9% | 58.7% | 406.2 | 24.8 | 195 | 5,535,436 | 2,346,540 | 7,881,976 | 224,885 | 313,600 |
| Average/total - Montenegro |  |  |  |  |  | 622,373 | 500,347 | 292,429 | 16,164 | 47.0% | 58.4% | 916.6 | 27.8 | 319 | 14,957,604 | 5,262,462 | 20,220,066 | 493,710 | 884,366 |
| Sub-total Danube River Basin |  |  |  |  |  | 167,918 | 100,593 | 61,759 | 3,197 | 36.8% | 61.4% | 209.9 |  |  | 2,433,369 | 799,425 | 3,232,794 | 75,228 | 188,770 |
| Sub-total Adriatic Sea Basin |  |  |  |  |  | 454,455 | 399,755 | 230,670 | 12,967 | 50.8% | 57.7% | 706.6 |  |  | 12,524,235 | 4,463,037 | 16,987,272 | 418,482 | 695,596 |

*, ** - Subject to further detail investigations

## Annex 2 – Performance of existing WWTP-s

Table 14.2 – WWTP Podgorica – influent volume and quality in 2016

| Month | n | V (m3) | t (°C) | pH | COD (mg O2/l) | BOD5 (mg O2/l) | TSS (mg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Jan-16 | 7 | 757,981 | 14.7 | 7.1 | 502.9 | 208.6 | 137.0 |
| Feb-16 | 10 | 739,152 | 15.9 | 7.2 | 652.8 | 258.5 | 206.5 |
| Mar-16 | 10 | 832,970 | 15.8 | 7.2 | 533.5 | 256.8 | 155.3 |
| Apr-16 | 9 | 855,360 | 19.7 | 7.7 | 472.6 | 241.4 | 195.8 |
| May-16 | 9 | 899,930 | 19.9 | 7.6 | 481.4 | 218.3 | 151.9 |
| Jun-16 | 9 | 896,820 | 20.9 | 7.2 | 373.3 | 197.8 | 179.8 |
| Jul-16 | 8 | 873,146 | 22.1 | 7.3 | 339.8 | 162.6 | 117.0 |
| Aug-16 | 8 | 881,194 | 20.8 | 7.5 | 316.5 | 176.0 | 146.8 |
| Sep-16 | 6 | 852,750 | 22.1 | 7.4 | 340.7 | 164.7 | 145.0 |
| Oct-16 | 3 | 860,100 | 20.5 | 7.6 | 400.0 | 201.7 | 194.7 |
| Nov-16 | 9 | 850,250 | 18.2 | 7.5 | 535.6 | 281.1 | 172.4 |
| Dec-16 | 9 | 870,480 | 16.2 | 7.6 | 481.3 | 267.4 | 250.7 |
| Average/ total | 97 | 10,170,133 | 18.7 | 7.4 | 463.7 | 224.4 | 172.1 |

Table 14.3 – WWTP Podgorica – effluent volume and quality in 2016

| Month | n | V (m3) | t(°C ) | TSS (mg/l) | TSS % reduction | COD (mg O2/l) | COD % reduction | BOD5 (mg O2/l) | BOD % reduction |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Jan-16 | 7 | 412,295 | 14.6 | 21.6 | 84.2% | 57.7 | 88.5% | 30.9 | 85.2% |
| Feb-16 | 10 | 367,373 | 16.2 | 31.9 | 84.6% | 85.5 | 86.9% | 34.8 | 86.5% |
| Mar-16 | 10 | 483,176 | 15.8 | 20.1 | 87.1% | 79.9 | 85.0% | 27.8 | 89.2% |
| Apr-16 | 9 | 473,361 | 20.3 | 22.8 | 88.4% | 60.8 | 87.1% | 13.7 | 94.3% |
| May-16 | 9 | 476,753 | 20.1 | 30.6 | 79.9% | 54.0 | 88.8% | 19.3 | 91.2% |
| Jun-16 | 9 | 464,453 | 21.6 | 33.9 | 81.1% | 48.0 | 87.1% | 18.0 | 90.9% |
| Jul-16 | 8 | 528,645 | 22.3 | 26.9 | 77.0% | 64.5 | 81.0% | 27.0 | 83.4% |
| Aug-16 | 8 | 539,221 | 21.3 | 30.5 | 79.2% | 53.1 | 83.2% | 19.5 | 88.9% |
| Sep-16 | 6 | 455,454 | 21.8 | 40.0 | 72.4% | 64.3 | 81.1% | 21.8 | 86.8% |
| Oct-16 | 3 | 426,420 | 21.0 | 64.0 | 67.1% | 92.0 | 77.0% | 35.7 | 82.3% |
| Nov-16 | 9 | 403,742 | 18.9 | 39.1 | 77.3% | 72.4 | 86.5% | 31.2 | 88.9% |
| Dec-16 | 9 | 469,693 | 16.3 | 36.0 | 85.6% | 87.1 | 81.9% | 41.4 | 84.5% |
| Average/ total | 97 | 5,500,586 | 19.0 | 31.2 | 81.5% | 67.6 | 85.1% | 26.4 | 88.1% |

## Annex 3 - Questionnaire on industrial discharges in relation to the UWWTD

Table 14.4 – Questionnaire on industrial discharges in relation to the UWWTD

| - Industrial sector: - milk-processing - manufacture of fruit and vegetable products - manufacture and bottling of soft drinks - potato-processing - meat industry - breweries - production of alcohol and alcoholic beverages - manufacture of animal feed from plant products - manufacture of gelatine and of glue from hides, skin and bones - malt-houses - fish-processing industry |  |
| --- | --- |
| - Location of the facilities - municipality/ city |  |
| - Name of factory and description of activity |  |
| - Contact details: - contact person, - address, - telephone number, and e-mail address |  |
| 5. Area of factory site (ha) - total - covered |  |
| 6. Current number of work force - permanent - temporary at peak season |  |
| 7. Production time: - hours/day - weeks/year |  |
| 8. Production capacity - designed capacity - production of the year 2015 - production of the year 2016 - production of the year 2017 (planned) |  |
| - Current volume of water consumed per day - or per year (seasonal variations – if any) | m3/d or m3/y |
| 10. Source of this water is there a water permit ? | - public water supply - own wells - surface water - other source… |
| 11. Expected increase in consumption of water (to 2018, 2035) | m3/d or m3/y |
| 12. Industrial wastewater quantity (seasonal variations – if any) | m3/d or m3/y |
| 13. Industrial wastewater quality – what are the main contaminants and are any chemical analyses available? (seasonal variations – if any) |  |
| 14. is there planning (up to 2035) for future increase or modifications of the production capacity foreseen with consequence for the quantity or quality of the industrial wastewater: | industrial wastewater quantity characteristics - up to 2035 (seasonal variations – if any) industrial wastewater quality characteristics – up to 2035 (seasonal variations – if any) |
| 15. is industrial wastewater pre-treated at the factory, if so by what process? | flow equalisation screening neutralisation (ph adjustment) oil-grease separation sedimentation physical-chemical process other…. |
| 16. Is there a permit for discharge of industrial wastewater to surface water, or the sewerage system, or other ? | surface water …………..…….. (details of permit to discharge in surface waters) sewer …………………………….. (details of permit to discharge to the sewer) other ……………….…………….. (details of the discharge permit) |
| 17. Discharge point of industrial wastewater (e.g. public sewer, river, other ?) | surface water ………………….. (name of the surface waters) sewer ………………………………. (give number of discharge points to the sewer) other recipient …………………. (name of the recipient) |
| 18. Industrial/ non-industrial wastewater discharge systems | discharge system details: industrial wastewater: septic tank leaching cesspool wastewater sewer system rainwater sewer system direct to surface water other …………. non industrial wastewater: septic tank leaching cesspool wastewater sewer system rainwater sewer system direct to surface water other …………. rain water: septic tank leaching cesspool wastewater sewer system rainwater sewer system direct to surface water other …………. |

## Annex 4 - List of national industrial activity codes to Annex III of the UWWTD

Table 14.5 – List of national industrial activity codes to Annex III of the UWWTD

1. Production of dairy products

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 1051 | Milk processing and cheese production | 15510 | Manufacture of dairy products |
| 0141 | Raising of dairy cows | 01210 | Raising of cattle and buffalo, production of milk |

2. Manufacture of fruits and vegetable products

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 0121 | Grapes growing | 01132 | Growing grapes |
| 0122 | Growing tropical and subtropical fruits | 01131 | Growing fruits |
| 0123 | Growing Citrus | 01121 | Growing of vegetables, flowers and ornamental plants |
| 0124 | Growing fruits | 01122 | Gajenje voćnih sadnica |
| 0125 | Growing fruits | 01123 | Gajenje loznih sadnica |
| 0126 | Growing oilseeds | 01131 | Gajenje voća |
|  |  | 01110 | Gajenje žita i drugih usjeva i zasada |
| 0127 | Growing fruits for juice preparation | 01133 | Gajenje bilja za spravljanje napitaka i začina |
| 0128 | Growing spicy, aromatic and healing plants | 01121 | Gajenje povrća, cvijeća i ukrasnog bilja |
|  |  | 01133 | Gajenje bilja za spravljanje napitaka i začina |
|  |  | 01110 | Gajenje žita i drugih usjeva i zasada |
| 0129 | Growing of other perennial plants | 01121 | Gajenje povrća, cvijeća i ukrasnog bilja |
|  |  | 01133 | Gajenje bilja za spravljanje napitaka i začina |
|  |  | 01110 | Gajenje žita i drugih usjeva i zasada |
|  |  | 02010 | Uzgoj i iskorišćavanje šuma |
| 0130 | Growing of seeding material | 01121 | Gajenje povrća, cvijeća i ukrasnog bilja |
|  |  | 01122 | Gajenje voćnih sadnica |
|  |  | 01123 | Gajenje loznih sadnica |
| 1039 | Other processing of fruits and vegetables | 15330 | Prerada i konzervisanje voća i povrća, na drugom mjestu nepomenuti |

3. Manufacture and bottling of soft drinks

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 1107 | Production of refreshing beverages, mineral waters and other bottled waters | 15981 | Production of mineral water |
|  |  | 15982 | Production of refreshing beverages |
| 1032 | Production of juices from fruits and vegetables | 15320 | Production of juices from fruits and vegetables |

4. Potato Processing

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 1031 | Processing and preserving potatoes | 15310 | Processing and preserving potatoes |

5. Meat Industry

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 1011 | Processing and preserving of meat | 15110 | Manufacture, processing, cooling and freezing of animal meat |
|  |  | 15120 | Production, processing, cooling and freezing of poultry and rabbit meat |
| 1012 | Processing and preserving of poultrymeat | 15120 | Manufacture, processing, cooling & freezing of poultry and rabbit meat |
| 1013 | Manufacture of meat products | 15130 | Animal and poultry processing |

6. Breweries

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 1105 | Beer production | 15960 | Beer production |

7. Production of alcohol and alcoholic beverages

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 1101 | Distillation, purification and mixing of beverages | 15910 | Production of distilled alcoholic beverages |
|  |  | 15920 | Production of ethyl alcohol from fermented materials |
| 1103 | Production of beverages and other fruit wines | 15940 | Production of cider and wine from other fruits |
| 1104 | Production of other non-distilled fermented beverages | 15950 | Manufacture of other non-distilled fermented beverages |
| 2014 | Manufacture of other basic organic chemicals | 15920 | Production of ethyl alcohol from fermented materials |
| 1102 | Production of wine from grapes | 15930 | Production of wine from fresh grapes |

8. Manufacture of animal feed from plant products

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 1091 | Manufacture of prepared food for domestic animals | 15710 | Manufacture of ready-to-store food for animals |

9. Manufacture of gelatine and glue from fur, skin and bones

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 2052 | Manufacture of gluing agents | 24620 | Manufacture of gelatin |

10. Malt production plants

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 1106 | Malt production | 15970 | Malt production |

11. Fish processing industry

| KD2010 | Description - OPIS 2010 | KD1996 | Description - OPIS 1996 |
| --- | --- | --- | --- |
| 1020 | Processing and preserving of fish, crustaceans and molluscs | 15200 | Processing and preserving of fish and fish products |
| 0311 | Sea fishing | 05011 | Sea fishing |
| 0312 | Freshwater fishing | 05012 | Rivers and lakes fishing |
| 0321 | Marine aquaculture | 05020 | Fish breeding in ponds |
| 0322 | Freshwater aquaculture |  |  |

## Annex 5 – Questionnaires received from industries (enclosed as a separate file)

## Annex 6 - Provisions of the Decision on delineation of sensitive areas

In order to comply with the stipulations of Article 5.1 of the UWWTD all member states and this applies to all countries that intend to cooperate with the European Union and to become its members should identify sensitive areas in terms of the Directive.

The Draft version of the Act on the determination of sensitive areas includes:

- The Regulation (Rulebook on Criteria for Determining Sensitive and Vulnerable Areas for Protection of Waters From Pollution – OG MNE, 32/16), that lays down:

- In Article 2 – Definition of Terms  3) the wastewater is municipal wastewater, and wastewater from industrial sources that are listed in the Appendix of the Regulation and include the following Industrial wastewater sources:

- Milk

- Fruits and Vegetables

- The production and bottling of soft drinks

- Processing potatoes

- Meat Industry

- The production of beer

- the production of alcohol and alcoholic beverages

- Feed production plant origin

- The production of gelatine and glue from the fur, skin and bones

- Manufacture of malt

- Fish processing

- 4) tertiary treatment is the treatment of wastewater by a process that is further removed to 80% of phosphorus and / or nitrogen to 70-80%;

- In Article 3 -- the criteria for the determination of sensitive areas of water bodies, Sensitive areas of water bodies:

- Criterion 1) Areas that are eutrophic or that in the near future may become eutrophic (natural freshwater lakes, other fresh water bodies, estuaries and coastal waters) if the non-application of protection measures, collection and improved wastewater treatment prior to discharge in lakes and watercourses which flow into the lake or reservoir, bays found to have a poor water exchange and where it can result in the accumulation of nutrients, estuaries, bays and other coastal waters found to have a poor water exchange or where it can result in the accumulation of nutrients;

- Criterion 2) Areas that contain or could contain a nitrate concentration of more than 25 mg/l, or in the case of extreme weather or geographic conditions, the nitrate concentration of more than 50 mg/l for the surface fresh water intended for drinking water abstraction, if the non-application of protection measures, collecting and improved wastewater treatment prior to discharge into the body of water;

- Criterion 3) Areas where it is necessary to enhance treatment in accordance with a specific regulation.

Improved wastewater treatment includes:

- removal of phosphorus from the wastewater during the discharge into lakes and streams that flow into the lake or reservoir, the bays found to have a poor water exchange and where it can result in the accumulation of nutrients, unless it is proved that its removal will not have any influence on the level of eutrophication, in the case of discharge from large agglomerations and, if necessary, removing the nitrogen;

- removal of phosphorus and / or nitrogen in the case of discharge from the large agglomerations in estuaries, bays and other coastal waters found to have a poor water exchange or where it can result in the accumulation of nutrients, unless it is proved that their removal would not have effects on the level eutrophication.

- In Article 4 -- the criteria for the determination of vulnerable areas of land from which runoff and seepage water can lead to increased water pollution,

Vulnerable areas are areas of land from which runoff and seepage water can lead to increased water pollution, which are already polluted or threatened by nitrates pollution or water which are eutrophic or subject to eutrophication as follows:

- 1) surface water, such as used or intended to be used for abstraction of drinking water and ground water if they contain or could contain, if no safety measures against contamination, the nitrate concentration of more than 25 mg /l, or, in the case of extreme weather or geographical conditions, the nitrate concentration of more than 50 mg /l;

- 2) natural freshwater lakes, other freshwater bodies, estuaries and coastal waters which are eutrophic or which in the near future may become eutrophic, if no protective measures against pollution.

In determining the vulnerable areas the following are taken into account:

- 1) The physical and environmental properties of water and soil;

- 2) The current state of knowledge about the behaviour of nitrogen compounds in the water and the soil; and

- 3) the impact of the implemented measures for the protection of these areas and waters.

- In Article 5 -- the way of implementation of monitoring the concentration of nitrates in fresh surface water and groundwater and monitoring eutrophication of fresh surface, estuarial and coastal waters.

- The Decision for the Determination of Sensitive Areas, that stipulates the following:

- In Article 2 -- The water area of the Danube river basin, in the  whole basin, is a sensitive area (due to eutrophication identified the delta of the Danube River), in order to protect and prevent further pollution of the water area of the Danube basin,

- In Article 3 -- In the water area of the Adriatic Sea basin, sensitive areas are

  - all areas designated as eutrophic or subject to eutrophication,

  - the areas intended for the intake of drinking water, and

  - other protected areas, as follows:

- in the basin of Zeta: Zeta River and its tributaries and reservoirs: Liverovići, Krupac, Vrtac and Slano;

These areas are sensitive to eutrophication in accordance with the criterion 1 of the Regulation on the criteria for determining the sensitive and vulnerable areas to protect water from pollution. Zeta river dries out in summer, therefore it is necessary to protect the habitat of plant and animal species from municipal wastewater and wastewater from certain industrial sectors, and on it there are a number bathing areas (criterion 3). Krupac settlement is used for bathing (criterion 3), is rich in fish and is used for sport fishing. Sport fishing was also developed on the reservoirs of Slano and Liverovići.

- in the basin of the Morača River: Kapetanovo Lake and the River Morača and its tributaries;

In the area of Morača, sensitive areas are the Captain's Lake as an area sensitive to eutrophication (criterion 1 of the Regulation), which is rich in trout (criterion 3) and the Morača river with tributaries (criterion 2 of the Regulation - drinking water and criterion 3 - bathing waters). The water management strategy is planning to use Morača river for supplying high quality waters of Podgorica, Danilovgrad and Bar for the period up to 2035. In accordance with this, it is also necessary to preserve the quality of the waters of the Morača river for future use in parts of watercourses with poorer quality of water.

- the area of the Skadar lake, except Morača with tributaries;

The area of the Skadar Lake basin with tributaries other than Morača is sensitive to all three criteria of the Regulation: as a freshwater lake, which according to the Information on the state of the environment in Montenegro shows the tendency of an increase in eutrophication (criterion 1), on the edge of Skadar Lake there is the source of Bolje sestre from where the entire Montenegrin coast is supplied with water, as well as a large number of sources - Vrulja (criterion 2), which is the area of the national park with a special protection regime - Ramsar (criterion 3 - protected area), which is why it is necessary to protect the whole catchment area . In the area of this small basin there is also a part of NP Lovćen.

- the area of the Bojana basin;

In the area of the Bojana basin there is Šasko lake (criterion 1), sources that are currently used for water supply of Ulcinj. The Water Management Strategy is planning to use the river flow of Bojana for supplying high quality waters of Bar and Ulcinj until 2035 (Criterion 2), which practically covers the whole area of the small basin of Bojana. and

5) in the basins of water streams that flow directly into the Adriatic Sea, except Bojana:

- the area that includes: the settlement of Grahovo, areas designated for the abstraction of drinking water, the national park Lovćen on the territory of this small catchment area and the natural reserve of Solila,

In the area of ​​the watercourse that flows directly into the Adriatic Sea, the sensitive area includes the Grahovo settlement (criterion 1), which is used for irrigation of agricultural land and water supply of Grahovo (criterion 2), area intended for catching drinking water (criterion 2) NP Lovćen and nature reserve Solila (criterion 3).

- the Bay of Kotor,

The waters of the Bay of Kotor according to the Environmental Information in Montenegro in recent years show an increase in the degree of eutrophication (Criterion 1 - bays, eutrophication). In the bay there are also bathing areas, as well as fish and shellfish farms (criterion 3 - protected areas). and

- the coastal waters up to the border lines from which the width of territorial waters is measured.

Coastal marine waters also show an increase in eutrophication rates (criterion 1), and are also used as bathing waters (criterion 3).

- In Article 4 -- A cartographic presentation of the Sensitive areas is provided (in the Annex of the Act) in a map that is an integral part of the Decision; The map (Figure 14.1) presents

- The sensitive areas, and

- The boundaries of water streams and water basins in sensitive areas

- In Article 5 - The decision shall be reviewed after the expiry of four years from the date of its adoption or review.

This is necessary for monitoring the implementation of this decision and controlling the measures prescribed for discharging into sensitive areas

Figure 14.1 – Cartographic Presentation of Sensitive Areas

Main river basins and sub-basins in Montenegro

Related to the Decision for the Determination of Sensitive Areas,

- Article 2 -- The water area of the Danube River basin comprises the following sub-basins:

  - Drina River sub-basin

  - Ibar River sub-basin

- Article 3 – The Adriatic Sea basin comprises:

  - Bojana River sub-basin and

  - Water courses directly flowing to Adriatic Sea

The above mentioned water basins are shown in Figure 14.2 that follows

Figure 14.2 – Major River Basins

A more detailed presentation of River sub-basins in Montenegro is provided in Figure 4.3 and includes:

- Piva sub-basin

- Tara sub-basin

- Lim sub-basin

- Ibar sub-basin

- Ćehotina sub-basin

- Zeta sub-basin

- Morača sub-basin

- Skadar Lake with tributaries, excluding  Morača

- River Bojana sub-basin in MNE

- Other water courses flowing directly into the Adriatic Sea, apart from Bojana River

Figure 14.3 – Other River Sub-basins

## Annex 7 – Definition of Representative Wastewater Flow Data

Data on Water Consumption

Potable and process water inflow into the catchment area and the water produced in own waterworks of industry correlate approximately with the wastewater discharged to the sewer system. Water which is not discharged, for example from breweries or in agriculture, is to be taken into account.

Seasonal variation of the daily water consumption serves as a valid check of seasonal variations of the daily wastewater flow; seasonal influences can thus be clearly recognised. The trend can be better recognised in a time series of the annual water consumption than in a time series of the annual dry weather flow which is influenced by differing precipitation and/or infiltration water flow.

In many cases the water service area and the catchment area of the sewer system are not congruent. It is recommended, even if the water service area and the wastewater catchment area are different, to take the following points into consideration:

- Annual water supply rates, if possible including the inherent water production of businesses, for the last 5, better 10 years, in order to identify the representative trend.

- Seasonal variation of the daily water consumption including the inherent water production of industries in order to obtain information on seasonal fluctuations of the wastewater flow.

- Determination of the mean unit/specific household water consumption in lcd; the following is to be collected: the number of inhabitants in the service area (P) and the annual feeding of water into the service area preferably as the mean value of the previous two to three years, reduced by the recorded water consumption of legal entities. If the value of unit/specific household water consumption is outside the normal range of 100 to 150 lcd the reasons are to be explored.

Data on Wastewater Flows

Determination of Essential Flow Data

Normally, wastewater flows should be determined based on measurements and records made by using a standard wastewater flow measuring equipment located at the inlet of a WWTP, SPS, retention tank, or similar.

The evaluation of wastewater flow data should cover one year (with limited infiltration), or preferably three to five years (with a range of infiltration rates), as precipitation of only one year can lead to unrepresentative initial data (very dry or very wet year). The following data are to be collected or calculated:

- Days with dry weather flow. The definition of dry weather days should be made based on the existing representative rainfall recorders in the catchment area in combination with a threshold precipitation of (for example, 1 mm/d) and normally one, and in larger catchment areas, two following days. Days with melting snow and days with discharge of groundwater from larger construction sites are not to be considered as dry weather days

- Daily wastewater flow Q d (m3/day)

- Daily dry weather wastewater flow  Q d DW (m3/day)

- For the mathematical derivation of the daily dry weather flow it is recommended, that the polygon of the sliding 21-day minima of the daily flows be formed (interval 10 days before and 10 days after the day under consideration). All up to 20 % over this polygon available daily flows then apply as dry weather flow. The value of 20 % corresponds approximately to the fluctuation bandwidth of the daily dry weather flow with constant infiltration.

- Daily maximum and minimum flows during dry weather as peak values Q DW MAX and Q DW MIN in (l/s) or as hourly values Q DW h max and Q DW h min (l/s or m3/h), if flow data for short time intervals (5 minutes or hours) are available. These values can be influenced by upstream pumping stations.

- Daily maximum/minimum dry weather flows as 2-hourly mean Q DW,2h,max / Q DW,2h,min (m3/h) (if the flow data are available recorded on data loggers or similar).

- Daily maximum flow from areas with separate sewer system as hourly values Q SEP, h, max or as 2-hourly mean Q SEP,2h,max in (m3/h) (if the flow data are available recorded on data loggers or similar).

The following graphs should be consequently prepared:

- Time series of daily wastewater flow for all days (Q d) and separately for dry weather days (Q DW, d)

- Time series of daily maximum, mean and minimum dry weather flows possibly separate for 5-minute intervals, hourly- and 2-hourly mean

Unusual values in the hydrographs of the dry weather flow may unrecorded rainy weather days, emptying of stormwater reservoirs or deficient measurements. If the associated maxima and minima indicate similar deviations from other dry weather days, these measurements should be ignored.

Determination of the Annual Mean Dry Weather Flow

The annual mean dry weather flow Q DW AVG (l/s) which represents the mean of all daily dry weather flows.

Determination of the Wastewater Flow

For the determination of the annual mean of wastewater flows Q WW AVG (l/s) there could be two possible approaches:

- The first approach assumes that infiltration rates are defined, as annual average Q INF AVG (l/s), or for a certain period: Q WW AVG (l/s)= Q DW AVG (l/s)- Q INF AVG (l/s) If infiltration significantly varies seasonally, and if it has been established wastewater flow does not have considerable seasonal variations, it is appropriate to determine the wastewater flow for a period with constant dry weather flow, e.g. in summer, through more frequent measurements of infiltration: Q WW AVG (l/s)= Q DW AVG (period) (l/s)- Q INF AVG (period) (l/s)

- The second approach assumes that the annual average wastewater flow Q WW AVG is determined from water consumption data. The mean annual water consumption in the catchment area including the water production of industry and the water used by commerce and industry but not discharged are to be collected. If the water consumption indicates seasonal variations appropriate period means Q WW AVG (period) are to be determined. If this is not possible, the mean annual wastewater flow can be calculated as a sum of domestic flow Q DOM AVG and of industrial wastewater Q IND AVG by using the unit rates derived from the consumption records. Q WW AVG = Q DOM AVG+ Q IND AVG=P x Q dom (lcd)/86,400 + A ind (ha) x q ind(l/s/ha)

In addition, wastewater flow records from annual reports of wastewater treatment plants can be included for verification/comparison purposes.

Infiltration

Infiltration is normally subject to seasonal variations. Proper determination of the infiltration rate is important for adequate operation of wastewater treatment facilities and loading of receiving water.

Infiltration rate can be determined by means of night flow measurements or as a difference of dry weather flow and wastewater flow.

- Annual mean on the basis of night measurements: night measurements are, as a rule, relevant in catchment areas with negligible water consumption at the time of measurement. Favourable times for the measurements are early morning hours of nights from Saturday to Monday. The measurements are to be carried out regularly at least twice per month, in order to obtain representative for the annual mean of infiltration Q INF AVG (l/s)

- Maximum monthly mean on the basis of night measurements: if a distinct seasonal variation of infiltration is recorded, the maximum monthly mean infiltration rate is to be determined Q INF MAX MONTH (l/s). For this analysis night measurements for at least six days a month during three years are necessary.

- Maximum monthly mean as a difference of the dry weather flow and of the wastewater flow: here the variation of the dry weather flow for a multiple year series is determined, and then the maximum monthly mean of the dry weather flow Q DW,MAX MONTH is determined. Then, the annual or period mean of wastewater flow is deducted from this value.

Daily Peaks and Nightly Minima

The maximum or minimum wastewater flow Q WW, max and Q WW,min or Q WW,h,max and Q WW,h,min can be determined as follows

- Wastewater flow data are available on data carriers for short time intervals and Q DW, max and Q DW,min or Q DW,h,max and Q DW,h,min can be extracted

- The flowrates are not influenced by operation of upstream pumping stations.

- A period with approximately constant infiltration is detectable, this must be documented through sufficient number of measured values for the determination of Q INF (period) (l/s) .

- The period can cover one or more months with as few as possible rainy weather days. In the first instance, for each dry weather day, the differences Q DW, h, max - Q INF (period), Q WW, h, min - Q INF (period) and Q DW, d - Q INF (period) are formed at hourly basis. Then for each dry weather day the ratio values are calculated.

Finally the mean maximum and minimum hourly wastewater flow is calculated by using the means of the ratio values and the period mean of the wastewater flow Q WW d pM :

Maximum and minimum flow during dry weather as 2-hourly mean

If there are no significant seasonal variations of daily dry weather wastewater, the annual mean of the maximum and minimum 2-hourly mean Q DW, 2h, max, aM and Q DW. 2h, min, aM (m3/h) is calculated based on flows from all dry weather days.

If daily dry weather flows show substantial seasonal variations then, for the month with the highest mean dry weather flow, the mean of the maximum 2-hourly mean of the dry weather days Q DW,2h,max,mM is established and for the month with the lowest mean dry weather flow the mean of the minimum 2-hourly mean of the dry weather days is calculated.

If the period with low daily dry weather flow is of longer duration, for example, always continues for the complete summer, the maximum 2-hourly mean of this period Q DW, 2h, max, pM in m3/h can be significant for a process layout.

Maximum flow for fully separate systems

For hydraulic calculations, i. a. in the area of the wastewater treatment plant, with fully separate sewerage systems the highest measured value of the flow Q Sep, h, max of a period of at least one, (or preferably three or more years) is assumed. Limited additional margin could be considered.

Combined Wastewater Flow to the Wastewater Treatment Plant

In order to achieve optimisation of the hydraulic loading of the wastewater treatment plant and the treatment of stormwater, the following approach has been. The mean annual wastewater flow Q ww, am in and a factor f WW,Q Comb are assumed.

For small residential areas the ratio of the 85 % value to the annual mean Q ww,d,85/Q ww.aM is app. 1.5 and the divisor for the peak XQmax = 8. From this results for the previous peak flow in accordance with ATV-A 131E (1991) Q WW = Q ww,max,85 = (1.5 x 24/8) x Q WW,aM = 4.5 Q WW,aM and 2 Q ww,max,85 = 9 Q ww,aM. For larger towns the ratio Q WW,d,85/Q WW,aM is app. 1.15 and XQmax=16 can be applied. Therefore Q ww,max,85 = 3.5 Q ww,aM. Following this approach in small towns fairly high share and in larger cities small portion of stormwater would be conveyed to the WWTP.

In order to ensure adequate pollution control, comparable treatment for large and small residential areas is to be sought. In order also to ensure that, with the start of combined wastewater flow, the ammonia concentration in the plant effluent does not increase too sharply, it would be preferable to limit the combined wastewater flow QCW uniformly to

Instead of using a fixed factor, like 6, in the equation above a bandwidth of the factor for wastewater flow f WW,QCW should be used for calculation. This approach enables the optimisation of the necessary storage volume for stormwater in the sewerage system and the hydraulic loading of the wastewater treatment plant. The factor should be selected between 6 and 9 for small catchment areas and between 3 and 6 for wastewater treatment plants of large cities. The combined wastewater flow QCW, using the aforesaid factor selected from is defined as follows:

The annual mean infiltration water flow Q Inf, aM is to be determined as described earlier. The advantage of this approach is that the mean wastewater flow Q ww, aM can present the same initial basis both for the layout of combined sewer overflows and also for the combined wastewater flow to the wastewater treatment plant.

Figure 14.4 - Factor f WW, QComb - optimum combined WW flow to WWTP, from the mean annual WW flow

Flow Data on the Basis of Empirical Values

The annual mean wastewater flow Q WW, aM can be estimated on the basis of the estimated domestic wastewater rates wWWd (in lcd), as well as the area-specific commercial and/or industrial wastewater discharge rate qlnd in l/s/ha) as follows:

If no water consumption data is available the inhabitant specific wastewater yield can be assumed to be w WWd = 120 to 150 lcd. The area-specific industrial wastewater discharge rate q lnd (l/s/ha) is to be estimated for areas with companies producing limited amount of wastewater (commerce, offices, wood processing, etc.) on the basis of a number of employees and, if necessary, visitors. Double-counting of employees resident in the same catchment area should be avoided. If water-intensive firms, for example food processing, are based in the catchment area, surveys of the water consumption and/or the wastewater flow are to be undertaken.

The annual mean of dry weather flow is presented as follows: Q DW, aM = Q WW, aM + Q Inf, aM [l/s]

If no measured data are available the daily peak of the wastewater flow can be determined with the aid of divisor X Qmax in accordance with the following figure. The lower line can be related approximately to

Q ww, max or Q ww, h, max and the upper line to Q ww, 2h, max. The daily peak flow with dry weather thus results as follows:

Figure 14.5 - Factor f WW, QComb for definition of optimum combined wastewater flow to WWTP

## Annex 8 – Debriefing Meetings

On December 8, 2017 two debriefing meetings were held on the premises of the MoSDT with the participation of representatives of the following key project stakeholders:

- Municipalities

- MoSDT, Ministry of Finance, and Ministry of Agriculture and Rural Development

The meeting objectives were threefold and aimed to allow the meeting participants to:

- Get comprehensive understanding of

  - Updated Master Plan for Wastewater Management in Montenegro

  - Draft DSIP for the UWWTD

- Ensure that the Government planning requirements addressed in the investments measures are agreed;

- Discuss and agree about the phased implementation of the proposed wastewater measures

Following the aforesaid debriefing meetings, comments from the Municipalities and municipal water utility companies were received at the end of December 2017. The Consultants prepared responses for all comments received and submitted them to the Contracting Authority during the third week of January, together with updated versions of the Master Plan, and the DSIP.

## Annex 9 – Table of Concordance with the UWWTD

Table 14.6 – Table of Concordance of the national legislation with the UWWTD

| Article | EU Obligation Directive 91/271/EEC CELEX 31991L0271 | Existing national law (relevant law or regulation, article) | Fully in accord? (yes/no) | If not, how will transposition occur? (L, GO, MO) | If draft, give no. of article transposing EU obligation | Status of transposition (5-0 according to lawmaking stage) | Planned year for full transposing |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Art. 1 | [Objective] | Not to be scored |  |  |  |  |  |
| Art. 2 | Definitions: 1. urban waste water (UWW) |  | Yes |  |  | 5 |  |
|  | 2. domestic waste water |  | Yes |  |  | 5 |  |
|  | 3. industrial waste water |  | Yes |  |  | 5 |  |
|  | 4. agglomeration |  | Yes |  |  | 5 |  |
|  | 5. collecting system |  | Yes |  |  | 5 |  |
|  | 6. 1 PE (population equivalent) |  | Yes |  |  | 5 |  |
|  | 7. primary treatment |  | Yes |  |  | 5 |  |
|  | 8. secondary treatment |  | Yes |  |  | 5 |  |
|  | 9. appropriate treatment |  | Yes |  |  | 5 |  |
|  | 10. sludge |  | Yes |  |  | 5 |  |
|  | 11. eutrophication |  | Yes |  |  | 5 |  |
|  | 12. estuary |  | Yes |  |  | 5 |  |
|  | 13. coastal water |  | Yes |  |  | 5 |  |
| Art. 3.1 | Collecting systems for UWW are required for: - Agglomerations >15,000 PE |  | Yes |  |  | 5 |  |
| Art. 3.1 | - Agglomerations between 2000 & 15,000 PE |  | Yes |  |  | 5 |  |
| Art. 3.1 | - Agglomerations >10,000 PE discharging UWW into receiving waters defined as “sensitive areas” under Art. 5 [Where establishment of a collecting system brings no environmental benefit or involves excessive cost, individual or other appropriate systems achieving same level of environmental protection shall be used. ] |  | Yes |  |  | 5 |  |
| Art. 3.2 | Collecting systems shall satisfy the requirements of Annex I.A for design construction & maintenance. |  | Yes |  |  | 5 |  |
| Art. 4.1 | UWW entering collecting systems must be subject to secondary or equivalent treatment before discharge as follows: - all discharges from agglomerations >15,000 PE |  | Yes |  |  | 5 |  |
| Art. 4.1 | - all discharges from agglomerations between. 10,000 & 15,000 PE |  | Yes |  |  | 5 |  |
| Art. 4.1 | - for discharges to fresh waters & estuaries from agglomerations between 2000 & 10,000 PE. |  | Yes |  |  | 5 |  |
| Art. 4.2 | [UWW discharges to waters in regions > 1500 m above sea level may be subjected to treatment less stringent than required by Art. 4.1, if detailed studies indicate such discharges do not adversely affect the environment.] | Not to be scored- discretionary provision |  |  |  |  |  |
| Art. 4.3 | Discharges from UWW treatment plants described in Art. 4.1 & 4.2 must meet requirements of Annex I.B. |  | Yes |  |  | 5 |  |
| Art. 4.4 | PE load is calculated on basis of maximum average weekly load entering treatment plant during year, excluding unusual situations (heavy rain). |  | Yes |  |  | 5 |  |
| Art. 5.1 | MS must identify sensitive areas in accordance with Annex II criteria. |  | Yes |  |  | 5 |  |
| Art. 5.2 | UWW entering collecting systems from agglomerations >10,000 PE must be subject to more stringent treatment than described in Art. 4 in case of discharges to sensitive areas. |  | yes |  |  | 5 |  |
| Art. 5.3 | Discharges from UWW treatment plants described in Art. 5.2 must meet relevant requirements of Annex I.B. |  | Yes |  |  | 5 |  |
| Art. 5.4 | Alternatively, requirements for individual plants set out in Art. 5.2 & 5.3 need not apply in sensitive areas if the minimum percentage of reduction of the overall load entering all UWW treatment plants in that area is at least 75% for total phosphorus & at least 75% for total nitrogen. |  | Yes |  |  | 5 |  |
| Art. 5.5 | Art. 5.2, 5.3 & 5.4 apply to discharges from UWW treatment plants which are situated in the relevant catchment areas of sensitive areas & which contribute to the pollution of these areas. If the catchment area is situated wholly or partly in another MS, Art. 9 applies. |  | Yes |  |  | 5 |  |
| Art. 5.6 | Identification of sensitive areas must be reviewed at intervals of no more than four years. |  | Yes |  |  | 5 |  |
| Art. 5.7 | Areas identified as sensitive (Art. 5.6) must comply with the requirements within seven years after identification. |  | Yes |  |  | 5 |  |
| Art. 5.8 | Sensitive areas do not have to be identified if the MS implements the treatment established under Art. 5.2, 5.3 & 5.4 over all its territory. |  | Yes |  |  | 5 |  |
| Art. 6.1 | [MS may identify less sensitive areas in accordance with Annex II criteria.] | Not to be scored- discretionary provision |  |  |  |  |  |
| Art. 6.2 | [UWW discharges into less sensitive areas from: agglomerations btw 10,000 & 150,000 PE to coastal waters; & agglomerations btw 2000 & 10,000 PE to estuaries may be subjected to treatment less stringent than Art. 4 providing that: - such discharges receive at least primary treatment (Art. 2.7) in conformity with the control procedures laid down in Annex I.D. - comprehensive studies indicate that such discharges will not adversely affect the environment. MS must provide the Commission with relevant information concerning the studies.] | Not to be scored- discretionary provision |  |  |  |  |  |
| Art. 6.4 | [MS must review the identification of less sensitive areas at intervals of not more than four years.] | Not to be scored- discretionary provision |  |  |  |  |  |
| Art. 6.5 | [Areas no longer identified as less sensitive must meet the requirements of Art. 4 & 5 as appropriate within seven years.] | Not to be scored- discretionary provision |  |  |  |  |  |
| Art. 7 | UWW entering collecting systems shall before discharge be subject to appropriate treatment as defined in Art. 2.9 in the following cases: - for discharges to fresh-water & estuaries from agglomerations < 2000 PE, |  | Yes | L |  | 5 |  |
| Art. 7 | - for discharges to coastal waters from agglomerations < 10,000 PE |  | Yes |  |  | 5 |  |
| Art. 8.1 | [MS may in exceptional cases due to technical problems & for geographically defined population groups submit a request to the Commission for extension of time periods for complying with Art. 4.] | Not to be scored- discretionary provision |  |  |  |  |  |
| Art. 8.2 | The request must set out technical difficulties experienced & propose an action plan with appropriate timetable for implementation. The timetable is to be submitted as part of the Art. 17 implementation programme. | Not to be scored |  |  |  |  |  |
| Art. 8.5 | [In exceptional circumstances, if more advanced treatment is shown not to provide any environmental benefits, discharges into less sensitive areas from agglomerations > 150,000 PE may be subject to same treatment as discharges from the agglomerations between 10,000 & 150,000 PE described in Art. 6. In such cases, MS must submit documentation to the Commission beforehand.] | Not to be scored- discretionary provision |  |  |  |  |  |
| Art. 9 | [If a MS is affected by discharges from another MS, the other MS & the Commission may be notified of the relevant facts.] The MS together with the Commission must identify the discharges & the measures to be taken at source in order to comply with this Dir. | Not applicable until accession |  |  |  |  |  |
| Art. 10 | MS must ensure that UWW treatment plants built to comply with Articles 4-7 are designed, constructed, operated & maintained to ensure sufficient performance under normal conditions. Seasonal variations must be taken into account in design of plants. |  | yes |  |  | 5 |  |
| Art. 11.1 | Discharge of industrial WW into collecting systems & UWW treatment systems is subject to prior regulations &/or permits by the competent authority. | New Law September 2017 | Partial, needs further harmonisation |  |  | 3 |  |
| Art. 11.2 & 11.3 | Such regulations &/or permits must meet requirements of Annex I.C. They shall be reviewed & if necessary adapted regularly. |  | yes |  |  | 5 |  |
| Art. 12.1 | Treated WW must be reused whenever appropriate. Disposal routes shall minimize adverse effects on environment. |  | partially |  |  | 3 |  |
| Art. 12.2 | Competent authority must ensure that disposal of WW from UWW treatment plants is subject to prior regulations and/or permits. |  | partially |  |  | 3 |  |
| Art. 12.3 | Prior regulations and/or permits for discharges from UWW treatment plants within agglomerations of 2000 to 10,000 PE for discharges to fresh waters & estuaries, & agglomerations 10,000 PE for all discharges shall contain conditions to satisfy relevant requirements of Annex I.B. |  | partially |  |  | 3 |  |
| Art. 12.4 | Regulations and/or permits must be regularly reviewed and if necessary adapted. |  | partially |  |  | 3 |  |
| Art. 13.1 | Biodegradable industrial WW representing 4000 PE from plants in industrial sectors listed in Annex III discharged directly to receiving waters must meet requirements laid down in prior regulation and/or specific permits. |  | yes |  |  | 5 |  |
| Art. 13.2 | Competent authority must set requirements for discharge of WW appropriate to the nature of each industry concerned. |  | No |  |  | 0 |  |
| Art. 14.1 | Sludge from WW treatment must be reused whenever appropriate. Disposal routes shall minimize adverse effects on environment. |  | no |  |  | 0 |  |
| Art. 14.2 | Competent authority shall ensure that disposal of sludge from UWW treatment plants is subject to general rules or authorization or registration. |  | no |  |  | 0 |  |
| Art. 14.3 | MS must ensure phase-out of disposal of sludge to surface waters by dumping from ships, discharge from pipelines, etc. |  | no |  |  | 0 |  |
| Art. 14.4 | Until disposal of sewage sludge to surface waters is eliminated, the total amount of toxic, persistent or bioaccumulable materials in such sludge must be licensed for disposal & progressively reduced. |  | no |  |  | 0 |  |
| Art. 15.1 | CAs must monitor: - discharges from UWW treatment plants to verify compliance with Annex I.B requirements in accordance with control procedures laid down in Annex I.D. - amount & composition of sludge disposed to surface water. |  | no | GO, planned bylaw on Forms of content and manner of reporting and monitoring |  | 0 |  |
| Art. 15.2 | CAs must monitor waters subject to discharges from UWW treatment plants & direct discharges from Art. 13 industries in cases where receiving environment can be significantly affected. |  | yes | GO, planned bylaw on Forms of content and manner of reporting and monitoring |  | 4 |  |
| Art. 15.3 | For discharges subject to Art. 6 & for disposal of sludge to surface waters, MS must monitor & carry out studies in order to verify that the discharge does not adversely affect the environment. |  | yes | GO, planned bylaw on Forms of content and manner of reporting and monitoring |  | 4 |  |
| Art. 15.4 | Information collected in accordance with Art. 15.1 & 15.2 must be retained by the MS [& made available to the Commission within six months or on request.] |  | yes | GO, planned bylaw on Forms of content and manner of reporting and monitoring |  | 4 |  |
| Art. 16 | The CAs must publish situation reports every two years on the disposal of UWW & sludge within their area. The reports must be forwarded to the Commission. |  | no | GO, planned bylaw on Forms of content and manner of reporting and monitoring |  | 4 |  |
| Art. 17.1 | MS must establish an implementation programme for this Directive. |  | yes |  |  | 5 |  |
| Art. 17.2 | MS must inform the Commission about the implementation programme. | Not applicable until accession |  |  |  |  |  |
| Art. 17.3 Art. 17.4 | [MS must provide Commission with update of information on the implementation programme by 30 June every two years. Methods & formats will be adopted for reporting on the implementation programme (Note: Commission Decision 93/481)] | Not applicable until accession |  |  |  |  |  |
| Art. 19.1 | MS shall bring into force the laws, regulations & administration procedures to comply with the Dir. & notify the Commission. | Not applicable until accession |  |  |  |  |  |
| Art. 19.2 | Measures adopted by MS shall contain or be accompanied by a reference to the Directive. | Not applicable until accession |  |  |  |  |  |
| Art. 19.3 | MS must communicate the main national provisions adopted in this field to the Commission. | Not applicable until accession |  |  |  |  |  |
| Annex I | Requirements for urban waste water for: A. Collecting system |  | Yes | GO |  | 5 |  |
|  | B. Discharge from UWW treatment plants to receiving waters |  | No | GO |  | 0 |  |
|  | C. Industrial waste water |  | No | GO |  | 0 |  |
|  | D. Reference methods for monitoring & evaluation of results Table 1: Requirements for discharges from UWW treatment plants subject to Art. 4 & 5. Table 2: Requirements for discharges from UWW treatment plants to sensitive areas subject to euthrophication as identified in Annex II.A (a). Table 3: Indication for maximum permitted number of samples which fail to conform. |  | Yes | GO |  | 5 |  |
| Annex II | Criteria for identification of (a) sensitive & (b) less sensitive areas. |  | Yes | MO |  | 5 |  |
| Annex III | Industrial sectors subject to Art. 13. |  | Yes | L |  | 5 |  |

## Annex 10 – Financial Cost Benefit Analysis for the Compliance Measures – separate file

## Annex 11 - Income Statements and Balance Sheets for Utility Companies in the Project Area – separate file

## Annex 12 – Current Water and Wastewater Tariffs and Affordability – separate file

## Annex 13 – Financial Analysis and Borrowing Capacity of the Municipalities – separate file

## Annex 14 - Identification of Potential Financing Sources – separate file

## Annex 15 - Prioritisation and Ranking of Investment Measures for Wastewater Management in Montenegro – separate file

## Annex 16 - Risk Management of Investment Measures for Wastewater Management in Montenegro – separate file

## Annex 17 – General Layout Map – Service Zones, separate file

## Annex 18 – General Layout Map – Service Coverage, separate file

## Annex 19 – General Layout Map – River Basins, separate file

## Annex 20 – General Layout Map – Major WWTP-s, separate file

## Annex 21 – Detail Layouts of Existing and Planned Wastewater Infrastructure by Agglomeration, separate files

Table on Comments on Report

| No | Section in text | Comment | Accepted |  | Comments |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Yes | No |  |

One of agglomerations in this class size (Ulcinj) is considered as not discharging treated wastewater into sensitive area, therefore no more stringent treatment is required. It is estimated that agglomeration Bar-2 could also fall into the same category, subject to further detail analysis.

It is estimated that agglomerations Kotor-1 and Tivat-1 could be justifiably categorised in those agglomeration not requiring more stringent treatment, subject to further detail analysis.

IMF. (2017). World Economic Outlook 2017 – Gaining Momentum?. https://www.imf.org/external/pubs/ft/weo/2017/update/01/pdf/text.pdf

The strategic and programming documents at the national level must comply with the corresponding DSIPs but also follow the thematic objectives and investment priorities at the EU level, by means of which the financial assistance for their implementation is ensured.

Art. 6.1 is optional. If a country makes use of this option, requirements in Art. 6.2, 6.4 and 6.5 become mandatory.