ADDENDUM No: 1

to the Bidding documents

Procurement related to:

Vocational Equipment for Secondary Schools in Montenegro

ICB No: 24-011/25-12009/1,

Issued on 3 April 2026

As a result of the clarification process the Contracting Authority makes the following modifications to the Tender Dossier:

MODIFICATION NO.1

With the reference to the Tender Dossier, Part 2, Section VII Technical Specifications, the original text:

“All panels, keyboards and labels will be in English and in Montenegrin.”

has been replaced by the following:

“All panels, keyboards and labels will be in English and/or in Montenegrin”.

MODIFICATION NO.2

With the reference to the Tender Dossier, Section VII - Technical Specifications, the original text:

“Upon delivery of the goods, technical documentation for equipment (such as instruction manual for the use, maintenance, calibration, booklets with experiments, etc.), in Montenegrin and English shall be provided for all delivered items and software”.

has been replaced by the following:

“Upon delivery of the goods, technical documentation for equipment (such as instruction manual for the use, maintenance, calibration, booklets with experiments, etc.), in Montenegrin/Serbian/Croatian and English shall be provided for all delivered items and software”.

MODIFICATION NO.3

With the reference to the Tender Dossier, Section II - Bid Data Sheet (BDS), the original text:

| ITB 22.1 | For Bid submission purposes only, the Purchaser’s address is: Ministry of Education, Science and Innovation Attention: Mr. Luka Mijanović Address: Vaka Djurovića b.b. Floor/ Room number: Lower ground floor, Office 11. City: Podgorica Postal Code: 81000 Country: Montenegro The deadline for Bid submission is: Date: 27th April, 2026 Time: 10.00h local time Bidders shall not have the option of submitting their Bids electronically. |
| --- | --- |

has been replaced by the following:

| ITB 22.1 | For Bid submission purposes only, the Purchaser’s address is: Ministry of Education, Science and Innovation Attention: Mr. Luka Mijanović Address: Vaka Djurovića b.b. Floor/ Room number: Lower ground floor, Office 11. City: Podgorica Postal Code: 81000 Country: Montenegro The deadline for Bid submission is: Date: 15th May, 2026 Time: 10.00h local time Bidders shall not have the option of submitting their Bids electronically. |
| --- | --- |

MODIFICATION NO.4

With the reference to the Tender Dossier, Section II - Bid Data Sheet (BDS), the original text:

| ITB 25.1 | The Bid opening shall take place at: Ministry of Education, Science and Innovation Address: Vaka Djurovića b.b., office 26, second floor (Grand Conference Hall/Velika konferencijska sala) City: Podgorica Postal Code: 81000 Country: Montenegro Date: 27th April, 2026 Time: 10.30h local time |
| --- | --- |

has been replaced by the following:

| ITB 25.1 | The Bid opening shall take place at: Ministry of Education, Science and Innovation Address: Vaka Djurovića b.b., office 26, second floor (Grand Conference Hall/Velika konferencijska sala) City: Podgorica Postal Code: 81000 Country: Montenegro Date: 15th May, 2026 Time: 10.30h local time |
| --- | --- |

MODIFICATION NO.5

With the reference to the Tender Dossier, Section III - Evaluation and Qualification Criteria, ii) Financial Performance

ii) 	Financial Performance - Lot 1, 2, 3, 4 and 5

-Financial Capability:

-The Consultant shall demonstrate that it has access to, or has available, lines of credit (statement issued by the Bank about liquidity of the account) sufficient to meet the cash flow requirements estimated as at least 25% of the bidder’s bid price for the subject contract/lot net of the Bidder´s other commitments.

In case that Bidder is Joint Venture all members combined should fulfil requirement related to liquid assets.

-The Bidder shall submit the audited balance sheets or, if not required by the laws of the Bidder’s country, other financial statements acceptable to the Purchaser, for the last three (3) financially closed years (i.e. 2025, 2024 and 2023). These statements must demonstrate a positive profit in at least two out of the above mentioned three financial years. One of those two years must be the last closed financial year. If the financial year 2025 has not been closed, the financial years 2024, 2023 and 2022 will be taken into consideration.

-Average Annual Turnover

The Bidder will prove to have minimum average annual turnover of:

Lot 1 – ICT, peripherals and simulators: EUR 2,220,000

Lot 2 – Art equipment: EUR 240,000

Lot 3 – Machines and tools: EUR 855,000

Lot 4 – Medical, lab and dentistry equipment: EUR 1,335,000

Lot 5 – Marine simulators: EUR 1,080,000

(calculated as the total revenue for the last three closed financial years (i.e. 2023, 2024, 2025) divided by three. If the financial year 2025 has not been closed, the minimum average annual turnover will be calculated for the years 2024, 2023 and 2022.

(In case that Bidder is Joint Venture all members of the Joint Venture must submit balance sheets/audited financial statements certified by a registered accountant. Leader of Joint Venture must meet minimum 50%, and all members together must meet minimum 100% of the above requirement related to average annual turnover).

has been replaced by the following:

ii) 	Financial Performance - Lot 1, 2, 3, 4 and 5

-Financial Capability:

-The Consultant shall demonstrate that it has access to, or has available, lines of credit (statement issued by the Bank about liquidity of the account) sufficient to meet the cash flow requirements estimated as at least 25% of the bidder’s bid price for the subject contract/lot net of the Bidder´s other commitments.

In case that Bidder is Joint Venture all members combined should fulfil requirement related to liquid assets.

-The Bidder shall submit the audited balance sheets or, if not required by the laws of the Bidder’s country, other financial statements acceptable to the Purchaser, for the last three (3) financially closed years (i.e. 2025, 2024 and 2023). These statements must demonstrate a positive profit in at least two out of the above mentioned three financial years. One of those two years must be the last closed financial year. If the financial year 2025 has not been closed, the financial years 2024, 2023 and 2022 will be taken into consideration.

-Average Annual Turnover

The Bidder will prove to have minimum average annual turnover of:

Lot 1 – ICT, peripherals and simulators: EUR 2,220,000

Lot 2 – Art equipment: EUR 240,000

Lot 3 – Machines and tools: EUR 855,000

Lot 4 – Medical, lab and dentistry equipment: EUR 1,335,000

Lot 5 – Marine simulators: EUR 1,080,000

(calculated as the total revenue for the last three closed financial years (i.e. 2023, 2024, 2025) divided by three. If the financial year 2025 has not been closed, the minimum average annual turnover will be calculated for the years 2024, 2023 and 2022.

(In case that Bidder is Joint Venture all members of the Joint Venture must submit balance sheets/audited financial statements certified by a registered accountant. Leader of Joint Venture must meet minimum 50%, and all members together must meet minimum 100% of the above requirement related to average annual turnover).

For bidders submitting offers for more than one lot, the financial capacity requirements (including cash flow and average annual turnover) shall be assessed on a cumulative basis, corresponding to the total value of the lots for which the bidder applies.

MODIFICATION NO.6

With the reference to the Tender Dossier, Section VII Technical Specifications and Delivery Schedule table, Lot 2, Item 2.11 - Relief Ink, the requested quantity:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 2.11 | Relief ink Traditional oil-based relief ink Printing of relief plate including wood, lino and vinyl Black: 500gr can – 20 pieces White: 500gr can – 20 pieces Opaque white: 500gr can – 20 pieces Yellow: 500gr can – 10 pieces Worm yellow: 500gr can – 10 pieces Marine blue: 500gr can – 5 pieces Cobalt blue: 500gr can – 5 pieces Red earth: 500gr can – 5 pieces Burnt sienna: 500gr can – 5 pieces Green earth: 75 ml tube – 50 pieces Light green: 500gr can – 5 pieces Deep red: 500gr can – 5 pieces Scarlet red: 75 ml tube – 50 pieces | 200 |  |  |  |

has been replaced by the following:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 2.11 | Relief ink Traditional oil-based relief ink Printing of relief plate including wood, lino and vinyl Black: 500gr can – 20 pieces White: 500gr can – 20 pieces Opaque white: 500gr can – 20 pieces Yellow: 500gr can – 10 pieces Worm yellow: 500gr can – 10 pieces Marine blue: 500gr can – 5 pieces Cobalt blue: 500gr can – 5 pieces Red earth: 500gr can – 5 pieces Burnt sienna: 500gr can – 5 pieces Green earth: 75 ml tube – 50 pieces Light green: 500gr can – 5 pieces Deep red: 500gr can – 5 pieces Scarlet red: 75 ml tube – 50 pieces | 1 |  |  |  |

and

| Lot 2 – Art and didactic equipment |  |  |
| --- | --- | --- |
| No. | Item | Art School Cetinje |
| 2.11 | Relief ink | 200 |

has been replaced by the following:

| Lot 2 – Art and didactic equipment |  |  |
| --- | --- | --- |
| No. | Item | Art School Cetinje |
| 2.11 | Relief ink | 1 |

MODIFICATION NO. 7

With the reference to the Tender Dossier, Section VII Technical Specifications and Delivery Schedule table, Lot 2, Item 2.16 - Paperboard for printmaking, the requested quantity:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 2.16 | Paperboard for printmaking Paperboard suitable for art printing techniques engraving, lithography, silk screening Format: 700x1000 0m Weight: 220 gsm White colour – 500 pcs Ivory colour – 500 pcs | 1000 |  |  |  |

has been replaced by the following:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 2.16 | Paperboard for printmaking Paperboard suitable for art printing techniques engraving, lithography, silk screening Format: 700x1000 0m Weight: 220 gsm White colour – 500 pcs Ivory colour – 500 pcs | 1 |  |  |  |

and

| Lot 2 – Art and didactic equipment |  |  |
| --- | --- | --- |
| No. | Item | Art School Cetinje |
| 2.16 | Paperboard for printmaking | 1000 |

has been replaced by the following:

| Lot 2 – Art and didactic equipment |  |  |
| --- | --- | --- |
| No. | Item | Art School Cetinje |
| 2.16 | Paperboard for printmaking | 1 |

MODIFICATION NO. 8

With the reference to the Tender Dossier, Section VII Technical Specifications, Lot 4, Item 4.3 - Airway practice simulator, the original text:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.3 | Airway practice simulator Bag-valve mask ventilation training Realistic head Anatomically correct nasal passage Silicone simulated skin Base stand 3 lung bags Case Features Anatomically correct internal features Inflatable tongue bulb Replaceable lung and stomach Medical Training Procedure - Bag-valve mask ventilation - Full range of supraglottic device insertion - Laryngoscopy - Tracheal and nasotracheal intubation - Awake fibre optic examination Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 4 |  |  |  |

has been replaced by the following:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.3 | Airway practice simulator Bag-valve mask ventilation training Realistic head Anatomically correct nasal passage Silicone simulated skin Base stand 2 lung bags, 1 stomach bag Case Features Anatomically correct internal features Inflatable tongue bulb Replaceable lung and stomach Medical Training Procedure - Bag-valve mask ventilation - Full range of supraglottic device insertion - Laryngoscopy - Tracheal and nasotracheal intubation - Fibre optic examination Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 4 |  |  |  |

MODIFICATION NO. 9

With the reference to the Tender Dossier, Section VII Technical Specifications, Lot 4, Item 4.43 - Cervical orthosis, the original text:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.43 | Cervical orthosis Two pieces with Velcro closure Padded foam inner lining Opening for tracheotomy | 10 |  |  |  |

has been replaced by the following:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.43 | Cervical orthosis One piece with Velcro closure Padded foam inner lining Opening for tracheotomy | 10 |  |  |  |

MODIFICATION NO. 10

With the reference to the Tender Dossier, Section VII Technical Specifications, Lot 4, Item 4.48 - Basket stretcher, the original text:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.48 | Basket stretcher Dimension approx.: 220 x 60 x 200 cm Maximum Load: 200kg High density polyethylene shell supported by metal frame Moulded runners Restraining straps Lifting sling included Orange colour Conforms with both CE guidelines | 1 |  |  |  |

has been replaced by the following:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.48 | Basket stretcher Dimension approx.: 220 x 60 x 20 cm Maximum Load: 200kg High density polyethylene shell supported by metal frame Moulded runners or similar base reinforcement Restraining straps Lifting sling included Orange colour Conforms with both CE guidelines | 1 |  |  |  |

MODIFICATION NO. 11

With the reference to the Tender Dossier, Section VII Technical Specifications, Lot 4, Item 4.63 - Tripod, the original text:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.63 | Tripod Stainless steel Ring Ø 10 mm, rod Ø 6 mm | 9 |  |  |  |

has been replaced by the following:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.63 | Tripod Stainless steel Ring Ø 100 mm, rod Ø 6 mm | 9 |  |  |  |

MODIFICATION NO. 12

With the reference to the Tender Dossier, Section VII Technical Specifications, Lot 4, Item 4.91 - Dental Chair, the original text:

| 1. Item number | 2. Specifications required |  | 3. Quantity (pcs) |  | 3. Specifications offered |  | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4.91 |  | Dental Chair Anatomically shaped seat Base need to be fixed to the floor Upholstered Anatomically shaped adjustable headrest Armrests Foot control Height adjustable Adjustable backrest Delivery Unit Integrated on the chair Console on flexible adjustable arm Tray for instruments ‘’soft touch’’ keypad for dental chair, light and cuspidor control 5 instruments connections console: 3-way syringe high speed terminal with water regulation micro-motor terminal (air) ultrasonic scaler LED lamp Instruments: Midwest turbine, 300 000 rpm Midwest air micro motor, speed regulation, direction regulation, 25 000 rpm at 3 bars Contra angle handpiece 1:1 Direct Drive Straight handpiece 1:1 Direct Drive Cuspidor Unit Integrated on the chair Water regulation Removable ceramic or glass bowl Strong and weak suction saliva ejector Additional 3-way syringe for assistant Instrument tray Chair and light controls Polymerization led lamp Dental Light Integrated on the chair 10 LED bulbs Sensor switch Adjustable in all directions Therapeutical chair Metal star base with silicone wheels Height adjustment Adjustable backrest Upholstery foam and artificial leather Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity |  | 2 |  |  |  |  |

has been replaced by the following:

| 1. Item number | 2. Specifications required |  | 3. Quantity (pcs) |  | 3. Specifications offered |  | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4.91 |  | Dental Chair Anatomically shaped seat Base need to be fixed to the floor Upholstered Anatomically shaped adjustable headrest Armrests Foot control Height adjustable Adjustable backrest Delivery Unit Integrated on the chair Console on flexible adjustable arm Tray for instruments ‘’soft touch’’ or similar water protection cover for keypad for dental chair, light and cuspidor control 5 instruments connections console: 3-way syringe high speed terminal with water regulation micro-motor terminal (air) ultrasonic scaler LED lamp Instruments: Midwest turbine, 300 000 rpm Midwest air micro motor, speed regulation, direction regulation, 25 000 rpm at 3 bars Contra angle handpiece 1:1 Direct Drive Straight handpiece 1:1 Direct Drive Cuspidor Unit Integrated on the chair Water regulation Removable ceramic or glass bowl Strong and weak suction saliva ejector Additional 3-way syringe for assistant Instrument tray Chair and light controls Polymerization led lamp Dental Light Integrated on the chair 10 LED bulbs or LED light with 35000LUX Sensor switch or manual on/off switch Adjustable in all directions Therapeutical chair Metal star base with silicone wheels Height adjustment Adjustable backrest Upholstery foam and artificial leather Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity |  | 2 |  |  |  |  |

MODIFICATION NO. 13

With the reference to the Tender Dossier, Section VII Technical Specifications, Lot 4, Item 4.92 - Dental Compressor, the original text:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.92 | Dental Compressor Tank: 40L Pressure 5 bar, 250L/min Noise level: 66 dB Connectors and air compressor tubing hose for connection with dental chair, technical working stations and other dental equipment requiring compressed air | 4 |  |  |  |

has been replaced by the following:

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| 4.92 | Dental Compressor Tank: 40L Pressure 5 bar, 250L/min Noise level: 70 dB Connectors and air compressor tubing hose for connection with dental chair, technical working stations and other dental equipment requiring compressed air | 4 |  |  |  |

MODIFICATION NO. 14

With the reference to the Tender Dossier, Section X – Contract Forms, the template for Beneficial Disclosure Form shoul be included.

INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE FORM

This Beneficial Ownership Disclosure Form (“Form”) is to be completed by the successful Bidder.  In case of joint venture, the Bidder must submit a separate Form for each member.  The beneficial ownership information to be submitted in this Form shall be current as of the date of its submission.

For the purposes of this Form, a Beneficial Owner of a Bidder is any natural person who ultimately owns or controls the Bidder by meeting one or more of the following conditions:

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder

- or equivalent governing body of the Bidder

INSTRUCTIONS TO BIDDERS: DELETE THIS BOX ONCE YOU HAVE COMPLETED THE FORM

This Beneficial Ownership Disclosure Form (“Form”) is to be completed by the successful Bidder.  In case of joint venture, the Bidder must submit a separate Form for each member.  The beneficial ownership information to be submitted in this Form shall be current as of the date of its submission.

For the purposes of this Form, a Beneficial Owner of a Bidder is any natural person who ultimately owns or controls the Bidder by meeting one or more of the following conditions:

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder

- or equivalent governing body of the Bidder

Beneficial Ownership Disclosure Form

RFB No.: [insert number of RFB process]

Request for Bid No.: [insert identification]

To: [insert complete name of Purchaser]

In response to your request in the Letter of Acceptance dated [insert date of letter of Acceptance] to furnish additional information on beneficial ownership: [select one option as applicable and delete the options that are not applicable]

(i) we hereby provide the following beneficial ownership information.

Details of beneficial ownership

| Identity of Beneficial Owner | Directly or indirectly holding 25% or more of the shares (Yes / No) | Directly or indirectly holding 25 % or more of the Voting Rights (Yes / No) | Directly or indirectly having the right to appoint a majority of the board of the directors or an equivalent governing body of the Bidder (Yes / No) |
| --- | --- | --- | --- |
| [include full name (last, middle, first), nationality, country of residence] |  |  |  |

OR

(ii) We declare that there is no Beneficial Owner meeting one or more of the following conditions:

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder

OR

(iii) We declare that we are unable to identify any Beneficial Owner meeting one or more of the following conditions. [If this option is selected, the Bidder shall provide explanation on why it is unable to identify any Beneficial Owner]

- directly or indirectly holding 25% or more of the shares

- directly or indirectly holding 25% or more of the voting rights

- directly or indirectly having the right to appoint a majority of the board of directors or equivalent governing body of the Bidder]”

Name of the Bidder: *[insert complete name of the Bidder]_________

Name of the person duly authorized to sign the Bid on behalf of the Bidder: **[insert complete name of person duly authorized to sign the Bid]___________

Title of the person signing the Bid: [insert complete title of the person signing the Bid]______

Signature of the person named above: [insert signature of person whose name and capacity are shown above]_____

Date signed [insert date of signing] day of [insert month], [insert year]_____

* In the case of the Bid submitted by a Joint Venture specify the name of the Joint Venture as Bidder. In the event that the Bidder is a joint venture, each reference to “Bidder” in the Beneficial Ownership Disclosure Form (including this Introduction thereto) shall be read to refer to the joint venture member.

** Person signing the Bid shall have the power of attorney given by the Bidder. The power of attorney shall be attached with the Bid Schedules.

All other terms and conditions of the Bidding document remain unchanged.

The above amendments are integral part of the Bidding document.

Attached to the ADDENDUM No: 1 to the Bidding documents:

1/ The Technical Specifications, incorporating the amendments described above, with changes highlighted in grey.

2/ The Delivery Schedule, incorporating the amendments described above.