C L A R I F I C A T I O N S	No. 3

Procurement related to:

Vocational Equipment for Secondary Schools in Montenegro

ICB No: 24-011/25-12009/1,

issued on 17 April 2026

| No. | Question | Answer |
| --- | --- | --- |
| 1 | Item 1.35 up to Item 1.39 These trainers / simulators need a Power supply with interface box as described in Item 1.40 Please be aware that the quantity of item 1.40 is just two. Whereas 1.35 to 1.39 has a total of seven. Supplying just two Interface boxes means you can only use one simulator at a time. Can you confirm that item 1.40 is indeed used for the items 1.35 up to 1.39. | Item 1.40 Power supply with interface box should be used for the items specified under numbers 1.35, 1.36, 1.37, 1.38 and 1.39. |
| 2 | ITEM 4.6 Is it acceptable to offer a 6-channel ECG device? | Required technical specifications present minimum requirements. Bidders are allowed to offer better specifications. |
| 3 | ITEM 4.8 Would it be possible to offer a silicone resuscitator bag for adults together with a child/large silicone facemask, latex-free, as resuscitation training set, given their high-quality, autoclavable construction and excellent visibility and durability for training purposes? | Set should include adult and child mask. |
| 4 | ITEM 4.13 - Would it be acceptable to offer a high-quality aneroid sphygmomanometer, compliant with DIN EN 81060-1, as an equivalent to the requested mercury-type device, considering current trends in clinical practice and environmental regulations, where mercury-based devices are gradually being phased out? - Is it possible to offer a stethoscope with a length of 74 cm? | - Yes. Aneroid sphygmomanometer is acceptable. Please refer to Addendum No. 2 to the Bidding documents. - Yes, bidders may propose a length of 74 cm. Please refer to Addendum No. 2 to the Bidding documents |
| 5 | ITEM 4.25 Would it be possible to offer the FAST Tourniquet - red (rubber strap with Terilen coating, 40.5 cm lengthy, 3 cm width, single locking system with quick release) as an alternative to the standard Esmarch's bandage? | Unfortunately it is not acceptable. |
| 6 | ITEM 4.15 Is it acceptable to offer a device with a 23-liter capacity? | Required technical specifications present minimum requirements. Bidders are allowed to offer better specifications. |
| 7 | ITEM 4.61 Is it acceptable to offer a device with weighting load 720g? | Required technical specifications present minimum requirements. Bidders are allowed to offer better specifications. |
| 8 | ITEM 4.60 Is it acceptable to offer a device with a maximum airflow of 950 m3/h? | Yes. Technical Specification requirements are amended as: “Air flow: 950 m3/h”. Please refer to Addendum No. 2 to the Bidding documents. |
| 9 | ITEM 4.97 Is it acceptable to offer a device with 55 liters capacity? | Required technical specifications present minimum requirements. Bidders are allowed to offer better specifications. |
| 10 | ITEM 4.98 Is it acceptable to offer a device with a 23-liter capacity? | Required technical specifications present minimum requirements. Bidders are allowed to offer better specifications. |
| 11 | Please clarify how the characteristics of the offered equipment should be demonstrated. Is it acceptable to provide an excerpt from a catalog, the catalog itself, the user manual, or any other document issued by the manufacturer as proof of the proposed technical specifications? | The bidder is invited to demonstrate and substantiate the characteristics of the offered equipment within the technical specifications. For this purpose, bidders may present supporting information in any format they deem appropriate, provided it is clear, consistent, and sufficiently detailed to enable proper evaluation. Such documentation may include, for example, excerpts from product catalogues, full catalogues, user manuals, or other official materials issued by the manufacturer. The bidder remains responsible for ensuring that the submitted documentation adequately supports the proposed specifications. All documentation must clearly identify (e.g., highlight or mark) the models offered and any included options, allowing evaluators to verify the exact configuration. Offers that do not clearly identify the proposed models and specifications may be rejected by the evaluation committee. The submission must be sufficiently clear to enable a straightforward comparison between the required and the offered specifications. The bidder is also obliged to include in the offer obligatory documentation where requested (declarations and relevant standards). |
| 12 | Considering the significant changes made to the tender documentation regarding the technical specifications of the required products, can the contracting authority consider extending the deadline for submitting clarification requests until April 23, 2026, given that the bid submission deadline has been moved to May 15, 2026? | Bidders are advised to refer to Addendum No. 2 to the Bidding documents, where deadline related to the submission of requests for clarification is extended to 1 May 2026. |
| 13 | In the tender documentation, under the "List of Goods and Delivery Schedule" document, it is stated for all lots the following: "Earliest Delivery Date 12 weeks" and "Latest Delivery Date 24 weeks." The tenderer is required to provide the following response; "Tenderer's offered Delivery date [to be provided by the Tenderer] Days following the date of signing of the Contract." However, it is unclear how the number of days or weeks should be calculated. For example, if the contract is signed on Wednesday, June 3, 2026, should the week be calculated from June 3,2026, up to June 7, 2026, or from June 3,2026, up to June 9,2026? Therefore, we believe it is necessary to define the minimum and maximum number of days for delivery so that the tenderer can provide an accurate delivery date in days following the signing of the contract. | Regarding the “List of Goods and Delivery Schedule,” please note that the deadlines for Lot 5 differ from those of the other lots. Delivery periods expressed in weeks are to be understood as calendar weeks and are applied accordingly to the equipment delivery deadlines. This means that any delivery period indicated in weeks should be converted into calendar days (e.g., 3 weeks equals 21 calendar days), calculated from the date of contract signing. |
| 14 | The tender documentation specifies the following: "EIB contribution will be equal to 51% of the contract price (VAT at the rate of0%) Government of Montenegro contribution equal to 49% of the contract price (VAT at the rate of 21%)" Since the contract financing has foreseen that goods up to 51% will be exempt from VAT and paid at 0%, while the remaining 49% will be subject to a VAT rate of 21%, we kindly request clarification on how, per lot, the payment for goods with 0% VAT and 21% VAT will be allocated. Could you please explain which items per lots fall under each VAT rate and how the allocation will be made? | Please note that each Lot constitutes a separate contract, and each contract will be financed in accordance with the provisions set out in the tender dossier. Additionally, please refer to Clarifications 2, specifically response number 11 published on the Purchaser´s web site on 09/04/2026. |
| 15 | The tender documentation stipulates the following requirement: "Proof issued by the body responsible for tax administration (state and local administration) that all obligations based on taxes and contributions have been duly reported, calculated and fulfilled up to 60 days before the day of public opening of bids, in accordance with Montenegrin law, or the regulations of the country in which the Bidder is registered." Considering that the proof issued by the state tax authority (Tax Administration of Montenegro) is obtained through the IRMS system, and due to current technical difficulties the system is operating with delays, resulting in the Tax Administration being unable to issue certificates within the legally prescribed deadlines, we kindly ask whether it would be acceptable for the Contracting Authority to accept a certificate issued by the Tax Administration that is not older than 90 days prior to the deadline for the public opening of bids. 6 | This requirement remains unchanged. |
| 16 | With regard to documents that are issued and electronically signed, and taking into account that the bid must be submitted in hard copy, we kindly request clarification as to whether it would be acceptable to submit such documents as ordinary copies within the bid, while providing the original electronic versions upon request of the Contracting Authority. | Bidders are required to comply with the instructions set out in Section II – Bid Data Sheet, point ITB 20.1, of the Tender Dossier regarding the form and submission of documents. |
| 17 | Please clarify whether it is acceptable to submit an authorization or any other document issued by the manufacturer in the form of an ordinary copy within the bid, with the obligation to provide the original document upon request of the Contracting Authority? | An authorization or any other document issued by the manufacturer in the form of an ordinary copy submitted within the bid, is acceptable with the obligation to provide the original document upon request of the Contracting Authority. |
| 18 | LOT4 ITEM 4.30 Would you consider modifying certain items in the technical specifications, specifically the requirement for the device to include features and accessories such as FM + NIBP, Sp02, NIBP hose, and a multi-chip waterproof probe? The majority of CTG devices on the market do not include these additional features, nor do they declare the probe as waterproof, yet they fully meet the essential medical and functional requirements for safe and reliable use in clinical practice. We believe that these requirements are additional and not necessary for the basic function of a CTG device. Removing them would not affect the quality or safety of the device's diagnostics and would allow for greater competition and participation from a larger number of suppliers. We kindly request that you consider the possibility of modifying the technical specifications accordingly. | Item 4.30 is Portable Maternal & Foetal Monitor According to our market research there are several manufacturers with compliant specifications. Requested technical specifications remain unchanged. |
| 19 | Technical Specifications – Lot 4Technical Specification of Item 4.90 3D PrinterWhen we check technical specification detailed, we saw requested technology is “Layer-by-layer photopolymerization (MSLA, LFS, DLP)” MSLA, LFS and DLP are all different manufacturing methods, and there is no machine that can do them all at once. We kindly ask you to choose one of the methods. Thanks | Any of stated technologies is acceptable. |
| 20 | Item 1.86 Telecommunications Trainer The specifications do not list any didactic Software for realistic troubleshooting exercises. Should we supply the different Modules with the SW included. | Required technical specifications present minimum requirements. Bidders are allowed to offer better specifications. |
| 21 | Item 1.101 Wireless LAN (WLAN) trainer Main board with structure of Wireless LAN system including one Wireless LAN Access Point with one Ethernet port, two Wireless LAN USB Adapters with internal antennas, two analogue telephones, and software package Can you please delete the feature two analogue telephones as they are not part of this trainer. They belong to the trainer described in item 1.100. We think there was a mistake in copying the specifications. | Requirement for “analogue telephones” should be considered an unintentional error and, as such, disregarded. Please refer to Addendum No. 2. to the Bidding documents. |
| 22 | Item 1.111 Interphone system CCTV Security system trainer should include following modules: Can you change the text to interphone system trainer because the CCTV Security system trainer is described in item 1.110. We think there was a mistake in copying the specifications. | Requirement “CCTV Security system trainer should include following modules” should be considered as an unintentional error and, as such disregarded. Please refer to Addendum No. 2.to the Bidding documents. |
| 23 | Item 1.115 Main unit base Universal base with slots for application of analogue electronics, digital electronics, microcontrollers and photovoltaic solar energy modules The trainer has these slots but It is not clear if we should include these optional modules or not so the students can perform experiments on: analogue electronics, digital electronics, micro controllers and photovoltaic solar energy. Can you please confirm you want these included! | Modules which should be used with Item 1.115 Main unit base were specified under the items numbers 1.116, 1.117, 1.118 and 1.119. |
| 24 | Item 1.119 Set of modules for microcontrollers Set of modules for photovoltaic solar energy Modules should be used with “Main unit base” Can you please delete these two features. This item describes a kit for microcontrollers and not forphotovoltaic solar energy. And it dies not require a. These two features have been copied from item 1.118. | Requirement “Set of modules for photovoltaic solar energy” should be considered as an unintentional error and as a such disregarded. Please refer to Addendum No. 2. to the Bidding documents. |