## Grand Summary
Section V - Montenegro Education Programme / Refurbishment of P. I. Vocational High School "Danilo Kiš" Budva
Total recapitulation Bill of Quantities and Price Schedule
Phase | RECAPITULATION |  | EUR
0 | General Items | Subtotal: | 0
A. | ARCHITECTURE / CONSTRUCTION-CRAFT WORKS | Subtotal: | 0
B. | ELECTRIC INSTALATIONS - HIGH VOLTAGE | Subtotal: | 0
C. | ELECTRIC INSTALATIONS - LOW VOLTAGE | Subtotal: | 0
D. | WATER SUPPLY & SEWERAGE | Subtotal: | 0
Total amount |  |  | 0
Provisional Sum (Contingency) 10% |  |  | 0
Grand Total |  |  | 0

## 0. GENERAL ITEMS
Section V - Montenegro Education Programme / Refurbishment of P. I. Vocational High School "Danilo Kiš" Budva
Bill of Quantities and Price Schedule General Items
BoQ No | BoQ Item | TITLE | UNIT | AMOUNT in Euro excluding taxes
(a) | (b) | (c) | ( d) | (e)
1 |  | Contractor’s temporary installations and facilities including fences. | lump sum | 0
2 |  | Installation site office for the Supervisor | lump sum | 0
3 |  | Supply and installation of the General construction work information board, banners and posters | lump sum | 0
4 |  | Preparation og the Contractor drawings,As-build Design and Operation and Maintence Manuals | lump sum | 0
5 |  | Environmental Management Plan & other plans (WMP, HSP) | lump sum | 0
0 |  | SUBTOTAL GENERAL ITEMS |  | 0

## A. ARCHITECTURE
Section V - Montenegro Education Programme / Refurbishment of P. I. Vocational High School ''Danilo Kiš'' Budva
Bill of Quantities and Price Schedule ARCHITECTURE / CONSTRUCTION-CRAFT WORKS
BoQ No | BoQ Item | TITLE | UNIT | UNIT PRICE in EUR | ESTIMATED QUANTITIES | AMOUNT in Euro excluding taxes
(a) | (b) | (c) | ( d ) | (e) | (f) | (g=e*f)
I |  | PREPARATORY & DEMOLITION WORKS
1 | 3.3.4.1.1. | Removal existing wooden benches, dim.550x40x210 | pcs |  | 6 | 0
2 |  | Dismantling of the existing interior single-leaf and double-leaf wooden doors, light wooden partitions, fixed sidelights and transoms.
2.1 | 3.3.4.1.2. | Light wooden partition in classrooms with single doors and transom, dim. 550x400cm (205 + 80 + 115cm) (S1) | pcs |  | 6 | 0
2.2 | 3.3.4.1.3. | Light wooden partition in classrooms with single doors and transom, dim. 550x300cm (205 + 95cm) (S2) | pcs |  | 7 | 0
2.3 | 3.3.4.1.4. | Light wooden partition in classrooms with single doors and transom, dim. 470x290cm (205 + 85cm) (S3) | pcs |  | 1 | 0
2.4 | 3.3.4.1.5. | Light wooden glazed partition on the store on the ground floor with a single door and transom, dim. 460x370cm (250 + 120cm) (S4) | pcs |  | 1 | 0
2.5 | 3.3.4.1.6. | Single-leaf door with transom (asymmetrically placed), dim. 370 (100 + 270) x285cm (205 + 80cm) (S5) | pcs |  | 2 | 0
2.6 | 3.3.4.1.7. | Light wooden partition on offices, with single-leaf doors and transom, dim. 270x400cm (205 + 80 + 115) (S6) | pcs |  | 4 | 0
2.7 | 3.3.4.1.8. | Light wooden partition on the computer room, with a single door and transom, dim. 270x345cm (205 + 20 + 120cm) (S7) | pcs |  | 1 | 0
2.8 | 3.3.4.1.9. | Light wooden partition on offices with single-leaf doors and transom, dim. 250x400cm (205 + 80 + 115cm) (S8) | pcs |  | 1 | 0
2.9 | 3.3.4.1.10. | Light wooden partition with single door and transom, dim. 240x300cm (205 + 95cm) (S9) | pcs |  | 1 | 0
2.10 | 3.3.4.1.11. | Light wooden partition in the class. upstairs (towards the hall) with a single door and transom, dim. 240x290cm (205 + 85cm) (S10) | pcs |  | 1 | 0
2.11 | 3.3.4.1.12. | Light wooden partially glazed partition on the gr. floor with a single door with transom, dim. 220x370cm (250 + 120cm) (S11) | pcs |  | 1 | 0
2.12 | 3.3.4.1.13. | Light wooden partially glazed partition on the upstairs library, single-leaf doors with transom, dim.220x370cm (250 + 120cm)(S12) | pcs |  | 1 | 0
2.13 | 3.3.4.1.14. | Glazed windshield with two double doors, with sidelights and transom, dim. 524x400cm (V1) | pcs |  | 1 | 0
2.14 | 3.3.4.1.15. | Double doors with sidelights and transom, dim. 245x365cm (V2) | pcs |  | 1 | 0
2.15 | 3.3.4.1.16. | Double doors with sidelights and transom, dim. 245x345cm (V3) | pcs |  | 1 | 0
2.16 | 3.3.4.1.17. | Double doors with sidelights and transom, dim. 226x345cm (V6) | pcs |  | 1 | 0
2.17 | 3.3.4.1.18. | Glazed windshield with two double doors, with sidelights and transoms, dim. 440x285cm (V7) | pcs |  | 1 | 0
2.18 | 3.3.4.1.19. | Single-leaf door with transom, dim. 92x300cm (V14) | pcs |  | 2 | 0
2.19 | 3.3.4.1.20. | Single-leaf door with transom, dim. 92x385cm (V15) | pcs |  | 1 | 0
2.20 | 3.3.4.1.21. | Single-leaf door with tramsom, dim. 92x355cm (V16) | pcs |  | 1 | 0
2.21 | 3.3.4.1.22. | Single door, dim. 92x205cm (V17) | pcs |  | 9 | 0
2.22 | 3.3.4.1.23. | Single-leaf door with tramsom, dim. 82x305cm (V19) | pcs |  | 1 | 0
2.23 | 3.3.4.1.24. | Single door, dim. 72x205cm (V20) | pcs |  | 6 | 0
2.24 | 3.3.4.1.25. | Single door, dim. 62x205cm (V21) | pcs |  | 1 | 0
2.25 | 3.3.4.1.26. | Window - skylight, dim. 378x200cm (S = 100cm) (P22) | pcs |  | 2 | 0
2.26 | 3.3.4.1.27. | Window - skylight, dim. 335x180cm (S = 100cm) (P23) | pcs |  | 2 | 0
2.27 | 3.3.4.1.28. | Transom, dim. 160x75cm (P = 225cm) (P24) | pcs |  | 1 | 0
3 | 3.3.4.1.29. | Removal of the existing textile floor - rugs | m² |  | 44.9 | 0
4 | 3.3.4.1.30. | Removal of the existing laminate floor from all rooms (existing offices - school administration). | m² |  | 328 | 0
5 | 3.3.4.1.31. | Removing the existing floor covering made from vinaz tiles dim. 60x60cm. | m² |  | 1266 | 0
6 |  | Removal of existing floor and wall ceramics
6.1 | 3.3.4.1.32. | Floor ceramics in hallways and auxiliary rooms | m² |  | 1464.3 | 0
6.2 | 3.3.4.1.33. | Ceramic floor in front of the covered entrance | m² |  | 81.6 | 0
6.3 | 3.3.4.1.34. | Floor ceramics in toilets | m² |  | 21.8 | 0
6.4 | 3.3.4.1.35. | Wall ceramics in toilets | m² |  | 146.1 | 0
6.5 | 3.3.4.1.36. | Wall ceramics in the classroom washbasin zone | m² |  | 59.9 | 0
7 | 3.3.4.1.37. | Dismantling of the complete existing wooden elements and pressed plywood suspended ceiling | m² |  | 969.1 | 0
8 |  | Dismantling of the existing metal linear suspended ceiling
8.1 | 3.3.4.1.38. | Interior suspended ceiling | m² |  | 80 | 0
8.2 | 3.3.4.1.39. | External suspended ceiling | m² |  | 16.4 | 0
9 |  | Expansion of the existing and penetration of new door openings in the classrooms
9.1 | 3.3.4.1.40. | Hole in the wall made of siporex block t = 15cm (plastered t = 19cm), hole size 102x205cm | pcs |  | 1 | 0
9.2 | 3.3.4.1.41. | Hole in the wall with reinforced concrete canvas t = 16cm (plastered t = 20cm), opening dimensions 102x205cm | pcs |  | 2 | 0
9.3 | 3.3.4.1.42. | An opening in the sandwich wall (originally façade) which consists of: AB canvas t = 16cm + min. Wool t = 3cm + lightly reinforced concrete t = 5cm + cem. Mortar t = 2cm + silicate brick d = 7cm / 38cm total plastered on both sides, opening dimensions 102x300 (205 + 95) cm | pcs |  | 2 | 0
9.4 | 3.3.4.1.43. | Making an opening measuring 102x207cm in a wall of siporex blocks t = 15cm (plastered t = 19cm) | pcs |  | 1 | 0
9.5 | 3.3.4.1.44. | Demolition of part of the fence on the floor, made of siporex blocks t = 15cm lined with silicate brick t = 7cm / total t = 24cm. The opening is 150 cm wide (h existing = 100cm) | pcs |  | 1 | 0
10 |  | Demolition of existing partition walls
10.1 | 3.3.4.1.45. | Walls between existing rooms | m² |  | 33.8 | 0
10.2 | 3.3.4.1.46. | Parts of the walls in the rooms | m² |  | 23.5 | 0
11 |  | Removal of the existing light "wooden" partition walls made from plywood
11.1 | 3.3.4.1.47. | Partition t = 16cm | m² |  | 11.7 | 0
11.2 | 3.3.4.1.48. | Partition t = 9cm | m² |  | 47 | 0
12 | 3.3.4.1.49. | Removal of the existing inactive gutter casted iron verticals within the planned positions of showers, toilets as well as the amphitheater | m¹ |  | 48.6 | 0
13 |  | Removal of all positions of the facade wooden joinery
13.1 | 3.3.4.1.50. | Glazed facade wall with two entrance double doors, with sidelights and transoms, dim. 524x400cm - Main entrance - F1 | pcs |  | 1 | 0
13.2 | 3.3.4.1.51. | Glazed facade wall with two entrance double doors, with sidelights, dim. 440x285cm - Side entrance - F2 | pcs |  | 1 | 0
13.3 | 3.3.4.1.52. | Glazed facade wall with two sl. doors with sidelights and transoms', dim. 520x355cm-Side entrance to the restaurant - F3 | pcs |  | 1 | 0
13.4 | 3.3.4.1.53. | Glazed facade wall with single-leaf doors, with sidelights and transoms, dim. 255x320cm - F4 | pcs |  | 2 | 0
13.5 | 3.3.4.1.54. | Entrance double doors with sidelights and transoms, dim. 230x355cm - Entrance to the restaurant - F5 | pcs |  | 1 | 0
13.6 | 3.3.4.1.55. | Entrance double doors with sidelights and transoms, dim. 220x285cm - Entrance to the kitchen - F6 | pcs |  | 1 | 0
13.7 | 3.3.4.1.56. | Entrance double doors with sidelights, dim. 216x225cm - Entrance to the restaurant - F7 | pcs |  | 1 | 0
13.8 | 3.3.4.1.57. | Entrance double door with transom, dim. 210x355cm - F8 | pcs |  | 1 | 0
13.9 | 3.3.4.1.58. | Entrance double door with transom, dim. 140x355cm - Entrance to the restaurant - F10 | pcs |  | 1 | 0
13.10 | 3.3.4.1.59. | Glazed facade wall with sliding doors, with sidelights and transoms, dim. 470x370cm - F15 | pcs |  | 1 | 0
13.11 | 3.3.4.1.60. | Glazed facade wall, dim. 289x370cm - F18 | pcs |  | 1 | 0
13.12 | 3.3.4.1.61. | Glazed facade wall with double sash window, sidelight and transom, dim. 236x325cm - F20 | pcs |  | 2 | 0
13.13 | 3.3.4.1.62. | Window - skylight in the amphitheater, dim. 80x635cm - F41 | pcs |  | 1 | 0
13.14 | 3.3.4.1.63. | Window - skylight in the amphitheater, dim. 80x430cm - F42 | pcs |  | 1 | 0
13.15 | 3.3.4.1.64. | Roof lantern above the stairs (administrative part), dim. 100x100cm - F44 | pcs |  | 2 | 0
14 | 3.3.4.1.65. | Removal of the existing facade cladding of silicate brick t = 7cm, in the area of the skylight above the flat roofs. | m² |  | 57.6 | 0
15 | 3.3.4.1.66. | Removal of existing linings of part of the roof attics from clinker end (corner "L") tiles. | m¹ |  | 102.8 | 0
16 |  | Temporary removal of all existing vertical gutters in order to free the facade for uninterrupted execution of facade works.
16.1 | 3.3.4.1.67. | Gutters h = 3m | m¹ |  | 27 | 0
16.2 | 3.3.4.1.68. | Gutters h = 7.5m | m¹ |  | 11 | 0
17 | 3.3.4.1.69. | Temporary removal of all existing protective window grilles and gates behind the dental office,made from box profiles of black hardware. | m² |  | 32.2 | 0
18 | 3.3.4.1.70. | Temporary removal of air conditioners from all positions on the building (outdoor and indoor units). | pcs |  | 35 | 0
19 | 3.3.4.1.71. | Removal and transport of rubble. | m³ |  | 602 | 0
|  | TOTAL PREPARATORY & DEMOLITION WORKS |  |  |  | 0
II |  | MASONRY WORKS
20 |  | Procurement of materials and masonry of the planned internal partition walls, including walling of part of the existing openings.
20.1 | 3.3.4.2.1. | Partition walls t = 12cm | m² |  | 162.2 | 0
20.2 | 3.3.4.2.2. | Walling of existing openings t = 12cm | m² |  | 29.6 | 0
20.3 | 3.3.4.2.3. | Walling of existing openings t = 15cm | m² |  | 29.6 | 0
21 | 3.3.4.2.4. | Procurement of materials and masonry of the planned internal partition walls between the part of the classrooms and the hall made of silicate bricks. | m² |  | 180.5 | 0
22 | 3.3.4.2.5. | Procurement of materials and cladding of walls with silicate bricks t = 7cm in everything according to the project. | m² |  | 3.6 | 0
23 |  | Procurement of materials and manual plastering of all planned walls, including masonry and unplastered zones above the existing suspended ceiling, with cement - limestone mortar.
23.1 | 3.3.4.2.6. | Plastering of planned walls | m² |  | 498.6 | 0
23.2 | 3.3.4.2.7. | Plastering of wall zones above the existing suspended ceiling | m² |  | 16.9 | 0
23.3 | 3.3.4.2.8. | Plastering the ceiling above the existing suspended ceiling | m² |  | 67.9 | 0
24 | 3.3.4.2.9. | Procurement of materials and rehabilitation of part of the walls after the removal of wall ceramics. | m² |  | 206 | 0
25 |  | Procurement of materials and masonry repair of existing walls and ceilings damaged by moisture and water from the roof, etc.
25.1 | 3.3.4.2.10. | Renovation of walls (10% of the total P walls) | m² |  | 521.7 | 0
25.2 | 3.3.4.2.11. | Rehabilitation of the ceiling (10% of the total P ceiling) | m² |  | 229.7 | 0
26 |  | Procurement of materials and production of cement screed after removal of floor coverings - ceramics and vinaigrette tiles.
26.1 | 3.3.4.2.12. | Rehabilitation of the screed on the surfaces planned for the installation of ceramic tiles (halls, corridors, toilets and outdoor covered plateau). | m² |  | 1635.6 | 0
26.2 | 3.3.4.2.13. | Rehabilitation of the screed on the surfaces planned for the installation of PVC flooring (classrooms and cabinets). | m² |  | 1238.6 | 0
27 | 3.3.4.2.14. | Procurement of materials and processing of jambs from the inside after the installation of the planned facade PVC and aluminum joinery. | m¹ |  | 160.8 | 0
28 |  | Procurement of materials and processing of jambs after installation of planned positions of internal aluminum joinery.
28.1 | 3.3.4.2.15. | Jamb widths approx. 20cm | m¹ |  | 628.4 | 0
28.2 | 3.3.4.2.16. | Jamb widths approx. 30cm | m¹ |  | 20.2 | 0
29 |  | Procurement of materials and sanding of existing silicate brick wall coverings in the interior.
29.1 | 3.3.4.2.17. | Ground floor brick wall | m² |  | 466.8 | 0
29.2 | 3.3.4.2.18. | First floor brick wall | m² |  | 202.2 | 0
|  | TOTAL MASONRY WORKS |  |  |  | 0
III |  | INSULATION WORKS
30 | 3.3.4.3.1. | Waterproofing of floors and parts of walls. | m² |  | 43.9 | 0
|  | TOTAL INSULATION WORKS |  |  |  | 0
IV |  | SHEET METAL - ROOFING WORKS
31 |  | Procurement of materials, production and installation of sheet metal edging of roof attics - drips.
31.1 | 3.3.4.4.1. | Roof attics drop, developed widths = 45 cm | m¹ |  | 112.6 | 0
31.2 | 3.3.4.4.2. | Roof attics drop, developed widths = 60 cm | m¹ |  | 85.3 | 0
31.3 | 3.3.4.4.3. | Roof attics drop, developed widths = 70 cm | m¹ |  | 46.1 | 0
31.4 | 3.3.4.4.4. | Roof attics drop, developed widths = 90 cm | m¹ |  | 2.1 | 0
|  | TOTAL SHEET METAL - ROOFING WORKS |  |  |  | 0
V |  | CERAMIC AND STONE CUTTING WORKS
32 |  | Procurement of materials and installation of floor and wall ceramics.
32.1 | 3.3.4.5.1. | Porcelain floor tile in hallways, halls and in front of the entrance. | m² |  | 1553.2 | 0
32.2 | 3.3.4.5.2. | Floor porcelain tile in toilets and auxiliary rooms. | m² |  | 82.3 | 0
32.3 | 3.3.4.5.3. | Wall ceramics in classrooms in washbasin zones. | m² |  | 102.7 | 0
32.4 | 3.3.4.5.4. | Wall porcelain tile in toilets | m² |  | 201.1 | 0
33 | 3.3.4.5.5. | Procurement of materials and rehabilitation of the existing stair cladding made of Danilovgrad stone | m² |  | 52.1 | 0
|  | TOTAL CERAMIC AND STONE CUTTING WORKS |  |  |  | 0
VI |  | FLOORING WORKS
34 | 3.3.4.6.1. | Procurement of materials and installation by gluing a floor covering of heterogeneous polyvinyl chloride on foam (ISO11638) / PVC floor covering of the "Tarkett Tapiflex Excelence" type. | m² |  | 1238.6 | 0
35 | 3.3.4.6.2. | Procurement of materials and rehabilitation (rearrangement, planing and varnishing) of the existing beech parquet. | m² |  | 56 | 0
36 | 3.3.4.6.3. | Procurement of materials and rehabilitation (planing and varnishing) of existing beech parquet. | m² |  | 323.3 | 0
37 | 3.3.4.6.4. | Procurement, delivery and installation of 1st class laminates, treated edges with waterproof treatment | m² |  | 57.5 | 0
38 | 3.3.4.6.5. | Procurement and installation of transitional aluminum moldings | m¹ |  | 100.9 | 0
|  | TOTAL FLOORING WORKS |  |  |  | 0
VII |  | JOINERY - LOCKSMITH WORKS - facade aluminium joinery
39 |  | Procurement of materials, production and installation of facade joinery from aluminium profiles.
39.1 | 3.3.4.7.1. | Glazed facade wall with two entrance double doors, with sidelights and transoms, dim. 524x372cm - F1 | pcs |  | 1 | 0
39.2 | 3.3.4.7.2. | Glazed facade wall with two entrance double doors, with transoms, dim. 440x285cm - F2 | pcs |  | 1 | 0
39.3 | 3.3.4.7.3. | Glazed facade wall with two windows with tilting mechanism, dim. 388x353cm - F3 | pcs |  | 1 | 0
39.4 | 3.3.4.7.4. | Glazed facade wall, dim. 289x367cm - F19 | pcs |  | 1 | 0
|  | TOTAL JOINERY - LOCKSMITH WORKS - facade aluminium joinery |  |  |  | 0
VIII |  | JOINERY - LOCKSMITH WORKS - facade PVC joinery
40 |  | Procurement of materials, production and installation of facade joinery from PVC profiles.
40.1 | 3.3.4.8.1. | Single-leaf door with transoms andsidelights (exit to the flat roof), dim. 255x320cm - F4 | pcs |  | 2 | 0
40.2 | 3.3.4.8.2. | Double doors with transom, dim. 230x355cm - F5 | pcs |  | 1 | 0
40.3 | 3.3.4.8.3. | Double doors with transom, dim. 220x285cm - F6 | pcs |  | 1 | 0
40.4 | 3.3.4.8.4. | Double doors, dim. 216x225cm - F7 | pcs |  | 1 | 0
40.5 | 3.3.4.8.5. | Double doors with transom, dim. 210x355cm - F8 | pcs |  | 1 | 0
40.6 | 3.3.4.8.6. | Double doors with transom, dim. 140x355cm - F10 | pcs |  | 1 | 0
40.7 | 3.3.4.8.7. | Glazed facade wall with four wings with rotating tilting mechanism and transoms, dim. 472x287cm - F15 | pcs |  | 1 | 0
40.8 | 3.3.4.8.8. | Glazed facade wall with two wings of transoms with tilting mechanism, dim. 470x370cm - F16 | pcs |  | 1 | 0
40.9 | 3.3.4.8.9. | Single-leaf window with transom with ventus opening dim. 80x635cm - F35 | pcs |  | 1 | 0
40.10 | 3.3.4.8.10. | Single-leaf window with skylight with ventus opening dim. 80x430cm - F36 | pcs |  | 1 | 0
41 | 3.3.4.8.11. | Procurement of materials, production and installation of a standard roof window for flat roofs of the "Velux CVP" type or equivalent. - F38 | pcs |  | 2 | 0
|  | TOTAL JOINERY - LOCKSMITH WORKS - facade PVC joinery |  |  |  | 0
IX |  | JOINERY - LOCKSMITH WORKS - interior aluminum joinery
42 |  | Procurement of materials, production and installation of interior joinery made from aluminium profiles.
42.1 | 3.3.4.9.1. | Single-leaf doors with fixed transoms in classrooms, dim. 100x210cm (550x115cm) - S1 | pcs |  | 5 | 0
42.2 | 3.3.4.9.2. | Single-leaf doors with fixed overhead lights in classrooms, dim. 100x210cm (550x70cm) - S2 | pcs |  | 5 | 0
42.3 | 3.3.4.9.3. | Single-leaf doors with fixed overhead lights in classrooms, dim. 100x210cm (540x70cm) - S3 | pcs |  | 2 | 0
42.4 | 3.3.4.9.4. | Single-leaf door with fixed transom in the classroom, 100x210cm (470x60cm) - S4 | pcs |  | 1 | 0
42.5 | 3.3.4.9.5. | Single-leaf door with fixed transom in the classroom, 100x210cm (370x55cm) - S5 | pcs |  | 2 | 0
42.6 | 3.3.4.9.6. | Double doors with sidelight and transom, dim. 365x285cm - S6 | pcs |  | 1 | 0
42.7 | 3.3.4.9.7. | Single-leaf doors with fixed transom on offices, dim. 100x210cm (270x115cm) - S7 | pcs |  | 1 | 0
42.8 | 3.3.4.9.8. | Single-leaf doors with fixed transom on offices, dim. 100x210cm (250x115cm) - S8 | pcs |  | 1 | 0
42.9 | 3.3.4.9.9. | Single-leaf doors with fixed transoms in classrooms, dim. 100x210cm (250x115cm) - S9 | pcs |  | 2 | 0
42.10 | 3.3.4.9.10. | Single-leaf doors with fixed transoms, dim. 100x210cm (240x70cm) - S9.1 | pcs |  | 1 | 0
42.11 | 3.3.4.9.11. | Single-leaf door with fixed transom on the library, dim. 100x210cm (220x70cm) - S10 | pcs |  | 1 | 0
42.12 | 3.3.4.9.12. | Glazed wall with two entrance double doors, with sidelights and transoms, dim. 524x372cm - V1 | pcs |  | 1 | 0
42.13 | 3.3.4.9.13. | Glazed wall with two entrance double doors, with transoms, dim. 440x285cm - V2 | pcs |  | 1 | 0
42.14 | 3.3.4.9.14. | Double doors with transom, dim. 240x345cm - V3 | pcs |  | 2 | 0
42.15 | 3.3.4.9.15. | Single-leaf door with transom, dim. 100x298 (210 + 88) cm - V4 | pcs |  | 2 | 0
42.16 | 3.3.4.9.16. | Single-leaf doors dim. 100x203cm - V5 | pcs |  | 17 | 0
42.17 | 3.3.4.9.17. | Single-leaf doors dim. 100x203cm - V5' | pcs |  | 15 | 0
42.18 | 3.3.4.9.18. | Single-leaf door with transom, dim. 90x283cm - V6 | pcs |  | 1 | 0
42.19 | 3.3.4.9.19. | Single-leaf door with transom, dim. 90x253 (210 + 43)cm - V7 | pcs |  | 1 | 0
42.20 | 3.3.4.9.20. | Single-leaf doors dim. 90x203cm - V8' | pcs |  | 7 | 0
42.21 | 3.3.4.9.21. | Single-leaf door with transom, dim. 90x303 (210 + 93)cm - V9 | pcs |  | 1 | 0
42.22 | 3.3.4.9.22. | Single-leaf doors dim. 80x198cm - V10 | pcs |  | 1 | 0
42.23 | 3.3.4.9.23. | Single-leaf doors dim. 70x203cm - V11' | pcs |  | 6 | 0
42.24 | 3.3.4.9.24. | Single-leaf doors dim. 60x203cm - V12 | pcs |  | 1 | 0
43 | 3.3.4.9.25. | Procurement and installation of single-leaf fire / smoke doors, dim. 102x205cm. - PP1 | pcs |  | 1 | 0
44 | 3.3.4.9.26. | Procurement of materials and installation of strip curtains on façade. | m² |  | 131.8 | 0
45 | 3.3.4.9.27. | Procurement of materials and installation of venetian blinds. | m² |  | 482 | 0
|  | TOTAL JOINERY - LOCKSMITH WORKS - interior aluminum joinery |  |  |  | 0
X |  | LOCKSMITH WORKS
46 | 3.3.4.10.1. | Procurement of materials, construction and installation of a cantilever platform on the first floor for exit from the vertical - lifting platform for persons with disabilities. | pcs |  | 1 | 0
47 |  | Procurement of materials and repair of existing handrails / railings.
47.1 | 3.3.4.10.2. | Railing, h=1m | m¹ |  | 24.7 | 0
47.2 | 3.3.4.10.3. | Handrail | m¹ |  | 49.4 | 0
48 | 3.3.4.10.4. | Procurement of materials, repair and re-installation of locksmith elements - previously removed protective grilles on windows and doors. | m² |  | 32.2 | 0
49 | 3.3.4.10.5. | Procurement of materials and production of protective window grilles. | m² |  | 13.8 | 0
|  | TOTAL LOCKSMITH WORKS |  |  |  | 0
XI |  | PLASTER - PAINTING WORKS
50 | 3.3.4.11.1. | Procurement of materials and installation of a coffered / modular suspended ceiling 60x60cm. | m² |  | 1062.8 | 0
51 | 3.3.4.11.2. | Procurement of materials and production of light gypsum-cardboard one-sided partitions in the parts above the overhead light. | m² |  | 38.9 | 0
52 | 3.3.4.11.3. | Procurement of materials and production of gypsum-cardboard monolithic complex ceiling. | m² |  | 35.9 | 0
53 |  | Procurement of materials and installation of a metal linear suspended ceiling.
53.1 | 3.3.4.11.4. | Metal ceiling inside (toilets and technical rooms) | m² |  | 80 | 0
53.2 | 3.3.4.11.5. | Metal ceiling outside (covered entrance) | m² |  | 116.6 | 0
54 | 3.3.4.11.6. | Procurement of materials and production of gypsum - cardboard monolithic bodies - lining of installation verticals. | pcs |  | 25 | 0
55 |  | Procurement of materials and repair of all existing walls, beams and ceilings by sanding and smoothing.
55.1 | 3.3.4.11.7. | New plastered walls (including plastered parts of the walls above the existing suspended ceiling to be removed) - smoothing | m² |  | 554.5 | 0
55.2 | 3.3.4.11.8. | Plastered ceilings (above the existing suspended ceiling that is removed) - smoothing | m² |  | 67.9 | 0
55.3 | 3.3.4.11.9. | Rehabilitation of existing walls by smoothing - 50% of the total wall area | m² |  | 2608.5 | 0
55.4 | 3.3.4.11.10. | Rehabilitation of existing ceilings by smoothing - 50% of the total wall area | m² |  | 1148.3 | 0
56 |  | Procurement of materials and painting of walls and ceilings with water-based acrylic matte latex paint.
56.1 | 3.3.4.11.11. | Walls and ceilings in white | m² |  | 8136 | 0
56.2 | 3.3.4.11.12. | Walls in dark turquoise color (RAL 6033) | m² |  | 106.6 | 0
56.3 | 3.3.4.11.13. | Walls and body parts in the central hall in yellow (RAL 1003) | m² |  | 20 | 0
56.4 | 3.3.4.11.14. | Plasterboard parts in the central hall in light gray (RAL 7004) | m² |  | 12.1 | 0
56.5 | 3.3.4.11.15. | Plasterboard parts in the central hall in dark gray (RAL 7012) | m² |  | 15 | 0
|  | TOTAL PLASTER PAINTING WORKS |  |  |  | 0
XII |  | FACADE WORKS
57 | 3.3.4.12.1. | Procurement of materials and renovation of the complete facade cladding of silicate brick. | m² |  | 2010.5 | 0
58 | 3.3.4.12.2. | Procurement of materials and treatment of all facade plastered surfaces by painting with high quality facade coating with silicone binder. | m² |  | 824.7 | 0
59 | 3.3.4.12.3. | Procurement of materials and coating of part of the facade walls with silicate brick t=7cm. | m² |  | 181 | 0
60 | 3.3.4.12.4. | Procurement of materials and painting of all planned window jambs. | m¹ |  | 160.8 | 0
61 | 3.3.4.12.5. | Procurement of materials and renovation of existing steel structural elements - pergolas on the entrance facade of the building. | m¹ |  | 23.4 | 0
|  | TOTAL FACADE WORKS |  |  |  | 0
XIII |  | OTHER WORKS
62 | 3.3.4.13.1. | Procurement, delivery and installation of a vertical lifting platform with a protective shaft (lifting height> 4m), for persons with disabilities. | pcs |  | 1 | 0
63 | 3.3.4.13.2. | Final rough and fine cleaning of the facility with the removal of small remaining debris to a suitable landfill. | pcs (apr.) |  | 2 | 0
|  | TOTAL OTHER WORKS |  |  |  | 0
Public Institution Vocational High School ''Danilo Kiš'' in Budva
GRAND SUMMARY
Item No. |  | Description |  |  |  | Amount (EUR)
I | 1-19 | PREPARATORY AND DEMOLITION WORKS |  |  |  | 0
II | 19-27 | MASONRY WORKS |  |  |  | 0
III | 28 | INSULATION - ROOFING WORKS |  |  |  | 0
IV | 29 | SHEET METAL - ROOFING WORKS |  |  |  | 0
V | 30-31 | CERAMIC AND STONE CUTTING WORKS |  |  |  | 0
VI | 32-35 | FLOORING WORKS |  |  |  | 0
VII | 36 | JOINERY - LOCKSMITH WORKS - facade aluminium joinery |  |  |  | 0
VIII | 37-38 | JOINERY - LOCKSMITH WORKS - facade PVC joinery |  |  |  | 0
IX | 39-42 | JOINERY - LOCKSMITH WORKS - interior aluminum joinery |  |  |  | 0
X | 43-46 | LOCKSMITH WORKS |  |  |  | 0
XI | 47-53 | PLASTER - PAINTING WORKS |  |  |  | 0
XI | 54-58 | FACADE WORKS |  |  |  | 0
XI | 59-60 | OTHER WORKS |  |  |  | 0
|  | TOTAL P.I. Vocational High School ''Danilo Kiš'' Budva |  |  |  | 0

## B. ELECTRIC INST.- HIGH VOLTAGE
Section V - Montenegro Education Programme / Refurbishment of P. I. Vocational High School ''Danilo Kiš" Budva
Bill of Quantities and Price Schedule HIGH VOLTAGE ELECTRICAL INSTALATIONS
BoQ No | BoQ Item | TITLE | UNIT | UNIT PRICE in EUR | ESTIMATED QUANTITIES | AMOUNT in Euro excluding taxes
(a) | (b) | (c) | ( d ) | (e) | (f) | (g=e*f)
I |  | DISASSEMBLY WORKS
1 | 3.4.4.1.1. | Dismantling of the existing obsolete electrical installation equipment in the school. | pcs (aprx.) |  | 1 | 0
|  | TOTAL PREPARATORY & DEMOLITION WORKS |  |  |  | 0
II |  | DISTRIBUTION CABINETS AND POWER CABLES
2 | 3.4.4.2.1. | Delivery and installation of the distribution cabinet of the computer classroom RT-RU. | pcs |  | 1 | 0
3 | 3.4.4.2.2. | Delivery and installation of the distribution cabinet of the RT-ZB Chamber. | pcs |  | 1 | 0
4 | 3.4.4.2.3. | Delivery and installation in the existing Main distribution cabinet GRO. | pcs |  | 1 | 0
5 | 3.4.4.2.4. | Delivery and installation in the existing Distribution cabinet RT-1 on first floor. | pcs |  | 1 | 0
6 | 3.4.4.2.5. | Delivery and installation of power cable PP-Y 5x10mm2 for power supply distribution cabinets RT-RU and RT-ZB. | m² |  | 2 | 0
|  | TOTAL DISTRIBUTION CABINETS AND POWER CABLES |  |  |  | 0
III |  | POWER SUPPLIES
7 | 3.4.4.3.1. | Delivery and laying of PP-Y 3x1.5mm2 cable for connecting and continuing existing cables with newly designed luminaires. | m¹ |  | 500 | 0
8 | 3.4.4.3.2. | Delivery and laying of PP-Y 3 x1.5mm2 cable for moving existing switches to new locations shown in the diagrams. | pcs |  | 5 | 0
9 | 3.4.4.3.3. | Delivery and laying of cable PP-Y 3x2.5mm2 for powering connection points. | pcs |  | 42 | 0
10 | 3.4.4.3.4. | Delivery and laying of cable PP-Y 5x2.5mm2 for power supply of vertical lifting platform. | m¹ |  | 35 | 0
|  | TOTAL POWER SUPPLIES |  |  |  | 0
IV |  | INSTALLATION EQUIPMENT
11 | 3.4.4.4.1. | Removing the existing Ø60mm boxes, brazing in the concrete wall for the 4M box in the same place and using the existing cable. | pcs |  | 46 | 0
12 | 3.4.4.4.2. | Delivery and installation of built-in pvc box, two modules - 2M. | pcs |  | 146 | 0
13 | 3.4.4.4.3. | Delivery and installation of installation equipment brackets, two modules - 2M. | pcs |  | 221 | 0
14 | 3.4.4.4.4. | Delivery and installation of mask (frame), 2 M. | pcs |  | 221 | 0
15 | 3.4.4.4.5. | Delivery and installation of built-in pvc box, four modules - 4M. | pcs |  | 66 | 0
16 | 3.4.4.4.6. | Delivery and installation of installation equipment brackets, four modules - 4M. | pcs |  | 66 | 0
17 | 3.4.4.4.7. | Delivery and installation of mask (frame), 4 M. | pcs |  | 66 | 0
18 | 3.4.4.4.8. | Delivery and installation of the mechanism of the ordinary installation switch 10A, 1M. | pcs |  | 130 | 0
19 | 3.4.4.4.9. | Delivery and installation of ordinary installation switch mechanism 10A, 2M. | pcs |  | 65 | 0
20 | 3.4.4.4.10. | Delivery and installation of socket with protective contacts, white. | pcs |  | 239 | 0
21 | 3.4.4.4.11. | Delivery and installation of OG power socket 2P + E, 16A, 230V, IP55. | pcs |  | 10 | 0
22 | 3.4.4.4.12. | Testing of the performed electrical installation commissioning. | pcs (aprx.) |  | 1 | 0
|  | TOTAL INSTALLATION EQUIPMENT |  |  |  | 0
V |  | LAMPS
23 | 3.4.4.5.1. | Delivery and installation of LED panels 45W, 4000K, dimensions 1195x295mm. | pcs |  | 275 | 0
24 | 3.4.4.5.2. | Delivery and installation of BELLA lamp with LED tubes 2x18W, 4000K. | pcs |  | 16 | 0
25 | 3.4.4.5.3. | Delivery and installation of LED lamps for school boards LED tubes 1x18W, 4000K. | pcs |  | 11 | 0
26 | 3.4.4.5.4. | Delivery and installation of LED panels 45W, 4000K, dimensions 595x595mm. | pcs |  | 191 | 0
27 | 3.4.4.5.5. | Delivery and installation of ceiling lamp BERTA MEDIUM ROUND with socket E 27 Ø 275mm. | pcs |  | 73 | 0
28 | 3.4.4.5.6. | Delivery and installation of built-in "Panic" lamps type "BEGHELI" 2 x 8 W LED | pcs |  | 28 | 0
|  | TOTAL LAMPS |  |  |  | 0
VI |  | EARTHING INSTALLATION
29 | 3.4.4.6.1. | Making connections of all metal masses, windows, doors, etc. in the premises of the building. | pcs (aprx.) |  | 1 | 0
|  | TOTAL EARTHING INSTALLATION |  |  |  | 0
VII |  | OTHER WORKS
30 | 3.4.4.7.1. | Small unspecified works and material. | pcs (aprx.) |  | 1 | 0
31 | 3.4.4.7.2. | Development of maintenance project (derived condition). | pcs (aprx.) |  | 1 | 0
32 | 3.4.4.7.3. | Testing of the performed high current installation. | pcs (aprx.) |  | 1 | 0
|  | TOTAL OTHER WORKS |  |  |  | 0
Public Institution Vocational High School ''Danilo Kiš'' Budva
GRAND SUMMARY
Item No. |  | Description |  |  |  | Amount (EUR)
I | 1 | DISASSEMBLY WORKS |  |  |  | 0
II | 2-6 | DISTRIBUTION CABINETS AND POWER CABLES |  |  |  | 0
III | 7-10 | POWER SUPPLIES |  |  |  | 0
IV | 11-22 | INSTALLATION EQUIPMENT |  |  |  | 0
V | 23-28 | LAMPS |  |  |  | 0
VI | 29 | EARTHING INSTALLATION |  |  |  | 0
VII | 30-32 | OTHER WORKS |  |  |  | 0
|  | TOTAL P.I. Vocational High School ''Danilo Kiš'' Budva |  |  |  | 0

## C. ELECTRIC INST. - LOW VOLTAGE
Section V - Montenegro Education Programme / Refurbishment of P. I. Vocational High School ''Danilo Kiš'' Budva
Bill of Quantities and Price Schedule LOW VOLTAGE ELECTRICAL INSTALATIONS
BoQ No | BoQ Item | TITLE | UNIT | UNIT PRICE in EUR | ESTIMATED QUANTITIES | AMOUNT in Euro excluding taxes
(a) | (b) | (c) | ( d ) | (e) | (f) | (g=e*f)
I |  | PERFORATED CABLE TRAYES AND PIPES
1 | 3.5.4.1.1. | Delivery, installation Perforated cable trays 100mm. | pcs |  | 100 | 0
2 | 3.5.4.1.2. | Delivery, installation pvc Ø16mm HF | m¹ |  | 6000 | 0
|  | TOTAL PERFORATED CABLE TRAYES AND PIPES |  |  |  | 0
II |  | SKS SYSTEM
3 | 3.5.4.2.1. | Delivery, installation and connection RACK telecommunication cabinet 42U/19" 800x800x2108mm. | pcs |  | 1 | 0
4 | 3.5.4.2.2. | Delivery, installation and connection cable FTP (4x2x0,5mm) 100OHM LSHF-FR cat.6. | m¹ |  | 9600 | 0
5 | 3.5.4.2.3. | Delivery, installation and connection optical cable 4V SM. | m¹ |  | 50 | 0
6 | 3.5.4.2.4. | Delivery, installation and connection optical patch panel 4V SM. | pcs |  | 1 | 0
7 | 3.5.4.2.5. | Delivery, installation and connection FTP patch panel, cat.6 24x RJ45,1U. | pcs |  | 8 | 0
8 | 3.5.4.2.6. | Delivery, installation organizer,1U. | pcs |  | 8 | 0
9 | 3.5.4.2.7. | Delivery, installation and connection power supplay 6x220V. | pcs |  | 3 | 0
10 | 3.5.4.2.8. | Delivery, installation and connection 2xRJ45 cat.6 in socket 2M. | pcs |  | 64 | 0
11 | 3.5.4.2.9. | Delivery, installation and connection 1xRJ45 cat.6 in socket 2M. | pcs |  | 11 | 0
12 | 3.5.4.2.10. | Delivery, installation shelf 19". | pcs |  | 2 | 0
13 | 3.5.4.2.11. | Delivery, installation and connection floor box 12M with 4xRJ45 cat.6. | pcs |  | 5 | 0
14 | 3.5.4.2.12. | Delivery, installation HDMI cable 10m. | pcs |  | 1 | 0
15 | 3.5.4.2.13. | Small material. | pcs |  | 1 | 0
16 | 3.5.4.2.14. | Testing, measuring and issuing of measurement protocols, production of documentation. | pcs |  | 187 | 0
|  | TOTAL SKS SYSTEM |  |  |  | 0
III |  | FIRE ALARM SYSTEM
17 | 3.5.4.3.1. | Delivery, installation and connection fire alarm panel 2 loops. | set |  | 1 | 0
18 | 3.5.4.3.2. | Delivery, installation and connection aku battery 12V 26Ah. | set |  | 2 | 0
19 | 3.5.4.3.3. | Delivery, installation and connection adres optical fire detector. | pcs |  | 85 | 0
20 | 3.5.4.3.4. | Delivery, installation and connection adres termic fire detector. | pcs |  | 3 | 0
21 | 3.5.4.3.5. | Delivery, installation and connection adres manuel call point. | pcs |  | 9 | 0
22 | 3.5.4.3.6. | Delivery, installation and connection adres siren. | pcs |  | 10 | 0
23 | 3.5.4.3.7. | Delivery, installation and connection base. | pcs |  | 88 | 0
24 | 3.5.4.3.8. | Delivery, installation and connection adres siren. | pcs |  | 2 | 0
25 | 3.5.4.3.9. | Delivery, installation and connection outdoor siren. | pcs |  | 1 | 0
26 | 3.5.4.3.10. | Delivery, installation and connection adres output modul. | pcs |  | 1 | 0
27 | 3.5.4.3.11. | Delivery, installation and connection telephone alarm modul. | pcs |  | 1 | 0
28 | 3.5.4.3.12. | Delivery, installation and connection cable JH(St)H2x2x0.8mm. | m¹ |  | 800 | 0
29 | 3.5.4.3.13. | Delivery, installation and connection cable JH(St)H FE 180E302x2x0.8mm. | pcs |  | 100 | 0
30 | 3.5.4.3.14. | Small material. | pcs |  | 1 | 0
31 | 3.5.4.3.15. | Testing, measuring and issuing of measurement protocols, production of documentation. | pcs (aprx.) |  | 1 | 0
|  | TOTAL FIRE ALARM SYSTEM |  |  |  | 0
IV |  | SOS SYSTEM FOR DISABLED PERSONS
32 | 3.5.4.4.1. | Delivery, installation and connection power supplay for SOS system. | pcs |  | 2 | 0
33 | 3.5.4.4.2. | Delivery, installation and connection pull release key. | pcs |  | 2 | 0
34 | 3.5.4.4.3. | Delivery, installation and connection signal lamp. | pcs |  | 2 | 0
35 | 3.5.4.4.4. | Delivery, installation and connection cable JH(St)H2x2x0.8mm. | m¹ |  | 10 | 0
36 | 3.5.4.4.5. | Testing, measuring and issuing production of documentation. | pcs (aprx.) |  | 1 | 0
|  | TOTAL SOS SYSTEM FOR DISABLED PERSONS |  |  |  | 0
V |  | SOUND SYSTEM
37 | 3.5.4.5.1. | Delivery, installation and connection P.A. 6 zone amplifier; USB/SD/MP3,480 W RMS RJ-45 230 VAC, 960 W,483 x 133 x 433 mm, 3U 19''. | set |  | 1 | 0
38 | 3.5.4.5.2. | Delivery, installation and connection Message programmer. | set |  | 1 | 0
39 | 3.5.4.5.3. | Delivery, installation and connection Desktop microphone for 6 zones ,RJ45. | set |  | 1 | 0
40 | 3.5.4.5.4. | Delivery, installation and connection outdoor horn 20W RMS IP66. | set |  | 5 | 0
41 | 3.5.4.5.5. | Delivery, installation and connection wall speaker : 20W, 100V. | set |  | 1 | 0
42 | 3.5.4.5.6. | Delivery, installation and connection volume control : 20W, 100V. | set |  | 1 | 0
43 | 3.5.4.5.7. | Delivery, installation and connection speaker 12 - 6 - 3W (100V) , IP55 in the toaletes. | set |  | 10 | 0
44 | 3.5.4.5.8. | Delivery, installation and connection ceiling speaker 12 - 6 - 3W (100V) IP44. | set |  | 26 | 0
45 | 3.5.4.5.9. | Delivery, installation and connection cable LIHCH 2x51,mm². | m¹ |  | 400 | 0
46 | 3.5.4.5.10. | Small material. | pcs |  | 1 | 0
47 | 3.5.4.5.11. | Testing, measuring and issuing production of documentation. | pcs (aprx.) |  | 1 | 0
|  | TOTAL SOUND SYSTEM |  |  |  | 0
VI |  | MULTIMEDIA EQUIPMENT
48 | 3.5.4.6.1. | Delivery, installation and connection profesional projector, Laser projector WUXGA (1920x1200), 6500 lumena SONY VPL-FHZ75L or equivalent. | pcs |  | 1 | 0
49 | 3.5.4.6.2. | Delivery, installation and connection ZOOM LENS for VPL-FHZ75L VPL-FHZ65, FHZ60, FH65 & FH60 (WUXGA 3.18 to 4.84:1)VPLL-Z3032 or equivalent. | pcs |  | 1 | 0
50 | 3.5.4.6.3. | Delivery, installation and connection console for projector, Edbak PM8.1 KITMC04508 or equivalent. | pcs |  | 1 | 0
51 | 3.5.4.6.4. | Delivery, installation and connection Infrared control. | pcs |  | 1 | 0
52 | 3.5.4.6.5. | Delivery, installation and connection electric projection screen , Wave, Front projection, 406 x 228cm, 183" ,WA406DHV or equivalent. | pcs |  | 1 | 0
53 | 3.5.4.6.6. | Delivery, installation and connection Miksete 12ch Yamaha tip MG-12XU equivalent. | pcs |  | 1 | 0
54 | 3.5.4.6.7. | Delivery, installation and connection active speaker 700W Yamaha DBR10 or equivalent. | set |  | 2 | 0
55 | 3.5.4.6.8. | Delivery, installation console LS-SS-180. | pcs |  | 2 | 0
56 | 3.5.4.6.9. | Delivery, installation and connection receiver for wireless mikrophone , 722-746 MHz.,Bosch MW1-RX-F5 or equivalent. | pcs |  | 2 | 0
57 | 3.5.4.6.10. | Delivery, installation and connection Wireless Microphone,722-746 MHz: Bosch MW1-HTX-F5 or equivalent. | pcs |  | 2 | 0
58 | 3.5.4.6.11. | Delivery, installation and connection HDMI Extendera HDMI Extender (Transmitter + Receiver / Set) or equivalent. | pcs |  | 1 | 0
59 | 3.5.4.6.12. | Testing, measuring and issuing production of documentation. | pcs (aprx.) |  | 1 | 0
|  | TOTAL MULTIMEDIA EQUIPMENT |  |  |  | 0
VII |  | VIDEO SURVEILLANCE
60 | 3.5.4.7.1. | Delivery, installation and connection IP NVR 16 ch Real Time 8Mpx/25fps; 5Mpx/25fps; 4Mpx/25fps; 3Mpx/25fps; 1080p/25fps,H.264/H.265, 2 x SATA, (2 x 8TB max), Android, iOS or equivalent. | pcs |  | 1 | 0
61 | 3.5.4.7.2. | Delivery, installation and connection HDD 4TB. | pcs |  | 2 | 0
62 | 3.5.4.7.3. | Delivery, installation and connection16-portni PoE switch + 2 x uplink port. | pcs |  | 1 | 0
63 | 3.5.4.7.4. | Delivery, installation and connection 2 Mpix day/night camera bullet , 3DNR, 1/2.8” H.265 25/30fps@1080p(1920x1080), ICR filter, WDR(120dB), 2,8 - 12 mm, , micro SD card slot do 128GB. ONVIF , IVS: Tripwire, Intrusion. 12VDC / . IP67, PoE or equivalent. | pcs |  | 4 | 0
64 | 3.5.4.7.5. | Delivery, installation and connection wall box fi 122.0mm x34.2mm. | pcs |  | 4 | 0
65 | 3.5.4.7.6. | Delivery, installation and connectione cable FTP (4x2x0,5mm) 100OHM LSHF-FR cat.6. | m¹ |  | 600 | 0
66 | 3.5.4.7.7. | Delivery, installation and connection LED monitor 24". | pcs |  | 1 | 0
67 | 3.5.4.7.8. | Small material. | pcs |  | 1 | 0
68 | 3.5.4.7.9. | Testing, measuring and issuing production of documentation. | pcs (aprx.) |  | 1 | 0
|  | TOTAL VIDEO SURVEILLANCE |  |  |  | 0
VIII |  | TV SYSTEM
69 | 3.5.4.8.1. | Delivery, installation and connection ZAU cabinet 300x300x100mm. | pcs |  | 1 | 0
70 | 3.5.4.8.2. | Delivery, installation and connection antene TV antene LOGO or equivalent. | pcs |  | 1 | 0
71 | 3.5.4.8.3. | Delivery, installation and connection Spaun HNV 30 UPE or equivalent. | pcs |  | 1 | 0
72 | 3.5.4.8.4. | Delivery, installation and connection spliter 1/4. | pcs |  | 1 | 0
73 | 3.5.4.8.5. | Delivery, installation and connection divider 1/2. | pcs |  | 2 | 0
74 | 3.5.4.8.6. | Delivery, installation and connection TV modul. | pcs |  | 5 | 0
75 | 3.5.4.8.7. | Small material. | pcs |  | 1 | 0
76 | 3.5.4.8.8. | Delivery, installation and connection cable RG-6 75Ω. | m¹ |  | 300 | 0
77 | 3.5.4.8.9. | Testing, measuring and issuing production of documentation. | pcs (aprx.) |  | 1 | 0
|  | TOTAL TV SYSTEM |  |  |  | 0
Public Institution Vocational High School ''Danilo Kiš'' Budva
GRAND SUMMARY
Item No. |  | Description |  |  |  | Amount (EUR)
I | 1-2 | PERFORATED CABLE TRAYES AND PIPES |  |  |  | 0
II | 3-16 | SKS SYSTEM |  |  |  | 0
III | 17-31 | FIRE ALARM SYSTEM |  |  |  | 0
IV | 32-36 | SOS SYSTEM FOR DISABLED PERSONS |  |  |  | 0
V | 37-47 | SOUND SYSTEM |  |  |  | 0
VI | 48-59 | MULTIMEDIA EQUIPMENT |  |  |  | 0
VII | 60-68 | VIDEO SURVEILLANCE |  |  |  | 0
VIII | 69-77 | TV SYSTEM |  |  |  | 0
|  | TOTAL P.I. Vocational High School ''Danilo Kiš'' Budva |  |  |  | 0

## D. WATER SUPPLY & SEWERAGE
Section V - Montenegro Education Programme / Refurbishment of P. I. Vocational High School ''Danilo Kiš'' Budva
Bill of Quantities and Price Schedule WATER SUPPLY AND SEWERAGE
BoQ No | BoQ Item | TITLE | UNIT | UNIT PRICE in EUR | ESTIMATED QUANTITIES | AMOUNT in Euro excluding taxes
(a) | (b) | (c) | ( d ) | (e) | (f) | (g=e*f)
I |  | PREPARATORY AND DISASSEMBLY WORKS
1 | 3.6.4.1.1. | Trimming and making slits in the wall and in the floor for dismantling the existing water supply and sewerage installations. | pcs (aprx.) |  | 1 | 0
2 | 3.5.4.1.2. | Dismantling with loading and removal to the landfill. | pcs (aprx.) |  | 1 | 0
|  | TOTAL PREPARATORY AND DISASSEMBLY WORKS |  |  |  | 0
II |  | PLUMBING
3 | 3.6.4.2.1. | Procurement, transport and installation of PPR water pipes with the required fittings. | m¹ |  | 120 | 0
4 | 3.6.4.2.2. | Procurement, transport and installation of permeable brass valves with square head nickel-plated rosette and cap. | pcs |  | 38 | 0
5 | 3.6.4.2.3. | Procurement, transport and installation of valves on wheels. | pcs |  | 18 | 0
6 | 3.6.4.2.4. | Testing of the water supply network at test pressure. | m¹ |  | 21.6 | 0
7 | 3.6.4.2.5. | Flushing and disinfection of the water supply network by the competent service with the preparation of analyzes on the correctness of drinking water. | pcs |  | 21.6 | 0
|  | TOTAL PLUMBING |  |  |  | 0
III |  | FECAL SEWERAGE
8 |  | Polypropylene low-noise sewer pipes with fittings and sealing tires.
8.1. | 3.6.4.3.1. | DN 50 | m¹ |  | 110 | 0
8.2. | 3.6.4.3.2. | DN 75 | m¹ |  | 4 | 0
8.3. | 3.6.4.3.3. | DN 110 | m¹ |  | 33 | 0
9 | 3.6.4.3.4. | Procurement, transport and installation of drains with siphon 14x14 cm. | pcs |  | 4 | 0
10 | 3.6.4.3.5. | Testing of the pipeline on test pressure | m¹ |  | 147 | 0
|  | TOTAL FECAL SEWERAGE |  |  |  | 0
IV |  | SANITARY ELEMENTS
11 | 3.6.4.4.1. | Procurement of transport and installation of ceramic toilet bowls for the disabled. | pcs |  | 2 | 0
12 | 3.6.4.4.2. | Procurement, transport and installation of toilet bowl made of sanitary ceramics. | pcs |  | 5 | 0
13 | 3.6.4.4.3. | Procurement transport and installation of a sink set. | pcs |  | 18 | 0
14 | 3.6.4.4.4. | Procurement, transport and installation of nickel-plated single-lever sink faucets. | pcs |  | 2 | 0
15 | 3.6.4.4.5. | Procurement, transport and installation of a siphon for the connection of a one-part sink. | pcs |  | 2 | 0
16 | 3.6.4.4.6. | Procurement and installation of nickel-plated doors measuring 15x20cm. | pcs |  | 2 | 0
17 | 3.6.4.4.7. | Procurement transport and installation of instantaneous water heater 2 kW. | pcs |  | 20 | 0
|  | TOTAL SANITARY ELEMENTS |  |  |  | 0
Public Institution Vocational High School ''Danilo Kiš'' Budva
GRAND SUMMARY
Item No. |  | Description |  |  |  | Amount (EUR)
I | 1-2 | PREPARATORY AND DISASSEMBLY WORKS |  |  |  | 0
II | 3-7 | PLUMBING |  |  |  | 0
III | 8-10 | FECAL SEWERAGE |  |  |  | 0
IV | 11-17 | SANITARY ELEMENTS |  |  |  | 0
|  | TOTAL P.I. Vocational High School ''Danilo Kiš'' Budva |  |  |  | 0