C L A R I F I C A T I O N S	No. 5

Procurement related to:

Vocational Equipment for Secondary Schools in Montenegro

ICB No: 24-011/25-12009/1,

issued on 04 May 2026

| No. | Question | Answer |
| --- | --- | --- |
| 1 | *Item 4.51 + 4.52 + 4.53 Laboratory patene Laboratory patene – please confirm you are referring to a evaporating dish Enamelled shallow metal lab dish – Please confirm porcelain is also acceptable With stand and spout – does the stand refer to the base of the dish or you need a tripod for Bunsen burner usage 1000ml + 500ml + 300ml – please confirm capacities of 1100ml, 450ml and 270ml are acceptable since they fall into the acceptable 10% range | Stand refers to the base. This issue is subject of Addendum No.4. for Items 4.50 + 4.51 + 4.52 |
| 2 | *Item 4.53 Mortar with pestle sets Diameter approx. 110 mm, capacity 150 mL – 2 sets Diameter approx. 90 mm, capacity 75 mL – 2 sets Are smaller diameters with bigger capacities acceptable. For example, 90mm / 170ml – 70mm / 75ml The quantity requested is 52pcs for item 4.53. Dies this mean we should offer 2x 52pcs of the 150ml and 2x 52pcs of the 75ml model. Please confirm correct quantity. | In accordance with General Technical specifications equipment specified with approximate or indicative values may vary +/- 20%. The requested quantities are correct: 52 pieces of: Mortar with pestle sets Diameter approx. 110 mm, capacity 150 mL – 2 sets Diameter approx. 90 mm, capacity 75 mL – 2 sets |
| 3 | *Item 4.64 Microscope slide pack 24 x 24 mm – usually microscope slides have a dimension of 76 x 26 mm. Please confirm this is acceptable. | Tenderers are allowed to offer better specifications. |
| 4 | Lot 4 – Medical, Lab and Dental Equipment Related to (iii) Experience and Technical Capacity requirement, is it satisfactory to submit proof - a contract the subject of procurement is delivery of medical supplies and medical equipment? | In relation to the requirement under (iii) Experience and Technical Capacity, we confirm that submitting a contract demonstrating that the subject of procurement involved the delivery of medical supplies and medical equipment is considered satisfactory as documentary evidence. Please ensure that the submitted contract clearly reflects the scope, nature of the supplies delivered etc. |