# TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Procurement of Vocational Equipment for Secondary Schools in Montenegro	p 1 /…

RFB No: 24-011/25-12009/1

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient), origin of good should be specified.

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

General Requirements

- Technical requirements

The requested technical specifications present minimum requirements. Tenderers are allowed to offer better specifications. The tenderer is required to demonstrate that offered specifications are responsive to the tender dossier requirements identifying model and manufacturer of each individual item in tenderer technical offer and providing necessary documentation such as catalogues, brochures, manuals and/or booklets that provide detailed technical specifications of equipment being offered thus enabling the Contracting Authority to check the information provided in the offer. In addition, manufacturers’ general information and websites may be requested.

Equipment specified with approximate or indicative values may vary +/- 20%.

Offered equipment must conform and/or be compatible with standards currently in force (including those in details specified in the technical specifications requirements), including any IEC, ISO, EN, CE or other relevant standards that may apply to each specific category of equipment thus, the tenderers must submit relevant standards and/or certificates as documentary evidence.

Where applicable equipment offered must conform to the relevant CE regulation/norm and carry a suitable CE badge of conformity, permanently fixed to the machine at the time of delivery. This is especially related to ICT equipment, machinery, electrical and electronic equipment, medical devices, pressure equipment, lifts, measuring instruments, etc.

Regarding safety requirements, equipment must have necessary operational warnings in accordance with current International and/or EU standards.

All IT equipment must be configured, installed and put into operation in the intended classrooms, at the locations of specific school units. All computers must have an appropriate operating system installed and updated, regional settings parameters set (language, location, units of measure, special characters, keyboard, etc.), windows defender started and updated. All computers should be connected to the existing WLAN network and through it to the Internet. All additional equipment should be provided for these needs (power supplies, connectors, cables, etc.) All installed cables should be placed and protected in appropriate parapet channels.

For all equipment requiring computer software, all the software shall be provided with the equipment, already installed, and the Supplier shall provide the latest available release version of the software with the unit supplied. All Software should be on English or Montenegrin language. Software upgrades shall be provided free of charge during the warranty period. Software must be licensed to the Beneficiary in order to allow trained personnel of the Beneficiary to perform software update/upgrade, repair/debug and/or diagnosis/report activities without Contractor assistance. The supplier will provide all the details related to the type of license, especially considering the language options, the software license duration, possible time extensions etc.

Equipment allowing capacity upgrading must be provided in a way that upgrades can be performed by installing additional capacity, without discarding the already installed capacities.

All electrical equipment shall be fitted with Montenegro plugs or supplied with adapters for connection to Montenegro plug sockets. All panels, keyboards and labels will be in English and/or in Montenegrin. Electrical supply is 220V/50 Hz;

Where specified in the technical specifications’ requirements: Manufacturer’s Authorization document is referring to the manufacturer's certificate attesting to the bidders’ eligibility to offer and sell the products that are the subject of the procurement and subsequently provide warranty service. The certificate needs to mention the public procurement in question and be in the bidder's name.

Upon delivery of the goods, technical documentation for equipment (such as instruction manual for the use, maintenance, calibration, booklets with experiments, etc.), in Montenegrin and English shall be provided for all delivered items and software.

For the purposes of the commentary to be furnished, the Tenderer shall note that standards for workmanship, material, and equipment, as well as references to brand names designated by the Contracting Authority in technical specifications, are intended to be descriptive only and not restrictive. The Tenderer may substitute alternative standards and brand names in its tender, provided that it demonstrates to the Contracting Authority’s satisfaction that the substitutions ensure substantial equivalence to those designated in the technical specifications and any other product of equal or superior quality or performance is acceptable.

- Installation requirements

Installation means delivery to site, unpacking, removal of packing material, minor construction works necessary for installation, assembly, testing and initial setup. Equipment should be fully functional for provisional acceptance.

The positioning of individual equipment in schools and school classrooms should be coordinated with the representatives of the Ministry of Education, Science and Innovation of Montenegro and the management of school institutions.

The Ministry of Education, Science and Innovation of Montenegro and schools are responsible for ensuring that the overall school facility will be prepared to receive equipment, including the energy and utility infrastructure in classrooms and workshops, WLAN, the presence of water and sewage installations in laboratories and where needed, and the furniture necessary for equipment use, display, or storage.

For the equipment requiring site preparation pre-installation services is obligatory. This should include check of delivery sites and requirements for utility connections and other auxiliary support the latest one months after signing of the contract. During pre-installation visit it shall be the sole responsibility of the Contractor to check all site dimensions and utility connections for equipment installation before the commencement of delivery. The contractor is required to give the schools site preparation drawings and comprehensive instructions for necessary construction works. The contractor is responsible for any minor works necessary for the equipment installation, connection on utilities, anchoring etc.

Equipment delivery, including final installation must include all miscellaneous but needed items and consumables for equipment delivery and installation in order that the supplies are left in place fully operational and ready for use. Consumables used during delivery, installation and during testing time before provisional acceptance, must be anticipated and calculated in the offer.

The Supplier must provide necessary measures to prevent any damage during any/all delivery and installation stage(s). If damage occurs it must be rectified in an appropriate way by the Contractor, which must keep the work site clean and safe against fire and/or other hazards during any/all delivery and installation stage(s) until formal acceptance.

- Training

Unless otherwise specified in the detailed technical specifications below, training should be provided for at least 2 persons at each delivery site for every installed item. On-the-job training should ensure correct operation and maintenance of the equipment and software where applicable. The length of the training shall be adequate to the technical characteristics and maintenance requirements of the equipment supplied and shall allow the final user to properly handle equipment. The training material must be provided on minimum 1 (one) electronic media and in minimum 1 (one) hard copy per trainee. The training should be in Montenegrin language (or interpretation must be provided by the contractor). The performance of the equipment against the required technical specifications shall be verified as part of the training.

Specialised trainings specified in the detailed technical specifications requirements should be organised for at least 2 persons from each school receiving the item/s and should include, but not be limited to following topics:

- Practical start-up training on all main features of the specified item and/or software

- Safety measures

- Machines control and basic of equipment programming

- Practical exercises

- Location in one of the schools or in supplier’s training premises if based in Montenegro. Exact location to be agreed with the Ministry of Education, Science and Innovation of Montenegro.

- Minimum duration as specified in the detailed technical specifications

Tenderer shall submit training programme presenting, per item, training topics and training duration. Starting date and time-table of the training courses should be determined by mutual agreement between the Beneficiary and the Supplier.

- Warranty:

The warranty for all items must remain valid for 1 year after provisional acceptance.

Warranty services within the warranty period shall be performed by the Contractor or by the manufacturers or by the manufacturers’ representative on site. A description of the warranty service shall be included in the offer presenting in what way warranty service will be arranged for each item offered.  The Contractor shall maintain a telephone hotline for first level support. The hotline shall be operational Monday through Friday during working hours 8.00 – 16.00 h (Eastern European Time). A solution to any reported problem shall be presented to the beneficiary by the Contractor within 8 working hours and if necessary, on-site problem solving within one working day.

Unless otherwise specified in the detailed technical specifications below, in addition to the 1-year warranty period, in case a commercial warranty is extended by the manufacturer, the Contractor will provide the beneficiary with the Manufacturer’s commercial warranty.  A description of the Manufacturer’s commercial warranty shall be included in the offer including conditions, procedures and information on places for claiming such warranty.

Lot 1 - IT and photo equipment, simulators and CNC machines

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| LOT 1 | IT and photo equipment, simulators and CNC machines |  |  |  |  |
| 1.1 | Digital SLR Camera Body Sensor: Full-Frame CMOS, minimum 40 Megapixels effective resolution ISO Range: Minimum native ISO 100-51200 Autofocus System: Minimum 1000 Automatic AF zones, Wide coverage across the sensor area (Minimum 90% vertical and horizontal) Minimum 5-axis stabilization providing at least 5.0 stops of compensation Video Recording: Minimum 4K UHD (3840x2160) at 60 fps OLED Electronic Viewfinder, Minimum 3.6 million dots LCD Screen: Minimum 3.0 inches diagonal, Minimum 1.0 million dots Connectivity: Wi-Fi, Bluetooth, USB Type C, HDMI, 3.5mm Stereo In/Out Storage: Dual card slots Must support at least one current high-speed format (CFexpress Type B or SD UHS-II) Lens Mount: Bidder must clearly state the native lens mount system of the proposed camera model Body: Magnesium alloy construction, Dust and moisture resistant Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 1.2 | Standard Zoom Lens ‏Lens Mount: Compatible with Item 1 Focal Length: 24-105mm Maximum Aperture: constant maximum aperture of f/4 throughout the entire zoom range Image Stabilization: Optical image stabilizer within the lens Autofocus Motor: Minimum Focusing Distance 0.50 m or closer Weather Resistance: Dust and moisture resistant sealing Control Interface: Standard focus and zoom rings, customizable control ring Accessories: lens caps and hood Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 3 |  |  |  |
| 1.3 | Standard Prime Lens ‏Lens Mount: Compatible with Item 1 Focal Length: 50mm Maximum Aperture: f/1.4 Autofocus Motor Weather Resistance: Dust and moisture resistant sealing Physical aperture ring or customizable control ring on the lens body Accessories: lens caps and hood Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 3 |  |  |  |
| 1.4 | Telephoto Zoom Lens ‏Lens Mount: Compatible with Item 1 Focal Length: 100-400mm Maximum Aperture: f/5.6-8 Image Stabilization: Optical Image Stabilizer included Autofocus Motor Includes front and rear lens cap Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 3 |  |  |  |
| 1.5 | Macro Prime Lens Lens Mount: Compatible with Item 1 Focal Length: 100mm Maximum Aperture: f/2.8 Macro Capability with a maximum magnification of at least 1.4x Image Stabilization Autofocus Motor Accessories: lens caps and hood Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 3 |  |  |  |
| 1.6 | Wide-Angle Zoom Lens ‏Lens Mount: Lens Mount: Compatible with Item 1 Focal Length: 14-35mm Maximum Aperture: f/4 Image Stabilization Accessories: lens caps and hood Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 3 |  |  |  |
| 1.7 | Mirrorless Digital Camera Kit & Telephoto Lenses ‏- Camera body Sensor: CMOS, minimum 24 MP resolution Autofocus: Dual Pixel AF, minimum 600 focus points Continuous Shooting: Minimum 15 fps (mechanical), 23 fps (electronic) Video Recording: 4K 60p Connectivity: USB, Wi-Fi, Bluetooth Display: Touchscreen LCD Storage: UHS-II SD card slot Accessories: Battery, charger, cables - Zoom Lens Focal Length: 18-150mm Aperture: f/3.5-6.3 Image Stabilization: Optical Autofocus: Motor Accessories: Lens cap and pouch - Telephoto zoom lens Focal Length: 70-200mm Aperture: f/2.8 Image Stabilization: Optical Autofocus: Dual motor Accessories: Lens cap, hood, and case Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, 900 of Conformity | 14 |  |  |  |
| 1.8 | All-in-One Desktop Computer ‏Processor: CPU with the PassMark CPU benchmark rating of at least 19000 (https://www.cpubenchmark.net) RAM: Minimum 8GB DDR5 Storage: Minimum 512 GB SSD Display: 27-inch IPS, Anti-Glare, minimum Full HD (1920x1080) resolution, non-touch Graphics: Integrated UHD Graphics Audio: Integrated HD audio, Stereo speakers Operating System: Windows 11 Home (or current version) pre-installed Connectivity: Wi-Fi (minimum 802.11ax), Bluetooth, Gigabit Ethernet, minimum 4 x USB ports, HDMI In Accessories: Keyboard and Mouse (matching language layout for Montenegro - Latin) Camera: Integrated, minimum 5 megapixel, with privacy shutter, microphone Compliant standards: RoHS, Energy star Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 30 |  |  |  |
| 1.9 | Uninterruptible Power Supply (UPS) ‏Capacity: 2000 VA / Minimum 1200 W Technology: Line-Interactive Output Sockets: Minimum 4x Schuko Communication: USB port, management software | 6 |  |  |  |
| 1.10 | External Optical Drive External DVD-RW USB Drive Interface: USB 3.0 (or higher, backward compatible with USB 2.0) Functions: Reads and Writes CD-R, CD-RW, DVD-R, DVD+R, DVD-RW, DVD+RW formats Power: USB powered (no separate AC adapter required) Compatibility: Windows and macOS compatible | 6 |  |  |  |
| 1.11 | External Hard Drive External 1 TB USB 3.2 Rugged/Shielded HDD Capacity: 1 TB Interface: USB 3.2 Gen 1 (or higher, backward compatible) Drive Type: 2.5” SSD or NVME Features: Ruggedized or shielded casing providing shock, drop, and water/dust resistance Compatibility: Windows and macOS compatible | 6 |  |  |  |
| 1.12 | Projector Projection Technology: 3LCD or DLP Resolution: Native WXGA (1280 x 800) Brightness: Minimum 3,5000 ANSI Lumens Contrast Ratio: Minimum 15,000:1 Lamp Life: Minimum 5,000 hours (standard mode), 10,000 hours (eco mode) Connectivity: Minimum 1x HDMI, 1x VGA, 2 x USB Features: Keystone correction, built-in speaker Accessories: remote control and power cable Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 6 |  |  |  |
| 1.13 | Graphics Display Tablet Active Area Size: Minimum 13.3 inches diagonal Resolution: Minimum Full HD (1920 x 1080) Pen Technology: Battery-free pen Pressure Levels: Minimum 8000 levels Tilt Support: Minimum ±50 degrees Connectivity: USB-C Accessories: Pen, cables | 15 |  |  |  |
| 1.14 | Monitor 34” ‏Screen Size: 34 inches diagonal Panel Type: OLED Resolution: Minimum 3440 x 1440 Aspect Ratio: 21:9 Refresh Rate: Minimum 175 Hz Response Time: 0.5 ms (GtG) or lower Connectivity: Micro or HDMI 2.1, Mini or DisplayPort 1.4, USB-C with power delivery | 1 |  |  |  |
| 1.15 | Studio Flash Kit Power: Minimum 600 Ws per flash unit, 2 flash units Recycle Time: Maximum 1 second Flash Duration: 1/2000s - 1/800s Color Temperature: 5600K Mount: Bowens accessory mount Modeling Lamp: Minimum 100W Triggering: Wireless control, sync cord, slave Accessories: Light stands, softbox, umbrella, wireless trigger, carrying case | 1 |  |  |  |
| 1.16 | Drone Kit Camera System: Dual-camera setup with wide-angle and telephoto lenses Image & Video Quality: 48 MP stills, 4K video recording Flight Time: Minimum 45 minutes per battery charge Obstacle Avoidance: Omnidirectional sensing system Controller with built-in display Connectivity: GPS, Galileo, BeiDou Accessories: Batteries, charging hub and carrying case | 1 |  |  |  |
| 1.17 | Professional Camcorder ‏Sensor: Minimum 1.0-inch type image sensor Lens: Integrated zoom lens with minimum 15x optical zoom ratio and optical image stabilization. Manual control rings for focus, zoom, and iris Recording Formats: supporting 4:2:2 10-bit colour sampling and H.264/AVC. Recording Resolution & Frame Rates: 4K UHD (3840 x 2160 pixels) at frame rates up to 50p/59.94p Audio Recording: Minimum 2-channel Linear PCM Connectivity: 1 x 12G-SDI, 1x HDMI Output, XLR audio, 1x 3.5mm Headphone Output jack, 1x Ethernet Port (RJ45), 1x USB Port, Built-in Wi-Fi (2.4 GHz / 5 GHz bands) Recording Media: Two memory card slots Display & Viewfinder: Vari-angle LCD Touchscreen (minimum 3.0-inch diagonal), Electronic Viewfinder Power: Must operate using battery and include capability for mains power operation via an AC adapter Included Accessories: Lens Hood, one rechargeable battery, Battery Charger, AC Adapter with power cable Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.18 | Professional Photo & Film Scanner Scanner Type: Dedicated Film Scanner with Motorized Film Transport System Optical Resolution: Minimum 5200 dpi Colour Depth: 48-bit Film Scanning: Supports 35mm slides, 35mm film strips, 120mm film strip Features: Digital dust/scratch removal Connectivity: USB 2.0 Film scanning software Accessories: USB and Power Cable, film holders Obligatory documentation: Manufacturer’s Authorization, Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.19 | High-Speed Document Scanner ‏Scanner Type: A3 Sheetfed Document Scanner Scanning Speed: Minimum 60 ppm / 120 ipm (A4, 200/300 dpi, B&W/Color) Optical Resolution: 600 dpi Automatic Document Feeder (ADF): Minimum 100 sheets capacity Duty Cycle: Minimum 25,000 pages per day Paper Handling: Supports various sizes up to A3, long paper scanning, passports, plastic cards Features: Double Feed Detection, Paper Protection Sensor Connectivity: USB 3.0 Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.20 | Large Format Graphics Scanner ‏Scanner Type: A3 Flatbed Color Scanner Optical Resolution: Minimum 2400 x 4800 dpi Color Depth: 48-bit Maximum Scan Area: minimum 300 x 420 mm Transparency Unit: Must include A3 Transparency Unit for scanning film/transparencies Connectivity: USB 2.0 Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.21 | Portable Document Scanner Scanner Type: Portable Sheet-fed Color Scanner Scanning Speed: Maximum 6 seconds per page (A4, 200/300 dpi) Optical Resolution: 600 dpi Paper Handling: Single sheet feed, supports sizes up to A4, business cards, receipts Power: USB Powered Connectivity: USB 2.0 Weight: Maximum 300 g Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.22 | Plotter Printer Type: Large Format Color Inkjet Printer Media support: A1 size paper, 36” roll Print Resolution: Minimum 2400 x 1200 dpi Print Speed: Minimum A1 print in maximum 35 seconds Media Handling: Roll feed, Sheet feed, Auto Cutter Connectivity: USB 3.0, Gigabit Ethernet, Wi-Fi, Wi-Fi Direct Memory: Minimum 1GB Accessories: Floor Stand, Cables Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.23 | A3 Colour Multifunction Printer Type: A3 Colour Laser Functions: Scan, print, copy Print Resolution: 1200 x 1200dpi Print Speed A4: 35 pages / min Time to first page: up to 8 seconds Memory: 4 GB Monthly Duty Cycle: minimum 15,000 Pages Paper input capacity: 1000 sheets, ADF 100 sheets Duplex: Integrated Duplex printing and 2-sided scanning Connectivity: USB 3.0; Ethernet 10/100/1000 Cartridges: Set of cartridges for minimum 100,000 pages Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.24 | A4 Colour Multifunction Printer ‏Type: A4 Colour Laser Functions: Scan, print, copy Print Resolution: 1200 x 1200dpi Print Speed A4: 20 pages / min Memory: 512 MB Monthly Duty Cycle: minimum 30,000 Pages Paper input capacity: 250 sheets, ADF 50 sheets Duplex: Integrated Duplex printing Connectivity: USB 2.0; Ethernet 10/100/1000; Wi-Fi 802.11n Cartridges: Set of cartridges for minimum 500 pages Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 1.25 | Compact LED Focusing Spot Light ‏Power Output: 30W (DC adapter), 10W (battery/power bank) Brightness Adjustment: 10% – 100% Beam Angle: Adjustable up to 55° Display: LCD panel Power Supply Options: DC adapter, Li-ion battery, USB power bank Accessories: Power adapter, carrying case | 6 |  |  |  |
| 1.26 | Desktop 3D Printer Printing Technology: Fused Filament Fabrication Build Volume (W × D × H): Minimum 250 × 250 × 250 mm³ Filament Diameter: 1.75 mm Hot End: Capable of printing common materials, including minimum PLA and PETG Heated Bed: Must include a heated build platform Connectivity: Wired Ethernet or wireless Wi-Fi File Transfer: Support for transferring print files via physical media (SD card or USB drive) is required Software: Compatible with standard G-code slicing software. Ability to control printer operations via a computer or integrated interface Accessories: The printer shall be supplied with all necessary power cables and basic tools required for initial setup and operation Consumables (1.75 mm filament diameter): PC ABS Natur 6 Kg, PLA White 6 Kg, PC Natur 6 Kg, PETG Green 6 Kg, PETG Yellow 6 Kg, ABS Red 6 Kg 3D Printers and Scanners Specialised Training – One day | 5 |  |  |  |
| 1.27 | 3D Scanner Accuracy: Point accuracy of 0.05 mm or better Resolution: 3D resolution of 0.2 mm or finer Scanning Speed: Minimum scanning speed of 10 frames per second (fps) Minimum Scan Volume: Capable of accurately scanning objects as small as 20mm x 20mm x 20mm Maximum Scan Volume: Capable of scanning objects up to minimum 1m x 1m x 1m Light Source: Safe for human eyes (LED, NIR) Ability to export 3D models in common formats (STL, OBJ, PLY). Connectivity: USB Accessories: Power adapter, Data cable, tripod, carrying case 3D Printers and Scanners Specialised Training – One day | 1 |  |  |  |
| 1.28 | Desktop Computer Case: Tower CPU: CPU with the PassMark CPU benchmark rating of at least 37000 (www.cpubenchmark.net) RAM memory: 32 GB DDR5 Hard disk drives: 1 TB SSD Graphic adapter: GPU with average G3D Mark rating of at least 28000 (www.videocardbenchmark.net) Sound card: integrated, on-board Network adapter: 10/100/1000Mbps on-board Mainboard interfaces: 6 x USB 3.2 (of those 4 USB located on front side of the workstation case), 2 x Display Port and 1 x HDMI, 1xRJ-45 Free expansion slots: 1 x PCIe x16, 1 x PCIe x1 Input devices: Keyboard, Optical mouse with scroll function Operating System: Windows 11 Pro x64 preinstalled or equivalent Compliant standards: RoHS, TCO Monitor: Size: 27"; Resolution: 1920x1080, Response time: maximum 5ms; Contrast: 1000:1; Brightness: 300cd/m2; Connectivity: Digital port compatible with PC digital output, Certifications: RoHS, TCO, Energy Star, EPEAT Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 7 |  |  |  |
| 1.29 | Interactive Flat Panel Display ‏Screen Size: 86 inches diagonal Resolution: 4K Ultra HD (3840 x 2160) Brightness: Minimum 450 cd/m² Touch Technology: Infrared (IR) touch, minimum 20 points multi-touch Memory/Storage: 8GB/128GB Connectivity: Minimum 2 x HDMI In, 1 x HDMI Out, 2 x USB in ports, USB Type C 65W out, LAN, Wi-Fi, Bluetooth, NFC, OPS slot Operating System: Embedded Android 15 OS Features: Built-in stereo speakers with subwoofer, anti-glare tempered glass, wireless screen sharing capability Accessories: 2 styluses/pens, remote control, wall mount bracket Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.30 | Graphics Board Size: Active area minimum 250 x 190 mm Connectivity: USB and Bluetooth Pen Technology: Cordless, battery-free Pressure Levels: Minimum 4000 levels Power: Integrated Li-Ion battery, minimum 12 hours of continuous operation time | 1 |  |  |  |
| 1.31 | Large-Format Inkjet Printer/Cutter Type: Eco-Solvent Inkjet Printer/Cutter Maximum Media Width: minimum 54 inches Ink Type: Four colours (Cyan, Magenta, Yellow, and Black) Print Resolution: 1200 dpi Cutting Feature: Integrated contour cutting function Connectivity: Gigabit Ethernet Software: RIP software Features: Touch Panel control, Automatic Pinch Rollers, Media Take-up system Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.32 | Professional 3D Printer Technology: Fused Filament Fabrication Build Volume: Minimum 220 x 180 x 200 mm Extrusion: Dual Extrusion with swappable Print Cores Supported Materials: PLA, Tough PLA, Nylon, ABS, CPE, CPE+, PC, PP, TPU 95A, PVA, Breakaway. NFC material detection. Layer Resolution: Minimum 20 - 200 micron Build Plate: Heated Glass Build Plate, Active Bed Leveling Features: Enclosed front, Touch Screen interface, Internal Camera Connectivity: USB port, Wi-Fi, Ethernet Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity 3D Printers and Scanners Specialised Training – One day | 1 |  |  |  |
| 1.33 | Colour Laser Multifunction Printer ‏Functions: Scan, print, copy Print technology: Color Laser Print Resolution: 1200 x 1200dpi Print Speed A4: 30 pages / min Time to first page: up to 8 seconds Memory: 512 MB Maximum Monthly Duty Cycle: 50,000 Pages Paper input capacity: 250 sheets, ADF 50 sheets Duplex (two-sided) printing: Integrated Duplex Connectivity: USB 2.0; Ethernet 10/100/1000; Wi-Fi 802.11n Cartridges: Set of cartridges for 1,000 pages Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.34 | Digital Oscilloscope Bandwidth: Minimum 100 MHz Channels: 2 Sample Rate: Minimum 1 GSa/s Display: Color LCD screen, minimum 7" Memory Depth: ≥ 50 Mpts Waveform Capture Rate: ≥ 500,000 wfms/s Connectivity: USB Additional Features: FFT analysis, automatic measurements and math functions Accessories: Standard probes, power cord, USB cable Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 1.35 | Automotive electronics simulator Simulation of automotive electrical systems Desk-type didactic electronic board with circuits blocks and software Educational Objectives: Battery and fuses Horn and relay Lighting system circuits Brake lights Solenoid Engine starting control Diagnostic and identification of electrical faults Introduction of faults directly on board or through software Realistic troubleshooting exercises Equipped with a didactic software allowing topic study through PC Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 1.36 | Charging and ignition circuits simulator Desk-type didactic electronic board with circuits blocks and software Educational Objectives: Alternator principles Engine simulator & Strobe light with speed regulation Ignition system AC to DC conversion Tachogenerator Ignition with Hall Effect switch Stroboscopic lights Electronic ignition Diagnostic and identification of electrical faults Introduction of faults directly on board or through software Realistic troubleshooting exercises Equipped with a didactic software allowing topic study through PC Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 1.37 | CAN BUS automotive electrical trainer Desk-type didactic electronic board with circuits blocks and software Educational Objectives: Automotive Electrical Components and their symbols Introduction to CAN BUS and its standards Operation of the CAN BUS system and vehicle electrical wiring Signal multiplexing Analog / Digital signal Conversion Diagnostic and identification of electrical faults Introduction of faults directly on board or through software Realistic troubleshooting exercises Equipped with a didactic software allowing topic study through PC Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.38 | Engine control - sensors and actuator simulator Desk-type didactic electronic board with circuits blocks and software Educational Objectives: Simulation of sensors and actuators such as Throttle Position Sensor and actuator, Air Temperature Sensor, Engine Coolant Temperature Sensor, Knock Sensor, Oxygen Sensor, Accelerator Pedal Position, MAP sensor, Exhaust gas recirculation, Fuel Electro Injectors, Fuel pump, etc. Diagnostic and identification of electrical faults Introduction of faults directly on board or through software Realistic troubleshooting exercises Equipped with a didactic software allowing topic study through PC Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.39 | Braking system simulator Desk-type didactic electronic board with circuits blocks and software Educational Objectives: Classic braking system ABS / ASR / ESP braking system Electronic Control Unit for controlling simulated pump and solenoid valves and reading in real time vehicle speed, breaking force and other system variables 2 front or 4 wheels with speed control and display OBD diagnosis socket Diagnostic and identification of electrical faults Introduction of faults directly on board or through software Realistic troubleshooting exercises Equipped with a didactic software allowing topic study through PC Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.40 | Power supply with interface box Universal power supply for didactic electronic boards desk-type Interface box with virtual instruments including: two channel oscilloscope, function generator, multimeter, pulse generator, voltmeter, spectrum analyser, etc. USB port Set of cables and connectors Software Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 1.41 | Engine starting simulator Vertical frame bench-top simulator consisting of a panel controlled by PC with a coloured silk-screen diagram showing the structure of the system Educational Objectives: Analyses of starting techniques Conventional ignition through contacts Transistor ignition through contacts Transistor ignition through Hall transducer Electronic ignition Diagnostic and identification of electrical faults Insertion of faults from PC Realistic troubleshooting exercises Equipped with a Computer Aided Interpretation software allowing topic study through PC Panel dimensions approx. (LxH): 900 x 700 mm Power supply, cables and accessories Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.42 | Electric starting components simulator Vertical frame bench-top simulator consisting of a panel controlled by PC with a coloured silk-screen diagram showing the structure of the system Educational Objectives: Charging, discharging and servicing of batteries Starter and starting motor Alternator Connecting circuits Diagnostic and identification of electrical faults Insertion of faults from PC Realistic troubleshooting exercises Equipped with a Computer Aided Interpretation software allowing topic study through PC Panel dimensions approx. (LxH): 900 x 700 mm Power supply, cables and accessories Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.43 | Ignition system simulator Vertical frame bench-top simulator consisting of a panel controlled by PC with a coloured silk-screen diagram showing the structure of the system Educational Objectives: Simulation of electronic ignition system Ignition angle and ignition timing, ignition according to engine speed, load and temperature Spark plugs Coolant temperature sensor Manifold absolute pressure (MAP) sensor Knock sensor Diagnostic and identification of electrical faults Insertion of faults from PC Realistic troubleshooting exercises Equipped with a Computer Aided Interpretation software allowing topic study through PC Panel dimensions approx. (LxH): 900 x 700 mm Power supply, cables and accessories Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.44 | Ignition system training panel Demonstration panel with structure and operation of the engine ignition systems based on real components of ignition systems Educational Objectives: Mechanically timed ignition system Hall effect electronic ignition system Magnetic trigger electronic ignition system Optical trigger electronic ignition system Distributorless ignition system, two spark plug Distributorless ignition system, Coil-On-Plug Faults setting system Realistic troubleshooting exercises Mobile panel with castors Dimensions approx..: 180x220x70 cm (HxLxW) Power supply, cables and accessories Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.45 | Automotive electric circuits simulator Vertical frame bench-top simulator consisting of a panel controlled by PC with a coloured silk-screen diagram showing the structure of the system Educational Objectives: Lights system including head light, turn signal system, fog light, etc Power supply and starting system Fuel injection system Electronic ignition system Charging system Ventilation system Engine cooling system Diagnostic and identification of electrical faults Insertion of faults from PC Realistic troubleshooting exercises Equipped with a Computer Aided Interpretation software allowing topic study through PC Panel dimensions approx. (LxH): 900 x 700 mm Power supply, cables and accessories Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.46 | Engine control – sensors Vertical frame bench-top simulator consisting of a panel controlled by PC with a coloured silk-screen diagram showing the structure of the system Educational Objectives: Sensors, transducer and actuators use in engine management control Temperature sensor Pressure sensors Air flow rate sensor Position sensor Rpm/reference point sensor Oxygen sensor Knock sensor Level Sensor Inertial sensor Diagnostic and identification of electrical faults Insertion of faults from PC Realistic troubleshooting exercises Equipped with a Computer Aided Interpretation software allowing topic study through PC Panel dimensions approx. (LxH): 900 x 700 mm Power supply, cables and accessories Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.47 | Auxiliary electric systems trainer Vertical frame bench-top simulator consisting of a panel controlled by PC with a coloured silk-screen diagram showing the structure of the system Educational Objectives: Auxiliary electrical systems Power windows Cruise control Electrical adjustments of seats position Anti-theft alarm installation Automatic sun-roof Automatic lighting regulation Multimedia set Diagnostic and identification of electrical faults Insertion of faults from PC Realistic troubleshooting exercises Equipped with a Computer Aided Interpretation software allowing topic study through PC Panel dimensions approx. (LxH): 900 x 700 mm Power supply, cables and accessories Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.48 | Automotive actuators and sensors training panel Demonstration panels with structure and operation of of sensors and actuators in a car system Educational Objectives: Throttle control unit Accelerator pedal position sensor Air-fuel ratio oxygen sensor Hall sensor Coolant temperature sensor Air flow meter Ignition coil and ignition module Canister solenoid valve Oxygen sensor Intake air temperature sensor Knock sensor Boost air recycle solenoid valve Boost pressure sensor Boost pressure limit solenoid valve Camshaft regulating valve Crankshaft position sensor Oil pressure switch Coolant level switch Oil level & temperature sensor Faults setting system Realistic troubleshooting exercises Mobile panel with castors Dimensions approx..: 180x160x70 cm (HxLxW) Power supply, cables and accessories Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.49 | Automotive electrical / electronic training system Demonstration panel with structure and operation of the automotive electrical / electronic systems based on real components Educational Objectives: Electrical connection of starting system Ignition system Charging system Fuel pump relay Fuel pump indicator Windshield wiper system Lighting system: head light, turn signal system, reverse light circuit, brake light circuit, fog light circuit Horn circuit Electric window Electric door lock, Door closing system Faults setting system Realistic troubleshooting exercises Mobile panel with castors Dimensions approx..: 180x220x70 cm (HxLxW) Power supply, cables and accessories Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
|  | CNC Classroom One CNC Classroom per each school consisting of: Didactic CNC mill – 1pc Didactic CNC lathe – 1pc PC for Control and Programming – 16 pcs Educational Multi Licence software package for CNC programming, 3D simulation and Machine Controls for turning and milling Networking CNC Machines Specialised Training – 2 days |  |  |  |  |
| 1.50 | Didactic CNC Mill PC controlled 3 axis CNC tabletop mill Working area: Working table surface: 420x120mm Travel in X-axis: 190 mm Travel in Y-axis: 140 mm Travel in Z-axis: 250 mm Spindle to table: 240 mm Spindle taper:ISO30 Number of T-slots: 2 Main drive: Asynchronous AC, power: 0,75 kW Spindle maximum rotation speed: 3500 rpm Feed drives feed rate X / Y / Z: 2m/min Resolution: Machine resolution: 0,01mm Tool system: Integrated automatic tool changer Number of tool stations:6 Safety: Fully enclosed working area Emergency off switch Control system: Interchangeable control unit with cable Sinumerik 840D/828D or equivalent keyboard module Software: CNC programming, 3D simulation and machine control software Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity Accessories: Stand cabinet with space for PC and peripherals Compressor: 100L, 10 bar Machine vice-mechanic Clamping rails Collet holder Shell and mill arbour Top holder Collet kit 2-14mm Edge tracer Milling tools: - Slot milling cutter HSS, DIN 327-shape B milling cutter 3mm (shaft 6mm) milling cutter 4mm (shaft 6mm) milling cutter 5mm (shaft 6mm) milling cutter 6mm (shaft 6mm) milling cutter 8mm (shaft 8mm) milling cutter 10mm (shaft 10mm) milling cutter 12mm (shaft 12mm) - Heavy duty shank end mill HSS, DIN 844-shape A milling cutter 8mm (shaft 8mm) milling cutter 10mm (shaft 10mm) milling cutter 12mm (shaft 12mm) milling cutter 16mm (shaft 16mm) - Radius cutter HSS shaft 6mm shaft 8mm - Angle cutter HSS, DIN 1833-shape A-60 milling cutter 16mm, shaft 12mm - Angle cutter HSS, DIN 1833-shape B-45 milling cutter 16x4mm, shaft 12mm - Shell end mill HSS finishing and roughing teeth 40x20mm, boring hole 16mm Boring tools - Set of twist drills HSS 25 twist drills 1-13mm (increments 0.5mm) 9 twist drills 2-10mm (increments 1mm) - Set of core hole drills HSS 5 core hole drills 2.5, 3.3, 4.2, 5.0, 6.8 - Centre drill HSS 6.8mm A8, DIN333 - Set of taps HSS, DIN 352/371 5 taps M3-M8 | 2 |  |  |  |
| 1.51 | Didactic CNC Lathe PC-controlled 2-axis CNC tabletop lathe Working area: Swing over bed: 130mm Distance between centres: 210mm X-axis travel: 60mm Z-axis travel: 280 mm Main drive: Asynchronous motor, 3 phase: 1 kW Spindle maximum rotation speed: 4200 rpm Feed drives: X/Z axis federate: 3m/min Resolution: Machine resolution: 0,01mm Tool system: Programmable tool turret Number of tools holding fixtures: 8 Safety: Fully enclosed working area Emergency off switch Control system: Interchangeable control unit with cable Sinumerik 840D/828D or equivalent keyboard module Software: CNC programming, 3D simulation and machine control software Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity Accessories: Stand cabinet with space for PC and peripherals 3 jaw chuck Tailstock accessories Tool turret accessories Tool pre-setting device Tools Turning tools - Side tool right - Side tool left - Side tool neutral - External thread tool max. pitch 1.5mm - Internal thread tool 10x60, max. pitch 1.5mm - Boring bar 10x60mm - Cutting off tool HM-indexable inserts - Set of 10 HM-index able inserts for aluminium suitable for tool no. 1, 2, 3 and 6 - Set of 5 HM index able inserts for external threads, max. pitch 1.5mm suitable for tool no. 4 - Set of 5 HM index able inserts for internal threads, max. pitch 1.5mm suitable for tool no. 5 - Set of 5 HM index able inserts for cutting-off tool suitable for tool no. 7 Drilling tools - Centre drill, A8, HSS, DIN 633 - Set twist drills, 2-12mm, graduation 1mm Twist drill -12mm | 2 |  |  |  |
| 1.52 | PC for Control and Programming ‏Case: SFF or Small Tower (maximum volume 20 L) CPU: CPU with the PassMark CPU benchmark rating of at least 30000 (www.cpubenchmark.net) RAM memory: 32 GB DDR5 Hard disk drives: 1 TB SSD Graphic adapter: GPU with average G3D Mark rating of at least 5850 (www.videocardbenchmark.net) Sound card: integrated, on-board Network adapter: 10/100/1000Mbps on-board Mainboard interfaces: 6 x USB 3.2 (of those 4 USB located on front side of the workstation case), 2 x Display Port and 1 x HDMI, 1xRJ-45 Free expansion slots: 1 x PCIe x16, 1 x PCIe x1 Input devices: Keyboard, Optical mouse with scroll function Operating System: Windows 11 Pro x64 preinstalled or equivalent Additional Software: Educational Multi Licence software package for CNC programming for turning and milling, 3D simulation, Machine controls and Virtual machine control panel with on-screen interchangeable keyboard Compliant standards: RoHS, TCO Monitor: Size: minimum 23" Touchscreen; Resolution: 1920x1080, Response time: maximum 5ms; Contrast: 1000:1; Brightness: 250cd/m2; Connectivity: Digital port compatible with PC digital output, Certifications: RoHS, TCO, Energy Star, EPEAT Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 32 |  |  |  |
| 1.53 | Pneumatics/ Electropneumatic training set Pneumatic and Electropneumatic training set should contain suitable components for basic level and advanced level applications Set should include minimum 25 modules mountable on a vertical frame Possibility for setting sequential cycles by following standard procedures Set should include following components: Slide valve, filter-regulator with manometer and distributor, hand operated mini valves, manometers, 3/2, 5/2, and 5/3 pneumatic valves, AND and OR valves, timer, one way and two-way micro-regulators flow, SE and DE cylinders, roller lever mini valves, pulse counter, amplifier, DE cylinder with weight, sequencer 3/2 electro-pneumatic valves, 5/2 electro-pneumatic valves monostable and bistable, DE cylinders with reed sensors, photo-electric sensor, inductive and capacitive sensors, power supply module, 6 push-buttons, 3 relays with 4 NO contacts, 4 NC contacts each, electronic timers, two pressure switches, one variable and one fixed, electronic proportional valve with pressure switch The trainer should also include two compressors, noise level 40 dB, 24 litre of tank capacity, and maximum working pressure of 8 bar Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 1.54 | 6-axis robot arm Type: 6-axis articulated arm Lightweight materials Payload: 300 g Maximum Reach: 450 mm Repeatability: ± 0.5 mm or better TCP Speed: 450 mm/s Mounting: Desktop/table-mountable 3 digital inputs and outputs Collision detection Control box Connectivity: USB, Ethernet, Wi-Fi Programming: ROS, Phyton Communication Interfaces Vision guidance for robotic applications Swappable tools PC-based Simulation & Programming Software Accessories: Teach pendant with emergency button Costume gripper Large gripper Adaptive gripper Vacuum pump Vision set Electro magnet Power supply and cables Obligatory documentation: Manufacturer’s Authorization, Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 1.55 | Professional FDM 3D Printer Printing Technology: Fused Filament Fabrication (FFF) Build Volume: Minimum 290 × 230 × 190 mm Nozzle Temperature: Up to minimum 300°C Heated Build Plate: Up to minimum 100°C Compatible Filaments: PLA, ABS, PETG, PA, PC, PVA, ASA Printing Speed: 10 – 150 mm/s Connectivity: Ethernet, Wi-Fi, USB Software Compatibility: common 3D file formats (minimum STL, OBJ and 3MF) Additional Features: Fully enclosed chassis, Built-in camera, HEPA filter, Filament detection sensor, Auto bed leveling 3D Printers and Scanners Specialised Training – One day | 2 |  |  |  |
| 1.56 | PC for Modelling Case: SFF or Small Tower (maximum volume 20 L) CPU: CPU with the PassMark CPU benchmark rating of at least 30000 (www.cpubenchmark.net) RAM memory: 32 GB DDR5 Hard disk drives: 1 TB SSD Graphic adapter: GPU with average G3D Mark rating of at least 5850 (www.videocardbenchmark.net) Sound card: integrated, on-board Network adapter: 10/100/1000Mbps on-board Mainboard interfaces: 6 x USB 3.2 (of those 4 USB located on front side of the workstation case), 2 x Display Port and 1 x HDMI, 1xRJ-45 Free expansion slots: 1 x PCIe x16, 1 x PCIe x1 Input devices: Keyboard, Optical mouse with scroll function Operating System: Windows 11 Pro x64 preinstalled or equivalent Compliant standards: RoHS,TCO Monitor: Size: 27"; Resolution: 1920x1080, Response time: maximum 5ms; Contrast: 1000:1; Brightness: 300cd/m2; Connectivity: Digital port compatible with PC digital output, Certifications: RoHS, TCO, Energy Star, EPEAT Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 32 |  |  |  |
| 1.57 | 3D Printer ‏Quantity Required: 2 Mandatory Specifications: Printing Technology: LCD based resin printing Build Volume: Minimum 190 × 120 × 160 mm Resolution: 6K HD monochrome screen Layer Thickness: Adjustable from 25 to 200 microns XY Precision: 35 microns Print Speed: Up to 50 mm/h Connectivity: USB Software Compatibility: common 3D file formats (minimum STL and OBJ) Additional Features: Touchscreen interface 3D Printers and Scanners Specialised Training – One day | 2 |  |  |  |
| 1.58 | 3D Printer Type II Printing Technology: Fused Deposition Modeling Build Volume: Minimum 250 × 250 × 250 mm Enclosure: Fully enclosed chamber Hot End Temperature: Up to minimum 300°C Nozzle Diameter: 0.4 mm (included), support for 0.2 mm, 0.6 mm, 0.8 mm nozzles Filament Compatibility: ABS, ASA, PA, PC, PVA, PLA, PETG, TPU, PET Print Speed: Up to 500 mm/s Cooling System: Integrated part cooling fans with closed-loop control Connectivity: Wi-Fi, Bluetooth Storage: Micro SD card support Control Interface: Physical buttons, mobile app and PC application Additional Features: Auto-bed leveling, vibration compensation, filament run-out sensor, power loss recovery 3D Printers and Scanners Specialised Training – One day | 1 |  |  |  |
| 1.59 | Handheld 3D Scanner Scanning Technology: Structured light or other non-harmful equivalent Accuracy: 0.3 mm or better 3D point accuracy Resolution: 1.0 mm or better 3D resolution Frame Rate: Minimum 16 fps for real-time scanning Data Processing: Capable of capturing and processing of minimum 2 million points per second Field of View: Minimum 200 × 140 mm at closest range Operating Distance: 0.5 – 1 m Portability: Maximum 1 kg weight Software: Must include software with at least 20 licenses, supporting advanced post-processing and 3D model refinement Power Requirements: Compatible with standard USB power supply 3D Printers and Scanners Specialised Training – One day | 2 |  |  |  |
| 1.60 | Welding simulator The system shall be an Augmented Reality (AR)-based welding simulator designed to train and assess welding techniques in a virtual environment. It must allow users to practice various welding processes with realistic visuals, haptic feedback, and performance metrics without using actual materials or creating safety hazards. Welding Processes Supported: Shielded Metal Arc Welding (SMAW / MMA) Gas Metal Arc Welding (GMAW / MIG/MAG) Gas Tungsten Arc Welding (GTAW / TIG) Flux Cored Arc Welding (FCAW) Training Welding Joints: Overlapped plate, V-Butt plate, T-Angled plate to plate, V-Butt pipe, T-Angled pipe to plate Welding Positions Supported: 1G–6G Pipe and Plate (Flat, Horizontal, Vertical, Overhead) Materials simulated: Carbon Steel, Stainless Steel and Aluminium Material Thickness Selection: 3, 6 & 10mm Visual Feedback: Real-time simulation of arc, bead formation, and weld pool behaviour Haptic Feedback: Simulated resistance during torch movement AR Headset / Goggles: Integrated or external, providing 3D immersive visual experience Selection: Voltage, Intensity (amps), polarity, shielding gas, wire speed, AC or DC current Real-time scoring and feedback based on: Travel speed Torch angle Stick-out Arc length Weld consistency Student performance history tracking Accessories: Welding torch simulators with sensors (MIG, TIG, electrode holder) Workpieces for position training Instructor workstation (PC or laptop Intel i5 2.5GHz RAM: 8GB with e-learning software) AR/VR headset with motion sensors Case Simulator Specialised Training – One day | 3 |  |  |  |
| 1.61 | Arduino starter kit ‏Quantity Required: 10 Mandatory Specifications: Microcontroller Board: Official Arduino board Connectivity: USB interface for programming and power supply Sensors & Modules: A selection of basic sensors (temperature, light, motion) and input/output modules Actuators: Servo motor, DC motor, and LEDs Prototyping Components: Jumper wires, resistors, capacitors, and breadboard Software Compatibility: Compatible with the Arduino IDE and common programming environments Documentation: Instruction manual and project guides | 10 |  |  |  |
| 1.62 | Small Form Factor PC with Monitor ‏Case: SFF or Small Tower (maximum volume 10 L) CPU: CPU with the PassMark CPU benchmark rating of at least 30000 (www.cpubenchmark.net) RAM memory: 8 GB DDR5 Hard disk drives: 256 GB SSD Graphic adapter: Integrated Sound card: integrated, on-board Network adapter: 10/100/1000Mbps on-board Mainboard interfaces: 6 x USB 3.2 (of those 4 USB located on front side of the workstation case), 2 x Display Port and 1 x HDMI, 1xRJ-45 Free expansion slots: 1 x PCIe x16, 1 x PCIe x1 Input devices: Keyboard, Optical mouse with scroll function Operating System: Windows 11 Pro x64 preinstalled or equivalent Compliant standards: RoHS, TCO Monitor: Size: 27"; Resolution: 1920x1080, Response time: maximum 5ms; Contrast: 1000:1; Brightness: 300cd/m2; Connectivity: Digital port compatible with PC digital output, Certifications: RoHS, TCO, Energy Star, EPEAT Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 10 |  |  |  |
| 1.63 | A3 Mono Multifunction Printer ‏Type: A3 Monochrome Laser Functions: Scan, print, copy Print Resolution: 600 x 600dpi Print Speed A4: 25 pages / min Memory: 2 GB Monthly Duty Cycle: minimum 25,000 Pages Paper input capacity: 300 sheets, ADF 50 sheets Duplex: Integrated Duplex printing and 2-sided scanning Connectivity: USB 2.0; Ethernet 10/100/1000; Wi-Fi 802.11n Cartridges: Set of cartridges for minimum 10,000 pages Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 4 |  |  |  |
| 1.64 | Compact Mono Laser Printer ‏Type: A4 Monochrome Laser Functions: Print only Print Resolution: 1200 x 1200dpi Print Speed A4: 30 pages / min Memory: 1 GB Monthly Duty Cycle: minimum 50,000 Pages Paper input capacity: 250 sheets Duplex: Integrated Duplex printing Connectivity: USB 2.0; Ethernet 10/100/1000; Wi-Fi 802.11n Cartridges: Set of cartridges for minimum 1,000 pages Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 6 |  |  |  |
| 1.65 | Multimeter True RMS digital multimeter IP65-rated for dust and water resistance, with drop-proof protection CAT III 1000V and CAT IV 600V safety certification Measurement capabilities: voltage, current, resistance, capacitance and frequency Auto backlight adjustment, low pass filter and peak hold function Accessories: test probes, battery and carrying case | 25 |  |  |  |
| 1.66 | Handheld LCR Meter Measurement Accuracy: Up to 0.1% Test Frequencies: Minimum 100Hz, 120Hz, 1kHz, 10kHz Measurement Parameters: Inductance, capacitance, resistance Display: minimum 2.5 inch TFT LCD Battery Life: Minimum 8 hours of continuous operation Connectivity: USB interface Additional Features: Auto component identification, tolerance sorting, open/short circuit correction | 13 |  |  |  |
| 1.67 | Soldering Station ‏Quantity Required: 15 Power Output: Minimum 70W Temperature Range: Adjustable 100°C – 400°C Temperature Stability: ±6°C or better Display: Digital LCD screen Safety Features: ESD-safe design, heat-resistant cable Accessories: Standard soldering iron, safety rest and compatible soldering tips | 15 |  |  |  |
| 1.68 | Spectrum Analyzer Frequency Range: 10 kHz to 3 GHz Resolution Bandwidth: 1Hz Display: minimum 10 inch HD touch screen Connectivity: USB and LAN interface Additional Features: Tracking generator Accessories: Power cable, USB cable Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 1.69 | Hot Air Soldering Station Power Output: Minimum 900W Temperature Range: 50°C – 600°C Airflow Control: Adjustable 5 – 110 L/min Display: Digital LCD screen for precise temperature and airflow control Safety Features: ESD-safe design, lock function Accessories: Standard hot air nozzle, safety rest | 1 |  |  |  |
| 1.70 | Network Rack Cabinet Type: Free Standing Network Rack Cabinet Height: 32U (Rack Units) Width: 600 mm Depth: 800 mm Doors: Lockable glass front door, lockable solid metal rear door Sides: Removable, lockable side panels Mounting Rails: minimum 4 x 19" adjustable mounting rails Load Capacity: Minimum 400 kg static load Features: Cable entry points (top and bottom), passive ventilation slots, grounding kit Color: Grey or Black | 2 |  |  |  |
| 1.71 | Wall Mount Network Cabinet Height: 12U (Rack Units) Width: 600 mm Depth: 500 mm Door: Lockable glass front door Mounting Rails: 2 adjustable mounting rails Features: Cable entry points (top and bottom), passive ventilation slots Color: Grey or Black | 8 |  |  |  |
| 1.72 | Managed L3 PoE Switch Ports: 24x 10/100/1000 Mbps RJ45 PoE Ports, 4x 1000 Mbps SFP Slots PoE Standard: IEEE 802.3af/at PoE Power: Minimum 350 Watts Switching Capacity: Minimum 50 Gbps Management Features: Supports Web UI, CLI (Telnet/SSH), SNMP. Features must include VLAN (802.1Q), QoS, Link Aggregation, Spanning Tree (STP/RSTP/MSTP), IGMP Snooping, Port Security Mounting: Rack-mountable (1U) | 10 |  |  |  |
| 1.73 | LAN cable multifunction tester ‏Cable Compatibility: UTP, STP (Cat.5e, Cat.6/6a) and coaxial cables Fault Detection: Identification of open circuits, short circuits and wiring errors Measurement Method: Time Domain Reflectometer for cable length and fault location Display: LCD screen with backlight Power Source: Battery operation Accessories: Standard test leads, carrying case | 25 |  |  |  |
| 1.74 | Network Cable Tester Functions: Wire tracing, cable mapping, continuity testing, telephone line polarity testing, non-contact voltage detection Supported Cable Types: RJ45 LAN cables (Cat 5, 5e, 6, 7 UTP/STP), RJ11/RJ12 Telephone cables (Cat 3), Coaxial cables, General solid/stranded wires Wire Tracing Distance: Minimum 2500 m Cable Mapping Distance: Minimum 250 m Cable Map Indicators: LED indicators for pin-to-pin status Connectors: RJ45 and RJ11/12 ports on both units, plus alligator clips adapter Power Source: Batteries for both transmitter and receiver Additional Features: Auto power off, low battery indicator, LED light on receiver Included Accessories: RJ45 patch cord, RJ11 patch cord, Alligator clips adapter, Earphone, Storage bag | 25 |  |  |  |
| 1.75 | Network Cable Tester/Tracer Kit Core Functions: Wire tracing, cable mapping, continuity testing, telephone line status and polarity indication, and non-contact voltage detection Noise Filtering: The device should feature noise filtering capabilities for improved accuracy in tracing PoE Compatibility: Ability to trace cables connected to active PoE switches Supported Cable Types: Compatible with RJ45 (UTP/STP), RJ11/12, coaxial, and general-purpose wires Performance: Wire tracing distance: Minimum 2500 m; Cable mapping distance: Minimum 250 m Indicators: Clear visual (LEDs) and audible (buzzer) indicators for test results and tracing signals Connectivity: Equipped with RJ45 and RJ11/12 connectors Power Source: Batteries for both transmitter and receiver Accessories: patch cords (RJ45, RJ11/12), alligator clips adapter, earphones and a storage case or bag | 25 |  |  |  |
| 1.76 | Network Installation Tool Kit Cable Crimping Tool: For terminating network connectors Cable Tester: Basic tester for verifying network cable continuity and wiring faults Wire Stripper: For preparing cables for termination Cutting Tool: Diagonal pliers for cutting wires Screwdrivers: Common types required for network equipment Other Hand Tools: Utility knife, measuring tape Storage Case: Portable zippered bag or case to hold all the tools | 25 |  |  |  |
| 1.77 | Network Cable Verifier Kit Main Unit: A cable verifier capable of displaying key test results on a single screen Core Cable Tests: Must perform wiremap testing, measure cable length, and identify distance to faults Supported Media: Capable of testing RJ45, RJ11, and Coaxial cables without the need for external adapters Toning: Includes both digital and analog toning for locating and tracing cables Service Detection: Ability to detect active Ethernet ports and the presence of Power over Ethernet Probe: A tone probe compatible with the main unit for accurate cable tracing Remote Identifiers: Multiple remote units for identifying cable drops Accessories: Essential patch cords and carrying case for storage and transport Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 2 |  |  |  |
| 1.78 | Fiber Optic Power Meter Optical Power Meter: Capable of measuring optical power across multiple standard wavelengths (including minimum 850/980/1300/1310/1490/1550/1625/1650nm). Should display measurements in standard units (dB, dBm, nW, mW, uW) Visual Fault Locator: Integrated VFL. Should support both continuous and flashing modes LAN Cable Tester: Provides basic testing for RJ45 terminated network cables, including a pin-to-pin wire map indicator and continuity checks for lengths up to 500m LED Flashlight: Built-in LED light Supported Connectors: Equipped with standard connectors for fiber optic cables and an RJ45 port for network cables Power Source: Operates on a rechargeable battery with Micro USB charging capability | 20 |  |  |  |
| 1.79 | Optical Fiber Identifier Function: Visual Fault Locator Laser Wavelength: Visible light wavelength 650nm Output Power: Provides a minimum output power of 10mW Testing Distance: Capable of identifying faults in fiber optic cables over a distance of at least 8 km Operating Modes: Offers both continuous wave and flashing output modes Connector Compatibility: Equipped with a universal connector interface, compatible with common fiber optic connectors like FC, SC, and ST Portability: Designed to be portable and easy to use in the field Power Source: Powered by standard AA/AAA batteries | 20 |  |  |  |
| 1.80 | Fiber Cleaver Compatible Fiber Types: Single core fiber, Supports coating diameters: 250 µm, 900 µm, patch cord and drop cable Cleave Length: Adjustable, within the range of 5mm to 20mm Equipped with a universal or 4-in-1 fiber holder to accommodate various fiber types without needing separate adapters Includes a built-in scrap collector for safe and clean disposal of fiber shards Compact and lightweight design suitable for field use Accessories: Should include necessary tools for maintenance and blade rotation/adjustment | 17 |  |  |  |
| 1.81 | Digital Light Meter Measurement Range: Up to 200,000 Lux / 20,000 FC Sensor Type: Silicon photodiode with color correction filter Display: Digital LCD Functions: Peak value measurement, data hold Power Supply: battery operation Accessories: Carrying pouch | 17 |  |  |  |
| 1.82 | Fiber Optic Fusion Splicing Machine Kit Applicable Fibers: Single-mode, multi-mode, dispersion-shifted, and non-zero dispersion-shifted fibers Splicing Technology: Core alignment method for accurate fiber splicing Typical Splice Loss: maximum 0.05dB Splice Time: maximum 15 seconds Heating Time: maximum 40 seconds. Return Loss: 60dB or better Fiber Handling: Accommodate standard fiber cladding (80-150µm) and coating (100-1000µm) diameters Display: Minimum 5” color LCD screen Durability: Designed for field use, offering resistance to dust, moisture, and shock Power: Support both AC power operation and battery operation Data Storage: Capable of storing minimum 5000 records | 1 |  |  |  |
| 1.83 | Optical Time Domain Reflectometer Wavelength Support: 1310 nm / 1550 nm Measurement Range: Minimum 80 km Display: 3.5-inch color LCD Connectivity: USB port Battery Life: Minimum 8 hours of continuous operation Accessories: Standard fiber cleaver, carrying case | 1 |  |  |  |
| 1.84 | Fiber Optic Tool Kit The kit should include essential tools for common Fiber-to-the-Home network deployments including: Fiber Cutting and Stripping Tools: Tools for stripping different types of fiber optic cables, including flat drop cable and a precision fiber cleaver for preparing fiber ends for splicing or termination Testing Equipment: Fiber optic power meter for measuring signal strength and a visual fault locator for identifying breaks and bends Hand Tools: General hand tools required for installation work: pliers, screwdrivers Storage: Carrying case to protect and transport the tools | 8 |  |  |  |
| 1.85 | Fiber Optic Inspection Scope Automated Pass/Fail Analysis: Provides objective Pass/Fail grading of fiber end-faces based on predefined industry standards Defect Identification: Clearly identifies and highlights defects such as contamination, pits, chips, and scratches on the connector end-face Supported Connectors: Fiber optic connector types through interchangeable inspection tips: SC, LC, FC, ST, Display: Touchscreen LCD Ability to save and store fiber end-face images and inspection results Connectivity for transferring saved data to a PC Power Source: Powered by a rechargeable battery, with an AC adapter for charging Included Accessories: Inspection tips for common connector types and a carrying case Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.86 | Telecommunications Trainer Telecommunications topics included: Basic Analog and Digital Communications (AM, FM, PCM, ASK, FSK, BPSK, QPSK), Modulation and Demodulation Techniques, Noise and Signal Integrity Concepts, Line Coding, Fiber Optics and Software Defined Radio concepts Methodology: Facilitates learning by allowing students to build and experiment with telecommunications systems using a block diagram approach, patching together functional modules Components: Consists of a single-board unit containing a suite of independent functional blocks representing different telecommunications circuit elements (adders, multipliers, filters, signal generators, encoders, decoders) Experimentation: Supports the implementation of experiments covering a broad range of telecommunications principles Power Source: Powered by an external power supply | 2 |  |  |  |
| 1.87 | Firewall Form Factor: 1U Rackmount Processor: Intel i5 Memory: 8 Gb DDR4 DIMM memory Storage: 128 GB SSD Networking: minimum 6 Gigabit Ethernet ports Software Support: pfSense, Untangle, OPNsense | 5 |  |  |  |
| 1.88 | UPS Capacity: 650 VA / Minimum 360 W Topology: Line-Interactive Output Sockets: Minimum 2x Schuko Features: Automatic Voltage Regulation (AVR) | 5 |  |  |  |
| 1.89 | Microcontroller Microcontroller: ATmega328 or equivalent Operating Voltage: 5V Digital I/O Pins: 14, with at least 6 PWM-capable pins Analog Input Pins: 6, supporting 0-5V input range Memory: Flash Memory: Minimum 32 KB, SRAM: Minimum 2 KB, EEPROM: Minimum 1 KB Communication Interfaces: SPI, I2C Connectivity: USB interface Power Options: USB-powered operation, External power Additional Features: Built-in LED indicator, Reset button, ICSP header for direct programming | 20 |  |  |  |
| 1.90 | Microcontroller Microcontroller: Tensilica L106 32-bit RISC processor or equivalent Memory: Instruction RAM: 32KB, User-data RAM: 80KB, External Flash: Minimum 512KB Wi-Fi Standards: IEEE 802.11 b/g/n, supporting WEP, WPA/WPA2 authentication I/O Interfaces: GPIO Pin, UART: TX/RX Operating Voltage: 3.3V Connectivity Features: Integrated TR switch, balun, LNA, power amplifier Additional Features: Status LED indicator, Reset and power-down functionality | 20 |  |  |  |
| 1.91 | Microcontroller ‏Quantity Required: 5 Mandatory Specifications: Processor: Quad-core Cortex-A72 (ARM v8) 64-bit SoC, minimum 1.5GHz Memory: 4GB Storage: MicroSD card slot Connectivity: Wi-Fi: Dual-band 2.4GHz & 5.0GHz IEEE 802.11ac, Bluetooth: 5.0, BLE, Ethernet: Gigabit Ethernet USB Ports: Minimum 2 × USB 3.0, 2 × USB 2.0 Micro-HDMI Ports: 2 × micro-HDMI Expansion & Interfaces: GPIO: 40-pin header, 2-lane MIPI CSI, 2-lane MIPI DSI Audio/Video: Stereo audio and composite video port Power Requirements: 5V DC via USB-C connector | 5 |  |  |  |
| 1.92 | Solar Panel Technology: Monocrystalline cells Power Output: minimum 450W Efficiency: Minimum 20% Operating Temperature Range: -40°C to 80°C Maximum System Voltage: 1500V Panel Dimensions: maximum 2100 × 1100 × 40 mm Glass Type: tempered glass Box Protection: IP68 Connector Type: MC4-compatible | 4 |  |  |  |
| 1.93 | Antenna and Lecher line trainer set Familiarisation of various types of antennas Principles and operation of antennas and antenna elements Set should include: Didactic panel with signal generator RF detector Lecher line Yagi antenna Folded dipole antenna Simple dipole antenna Ground plane antenna Set of necessary accessories, cables, connectors, measurement instruments, etc. Power supply Trainer should allow experiments on: Waves along a Lecher line Experiment with different types of antennas Polarisation test Matching stub Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.94 | Microwaves trainer Introduction of microwave technology and wave propagation Bench-top microwave system Trainer should include: Variable attenuator, crystal detector, directional coupler, shorting plate, matched terminators, waveguide to coaxial adaptor, waveguide, frequency meter, 6dB fixed attenuator, hybrid tee, two horn antennas, coaxial adapters, slotted line, slide screw tuner, function generator, power meter, SWR meter, etc. Set of necessary accessories, cables, connectors, measurement instruments, etc. Power supply Trainer should allow experiments on: Power measurement SWR measurement Impedance measurement Directional coupler Attenuation measurement Study of a waveguide Hybrid-T Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.95 | Fiber optics trainer Fiber optics transmission system for both digital and analogue signal transmission Trainer should include: TTL input digital transmitter, digital receiver, analogue transmitter, analogue receiver, frequency generator, sequence generator, /NRZ/Biphase/Manchester TTL line coding, two multi-mode plastic fiber with fast connection terminals 50 cm and 5 m length, optical transmitter and receiver, etc. Set of necessary accessories, cables, connectors, measurement instruments, etc. Power supply Trainer should allow experiments on: Fiber optics systems Data coding: NRZ, Biphase, Manchester Optical transmitter and receiver Transmission speed Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.96 | Transmission lines trainer Propagation of electrical signals in transmission lines Transmission lines in communications systems Trainer should include: Module with coaxial cable 100m (4x25m intermediate plugs) or 80m (4x20m intermediate plugs) and two termination variable resistors at both ends Trainer should allow experiments on: Measurement of the line characteristic parameters Attenuation measurement Line frequency characteristics Line input impedance Stationary waves Signal phase shift along the line Fault finding along the line Set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.97 | Communication protocols trainer Theoretical and practical training for the installation and maintenance of digital telecommunications and internetworking systems OSI Model and the communication protocols Trainer should include: 2 LCD displays, simulation boards insertion system for the different protocols and simulation boards HDLC protocol Network X.25 Frame Relay Trainer should allow experiments on: OSI model HDLC/SDLC protocols Network and Frame Relay protocol Package switching network X.25 Asynchronous Transfer Mode Set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.98 | Local area network (LAN) trainer Theoretical and practical training for the installation and maintenance of Local Networks Trainer should include: LAN structured cabling module, three switching hubs, and two media converters with all necessary cables Trainer should allow experiments on: Installation and maintenance of local networks Principles, standards and devices used in LANs Cabling standards Protocols and setting the LAN configurations Troubleshooting and testing Set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.99 | Wide area network (WAN) trainer Theoretical and practical training for the installation and maintenance of Wide Area Network Standards, equipment and applications related to WAN, TCP/IP network and Internet Trainer should include: Main board with diagram of the structure of a WAN, diagrams of the OSI levels in internetworking, 2 connectors for connection of two routers (type WAN interface V24/RS232) to the WAN and Internetworking Operating System Trainer should allow experiments on: Introduction to Internetworking WAN technologies and devices WAN protocols Intranet/Internet and networks troubleshooting Routing and routing algorithms Router and static and dynamic IP routing Set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.100 | Voice over IP (VoIP) trainer Theoretical and practical training for the installation and maintenance of IP telephony systems Standards, equipment and applications related to VoIP systems in IP networks Trainer should include: Main board with structure of VoIP system, one Ethernet switch and four RJ45 connectors, two VoIP Gateway devices, two analogue telephones, and software package Trainer should allow experiments on: Introduction to the communication networks Practical advantages of the IP telephony and how it works Devices for the IP telephony and how to implement connections Exercises with Gateway VoIP Set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.101 | Wireless LAN (WLAN) trainer Theoretical and practical training for the installation and maintenance of wireless local networks Standards, equipment and applications related to wireless local networks Trainer should include: Main board with structure of Wireless LAN system including one Wireless LAN Access Point with one Ethernet port, two Wireless LAN USB Adapters with internal antennas, two analogue telephones, and software package Trainer should allow experiments on: Introduction to the wireless LANs Structure of the MAC level (Media Access Control) Structure of the Physical layer Wireless LAN devices Troubleshooting and testing; Set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.102 | Analogue signal transmission trainer Desk-type didactic electronic board with circuits blocks and software Educational objectives and trainer features: Amplitude modulation and demodulation (AM) Double side band modulation and demodulation (DSB) Single side band modulation and demodulation (SSB) Frequency modulation and demodulation (FM) Phase modulation and demodulation (PM) VCO and PLL circuits Signal generator Diagnostic and identification of electrical faults Introduction of faults directly on board or through software Realistic troubleshooting exercises Equipped with a didactic software allowing topic study through PC Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.103 | Cellular telephony trainer Desk-type didactic electronic board with circuits blocks and software Educational objectives and trainer features: Basic functions of the GSM cellular telephone Telephone keyboard and display Microphone and loudspeaker Digital Signal Processor (DSP) Presetting connections to external microphone, loudspeaker and PC Diagnostic and identification of electrical faults Introduction of faults directly on board or through software Realistic troubleshooting exercises Equipped with a didactic software allowing topic study through PC Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.104 | Fiber optics communication trainer Desk-type didactic electronic board with circuits blocks and software Educational objectives and trainer features: Clock signal generator Analog input output POF fibre ST fibre Serial interface Diagnostic and identification of electrical faults Introduction of faults directly on board or through software Realistic troubleshooting exercises Equipped with a didactic software allowing topic study through PC Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.105 | TCP/IP network trainer Desk-type didactic electronic board with circuits blocks and software Educational objectives and trainer features: Two identical sections “Client and Server” and each of them with microprocessor, LCD graphic display, keypad and ethernet interface Connection through switch Networks diagnostics Detection and analysis of ICMP and TCP packages Testing of TCP/IP commands Etc. Diagnostic and identification of electrical faults Introduction of faults directly on board or through software Realistic troubleshooting exercises Equipped with a didactic software allowing topic study through PC Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.106 | Power supply with interface box Universal power supply for didactic electronic boards desk-type Voltage regulation Interface box for connection to PC Set of cables and connectors Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.107 | General Electronics Training Set Set should be designed to allow study and practical demonstration of the most important laws of electricity and electronics Set should include experimental modules mounted on printed boards Set should include power supplies and function generator as well as cables, connectors and other necessary ancillary instruments and components necessary for study and experiments on electronic circuits Experiment Modules: DC Circuit Modules Electronic Circuits Modules Transistors Thyristors Diodes modules Operational Amplifiers Modules Filters Experiment Modules Digital Logic Non-Linear Resistance Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 11 |  |  |  |
| 1.108 | Fire alarm systems training set Theoretical and practical training for the installation and maintenance of a fire alarm system in the electrical civil installation Training set should have a modular structure and each module should be installed in a didactic panel mounted in two level vertical metal frame Fire Alarm Systems should include following modules: Controller Heat Detector Module Smoke Detector Module Gas Detector Module Alarm Modules Fire Alarm Button Module Warning Light Lamp Module Battery Module Power Supply Module Two-level metal frame, necessary cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.109 | Intruder alarm system Theoretical and practical training for the installation and maintenance of anti-theft alarm systems in the electrical civil installation Training set should have a modular structure and each module should be installed in a didactic panel mounted in two level vertical metal frame Intruder alarm system should include following modules: Controller PIR Detector Modules Perimeter Sensors Module Microwave sensor Keypad Module External Alarm Module Auxiliary stand-by Battery Module Power Supply Module Blinker module Two-level metal frame, necessary cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.110 | CCTV Security system trainer Theoretical and practical training for the installation and maintenance of real video surveillance systems (CCTV – Closed Circuit TeleVision) in the electrical civil installation System application in residential, small businesses, control of traffic and cities, and large industries Training set should have a modular structure and each module should be installed in a didactic panel mounted in two level vertical metal frame CCTV Security system trainer should include following modules: Power supply CCD video camera (2 units) IR CCD video camera IP camera Wireless camera Speed dome camera LED monitor Digital video recorder Power over internet switch Wireless Access point Two-level metal frame, necessary cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.111 | Interphone system Theoretical and practical training for the installation and maintenance of Interphone systems in residential or service sectors Training set should have a modular structure and each module should be installed in a didactic panel mounted in two level vertical metal frame CCTV Security system trainer should include following modules: Power supply Interphone - 3 pieces Outdoor entry phone Connection between two interphones, between three interphones, intercommunication Outdoor unit and an indoor unit, outdoor unit and two indoor units Two-level metal frame, necessary cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.112 | RFID protocol and door access control system Desk-type didactic electronic board with circuits blocks and software Educational objectives and trainer features: Properties of an RFID system and simulation of door access control system Base board Real time clock LCD Display RFID Reader/Writer Transponder Audio speaker Relay Tag receiver Keyboard Microcontroller Power supply, cables and accessories Equipped with a didactic software allowing topic study through PC and allowing study of automation and industry 4.0 concepts Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.113 | Home automation - Smart home trainer Study of the home automation and EIB/KNX technology. Modular panels with industrial type components. Trainer should cover following subjects: Lighting automation Shutter control automation Safety automation Heating/Air Conditioning automation Scenery automation PLC home automation Supplied with minimum 20 modules, power supply, three-level frame, cables and accessories Equipped with a ETS programming software allowing topic study through PC and allowing study of home automation Controlled by touch panel or PC with OS and software application Trainer should include following modules: single-phase power supply EIB/KNX power supply push-button interface double push-button smoke detector temperature controller presence detector brightness sensor binary output universal dimmer (x2) shutter actuator valve actuator infrared transmitter/receiver scene/event controller text display/clock switch USB interface sockets with lamps (x2) venetian drive colour touch panel PLC LOGO! EIB/KNX communication Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate Simulator Specialised Training – One day | 2 |  |  |  |
| 1.114 | Solar/Wind energy modular trainer Theoretical and practical study of renewable energy with on-grid photovoltaic solar energy and wind energy modules Different modules mounted on a 2 or 3 level vertical frame with connection to mains Trainer should include: Photovoltaic inclinable module 90 W, 12 V Rheostat module Measurement module for solar irradiation and solar panel temperature Modbus RTU communication module Solar grid-tie power inverter 360 W Wind grid-tie power inverter 360 W Anemometer Brushless motor for the simulation of a wind turbine AC load module with lamps Control module for brushless motor drive Measurement module of wind energy Multifunction measurement module AC/DC network distributor Metal construction with 12 halogen lamps, 120 W each mounted on wheels for providing light to photovoltaic solar module Necessary cables, connectors, transformers, rectifiers, switches and accessories Data Acquisition and Control Software Trainer should allow performance of following experiments: Wind turbine working principle Solar photovoltaic working principle Charging Inverter working principle The wind as renewable energy source The solar-cell as renewable energy source On grid – solar and wind energy Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate Simulator Specialised Training – One day | 1 |  |  |  |
| 1.115 | Main unit base Main unit for study of electronics, circuit theory and microcontroller programming Universal base with slots for application of analogue electronics, digital electronics, microcontrollers and photovoltaic solar energy modules USB port Windows compatibility Power supply Arduino UNO Digital and Analogue I/O Interface with virtual instrumentation Two channel oscilloscope 1MHZ Function generator unit Logic Analyzer Digital Pattern Generator Multifunctional DC instrument Cables, accessories and software Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.116 | Set of modules for analogue electronics Modules should be used with “Main unit base” Set should include: BJT analysis of basic concepts, BJT amplifier configuration, BJT – Darlington configuration, class A and class AB push‐pull circuits, operational amplifier, power operational amplifier, Schmitt trigger, square/triangular waveforms generator, 1st order high‐pass / low‐pass passive filters, 1st order high‐pass / low‐pass active filers, 2nd order high‐pass/low‐pass active filters, and JFET Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.117 | Set of modules for digital electronics Modules should be used with “Main unit base” Set should include: 4 AND gates and 4 OR gates, 4 NAND gates and 4 NOR gates, 4 EXOR gates and 6 NOT gates, latch & buffer circuit, Flip‐Flop JK Master Slave, Flip‐Flop D Master Slave, up/down counter, shift register, 7 segment display, multiplexer and demultiplexer, oscillators, 555 timer circuit Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.118 | Set of modules for photovoltaic solar energy Modules should be used with “Main unit base” Set should include: Solar cell (x2), battery charge regulator, double voltmeter, voltage regulators, battery charger and level monitor, light tester with two types of light sources, current driver and relay, breadboard, Battery module (12V), Solar panel module 5W, and Fan module (load) Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.119 | Set of modules for microcontrollers Set of modules for photovoltaic solar energy Modules should be used with “Main unit base” Set should include: PIC16, PIC18, PIC24, PIC32, digital IN/OUT, sensors, D/A – A/D converters, memories (EEPROM & RAM), motor control, IN/OUT optocoupler, SPI + UART interfaces, LCD display, and TTL IN/OUT Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.120 | Solar-wind-fuel cells energy trainer Vertical frame bench-top trainer for study of renewable energies, solar energy, wind energy and hydrogen fuel cell systems with software for data acquisition and display. Trainer should include as minimum following modules: Solar panels Wind turbine Reversible PEM fuel cell O2 and H2 storage tanks Table fan DC measurement instruments Two halogen lamps Battery 4.5V/0.8A, 2 RS485 ports (M/F) with Software for data acquisition. Educational objectives: Solar system Current-Voltage characteristic, power curve and efficiency of a solar panel Wind speed and wind turbine effect on generated power Current-voltage characteristic of the wind generator Fuel Cell General Installation PEM electrolyser Producing electrical energy from Hydrogen Set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.121 | Wind energy trainer Wind energy trainer should provide students with basic understanding of how wind generators function as an alternate source of energy and how wind speed, wind direction or rotor type could influence the power output among others The trainer should include: Power supply Wind source Set of wind turbines (2, 3 and 4 blades) Wind generator Base assembly Motor module Capacitor module Lights module Etc. Educational objectives: Impact of the wind speed on a wind turbine Calculating the efficiency of a wind turbine Storing electric energy Energy conversion Etc. Case and set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.122 | Solar photovoltaic energy trainer Solar photovoltaic trainer should provide students with basic understanding of solar photovoltaic energy The trainer should include: Power supply 5 solar panels (0.5V-1.5V) Lighting module Base assembly Motor module Diode module Capacitor module Lights module Thermometer Etc. Educational objectives: Series and parallel connection of solar cells Dependence of the power of the solar cell on the temperature Storing electric energy Energy conversion Etc. Case and set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.123 | Thermal energy trainer Thermal energy trainer should provide students with basic understanding of solar thermal energy conversion The trainer should include: Power supply Solar collector Infrared light source Lens module Base assembly Motor module Temperature sensor Capacitor module Heat exchanger Thermometer Etc Educational objectives: Collector circuit with heat exchange Investigating the thermoelectric generator Focusing of light by lens Thermal conduction Etc Case and set of necessary accessories, cables, connectors, measurement instruments, etc. Theoretical and practical manual on English and Montenegrin language Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 1.124 | Automatic insulation stripper Stripping Capacity: 0.2 – 6 mm² for single, multiple, and fine-stranded cables Adjustment: Automatic adaptation to cable cross-section Additional Features: Integrated wire cutter for copper and aluminum wires up to 2.5 mm² Build Quality: Compact, lightweight and reinforced with glass-fiber plastic Length Stop: Adjustable 6 – 18 mm | 5 |  |  |  |
| 1.125 | Universal Stripping Tool Stripping Capacity: Ø 8.0 – 13.0 mm for round cables Additional Compatibility: Suitable for coaxial cables (Ø 4 – 7 mm) and data cables (CAT 5 – 7, UTP/STP) Ergonomic Design: Pistol grip for easy handling and precise stripping Build Quality: Reinforced glass-fiber plastic Safety Features: Integrated locking mechanism and opening spring | 5 |  |  |  |
| 1.126 | Three phase motor Three-phase asynchronous motor Compact design for space-efficient installation Rated Power Output: 1.5 kW Standard voltage and frequency compatibility Cooling and thermal protection features | 1 |  |  |  |
| 1.127 | Automotive oscilloscope PC based Number of Channels: Minimum 2 Bandwidth: 20 MHz Sampling Rate: 48 MSa/s (real-time) Input Voltage Range: ±50 V peak minimum PC Interface: USB 2.0 or higher Accessories: 2x oscilloscope probes (60 MHz), USB cable, software CD or download link | 3 |  |  |  |
| 1.128 | Automotive thermal multimeter AC/DC Voltage: 0 to 1000 V AC/DC Current: 0 to 10 A Resistance Measurement: Up to 60 MΩ or higher Capacitance Measurement: Up to 10 mF Frequency Measurement: Up to 10 MHz Temperature (Contact): -20°C to 1000°C via thermocouple Continuity Test and Diode Test with audible indicator PC Connectivity Accessories: test leads, K-type thermocouple probe, USB cable, carrying case | 3 |  |  |  |
| 1.129 | Laptop Computer Processor: CPU with the PassMark CPU benchmark rating of at least 14000 (www.cpubenchmark.net) RAM: Minimum 8GB DDR5 Storage: Minimum 512GB SSD Display: 16-inch IPS, minimum WUXGA (1920 x 1200) resolution, 300 nits brightness, Anti-glare Graphics: Integrated UHD Connectivity: Wi-Fi 6, Bluetooth 5.x, Gigabit Ethernet (via adapter or built-in), minimum 2 x USB-A and 2 USB-C 3.2 ports, HDMI output Keyboard: Backlit keyboard with matching language layout forMontenegro. Numeric keypad required Webcam: Minimum FHD (1080p) webcam with privacy shutter Security: Fingerprint Reader Battery: Minimum 45 Whr capacity Weight: Maximum 2.0 kg Operating System: Windows 11 Pro or equivalent Compliant standards: RoHS, TCO, Energy Star Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 15 |  |  |  |

Lot 2 – Art and didactic equipment

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| LOT 2 | Lot 2 – Art and didactic equipment |  |  |  |  |
| 2.1 | Easel for painting Large H-Frame Oiled beechwood or similar Maximum height approx. 250 cm Maximum canvas height approx. 110 cm Canvas tray width approx. 50 cm Foldable | 80 |  |  |  |
| 2.2 | Sculptor's easel Height adjustable in different positions approx. from 95 cm to 125 cm Turntable square work surface approx. 30x30 cm. Three legs and construction: oiled beechwood or similar Total width approx.: 50cm Load capacity: 25 kg | 30 |  |  |  |
| 2.3 | Painting bench Oiled beechwood or similar Foldable Maximum canvas height approx. 60 cm Dimensions approx.: 95x25x45-75 cm (LxWxH) | 60 |  |  |  |
| 2.4 | Sculpting clay Non-drying medium hard modelling clay Material Weight 2300 gr per pack | 400 |  |  |  |
| 2.5 | Graphic press gearbox Roller width 600 mm Rollers Ø: 80 mm Table: 600x900 mm Adjustable surface pressure approx. 1.000 kg Clearance height approx.: 25 mm Felt included | 1 |  |  |  |
| 2.6 | Graphic press gearbox Roller width 400 mm Rollers Ø: 80 mm Table: 400x700 mm Adjustable surface pressure approx. 1.000 kg Clearance height approx.: 25 mm Felt included | 1 |  |  |  |
| 2.7 | School press Mobile Roller width: 300 mm Steel rollers Ø: 40 and 50 mm Table: 300x600 mm Clamps Felt included | 3 |  |  |  |
| 2.8 | Hand lever block press Lever style tabletop press A3 Print plates measures Steel structure with 18mm birch plywood plates Felt included | 3 |  |  |  |
| 2.9 | Screen printing drying rack Drying racks for prints and paintings Steel frame with with 50 grids spaced 2 cm Grid shelves with springs for opening 2.10Trays no.: 50 Tray size approx.: 60x100cm Trays with mesh openings Wheels | 1 |  |  |  |
| 2.10 | Paper storage cabinet Metal or laminated wood For A1 format Dimensions: 100x70x55cm (WxDxH) 5 shallow drawers | 3 |  |  |  |
| 2.11 | Relief ink Traditional oil-based relief ink Printing of relief plate including wood, lino and vinyl Black: 500gr can – 20 pieces White: 500gr can – 20 pieces Opaque white: 500gr can – 20 pieces Yellow: 500gr can – 10 pieces Worm yellow: 500gr can – 10 pieces Marine blue: 500gr can – 5 pieces Cobalt blue: 500gr can – 5 pieces Red earth: 500gr can – 5 pieces Burnt sienna: 500gr can – 5 pieces Green earth: 75 ml tube – 50 pieces Light green: 500gr can – 5 pieces Deep red: 500gr can – 5 pieces Scarlet red: 75 ml tube – 50 pieces | 1 |  |  |  |
| 2.12 | Lino cutter set Wooden handle with 5 changeable blades Hardened steel blades 1 x V, 3 x U blades and 1 straight blade Box | 20 |  |  |  |
| 2.13 | Press rollers Set of three rollers Length: 120mm, 140mm and 250mm Diameter: 40mm Rubber rollers Shore scale: soft rubber Metal fork and core Wooden handle | 10 |  |  |  |
| 2.14 | Graphic spatulas Set of two Width 38mm and 50mm Stainless steel metal blade Wooden handle | 30 |  |  |  |
| 2.15 | Graphic spatulas Rubber scraper Cleaning inking plates Hard rubber Width 70mm | 20 |  |  |  |
| 2.16 | Paperboard for printmaking Paperboard suitable for art printing techniques engraving, lithography, silk screening Format: 700x1000 0m Weight: 220 gsm White colour – 500 pcs Ivory colour – 500 pcs | 1 |  |  |  |
| 2.17 | Paper guillotine For A3 format Cutting capacity 10 sheets of 80 gsm Cutting length 450 mm Cuts paper, film and photos Hand guard Stainless steel blade Angle cutting option | 2 |  |  |  |
| 2.18 | PVC vinyl floor Thickness: 2mm Commercial grade: 43 Roll width: 2m Roll length: 20m Colour light blue | 2 |  |  |  |
| 2.19 | Gallery rails - picture hanging system Rail dimensions approx..: 10x15mm Rail length 2 m Material: Aluminium Colour: White Wall mountable with mounting kit Weighty capacity: 25 kg/m Cord with hook, length 150cm, weight capacity 15kg – 4 pieces | 25 |  |  |  |
| 2.20 | Paper Paper for plotters For ink jet technology Suitable for realistic colour photographs Mat finish Weight 90 g/m2 Roll: 0.610x50m Quantity: 30 pieces Paper for plotters Weight 80 g/m2 Roll: 0.610x50m Quantity: 30 pieces Print and photocopy paper A3 Weight 80 g/m2 1/500 Quantity: 50 pieces Block for drawing and aquarelle Paper weight: 240 g/m2 Dimensions approx.: 30x40 cm 1/100 Quantity: 50 pieces Block for watercolour Paper weight: 200 g/m2 Dimensions approx.: 40x50 cm 1/20 Quantity: 50 pieces Drawing paper Paper weight: 200 g/m2 Roll dimensions: 1.5x10 m Quantity: 100 pieces Block for drawing Paper weight: 300 g/m2 Paper colour: black Dimensions approx.: 20x30 cm 1/20 Quantity: 100 pieces Photo paper A4 For ink jet technology Suitable for realistic colour photographs Mat finish 1/50 Weight 190 g/m2 Quantity: 100 pieces Drawing paper Paper weight: 120 g/m2 Natural grain texture Roll dimensions: 1x10 m White Quantity: 100 pieces Wrapping paper Roll dimensions: 1x10 m Brown Quantity: 100 pieces Block for drawing Paper weight: 90 g/m2 A3 format 1/100 Quantity: 100 pieces | 1 |  |  |  |
| 2.21 | Cabinet Two door PVC cabinet Two height adjustable shelves, load 15 kg per shelf Dimensions approx.: 65x45x100 cm (WxDxH) | 150 |  |  |  |
| 2.22 | Electric stapler Type 53 Staples 11.4 x 6 mm Max staples length 14mm Impact force adjustment Box of 1000 staples | 3 |  |  |  |
| 2.23 | Glue gun Temperature up to 200 °C Replaceable nuzzle Three glue sticks | 5 |  |  |  |
| 2.24 | Electric hot knife For cutting shaping foam, polystyrene, insulating panels Adjustable temperature up to 500 ° C in a few seconds Two blades 15 cm and 20 cm Brush for blade cleaning | 2 |  |  |  |
| 2.25 | Kiln for ceramics Power max: 6 KW, three phase Volume: 125 l Interior dimensions approx.: 500 x 500 x 500 mm Stainless steel exterior Working temperature: 1100 ° Heated from three sides Programable Wheels | 1 |  |  |  |
| 2.26 | Mill and sieve for clay Mill Ball mill, capacity 500L, 2 kW Sieve Vibrating sieve, inox, diameter 50 cm or square 50x50cm, 350W | 1 |  |  |  |
| 2.27 | Slab roller for clay Table working surface: 100x50 cm Manual with wheel or crank Clearance height approx.: 20 mm | 1 |  |  |  |
| 2.28 | Potter's wheel Diameter approx.: 30cm Power: 400w 0-250 rpm Fixed foot pedal and hand lever | 5 |  |  |  |
| 2.29 | Plaster casts, figures, reliefs, busts and replica models - Houdon's écorché anatomical plaster head, dimensions approx. 40x30x5 (HxWxD) – 2 pieces - Hermes foot cast from the statue Hermes of Praxiteles, dimensions approx. 30x15x10cm (LxWxD) - Medusa Rondanini, wall sculpture with hook, dimensions approx. 40x45x20cm (HxWxD) - Busts of Socrates, dimensions approx. 50x30x25cm (HxWxD) - Mask of Homer taken from Homer bust, wall sculpture, dimensions approx. 35x25x10 cm (HxWxD) - Michelangelo's 'Dying Slave, wall sculpture, dimensions approx. 40x30x20cm (HxWxD) - Parthenon Frieze Horseman, wall plaster relief, dimensions approx. 100x150x10cm (HxWxD) - Bust Portrait of a Girl by Gaetano Cellini, dimensions approx. 40x20x20cm (HxWxD) - Greek Mask, Hellenistic style plaster mask of a bearded man wearing a headband, wall sculpture with hook, dimensions approx. 30x20x10cm (HxWxD) - Human Skull, life size plaster cast of a real human skull, dimensions approx. 20x15x15cm (HxWxD) - Bust Lemnian Athena, dimensions approx. 45x30x20cm (HxWxD) - Life-Size Mask of David, wall sculpture with hook, , dimensions approx. 70x50x25cm (HxWxD) - Male hand plaster cast sculpture, wall sculpture with hook, dimensions approx. 25x15x10cm (HxWxD), 2 pieces - Male Torso plaster cast, dimensions approx. 30x20x10cm (HxWxD), 2 pieces - Mary from the Pietá by Michelangelo, plaster cast wall sculpture replica, dimensions approx. 35x25x15cm (HxWxD) - Foot by Bernini, plaster cast reference for artist, dimensions approx. 20x10x25cm (HxWxD) - Female Torso, plaster cast, dimensions approx. 30x20x10cm (HxWxD), 2 pieces - Female hand plaster cast sculpture, dimensions approx. 30x15x10cm (HxWxD), 2 pieces - Plaster bust of Saint Jerome, dimensions approx. 50x40x20cm (HxWxD) - Écorché hand plaster cast sculpture, dimensions approx. 25x15x10cm (HxWxD), 2 pieces - Plaster bust replica of Patrick McDowell's work 'Daydream, dimensions approx. 60x40x30cm (HxWxD) - Plaster bust 'The Companion of Odysseus, dimensions approx. 70x40x30cm (HxWxD) - Plaster bust of Niobe, dimensions approx. 50x30x20cm (HxWxD) - Bust of Homer, dimensions approx. 60x35x35cm (HxWxD) | 1 |  |  |  |

Lot 3 – Machines and Tools

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| LOT 3 | Lot 3 – Machines and Tools |  |  |  |  |
| 3.1 | Vehicle Diagnostic System The system shall be an advanced automotive diagnostic platform that integrates both electrical signal analysis (oscilloscope/multimeter) and electronic control unit (ECU) diagnostics. It must support conventional, hybrid, and electric vehicles across passenger and light commercial segments Oscilloscope & Signal Analysis Minimum of 2-channel digital oscilloscope Sampling rate: 20 MS/s Integrated multimeter functions: voltage, current, resistance, frequency Signal generator for test signal simulation and component activation Vehicle Communication Interface (VCI) Compatibility with major vehicle protocols: ISO 9141, ISO 15765 (CAN), ISO 11898 (CAN FD), DoIP, LIN Support for reading/clearing fault codes, live data stream, ECU coding/programming Integration with a diagnostic software suite capable of guided fault finding and repair assistance Component Testing & System Diagnostics Support for testing 12V and 48V vehicle electrical systems Built-in diagnostic routines for sensors, actuators, ignition systems, and high-voltage components Battery system testing with load simulation and discharge analysis Interface & Software Features User interface via color touchscreen display or external tablet/PC with Windows OS Real-time graphical display of waveforms and test data Diagnostic software with troubleshooting instructions, equipment and vehicle data and wiring diagrams covering multi brands and vehicles Capability to save, replay, and export data in formats such as PDF and CSV USB, Ethernet, or wireless data transfer options Power input: 240V AC and/or 12V DC vehicle power Equipment shall be portable or trolley-mounted Certified for CE and EMC requirements Full support for global OBD and emissions-related diagnostic standards Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity Specialised Training for Car Mechanics – one day | 1 |  |  |  |
| 3.2 | Automotive Diagnostic Scanner Vehicle Communication Protocols Supports OBD-II, CAN, ISO 9141, KWP, UDS, DoIP PassThru capability for ECU programming Full-system diagnostics (engine, transmission, ABS, airbag, etc.) Read/clear fault codes Live data and freeze frame display Actuation (bi-directional controls / active tests) ECU coding and adaptations Service functions (oil reset, EPB, DPF, battery registration, etc.) J2534-compliant External PC/tablet or built in touchscreen display Windows or Android-based platform Diagnostic software with troubleshooting instructions, equipment and vehicle data and wiring diagrams covering multi brands and vehicles Wireless connection via Bluetooth, Wi-Fi, or USB Operates via 12V vehicle battery or internal rechargeable battery USB or DC input for charging and data transfer Certifications & Compliance: CE certified, Compliance with automotive diagnostic and safety standards Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity Specialised Training for Car Mechanics – one day | 1 |  |  |  |
| 3.3 | Wheel Alignment Machine Alignment on Scissor lift, Four Post Lift and Pit Horizontal beam with camera Simultaneous Front and Rear wheel alignment Data Management software Standard accessories including suitable PC with monitor and laser printer Power supply 220V/50Hz Total toe ±20° Individual toe ±10° Camber angle ±15° Caster angle ±20° Kingpin inclination angle ±20° Inclination angle 0-30° Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.4 | Tire changer Automatic allowing performance of a single person Tilt tower Adjustable jaws Ergonomically located pedal Automatic max rotation speed Tool box Mounting and demounting of UHP and run-flat tyres Air supply 8-12 bar Max wheel diameter: 100cm Max tyre width: 33cm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.5 | Car Wheel Balancer Automatic measurement of radius and width Sonar to automatically detect rim width LCD with touch screen Rim diameter range: 10”-30” Rim width range: 2”-15” Wheel weight: 70kg Accuracy: 1g Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.6 | Car Lift Two-post car lift Capacity: 3000 kg Suitable for large SUVs and vans Maximum lifting height approx. 2100mm Working width approx. 2300 mm Asymmetric telescopic arms Safety systems Automatic blocking Drive with two synchronized motors Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 3.7 | A/C service unit Fully automatic A/C charging station for recovery, recycling and charging Freon 1234yf LCD screen Vehicle data base Freon tank 10kg Pump flow 50 l/min Accuracy: 15g Gas Identifier Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.8 | Compressor Volume: 500 l 2 cylinders Air flow: 800 l/min Max working pressure: 11 bar Power: 5.5kW 400V Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, | 2 |  |  |  |
| 3.9 | Compressor Volume: 90 l Air flow: 320 l/min Max working pressure: 10 bar Power: 2.2 kW 230V Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, | 1 |  |  |  |
| 3.10 | Injector cleaning bench Petrol, LPG and CNG injector test and cleaning bench 4 injectors under test Manual adjustments and injectors recognition 2 l tank Pump pressure: 10 bar Stand trolley with 5 drawers Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 3.11 | Cold Water Pressure Washer Flow: 500 l/h Working pressure: 150 bar 3-piston axial pump Brass cylinder head Water filter Spray gun High pressure hose: 10m Detergent dosage | 2 |  |  |  |
| 3.12 | Hydraulic press Capacity: 20 tons Two-speed manual pump Working width: 500 mm Working height: 900 mm Height adjustable shelf Pressure gouge Supplied with a pair of V-blocks | 3 |  |  |  |
| 3.13 | Workshop crane Load capacity: 1000kg Hydraulic pump Extendable support arm Hook rotation 360 Rubber wheels Boom length: 1100 – 1400 mm Lifting range: 600 – 2300 mm | 2 |  |  |  |
| 3.14 | Hydraulic pit and under bridge jack Capacity: 500kg. Pedal pump Safety valve Wheels Height range: 1200 – 1900 mm | 2 |  |  |  |
| 3.15 | Hydraulic trolley jack Capacity: 3 tons Height range: 130 – 480 mm | 2 |  |  |  |
| 3.16 | Bench drill press Laser function and LED-light Digital display of drill depth Hand-wheel Still table: 300x300 mm Chuck capacity: 13 mm Two speeds No load speed: 2500 rpm Boring Ø (Steel/Wood) 13/40 mm Drilling depth 100 mm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 4 |  |  |  |
| 3.17 | Workshop bench Durable construction Dimensions: 2000x750x900 mm (LxWxH) Top board: laminated oiled beechwood, 40 mm thickness, 2000x750 mm Below top board two metal tool cabinets Right tool cabinet with six drawers and central locking, 650x650x850 mm Left tool cabinet with two drawers and hinged door and central locking 650x650x850 mm Obligatory documentation: Manufacturer’s ISO 9001 Certificate | 3 |  |  |  |
| 3.18 | Workshop trolley Metal workshop trolley with 6 drawers Locking mechanism Overall dimension approx.: 700x350x900 mm Basic hand tools set, 100 pieces, including set of combination wrenches, set of pliers, set of screwdrivers, hammers, set of gedore sockets, etc. Obligatory documentation: Manufacturer’s ISO 9001 Certificate | 6 |  |  |  |
| 3.19 | Mounting tool set clutch/flywheel For manual transmission Self-Adjusting Clutches 40 parts Pressure piece and spindle carrier with 3- and 4-hole pitch Multi brand including BMW, Audi, Skoda, VW, etc. | 1 |  |  |  |
| 3.20 | Mounting tool set for belt drive Universal Multi brand including Audi, Skoda, VW, etc. | 2 |  |  |  |
| 3.21 | Compression tester For petrol and diesel engines Range: 0 - 40 bar Compression pressure tester with dial, hose and quick coupling 7 adapters for petrol engines 5 adapters for diesel engines Multi brand including BMW, Audi, Skoda, VW, etc. Case | 2 |  |  |  |
| 3.22 | Compression tester for petrol engines Range: 0 – 20 bar Compression pressure tester with dial, hose and quick coupling 5 adapters for petrol engines Case | 2 |  |  |  |
| 3.23 | Vehicle light adjustment device For checking and adjustment of halogen, xenon and LED lights Headlight centring Digital luxmeter Laser centring device HAL/LED/XEN selector switch Battery with charger Obligatory documentation: Manufacturer’s Authorization | 5 |  |  |  |
| 3.24 | Boot installation tool Universal boot expander Pneumatic | 2 |  |  |  |
| 3.25 | Brake piston reset tool set Universal set for turning and pressing brake pistons Pneumatic 22 parts Working pressure: 5 to 8 bar Multi brand including Alfa Romeo, Audi, BMW, Fiat, Ford, General Motors, Honda, Jaguar, Mazda, Mercedes-Benz, Mitsubishi, Nissan, Peugeot, Rover, Saab, Subaru, Toyota, VW | 2 |  |  |  |
| 3.26 | Oil collector Oil Drainer with vacuum cleaner Mobile with wheels Tank capacity: 70 l Integrated vacuum cleaner | 2 |  |  |  |
| 3.27 | Parts washer Freestanding metal washer with lid Capacity: 75L Pump flow: 3l/min Detergent: 45L | 3 |  |  |  |
| 3.28 | Spring Compressor Set Macpherson Clamping length: 300 mm Three pairs of replaceable forks Multi brand including BMW, Toyota, Ford, Mitsubishi, VW, Audi, Saab, Nissan, Honda Accord, Subaru, Volvo, etc. | 2 |  |  |  |
| 3.29 | Torque wrench tool set 40 to 200 Nm 10 plug-on tools Ratcheting head with 1/2" square drive 9 open-end spanners 13-30 | 5 |  |  |  |
| 3.30 | Socket Set 3/4” hex sockets 16 parts Sockets from 22 – 50 mm ¾” ratchet head, extensions, bar 400 mm, handle head Case | 4 |  |  |  |
| 3.31 | Pneumatic impact wrench ½” square drive Torque: 700Nm Free speed: 8.000 rpm Working pressure: 6 bar Jumbo Hammer Obligatory documentation: Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 3.32 | Pneumatic impact wrench 3/4” square drive Torque: 2000 Nm Free speed: 5.000 rpm Working pressure: 6 bar Twin Hammer | 4 |  |  |  |
| 3.33 | Cordless impact wrench Voltage: 18 V 3/4” square drive Torque: 1600 Nm Free speed: 1.700 rpm Impact rate: 2200 bpm 2 batteries 8.0Ah and charger included Case Obligatory documentation: Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.34 | Cordless impact wrench Voltage: 18 V 1” square drive Torque: 2500 Nm Free speed: 1.200 rpm Impact rate: 1400 bpm Battery 8.0Ah and charger included Case Obligatory documentation: Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.35 | Cordless impact wrench Voltage: 18 V 1/2” square drive Torque: 750 Nm Free speed: 1.900 rpm Impact rate: 2400 bpm 2 batteries 5.0Ah and charger included Case Obligatory documentation: Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.36 | Cordless drill Voltage: 18 V Free speed: 1600 rpm Impact: 25000 bpm Torque: 60 Nm Chuck capacity: 13 mm 2 speeds Max. drilling wood/ metal/ masonry: 30/10/13 mm 2 batteries 2.0Ah and charger included Case Obligatory documentation: Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.37 | Pneumatic ratchet screwdriver 1/4” square drive Torque: 40 Nm Working pressure: 6 bar Obligatory documentation: Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.38 | Angle grinder Disk diameter: 125 mm Speed: 11.000 rpm Power: 1200W Obligatory documentation: Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 28 |  |  |  |
| 3.39 | Angle grinder Disk diameter: 230 mm Speed: 6.500 rpm Power: 2200W Obligatory documentation: Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 13 |  |  |  |
| 3.40 | Oil filter wrench set 30 parts 3 leg oil filter wrench Ø 65 mm - Ø 120 mm Multi brand adaptors and cap wrench set | 2 |  |  |  |
| 3.41 | Thrust piece set Press in / out tool Diameter range: 50- 88mm 20 parts | 2 |  |  |  |
| 3.42 | Cooling system and radiator cap pressure test kit Cooling system, radiator pressure and leak tests Set includes 27 parts of different test caps, a vacuum pump, pressure pump, cone adapter, and air bleeding/coolant hoses Multi brand including Ford, BMW, Land Rover, Mini, Toyota, Kia, Dodge, Hyundai, Audi, Honda, Jeep, etc. Hand pump with gauge graduated up to 2.5 bar | 2 |  |  |  |
| 3.43 | Analog multimeter DC Voltage: 0.1 - 1000V, +/- 5% AC Voltage: 2.5 – 1000V, +/- 5% DCA: 50μ - 0.25A, +/- 2.5% Resistance: 2k - 20MΩ, +/- 5% Set of test leads and batteries included | 2 |  |  |  |
| 3.44 | Timing strobe Ignition adjustment stroboscope lamp Xenon light source Test rotation speed and advance angle Accuracy up to 8000 rpm Digital display | 3 |  |  |  |
| 3.45 | Function generator Frequency Range: 1Hz – 100kHz One channel Sample rate: 125 MSA/s Sine, Square, Ramp, Pulse, Gaussian Noise. | 1 |  |  |  |
| 3.46 | Digital oscilloscope 2 Channels Bandwidth: 100MHz Sample rate: 1 GSa/s Edge, Pulse, Video, Slope, Alternate 2 pcs passive probe USB Host, USB Device, LAN | 3 |  |  |  |
| 3.47 | Battery tester Digital tester for 8-240 Ah batteries at 12V Battery status, starting capability (CCA), starter system, vehicle alternator circuit PC connection Graphic display | 3 |  |  |  |
| 3.48 | Frequency Counter 10 Digit LED Display Frequency Range: 0,001Hz – 3GHz USB interface | 4 |  |  |  |
| 3.49 | Short circuit tester Detector for locating short and open circuits Transmitter and receiver 4 probes and adapters Operating range 6 to 24 V Carrying case | 3 |  |  |  |
| 3.50 | Battery charger Output voltage: 12-24V Battery types: Agm - Wet - Lithium (LiFePo4) Capacity: 20-360Ah | 3 |  |  |  |
| 3.51 | Test bench for starters and alternators The evaluation of the technical condition of 12/24 V automotive alternators and starters Load on alternator: 12 V - 100 А, 24 V - 50 А Drive speed: 000 rpm Drive type: V-belt drive/Poly V-belt drive Display: VOLTAGE, AMP DC, AMP AC Stand with hinged doors Obligatory documentation: Manufacturer’s Authorization | 3 |  |  |  |
| 3.52 | Batch oven Oven for polymerisation Inside chamber dimensions: 400x150x200mm (LxWxH) Metal sides and celling with stone wool insulation 150mm thickness Single wing door on both sides 20 heaters placed in the floor; total power 46kW Heating in steps 2 fans with 1 kW power Control panel with thermal regulation, alarm and timer Obligatory documentation: Manufacturer’s Authorization, CE Declaration of Conformity Commercial warranty: In addition to one 1-year warranty, manufacturers commercial warranty for additional year is requested and should include as minimum yearly oven maintenance | 1 |  |  |  |
| 3.53 | Welding Smoke Filter Unit Mobile smoke extraction filter unit Two arms for two work places Filter efficiency: 99% Extraction capacity: 2x700 m³/h Length of flexible exhaust arm: 2 m Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 5 |  |  |  |
| 3.54 | Milling machine Drilling, milling and thread cutting Mill head tiltable +/- 90° Right and left rotation for thread cutting LED Light Keyless drill chuck 3 – 16 mm Spindle taper: MT3 Spindle speed up to 3200 rpm Spindle to table range: 150 -450 mm T-slot table Table size: 700 x 200 mm Spindle stroke: 120 mm Travel x/y: 500/170 mm 3 feeds up to 2.5 mm/rev Motor: 2.2 KW, 400V Clamping elements for quick mounting of workpieces T-slot tables – 50 pieces Stand included Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.55 | Pneumatic angle grinder Disk diameter: 125 mm Speed: 10.000 rpm Working pressure: 6.2 bar Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 3.56 | Straight grinder Speed: 25.000 rpm Max collet diameter: 6 mm Power: 700 W Speed control Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 4 |  |  |  |
| 3.57 | Bench grinder Wheel size: 200x20mm No load speed: 2800 rpm Power: 500W Safety Eye Shield Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.58 | Impact drill Chuck capacity: 13 mm Auto lock Speed selection No load speed: 2500 rpm Impact rate: 0 – 45.000 bpm Boring Ø (Steel/Wood) 13/30 mm Power: 700W Case Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 4 |  |  |  |
| 3.59 | Hammer drill Drilling, impact drilling, and chiselling SDS-Plus Auto lock Speed selection No load speed: 800 rpm Impact rate: 0 – 4.000 bpm Boring Ø (Steel/Wood) 13/40 mm Max energy: 3.5J Power: 1250W Case Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.60 | Cordless drill Voltage: 18 V Free speed: 1600 rpm Torque: 50 Nm Chuck capacity: 13 mm 2 speeds Max. drilling wood/ metal/ masonry: 30/10/10 mm Battery 2.0Ah and charger included Case Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 4 |  |  |  |
| 3.61 | Column drill press Digital display of speed and drill depth Laser equipped Hand-wheel Still table approx..: 300x300 mm T slots table Chuck capacity: 16 mm Morse taper: MT 2 Spindle to table: 650 mm Two speeds No load speed: 1900 rpm Table tiltable: -45° to +45° Power: 600W, 400V Machine dimension (W x D x H): 400x600x1600 mm Vice dimension approx.: 230x110x100 mm (LxWxH) Vice jaw width: 60 mm Jaw height 30 mm Clamping elements for quick mounting of workpieces T-slot tables, 50 pieces Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 5 |  |  |  |
| 3.62 | Workshop bench Durable construction Dimensions: 2000x750x900 mm (LxWxH) Top board: laminated oiled beechwood, 40 mm thickness, 2000x750 mm Metal construction with height adjustable legs on the left side and tool cabinet with six drawers and central locking on the right side Cabinet dimensions: 650x650x850 mm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 4 |  |  |  |
| 3.63 | Welding training table Steel construction Working surface divided into two areas Sheet steel support with fireclay plates for shallow welding and a bar iron grate for deep welding Dimensions: 900x600x800 mm (LxWxH) Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 7 |  |  |  |
| 3.64 | Straight shear Power: 350 W Strokes per minute: 4.000 min-1 Minimum cutting radius: 40 mm Capacity: Steel up to 400N/mm²: 1.6mm Steel up to 600N/mm²: 1.0mm Steel up to 800N/mm²: 0.7mm Aluminium up to 200N/mm²: 2.0mm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 4 |  |  |  |
| 3.65 | Gas tank CO2 Volume: 10L Pressure: 150 bar | 5 |  |  |  |
| 3.66 | Gas tank Argon Volume: 10L Pressure: 200 bar | 3 |  |  |  |
| 3.67 | Compressor accessories Air control and filter unit Air inlet 1/2" Working pressure 0.5-8 bar Capacity of the container for air 60ml, for oil 90ml Hose: 10m Long pneumatic duster: 10 bar, 220 l/min | 2 |  |  |  |
| 3.68 | Taps and dies set HSS-G M3-M12 Set of 40 elements | 10 |  |  |  |
| 3.69 | Pliers set Chromium-Vanadium Steel Set of 12 pieces Protective insulated Set includes: combination pliers, electrician's combination pliers, water pump pliers, diagonal side cutters, diagonal power side cutters, flat pliers with long jaws, round nose pliers with long jaws, etc. | 6 |  |  |  |
| 3.70 | Micrometer Cast alloy Hardened measuring surfaces Spindle 6, 5 mm Lock Measuring range: 0 – 25 mm Reading: 0 01 mm | 4 |  |  |  |
| 3.71 | Ultrasonic flaw detector Portable, digital ultrasonic flaw detector for non-destructive testing (NDT) Suitable for weld inspection, crack detection, thickness measurement, and defect evaluation in metals and composites Evaluation methods: DAC/TCG/AWS Real-time A-scan display Adjustable pulse repetition rate, gate settings, and gain control High-resolution color TFT User interface with programmable function keys Test range: 3-13.000mm in steel Velocity: 600-15.000m/s Test mode: Pulse echo and transmit/receive Pulse width: 30nS to5000nS Frequency range: 0.5 – 20 MHz Pulse voltage: 100V-300V Monitor gates: 2 Display: Colour TFT Probe connector: LEMO Li- Ion battery life: 9 h Evaluation methods: DAC/TCG/AWS PC software Li-ion rechargeable battery, mains/charging device Necessary cables and accessories Transportation case Straight beam probe Ø10mm 4 MHz, cable length 2m Angle beam probe 45°, 9x8mm, 4MHz, cable length 2m Angle beam probe 60°, 9x8mm, 4MHz, cable length 2m Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 3.72 | TIG welding TIG, TIG PULSE and MMA Direct current inverter, 3ph 400V Pulse mode for low heat input stainless steel – aluminium Current control range: 10-250 / 10-300 A Duty cycle 30%: 250 A Power: 9 kW Electrode diameter: 4 mm Torch, 5 pin, 4 m hose, hand wheel for gas opening Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 3.73 | Plasma cutter Cutting stainless steel, copper and aluminium Current range: 20-40 A Max cutting thickness: 15 mm Compressed air pressure: 4 bar Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.74 | Laser welding & cleaning system Welding, Cutting and Cleaning Machines Steel, stainless steel, aluminium, copper Fibre laser power 3kW Handheld gun with safety features Wire sizes: 0.8, 1.0, 1.2 and 1.6mm Welding width: 0.5-3mm Cleaning width: 80mm Water chiller Shield gas: Argon Wire feeding package and set of nozzles Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 3.75 | Arc welding MMA and TIG electrode inverter welding machine Current control range: 10-200 A Duty cycle 60%: 100 A Electrode diameter up to 4 mm Arc force, hot start, anti-stick Cable with work clamp 2m, electrode holder Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 7 |  |  |  |
| 3.76 | MIG/MAG welding Multi process welding: MIG-MAG, MMA, lift TIG Current control range: 20-220 A Duty cycle 60%: 100 A Power: 5 kW Steel welding wire up to 1mm Inox welding wire up to 1mm Aluminium welding wire 1mm Electrode diameter: 3.2 mm Arc force, hot start, anti-stick Cable with work clamp 2m, Cable with electrode holder 2m, MIG torch 3m Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 3.77 | Gas welding and cutting set Three gas pipe welding set with handle, torches, inserts, nozzles, etc. Welding up to a material thickness of 14 mm Cutting up to a material thickness of 100 mm | 2 |  |  |  |
| 3.78 | Welding mask MIG-MAG, MMA, TIG Automatic darkening Class 1/1/1/2 | 30 |  |  |  |
| 3.79 | Pressure reducer valve Argon/CO2 200 bar Adjustable flow up to 32 l/min Flow and pressure gouge | 6 |  |  |  |
| 3.80 | Pipe bending machine CNC or NC pipe bending machine Gear system Maximum bending capacity 32X2 mm diameter Hydraulic bending Hydraulic clamp and mandrel Max. 190 bending angle Mandrel length 2000 mm Max. hydraulic pressure 120 bar Total motor power 4 kW Program recording Touch screen control Foot pedal control Manual or automatic operation on the screen Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity Commercial warranty: In addition to one 1-year warranty, manufacturers commercial warranty for additional year is requested and should include as minimum yearly machine maintenance | 2 |  |  |  |
| 3.81 | Metal laser cutting machine Fibre metal cutting laser Water chiller Automatic height control and focus Servo motor control Onboard computer system running laser control software Laser power: 3kW Cutting speed: 40m/min Acceleration: 0.5G Cutting area: 3000x1500mm Bed load: 800 kg Max cutting thickness stainless steel: 10 mm Max cutting thickness stainless steel: 8 mm Integrated tube cutting Water chiller Automatic height control and focus Servo motor control Onboard computer system running laser control software 3ph 400V Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity Commercial warranty: In addition to one 1-year warranty, manufacturers commercial warranty for additional year is requested and should include as minimum yearly machine maintenance Specialised Training for machine and software – one day | 1 |  |  |  |
| 3.82 | Manual powder coating machine Electrostatic powder coating Mobile Control panel Powder charging capacity 110 kV Digital valve control Charge control 10 µA Input pressure 10 bar Powder coating spray gun with hose length 5m Powder box delivery with suction tube Inclined vibrating table Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 3.83 | Turning lathe 3-jaw chuck: 125 mm 4-way tool post holder Safety clutch Micrometer longitudinal fence Stand with two cabinets included in delivery With longitudinal feed and cross feed Distance between centres: 750 mm Centre height: 125 mm Swing over bed: 250 mm Bed width: 135 mm Speed range, stepless 100 - 1000 / 200 - 2000 rpm Taper of tailstock sleeve MT 2 Motor power 0,75 kW / 230 V Ball bearing live center MT2, with 60° tip Indexable carbide turning tool set 6-pcs. incl. boring bar 8 mm, in wooden case Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 4 |  |  |  |
| 3.84 | Metal band saw Cutting capacity round 90°: 180 mm Cutting capacity square 90°: 180 x 180 mm Cutting capacity flat 90°: 240 x 120 mm Cutting capacity round 45°: 110 mm Cutting capacity square 45°: 150 mm Bandsaw blade dimension approx..: 2400 x 23 x 1 mm Two cutting speeds Coolant pump Power: 750W Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 3.85 | Edge sanding machine Oscillation of the sanding belt Tool storage with shelving Mitre fence Swivel Power: 2kW Belt speed 16 m/sec Belt dimension: 2500x150mm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 3.86 | Spot welding machine Synchronous adjustable electronic timer Maximum welding thickness on 2 sheets: 1+1mm Peak current: 5500A Rated power 50%: 1.4kW | 1 |  |  |  |
| 3.87 | Demolition hammer SDS-Max Auto lock Speed selection No load speed: 300 rpm Impact rate: 0 – 3.000 bpm Max energy: 7J Power: 950W Side Handle, Bull Point, Carrying Case Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 3.88 | Metal cut-off saw Wheel Diameter: 355mm No load speed: 3800 rpm Power: 2200W Angle cut from 0° to 45° Cutting capacity round 0°: 120 mm Cutting capacity 0°: 110 x 130 mm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 3.89 | Jig saw Power: 750 W No load stroke rate: 500 - 3.000 min-1 Max cutting depth in wood: 150 mm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 3.90 | Circular saw Handheld Power: 1500W No load speed: 5500 rpm Cutting capacity 0°: 60 mm Cutting capacity 45°: 45 mm Blade diameter: 190 mm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 3.91 | Wrench tools set 1/2", 3/8", 1/4" Spanners Set of 300 keys and accessories Suitcase | 1 |  |  |  |
| 3.92 | Tube welding Socket welder For welding PE, PP, PB and PVDF tubes Electronic with temperature regulator Power: 800W For 20, 25, 32 and 63mm sockets | 1 |  |  |  |
| 3.93 | Pipe cutter and tube flaring tools Set of tools for flaring pipes 4-14mm in a set with adapters Cutter for copper pipes 3-30mm. | 1 |  |  |  |

Lot 4 – Medical, Lab and Dental Equipment

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| LOT 4 | Lot 4 – Medical, Lab and Dental Equipment |  |  |  |  |
| 4.1 | Patient Care Manikin Adult size light skin interchangeable genitals natural movement of the arms, legs, and joints water-resistant plastics practicing possibilities: - personal hygiene - dental care - lifting, mobilization - bandaging and wound dressing - irrigations - injections intramuscular and subcutaneous - nasogastric lavage - oxygen treatment - tracheotomy care - catheterization (male and female) - colostomy care - enema administration - infusion - decubitus care - wound treatment removable internal parts: lungs, heart, stomach amputation stump injection pads (upper arm, thigh, and buttocks) Caring bag Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 13 |  |  |  |
| 4.2 | Obstetrics models and simulators Pregnancy model - 5 models - Stages: 1st month, 2nd month, 3rd month, 5th month, 7th month - Detachable 5th and 7th month foetuses - Mounted on a base Labor Stages Model Approx 50% size, 5 anatomical models mounted on a base - Foetus in womb, cervix closed - Foetus in womb, cervix open - Foetus in womb, start of head passage - Foetus in womb and pelvis, finish of head passage - Placenta in the womb Birthing Simulator Includes: Detachable stomach Pre-cut caesarean section Birth canal Foetal baby approx. 50cm, 1kg Umbilical cord Placenta Training of: - Normal vaginal delivery and normal delivery of umbilical cord and placenta - Diagnosis of all normal and abnormal fetal positions and presentations - Difficult deliveries - Shoulder dystocia recognition - Breech deliveries - Complete and incomplete placenta birth - Demonstration of placenta previa: total, partial, and marginal - Prolapse of umbilical cord - Caesarean delivery through pre-cut incision - Clamping and cutting of umbilical cord - Simulated suctioning of baby’s mouth and nose - Basic manoeuvres - Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 2 |  |  |  |
| 4.3 | Airway practice simulator Bag-valve mask ventilation training Realistic head Anatomically correct nasal passage Silicone simulated skin Base stand 2 lung bags, 1 stomach bag Case Features Anatomically correct internal features Inflatable tongue bulb Replaceable lung and stomach Medical Training Procedure - Bag-valve mask ventilation - Full range of supraglottic device insertion - Laryngoscopy - Tracheal and nasotracheal intubation - Fibre optic examination Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 4 |  |  |  |
| 4.4 | Paediatric care manikin One-year old infant light skin Rotatable arms and legs Articulating head Training of: - Bandaging - Ophthalmic exercises - Oral and dental hygiene (articulating jaw with teeth and tongue) - Tube feeding, NG and OG, and gastric suction - I.m. injection (upper thighs) - Tracheotomy care - Male and female catheterization - Enema administration Features include: - Childlike face skin - Eyes open and close - Fully articulating head and jaw with teeth and tongue - NG and otic exercises - Bends at waist - Jointed elbows, wrists, knees and ankles - Realistic hands, feet, fingers, and toes Supplied with clothes Carrying bag Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 12 |  |  |  |
| 4.5 | Pelvimeter MARTIN pelvimeter, 34 cm CE certified quality | 3 |  |  |  |
| 4.6 | ECG unit Adult and paediatric ECG. 3 channels Standard set of leads and electrodes Portable, battery operated Compatible with roll and z-folded paper Graphical display Keyboard | 11 |  |  |  |
| 4.7 | Nebulizer Compression Nebulizer for Breathing Treatment Adult mask Child mask Nose piece | 12 |  |  |  |
| 4.8 | Resuscitator bag Set for medical training valve squeeze bag reservoir bag oxygen tube Adult mask Child mask | 13 |  |  |  |
| 4.9 | Oxygen tank Oxygen cylinder 2L Oxygen regulator Masks - adult Mask - paediatric Oxygen tubing | 3 |  |  |  |
| 4.10 | Anti-decubitus mattress Indicative size: 90x200x7 cm PVC Compressor | 4 |  |  |  |
| 4.11 | CPR and airway trainer advance Adult size male head and upper body light skin Handheld controller with screen Palpable carotid pulse Realistic chest rise Automatic breathing Intubation Fully articulated head and jaw Electronics powered through chest compressions Sound guided chest compression Detectable EKG rhythm Possibility to use defibrillator Real time CPR evaluation Carrying bag Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 4 |  |  |  |
| 4.12 | CPR and airway trainer basic Practicing of intubation, ventilation, suction, and CPR Head and upper body light skin Realistic anatomy and landmarks Practice of oral, digital, and nasal intubation Jaw thrust CPR procedures Manual carotid pulse Hard carry case Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 8 |  |  |  |
| 4.13 | Sphygmomanometer with Stethoscope Sphygmomanometer Mercurial or aneroid type measurement range: 0 ÷ 300 mm Hg cuff, tubes and bulb included Stethoscope Dual head Tubing length: 60 cm | 110 |  |  |  |
| 4.14 | Blood Glucose Monitor Auto coding Test strip ejector 10 test strips 10 lancets Batteries | 58 |  |  |  |
| 4.15 | Sterilization autoclave Horizontal load type Capacity: 18L Max temperature 134 C Safety valve Security thermostat Pressure: 2 Bar Digital display 3 steel shelves Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.16 | Vital signs monitor Standalone bedside monitor 12” colour TFT touchscreen 7 waveforms Features include: ECG, SpO2, NIBP, respiration, dual body temperature, C.O., ETCO2 performances Audible and visual alarms Network connectivity USB port for data Battery and AC power cord Supplied with 5-lead ECG, SpO2 and NBP packages, power cord and battery Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 4.17 | Riester laryngoscope 3 blades and 1 handle 2.5V LED, xenon or vacuum light bulb Stainless steel blades Batteries | 10 |  |  |  |
| 4.18 | Classic unisex torso Light skin 14 parts Removable parts: 3-part head 2 lungs 2-part heart Stomach Liver with gall bladder 2-part intestinal tract Front half of kidney Front half of urinary bladder Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 12 |  |  |  |
| 4.19 | Eye model 3 times Full-Size 6 parts Both halves of sclera with cornea and eye muscle attachments Both halves of the choroid with iris and retina Eye lens Vitreous humour Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 8 |  |  |  |
| 4.20 | Skull and Human brain model Brain model 5 parts with magnets Detailed model of the human brain divided in half Left half includes: - Frontal and parietal lobe - Temporal and occipital lobe - Encephalic trunk - Cerebellum Base stand Skull model - Hard plastic - 3 parts - Fissures, foramina, processes, sutures - Teeth individually casted Brain model should fit with skull model Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 8 |  |  |  |
| 4.21 | Lumbar spinal column model 5 lumbar vertebrae with intervertebral discs Sacrum with flap, coccyx, spinal nerves and dura mater of spinal cord Stand Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 10 |  |  |  |
| 4.22 | Skin cross-sectional model 40 times full size Visible details with hair follicles, sebaceous glands, sweat glands, receptor, nerves and vessels Base stand Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 8 |  |  |  |
| 4.23 | Enema irrigator 2 l capacity 2 cannulas, tap with opening lever, tube and carrying bag | 15 |  |  |  |
| 4.24 | Pulse oximeter Finger type OLED display Blood oxygen saturation measuring range 35 - 99% Pulse frequency: Measuring range: 30 -240 BPM Batteries | 19 |  |  |  |
| 4.25 | Esmarch's bandage Natural rubber Dimensions: approx. 6 cm x 5 m Firm, moderate elasticity Autoclavable Non sterile, reusable | 33 |  |  |  |
| 4.26 | Medical aspirator Portable suction unit for aspiration of body fluids Device Class II EN ISO 10079-1 High vacuum/Low air flow Vacuum Pressure: 0.75bar Flow Rate: 15 L / min Includes: Collection jar 1L Air filters 2x Suction Catheters (one for adults, one for children) Silicone Suction Tube: 1.5 meter, autoclavable | 3 |  |  |  |
| 4.27 | Casualty Care Manikin Training on procedures to treat: massive bleeding, tension pneumothorax and airway obstruction Airway Management • Nasopharyngeal (Nose) • Oropharyngeal (Mouth) • Cricothyroidotomy (Throat) Massive Haemorrhage • Femoral and Brachial extremity wounds • Inguinal and Carotid junctional wounds • Treatment Interventions - Extremity and junctional tourniquets, wound packing and pressure bandage Tension Pneumothorax • Needle Decompression at the 4th/5th intercostal space in the anterior axillary line • Needle Decompression at the 2nd/3rd Intercostal space in the mid-clavicular line Penetrating Chest Wound • Allows for occlusive dressing Full body light skin Articulated joints Haight approx. 170cm, body weight distributed Contains 3-4 litters of artificial blood Foot pump with a pressure regulator for simulating human blood flow pressure allowing 3 wounds to bleed simultaneously Blood powder for preparation of 15L of blood 10 repairable tracheas 3 repairable neck skins Silicone repair kit Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 1 |  |  |  |
| 4.28 | Human circulatory system 1/2 life-size relief model showing the following anatomical structures: - The arterial/venous system - Heart - Lung - Liver - Spleen - Kidneys - Partial skeleton Baseboard Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 10 |  |  |  |
| 4.29 | Heimlich vest For teaching Abdominal Thrust Manoeuvre Supplied with 30 foam plugs and carrying bag | 10 |  |  |  |
| 4.30 | Portable Maternal & Foetal Monitor Cardiotocograph – CTG 7” LCD display Monitoring of TOCO, FHR, FM + NIBP, SPo2 and Maternal HR Multi-chip waterproof probe Twins measurement function CTG analysis Printer Set includes: Charger cable 2 Probes NIBP Hose Rechargeable batteries Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.31 | Patient trolley Chromed or stainless-steel tube Two shelves stainless steel 80 mm swivel wheels Dimensions approx.: 60 x 80 x 40 cm WxHxD | 10 |  |  |  |
| 4.32 | Electrical hospital bed Electrical backrest and leg rest adjustment Control panel 4 parts platform Foldable metal side rails Locking Castors Powder-Coated metal frame IV Pole, Urine bag hooks Bumper protection against shocks Dimensions approx..: 210x100x50cm (LxWxH) Mattress thickness 10cm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.33 | Bleeding control trainer Arm trainer light skin Three different wounds: Stab wound or laceration Gunshot wound through and through Junctional wound in the shoulder Palpable vessel damaged The application of the tourniquet with feedback Manual blood pump system Blood powder 500 g Carrying bag Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 2 |  |  |  |
| 4.34 | I.V. Injection arm trainer Light skin arm with mounted tubing system Training of: Blood sampling Puncture of basilica vein, cephalic vein, median cubital vein, dorsal venous rete of hand Intravenous injections Positioning of a butterfly catheter Supplied with infusion bottle, stand, artificial blood concentrate syringe and cannulas Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 14 |  |  |  |
| 4.35 | Mechanical hospital bed Mechanically adjustable backrest and leg rest 4 parts plastic platform Foldable metal side rails Locking Castors Powder-Coated metal frame IV Pole Urine bag hooks Dimensions approx..: 210x100x50cm (LxWxH) Mattress thickness 10cm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 12 |  |  |  |
| 4.36 | Examination bed Rectangular steel tube frame powder coated 2 parts platform 50 mm thick foam covered with washable upholstery Levelling feet Backrest adjustable Dimensions approx..: 700x650x2000 mm (HxWxL) Paper roll holder positioned in the back or front | 2 |  |  |  |
| 4.37 | Wheelchairs Foldable Metal construction 2 self-propelled back wheels (app. 60cm diameter) with brake 2 front wheels (app. 20cm diameter) Padded seat and back Swing in/out leg rests Padded adjustable arm-rests Load 120kg | 2 |  |  |  |
| 4.38 | Injection simulator Simulator for intramuscular injections with fluid up to a depth of 50 mm Changeable skin pads Supplied with injection pads 2 pieces and replacement skin pads 40 pieces Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 19 |  |  |  |
| 4.39 | Decubitus trainer Light skin buttocks simulation Wound care and bandaging techniques in decubitus grades 1 to 4 Realistic wounds, skin layers, tissues, necrotic areas Carry case Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 10 |  |  |  |
| 4.40 | Human Skeleton Durable material Posted on a metal hanging stand with casters Natural skeleton size with 200 bones 3 parts skull Teeth Removable limbs Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 8 |  |  |  |
| 4.41 | Intradermal Injection Simulator Forearm light skin Realistic skin Eight reusable sites for practicing intradermal injections with fluid Skin welt forming that can be removed Supplied with sealant Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 11 |  |  |  |
| 4.42 | IV stand Metal stand with 2 hooks for solution Metal star base with 5 wheels with brakes Adjustable height up to 200 cm | 11 |  |  |  |
| 4.43 | Cervical orthosis One or two pieces with Velcro closure Padded foam inner lining Opening for tracheotomy | 10 |  |  |  |
| 4.44 | Mayo table Metal frame with castors Plastic table approx.: 40x60 cm Height adjustable | 11 |  |  |  |
| 4.45 | Artificial blood 300 mL of blood in a 450mL bag Bag with info stickers Distilled water and colour | 36 |  |  |  |
| 4.46 | Artificial plasma 200mL of plasma in a 450mL bag Bag with info stickers Distilled water and colour | 36 |  |  |  |
| 4.47 | Platelets artificial 100mL of platelets in a 450mL bag Bag with info stickers Distilled water and colour | 36 |  |  |  |
| 4.48 | Basket stretcher Dimension approx.: 220 x 60 x 20 cm Maximum Load: 200kg High density polyethylene shell supported by metal frame Moulded runners or similar base reinforcement Restraining straps Lifting sling included Orange colour Conforms with both CE guidelines | 1 |  |  |  |
| 4.49 | First Aid Bag Trauma bag with minimum 130 pieces kit Advanced first aid supplies for emergency first responders Bag Dimensions approx..: 40 x 25 x 15 cm | 1 |  |  |  |
| 4.50 | Laboratory patene Enamelled shallow metal or porcelain lab evaporating dish With stand and spout Approx.: 1000ml | 25 |  |  |  |
| 4.51 | Laboratory patene Enamelled shallow metal or porcelain lab evaporating dish With stand and spout Approx.: 500ml | 27 |  |  |  |
| 4.52 | Laboratory patene Enamelled shallow metal or porcelain lab evaporating dish With stand and spout Approx.: 300ml | 27 |  |  |  |
| 4.53 | Mortar with pestle sets Porcelain glazed With spout and pestle Glazed inside Diameter approx. 110 mm, capacity 150 mL – 2 sets Diameter approx. 90 mm, capacity 75 mL – 2 sets | 52 |  |  |  |
| 4.54 | Water bath 4 openings Microprocessor PID temperature control Stainless steel tank Capacity 15L Temperature resolution 0,1°C Temperature range RT+5°C do 99°C Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 9 |  |  |  |
| 4.55 | Thermometer lab -10°C do 100°C | 50 |  |  |  |
| 4.56 | Immersion blender Power approx.: 1000 w Variable speed Four blades stainless steel Graduated beaker approx..600 mL Hight approx.: 40 cm | 18 |  |  |  |
| 4.57 | Clevenger apparatus Apparatus for extraction and determination of etheric oils Complete distillation apparatus with main parts and attachments including: - round-bottom flask 1000 ml - 2 pieces - 300 mm Allihn condenser - 10 mL extractor with 0.1 mL graduation NS 29/32 or 24/29 joints PTFE plug Borosilicate glass 3.3 Heating mantle for 1000ml flask Support stand and necessary clamps | 10 |  |  |  |
| 4.58 | Analytical Balance Automatic internal adjustment Maximal weighing load: 220g Readout: 0,1mg Protective working cover LCD display Weighing surface stainless steel pan Power supply adapter Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, | 10 |  |  |  |
| 4.59 | Binocular biological microscope Eyepieces: WF 10x/18mm Objectives: 4x/10x/40x100x oil Binocular head 30° inclined; 360° rotating. Mechanical stage: Coaxial coarse and fine focusing knobs Condenser: Abbe NA1.25 Illumination: LED illumination Power supply & battery Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 45 |  |  |  |
| 4.60 | Fume cupboard Dimensions approx.: 1200x800x2200mm Steel frame epoxy powder coated Chemically resistant worktop Front and back safety glass Air flow: 950 m3/h Electricity sockets Lab tap and sink Gas tap with LPG Bunsen burner and 1m hose Under-bench cupboard Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 7 |  |  |  |
| 4.61 | Precision balance Internal adjustment Weighing load: 620g Readout: 0,001g LCD display PC connectivity Weighing surface stainless steel pan Power supply adapter Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate | 10 |  |  |  |
| 4.62 | Bunsen burner For LPG Die-cast zinc Air regulation Needle valve Pilot flame inside | 9 |  |  |  |
| 4.63 | Tripod Stainless steel Ring Ø 100 mm, rod Ø 6 mm | 9 |  |  |  |
| 4.64 | Microscope slide pack 100 slides with ground edges 24 x 24 mm | 20 |  |  |  |
| 4.65 | Test sieve Ø 200 mm Stainless steel Mesh size 0.3mm PVC sealing ring Certificate of compliance according to DIN ISO 3310-1 | 9 |  |  |  |
| 4.66 | Manicure table White chipboard 3 drawers Aspirator, dust bag and armrest Dimensions approx.: 120x50x75 cm | 4 |  |  |  |
| 4.67 | Lab chair PU seat and backrest Adjustable height Seat: 45x45cm Chromed metal star base with wheels | 174 |  |  |  |
| 4.68 | LED light Polymerisation of UV and UV/LED gels UV, GEL and HYBRID drying Universal white drying Timer 36W LED | 5 |  |  |  |
| 4.69 | Hydro dermabrasion Machine 6 handles with following functions: Hydro dermabrasion Oxygen Spray Gun Bipolar RF Handle Cold Hammer Cryotherapy Ultrasound Skin Infusion Ultrasound spatula | 1 |  |  |  |
| 4.70 | Electro therapy apparatus 3-channels 2x electrotherapy – 2 independent channels Ultrasound - 1 and 3 MHz Connect 2 Ultrasound Probes Simultaneous 7” colour touchscreen Supplied with accessories: Large and small ultrasonic probes, 4 electrodes with sponges, ultrasound gel 250 ml Safety class according to IEC 60601-1 | 2 |  |  |  |
| 4.71 | Paraffin bath Paraffin tank: 20L Temp regulation: 20 – 90 °C Power: 2 kW | 2 |  |  |  |
| 4.72 | Massage table 3 section foldable aluminium construction Waterproof synthetic leather upholstery with 40mm thick foam filling Detachable armrest and headrest Dimensions approx.: W70cm x L190cm Maximum load: 180kg | 4 |  |  |  |
| 4.73 | Cane Aluminium Adjustable height Handle Load capacity: 100 kg | 2 |  |  |  |
| 4.74 | Crutches Wooden or Aluminium Height adjustable +/- 5cm Load capacity 100 kg | 2 |  |  |  |
| 4.75 | Wheelchairs Foldable Metal construction 2 self-propelled back wheels (app. 60cm diameter) with brake 2 front wheels (app. 20cm diameter) Padded seat and back Swing in/out leg rests Padded adjustable arm-rests Load 120kg | 2 |  |  |  |
| 4.76 | Hot stones set Hot stone heater 17L Basalt hot stone set - 64 pieces | 2 |  |  |  |
| 4.77 | Mats Dimensions: 200x100x6 cm Inside foam density: 80 kg/m3 | 10 |  |  |  |
| 4.78 | Vacuum mixer Dental vacuum mixing unit with pump Vacuum regulation Vacuum approx.: 0.9bar Rotational speed: 450 rpm Bowl volume: 500 mL Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 4.79 | Medium Value Articulator Ergonomic design and easy handling Separation of articulator into two parts Bonwill Triangle: 108 mm Bennett: 0 - 20°. Centric fixation for exact set-up position Face bow and transfer accessories included | 22 |  |  |  |
| 4.80 | Parallelometer Basic parallelometer Without laboratory micromotor Measuring spindle Lead holders Dimensions approx.: 20x40x30 cm Measuring kit and milling set included | 1 |  |  |  |
| 4.81 | Pre-Heating furnace Uniform 4-sided heating Maximum temperature: 1100 ° C Chamber dimensions: 16 x 12 x 18 cm (WxHxD) Programmable Speed program Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.82 | Furnace Homogeneous heat distribution Individual Programs Service and monitoring programs Software Touchscreen Vacuum pump USB and Ethernet interface Dimension of firing chamber approx..: diameter 90 mm, height 70 mm Temperature: 1200 ° C Firing tray set Temperature measurement set Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.83 | Dental casting unit Dental casting unit with high frequency induction melting and centrifugal casting Casting of dental Co-Cr, Ni-Cr and precious alloys Manual and automatic mode of melting Melting time for 30gr dental alloy: 60 sec Casting capacity from 10 gr. to 60 gr. Crucible type for dental alloys ceramic crucible Water cooling Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.84 | Micromotor system Designed for dental laboratory use Fine finishing, polishing, and milling of materials like ceramics, metal alloys, composites, and acrylics Ergonomic control options Side table mount Brushless micromotor Up to 50,000 rpm High torque: 7 Ncm Knee control table version Air cooling Ergonomic hand piece Speed control Clockwise and anti-clockwise operation Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 16 |  |  |  |
| 4.85 | Micromotor system Designed for dental laboratory use Fine finishing, polishing, and milling of materials like ceramics, metal alloys, composites, and acrylics Ergonomic control options Side table mount Brushless micromotor Up to 35,000 rpm High torque: 4.5 Ncm Knee control table version Air cooling Ergonomic hand piece Speed control Clockwise and anti-clockwise operation Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 9 |  |  |  |
| 4.86 | Sandblaster Sandblasting unit for dental laboratory Two blasting tanks Pressure up to 6 bars Chamber with LED light Two mobile nozzles for micro-sandblasting Chamber volume approx..: 15L Air consumption approx..: 90L/min Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.87 | 3D dental scanner Extraoral dental scanner Designed for laboratory use Possible integration into CAD/CAM workflows Digital impression capture of dental models, dies, and full arch scans Compatible with numerous dental design systems Structured, blue or white light Camera Resolution: Dual 5.0 MP Accuracy: 9 microns Scan Speed: 20 seconds for full arch Axes of movement: 2 Output Format: STL, PLY Software Compatibility Colour Scanning Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 4.88 | Desktop Computer Case: Tower CPU: CPU with the PassMark CPU benchmark rating of at least 13000 (www.cpubenchmark.net) RAM memory: 32 GB DDR5 Hard disk drives: 1 TB SSD Graphic adapter: GPU with average G3D Mark rating of at least 4000 (www.videocardbenchmark.net) Sound card: integrated, on-board Network adapter: 10/100/1000Mbps on-board Mainboard interfaces: 8 x USB 3.2 (of those 4 USB located on front side of the workstation case), 2 x Display Port and 1x DVI or HDMI, 1xRJ-45 Free expansion slots: 2xPCIe x16, 1x PCIe x1 Input devices: Keyboard, Optical mouse with scroll function Operating System: Windows 11 Pro x64 preinstalled or equivalent Compliant standards: CE, RoHS, TCO Monitor: Size: 27"; Resolution: 1920x1080, Response time: maximum 5ms; Contrast: 1000:1; Brightness: 300cd/m2; Connectivity: Digital port compatible with PC digital output Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 4.89 | Dental CAD Software Design of crowns, bridges, inlays/onlays, veneers, implants, bars, removable prosthetics, temporaries, wax-ups, splints, and custom abutments Open system, compatibility with 3rd party scanners/mills Support for optional add-on modules File Formats Supported: STL, PLY and file formats for open scanners, 3D printers and milling machines Predefined tooth libraries, materials, implant systems, and attachment libraries Implant support: Native or optional module License education model | 6 |  |  |  |
| 4.90 | 3D Printer 3D dental printer Applications: models, surgical guides, splints, crowns, dentures, full arches Technology: Layer-by-layer photopolymerization (MSLA, LFS, DLP) Print volume approx..: 200x120x200 mm Biocompatible resins and dental-specific materials XY Resolution: 50 microns Z Resolution: 50 -100 microns Connectivity: Wi-Fi, Ethernet, USB Touchscreen Print preparation software Post-Processing: Wash (resin removal) & Cure Station (light + heat) included in delivery, compatibility with printer Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 4.91 | Dental Chair Anatomically shaped seat Base need to be fixed to the floor Upholstered Anatomically shaped adjustable headrest Armrests Foot control Height adjustable Adjustable backrest Delivery Unit Integrated on the chair Console on flexible adjustable arm Tray for instruments ‘’soft touch’’ or similar water protection cover for keypad for dental chair, light and cuspidor control 5 instruments connections console: 3-way syringe high speed terminal with water regulation micro-motor terminal (air) ultrasonic scaler LED lamp Instruments: Midwest turbine, 300 000 rpm Midwest air micro motor, speed regulation, direction regulation, 25 000 rpm at 3 bars Contra angle handpiece 1:1 Direct Drive Straight handpiece 1:1 Direct Drive Cuspidor Unit Integrated on the chair Water regulation Removable ceramic or glass bowl Strong and weak suction saliva ejector Additional 3-way syringe for assistant Instrument tray Chair and light controls Polymerization led lamp Dental Light Integrated on the chair 10 LED bulbs or LED light with 35000LUX Sensor switch or manual on/off switch Adjustable in all directions Therapeutical chair Metal star base with silicone wheels Height adjustment Adjustable backrest Upholstery foam and artificial leather Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.92 | Dental Compressor Tank: 40L Pressure 5 bar, 250L/min Noise level: 70 dB Connectors and air compressor tubing hose for connection with dental chair, technical working stations and other dental equipment requiring compressed air | 4 |  |  |  |
| 4.93 | Amalgamator For all type of amalgam capsules and composites Vibration frequency 4000 impulses/minute Regulation of mixing time Safety cover for capsules during mixing process | 2 |  |  |  |
| 4.94 | Dental vibrator Bubble free material processing Power control Vibration intensity settings Rubber vacuum feet and rubber top surface Plate dimensions approx.: 15 x 20 cm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.95 | Model trimmer For modelling hard or soft plaster. Water version - connection to water supply Carbide disk Speed: 2800 rpm Tray: 10x12x15cm Safety switch Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 4.96 | Polymerisation lamp Dental Curing Light Wireless 4 programmes including turbo Power: 1200 mW/cm² Rotation of the head 360° Light probe autoclavable: diameter approx. 10 mm Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 2 |  |  |  |
| 4.97 | Dry sterilizer For dental laboratory Digital control and display of temperature Adjustable temperature from ambient +5 °c up to 200 °c. 2 perforated trays Capacity: 20 L Chamber dimensions approx..: 35x30x35cm | 1 |  |  |  |
| 4.98 | Autoclave Steam sterilization for reprocessing of dental instruments B class Chamber capacity: 15 L Temperature: 134° Max load: 5 kg Automatic water filling Minimum 3 trays inside chamber USB port One cycle below or equal 30 minutes Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| 4.99 | Desktop Computer Case: Tower CPU: CPU with the PassMark CPU benchmark rating of at least 25000 (www.cpubenchmark.net) RAM memory: 16 GB DDR5 Hard disk drives: 1 TB SSD Graphic adapter: GPU with average G3D Mark rating of at least 5000 (www.videocardbenchmark.net) Sound card: integrated, on-board Network adapter: 10/100/1000Mbps on-board Mainboard interfaces: 8 x USB 3.2 (of those 4 USB located on front side of the workstation case), 2 x Display Port and 1x DVI or HDMI, 1xRJ-45 Free expansion slots: 2xPCIe x16, 1x PCIe x1 Input devices: Keyboard, Optical mouse with scroll function Operating System: Windows 11 Pro x64 preinstalled or equivalent Compliant standards: CE, RoHS, TCO Monitor: Size: 27"; Resolution: 2560x1440, Response time: maximum 5ms; Contrast: 1000:1; Brightness: 300cd/m2; Connectivity: Digital port compatible with PC digital output Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 6 |  |  |  |
| 4.100 | Dust extractor box Protection against splinters, dust and fumes Large arm inlets Top protection glass Capacity: 15L LED light Suction fitting for external extractor Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 13485 Certificate, CE Declaration of Conformity | 3 |  |  |  |
| 4.101 | Technical working station For two working posts Dimensions approx..: 170 x 60 x 90 cm Metal constructions MFC top board, 30 mm thick Two height adjustable lamps Two power outlets Two air syringes Total of 7 drawers, 2x2 below the working surfaces Dust extraction system with two extraction arms Armrest Plexiglass eye protector Micro motor mounting position | 3 |  |  |  |
| 4.102 | Technical working station For one working post Dimensions approx..: 100 x 60 x 90 cm Metal constructions MFC top board, 30 mm thick Height adjustable lamp One power outlet Air syringe Total of 5 drawers, 2 below the working surface Dust extraction system with extraction arm Armrest Plexiglass eye protector Micro motor mounting position | 9 |  |  |  |

Lot 5 - Maritime simulators

| 1. Item number | 2. Specifications required | 3. Quantity (pcs) | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- | --- |
| LOT 5 | Maritime simulators |  |  |  |  |
| B.5 | Maritime simulators for secondary education in Bar Turnkey solution including delivery, installation, testing and training. Maritime simulators for equipping Maritime High School Bar with modern, up to date, IMO/STCW compliant simulators: - Navigation Simulator, with - FMB with 120°deg visualisation - Classroom with 4 student stations - Engine Room Simulator, with - Full Mission Engine Room - Classroom with 4 student stations - Specialised Training - Navigational simulator – 5 days - Engine room simulator – 5 days Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| B.5.1 | Navigational simulator compliance requirements. - International Convention of Training, Certification and Watch keeping for Seafarers (STCW 2010 including the Manila Amendments) - IMO model courses - International SOLAS Conventions Obligatory documentation: - Statement of Compliance with Standard for Certification of Maritime Simulators No. DNV-ST-0033 June 2021 or equivalent document / standard from other Classification society member of IACS (International Association of Classification Societies). - Type approval certificate from a Classification Society for ECDIS and Radar Software | 1 |  |  |  |
| B.5.2 | Simulator server and instructor equipment: - 1x Server rack min 24U, 1000mm depth, with accessories - 1x Server computer for system software and data storage, with redundant SSD storage minimum 1TB - 1x Network Switch 48 Ports - 1x Instructor PC Nav, wired keyboard and mice, speakers - 1x Two-way interphone set for all instructor and trainee stations - 2x 24” monitor FHD, height and tilt adjustment - 27” monitor FHD, wall mounted for instructor visual - 1x LCD interactive presentation board 75” 1x UPS for server, LAN switch and instructor station | 1 |  |  |  |
| B.5.3 | Navigational Simulator System Software features: - Realistic Ship Behaviour Modelling - Customizable Training Scenarios - Ship handling and manoeuvring - Navigation in restricted waters - Emergency and search and rescue operations - Towing and mooring operations; - Simulating various types of ships, propulsion, and steering types - Interconnection to GMDSS simulator. - Interconnection to Engine Room Simulator (ERS). - Interconnection to Crisis Management simulator Trainee workstation shall have following features: Conning display workstation Control of ship propulsion, steering, autopilot, navigational instruments, lights, signals, etc. Top 1/3 of the screen should display built-in visual channel while bottom 2/3 of the screen should display Conning Display information and controls. Radar ARPA Workstation Operate in accordance to the latest IMO/IHO requirements. (IMO performance standards etc.). Simulation of 10cm and 3cm radars. The radar should operate in relative motion, true sea, and bottom motion (see STCW Unit A-1/12.4 and paragraph 2 of B-I/12 unit). ARPA simulation equipment should include option for manual and automatic target acquisition (see STCW Unit A-1/12.5). Radar will be in line with IMO Performance standards for Radar equipment for ship category ≥ 10,000 GT ECDIS Workstation ECDIS workstation according to the latest IMO/IHO requirements (performance standards) as well as the revised International Convention STCW requirements (2010 Manila), as it applies to training (see STCW Unit B-1/12 paragraphs 36-66). ECDIS system should show selected information from an electronic chart system (SENC) with synthesized information from navigation sensors such as AIS, radar, radar overlay, echo sounder, anemometer, NAVEX, GPS, etc, in order to help the navy in course planning and monitoring, and showing additional information about navigation (see STCW par. 35 unit B-I/12). Training on route planning, charts, and chart updates orders in conjunction with instructor station. Sample charts updates for one area shall be received during exercise from instructor station and corrections applied on chart. System shall include emulator of email software, that allows to simulate workflow of ordering and receiving chart updates without actual internet connection. Visualization Channel Application as: - Full screen visualization on Full Mission Bridge - Built-in visual channel on 1/3 of the screen top part of the Conning Display - Instructor visualization General characteristics: - Visual presentation of simulator virtual environment; - Characteristic to dynamically change the texture and scene objects’ state; - Picture refresh rate minimum of 40 FPS in all scene intensity. Visual scene content: - 3D terrestrial surface; - Controlling binoculars focal length settings; - Stereo 3D mode (anaglyph) for full screen; - Static and dynamic coastal objects; - Exercise and SAR objects - Aids to navigation (buoys, lighthouses); - Lights (navigational, cultural lights); - Lit ground under such lights; - Visual effect from icing; - Detailed own ship bow; - Shadows for vessels, scene objects. - Sky with 3D clouds exercise objects with possibility to set parameters (quantity, height, horizontal and vertical size); Cloud layers (cirrostratus, cirrus, cirrocumulus, cumulus, altocumulus, stratocumulus, stratus); Change of the sky illumination to suit the time of the day and positions of the moon and the sun; Reproducing positions of >500 stars in the sky with a presentation of shapes for 40 constellations for astronomical navigation training - Sea with 3D rough surface; Water surface disturbances: ocean swell, wind-induced waves with ripples, current, ship wake, 3D bow waves, splashes, whitecaps on the waves; Ripples; Wakes from engines and thrusters (for selected vessels); Suppressing of waves under the deck; - Weather: with option to set predefined weather conditions by Beaufort number (wind, wave, whitecaps and foam, 3D clouds, cloud layer, visibility) during exercise, Precipitation (rain, snow); Lightning; Fog; Fog bank; Rain clouds. | 1 |  |  |  |
| B.5.4 | Databases for navigational simulator: At least 35 sailing exercise areas with visual presentation, simulated radar picture and electronics charts in official format presentation shall be included with the simulator with permanent license: at least 15 shall be ports and passages in Europe, 10 from North America and 5 from Asia. List of mandatory exercise areas to be included: - Bay of Kotor (Hercegnovski Bay, Tivat Bay, Risan Bay) - Split - Rijeka - Nort Adriatic (for transit passage) - Koper At least 35 own ships shall be included with the simulator. At least 150 target ships of various types shall be included with the simulator | 1 |  |  |  |
| B.5.5 | Navigational instructor station software with following minimum functionality: - Easy-to-use graphical interface. Working with multiple trainees at the same time. - Control of simulator session(s) in joint and common scenarios. - Evaluation and Assessment Capability for automated objective assessment of an exercise fulfilment by a Trainee. - Conduct training in the port mooring operations on the simulator (ship to ship, ship to the berth, ship to the oil platform) with the use of automatic tugboats and own ship tugs - Conduct training in search and rescue operations as per the requirements of MERSAR and IAMSAR - Set smart automated targets behaving in accordance with COLREG - Real-time monitoring of emission parameters: Fuel consumption, Air consumption, CO2 emissions, Excess air, SOx and Nox emissions, CO concentration, Unburned fuel content, Soot concentration, Air, and fuel current and overall consumption - Performing Incident simulation, control, and evaluation for oil spill containment operations, based on mathematical modelling of an oil spill interacting with surroundings and combat facilities. Present visualization on separate screen with option to assigning visual camera to any fixed point in exercise area or attach it to moving ownship/target | 1 |  |  |  |
| B.5.6 | Navigational classroom Trainee Station/Bridge each equipped with: - 2x Nav Sim PC, wired keyboard and mice, speakers - 3x 24” monitor FHD, height and tilt adjustment - 1x Conning display workstation software license - 1x Radar ARPA workstation software license - 1x ECDIS workstation software license 1x Visualization Channel software license, implemented as built-in visual channel on 1/3 of the screen top part of the Conning Display | 4 |  |  |  |
| B.5.7 | Conning console Sheet metal console minimum sheet thickness 1,5mm, monitor mounted on bracket; overall dimensions approx. W650 x D1100 x H850mm (without monitor), equipped with: - 1x Nav Sim PC - 1x Subwoofer and 2 satellite speakers - -1x 24” monitor FHD - -2x 10” Interactive displays for presentation of nav instruments and panels - -1x Dual Ship Telegraph, overall size 90mm - -1x Dual Ship Thruster, overall size 90mm - -1x Steering wheel, continuous revolution 360° - -1x Trackball - -1x Visualization control with joystick and encoder -1x Conning Display Workstation software license | 1 |  |  |  |
| B.5.8 | Radar console Sheet metal console minimum sheet thickness 1,5mm, monitor mounted on bracket; overall dimensions approx. W650 x D600 x H850mm (without monitor), equipped with: - 1x Nav Sim PC, with speakers - 1x 24” monitor FHD - 1x Trackball 1x Radar ARPA Workstation software license | 1 |  |  |  |
| B.5.9 | ECDIS console Sheet metal console minimum sheet thickness 1,5mm, monitor mounted on bracket; overall dimensions approx. W650 x D600 x H850mm (without monitor), equipped with: - 1x Nav Sim PC, with speakers - 1x 24” monitor FHD - 1x Trackball 1x ECDIS Workstation software license | 1 |  |  |  |
| B.5.10 | Visualization system wall Sheet metal console for housing 3x 65” monitor minimum sheet thickness 1,5mm; with 3 sections angled at appropriate angle to mimic curved projection; monitor height to be centred on typical eye height, equipped with: - 3x 65" LCD display - 1x Visualization generator supporting 3x FHD monitors - 3x Visualization Channel software Possibility to show Overhead Instrument Panel integrated in top part of central visualization channel, with a typical indication according to the type of own ship. | 1 |  |  |  |
| B.5.11 | Engine room simulator compliance requirements. - International Convention of Training, Certification and Watch keeping for Seafarers (STCW 2010 including the Manila Amendments) - IMO model courses - International SOLAS Conventions Obligatory documents: - Statement of Compliance for Engine room simulator with respect to the following applicable standards: - STCW 2010 Manila amendments, Regulation I/12 - STCW 2010 Manila amendments, Code A / Table A-III - IMO model course 2.07, Engine Room Simulator - IMO model course 7.02, Chief Engineer Officer and Second Engineer Officer IMO model course 7.04, Officer in Charge of an Engineering Watch | 1 |  |  |  |
| B.5.12 | Simulator server and instructor equipment: - 1x Instructor/Server ERS Sim PC for system software and data storage, with redundant SSD storage minimum 1TB, wired keyboard and mice, speakers - 1x Instructor PC for presenting 3D Visualisation of Engine Room with connection to Nav sim presentation board - 2x 24” monitor FHD, height and tilt adjustment 1x UPS for server and instructor equipment | 1 |  |  |  |
| B.5.13 | ERS Instructor station software System models, installations and components must accurately reflect thermal and dynamic conditions. The models must replicate the engine room components and their processes, including modern control systems such as sensors, regulators, actuators, and valves. The simulation models will use real-time programming and simulate dynamic interaction between the engine room installations and subsystems in the propulsion system. The models should respond dynamically to variations in the ship model's operation, with mutual influence between the main engine and the ship model. The supplier must ensure high accuracy and quality in the mathematical modelling, with realistic and precise simulations for reliable training. All control loops and automatic control systems must be fully optimized upon delivery. The simulator shall interconnect with navigational simulator and support external connection with electrical systems (High Voltage Switchgear). The instructor software shall have an easy-to-use graphical interface. It shall be possible to monitor and interact with the simulation for multiple bridges at the same time. Basic functions: - Exercise control (starting/changing/stopping) - Monitoring of current operation parameters and current alarm system state - Logging the alarm’s sequence and sequence of trainees’ actions On-line control of Trainees - Main display for control of the class operation - Run several compatible models on one Bridge - Group Bridges for joint operation of compatible models - Record the situation - Assign a real student to exercise from electronic database - Setting/removing faults, individual and/or sequence (on-line mode control of scenario) - “Slave monitor” facility for monitoring of selected Trainee workstation in graphical mode of display - Ability to take control temporarily from trainee on Slave monitor - Ability to enable or disable hints on trainee workplace. Exercise Editor - Correcting parameters and creation of exercises - Setting and changing the environment conditions - Changing of alarm parameter limits - Creating fault scenarios - Graphical display facility. Allows modifying model parameters on console display - Briefing on Trainee workplace facility – trainee can monitor instructor’s activity - Assessment tools – allows creating evaluation and assessment scenarios in exercise (rules, faults, messages, etc.) It must be possible to run the 3D rendering on an external LCD presentation board. | 1 |  |  |  |
| B.5.14 | Dual Fuel Diesel-Electric LNG Carrier Model Propulsion based on: - 2x Propulsion Electric Motor >10MW, variable form 0 to max rpm - 2x Reduction Gear - 2x Fixed Pitch Propeller, 0 - 80 rpm. - 1x Bow Thruster Electric Plant: - Two Main Generators, 4-stroke, non-reversible, turbocharged with intercooler, for dual fuel operation and electronic regulator - Turbo Generator - Emergency Generator (EG) Steam generation: - 2x Steam Boiler - 4x Exhaust Gas Economizer Following systems must be simulated: - Steering Gear system - Bow Thruster system - Fuel Oil (FO) with HFO, MDO and MGO - Gas Fuel (GF) system - Lubricating Oil (LO) system - Cooling Water system – Sea Water (SW) and Fresh Water (FW) - Compressed Air system - Steam, Condensate and Feed Water systems - Fresh Water and sanitary system - Exhaust Gas system - Incinerator - Bilge system. Oily Water separator included. - Ballast system - Ventilation of machinery space - Air. Conditioning system (supply and exhaust fans) - Provision Cooling plant - Hydraulic Power Pack system for some deck machinery - IGG system - Fire and Deck Wash systems - Fire detection & Alarm system - Integrated Automation system (IAS) - Power Management system (PMS) for generators and electric propulsion - Cylinder Indicator Diagrams (CID) system 3-D Visualization of Engine Room compartments with possibility to control from visualization scenes. | 1 |  |  |  |
| B.5.15 | Tanker LCC Model with 2 stroke slow speed propulsion Propulsion: - Two strokes, slow speed, turbocharged, reversible main diesel engine 18kHP, with Electronic Governor - Fixed Pitch Propeller Electric Plant: - 2х Diesel Generator - 1x Shaft Generator - 1x Steam Turbine Driven Generator - 1x Emergency Diesel Generator Systems simulated: - Main Switch Board and distribution panels - HT Cooling system: - Sea Water Cooling system: - LT Cooling system: - GE Cooling system: - Fuel Oil Filling and Transfer system: - Fuel Oil Purifying system: - Fuel Oil Service system for ME and GEs: - Fuel Oil Service system for Incinerator and EMCY DG: - Fuel Oil system for Aux. Boilers 1, 2: - Lube Oil Transfer and Purifying system: - Lube Oil ME Service system: - Lube Oil Stern Tube system: - Lube Oil Steam Turbine system: - Aux. Boilers Feed Water & Condensate system: - Steam Turbines Service system: - Compressed Air system: - Fresh Water Generator system: - Ballast system: - Bilge and Fire General Service system: - Steering Gear system: - Sewage Treatment system: - Fresh Water Service system: - Air Conditioning system: - Provision Cooling system: - Local Fire & Foam system: - CO2 Fire system: - Steering Gear Room - Diagnostic System - Compartment - Control and monitoring system 3D - Walk Through Visualization Feature | 1 |  |  |  |
| B.5.16 | Methanol Bunkering Simulator (IGF) The simulator is enabling training basic and advanced IGF code training, and to achieve the following training objectives: - Familiarisation with Methanol Bunkering system - System layout and flow diagrams - Taking fuel tanks in and out of service - Methanol bunkering procedures - Methanol fuel storage and securing - Methanol fuel delivery to the engines - Emergency Response Includes simulated systems: - Bunkering Station - Fuel gas preparation equipment - Consumers with Fuel Valve Train - Nitrogen system - Ventilation system - Process Control Automation System and Safety System. Simulated pages with: - Screens of the human machine interface of the control and safety system, - Piping and instrumentation diagrams with flow animation and sampling points Set of prepared exercise scenarios with evaluation and assessment scenarios: - Bunkering start (tutorial) - Bunkering stop (tutorial) - Bunkering (tutorial) - Methanol transfer (tutorial) - Methanol supply (tutorial) - Preparing methanol system for startup (tutorial) - Emptying methanol tank (tutorial) - Inerting of methanol tank (tutorial) Bunkering station leakage detection alarm (malfunction) | 1 |  |  |  |
| B.5.17 | Full Mission Engine Room equipped with Three section Control Room console, sheet metal console minimum sheet thickness 1,5mm, overall dimensions approx. W 3x700 x D850 x H1450mm, equipped with: - 3x ERS Sim PC - 1x Subwoofer and 2 satellite speakers - 4x 23” touch monitor FHD - 1x Dual Ship Telegraph, overall size 90mm - 4x Software licence to present different simulated pages on one monitor Three section Main Switchboard console, sheet metal console minimum sheet thickness 1,5mm, overall dimensions approx. W 3x500 x D400 x H2100mm, equipped with: - 3x ERS Sim PC - 6x 23” touch monitor FHD - 6x Software licence to present different simulated pages on one monitor | 1 |  |  |  |
| B.5.18 | Engine Room classroom Trainee Station/Bridge each equipped with: - 1x Trainee ERS Sim PC, wired keyboard and mice, speakers - 2x 24” monitor FHD, height and tilt adjustment Software licence to present different simulated pages on two monitors, one of which shows a 3D visualization of the engine room | 4 |  |  |  |
| B.5.19 | Specialised Training - Navigational simulator – 5 days - Engine room simulator – 5 days | 1 |  |  |  |
| B.5.20 | Commercial warranty In addition to one 1-year warranty, 2 years manufacturers commercial warranty is requested and should include as minimum, yearly system maintenance, periodic software update, harmonisation with international regulations etc. | 1 |  |  |  |
| K.5 | Maritime simulators for secondary education in Kotor Turnkey solution including delivery, installation, testing and training. Maritime simulators for equipping Maritime High School Kotor with modern, up to date, IMO/STCW compliant simulators: - Navigation Simulator, with - FMB with 120°deg visualisation - Classroom with 4 student stations - GMDSS Simulator Classroom with 6 student stations - Engine Room Simulator Classroom with 8 student stations - Specialised Training - Navigational simulator – 5 days - Engine room simulator – 5 days - GMDSS simulator - 3 days Obligatory documentation: Manufacturer’s Authorization, Manufacturer’s ISO 9001 Certificate, CE Declaration of Conformity | 1 |  |  |  |
| K.5.1 | Navigational simulator compliance requirements: - International Convention of Training, Certification and Watch keeping for Seafarers (STCW 2010 including the Manila Amendments) - IMO model courses - International SOLAS Conventions Obligatory documentation: - Statement of Compliance with Standard for Certification of Maritime Simulators No. DNV-ST-0033 June 2021 or equivalent document / standard from other Classification society member of IACS (International Association of Classification Societies). - Type approval certificate from a Classification Society for ECDIS and Radar Software - Statement of Compliance for GMDSS simulator with respect to the following applicable standards: - STCW 2010 Manila amendments, Regulation I/12 - STCW 2010 Manila amendments, Code A-I/12, / B-I/12 - IMO model course 1.25, General Operator’s Certificate for GMDSS (2015 edition) IMO model course 1.26, Restricted Operator’s Certificate for GMDSS (2015 edition) | 1 |  |  |  |
| K.5.2 | Simulator server and instructor equipment: - 1x Server rack min 24U, 1000mm depth, with accessories - 1x Server computer for system software and data storage, with redundant SSD storage minimum 1TB - 1x Network Switch 48 Ports - 1x Instructor PC Nav, wired keyboard and mice, speakers - 1x Instructor PC GMDSS, wired keyboard and mice, speakers - 1x Real VHF handset for GMDSS communication - 2x 24” monitor FHD, height and tilt adjustment - 27” monitor FHD, wall mounted for instructor visual - 1x LCD interactive presentation board 75” 1x UPS for server, LAN switch and instructor station | 1 |  |  |  |
| K.5.3 | Navigational Simulator System Software features: - Realistic Ship Behaviour Modelling - Customizable Training Scenarios - Ship handling and manoeuvring - Navigation in restricted waters - Emergency and search and rescue operations - Towing and mooring operations; - Simulating various types of ships, propulsion, and steering types - Interconnection to GMDSS simulator. - Interconnection to Engine Room Simulator (ERS). - Interconnection to Crisis Management simulator Trainee workstation shall have following features: Conning display workstation Control of ship propulsion, steering, autopilot, navigational instruments, lights, signals, etc. Top 1/3 of the screen should display built-in visual channel while bottom 2/3 of the screen should display Conning Display information and controls. Radar ARPA Workstation Operate in accordance to the latest IMO/IHO requirements. (IMO performance standards etc.). Simulation of 10cm and 3cm radars. The radar should operate in relative motion, true sea, and bottom motion (see STCW Unit A-1/12.4 and paragraph 2 of B-I/12 unit). ARPA simulation equipment should include option for manual and automatic target acquisition (see STCW Unit A-1/12.5). Radar will be in line with IMO Performance standards for Radar equipment for ship category ≥ 10,000 GT ECDIS Workstation ECDIS workstation according to the latest IMO/IHO requirements (performance standards) as well as the revised International Convention STCW requirements (2010 Manila), as it applies to training (see STCW Unit B-1/12 paragraphs 36-66). ECDIS system should show selected information from an electronic chart system (SENC) with synthesized information from navigation sensors such as AIS, radar, radar overlay, echo sounder, anemometer, NAVEX, GPS, etc, in order to help the navy in course planning and monitoring, and showing additional information about navigation (see STCW par. 35-unit B-I/12). Performance of training on route planning, charts, and chart updates orders in conjunction with instructor station. Sample charts updates for one area shall be received during exercise from instructor station and corrections applied on chart. System shall include emulator of email software, that allows to simulate workflow of ordering and receiving chart updates without actual internet connection. Visualization Channel Application as: - Full screen visualization on Full Mission Bridge - Built-in visual channel on 1/3 of the screen top part of the Conning Display - Instructor visualization General capabilities: - Visual presentation of simulator virtual environment; - Characteristic to dynamically change the texture and scene objects’ state; - Picture refresh rate minimum of 40 FPS in all scene intensity. Visual scene content: - 3D terrestrial surface; - Controlling binoculars focal length settings; - Stereo 3D mode (anaglyph) for full screen; - Static and dynamic coastal objects; - Exercise and SAR objects - Aids to navigation (buoys, lighthouses); - Lights (navigational, cultural lights); - Lit ground under such lights; - Visual effect from icing; - Detailed own ship bow; - Shadows for vessels, scene objects. - Sky with 3D clouds exercise objects with possibility to set parameters (quantity, height, horizontal and vertical size); Cloud layers (cirrostratus, cirrus, cirrocumulus, cumulus, altocumulus, stratocumulus, stratus); Change of the sky illumination to suit the time of the day and positions of the moon and the sun; Reproducing positions of 500 stars in the sky with a presentation of shapes for 40 constellations for astronomical navigation training - Sea with 3D rough surface; Water surface disturbances: ocean swell, wind-induced waves with ripples, current, ship wake, 3D bow waves, splashes, whitecaps on the waves; Ripples; Wakes from engines and thrusters (for selected vessels); Suppressing of waves under the deck; - Weather: with option to set predefined weather conditions by Beaufort number (wind, wave, whitecaps and foam, 3D clouds, cloud layer, visibility) during exercise; Precipitation (rain, snow); Lightning; Fog; Fog bank; Rain clouds. | 1 |  |  |  |
| K.5.4 | Databases for navigational simulator: At least 35 sailing exercise areas with visual presentation, simulated radar picture and electronics charts in official format presentation shall be included with the simulator with permanent license. At least 15 shall be ports and passages in Europe, 10 from North America and 5 from Asia. List of mandatory exercise areas to be included: - Bay of Kotor (Hercegnovski Bay, Tivat Bay, Risan Bay) - Split - Rijeka - Nort Adriatic (for transit passage) - Koper At least 35 own ships shall be included with the simulator. At least 150 target ships of various types shall be included with the simulator | 1 |  |  |  |
| K.5.5 | Navigational and GMDSS instructor station software with following minimum functionality: - Easy-to-use graphical interface. Working with multiple trainees at the same time. - Control of simulator session(s) in joint and common scenarios. - Evaluation and Assessment Capability for automated objective assessment of an exercise fulfilment by a Trainee. - Conduct training in the port mooring operations on the simulator (ship to ship, ship to the berth, ship to the oil platform) with the use of automatic tugboats and own ship tugs - Conduct training in search and rescue operations as per the requirements of MERSAR and IAMSAR - Set smart automated targets behaving in accordance with COLREG - Real-time monitoring of emission parameters: Fuel consumption, Air consumption, CO2 emissions, Excess air, SOx and Nox emissions, CO concentration, Unburned fuel content, Soot concentration, Air, and fuel current and overall consumption - Incident simulation, control, and evaluation for oil spill containment operations, based on mathematical modelling of an oil spill interacting with surroundings and combat facilities. - Present visualization on separate screen with option to assigning visual camera to any fixed point in exercise area or attach it to moving ownship/target - Communicate and monitor communication with and between trainees/bridges by means of message and voice communication, via simulated GMDSS equipment | 1 |  |  |  |
| K.5.6 | Navigational classroom Trainee Station/Bridge each equipped with: - 2x Nav Sim PC, wired keyboard and mice, speakers - 1x Desktop mounted control console with real dual telegraph, tiller and programmable buttons - 3x 24” monitor FHD, height and tilt adjustment - 1x Conning display workstation software license - 1x Radar ARPA workstation software license - 1x ECDIS workstation software license 1x Visualization Channel software license, implemented as built-in visual channel on 1/3 of the screen top part of the Conning Display | 4 |  |  |  |
| K.5.7 | GMDSS classroom Trainee Station/Bridge each equipped with: - 1x GMDSS Sim PC, wired keyboard and mice, speakers - 1x Real VHF handset for GMDSS communication - 1x 24” monitor FHD, height and tilt adjustment - 1x GMDSS trainee station software license, simulating following equipment: - VHF Radio and DSC - MF/HF Radio and DSC - SES Inmarsat-C and Inmarsat FleetBroadband - Iridium GMDSS terminal - Navtex Receiver, Cospas-Sarsat EPIRB, SART, AIS-SART, Aero VHF, Portable VHF - GPS Receiver, Glonass/GPS Receiver, AIS Transponder Class A - GMDSS Alarm Panel, Feeder Switchboard, Charger Control Unit - Ship Security Alert System and Direction Finder Help system and built in set of IMO and ITU-R publications, and a GMDSS Guide. | 6 |  |  |  |
| K.5.8 | Conning console Sheet metal console minimum sheet thickness 1,5mm, monitor mounted on bracket; overall dimensions approx. W650 x D1100 x H850mm (without monitor), equipped with: - 1x Nav Sim PC - 1x Subwoofer and 2 satellite speakers - 1x 24” monitor FHD - 2x 10” Interactive displays for presentation of nav instruments and panels - 1x Dual Ship Telegraph, overall size 90mm - 1x Dual Ship Thruster, overall size 90mm - 1x Steering wheel, continuous revolution 360° - 1x Trackball - 1x Visualization control with joystick and encoder 1x Conning Display Workstation software license | 1 |  |  |  |
| K.5.9 | Radar console Sheet metal console minimum sheet thickness 1,5mm, monitor mounted on bracket; overall dimensions approx. W650 x D600 x H850mm (without monitor), equipped with: - 1x Nav Sim PC, with speakers - 1x 24” monitor FHD - 1x Trackball 1x Radar ARPA Workstation software license | 1 |  |  |  |
| K.5.10 | ECDIS console Sheet metal console minimum sheet thickness 1,5mm, monitor mounted on bracket; overall dimensions approx. W650 x D600 x H850mm (without monitor), equipped with: - 1x Nav Sim PC, with speakers - 1x 24” monitor FHD - 1x Trackball 1x ECDIS Workstation software license | 1 |  |  |  |
| K.5.11 | Visualization system wall Sheet metal console for housing 3x 65” monitor minimum sheet thickness 1,5mm; with 3 sections angled at appropriate angle to mimic curved projection; monitor height to be centred on typical eye height, equipped with: - 3x 65" Professional Digital Signage 24/7 display - 1x Visualization generator supporting 3x FHD monitors - 3x Visualization Channel software Capability to show Overhead Instrument Panel integrated in top part of central visualization channel, with a typical indication according to the type of own ship. | 1 |  |  |  |
| K.5.12 | GMDSS simulator compliance requirements: - International Convention of Training, Certification and Watch keeping for Seafarers (STCW 2010 including the Manila Amendments) - IMO model courses - International SOLAS Conventions Obligatory documentation: Statement of Compliance with respect to the following applicable standards: - STCW 2010 Manila amendments, Regulation I/12 - STCW 2010 Manila amendments, Code A-I/12, / B-I/12 - IMO model course 1.25, General Operator’s Certificate for GMDSS (2015 edition) IMO model course 1.26, Restricted Operator’s Certificate for GMDSS (2015 edition) | 1 |  |  |  |
| K.5.13 | Engine room simulator compliance requirements. - International Convention of Training, Certification and Watch keeping for Seafarers (STCW 2010 including the Manila Amendments) - IMO model courses - International SOLAS Conventions Obligatory documentation: - Statement of Compliance for Engine room simulator with respect to the following applicable standards: - STCW 2010 Manila amendments, Regulation I/12 - STCW 2010 Manila amendments, Code A / Table A-III - IMO model course 2.07, Engine Room Simulator - IMO model course 7.02, Chief Engineer Officer and Second Engineer Officer IMO model course 7.04, Officer in Charge of an Engineering Watch | 1 |  |  |  |
| K.5.14 | Simulator server and instructor equipment: - 1x Instructor/Server ERS Sim PC for system software and data storage, with redundant SSD storage minimum 1TB, wired keyboard and mice, speakers - 1x Instructor PC for presenting 3D Visualisation of Engine Room - 2x 24” monitor FHD, height and tilt adjustment - 1x LCD interactive presentation board 75” 1x UPS for server and instructor equipment | 1 |  |  |  |
| K.5.15 | ERS Instructor station software System models, installations and components must accurately reflect thermal and dynamic conditions. The models must replicate the engine room components and their processes, including modern control systems such as sensors, regulators, actuators, and valves. The simulation models will use real-time programming and simulate dynamic interaction between the engine room installations and subsystems in the propulsion system. The models should respond dynamically to variations in the ship model's operation, with mutual influence between the main engine and the ship model. The supplier must ensure high accuracy and quality in the mathematical modelling, with realistic and precise simulations for reliable training. All control loops and automatic control systems must be fully optimized upon delivery. The simulator shall interconnect with navigational simulator and support external connection with electrical systems (High Voltage Switchgear). The instructor software shall have an easy-to-use graphical interface. It shall be possible to monitor and interact with the simulation for multiple bridges at the same time. Basic functions: - Exercise control (starting/changing/stopping) - Monitoring of current operation parameters and current alarm system state - Logging the alarm’s sequence and sequence of trainees’ actions On-line control of Trainees - Main display for control of the class operation - Run several compatible models on one Bridge - Group Bridges for joint operation of compatible models - Record the situation - Assign a real student to exercise from electronic database - Setting/removing faults, individual and/or sequence (on-line mode control of scenario) - “Slave monitor” facility for monitoring of selected Trainee workstation in graphical mode of display - Ability to take control temporarily from trainee on Slave monitor - Ability to enable or disable hints on trainee workplace. Exercise Editor - Correcting parameters and creation of exercises - Setting and changing the environment conditions - Changing of alarm parameter limits - Creating fault scenarios - Graphical display facility. Allows modifying model parameters on console display - Briefing on Trainee workplace facility – trainee can monitor instructor’s activity - Assessment tools – allows creating evaluation and assessment scenarios in exercise (rules, faults, messages, etc.) It must be possible to run the 3D rendering on an external LCD presentation board. | 1 |  |  |  |
| K.5.16 | Dual Fuel Diesel-Electric LNG Carrier Model Propulsion based on: - 2x Propulsion Electric Motor >10MW, variable form 0 to max rpm - 2x Reduction Gear - 2x Fixed Pitch Propeller, 0 - 80 rpm - 1x Bow Thruster Electric Plant: - Two Main Generators, 4-stroke, non-reversible, turbocharged with intercooler, for dual fuel operation and electronic regulator - Turbo Generator - Emergency Generator (EG) Steam generation: - 2x Steam Boiler - 4x Exhaust Gas Economizer Following systems must be simulated: - Steering Gear system - Bow Thruster system - Fuel Oil (FO) with HFO, MDO and MGO - Gas Fuel (GF) system - Lubricating Oil (LO) system - Cooling Water system – Sea Water (SW) and Fresh Water (FW) - Compressed Air system - Steam, Condensate and Feed Water systems - Fresh Water and sanitary system - Exhaust Gas system - Incinerator - Bilge system. Oily Water separator included. - Ballast system - Ventilation of machinery space - Air. Conditioning system (supply and exhaust fans) - Provision Cooling plant - Hydraulic Power Pack system for some deck machinery - IGG system - Fire and Deck Wash systems - Fire detection & Alarm system - Integrated Automation system (IAS) - Power Management system (PMS) for generators and electric propulsion - Cylinder Indicator Diagrams (CID) system 3-D Visualization of Engine Room compartments with possibility to control from visualization scenes. | 1 |  |  |  |
| K.5.17 | Tanker LCC Model with 2 stroke slow speed propulsion Propulsion: - Two strokes, slow speed, turbocharged, reversible main diesel engine 18kHP, with Electronic Governor - Fixed Pitch Propeller Electric Plant: - 2х Diesel Generator - 1x Shaft Generator - 1x Steam Turbine Driven Generator - 1x Emergency Diesel Generator Systems simulated: - Main Switch Board and distribution panels - HT Cooling system: - Sea Water Cooling system: - LT Cooling system: - GE Cooling system: - Fuel Oil Filling and Transfer system: - Fuel Oil Purifying system: - Fuel Oil Service system for ME and GEs: - Fuel Oil Service system for Incinerator and EMCY DG: - Fuel Oil system for Aux. Boilers 1, 2: - Lube Oil Transfer and Purifying system: - Lube Oil ME Service system: - Lube Oil Stern Tube system: - Lube Oil Steam Turbine system: - Aux. Boilers Feed Water & Condensate system: - Steam Turbines Service system: - Compressed Air system: - Fresh Water Generator system: - Ballast system: - Bilge and Fire General Service system: - Steering Gear system: - Sewage Treatment system: - Fresh Water Service system: - Air Conditioning system: - Provision Cooling system: - Local Fire & Foam system: - CO2 Fire system: - Steering Gear Room - Diagnostic System - Compartment - Control and monitoring system 3D - Walk Through Visualization Feature | 1 |  |  |  |
| K.5.18 | Steam Turbine LNG Carrier Model Propulsion: - Marine Steam Turbine 27,066 kW at 88.5 RPM; - Reduction Gear tandem articulated, double reduction, double helical type; - Fixed Pitch Propeller (FPP); - CPP Bow Thruster Electric Plant: - 2x Steam Turbine Generators 3,450 kW - 1x Diesel Generator 3,450 kW; - 1x Emergency Diesel Generator 500 kW Following control positions must be simulated: - Bridge Control Console (BCC) - Engine Control Room (ECR) - Control and Monitoring System (CMS) Systems simulated: - Main Switch Board and distribution panels - Superheated Steam system - De-superheated (DSH) Steam & Steam Dump system - General Service Steam system - Gland Packing & Leak-Off system - Main Condensate system - HP Exhaust Steam & Bleed system - Condensate Water system - Boiler Feed Water system - Feed Water Pump Turbines system - Main SW Circulating system - Cooling SW Service system - Centralized FW Cooling system - Boiler Water Sampling & Treatment system - FO Bunkering & Transfer system - DO Purifying & GE FO system - Boiler FO Service system - Boiler FG Service system - FO Service Incinerator & EMCY DG system - Compressed Air system - Main Turbine LO system - Stern Tube LO system - LO Purifying system - LO Transfer system - Turbo Generator system - Diesel Generator system - Steering Gear system - Fresh Water Generator system - Sanitary Discharge system - FW General Service system - NOx Removal system - Ballast system - Bilge system - Inert Gas & Dry Air system - Fire & Deck Washing system - CO2 Fire system - Foam Fire Extinguishing system - Provision Cooling system - Air Conditioning system - Steering Gear Room 3-D Visualization of Engine Room compartments with possibility to control from visualization scenes. | 1 |  |  |  |
| K.5.19 | Methanol Bunkering Simulator (IGF) The simulator is enabling training basic and advanced IGF code training, and to achieve the following training objectives: - Familiarisation with Methanol Bunkering system - System layout and flow diagrams - Taking fuel tanks in and out of service - Methanol bunkering procedures - Methanol fuel storage and securing - Methanol fuel delivery to the engines - Emergency Response Includes simulated systems: - Bunkering Station - Fuel gas preparation equipment - Consumers with Fuel Valve Train - Nitrogen system - Ventilation system - Process Control Automation System and Safety System. Simulated pages with: - Screens of the human machine interface of the control and safety system, - Piping and instrumentation diagrams with flow animation and sampling points Set of prepared exercise scenarios with evaluation and assessment scenarios: - Bunkering start (tutorial) - Bunkering stop (tutorial) - Bunkering (tutorial) - Methanol transfer (tutorial) - Methanol supply (tutorial) - Preparing methanol system for startup (tutorial) - Emptying methanol tank (tutorial) - Inerting of methanol tank (tutorial) Bunkering station leakage detection alarm (malfunction) |  |  |  |  |
| K.5.20 | Engine Room classroom Trainee Station/Bridge each equipped with: - 1x Trainee ERS Sim PC, wired keyboard and mice, speakers Software licence to present different simulated pages on two monitors, one of which shows a 3D visualization of the engine room | 8 |  |  |  |
| K.5.21 | Specialised Training - Navigational simulator – 5 days - Engine room simulator – 5 days - GMDSS simulator – 3 days | 1 |  |  |  |
| K.5.22 | Commercial warranty In addition to one 1-year warranty, 2 years manufacturers commercial warranty is requested and should include as minimum, yearly system maintenance, periodic software update, harmonisation with international regulations etc. | 1 |  |  |  |