## Predracun (2)
Additional works
BILL OF QUANTITIES
Number | Description of works | Measuring unit | quantity | unit price | Ammount
A | Additional works
1 | Driving and pulling of sheet piles LARSSEN 604n (or equivalent), 15m long. | m2 | 1100
2 | Protective coating in green color RAL 6001 with the addition of epoxy resin for sheet piles | m2 | 1105
3 | Additional quantity of the floating barrier to prevent spillage of petroleum derivatives from the port into the lake in the case of an incident, additional length 10m (other fitting and fixing equipment is provided in Main Design of the port). | pieces | 1
4 | Plug and thread on hydrant network pipe, that will enable adjustment of the pipe duing the sonstruction stage 1B. | pieces | 1
5 | Plug and thread on water supply pipe, that will enable adjustment of the pipe duing the sonstruction stage 1B. | pieces | 1
6 | Relocation design and relocation of 35kW high voltage cable in the length of cca 700m. | lump sum | 1
| TOTAL |  |  |  | 0
RECAPITULATION
| A. ADDITIONAL WORKS |  | 0
| TOTAL EURO |  | 0
| TAXES 21% |  | 0
| TOTAL WITH TAXES |  | 0