C L A R I F I C A T I O N S No. 2

Procurement of works related to

**ADAPTATION OF 9 VET SCHOOLS IN MONTENEGRO**

**ICB No: 01-426/23-6031/1**

**Clarifications No.2: issued on 6th December 2023**

|  |
| --- |
| **REFURBISHMENT WORKS OF THE SECONDARY VOCATIONAL EDUCATION "BERANE”*****1/ Question:*** **1.1 For item B9.1.** Vinyl flooring Type A, in classrooms. Is it heterogenous or homogenous floor? Should floor have protective layer and what type? Please give detailed description.**1.2 For item B9.2.** Vinyl flooring Type B, in meeting room in the attic. Is it heterogenous or homogenous floor? Should floor have protective layer and what type? Please give detailed description.***1/Answer:***The answer to questions No. 1.1 and 1.2 is the subject to Corrigendum No. 1 |
| **REFURBISHMENT WORKS OF THE SCHOOL FOR SECONDARY AND HIGHER VOCATIONAL EDUCATION "CETINJE", CETINJE*****2/ Question:*** **For Item B7.1.** Vinyl flooring, in sports hall. Which type of sport floor is in question? Please give detailed description.***2/Answer:*****Item B7.1,** Vinyl sports floor is detailed descripted in technical specification. It is vinyl sports floor that must have all technical characteristics that are mentioned in technical specifications and all certificates (IFF, EHF, IHF, FIBA, IBF, FIVB.) |
| **REFURBISHMENT WORKS OF THE SECONDARYVOCATIONAL EDUCATION "ROŽAJE”*****3/ Question:*** **Item: B7.1.** Supply and installation of vinyl flooring in classrooms. Should floor have protective layer and what type? Please give detailed description. ***3/Answer:***The answer to questions No.3 is the subject to Corrigendum No. 1. |
| **REFURBISHMENT WORKS OF THE SCHOOL FOR SECONDARY AND HIGHER VOCATIONAL EDUCATION "SERGIJE STANIĆ", PODGORICA*****4/ Question:*** * 1. **Item: B8.1; B19.1** Vinyl flooring Type A, in classrooms. Is it heterogenous or homogenous floor? Should floor have protective layer and what type? Please give a detailed description.
	2. **Item: B8.2; B19.2** Vinyl flooring Type B, in offices. What type of floor is in question, heterogenous or homogenous? Can you give the structure of floor and give detailed description?
	3. **Item: B8.3** Vinyl flooring Type C, in sports hall. Which type of sport floor is in question? Please give detailed description.

***4/Answer:***The answer to questions No. 4.1 and 4.2 is the subject to Corrigendum No. 14.3 **Item B8.3** Vinyl sports floor is detailed descripted in technical specification. It is vinyl sports floor that must have all technical characteristics that are mentioned in technical specifications and all certificates (IFF, EHF, IHF, FIBA, IBF, FIVB.) |
| **REFURBISHMENT WORKS OF THE SECONDARY VOCATIONAL EDUCATION "VUKADIN VUKADINOVIĆ”** ***5/ Question:**** 1. **Item: B8.1.** Vinyl flooring Type A, in classrooms. Is it a heterogenous or homogenous floor? Should the floor have a protective layer and what type? Please give a detailed description.
	2. **Item: B8.2** Vinyl flooring Type B, in offices. What type of floor is in question, heterogenous or homogenous? Can you give the structure of floor and give detailed description?
	3. **Item: B8.3** Vinyl flooring Type C, in sports hall. What type of sport floor is in question? Please give detailed description.

***5/Answer:***The answer to questions No. 5.1 and 5.2 is the subject to Corrigendum No. 1.5.3 **Item B8.3** Vinyl sports floor is detailed descripted in technical specification. It is vinyl sports floor that must have all technical characteristics that are mentioned in technical specifications and all certificates (IFF, EHF, IHF, FIBA, IBF, FIVB.) |