## IGUZZINI
NOTE | PRICES TO BE INSERTED MUST BE WITHOUT V.A.T.
C.2. | ELECTRICAL - LIGHTING
Notes:
If on some position material or equipment manufacturer is indicated, teneder can instal other materials or equiment if with same or equivalent caracteristics in line with project documentation. All materials and equipment to be used in construction must be authorised by the Investor.
All related preparaory works, finishings, cleanings, correction, testing of materials, instalations, equipment, providing of atests or similar would not be quoted or payed separately. All pricess are to be incorporated in positions of the BoQ of this Volume. For execution of all positions all relevant materials, tools, movements, connections, organisations, worksman, insurance and other related, are suposed to be included in order to execute works in defined conditions, finalisation with indicated guarantee periods - everything ready for technical taking over.
| Product description | u.m. | N. | lungh. | largh. | altezza | MAGG. | Quantity | Price | TOTAL
01 | LEVEL UNDERGROUND
20 | Lighting fixtures
3.N963.012.0 | LN60 Inital profile L 1210 53W 7600lm -Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 212 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.N977.701.0 | IN60 LED module - L 1196 - dark-lightemission - neutral white - integrated DALIdimmable control gear 53W 7600lm - 4000K -Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 212 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.MWP6.015.0 | IN60 Pair of cover end caps for Minimal versions - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 104 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.MWM2.001.0 | IN60 Power supply unit with suspension cables r electronic versions DALI - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 40 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.P015.701.0 | Wide 600x600 - Neutral White - general light 27W 4400lm - 4000K - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 40 |  |  |  |  | 35
| TOTAL | [6 empty] | 35
3.9695.000.0 | Lens Accessory for installation in plasterboard false ceiling for square versions - Colour: Intermediate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 16 |  |  |  |  | 35
| TOTAL | [6 empty] | 35
KL02.700 | ECO WATERPROOF luminarie for general lighting lamp LED 27.5W 3500lm neutral white CRI > 80 1578x101x101mm Control gear Electronic included; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 16 |  |  |  |  | 161
| TOTAL | [6 empty] | 161
LVE3150CP | Surface mounted anti-panic pictogram luminaire Venus Estanca LED, with Ni-Cd batteries with duration 1h, IP44, IK07. Manufacturer Zemper, Spain.
Quantity
| TOTAL | pcs | [5 empty] | 24
ABV005 | Accesory for Venus luminaire, Opal double sided diffusor. Manufacturer Zemper, Spain.
Quantity
| TOTAL | pcs | [5 empty] | 24
APV6 | Pictogram accesory for Venus luminaire. Manufacturer Zemper, Spain. | pcs | [5 empty] | 26
LEVEL UNDERGROUND
02 | GROUND LEVEL
20 | Lighting fixtures
3.P015.701.0 | Wide 600x600 - Neutral White - general light 27W 4400lm - 4000K - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 40 |  |  |  |  | 10
| TOTAL | [6 empty] | 10
3.9695.000.0 | Lens Accessory for installation in plasterboard false ceiling for square versions - Colour: Intermediate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 16 |  |  |  |  | 10
| TOTAL | [6 empty] | 10
3.N963.012.0 | IN60 lnitial profile L 1210 53W 7600lm -Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 14 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
3.N977.701.0 | IN60 LED module - L 1196 - dark-lightemission - neutral white - integrated DALI dimmable control gear 53W 7600lm - 4000K -Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 14 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
3.MWM2.001.0 | IN60 Power supply unit with suspension cables for electronic versions DALI - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 28 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
KL02.700 | ECO WATERPROOF luminarie for general lighting lamp LED 27.5W 3500lm neutral white CRI > 80, 1578x101x101mm Control gear Electronic included; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 39 |  |  |  |  | 14
| TOTAL | [6 empty] | 14
3.BH82.713.0 | WaterApp Floodlight - immersion 3 monochrome LEDs - 350 mA DC 3,1W, 340 lm - 4000 K - Colour: Steel; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 39 |  |  |  |  | 27
| TOTAL | [6 empty] | 27
3.BZM4.000.0 | Driver DALI dimmable electronic ballast - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 39 |  |  |  |  | 7
| TOTAL | [6 empty] | 7
3.BW81.715.0 | iWay square bollard H=250mm, Warm White Leds, integrated electronic control gear, 360° distribution. 21W, 1750 lm, 3000 K - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 39 |  |  |  |  | 16
| TOTAL | [6 empty] | 16
3.B513.000.0 | iWay Fixing plate with anchor bolts - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 19 |  |  |  |  | 16
| TOTAL | [6 empty] | 16
X024 | Screen for 180° asymmetrical emission made of black polycarbonate. Colour: black; Manufacturer iGuzzini, Italia | pcs
| Quantity | [6 empty] | 11
| TOTAL | [6 empty] | 11
3.E126.713.0 | Light up Earth Recessed floor-standing EarthD=144 mm - Neutral White - Adjustable Spotoptic - DALI 6,1W 730lm - 4000K - Colour:Steel; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 19 |  |  |  |  | 14
| TOTAL | [6 empty] | 14
3.X197.004.0 | Light up Earth Outer casing for Light Up Earthwith frame diameter D=144mm - Colour:Black; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 16 |  |  |  |  | 14
| TOTAL | [6 empty] | 14
3.E104.713.0 | Light up Orbit Floor recessed Orbit D=80mm - Wall Washer optic 4,2W 480lm - 4000K -Colour: Steel; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 16 |  |  |  |  | 15
| TOTAL | [6 empty] | 15
3.X195.004.0 | Light up Orbit Outer casing for Light Up Orbitwith diameter D=80mm frame - Colour: Black; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 32 |  |  |  |  | 15
| TOTAL | [6 empty] | 15
3.BZM4.000.0 | Driver DALI dimmable electronic ballast - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 4
| TOTAL | [6 empty] | 4
3.BX07.715.0 | iPro Spotlight with bracket - Warm White COBLed - integrated electronic ballast 220÷240Vac - wide Flood optic 12W 1850lm - 3000K -Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 8
| TOTAL | [6 empty] | 8
3.P318.701.0 | Laser COB Fixes round recessed luminaire - LED - flood 7,3W 600lm - 3000K - CRI 90 -Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
3.MY08.000.0 | Laser COB DALI dimmable electronic ballast - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 18 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
3.P345.701.0 | Laser COB Fixed round recessed luminaire -LED - wide flood 10W 1100lm - 3000K - CRI90 - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 18 |  |  |  |  | 16
| TOTAL | [6 empty] | 16
3.MY19.000.0 | Laser COB DALI dimmable electronic ballast - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 36 |  |  |  |  | 16
| TOTAL | [6 empty] | 16
3.MQ14.715.0 | iRoll Ceiling-mounted luminaire - neutral LED- General light - DALI dimmable control gear13W 2000lm - 4000K - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 27 |  |  |  |  | 9
| TOTAL | [6 empty] | 9
3.MQ16.715.0 | iRoll Ceiling-mounted luminaire - neutral LED- General light - DALI dimmable control gear27W 4000lm - 4000K - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 4 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.9441.015.0 | iRoll -5pole power supply base withsuspension cables - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 4 |  |  |  |  | 15
| TOTAL | [6 empty] | 15
3.P639.747.0 | View medium body - neutral white - mediumWF optic 29W 3000lm - 4000K - Colour:Black/White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 18 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.MXZ2.001.0 | Binario Ceiling base for spotlights - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 18 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.MXW0.004.0 | View Asymmetric screen - Colour: Black; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 6 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.MJ48.712.0 | IN30 initial module L 1200 - Low Contrast -direct emission - LED - neutral white integrated DALI dimmable control gear 17W2650lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 6 |  |  |  |  | 7
| TOTAL | [6 empty] | 7
3.MJ49.712.0 | IN30 initial module L 2400 - Low Contrast -direct emission - LED - neutral white integrated DALI dimmable control gear 34W5300lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 26 |  |  |  |  | 24
| TOTAL | [6 empty] | 24
3.MJ53.712.0 | IN30 module for continuous line L=2394 - LowContrast - direct emission - LED - neutral white integrated DALI dimmable control gear 34W5300lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 26 |  |  |  |  | 13
| TOTAL | [6 empty] | 13
3.MJ56.712.0 | IN30 corner module for continuous line - LowContrast - direct emission - LED - neutral white integrated DALI dimmable control gear 2 x8,6W 1325lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 19 |  |  |  |  | 4
| TOTAL | [6 empty] | 4
3.MX80.015.0 | IN30 pair of end caps - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 19 |  |  |  |  | 24
| TOTAL | [6 empty] | 24
3.MWG5.001.0 | IN30 Power supply unit with suspension cables FOR ELECTRONIC VERSIONS) - Colour: Intermediate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 38 |  |  |  |  | 25
| TOTAL | [6 empty] | 25
3.MWG6.000.0 | Suspension kit without power supply -Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 47
| TOTAL | [6 empty] | 47
3.BW28.715.0 | Linealuce Mini Mini Linear Recessed Luminaire - Neutral White LEDs - 24V dc -L=1609mm - Flood Optic and non-slip glass20W 1860lm - 4000K - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 16
| TOTAL | [6 empty] | 16
3.X012.000.0 | Linealuce Outer casing L=1602mm for Linealuce Mini recessed modules L=1609mm. - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 16
| TOTAL | [6 empty] | 16
3.BZK1.000.0 | 480W 24V dc DIN rail electronic ballast; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 3
| TOTAL | [6 empty] | 3
3.BX63.747.0 | Laser Blade Recessed rectangular ceiling-mounted IP65 luminaire, compactbody, Neutral White LEDs, Wide Flood optic,DALI. 10W 920lm - 4000K - Colour:Black/White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 5 |  |  |  |  | 99
| TOTAL | [6 empty] | 99
3.X116.000.0 | Laser Blade Adapter frame for flush installationon plasterboard suspended ceilings - LaserBlade InOut L=158mm - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 5 |  |  |  |  | 99
| TOTAL | [6 empty] | 99
3.MV63.712.0 | Reflex COB Fixed circular recessed luminaire Ø125 mm - neutral white - wide flood optic -UGR<19 14W 2000lm - 4000K - Colour:Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 5 |  |  |  |  | 15
| TOTAL | [6 empty] | 15
3.ME34.701.0 | Underscore flexible strip - 5m - LED blanco 9,6W 940lm 1.0 m - 4000K - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 10 |  |  |  |  | 3
| TOTAL | [6 empty] | 3
3.MXL1.012.0 | Underscore - Ledstrip Top Frame recessed high linear profile - L 2000 - alluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 29 |  |  |  |  | 7
| TOTAL | [6 empty] | 7
3.MXL0.012.0 | Underscore - Ledstrip Top Frame recessed high linear profile - L 1000 - alluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 29 |  |  |  |  | 1
| TOTAL | [6 empty] | 1
3.MXM1.038.0 | Underscore Opal diffuser screen L 2000 - Colour: Opaline; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 68 |  |  |  |  | 7
| TOTAL | [6 empty] | 7
3.MXM0.038.0 | Underscore Opal diffuser screen L 1000 - Colour: Opaline; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 68 |  |  |  |  | 1
| TOTAL | [6 empty] | 1
3.MXL8.015.0 | Underscore Closing end caps for Frame high linear profile - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 68 |  |  |  |  | 2
| TOTAL | [6 empty] | 2
3.MWF7.000.0 | Ledstrip - Electronic power supply 35W - VIN110-240VAC VOUT 12VDC IOUT 1,65A -Supplies max 1 x 5m strip; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 68 |  |  |  |  | 5
| TOTAL | [6 empty] | 5
LSS-3045ECP | Recessed anti-panic pictogram luminaire Spazio sign LED, with Ni-Mh batteries with duration 1h, IP40, IK04. Producer Zemper, Spain. | pcs | [5 empty] | 27
LEVEL +1
3.P015.701.0 | Wide 600x600 - Neutral White - general light 27W 4400lm - 4000K - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 40 |  |  |  |  | 8
| TOTAL | [6 empty] | 8
3.9695.000.0 | Lens Accessory for installation in plasterboard false ceiling for square versions - Colour: Intermediate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 16 |  |  |  |  | 8
| TOTAL | [6 empty] | 8
3.N963.012.0 | IN60 Initial profile L 1210 53W 7600lm -Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 11 |  |  |  |  | 191
| TOTAL | [6 empty] | 191
3.N977.701.0 | IN60 LED module - L 1196 - dark-lightemission - neutral white - integrated DALIdimmable control gear 53W 7600lm - 4000K -Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 11 |  |  |  |  | 191
| TOTAL | [6 empty] | 191
3.MWP6.015.0 | Pair of cover end caps for Minimalversions - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 11 |  |  |  |  | 191
| TOTAL | [6 empty] | 191
3.MWM2.001.0 | IN60 Power supply unit with suspension cables for electronic versions) DALI - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 57 |  |  |  |  | 191
| TOTAL | [6 empty] | 191
KL02.700 | ECO WATERPROOF luminarie for general lighting lamp LED 27.5W 3500lm neutral white CRI > 80, 1578x101x101mm Control gear Electronic included; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 57 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.P318.701.0 | Laser COB Fixed round recessed luminaire - LED - flood 7,3W, 600 lm - 3000K, CRI 90 - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 8 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
3.MY08.000.0 | Laser COB DALI dimmable electronic ballast - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 105 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
3.P345.701.0 | Laser COB Fixed round recessed luminaire -LED - wide flood 10W 1100lm - 3000K - CRI90 - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 105 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
3.MY19.000.0 | Laser COB DALI dimmable electronic ballast - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 4 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
3.MJ48.712.0 | IN30 initial module L 1200 - Low Contrast -direct emission - LED - neutral white integrated DALI dimmable control gear 17W2650lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 163 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.MJ49.712.0 | IN30 initial module L 2400 - Low Contrast -direct emission - LED - neutral white integrated DALI dimmable control gear 34W5300lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 163 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.MJ53.712.0 | IN30 module for continuous line L=2394 - LowContrast - direct emission - LED - neutral white integrated DALI dimmable control gear 34W5300lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 26 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.MJ56.712.0 | IN30 module for continuous line L=2394 - LowContrast - direct emission - LED - neutral white integrated DALI dimmable control gear 34W5300lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 40 |  |  |  |  | 12
| TOTAL | [6 empty] | 12
3.MWG5.001.0 | IN30 Power supply unit with suspension cables forr electronic versions - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 163 |  |  |  |  | 3
| TOTAL | [6 empty] | 3
3.MWG6.000.0 | IN30 Suspension kit without power supply -Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 123 |  |  |  |  | 27
| TOTAL | [6 empty] | 27
3.MV63.712.0 | Reflex COB Fixed circular recessed luminaire - Ø125 mm - neutral white - wide flood optic -UGR<19 14W 2000lm - 4000K - Colour:Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 326 |  |  |  |  | 94
| TOTAL | [6 empty] | 94
3.ME34.701.0 | Underscore flexible strip - 5m - LED blanco 9,6 W, 940lm, 1.0m) 4000K - Colour:White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 45 |  |  |  |  | 4
| TOTAL | [6 empty] | 4
3.MXL1.012.0 | Underscore - Ledstrip Top Frame recesed high linear profile - L 2000 - alluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 45 |  |  |  |  | 10
| TOTAL | [6 empty] | 10
3.MXM1.038.0 | Underscore Opal diffuser screen L 2000 - Colour: Opaline; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 45 |  |  |  |  | 10
| TOTAL | [6 empty] | 10
3.MXL8.015.0 | Underscore Closing end caps for Frame high linear profile - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 45 |  |  |  |  | 2
| TOTAL | [6 empty] | 2
3.MWF7.000.0 | Ledstrip - Electronic power supply 35W - VIN 110-240VAC VOUT 12VDC IOUT 1,65A -Supplies max 1 x 5m strip; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 90 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
LSS-3045ECP | Recessed anti-panic pictogram luminaire Spazio sign LED, with Ni-Mh batteries with duration 1h, IP40, IK04. Producer Zemper, Spain. | pcs | [5 empty] | 69
LEVEL +2
3.P015.701.0 | Wide 600x600 - Neutral White - general light 27W 4400lm - 4000K - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 40 |  |  |  |  | 4
| TOTAL | [6 empty] | 4
3.9695.000.0 | Lens Accessory for installation in plasterboard false ceiling for square versions - Colour: Intermediate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 16 |  |  |  |  | 4
| TOTAL | [6 empty] | 4
3.N963.012.0 | IN60 initial profile L 1210 53W 7600lm -Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 110 |  |  |  |  | 8
| TOTAL | [6 empty] | 8
3.N977.701.0 | IN60 LED module - L 1196 - dark-lightemission - neutral white - integrated DALIdimmable control gear 53W 7600lm - 4000K -Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 110 |  |  |  |  | 8
| TOTAL | [6 empty] | 8
3.MWP6.015.0 | IN60 Pair of cover end caps for Minimalversions - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 220 |  |  |  |  | 8
| TOTAL | [6 empty] | 8
3.MWM2.001.0 | IN60 Power supply unit with suspension cables for electronic versions) DALI - Colour - indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 8
| TOTAL | [6 empty] | 8
KL02.700 | ECO WATERPROOF luminarie for general lighting lamp LED 27.5W 3500lm neutral white CRI > 80, 1578x101x101mm Control gear Electronic included; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 9
| TOTAL | [6 empty] | 9
3.E104.713.0 | Light up Orbit Floor recessed Orbit D=80mm - Wall Washer optic 4,2 W, 480 lm - 4000 K - Colour: Steel; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 16
| TOTAL | [6 empty] | 16
3.X195.004.0 | Light up Orbit Outer casing for Light Up Orbitwith diameter D=80mm frame - Colour: Black; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 21 |  |  |  |  | 16
| TOTAL | [6 empty] | 16
3.P318.701.0 | Laser COB Fixed round recessed luminaire . LED - flood 7,3 W, 600 lm - 3000K - CRI 90 - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 21 |  |  |  |  | 7
| TOTAL | [6 empty] | 7
3.MY08.000.0 | Laser COB DALI dimmable electronic ballast - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 42 |  |  |  |  | 7
| TOTAL | [6 empty] | 7
3.P345.701.0 | Laser COB Fixed round recessed luminaire -LED - wide flood 10W 1100lm - 3000K - CRI90 - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 69 |  |  |  |  | 9
| TOTAL | [6 empty] | 9
3.MY19.000.0 | Laser COB DALI dimmable electronic ballast - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 4 |  |  |  |  | 9
| TOTAL | [6 empty] | 9
3.MJ48.712.0 | IN30 initial module L 1200 - Low Contrast -direct emission - LED - neutral white integrated DALI dimmable control gear 17W2650lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 4 |  |  |  |  | 8
| TOTAL | [6 empty] | 8
3.MJ49.712.0 | IN30 initial module L 2400 - Low Contrast -direct emission - LED - neutral white integrated DALI dimmable control gear 34W5300lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 2 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.MJ53.712.0 | IN30 module for continuous line L=2394 - LowContrast - direct emission - LED - neutral white tegrated DALI dimmable control gear 34W5300lm - 4000K - Colour: Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 2 |  |  |  |  | 14
| TOTAL | [6 empty] | 14
3.MWG5.001.0 | IN30 Power supply unit with suspension cables for electronic versions) - Colour: White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 4 |  |  |  |  | 14
| TOTAL | [6 empty] | 14
3.MWG6.000.0 | IN30 Suspension kit without power supply -Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 4 |  |  |  |  | 28
| TOTAL | [6 empty] | 28
3.MX80.015.0 | IN30 pair of end caps - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 2 |  |  |  |  | 14
| TOTAL | [6 empty] | 14
3.MV63.712.0 | Reflex COB Fixed circular recessed luminaire Ø125 mm - neutral white - wide flood optic -UGR<19 14W 2000lm - 4000K - Colour:Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 4 |  |  |  |  | 55
| TOTAL | [6 empty] | 55
3.ME34.701.0 | Underscore flexible strip - 5m - LED blanco 9,6 W, 940 lm, 1.0m) - Colour: Indeterminate; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 2 |  |  |  |  | 2
| TOTAL | [6 empty] | 2
3.MXL1.012.0 | Underscore - Ledstrip Top Frame recessed high linear profile - L2000 - alluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 8 |  |  |  |  | 5
| TOTAL | [6 empty] | 5
3.MXM1.038.0 | Underscore Opal diffuser screen L 2000 - Colour: Opaline; Manufacturer iGuzzini, Italia; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 36 |  |  |  |  | 5
| TOTAL | [6 empty] | 5
3.MXL8.015.0 | Underscore Closing end caps for Frame high linear profile - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 36 |  |  |  |  | 1
| TOTAL | [6 empty] | 1
3.MWF7.000.0 | Ledstrip - Electronic power supply 35W - VIN 110-240VAC VOUT 12VDC IOUT 1,65A -Supplies max 1 x 5m strip; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 4 |  |  |  |  | 4
| TOTAL | [6 empty] | 4
3.MQ77.747.0 | Laser Blade 5 - cell Recessed luminaire - LED Neutral white - Incorporated DALI dimmablepower supply - Wide Flood optic 10W 920lm -4000K - CRI 95 - Colour: Black/White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 36 |  |  |  |  | 32
| TOTAL | [6 empty] | 32
3.MK52.747.0 | Laser Blade 10 - cell Recessed luminaire - LED Neutral white Flood optic 21W 1840lm -4000K - CRI 95 - Colour: Black/White; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 32 |  |  |  |  | 8
| TOTAL | [6 empty] | 8
3.BH22.715.0 | Linealuce Mini surface Wall-/Ceiling-mounted - Neutral White LEDs - 24V dc -L=1056mm - Wall Grazing Optic 13W 1240lm -4000K - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 72 |  |  |  |  | 15
| TOTAL | [6 empty] | 15
3.BH24.715.0 | Linealuce Mini surface Wall-/Ceiling-mounted - Neutral White LEDs - 24V dc -L=1585mm - Wall Grazing Optic 20W 1860lm -4000K - Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 8 |  |  |  |  | 111
| TOTAL | [6 empty] | 111
3.BZK7.013.0 | Plastic junction box with quick coupling terminals, IP66 - Colour: Grey;Manufacturer iGuzzini, Italia | pcs | [5 empty] | 126
3.BZJ9.013.0 | Linealuce Stainless steel adjustable arms ±90°, L=90 mm for wall or ceiling mounting -Colour: Grey; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 8 |  |  |  |  | 126
| TOTAL | [6 empty] | 126
3.BZK1.000.0 | 480W 24V dc DIN rail electronic ballast; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 12 |  |  |  |  | 6
| TOTAL | [6 empty] | 6
3.N089.739.0 | Reflex COB adjustable luminaire - Ø 125 mm -warm white - medium optic - frame 18W2000lm - 3000K - CRI 90 - Colour:White/Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 5 |  |  |  |  | 27
| TOTAL | [6 empty] | 27
3.N090.739.0 | Reflex COB adjustable luminaire - Ø 125 mm -warm white - flood optic - frame 18W 2000lm -3000K - CRI 90 - Colour: White/Aluminium; Manufacturer iGuzzini, Italia | pcs
| Quantity |  | 5 |  |  |  |  | 18
| TOTAL | [6 empty] | 18
LSS-3045ECP | Recessed anti-panic pictogram luminaire Spazio sign LED, with Ni-Mh batteries with duration 1h, IP40, IK04. Producer Zemper, Spain. | pcs | [5 empty] | 32
Total
21 | LIGHT CONTROL SYSTEM
HQP6-2 | Delivery of central controller (CPU) for lighting control system. Manufacturer Lutron, USA: | pcs
| Quantity |  | 2 |  |  |  |  | 1
| TOTAL | [6 empty] | 1
QSPS-DH-1-75 | Delivery of electronic power supply, constant Voltage of 24Vdc. Power supply is used for supply processor an QS link. Manufacturer Lutron, USA: | pcs
| Quantity |  | 5 |  |  |  |  | 2
| TOTAL | [6 empty] | 2
LQSE-2DAL-D | Delivery of DALI modul for controling lighting fixtures which are using DALI protocol. DALI module can control up to 128 DALI addresses, combined in to 32 lighting zones. Manufacturer Lutron, USA: | pcs
| Quantity |  | 9 |  |  |  |  | 11
| TOTAL | [6 empty] | 11
LQSE-4S10-D | Delivery of 4 Zone Switching Power Module. Each output is rated for 10A. Switching Power Module is 9 DIN modules wide. Dimensions: 6.37in (161.7mm) x 3.53in (89.7mm) x 2.38in (60.6mm). Manufacturer Lutron, USA: | pcs
| Quantity |  | 9 |  |  |  |  | 7
| TOTAL | [6 empty] | 7
QSM3-XW-C | Delivery of radio frequency modul for connecting the wireless sensors and wireless keypads. Manufacturer Lutron, USA: | pcs
| Quantity |  | 5 |  |  |  |  | 22
| TOTAL | [6 empty] | 22
LRF3-OCR2B-P-WH | Delivery of occupancy sensor, covering area 37m2. Manufacturer Lutron, USA: | pcs
| Quantity |  | 1 |  |  |  |  | 149
| TOTAL | [6 empty] | 149
LRF3-OWLB-P-WH | Delivery of occupancy sensor, covering area 180o of field of site, wall mount. Manufacturer Lutron, USA: | pcs
| Quantity |  | 1 |  |  |  |  | 30
| TOTAL | [6 empty] | 30
LRF3-SSM-WH | Delivery of daylight sensor, window mount, comes in pair. Manufacturer Lutron, USA: | pcs
| Quantity |  | 1 |  |  |  |  | 10
| TOTAL | [6 empty] | 10
HQWT-S-PRW-WH | Delivery of Palladiom keypad, 3 buttons, Raise Low configuration. Manufacturer Lutron, USA: | pcs
| Quantity |  | 1 |  |  |  |  | 12
| TOTAL | [6 empty] | 12
PK-3BRL-MAW-L01 | Delivery of PICO keypad, wireless. Faceplate included. Manufacturer Lutron, USA: | pcs
| Quantity |  | 1 |  |  |  |  | 86
| TOTAL | [6 empty] | 86
GRX-CBL-346S | Delivery of cable GRX-CBL-346S . Cable is used for connectiong lighting control system equipment. Manufacturer Lutron, USA: | m
| Quantity |  | 5 |  |  |  |  | 800
| TOTAL | [6 empty] | 800
Prog. | Commissioning: Includes Field Commissioning by Lutron Engineer
| Quantity |  | 61 |  |  |  |  | 1
| TOTAL | [6 empty] | 1
TOTAL LIGHT CONTROL SYSTEM
OVERALL TOTAL (lighting fixtures and lighting control system)